## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
DESULFINYLFIPRONIL AMIDE | 2033 | 62169GCM29 | 2009-09-03 | 2005-03-04 | 2009-09-30 | ug/L | 0.72562 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | DESULFINYLFIPRONIL_AMIDE | E | 0.029 | 0.054 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72562 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 |  | 1 | 0.72562 |  | 0.72562 | 0 | 0
DESULFINYLFIPRONIL AMIDE | 2033 | 62169GCM29 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.53117 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | DESULFINYLFIPRONIL_AMIDE | E | 0.029 | 0.0206 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53117 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 0.99119 | 0.41092 | 1.1205 | 0.79074 | 0.58617
DESULFINYLFIPRONIL AMIDE | 2033 | 62169GCM29 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 1.3219 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | DESULFINYLFIPRONIL_AMIDE | E | 0.029 | 0.0536 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3219 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 0.99119 | 0.41092 | 1.1205 | 0.79074 | 0.58617
DESULFINYLFIPRONIL AMIDE | 2033 | 62169GCM29 | 2010-12-16 | 2010-10-01 | 2011-09-30 | ug/L | 1.1205 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | DESULFINYLFIPRONIL_AMIDE | E | 0.029 | 0.0453 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1205 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 0.99119 | 0.41092 | 1.1205 | 0.79074 | 0.58617
DESULFINYLFIPRONIL AMIDE | 2033 | 62169GCM29 | 2011-01-20 | 2010-10-01 | 2011-09-30 | ug/L | 1.0129 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | DESULFINYLFIPRONIL_AMIDE | E | 0.029 | 0.102 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0129 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.97559 | 0.33698 | 0.87232 | 0.50006 | 0.37069
DESULFINYLFIPRONIL AMIDE | 2033 | 62169GCM29 | 2011-03-05 | 2010-10-01 | 2011-09-30 | ug/L | 1.4384 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 25 µl | 0.02475 | DESULFINYLFIPRONIL_AMIDE | E | 0.029 | 0.0356 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.4384 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 1 |  | 4 | 0.97559 | 0.33698 | 0.87232 | 0.50006 | 0.37069
DESULFINYLFIPRONIL AMIDE | 2033 | 62169GCM29 | 2011-04-20 | 2010-10-01 | 2011-09-30 | ug/L | 0.73179 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.099483 | DESULFINYLFIPRONIL_AMIDE | E | 0.029 | 0.0728 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73179 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.97559 | 0.33698 | 0.87232 | 0.50006 | 0.37069
DESULFINYLFIPRONIL AMIDE | 2033 | 62169GCM29 | 2011-06-22 | 2010-10-01 | 2011-09-30 | ug/L | 0.71934 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 75 µl | 0.074096 | DESULFINYLFIPRONIL_AMIDE | E | 0.029 | 0.0533 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71934 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.97559 | 0.33698 | 0.87232 | 0.50006 | 0.37069