## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
DIAZINON, OXYGEN ANALOG | 2033 | 61638GCM14 | 2013-06-26 | 2011-10-01 | 2050-09-30 | ug/L | 1.4824 | Abs, ChemService | 042413, 1473000 | Abs 042413: 20 µl & ChemService 1473000: 20 µl | 0.0284 | DIAZINON,_OXYGEN_ANALOG | . | 0.012 | 0.0421 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4824 | Ab042413, Ch1473000 | Ab | Ch | Ch | 042413 | 1473000 | 1473000 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.4824 |  | 1.4824 | 0 | 0
DIAZINON, OXYGEN ANALOG | 2033 | 61638GCM14 | 2013-10-19 | 2011-10-01 | 2050-09-30 | ug/L | 1.2643 | Abs, Spex Organics, Crescent | 042413, T1130514013, 10802AL | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl | 0.07 | DIAZINON,_OXYGEN_ANALOG | . | 0.012 | 0.0885 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2643 | Ab042413, SpT114013, Cr10802AL | Ab | Sp | Cr | 042413 | T114013 | 10802AL |  | T114013 |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.2643 |  | 1.2643 | 0 | 0
DIAZINON, OXYGEN ANALOG | 2033 | 61638GCM14 | 2011-01-07 | 2010-10-01 | 2011-09-30 | ug/L | 0.80144 | Abs | 080610 | Abs 080610: 40 µl | 0.049037 | DIAZINON,_OXYGEN_ANALOG | . | 0.01 | 0.0393 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80144 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.84181 | 0.095508 | 0.81596 | 0.034564 | 0.025622
DIAZINON, OXYGEN ANALOG | 2033 | 61638GCM14 | 2011-01-28 | 2010-10-01 | 2011-09-30 | ug/L | 0.80635 | Abs | 080610 | Abs 080610: 80 µl | 0.095988 | DIAZINON,_OXYGEN_ANALOG | E | 0.01 | 0.0774 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80635 | Abs 080610 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.84181 | 0.095508 | 0.81596 | 0.034564 | 0.025622
DIAZINON, OXYGEN ANALOG | 2033 | 61638GCM14 | 2011-02-22 | 2010-10-01 | 2011-09-30 | ug/L | 0.75955 | Abs | 080610 | Abs 080610: 40 µl | 0.049371 | DIAZINON,_OXYGEN_ANALOG | . | 0.01 | 0.0375 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75955 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.84181 | 0.095508 | 0.81596 | 0.034564 | 0.025622
DIAZINON, OXYGEN ANALOG | 2033 | 61638GCM14 | 2011-03-16 | 2010-10-01 | 2011-09-30 | ug/L | 0.81275 | Abs | 080610 | Abs 080610: 80 µl | 0.099047 | DIAZINON,_OXYGEN_ANALOG | . | 0.01 | 0.0805 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81275 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.84181 | 0.095508 | 0.81596 | 0.034564 | 0.025622
DIAZINON, OXYGEN ANALOG | 2033 | 61638GCM14 | 2011-05-03 | 2010-10-01 | 2011-09-30 | ug/L | 1.1208 | Abs | 080610 | Abs 080610: 40 µl | 0.049607 | DIAZINON,_OXYGEN_ANALOG | . | 0.01 | 0.0556 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1208 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.84181 | 0.095508 | 0.81596 | 0.034564 | 0.025622
DIAZINON, OXYGEN ANALOG | 2033 | 61638GCM14 | 2011-05-29 | 2010-10-01 | 2011-09-30 | ug/L | 0.79157 | Abs | 080610 | Abs 080610: 80 µl | 0.10043 | DIAZINON,_OXYGEN_ANALOG | . | 0.01 | 0.0795 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79157 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.84181 | 0.095508 | 0.81596 | 0.034564 | 0.025622
DIAZINON, OXYGEN ANALOG | 2033 | 61638GCM14 | 2011-08-22 | 2010-10-01 | 2011-09-30 | ug/L | 0.88412 | Abs | 080610 | Abs 080610: 40 µl | 0.04988 | DIAZINON,_OXYGEN_ANALOG | . | 0.01 | 0.0441 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88412 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.84181 | 0.095508 | 0.81596 | 0.034564 | 0.025622
DIAZINON, OXYGEN ANALOG | 2033 | 61638GCM14 | 2011-10-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.74379 | Abs | 080610 | Abs 080610: 40 µl | 0.04988 | DIAZINON,_OXYGEN_ANALOG | E | 0.012 | 0.0371 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74379 | Abs 080610 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.84181 | 0.095508 | 0.81596 | 0.034564 | 0.025622
DIAZINON, OXYGEN ANALOG | 2033 | 61638GCM14 | 2012-01-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.82398 | Abs | 080610 | Abs 080610: 40 µl | 0.04988 | DIAZINON,_OXYGEN_ANALOG | E | 0.012 | 0.0411 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82398 | Abs 080610 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.84181 | 0.095508 | 0.81596 | 0.034564 | 0.025622
DIAZINON, OXYGEN ANALOG | 2033 | 61638GCM14 | 2012-02-09 | 2011-10-01 | 2050-09-30 | ug/L | 0.91921 | Abs | 080610 | Abs 080610: 80 µl | 0.09976 | DIAZINON,_OXYGEN_ANALOG | . | 0.012 | 0.0917 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91921 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.84181 | 0.095508 | 0.81596 | 0.034564 | 0.025622
DIAZINON, OXYGEN ANALOG | 2033 | 61638GCM14 | 2012-03-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.81596 | Abs | 080610 | Abs 080610: 40 µl | 0.04988 | DIAZINON,_OXYGEN_ANALOG | . | 0.012 | 0.0407 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81596 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.84181 | 0.095508 | 0.81596 | 0.034564 | 0.025622
DIAZINON, OXYGEN ANALOG | 2033 | 61638GCM14 | 2012-04-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.82799 | Abs | 080610 | Abs 080610: 40 µl | 0.04988 | DIAZINON,_OXYGEN_ANALOG | E | 0.012 | 0.0413 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82799 | Abs 080610 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.84181 | 0.095508 | 0.81596 | 0.034564 | 0.025622
DIAZINON, OXYGEN ANALOG | 2033 | 61638GCM14 | 2012-04-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.83601 | Abs | 080610 | Abs 080610: 80 µl | 0.09976 | DIAZINON,_OXYGEN_ANALOG | . | 0.012 | 0.0834 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83601 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.84181 | 0.095508 | 0.81596 | 0.034564 | 0.025622
DIAZINON, OXYGEN ANALOG | 2033 | 61638GCM14 | 2011-01-12 | 2010-10-01 | 2011-09-30 | ug/L | 1.2009 | Accu | 210061341 | Accu 210061341: 40 µl | 0.04605 | DIAZINON,_OXYGEN_ANALOG | E | 0.01 | 0.0553 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2009 | Accu 210061341 | [9 empty] | Y | Estimated Values | Y | 2 |  | 12 | 0.86757 | 0.18569 | 0.82326 | 0.30421 | 0.22551
DIAZINON, OXYGEN ANALOG | 2033 | 61638GCM14 | 2011-02-01 | 2010-10-01 | 2011-09-30 | ug/L | 0.73871 | Accu | 210061341 | Accu 210061341: 80 µl | 0.094895 | DIAZINON,_OXYGEN_ANALOG | . | 0.01 | 0.0701 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73871 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.86757 | 0.18569 | 0.82326 | 0.30421 | 0.22551
DIAZINON, OXYGEN ANALOG | 2033 | 61638GCM14 | 2011-02-14 | 2010-10-01 | 2011-09-30 | ug/L | 0.7353 | Accu | 210061341 | Accu 210061341: 40 µl | 0.04692 | DIAZINON,_OXYGEN_ANALOG | . | 0.01 | 0.0345 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7353 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.86757 | 0.18569 | 0.82326 | 0.30421 | 0.22551
DIAZINON, OXYGEN ANALOG | 2033 | 61638GCM14 | 2011-04-07 | 2010-10-01 | 2011-09-30 | ug/L | 0.65762 | Accu | 210061341 | Accu 210061341: 40 µl | 0.0479 | DIAZINON,_OXYGEN_ANALOG | . | 0.01 | 0.0315 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65762 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.86757 | 0.18569 | 0.82326 | 0.30421 | 0.22551
DIAZINON, OXYGEN ANALOG | 2033 | 61638GCM14 | 2011-05-21 | 2010-10-01 | 2011-09-30 | ug/L | 0.84115 | Accu | 210061341 | Accu 210061341: 80 µl | 0.09499 | DIAZINON,_OXYGEN_ANALOG | . | 0.01 | 0.0799 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84115 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.86757 | 0.18569 | 0.82326 | 0.30421 | 0.22551
DIAZINON, OXYGEN ANALOG | 2033 | 61638GCM14 | 2011-07-02 | 2010-10-01 | 2011-09-30 | ug/L | 1.0547 | Accu | 210061341 | Accu 210061341: 40 µl | 0.047594 | DIAZINON,_OXYGEN_ANALOG | . | 0.01 | 0.0502 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0547 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.86757 | 0.18569 | 0.82326 | 0.30421 | 0.22551
DIAZINON, OXYGEN ANALOG | 2033 | 61638GCM14 | 2011-07-20 | 2010-10-01 | 2011-09-30 | ug/L | 1.1053 | Accu | 210061341 | Accu 210061341: 40 µl | 0.04768 | DIAZINON,_OXYGEN_ANALOG | E | 0.01 | 0.0527 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1053 | Accu 210061341 | [9 empty] | Y | Estimated Values | Y | 2 |  | 12 | 0.86757 | 0.18569 | 0.82326 | 0.30421 | 0.22551
DIAZINON, OXYGEN ANALOG | 2033 | 61638GCM14 | 2011-08-30 | 2010-10-01 | 2011-09-30 | ug/L | 0.77601 | Accu | 210061341 | Accu 210061341: 80 µl | 0.09536 | DIAZINON,_OXYGEN_ANALOG | . | 0.01 | 0.074 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77601 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.86757 | 0.18569 | 0.82326 | 0.30421 | 0.22551
DIAZINON, OXYGEN ANALOG | 2033 | 61638GCM14 | 2011-11-05 | 2011-10-01 | 2050-09-30 | ug/L | 1.0277 | Accu | 210061341 | Accu 210061341: 40 µl | 0.04768 | DIAZINON,_OXYGEN_ANALOG | . | 0.012 | 0.049 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0277 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.86757 | 0.18569 | 0.82326 | 0.30421 | 0.22551
DIAZINON, OXYGEN ANALOG | 2033 | 61638GCM14 | 2011-12-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.62395 | Accu | 210061341 | Accu 210061341: 80 µl | 0.09536 | DIAZINON,_OXYGEN_ANALOG | . | 0.012 | 0.0595 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62395 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.86757 | 0.18569 | 0.82326 | 0.30421 | 0.22551
DIAZINON, OXYGEN ANALOG | 2033 | 61638GCM14 | 2012-03-02 | 2011-10-01 | 2050-09-30 | ug/L | 0.84417 | Accu | 210061341 | Accu 210061341: 80 µl | 0.09536 | DIAZINON,_OXYGEN_ANALOG | . | 0.012 | 0.0805 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84417 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.86757 | 0.18569 | 0.82326 | 0.30421 | 0.22551
DIAZINON, OXYGEN ANALOG | 2033 | 61638GCM14 | 2012-03-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.80537 | Accu | 210061341 | Accu 210061341: 40 µl | 0.04768 | DIAZINON,_OXYGEN_ANALOG | E | 0.012 | 0.0384 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80537 | Accu 210061341 | [9 empty] | Y | Estimated Values | Y | 2 |  | 12 | 0.86757 | 0.18569 | 0.82326 | 0.30421 | 0.22551
DIAZINON, OXYGEN ANALOG | 2033 | 61638GCM14 | 2013-07-11 | 2011-10-01 | 2050-09-30 | ug/L | 1.4718 | ChemService, ERA | 1473000, 0318-13-02.2 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl | 0.0284 | DIAZINON,_OXYGEN_ANALOG | . | 0.012 | 0.0418 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4718 | Ch1473000, ER03102.2 | Ch | ER | ER | 1473000 | 03102.2 | 03102.2 |  | 03102.2 | 03102.2 | Y | Recoverable Result | Y | 2 |  | 1 | 1.4718 |  | 1.4718 | 0 | 0
DIAZINON, OXYGEN ANALOG | 2033 | 61638GCM14 | 2013-06-05 | 2011-10-01 | 2050-09-30 | ug/L | 1.2563 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl | 0.071 | DIAZINON,_OXYGEN_ANALOG | E | 0.012 | 0.0892 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2563 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 1.1986 | 0.081666 | 1.1986 | 0.11549 | 0.085614
DIAZINON, OXYGEN ANALOG | 2033 | 61638GCM14 | 2014-01-08 | 2011-10-01 | 2050-09-30 | ug/L | 1.1408 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl | 0.0284 | DIAZINON,_OXYGEN_ANALOG | . | 0.012 | 0.0324 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1408 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.1986 | 0.081666 | 1.1986 | 0.11549 | 0.085614
DIAZINON, OXYGEN ANALOG | 2033 | 61638GCM14 | 2010-03-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.531 | ChemService | 430-36C | ChemService 430-36C: 40 µl | 0.047458 | DIAZINON,_OXYGEN_ANALOG | E | 0.006 | 0.0252 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.531 | ChemService 430-36C | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 0.76476 | 0.20464 | 0.85171 | 0.38055 | 0.2821
DIAZINON, OXYGEN ANALOG | 2033 | 61638GCM14 | 2010-06-26 | 2009-10-01 | 2010-09-30 | ug/L | 0.91155 | ChemService | 430-36C | ChemService 430-36C: 40 µl | 0.048379 | DIAZINON,_OXYGEN_ANALOG | . | 0.006 | 0.0441 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91155 | ChemService 430-36C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.76476 | 0.20464 | 0.85171 | 0.38055 | 0.2821
DIAZINON, OXYGEN ANALOG | 2033 | 61638GCM14 | 2010-09-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.85171 | ChemService | 430-36C | ChemService 430-36C: 20 µl | 0.024774 | DIAZINON,_OXYGEN_ANALOG | . | 0.006 | 0.0211 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85171 | ChemService 430-36C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.76476 | 0.20464 | 0.85171 | 0.38055 | 0.2821
DIAZINON, OXYGEN ANALOG | 2033 | 61638GCM14 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 1.6373 | Crescent, ChemService, Cresc | 04CC101, 1473000, 10802AL | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl | 0.0284 | DIAZINON,_OXYGEN_ANALOG | . | 0.012 | 0.0465 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.6373 | Cr04CC101, Ch1473000, Cr10802A | Cr | Ch | Cr | 04CC101 | 1473000 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.6373 |  | 1.6373 | 0 | 0
DIAZINON, OXYGEN ANALOG | 2033 | 61638GCM14 | 2013-09-05 | 2011-10-01 | 2050-09-30 | ug/L | 1.2393 | Crescent, Spex Organics | 04CC101, T1130514013 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl | 0.028 | DIAZINON,_OXYGEN_ANALOG | . | 0.012 | 0.0347 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2393 | Cr04CC101, SpT114013 | Cr | Sp | Sp | 04CC101 | T114013 | T114013 |  | T114013 | T114013 | Y | Recoverable Result | Y | 2 |  | 1 | 1.2393 |  | 1.2393 | 0 | 0
DIAZINON, OXYGEN ANALOG | 2033 | 61638GCM14 | 2009-09-03 | 2005-03-04 | 2009-09-30 | ug/L | 0.65843 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | DIAZINON,_OXYGEN_ANALOG | . | 0.006 | 0.049 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65843 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.65843 |  | 0.65843 | 0 | 0
DIAZINON, OXYGEN ANALOG | 2033 | 61638GCM14 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.96436 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | DIAZINON,_OXYGEN_ANALOG | . | 0.006 | 0.0374 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96436 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.98829 | 0.033016 | 0.97456 | 0.0616 | 0.045663
DIAZINON, OXYGEN ANALOG | 2033 | 61638GCM14 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 1.026 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | DIAZINON,_OXYGEN_ANALOG | . | 0.006 | 0.0416 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.026 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.98829 | 0.033016 | 0.97456 | 0.0616 | 0.045663
DIAZINON, OXYGEN ANALOG | 2033 | 61638GCM14 | 2010-12-16 | 2010-10-01 | 2011-09-30 | ug/L | 0.97456 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | DIAZINON,_OXYGEN_ANALOG | . | 0.01 | 0.0394 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97456 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.98829 | 0.033016 | 0.97456 | 0.0616 | 0.045663
DIAZINON, OXYGEN ANALOG | 2033 | 61638GCM14 | 2011-01-20 | 2010-10-01 | 2011-09-30 | ug/L | 0.96222 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | DIAZINON,_OXYGEN_ANALOG | . | 0.01 | 0.0969 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96222 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.74492 | 0.18885 | 0.75292 | 0.27641 | 0.2049
DIAZINON, OXYGEN ANALOG | 2033 | 61638GCM14 | 2011-03-05 | 2010-10-01 | 2011-09-30 | ug/L | 0.80404 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 25 µl | 0.02475 | DIAZINON,_OXYGEN_ANALOG | . | 0.01 | 0.0199 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80404 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.74492 | 0.18885 | 0.75292 | 0.27641 | 0.2049
DIAZINON, OXYGEN ANALOG | 2033 | 61638GCM14 | 2011-04-20 | 2010-10-01 | 2011-09-30 | ug/L | 0.51165 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.099483 | DIAZINON,_OXYGEN_ANALOG | . | 0.01 | 0.0509 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51165 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.74492 | 0.18885 | 0.75292 | 0.27641 | 0.2049
DIAZINON, OXYGEN ANALOG | 2033 | 61638GCM14 | 2011-06-22 | 2010-10-01 | 2011-09-30 | ug/L | 0.70179 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 75 µl | 0.074096 | DIAZINON,_OXYGEN_ANALOG | . | 0.01 | 0.052 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70179 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.74492 | 0.18885 | 0.75292 | 0.27641 | 0.2049
DIAZINON, OXYGEN ANALOG | 2033 | 61638GCM14 | 2013-07-23 | 2011-10-01 | 2050-09-30 | ug/L | 0.916 | Restek, Abs | A093651, 012513 | Restek A093651: 20 µl & Abs 012513: 20 µl | 0.05 | DIAZINON,_OXYGEN_ANALOG | . | 0.012 | 0.0458 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.916 | ReA093651, Ab012513 | Re | Ab | Ab | A093651 | 012513 | 012513 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.916 |  | 0.916 | 0 | 0
DIAZINON, OXYGEN ANALOG | 2033 | 61638GCM14 | 2013-09-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.832 | Restek, Abs, Crescent | A093651, 012513, 10802AL | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl | 0.125 | DIAZINON,_OXYGEN_ANALOG | . | 0.012 | 0.104 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.832 | ReA093651, Ab012513, Cr10802AL | Re | Ab | Cr | A093651 | 012513 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.832 |  | 0.832 | 0 | 0
DIAZINON, OXYGEN ANALOG | 2033 | 61638GCM14 | 2013-11-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.888 | Restek, Abs, Crescent | A093651, 052412, 10802AL | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl | 0.05 | DIAZINON,_OXYGEN_ANALOG | . | 0.012 | 0.0444 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.888 | ReA093651, Ab052412, Cr10802AL | Re | Ab | Cr | A093651 | 052412 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.916 | 0.039598 | 0.916 | 0.056 | 0.041512
DIAZINON, OXYGEN ANALOG | 2033 | 61638GCM14 | 2014-01-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.944 | Restek, Abs, Crescent | A093651, 052412, 10802AL | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl | 0.05 | DIAZINON,_OXYGEN_ANALOG | . | 0.012 | 0.0472 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.944 | ReA093651, Ab052412, Cr10802AL | Re | Ab | Cr | A093651 | 052412 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.916 | 0.039598 | 0.916 | 0.056 | 0.041512
DIAZINON, OXYGEN ANALOG | 2033 | 61638GCM14 | 2009-12-11 | 2009-10-01 | 2010-09-30 | ug/L | 1.2069 | Restek | A063025 | Restek A063025: 25 µl | 0.018228 | DIAZINON,_OXYGEN_ANALOG | . | 0.006 | 0.022 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2069 | Restek A063025 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.2069 |  | 1.2069 | 0 | 0
DIAZINON, OXYGEN ANALOG | 2033 | 61638GCM14 | 2010-02-02 | 2009-10-01 | 2010-09-30 | ug/L | 0.47873 | Restek | A069639 | Restek A069639: 20 µl | 0.023604 | DIAZINON,_OXYGEN_ANALOG | . | 0.006 | 0.0113 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.47873 | Restek A069639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.63132 | 0.13063 | 0.64388 | 0.21535 | 0.15963
DIAZINON, OXYGEN ANALOG | 2033 | 61638GCM14 | 2010-03-19 | 2009-10-01 | 2010-09-30 | ug/L | 0.56857 | Restek | A069639 | Restek A069639: 20 µl | 0.02392 | DIAZINON,_OXYGEN_ANALOG | . | 0.006 | 0.0136 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56857 | Restek A069639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.63132 | 0.13063 | 0.64388 | 0.21535 | 0.15963
DIAZINON, OXYGEN ANALOG | 2033 | 61638GCM14 | 2010-07-29 | 2009-10-01 | 2010-09-30 | ug/L | 0.71919 | Restek | A069639 | Restek A069639: 100 µl | 0.12361 | DIAZINON,_OXYGEN_ANALOG | . | 0.006 | 0.0889 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71919 | Restek A069639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.63132 | 0.13063 | 0.64388 | 0.21535 | 0.15963
DIAZINON, OXYGEN ANALOG | 2033 | 61638GCM14 | 2010-10-18 | 2010-10-01 | 2011-09-30 | ug/L | 0.7588 | Restek | A069639 | Restek A069639: 40 µl | 0.047311 | DIAZINON,_OXYGEN_ANALOG | . | 0.01 | 0.0359 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7588 | Restek A069639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.63132 | 0.13063 | 0.64388 | 0.21535 | 0.15963
DIAZINON, OXYGEN ANALOG | 2033 | 61638GCM14 | 2012-08-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.996 | Spex Organics, Crescent | T1120530013, 05BB029 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl | 0.05 | DIAZINON,_OXYGEN_ANALOG | . | 0.012 | 0.0498 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.996 | SpT110013, Cr05BB029 | Sp | Cr | Cr | T110013 | 05BB029 | 05BB029 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.928 | 0.096167 | 0.928 | 0.136 | 0.10082
DIAZINON, OXYGEN ANALOG | 2033 | 61638GCM14 | 2012-12-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.86 | Spex Organics, Crescent | T1120530013, 05BB029 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl | 0.25 | DIAZINON,_OXYGEN_ANALOG | . | 0.012 | 0.215 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86 | SpT110013, Cr05BB029 | Sp | Cr | Cr | T110013 | 05BB029 | 05BB029 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.928 | 0.096167 | 0.928 | 0.136 | 0.10082
DIAZINON, OXYGEN ANALOG | 2033 | 61638GCM14 | 2012-09-05 | 2011-10-01 | 2050-09-30 | ug/L | 1.09 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl | 0.05 | DIAZINON,_OXYGEN_ANALOG | . | 0.012 | 0.0545 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.09 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.8386 | 0.35553 | 0.8386 | 0.5028 | 0.37272
DIAZINON, OXYGEN ANALOG | 2033 | 61638GCM14 | 2013-01-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.5872 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl | 0.125 | DIAZINON,_OXYGEN_ANALOG | . | 0.012 | 0.0734 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5872 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.8386 | 0.35553 | 0.8386 | 0.5028 | 0.37272
DIAZINON, OXYGEN ANALOG | 2033 | 61638GCM14 | 2012-11-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.692 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl | 0.25 | DIAZINON,_OXYGEN_ANALOG | . | 0.012 | 0.173 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.692 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.81133 | 0.10473 | 0.854 | 0.196 | 0.14529
DIAZINON, OXYGEN ANALOG | 2033 | 61638GCM14 | 2013-02-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.854 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl | 0.05 | DIAZINON,_OXYGEN_ANALOG | . | 0.012 | 0.0427 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.854 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.81133 | 0.10473 | 0.854 | 0.196 | 0.14529
DIAZINON, OXYGEN ANALOG | 2033 | 61638GCM14 | 2013-04-02 | 2011-10-01 | 2050-09-30 | ug/L | 0.888 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl | 0.125 | DIAZINON,_OXYGEN_ANALOG | . | 0.012 | 0.111 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.888 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.81133 | 0.10473 | 0.854 | 0.196 | 0.14529
DIAZINON, OXYGEN ANALOG | 2033 | 61638GCM14 | 2013-09-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.84286 | Spex Organics, ERA | T1130514013, 0318-13-02.2 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl | 0.14 | DIAZINON,_OXYGEN_ANALOG | . | 0.012 | 0.118 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84286 | SpT114013, ER03102.2 | Sp | ER | ER | T114013 | 03102.2 | 03102.2 | T114013 | 03102.2 | 03102.2 | Y | Recoverable Result | Y | 2 |  | 1 | 0.84286 |  | 0.84286 | 0 | 0
DIAZINON, OXYGEN ANALOG | 2033 | 61638GCM14 | 2013-11-09 | 2011-10-01 | 2050-09-30 | ug/L | 1.4 | Spex Organics, Supelco | T1130514013, LB99392 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl | 0.028 | DIAZINON,_OXYGEN_ANALOG | . | 0.012 | 0.0392 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4 | SpT114013, SuLB99392 | Sp | Su | Su | T114013 | LB99392 | LB99392 | T114013 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.4 |  | 1.4 | 0 | 0