## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
DIAZINON | 2033 | 39572GCM35 | 2013-06-26 | 2010-10-01 | 2050-09-30 | ug/L | 1.1533 | Abs, ChemService | 042413, 1473000 | Abs 042413: 20 µl & ChemService 1473000: 20 µl | 0.015 | DIAZINON | . | 0.006 | 0.0173 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1533 | Ab042413, Ch1473000 | Ab | Ch | Ch | 042413 | 1473000 | 1473000 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1533 |  | 1.1533 | 0 | 0
DIAZINON | 2033 | 39572GCM35 | 2013-10-19 | 2010-10-01 | 2050-09-30 | ug/L | 1.2086 | Abs, Spex Organics, Crescent | 042413, T1130514013, 10802AL | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl | 0.035 | DIAZINON | . | 0.006 | 0.0423 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2086 | Ab042413, SpT114013, Cr10802AL | Ab | Sp | Cr | 042413 | T114013 | 10802AL |  | T114013 |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.2086 |  | 1.2086 | 0 | 0
DIAZINON | 2033 | 39572GCM35 | 2011-01-07 | 2010-10-01 | 2050-09-30 | ug/L | 0.85559 | Abs | 080610 | Abs 080610: 40 µl | 0.042076 | DIAZINON | . | 0.006 | 0.036 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85559 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0304 | 0.094912 | 1.0174 | 0.1017 | 0.07539
DIAZINON | 2033 | 39572GCM35 | 2011-01-28 | 2010-10-01 | 2050-09-30 | ug/L | 1.083 | Abs | 080610 | Abs 080610: 80 µl | 0.082363 | DIAZINON | . | 0.006 | 0.0892 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.083 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0304 | 0.094912 | 1.0174 | 0.1017 | 0.07539
DIAZINON | 2033 | 39572GCM35 | 2011-02-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.0174 | Abs | 080610 | Abs 080610: 40 µl | 0.042364 | DIAZINON | . | 0.006 | 0.0431 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0174 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0304 | 0.094912 | 1.0174 | 0.1017 | 0.07539
DIAZINON | 2033 | 39572GCM35 | 2011-03-16 | 2010-10-01 | 2050-09-30 | ug/L | 1.0225 | Abs | 080610 | Abs 080610: 80 µl | 0.084988 | DIAZINON | . | 0.006 | 0.0869 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0225 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0304 | 0.094912 | 1.0174 | 0.1017 | 0.07539
DIAZINON | 2033 | 39572GCM35 | 2011-05-03 | 2010-10-01 | 2050-09-30 | ug/L | 1.2334 | Abs | 080610 | Abs 080610: 40 µl | 0.042566 | DIAZINON | . | 0.006 | 0.0525 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2334 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0304 | 0.094912 | 1.0174 | 0.1017 | 0.07539
DIAZINON | 2033 | 39572GCM35 | 2011-05-29 | 2010-10-01 | 2050-09-30 | ug/L | 1.0014 | Abs | 080610 | Abs 080610: 80 µl | 0.086177 | DIAZINON | . | 0.006 | 0.0863 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0014 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0304 | 0.094912 | 1.0174 | 0.1017 | 0.07539
DIAZINON | 2033 | 39572GCM35 | 2011-08-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.93692 | Abs | 080610 | Abs 080610: 40 µl | 0.0428 | DIAZINON | . | 0.006 | 0.0401 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93692 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0304 | 0.094912 | 1.0174 | 0.1017 | 0.07539
DIAZINON | 2033 | 39572GCM35 | 2011-10-20 | 2010-10-01 | 2050-09-30 | ug/L | 1.1308 | Abs | 080610 | Abs 080610: 40 µl | 0.0428 | DIAZINON | . | 0.006 | 0.0484 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1308 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0304 | 0.094912 | 1.0174 | 0.1017 | 0.07539
DIAZINON | 2033 | 39572GCM35 | 2012-01-20 | 2010-10-01 | 2050-09-30 | ug/L | 1.0888 | Abs | 080610 | Abs 080610: 40 µl | 0.0428 | DIAZINON | . | 0.006 | 0.0466 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0888 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0304 | 0.094912 | 1.0174 | 0.1017 | 0.07539
DIAZINON | 2033 | 39572GCM35 | 2012-02-09 | 2010-10-01 | 2050-09-30 | ug/L | 1.0818 | Abs | 080610 | Abs 080610: 80 µl | 0.0856 | DIAZINON | . | 0.006 | 0.0926 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0818 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0304 | 0.094912 | 1.0174 | 0.1017 | 0.07539
DIAZINON | 2033 | 39572GCM35 | 2012-03-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.99533 | Abs | 080610 | Abs 080610: 40 µl | 0.0428 | DIAZINON | . | 0.006 | 0.0426 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99533 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0304 | 0.094912 | 1.0174 | 0.1017 | 0.07539
DIAZINON | 2033 | 39572GCM35 | 2012-04-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.98131 | Abs | 080610 | Abs 080610: 40 µl | 0.0428 | DIAZINON | . | 0.006 | 0.042 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98131 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0304 | 0.094912 | 1.0174 | 0.1017 | 0.07539
DIAZINON | 2033 | 39572GCM35 | 2012-04-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.96729 | Abs | 080610 | Abs 080610: 80 µl | 0.0856 | DIAZINON | . | 0.006 | 0.0828 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96729 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0304 | 0.094912 | 1.0174 | 0.1017 | 0.07539
DIAZINON | 2033 | 39572GCM35 | 2011-01-12 | 2010-10-01 | 2050-09-30 | ug/L | 1.0457 | Accu | 210061341 | Accu 210061341: 40 µl | 0.04265 | DIAZINON | . | 0.006 | 0.0446 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0457 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.99924 | 0.089183 | 0.99085 | 0.1172 | 0.086882
DIAZINON | 2033 | 39572GCM35 | 2011-02-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.98305 | Accu | 210061341 | Accu 210061341: 80 µl | 0.087889 | DIAZINON | . | 0.006 | 0.0864 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98305 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.99924 | 0.089183 | 0.99085 | 0.1172 | 0.086882
DIAZINON | 2033 | 39572GCM35 | 2011-02-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.9803 | Accu | 210061341 | Accu 210061341: 40 µl | 0.043456 | DIAZINON | . | 0.006 | 0.0426 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9803 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.99924 | 0.089183 | 0.99085 | 0.1172 | 0.086882
DIAZINON | 2033 | 39572GCM35 | 2011-04-07 | 2010-10-01 | 2050-09-30 | ug/L | 1.0842 | Accu | 210061341 | Accu 210061341: 40 µl | 0.044364 | DIAZINON | . | 0.006 | 0.0481 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0842 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.99924 | 0.089183 | 0.99085 | 0.1172 | 0.086882
DIAZINON | 2033 | 39572GCM35 | 2011-05-21 | 2010-10-01 | 2050-09-30 | ug/L | 1.0764 | Accu | 210061341 | Accu 210061341: 80 µl | 0.087977 | DIAZINON | . | 0.006 | 0.0947 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0764 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.99924 | 0.089183 | 0.99085 | 0.1172 | 0.086882
DIAZINON | 2033 | 39572GCM35 | 2011-07-02 | 2010-10-01 | 2050-09-30 | ug/L | 0.90743 | Accu | 210061341 | Accu 210061341: 40 µl | 0.044081 | DIAZINON | . | 0.006 | 0.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90743 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.99924 | 0.089183 | 0.99085 | 0.1172 | 0.086882
DIAZINON | 2033 | 39572GCM35 | 2011-07-20 | 2010-10-01 | 2050-09-30 | ug/L | 1.1775 | Accu | 210061341 | Accu 210061341: 40 µl | 0.04416 | DIAZINON | . | 0.006 | 0.052 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1775 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.99924 | 0.089183 | 0.99085 | 0.1172 | 0.086882
DIAZINON | 2033 | 39572GCM35 | 2011-08-30 | 2010-10-01 | 2050-09-30 | ug/L | 0.98166 | Accu | 210061341 | Accu 210061341: 80 µl | 0.08832 | DIAZINON | . | 0.006 | 0.0867 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98166 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.99924 | 0.089183 | 0.99085 | 0.1172 | 0.086882
DIAZINON | 2033 | 39572GCM35 | 2011-11-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.0054 | Accu | 210061341 | Accu 210061341: 40 µl | 0.04416 | DIAZINON | . | 0.006 | 0.0444 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0054 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.99924 | 0.089183 | 0.99085 | 0.1172 | 0.086882
DIAZINON | 2033 | 39572GCM35 | 2011-12-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.86504 | Accu | 210061341 | Accu 210061341: 80 µl | 0.08832 | DIAZINON | . | 0.006 | 0.0764 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86504 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.99924 | 0.089183 | 0.99085 | 0.1172 | 0.086882
DIAZINON | 2033 | 39572GCM35 | 2012-03-02 | 2010-10-01 | 2050-09-30 | ug/L | 0.99864 | Accu | 210061341 | Accu 210061341: 80 µl | 0.08832 | DIAZINON | . | 0.006 | 0.0882 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99864 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.99924 | 0.089183 | 0.99085 | 0.1172 | 0.086882
DIAZINON | 2033 | 39572GCM35 | 2012-03-27 | 2010-10-01 | 2050-09-30 | ug/L | 0.88542 | Accu | 210061341 | Accu 210061341: 40 µl | 0.04416 | DIAZINON | . | 0.006 | 0.0391 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88542 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.99924 | 0.089183 | 0.99085 | 0.1172 | 0.086882
DIAZINON | 2033 | 39572GCM35 | 2013-07-11 | 2010-10-01 | 2050-09-30 | ug/L | 1.1067 | ChemService, ERA | 1473000, 0318-13-02.2 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl | 0.015 | DIAZINON | . | 0.006 | 0.0166 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1067 | Ch1473000, ER03102.2 | Ch | ER | ER | 1473000 | 03102.2 | 03102.2 |  | 03102.2 | 03102.2 | Y | Recoverable Result | Y | 2 |  | 1 | 1.1067 |  | 1.1067 | 0 | 0
DIAZINON | 2033 | 39572GCM35 | 2013-06-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.0933 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl | 0.0375 | DIAZINON | . | 0.006 | 0.041 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0933 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0333 | 0.084853 | 1.0333 | 0.12 | 0.088955
DIAZINON | 2033 | 39572GCM35 | 2014-01-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.97333 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl | 0.015 | DIAZINON | . | 0.006 | 0.0146 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97333 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0333 | 0.084853 | 1.0333 | 0.12 | 0.088955
DIAZINON | 2033 | 39572GCM35 | 2010-03-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.86316 | ChemService | 430-36C | ChemService 430-36C: 40 µl | 0.041476 | DIAZINON | E | 0.005 | 0.0358 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86316 | ChemService 430-36C | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 1.0633 | 0.17733 | 1.1258 | 0.33772 | 0.25035
DIAZINON | 2033 | 39572GCM35 | 2010-06-26 | 2009-10-01 | 2010-09-30 | ug/L | 1.1258 | ChemService | 430-36C | ChemService 430-36C: 40 µl | 0.042281 | DIAZINON | . | 0.005 | 0.0476 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1258 | ChemService 430-36C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0633 | 0.17733 | 1.1258 | 0.33772 | 0.25035
DIAZINON | 2033 | 39572GCM35 | 2010-09-21 | 2009-10-01 | 2010-09-30 | ug/L | 1.2009 | ChemService | 430-36C | ChemService 430-36C: 20 µl | 0.021651 | DIAZINON | . | 0.005 | 0.026 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2009 | ChemService 430-36C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0633 | 0.17733 | 1.1258 | 0.33772 | 0.25035
DIAZINON | 2033 | 39572GCM35 | 2013-12-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.04 | Crescent, ChemService, Cresc | 04CC101, 1473000, 10802AL | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl | 0.015 | DIAZINON | . | 0.006 | 0.0156 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.04 | Cr04CC101, Ch1473000, Cr10802A | Cr | Ch | Cr | 04CC101 | 1473000 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.04 |  | 1.04 | 0 | 0
DIAZINON | 2033 | 39572GCM35 | 2013-09-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.1071 | Crescent, Spex Organics | 04CC101, T1130514013 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl | 0.014 | DIAZINON | . | 0.006 | 0.0155 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1071 | Cr04CC101, SpT114013 | Cr | Sp | Sp | 04CC101 | T114013 | T114013 |  | T114013 | T114013 | Y | Recoverable Result | Y | 2 |  | 1 | 1.1071 |  | 1.1071 | 0 | 0
DIAZINON | 2033 | 39572GCM35 | 2009-07-23 | 2005-03-04 | 2009-09-30 | ug/L | 1.1264 | Crescent | 08HH019 | Crescent 08HH019: 40 µl | 0.23349 | DIAZINON | . | 0.005 | 0.263 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1264 | Crescent 08HH019 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.1264 |  | 1.1264 | 0 | 0
DIAZINON | 2033 | 39572GCM35 | 2009-09-03 | 2005-03-04 | 2009-09-30 | ug/L | 0.95405 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | DIAZINON | . | 0.005 | 0.071 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95405 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.95405 |  | 0.95405 | 0 | 0
DIAZINON | 2033 | 39572GCM35 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.91537 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | DIAZINON | . | 0.005 | 0.0355 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91537 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0164 | 0.099715 | 1.0191 | 0.19938 | 0.1478
DIAZINON | 2033 | 39572GCM35 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 1.1147 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | DIAZINON | . | 0.005 | 0.0452 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1147 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0164 | 0.099715 | 1.0191 | 0.19938 | 0.1478
DIAZINON | 2033 | 39572GCM35 | 2010-12-16 | 2010-10-01 | 2050-09-30 | ug/L | 1.0191 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | DIAZINON | . | 0.006 | 0.0412 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0191 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0164 | 0.099715 | 1.0191 | 0.19938 | 0.1478
DIAZINON | 2033 | 39572GCM35 | 2011-01-20 | 2010-10-01 | 2050-09-30 | ug/L | 1.0228 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | DIAZINON | . | 0.006 | 0.103 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0228 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.97522 | 0.095489 | 0.97379 | 0.15517 | 0.11503
DIAZINON | 2033 | 39572GCM35 | 2011-03-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.0828 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 25 µl | 0.02475 | DIAZINON | . | 0.006 | 0.0268 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0828 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.97522 | 0.095489 | 0.97379 | 0.15517 | 0.11503
DIAZINON | 2033 | 39572GCM35 | 2011-04-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.92478 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.099483 | DIAZINON | . | 0.006 | 0.092 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92478 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.97522 | 0.095489 | 0.97379 | 0.15517 | 0.11503
DIAZINON | 2033 | 39572GCM35 | 2011-06-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.87049 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 75 µl | 0.074096 | DIAZINON | . | 0.006 | 0.0645 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87049 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.97522 | 0.095489 | 0.97379 | 0.15517 | 0.11503
DIAZINON | 2033 | 39572GCM35 | 2009-09-15 | 2005-03-04 | 2009-09-30 | ug/L | 1.1086 | Protocol | D1080908018 | Protocol D1080908018: 40 µl | 0.23091 | DIAZINON | . | 0.005 | 0.256 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1086 | Protocol D1080908018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.1086 |  | 1.1086 | 0 | 0
DIAZINON | 2033 | 39572GCM35 | 2012-09-26 | 2010-10-01 | 2050-09-30 | ug/L | 0.87 | Restek, Abs | A088380, 052412 | Restek A088380: 20 µl & Abs 052412: 20 µl | 0.03 | DIAZINON | . | 0.006 | 0.0261 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87 | ReA088380, Ab052412 | Re | Ab | Ab | A088380 | 052412 | 052412 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.85 | 0.028284 | 0.85 | 0.04 | 0.029652
DIAZINON | 2033 | 39572GCM35 | 2013-03-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.83 | Restek, Abs | A088380, 052412 | Restek A088380: 20 µl & Abs 052412: 20 µl | 0.03 | DIAZINON | . | 0.006 | 0.0249 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83 | ReA088380, Ab052412 | Re | Ab | Ab | A088380 | 052412 | 052412 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.85 | 0.028284 | 0.85 | 0.04 | 0.029652
DIAZINON | 2033 | 39572GCM35 | 2012-11-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.908 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl | 0.075 | DIAZINON | . | 0.006 | 0.0681 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.908 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.95378 | 0.10448 | 0.908 | 0.19333 | 0.14332
DIAZINON | 2033 | 39572GCM35 | 2013-02-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.88 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl | 0.15 | DIAZINON | . | 0.006 | 0.132 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.95378 | 0.10448 | 0.908 | 0.19333 | 0.14332
DIAZINON | 2033 | 39572GCM35 | 2013-05-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.0733 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl | 0.03 | DIAZINON | . | 0.006 | 0.0322 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0733 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.95378 | 0.10448 | 0.908 | 0.19333 | 0.14332
DIAZINON | 2033 | 39572GCM35 | 2012-07-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.99333 | Restek, Supelco | A088380, LB92783 | Restek A088380: 20 µl & Supelco LB92783: 20 µl | 0.03 | DIAZINON | . | 0.006 | 0.0298 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99333 | ReA088380, SuLB92783 | Re | Su | Su | A088380 | LB92783 | LB92783 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.99333 |  | 0.99333 | 0 | 0
DIAZINON | 2033 | 39572GCM35 | 2013-07-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.97667 | Restek, Abs | A093651, 012513 | Restek A093651: 20 µl & Abs 012513: 20 µl | 0.03 | DIAZINON | . | 0.006 | 0.0293 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97667 | ReA093651, Ab012513 | Re | Ab | Ab | A093651 | 012513 | 012513 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.97667 |  | 0.97667 | 0 | 0
DIAZINON | 2033 | 39572GCM35 | 2013-09-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.91867 | Restek, Abs, Crescent | A093651, 012513, 10802AL | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl | 0.075 | DIAZINON | . | 0.006 | 0.0689 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91867 | ReA093651, Ab012513, Cr10802AL | Re | Ab | Cr | A093651 | 012513 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.91867 |  | 0.91867 | 0 | 0
DIAZINON | 2033 | 39572GCM35 | 2013-11-04 | 2010-10-01 | 2050-09-30 | ug/L | 0.87667 | Restek, Abs, Crescent | A093651, 052412, 10802AL | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl | 0.03 | DIAZINON | . | 0.006 | 0.0263 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87667 | ReA093651, Ab052412, Cr10802AL | Re | Ab | Cr | A093651 | 052412 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.93333 | 0.080139 | 0.93333 | 0.11333 | 0.084013
DIAZINON | 2033 | 39572GCM35 | 2014-01-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.99 | Restek, Abs, Crescent | A093651, 052412, 10802AL | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl | 0.03 | DIAZINON | . | 0.006 | 0.0297 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99 | ReA093651, Ab052412, Cr10802AL | Re | Ab | Cr | A093651 | 052412 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.93333 | 0.080139 | 0.93333 | 0.11333 | 0.084013
DIAZINON | 2033 | 39572GCM35 | 2010-02-02 | 2009-10-01 | 2010-09-30 | ug/L | 0.67866 | Restek | A069639 | Restek A069639: 20 µl | 0.020629 | DIAZINON | . | 0.005 | 0.014 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67866 | Restek A069639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.88873 | 0.192 | 0.90122 | 0.32385 | 0.24007
DIAZINON | 2033 | 39572GCM35 | 2010-03-19 | 2009-10-01 | 2010-09-30 | ug/L | 0.77495 | Restek | A069639 | Restek A069639: 20 µl | 0.020904 | DIAZINON | . | 0.005 | 0.0162 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77495 | Restek A069639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.88873 | 0.192 | 0.90122 | 0.32385 | 0.24007
DIAZINON | 2033 | 39572GCM35 | 2010-07-29 | 2009-10-01 | 2010-09-30 | ug/L | 1.0275 | Restek | A069639 | Restek A069639: 100 µl | 0.10803 | DIAZINON | . | 0.005 | 0.111 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0275 | Restek A069639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.88873 | 0.192 | 0.90122 | 0.32385 | 0.24007
DIAZINON | 2033 | 39572GCM35 | 2010-10-18 | 2010-10-01 | 2050-09-30 | ug/L | 1.0738 | Restek | A069639 | Restek A069639: 40 µl | 0.041348 | DIAZINON | . | 0.006 | 0.0444 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0738 | Restek A069639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.88873 | 0.192 | 0.90122 | 0.32385 | 0.24007
DIAZINON | 2033 | 39572GCM35 | 2012-06-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.96933 | Restek | A088380 | Restek A088380: 50 µl | 0.075 | DIAZINON | . | 0.006 | 0.0727 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96933 | Restek A088380 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.96933 |  | 0.96933 | 0 | 0
DIAZINON | 2033 | 39572GCM35 | 2012-08-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.99333 | Spex Organics, Crescent | T1120530013, 05BB029 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl | 0.03 | DIAZINON | . | 0.006 | 0.0298 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99333 | SpT110013, Cr05BB029 | Sp | Cr | Cr | T110013 | 05BB029 | 05BB029 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.02 | 0.037712 | 1.02 | 0.053333 | 0.039535
DIAZINON | 2033 | 39572GCM35 | 2012-12-20 | 2010-10-01 | 2050-09-30 | ug/L | 1.0467 | Spex Organics, Crescent | T1120530013, 05BB029 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl | 0.15 | DIAZINON | . | 0.006 | 0.157 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0467 | SpT110013, Cr05BB029 | Sp | Cr | Cr | T110013 | 05BB029 | 05BB029 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.02 | 0.037712 | 1.02 | 0.053333 | 0.039535
DIAZINON | 2033 | 39572GCM35 | 2012-09-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.1233 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl | 0.03 | DIAZINON | . | 0.006 | 0.0337 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1233 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 1.023 | 0.14189 | 1.023 | 0.20067 | 0.14875
DIAZINON | 2033 | 39572GCM35 | 2013-01-15 | 2010-10-01 | 2050-09-30 | ug/L | 0.92267 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl | 0.075 | DIAZINON | . | 0.006 | 0.0692 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92267 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 1.023 | 0.14189 | 1.023 | 0.20067 | 0.14875
DIAZINON | 2033 | 39572GCM35 | 2012-11-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.94667 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl | 0.15 | DIAZINON | . | 0.006 | 0.142 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94667 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.94267 | 0.054111 | 0.94667 | 0.108 | 0.080059
DIAZINON | 2033 | 39572GCM35 | 2013-02-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.88667 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl | 0.03 | DIAZINON | . | 0.006 | 0.0266 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88667 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.94267 | 0.054111 | 0.94667 | 0.108 | 0.080059
DIAZINON | 2033 | 39572GCM35 | 2013-04-02 | 2010-10-01 | 2050-09-30 | ug/L | 0.99467 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl | 0.075 | DIAZINON | . | 0.006 | 0.0746 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99467 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.94267 | 0.054111 | 0.94667 | 0.108 | 0.080059
DIAZINON | 2033 | 39572GCM35 | 2013-09-20 | 2010-10-01 | 2050-09-30 | ug/L | 1.0314 | Spex Organics, ERA | T1130514013, 0318-13-02.2 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl | 0.07 | DIAZINON | . | 0.006 | 0.0722 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0314 | SpT114013, ER03102.2 | Sp | ER | ER | T114013 | 03102.2 | 03102.2 | T114013 | 03102.2 | 03102.2 | Y | Recoverable Result | Y | 2 |  | 1 | 1.0314 |  | 1.0314 | 0 | 0
DIAZINON | 2033 | 39572GCM35 | 2013-11-09 | 2010-10-01 | 2050-09-30 | ug/L | 1.0714 | Spex Organics, Supelco | T1130514013, LB99392 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl | 0.014 | DIAZINON | . | 0.006 | 0.015 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0714 | SpT114013, SuLB99392 | Sp | Su | Su | T114013 | LB99392 | LB99392 | T114013 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0714 |  | 1.0714 | 0 | 0