## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
DIELDRIN | 2033 | 39381GCM35 | 2013-06-26 | 2010-10-01 | 2050-09-30 | ug/L | 0.82105 | Abs, ChemService | 042413, 1473000 | Abs 042413: 20 µl & ChemService 1473000: 20 µl | 0.019 | DIELDRIN | . | 0.008 | 0.0156 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82105 | Ab042413, Ch1473000 | Ab | Ch | Ch | 042413 | 1473000 | 1473000 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.82105 |  | 0.82105 | 0 | 0
DIELDRIN | 2033 | 39381GCM35 | 2013-10-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.92667 | Abs, Spex Organics, Crescent | 042413, T1130514013, 10802AL | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl | 0.045 | DIELDRIN | . | 0.008 | 0.0417 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92667 | Ab042413, SpT114013, Cr10802AL | Ab | Sp | Cr | 042413 | T114013 | 10802AL |  | T114013 |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.92667 |  | 0.92667 | 0 | 0
DIELDRIN | 2033 | 39381GCM35 | 2011-01-07 | 2010-10-01 | 2050-09-30 | ug/L | 1.0359 | Abs | 080610 | Abs 080610: 40 µl | 0.043924 | DIELDRIN | . | 0.008 | 0.0455 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0359 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.97091 | 0.12927 | 0.93777 | 0.15404 | 0.11419
DIELDRIN | 2033 | 39381GCM35 | 2011-01-28 | 2010-10-01 | 2050-09-30 | ug/L | 1.2096 | Abs | 080610 | Abs 080610: 80 µl | 0.085981 | DIELDRIN | . | 0.008 | 0.104 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2096 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.97091 | 0.12927 | 0.93777 | 0.15404 | 0.11419
DIELDRIN | 2033 | 39381GCM35 | 2011-02-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.8276 | Abs | 080610 | Abs 080610: 40 µl | 0.044224 | DIELDRIN | . | 0.008 | 0.0366 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8276 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.97091 | 0.12927 | 0.93777 | 0.15404 | 0.11419
DIELDRIN | 2033 | 39381GCM35 | 2011-03-16 | 2010-10-01 | 2050-09-30 | ug/L | 0.93777 | Abs | 080610 | Abs 080610: 80 µl | 0.088721 | DIELDRIN | . | 0.008 | 0.0832 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93777 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.97091 | 0.12927 | 0.93777 | 0.15404 | 0.11419
DIELDRIN | 2033 | 39381GCM35 | 2011-05-03 | 2010-10-01 | 2050-09-30 | ug/L | 1.0217 | Abs | 080610 | Abs 080610: 40 µl | 0.044436 | DIELDRIN | . | 0.008 | 0.0454 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0217 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.97091 | 0.12927 | 0.93777 | 0.15404 | 0.11419
DIELDRIN | 2033 | 39381GCM35 | 2011-05-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.85258 | Abs | 080610 | Abs 080610: 80 µl | 0.089963 | DIELDRIN | . | 0.008 | 0.0767 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85257 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.97091 | 0.12927 | 0.93777 | 0.15404 | 0.11419
DIELDRIN | 2033 | 39381GCM35 | 2011-08-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.8863 | Abs | 080610 | Abs 080610: 40 µl | 0.04468 | DIELDRIN | . | 0.008 | 0.0396 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8863 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.97091 | 0.12927 | 0.93777 | 0.15404 | 0.11419
DIELDRIN | 2033 | 39381GCM35 | 2011-10-20 | 2010-10-01 | 2050-09-30 | ug/L | 1.1079 | Abs | 080610 | Abs 080610: 40 µl | 0.04468 | DIELDRIN | . | 0.008 | 0.0495 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1079 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.97091 | 0.12927 | 0.93777 | 0.15404 | 0.11419
DIELDRIN | 2033 | 39381GCM35 | 2012-01-20 | 2010-10-01 | 2050-09-30 | ug/L | 1.0139 | Abs | 080610 | Abs 080610: 40 µl | 0.04468 | DIELDRIN | . | 0.008 | 0.0453 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0139 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.97091 | 0.12927 | 0.93777 | 0.15404 | 0.11419
DIELDRIN | 2033 | 39381GCM35 | 2012-02-09 | 2010-10-01 | 2050-09-30 | ug/L | 1.1415 | Abs | 080610 | Abs 080610: 80 µl | 0.08936 | DIELDRIN | E | 0.008 | 0.102 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1415 | Abs 080610 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.97091 | 0.12927 | 0.93777 | 0.15404 | 0.11419
DIELDRIN | 2033 | 39381GCM35 | 2012-03-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.91764 | Abs | 080610 | Abs 080610: 40 µl | 0.04468 | DIELDRIN | . | 0.008 | 0.041 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91764 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.97091 | 0.12927 | 0.93777 | 0.15404 | 0.11419
DIELDRIN | 2033 | 39381GCM35 | 2012-04-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.88183 | Abs | 080610 | Abs 080610: 40 µl | 0.04468 | DIELDRIN | . | 0.008 | 0.0394 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88183 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.97091 | 0.12927 | 0.93777 | 0.15404 | 0.11419
DIELDRIN | 2033 | 39381GCM35 | 2012-04-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.78782 | Abs | 080610 | Abs 080610: 80 µl | 0.08936 | DIELDRIN | . | 0.008 | 0.0704 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78782 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.97091 | 0.12927 | 0.93777 | 0.15404 | 0.11419
DIELDRIN | 2033 | 39381GCM35 | 2011-01-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.75693 | Accu | 210061341 | Accu 210061341: 40 µl | 0.042805 | DIELDRIN | . | 0.008 | 0.0324 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75693 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.9614 | 0.19931 | 0.92706 | 0.20337 | 0.15076
DIELDRIN | 2033 | 39381GCM35 | 2011-02-01 | 2010-10-01 | 2050-09-30 | ug/L | 1.0249 | Accu | 210061341 | Accu 210061341: 80 µl | 0.088208 | DIELDRIN | . | 0.008 | 0.0904 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0249 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.9614 | 0.19931 | 0.92706 | 0.20337 | 0.15076
DIELDRIN | 2033 | 39381GCM35 | 2011-02-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.84148 | Accu | 210061341 | Accu 210061341: 40 µl | 0.043613 | DIELDRIN | . | 0.008 | 0.0367 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84148 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.9614 | 0.19931 | 0.92706 | 0.20337 | 0.15076
DIELDRIN | 2033 | 39381GCM35 | 2011-04-07 | 2010-10-01 | 2050-09-30 | ug/L | 1.5093 | Accu | 210061341 | Accu 210061341: 40 µl | 0.044525 | DIELDRIN | E | 0.008 | 0.0672 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5093 | Accu 210061341 | [9 empty] | Y | Estimated Values | Y | 2 |  | 12 | 0.9614 | 0.19931 | 0.92706 | 0.20337 | 0.15076
DIELDRIN | 2033 | 39381GCM35 | 2011-05-21 | 2010-10-01 | 2050-09-30 | ug/L | 1.0635 | Accu | 210061341 | Accu 210061341: 80 µl | 0.088296 | DIELDRIN | . | 0.008 | 0.0939 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0635 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.9614 | 0.19931 | 0.92706 | 0.20337 | 0.15076
DIELDRIN | 2033 | 39381GCM35 | 2011-07-02 | 2010-10-01 | 2050-09-30 | ug/L | 0.93806 | Accu | 210061341 | Accu 210061341: 40 µl | 0.04424 | DIELDRIN | . | 0.008 | 0.0415 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93806 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.9614 | 0.19931 | 0.92706 | 0.20337 | 0.15076
DIELDRIN | 2033 | 39381GCM35 | 2011-07-20 | 2010-10-01 | 2050-09-30 | ug/L | 1.0514 | Accu | 210061341 | Accu 210061341: 40 µl | 0.04432 | DIELDRIN | . | 0.008 | 0.0466 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0514 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.9614 | 0.19931 | 0.92706 | 0.20337 | 0.15076
DIELDRIN | 2033 | 39381GCM35 | 2011-08-30 | 2010-10-01 | 2050-09-30 | ug/L | 0.91607 | Accu | 210061341 | Accu 210061341: 80 µl | 0.08864 | DIELDRIN | . | 0.008 | 0.0812 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91606 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.9614 | 0.19931 | 0.92706 | 0.20337 | 0.15076
DIELDRIN | 2033 | 39381GCM35 | 2011-11-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.95442 | Accu | 210061341 | Accu 210061341: 40 µl | 0.04432 | DIELDRIN | . | 0.008 | 0.0423 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95442 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.9614 | 0.19931 | 0.92706 | 0.20337 | 0.15076
DIELDRIN | 2033 | 39381GCM35 | 2011-12-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.80212 | Accu | 210061341 | Accu 210061341: 80 µl | 0.08864 | DIELDRIN | . | 0.008 | 0.0711 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80212 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.9614 | 0.19931 | 0.92706 | 0.20337 | 0.15076
DIELDRIN | 2033 | 39381GCM35 | 2012-03-02 | 2010-10-01 | 2050-09-30 | ug/L | 0.82807 | Accu | 210061341 | Accu 210061341: 80 µl | 0.08864 | DIELDRIN | . | 0.008 | 0.0734 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82807 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.9614 | 0.19931 | 0.92706 | 0.20337 | 0.15076
DIELDRIN | 2033 | 39381GCM35 | 2012-03-27 | 2010-10-01 | 2050-09-30 | ug/L | 0.85063 | Accu | 210061341 | Accu 210061341: 40 µl | 0.04432 | DIELDRIN | . | 0.008 | 0.0377 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85063 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.9614 | 0.19931 | 0.92706 | 0.20337 | 0.15076
DIELDRIN | 2033 | 39381GCM35 | 2013-07-11 | 2010-10-01 | 2050-09-30 | ug/L | 1.0368 | ChemService, ERA | 1473000, 0318-13-02.2 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl | 0.019 | DIELDRIN | . | 0.008 | 0.0197 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0368 | Ch1473000, ER03102.2 | Ch | ER | ER | 1473000 | 03102.2 | 03102.2 |  | 03102.2 | 03102.2 | Y | Recoverable Result | Y | 2 |  | 1 | 1.0368 |  | 1.0368 | 0 | 0
DIELDRIN | 2033 | 39381GCM35 | 2013-06-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.0021 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl | 0.0475 | DIELDRIN | . | 0.008 | 0.0476 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0021 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.96421 | 0.053591 | 0.96421 | 0.075789 | 0.056182
DIELDRIN | 2033 | 39381GCM35 | 2014-01-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.92632 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl | 0.019 | DIELDRIN | . | 0.008 | 0.0176 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92632 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.96421 | 0.053591 | 0.96421 | 0.075789 | 0.056182
DIELDRIN | 2033 | 39381GCM35 | 2009-08-12 | 2005-03-04 | 2009-09-30 | ug/L | 0.78493 | ChemService | 406-99B | ChemService 406-99B: 25 µl | 0.014014 | DIELDRIN | E | 0.009 | 0.011 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78493 | ChemService 406-99B | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.91827 | 0.18857 | 0.91827 | 0.26668 | 0.19768
DIELDRIN | 2033 | 39381GCM35 | 2009-12-01 | 2009-10-01 | 2010-09-30 | ug/L | 1.0516 | ChemService | 406-99B | ChemService 406-99B: 25 µl | 0.014264 | DIELDRIN | . | 0.009 | 0.015 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0516 | ChemService 406-99B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.91827 | 0.18857 | 0.91827 | 0.26668 | 0.19768
DIELDRIN | 2033 | 39381GCM35 | 2013-12-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.2053 | Crescent, ChemService, Cresc | 04CC101, 1473000, 10802AL | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl | 0.019 | DIELDRIN | . | 0.008 | 0.0229 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2053 | Cr04CC101, Ch1473000, Cr10802A | Cr | Ch | Cr | 04CC101 | 1473000 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.2053 |  | 1.2053 | 0 | 0
DIELDRIN | 2033 | 39381GCM35 | 2013-09-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.83333 | Crescent, Spex Organics | 04CC101, T1130514013 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl | 0.018 | DIELDRIN | . | 0.008 | 0.015 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83333 | Cr04CC101, SpT114013 | Cr | Sp | Sp | 04CC101 | T114013 | T114013 |  | T114013 | T114013 | Y | Recoverable Result | Y | 2 |  | 1 | 0.83333 |  | 0.83333 | 0 | 0
DIELDRIN | 2033 | 39381GCM35 | 2009-09-16 | 2005-03-04 | 2009-09-30 | ug/L | 0.77395 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 25 µl | 0.014213 | DIELDRIN | . | 0.009 | 0.011 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77394 | ERA 0804-08-02PEST | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0348 | 0.19199 | 1.0811 | 0.28499 | 0.21126
DIELDRIN | 2033 | 39381GCM35 | 2009-11-11 | 2009-10-01 | 2010-09-30 | ug/L | 1.1515 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 40 µl | 0.022579 | DIELDRIN | . | 0.009 | 0.026 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1515 | ERA 0804-08-02PEST | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0348 | 0.19199 | 1.0811 | 0.28499 | 0.21126
DIELDRIN | 2033 | 39381GCM35 | 2010-01-17 | 2009-10-01 | 2010-09-30 | ug/L | 1.2031 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 25 µl | 0.01413 | DIELDRIN | . | 0.009 | 0.017 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2031 | ERA 0804-08-02PEST | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0348 | 0.19199 | 1.0811 | 0.28499 | 0.21126
DIELDRIN | 2033 | 39381GCM35 | 2010-01-21 | 2009-10-01 | 2010-09-30 | ug/L | 1.0107 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 40 µl | 0.021767 | DIELDRIN | . | 0.009 | 0.022 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0107 | ERA 0804-08-02PEST | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0348 | 0.19199 | 1.0811 | 0.28499 | 0.21126
DIELDRIN | 2033 | 39381GCM35 | 2010-02-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.606 | NSI | 090109-01Pest | NSI 090109-01Pest: 40 µl | 0.074423 | DIELDRIN | . | 0.009 | 0.0451 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.606 | NSI 090109-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.76774 | 0.16996 | 0.73712 | 0.25909 | 0.19206
DIELDRIN | 2033 | 39381GCM35 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.67039 | NSI | 090109-01Pest | NSI 090109-01Pest: 20 µl | 0.035353 | DIELDRIN | . | 0.009 | 0.0237 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67039 | NSI 090109-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.76774 | 0.16996 | 0.73712 | 0.25909 | 0.19206
DIELDRIN | 2033 | 39381GCM35 | 2010-08-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.80386 | NSI | 090109-01Pest | NSI 090109-01Pest: 20 µl | 0.036823 | DIELDRIN | . | 0.009 | 0.0296 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80386 | NSI 090109-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.76774 | 0.16996 | 0.73712 | 0.25909 | 0.19206
DIELDRIN | 2033 | 39381GCM35 | 2010-10-27 | 2010-10-01 | 2050-09-30 | ug/L | 0.99071 | NSI | 090109-01Pest | NSI 090109-01Pest: 100 µl | 0.18169 | DIELDRIN | . | 0.008 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99071 | NSI 090109-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.76774 | 0.16996 | 0.73712 | 0.25909 | 0.19206
DIELDRIN | 2033 | 39381GCM35 | 2009-09-03 | 2005-03-04 | 2009-09-30 | ug/L | 0.87343 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | DIELDRIN | . | 0.009 | 0.065 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87343 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.87343 |  | 0.87343 | 0 | 0
DIELDRIN | 2033 | 39381GCM35 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.86895 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | DIELDRIN | . | 0.009 | 0.0337 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86896 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.87334 | 0.024939 | 0.86896 | 0.049296 | 0.036543
DIELDRIN | 2033 | 39381GCM35 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.90018 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | DIELDRIN | . | 0.009 | 0.0365 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90018 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.87334 | 0.024939 | 0.86896 | 0.049296 | 0.036543
DIELDRIN | 2033 | 39381GCM35 | 2010-12-16 | 2010-10-01 | 2050-09-30 | ug/L | 0.85088 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | DIELDRIN | . | 0.008 | 0.0344 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85088 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.87334 | 0.024939 | 0.86896 | 0.049296 | 0.036543
DIELDRIN | 2033 | 39381GCM35 | 2011-01-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.86192 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | DIELDRIN | . | 0.008 | 0.0868 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86192 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.88954 | 0.12267 | 0.90571 | 0.18567 | 0.13763
DIELDRIN | 2033 | 39381GCM35 | 2011-03-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.94949 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 25 µl | 0.02475 | DIELDRIN | . | 0.008 | 0.0235 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94949 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.88954 | 0.12267 | 0.90571 | 0.18567 | 0.13763
DIELDRIN | 2033 | 39381GCM35 | 2011-04-20 | 2010-10-01 | 2050-09-30 | ug/L | 1.0153 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.099483 | DIELDRIN | . | 0.008 | 0.101 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0153 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.88954 | 0.12267 | 0.90571 | 0.18567 | 0.13763
DIELDRIN | 2033 | 39381GCM35 | 2011-06-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.73148 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 75 µl | 0.074096 | DIELDRIN | . | 0.008 | 0.0542 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73148 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.88954 | 0.12267 | 0.90571 | 0.18567 | 0.13763
DIELDRIN | 2033 | 39381GCM35 | 2012-09-26 | 2010-10-01 | 2050-09-30 | ug/L | 0.783 | Restek, Abs | A088380, 052412 | Restek A088380: 20 µl & Abs 052412: 20 µl | 0.1 | DIELDRIN | . | 0.008 | 0.0783 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.783 | ReA088380, Ab052412 | Re | Ab | Ab | A088380 | 052412 | 052412 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.7375 | 0.064347 | 0.7375 | 0.091 | 0.067457
DIELDRIN | 2033 | 39381GCM35 | 2013-03-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.692 | Restek, Abs | A088380, 052412 | Restek A088380: 20 µl & Abs 052412: 20 µl | 0.1 | DIELDRIN | . | 0.008 | 0.0692 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.692 | ReA088380, Ab052412 | Re | Ab | Ab | A088380 | 052412 | 052412 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.7375 | 0.064347 | 0.7375 | 0.091 | 0.067457
DIELDRIN | 2033 | 39381GCM35 | 2012-11-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.876 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl | 0.25 | DIELDRIN | . | 0.008 | 0.219 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.876 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.906 | 0.040447 | 0.89 | 0.076 | 0.056338
DIELDRIN | 2033 | 39381GCM35 | 2013-02-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.952 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl | 0.5 | DIELDRIN | . | 0.008 | 0.476 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.952 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.906 | 0.040447 | 0.89 | 0.076 | 0.056338
DIELDRIN | 2033 | 39381GCM35 | 2013-05-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.89 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl | 0.1 | DIELDRIN | . | 0.008 | 0.089 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.906 | 0.040447 | 0.89 | 0.076 | 0.056338
DIELDRIN | 2033 | 39381GCM35 | 2012-07-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.814 | Restek, Supelco | A088380, LB92783 | Restek A088380: 20 µl & Supelco LB92783: 20 µl | 0.1 | DIELDRIN | . | 0.008 | 0.0814 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.814 | ReA088380, SuLB92783 | Re | Su | Su | A088380 | LB92783 | LB92783 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.814 |  | 0.814 | 0 | 0
DIELDRIN | 2033 | 39381GCM35 | 2013-07-23 | 2010-10-01 | 2050-09-30 | ug/L | 1.01 | Restek, Abs | A093651, 012513 | Restek A093651: 20 µl & Abs 012513: 20 µl | 0.1 | DIELDRIN | . | 0.008 | 0.101 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.01 | ReA093651, Ab012513 | Re | Ab | Ab | A093651 | 012513 | 012513 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.01 |  | 1.01 | 0 | 0
DIELDRIN | 2033 | 39381GCM35 | 2013-09-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.968 | Restek, Abs, Crescent | A093651, 012513, 10802AL | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl | 0.25 | DIELDRIN | . | 0.008 | 0.242 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.968 | ReA093651, Ab012513, Cr10802AL | Re | Ab | Cr | A093651 | 012513 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.968 |  | 0.968 | 0 | 0
DIELDRIN | 2033 | 39381GCM35 | 2013-11-04 | 2010-10-01 | 2050-09-30 | ug/L | 0.849 | Restek, Abs, Crescent | A093651, 052412, 10802AL | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl | 0.1 | DIELDRIN | . | 0.008 | 0.0849 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.849 | ReA093651, Ab052412, Cr10802AL | Re | Ab | Cr | A093651 | 052412 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.9245 | 0.10677 | 0.9245 | 0.151 | 0.11193
DIELDRIN | 2033 | 39381GCM35 | 2014-01-08 | 2010-10-01 | 2050-09-30 | ug/L | 1 | Restek, Abs, Crescent | A093651, 052412, 10802AL | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl | 0.1 | DIELDRIN | . | 0.008 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | ReA093651, Ab052412, Cr10802AL | Re | Ab | Cr | A093651 | 052412 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.9245 | 0.10677 | 0.9245 | 0.151 | 0.11193
DIELDRIN | 2033 | 39381GCM35 | 2012-06-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.94 | Restek | A088380 | Restek A088380: 50 µl | 0.25 | DIELDRIN | . | 0.008 | 0.235 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94 | Restek A088380 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.94 |  | 0.94 | 0 | 0
DIELDRIN | 2033 | 39381GCM35 | 2012-08-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.77689 | Spex Organics, Crescent | T1120530013, 05BB029 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl | 0.1004 | DIELDRIN | . | 0.008 | 0.078 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77689 | SpT110013, Cr05BB029 | Sp | Cr | Cr | T110013 | 05BB029 | 05BB029 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.83964 | 0.08874 | 0.83964 | 0.1255 | 0.09303
DIELDRIN | 2033 | 39381GCM35 | 2012-12-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.90239 | Spex Organics, Crescent | T1120530013, 05BB029 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl | 0.502 | DIELDRIN | . | 0.008 | 0.453 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90239 | SpT110013, Cr05BB029 | Sp | Cr | Cr | T110013 | 05BB029 | 05BB029 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.83964 | 0.08874 | 0.83964 | 0.1255 | 0.09303
DIELDRIN | 2033 | 39381GCM35 | 2012-09-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.0259 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl | 0.1004 | DIELDRIN | . | 0.008 | 0.103 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0259 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.90139 | 0.17607 | 0.90139 | 0.249 | 0.18458
DIELDRIN | 2033 | 39381GCM35 | 2013-01-15 | 2010-10-01 | 2050-09-30 | ug/L | 0.77689 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl | 0.251 | DIELDRIN | . | 0.008 | 0.195 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77689 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.90139 | 0.17607 | 0.90139 | 0.249 | 0.18458
DIELDRIN | 2033 | 39381GCM35 | 2012-11-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.81673 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl | 0.502 | DIELDRIN | . | 0.008 | 0.41 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81673 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.74668 | 0.092046 | 0.78088 | 0.1743 | 0.12921
DIELDRIN | 2033 | 39381GCM35 | 2013-02-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.64243 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl | 0.1004 | DIELDRIN | . | 0.008 | 0.0645 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64243 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.74668 | 0.092046 | 0.78088 | 0.1743 | 0.12921
DIELDRIN | 2033 | 39381GCM35 | 2013-04-02 | 2010-10-01 | 2050-09-30 | ug/L | 0.78088 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl | 0.251 | DIELDRIN | . | 0.008 | 0.196 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78088 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.74668 | 0.092046 | 0.78088 | 0.1743 | 0.12921
DIELDRIN | 2033 | 39381GCM35 | 2013-09-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.92444 | Spex Organics, ERA | T1130514013, 0318-13-02.2 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl | 0.09 | DIELDRIN | . | 0.008 | 0.0832 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92444 | SpT114013, ER03102.2 | Sp | ER | ER | T114013 | 03102.2 | 03102.2 | T114013 | 03102.2 | 03102.2 | Y | Recoverable Result | Y | 2 |  | 1 | 0.92444 |  | 0.92444 | 0 | 0
DIELDRIN | 2033 | 39381GCM35 | 2013-11-09 | 2010-10-01 | 2050-09-30 | ug/L | 0.77778 | Spex Organics, Supelco | T1130514013, LB99392 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl | 0.018 | DIELDRIN | . | 0.008 | 0.014 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77778 | SpT114013, SuLB99392 | Sp | Su | Su | T114013 | LB99392 | LB99392 | T114013 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.77778 |  | 0.77778 | 0 | 0
DIELDRIN | 2033 | 39381GCM35 | 2010-02-06 | 2009-10-01 | 2010-09-30 | ug/L | 0.75722 | Supelco | LB69639 | Supelco LB69639: 20 µl | 0.03526 | DIELDRIN | . | 0.009 | 0.0267 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75723 | Supelco LB69639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0599 | 0.28593 | 1.0214 | 0.39834 | 0.29528
DIELDRIN | 2033 | 39381GCM35 | 2010-04-22 | 2009-10-01 | 2010-09-30 | ug/L | 1.4396 | Supelco | LB69639 | Supelco LB69639: 20 µl | 0.03508 | DIELDRIN | . | 0.009 | 0.0505 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4396 | Supelco LB69639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0599 | 0.28593 | 1.0214 | 0.39834 | 0.29528
DIELDRIN | 2033 | 39381GCM35 | 2010-07-07 | 2009-10-01 | 2010-09-30 | ug/L | 0.96422 | Supelco | LB69639 | Supelco LB69639: 40 µl | 0.069071 | DIELDRIN | . | 0.009 | 0.0666 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96422 | Supelco LB69639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0599 | 0.28593 | 1.0214 | 0.39834 | 0.29528
DIELDRIN | 2033 | 39381GCM35 | 2010-09-23 | 2009-10-01 | 2010-09-30 | ug/L | 1.0786 | Supelco | LB69639 | Supelco LB69639: 40 µl | 0.070465 | DIELDRIN | . | 0.009 | 0.076 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0786 | Supelco LB69639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0599 | 0.28593 | 1.0214 | 0.39834 | 0.29528