## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
DIMETHOATE | 2033 | 82662GCM40 | 2013-06-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.69333 | Abs, ChemService | 042413, 1473000 | Abs 042413: 20 µl & ChemService 1473000: 20 µl | 0.03 | DIMETHOATE | E | 0.01 | 0.0208 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69333 | Ab042413, Ch1473000 | Ab | Ch | Ch | 042413 | 1473000 | 1473000 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.69333 |  | 0.69333 | 0 | 0
DIMETHOATE | 2033 | 82662GCM40 | 2013-10-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.468 | Abs, Spex Organics, Crescent | 042413, T1130514013, 10802AL | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl | 0.075 | DIMETHOATE | E | 0.01 | 0.0351 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.468 | Ab042413, SpT114013, Cr10802AL | Ab | Sp | Cr | 042413 | T114013 | 10802AL |  | T114013 |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.468 |  | 0.468 | 0 | 0
DIMETHOATE | 2033 | 82662GCM40 | 2012-12-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.332 | Abs, ERA | 052412, 0507-12-04.2 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl | 0.25 | DIMETHOATE | E | 0.01 | 0.083 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.332 | Ab052412, ER05004.2 | Ab | ER | ER | 052412 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Estimated Values | Y | 2 | Y | 2 | 0.3284 | 0.0050912 | 0.3284 | 0.0072 | 0.0053373
DIMETHOATE | 2033 | 82662GCM40 | 2013-04-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.3248 | Abs, ERA | 052412, 0507-12-04.2 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl | 0.125 | DIMETHOATE | E | 0.01 | 0.0406 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.3248 | Ab052412, ER05004.2 | Ab | ER | ER | 052412 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Estimated Values | Y | 2 | Y | 2 | 0.3284 | 0.0050912 | 0.3284 | 0.0072 | 0.0053373
DIMETHOATE | 2033 | 82662GCM40 | 2012-08-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.48722 | Abs, Supelco | 052412, LB92783 | Abs 052412: 20 µl & Supelco LB92783: 20 µl | 0.05008 | DIMETHOATE | E | 0.01 | 0.0244 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.48722 | Ab052412, SuLB92783 | Ab | Su | Su | 052412 | LB92783 | LB92783 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.48722 |  | 0.48722 | 0 | 0
DIMETHOATE | 2033 | 82662GCM40 | 2011-01-07 | 2010-10-01 | 2011-09-30 | ug/L | 0.57446 | Abs | 080610 | Abs 080610: 40 µl | 0.02733 | DIMETHOATE | E | 0.006 | 0.0157 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57446 | Abs 080610 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.55466 | 0.071522 | 0.55396 | 0.056361 | 0.04178
DIMETHOATE | 2033 | 82662GCM40 | 2011-01-28 | 2010-10-01 | 2011-09-30 | ug/L | 0.60564 | Abs | 080610 | Abs 080610: 80 µl | 0.053498 | DIMETHOATE | E | 0.006 | 0.0324 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60564 | Abs 080610 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.55466 | 0.071522 | 0.55396 | 0.056361 | 0.04178
DIMETHOATE | 2033 | 82662GCM40 | 2011-02-22 | 2010-10-01 | 2011-09-30 | ug/L | 0.58874 | Abs | 080610 | Abs 080610: 40 µl | 0.027517 | DIMETHOATE | E | 0.006 | 0.0162 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58874 | Abs 080610 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.55466 | 0.071522 | 0.55396 | 0.056361 | 0.04178
DIMETHOATE | 2033 | 82662GCM40 | 2011-03-16 | 2010-10-01 | 2011-09-30 | ug/L | 0.55432 | Abs | 080610 | Abs 080610: 80 µl | 0.055203 | DIMETHOATE | E | 0.006 | 0.0306 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55432 | Abs 080610 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.55466 | 0.071522 | 0.55396 | 0.056361 | 0.04178
DIMETHOATE | 2033 | 82662GCM40 | 2011-05-03 | 2010-10-01 | 2011-09-30 | ug/L | 0.71976 | Abs | 080610 | Abs 080610: 40 µl | 0.027648 | DIMETHOATE | E | 0.006 | 0.0199 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71977 | Abs 080610 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.55466 | 0.071522 | 0.55396 | 0.056361 | 0.04178
DIMETHOATE | 2033 | 82662GCM40 | 2011-05-29 | 2010-10-01 | 2011-09-30 | ug/L | 0.46807 | Abs | 080610 | Abs 080610: 80 µl | 0.055975 | DIMETHOATE | E | 0.006 | 0.0262 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.46807 | Abs 080610 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.55466 | 0.071522 | 0.55396 | 0.056361 | 0.04178
DIMETHOATE | 2033 | 82662GCM40 | 2011-08-22 | 2010-10-01 | 2011-09-30 | ug/L | 0.55396 | Abs | 080610 | Abs 080610: 40 µl | 0.0278 | DIMETHOATE | E | 0.006 | 0.0154 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55396 | Abs 080610 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.55466 | 0.071522 | 0.55396 | 0.056361 | 0.04178
DIMETHOATE | 2033 | 82662GCM40 | 2011-10-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.53957 | Abs | 080610 | Abs 080610: 40 µl | 0.0278 | DIMETHOATE | E | 0.01 | 0.015 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53957 | Abs 080610 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.55466 | 0.071522 | 0.55396 | 0.056361 | 0.04178
DIMETHOATE | 2033 | 82662GCM40 | 2012-01-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.43525 | Abs | 080610 | Abs 080610: 40 µl | 0.0278 | DIMETHOATE | E | 0.01 | 0.0121 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.43525 | Abs 080610 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.55466 | 0.071522 | 0.55396 | 0.056361 | 0.04178
DIMETHOATE | 2033 | 82662GCM40 | 2012-02-09 | 2011-10-01 | 2050-09-30 | ug/L | 0.54317 | Abs | 080610 | Abs 080610: 80 µl | 0.0556 | DIMETHOATE | E | 0.01 | 0.0302 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54317 | Abs 080610 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.55466 | 0.071522 | 0.55396 | 0.056361 | 0.04178
DIMETHOATE | 2033 | 82662GCM40 | 2012-03-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.53237 | Abs | 080610 | Abs 080610: 40 µl | 0.0278 | DIMETHOATE | E | 0.01 | 0.0148 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53237 | Abs 080610 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.55466 | 0.071522 | 0.55396 | 0.056361 | 0.04178
DIMETHOATE | 2033 | 82662GCM40 | 2012-04-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.60791 | Abs | 080610 | Abs 080610: 40 µl | 0.0278 | DIMETHOATE | E | 0.01 | 0.0169 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60791 | Abs 080610 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.55466 | 0.071522 | 0.55396 | 0.056361 | 0.04178
DIMETHOATE | 2033 | 82662GCM40 | 2012-04-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.48741 | Abs | 080610 | Abs 080610: 80 µl | 0.0556 | DIMETHOATE | E | 0.01 | 0.0271 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.48741 | Abs 080610 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.55466 | 0.071522 | 0.55396 | 0.056361 | 0.04178
DIMETHOATE | 2033 | 82662GCM40 | 2011-01-12 | 2010-10-01 | 2011-09-30 | ug/L | 0.73065 | Accu | 210061341 | Accu 210061341: 40 µl | 0.027236 | DIMETHOATE | E | 0.006 | 0.0199 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73066 | Accu 210061341 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.53462 | 0.12084 | 0.49144 | 0.14825 | 0.10989
DIMETHOATE | 2033 | 82662GCM40 | 2011-02-01 | 2010-10-01 | 2011-09-30 | ug/L | 0.44187 | Accu | 210061341 | Accu 210061341: 80 µl | 0.056125 | DIMETHOATE | E | 0.006 | 0.0248 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.44187 | Accu 210061341 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.53462 | 0.12084 | 0.49144 | 0.14825 | 0.10989
DIMETHOATE | 2033 | 82662GCM40 | 2011-02-14 | 2010-10-01 | 2011-09-30 | ug/L | 0.48288 | Accu | 210061341 | Accu 210061341: 40 µl | 0.02775 | DIMETHOATE | E | 0.006 | 0.0134 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.48288 | Accu 210061341 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.53462 | 0.12084 | 0.49144 | 0.14825 | 0.10989
DIMETHOATE | 2033 | 82662GCM40 | 2011-04-07 | 2010-10-01 | 2011-09-30 | ug/L | 0.46946 | Accu | 210061341 | Accu 210061341: 40 µl | 0.02833 | DIMETHOATE | E | 0.006 | 0.0133 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.46946 | Accu 210061341 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.53462 | 0.12084 | 0.49144 | 0.14825 | 0.10989
DIMETHOATE | 2033 | 82662GCM40 | 2011-05-21 | 2010-10-01 | 2011-09-30 | ug/L | 0.52687 | Accu | 210061341 | Accu 210061341: 80 µl | 0.056181 | DIMETHOATE | E | 0.006 | 0.0296 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52687 | Accu 210061341 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.53462 | 0.12084 | 0.49144 | 0.14825 | 0.10989
DIMETHOATE | 2033 | 82662GCM40 | 2011-07-02 | 2010-10-01 | 2011-09-30 | ug/L | 0.74602 | Accu | 210061341 | Accu 210061341: 40 µl | 0.028149 | DIMETHOATE | E | 0.006 | 0.021 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74602 | Accu 210061341 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.53462 | 0.12084 | 0.49144 | 0.14825 | 0.10989
DIMETHOATE | 2033 | 82662GCM40 | 2011-07-20 | 2010-10-01 | 2011-09-30 | ug/L | 0.65603 | Accu | 210061341 | Accu 210061341: 40 µl | 0.0282 | DIMETHOATE | E | 0.006 | 0.0185 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65603 | Accu 210061341 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.53462 | 0.12084 | 0.49144 | 0.14825 | 0.10989
DIMETHOATE | 2033 | 82662GCM40 | 2011-08-30 | 2010-10-01 | 2011-09-30 | ug/L | 0.47872 | Accu | 210061341 | Accu 210061341: 80 µl | 0.0564 | DIMETHOATE | E | 0.006 | 0.027 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.47872 | Accu 210061341 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.53462 | 0.12084 | 0.49144 | 0.14825 | 0.10989
DIMETHOATE | 2033 | 82662GCM40 | 2011-11-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.57447 | Accu | 210061341 | Accu 210061341: 40 µl | 0.0282 | DIMETHOATE | E | 0.01 | 0.0162 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57447 | Accu 210061341 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.53462 | 0.12084 | 0.49144 | 0.14825 | 0.10989
DIMETHOATE | 2033 | 82662GCM40 | 2011-12-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.34397 | Accu | 210061341 | Accu 210061341: 80 µl | 0.0564 | DIMETHOATE | E | 0.01 | 0.0194 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.34397 | Accu 210061341 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.53462 | 0.12084 | 0.49144 | 0.14825 | 0.10989
DIMETHOATE | 2033 | 82662GCM40 | 2012-03-02 | 2011-10-01 | 2050-09-30 | ug/L | 0.46454 | Accu | 210061341 | Accu 210061341: 80 µl | 0.0564 | DIMETHOATE | E | 0.01 | 0.0262 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.46454 | Accu 210061341 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.53462 | 0.12084 | 0.49144 | 0.14825 | 0.10989
DIMETHOATE | 2033 | 82662GCM40 | 2012-03-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.5 | Accu | 210061341 | Accu 210061341: 40 µl | 0.0282 | DIMETHOATE | E | 0.01 | 0.0141 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5 | Accu 210061341 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.53462 | 0.12084 | 0.49144 | 0.14825 | 0.10989
DIMETHOATE | 2033 | 82662GCM40 | 2013-07-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.68333 | ChemService, ERA | 1473000, 0318-13-02.2 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl | 0.03 | DIMETHOATE | E | 0.01 | 0.0205 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68333 | Ch1473000, ER03102.2 | Ch | ER | ER | 1473000 | 03102.2 | 03102.2 |  | 03102.2 | 03102.2 | Y | Estimated Values | Y | 2 | Y | 1 | 0.68333 |  | 0.68333 | 0 | 0
DIMETHOATE | 2033 | 82662GCM40 | 2013-06-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.49867 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl | 0.075 | DIMETHOATE | E | 0.01 | 0.0374 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49867 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.44267 | 0.079196 | 0.44267 | 0.112 | 0.083024
DIMETHOATE | 2033 | 82662GCM40 | 2014-01-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.38667 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl | 0.03 | DIMETHOATE | E | 0.01 | 0.0116 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.38667 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.44267 | 0.079196 | 0.44267 | 0.112 | 0.083024
DIMETHOATE | 2033 | 82662GCM40 | 2009-08-12 | 2007-10-01 | 2009-09-30 | ug/L | 0.36529 | ChemService | 406-99B | ChemService 406-99B: 25 µl | 0.18068 | DIMETHOATE | E | 0.006 | 0.066 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.36529 | ChemService 406-99B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.44365 | 0.11083 | 0.44365 | 0.15673 | 0.11618
DIMETHOATE | 2033 | 82662GCM40 | 2009-12-01 | 2009-10-01 | 2010-09-30 | ug/L | 0.52202 | ChemService | 406-99B | ChemService 406-99B: 25 µl | 0.1839 | DIMETHOATE | E | 0.006 | 0.096 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52202 | ChemService 406-99B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.44365 | 0.11083 | 0.44365 | 0.15673 | 0.11618
DIMETHOATE | 2033 | 82662GCM40 | 2010-03-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.18942 | ChemService | 430-36C | ChemService 430-36C: 40 µl | 0.055434 | DIMETHOATE | E | 0.006 | 0.0105 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.18942 | ChemService 430-36C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.63609 | 0.41233 | 0.71669 | 0.81275 | 0.60249
DIMETHOATE | 2033 | 82662GCM40 | 2010-06-26 | 2009-10-01 | 2010-09-30 | ug/L | 0.71669 | ChemService | 430-36C | ChemService 430-36C: 40 µl | 0.05651 | DIMETHOATE | E | 0.006 | 0.0405 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71669 | ChemService 430-36C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.63609 | 0.41233 | 0.71669 | 0.81275 | 0.60249
DIMETHOATE | 2033 | 82662GCM40 | 2010-09-21 | 2009-10-01 | 2010-09-30 | ug/L | 1.0022 | ChemService | 430-36C | ChemService 430-36C: 20 µl | 0.028937 | DIMETHOATE | E | 0.006 | 0.029 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0022 | ChemService 430-36C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.63609 | 0.41233 | 0.71669 | 0.81275 | 0.60249
DIMETHOATE | 2033 | 82662GCM40 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.52333 | Crescent, ChemService, Cresc | 04CC101, 1473000, 10802AL | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl | 0.03 | DIMETHOATE | E | 0.01 | 0.0157 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52333 | Cr04CC101, Ch1473000, Cr10802A | Cr | Ch | Cr | 04CC101 | 1473000 | 10802AL |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.52333 |  | 0.52333 | 0 | 0
DIMETHOATE | 2033 | 82662GCM40 | 2013-09-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.69 | Crescent, Spex Organics | 04CC101, T1130514013 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl | 0.03 | DIMETHOATE | E | 0.01 | 0.0207 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69 | Cr04CC101, SpT114013 | Cr | Sp | Sp | 04CC101 | T114013 | T114013 |  | T114013 | T114013 | Y | Estimated Values | Y | 2 | Y | 1 | 0.69 |  | 0.69 | 0 | 0
DIMETHOATE | 2033 | 82662GCM40 | 2012-09-17 | 2011-10-01 | 2050-09-30 | ug/L | 0.658 | Crescent, ERA | 05BB029, 0507-12-04.2 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl | 0.05 | DIMETHOATE | E | 0.01 | 0.0329 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.658 | Cr05BB029, ER05004.2 | Cr | ER | ER | 05BB029 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Estimated Values | Y | 2 | Y | 2 | 0.562 | 0.13576 | 0.562 | 0.192 | 0.14233
DIMETHOATE | 2033 | 82662GCM40 | 2013-03-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.466 | Crescent, ERA | 05BB029, 0507-12-04.2 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl | 0.05 | DIMETHOATE | E | 0.01 | 0.0233 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.466 | Cr05BB029, ER05004.2 | Cr | ER | ER | 05BB029 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Estimated Values | Y | 2 | Y | 2 | 0.562 | 0.13576 | 0.562 | 0.192 | 0.14233
DIMETHOATE | 2033 | 82662GCM40 | 2012-10-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.3968 | ERA | 0507-12-04.2 | ERA 0507-12-04.2: 50 µl | 0.125 | DIMETHOATE | E | 0.01 | 0.0496 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.3968 | ERA 0507-12-04.2 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 0.3968 |  | 0.3968 | 0 | 0
DIMETHOATE | 2033 | 82662GCM40 | 2009-09-16 | 2007-10-01 | 2009-09-30 | ug/L | 0.26625 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 25 µl | 0.18404 | DIMETHOATE | E | 0.006 | 0.049 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.26625 | ERA 0804-08-02PEST | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.28438 | 0.038152 | 0.27336 | 0.050589 | 0.037501
DIMETHOATE | 2033 | 82662GCM40 | 2009-11-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.28048 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 40 µl | 0.29236 | DIMETHOATE | E | 0.006 | 0.082 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.28048 | ERA 0804-08-02PEST | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.28438 | 0.038152 | 0.27336 | 0.050589 | 0.037501
DIMETHOATE | 2033 | 82662GCM40 | 2010-01-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.33887 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 25 µl | 0.18296 | DIMETHOATE | E | 0.006 | 0.062 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.33887 | ERA 0804-08-02PEST | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.28438 | 0.038152 | 0.27336 | 0.050589 | 0.037501
DIMETHOATE | 2033 | 82662GCM40 | 2010-01-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.25191 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 40 µl | 0.28185 | DIMETHOATE | E | 0.006 | 0.071 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.25191 | ERA 0804-08-02PEST | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.28438 | 0.038152 | 0.27336 | 0.050589 | 0.037501
DIMETHOATE | 2033 | 82662GCM40 | 2009-09-03 | 2007-10-01 | 2009-09-30 | ug/L | 0.34937 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | DIMETHOATE | E | 0.006 | 0.026 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.34937 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 0.34937 |  | 0.34937 | 0 | 0
DIMETHOATE | 2033 | 82662GCM40 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.61368 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | DIMETHOATE | E | 0.006 | 0.0238 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61368 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.72488 | 0.096307 | 0.77915 | 0.16812 | 0.12462
DIMETHOATE | 2033 | 82662GCM40 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.7818 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | DIMETHOATE | E | 0.006 | 0.0317 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7818 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.72488 | 0.096307 | 0.77915 | 0.16812 | 0.12462
DIMETHOATE | 2033 | 82662GCM40 | 2010-12-16 | 2010-10-01 | 2011-09-30 | ug/L | 0.77915 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | DIMETHOATE | E | 0.006 | 0.0315 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77915 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.72488 | 0.096307 | 0.77915 | 0.16812 | 0.12462
DIMETHOATE | 2033 | 82662GCM40 | 2011-01-20 | 2010-10-01 | 2011-09-30 | ug/L | 0.57991 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | DIMETHOATE | E | 0.006 | 0.0584 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57991 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.63205 | 0.12842 | 0.57202 | 0.14006 | 0.10383
DIMETHOATE | 2033 | 82662GCM40 | 2011-03-05 | 2010-10-01 | 2011-09-30 | ug/L | 0.82424 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 25 µl | 0.02475 | DIMETHOATE | E | 0.006 | 0.0204 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82424 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.63205 | 0.12842 | 0.57202 | 0.14006 | 0.10383
DIMETHOATE | 2033 | 82662GCM40 | 2011-04-20 | 2010-10-01 | 2011-09-30 | ug/L | 0.5599 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.099483 | DIMETHOATE | E | 0.006 | 0.0557 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5599 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.63205 | 0.12842 | 0.57202 | 0.14006 | 0.10383
DIMETHOATE | 2033 | 82662GCM40 | 2011-06-22 | 2010-10-01 | 2011-09-30 | ug/L | 0.56413 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 75 µl | 0.074096 | DIMETHOATE | E | 0.006 | 0.0418 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56413 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.63205 | 0.12842 | 0.57202 | 0.14006 | 0.10383
DIMETHOATE | 2033 | 82662GCM40 | 2012-07-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.52716 | Restek, Supelco | A088380, LB92783 | Restek A088380: 20 µl & Supelco LB92783: 20 µl | 0.05008 | DIMETHOATE | E | 0.01 | 0.0264 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52716 | ReA088380, SuLB92783 | Re | Su | Su | A088380 | LB92783 | LB92783 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.52716 |  | 0.52716 | 0 | 0
DIMETHOATE | 2033 | 82662GCM40 | 2010-02-02 | 2009-10-01 | 2010-09-30 | ug/L | 0.27202 | Restek | A069639 | Restek A069639: 20 µl | 0.027571 | DIMETHOATE | E | 0.006 | 0.0075 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.27202 | Restek A069639 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.41279 | 0.10921 | 0.42085 | 0.14493 | 0.10743
DIMETHOATE | 2033 | 82662GCM40 | 2010-03-19 | 2009-10-01 | 2010-09-30 | ug/L | 0.43308 | Restek | A069639 | Restek A069639: 20 µl | 0.02794 | DIMETHOATE | E | 0.006 | 0.0121 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.43308 | Restek A069639 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.41279 | 0.10921 | 0.42085 | 0.14493 | 0.10743
DIMETHOATE | 2033 | 82662GCM40 | 2010-07-29 | 2009-10-01 | 2010-09-30 | ug/L | 0.40863 | Restek | A069639 | Restek A069639: 100 µl | 0.14439 | DIMETHOATE | E | 0.006 | 0.059 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.40863 | Restek A069639 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.41279 | 0.10921 | 0.42085 | 0.14493 | 0.10743
DIMETHOATE | 2033 | 82662GCM40 | 2010-10-18 | 2010-10-01 | 2011-09-30 | ug/L | 0.53743 | Restek | A069639 | Restek A069639: 40 µl | 0.055263 | DIMETHOATE | E | 0.006 | 0.0297 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53743 | Restek A069639 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.41279 | 0.10921 | 0.42085 | 0.14493 | 0.10743
DIMETHOATE | 2033 | 82662GCM40 | 2012-09-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.714 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl | 0.05 | DIMETHOATE | E | 0.01 | 0.0357 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.714 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Estimated Values | Y | 2 | Y | 2 | 0.5366 | 0.25088 | 0.5366 | 0.3548 | 0.26301
DIMETHOATE | 2033 | 82662GCM40 | 2013-01-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.3592 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl | 0.125 | DIMETHOATE | E | 0.01 | 0.0449 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.3592 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Estimated Values | Y | 2 | Y | 2 | 0.5366 | 0.25088 | 0.5366 | 0.3548 | 0.26301
DIMETHOATE | 2033 | 82662GCM40 | 2012-11-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.2512 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl | 0.2504 | DIMETHOATE | E | 0.01 | 0.0629 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.2512 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Estimated Values | Y | 2 | Y | 3 | 0.30804 | 0.050437 | 0.32548 | 0.096246 | 0.071346
DIMETHOATE | 2033 | 82662GCM40 | 2013-02-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.32548 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl | 0.05008 | DIMETHOATE | E | 0.01 | 0.0163 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.32548 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Estimated Values | Y | 2 | Y | 3 | 0.30804 | 0.050437 | 0.32548 | 0.096246 | 0.071346
DIMETHOATE | 2033 | 82662GCM40 | 2013-04-02 | 2011-10-01 | 2050-09-30 | ug/L | 0.34744 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl | 0.1252 | DIMETHOATE | E | 0.01 | 0.0435 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.34744 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Estimated Values | Y | 2 | Y | 3 | 0.30804 | 0.050437 | 0.32548 | 0.096246 | 0.071346
DIMETHOATE | 2033 | 82662GCM40 | 2013-09-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.28867 | Spex Organics, ERA | T1130514013, 0318-13-02.2 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl | 0.15 | DIMETHOATE | E | 0.01 | 0.0433 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.28867 | SpT114013, ER03102.2 | Sp | ER | ER | T114013 | 03102.2 | 03102.2 | T114013 | 03102.2 | 03102.2 | Y | Estimated Values | Y | 2 | Y | 1 | 0.28867 |  | 0.28867 | 0 | 0
DIMETHOATE | 2033 | 82662GCM40 | 2013-11-09 | 2011-10-01 | 2050-09-30 | ug/L | 0.52 | Spex Organics, Supelco | T1130514013, LB99392 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl | 0.03 | DIMETHOATE | E | 0.01 | 0.0156 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52 | SpT114013, SuLB99392 | Sp | Su | Su | T114013 | LB99392 | LB99392 | T114013 |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.52 |  | 0.52 | 0 | 0
DIMETHOATE | 2033 | 82662GCM40 | 2012-10-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.36981 | Supelco, Abs | LB92783, 052412 | Supelco LB92783: 50 µl & Abs 052412: 50 µl | 0.1252 | DIMETHOATE | E | 0.01 | 0.0463 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.36981 | SuLB92783, Ab052412 | Su | Ab | Ab | LB92783 | 052412 | 052412 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.3758 | 0.0084717 | 0.3758 | 0.011981 | 0.0088813
DIMETHOATE | 2033 | 82662GCM40 | 2013-01-17 | 2011-10-01 | 2050-09-30 | ug/L | 0.38179 | Supelco, Abs | LB92783, 052412 | Supelco LB92783: 50 µl & Abs 052412: 50 µl | 0.1252 | DIMETHOATE | E | 0.01 | 0.0478 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.38179 | SuLB92783, Ab052412 | Su | Ab | Ab | LB92783 | 052412 | 052412 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.3758 | 0.0084717 | 0.3758 | 0.011981 | 0.0088813