## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2012-12-06 | 2012-10-01 | 2050-09-30 | ug/L | 0.75542 | Abs, ERA | 052412, 0507-12-04.2 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl | 0.507 | DISULFOTON_SULFONE | . | 0.01 | 0.383 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75542 | Ab052412, ER05004.2 | Ab | ER | ER | 052412 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.70907 | 0.06555 | 0.70907 | 0.092702 | 0.068719
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2013-04-22 | 2012-10-01 | 2050-09-30 | ug/L | 0.66272 | Abs, ERA | 052412, 0507-12-04.2 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl | 0.2535 | DISULFOTON_SULFONE | . | 0.01 | 0.168 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66272 | Ab052412, ER05004.2 | Ab | ER | ER | 052412 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.70907 | 0.06555 | 0.70907 | 0.092702 | 0.068719
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2012-08-14 | 2010-10-01 | 2012-09-30 | ug/L | 0.856 | Abs, Supelco | 052412, LB92783 | Abs 052412: 20 µl & Supelco LB92783: 20 µl | 0.1 | DISULFOTON_SULFONE | . | 0.014 | 0.0856 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.856 | Ab052412, SuLB92783 | Ab | Su | Su | 052412 | LB92783 | LB92783 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.856 |  | 0.856 | 0 | 0
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2012-09-17 | 2010-10-01 | 2012-09-30 | ug/L | 0.91223 | Crescent, ERA | 05BB029, 0507-12-04.2 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl | 0.1014 | DISULFOTON_SULFONE | . | 0.014 | 0.0925 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91223 | Cr05BB029, ER05004.2 | Cr | ER | ER | 05BB029 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.85897 | 0.075313 | 0.85897 | 0.10651 | 0.078954
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2013-03-07 | 2012-10-01 | 2050-09-30 | ug/L | 0.80572 | Crescent, ERA | 05BB029, 0507-12-04.2 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl | 0.1014 | DISULFOTON_SULFONE | . | 0.01 | 0.0817 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80572 | Cr05BB029, ER05004.2 | Cr | ER | ER | 05BB029 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.85897 | 0.075313 | 0.85897 | 0.10651 | 0.078954
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2012-10-12 | 2012-10-01 | 2050-09-30 | ug/L | 0.79684 | ERA | 0507-12-04.2 | ERA 0507-12-04.2: 50 µl | 0.2535 | DISULFOTON_SULFONE | . | 0.01 | 0.202 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79684 | ERA 0507-12-04.2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.79684 |  | 0.79684 | 0 | 0
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2011-01-13 | 2010-10-01 | 2012-09-30 | ug/L | 0.91409 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 80 µl | 0.06914 | DISULFOTON_SULFONE | . | 0.014 | 0.0632 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91409 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.88901 | 0.1634 | 0.85405 | 0.13446 | 0.099674
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2011-02-08 | 2010-10-01 | 2012-09-30 | ug/L | 0.88265 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.034102 | DISULFOTON_SULFONE | . | 0.014 | 0.0301 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88265 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.88901 | 0.1634 | 0.85405 | 0.13446 | 0.099674
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2011-02-28 | 2010-10-01 | 2012-09-30 | ug/L | 0.77266 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 80 µl | 0.069112 | DISULFOTON_SULFONE | . | 0.014 | 0.0534 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77266 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.88901 | 0.1634 | 0.85405 | 0.13446 | 0.099674
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2011-04-13 | 2010-10-01 | 2012-09-30 | ug/L | 0.88934 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.03497 | DISULFOTON_SULFONE | . | 0.014 | 0.0311 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88934 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.88901 | 0.1634 | 0.85405 | 0.13446 | 0.099674
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2011-06-20 | 2010-10-01 | 2012-09-30 | ug/L | 0.82545 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.035132 | DISULFOTON_SULFONE | . | 0.014 | 0.029 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82545 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.88901 | 0.1634 | 0.85405 | 0.13446 | 0.099674
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2011-07-28 | 2010-10-01 | 2012-09-30 | ug/L | 1.309 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.03476 | DISULFOTON_SULFONE | . | 0.014 | 0.0455 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.309 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.88901 | 0.1634 | 0.85405 | 0.13446 | 0.099674
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2011-10-25 | 2010-10-01 | 2012-09-30 | ug/L | 0.82278 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.03476 | DISULFOTON_SULFONE | . | 0.014 | 0.0286 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82278 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.88901 | 0.1634 | 0.85405 | 0.13446 | 0.099674
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2011-12-03 | 2010-10-01 | 2012-09-30 | ug/L | 0.7336 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 80 µl | 0.06952 | DISULFOTON_SULFONE | . | 0.014 | 0.051 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7336 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.88901 | 0.1634 | 0.85405 | 0.13446 | 0.099674
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2012-03-05 | 2010-10-01 | 2012-09-30 | ug/L | 0.77963 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.03476 | DISULFOTON_SULFONE | . | 0.014 | 0.0271 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77963 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.88901 | 0.1634 | 0.85405 | 0.13446 | 0.099674
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2012-05-08 | 2010-10-01 | 2012-09-30 | ug/L | 0.96087 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.03476 | DISULFOTON_SULFONE | . | 0.014 | 0.0334 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96087 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.88901 | 0.1634 | 0.85405 | 0.13446 | 0.099674
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2010-02-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.74893 | NSI | 090109-01Pest | NSI 090109-01Pest: 40 µl | 0.16557 | DISULFOTON_SULFONE | . | 0.0136 | 0.124 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74893 | NSI 090109-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.62577 | 0.10251 | 0.61483 | 0.16634 | 0.12331
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.56072 | NSI | 090109-01Pest | NSI 090109-01Pest: 20 µl | 0.078649 | DISULFOTON_SULFONE | . | 0.0136 | 0.0441 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56072 | NSI 090109-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.62577 | 0.10251 | 0.61483 | 0.16634 | 0.12331
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2010-08-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.66895 | NSI | 090109-01Pest | NSI 090109-01Pest: 20 µl | 0.08192 | DISULFOTON_SULFONE | . | 0.0136 | 0.0548 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66895 | NSI 090109-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.62577 | 0.10251 | 0.61483 | 0.16634 | 0.12331
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2010-10-27 | 2010-10-01 | 2012-09-30 | ug/L | 0.52449 | NSI | 090109-01Pest | NSI 090109-01Pest: 100 µl | 0.40421 | DISULFOTON_SULFONE | . | 0.014 | 0.212 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52449 | NSI 090109-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.62577 | 0.10251 | 0.61483 | 0.16634 | 0.12331
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2009-09-03 | 2006-04-01 | 2009-09-30 | ug/L | 0.64499 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | DISULFOTON_SULFONE | . | 0.014 | 0.048 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64499 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.64499 |  | 0.64499 | 0 | 0
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.72198 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | DISULFOTON_SULFONE | . | 0.0136 | 0.028 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72198 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.89179 | 0.17304 | 0.88551 | 0.34591 | 0.25642
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 1.0679 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | DISULFOTON_SULFONE | . | 0.0136 | 0.0433 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0679 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.89179 | 0.17304 | 0.88551 | 0.34591 | 0.25642
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2010-12-16 | 2010-10-01 | 2012-09-30 | ug/L | 0.88551 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | DISULFOTON_SULFONE | . | 0.014 | 0.0358 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88551 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.89179 | 0.17304 | 0.88551 | 0.34591 | 0.25642
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2011-01-20 | 2010-10-01 | 2012-09-30 | ug/L | 0.87185 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | DISULFOTON_SULFONE | . | 0.014 | 0.0878 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87185 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.83312 | 0.097996 | 0.82846 | 0.1551 | 0.11498
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2011-03-05 | 2010-10-01 | 2012-09-30 | ug/L | 0.94949 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 25 µl | 0.02475 | DISULFOTON_SULFONE | . | 0.014 | 0.0235 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94949 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.83312 | 0.097996 | 0.82846 | 0.1551 | 0.11498
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2011-04-20 | 2010-10-01 | 2012-09-30 | ug/L | 0.78506 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.099483 | DISULFOTON_SULFONE | . | 0.014 | 0.0781 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78506 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.83312 | 0.097996 | 0.82846 | 0.1551 | 0.11498
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2011-06-22 | 2010-10-01 | 2012-09-30 | ug/L | 0.72608 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 75 µl | 0.074096 | DISULFOTON_SULFONE | . | 0.014 | 0.0538 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72609 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.83312 | 0.097996 | 0.82846 | 0.1551 | 0.11498
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2012-07-14 | 2010-10-01 | 2012-09-30 | ug/L | 0.95 | Restek, Supelco | A088380, LB92783 | Restek A088380: 20 µl & Supelco LB92783: 20 µl | 0.1 | DISULFOTON_SULFONE | . | 0.014 | 0.095 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95 | ReA088380, SuLB92783 | Re | Su | Su | A088380 | LB92783 | LB92783 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.95 |  | 0.95 | 0 | 0
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2009-08-25 | 2006-04-01 | 2009-09-30 | ug/L | 0.89373 | Restek | A063025 | Restek A063025: 40 µl | 0.042518 | DISULFOTON_SULFONE | . | 0.014 | 0.038 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89373 | Restek A063025 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.86465 | 0.041121 | 0.86465 | 0.058153 | 0.043108
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2009-12-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.83558 | Restek | A063025 | Restek A063025: 25 µl | 0.026329 | DISULFOTON_SULFONE | . | 0.0136 | 0.022 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83558 | Restek A063025 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.86465 | 0.041121 | 0.86465 | 0.058153 | 0.043108
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2012-09-05 | 2010-10-01 | 2012-09-30 | ug/L | 0.9073 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl | 0.1014 | DISULFOTON_SULFONE | . | 0.014 | 0.092 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9073 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.79684 | 0.15621 | 0.79684 | 0.22091 | 0.16376
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2013-01-15 | 2012-10-01 | 2050-09-30 | ug/L | 0.68639 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl | 0.2535 | DISULFOTON_SULFONE | . | 0.01 | 0.174 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68639 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.79684 | 0.15621 | 0.79684 | 0.22091 | 0.16376
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2012-11-20 | 2012-10-01 | 2050-09-30 | ug/L | 0.798 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl | 0.5 | DISULFOTON_SULFONE | . | 0.01 | 0.399 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.798 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.798 | 0.05 | 0.798 | 9999999999999996 | 0.074129
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2013-02-22 | 2012-10-01 | 2050-09-30 | ug/L | 0.748 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl | 0.1 | DISULFOTON_SULFONE | . | 0.01 | 0.0748 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.748 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.798 | 0.05 | 0.798 | 9999999999999996 | 0.074129
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2013-04-02 | 2012-10-01 | 2050-09-30 | ug/L | 0.848 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl | 0.25 | DISULFOTON_SULFONE | . | 0.01 | 0.212 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.848 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.798 | 0.05 | 0.798 | 9999999999999996 | 0.074129
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2011-01-11 | 2010-10-01 | 2012-09-30 | ug/L | 1.1149 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.071308 | DISULFOTON_SULFONE | . | 0.014 | 0.0795 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1149 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.97428 | 0.086736 | 0.97338 | 0.12222 | 0.090602
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2011-01-21 | 2010-10-01 | 2012-09-30 | ug/L | 1.0077 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.035925 | DISULFOTON_SULFONE | . | 0.014 | 0.0362 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0077 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.97428 | 0.086736 | 0.97338 | 0.12222 | 0.090602
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2011-02-19 | 2010-10-01 | 2012-09-30 | ug/L | 0.97338 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.036163 | DISULFOTON_SULFONE | . | 0.014 | 0.0352 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97338 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.97428 | 0.086736 | 0.97338 | 0.12222 | 0.090602
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2011-03-23 | 2010-10-01 | 2012-09-30 | ug/L | 0.90454 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.035266 | DISULFOTON_SULFONE | . | 0.014 | 0.0319 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90454 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.97428 | 0.086736 | 0.97338 | 0.12222 | 0.090602
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2011-05-14 | 2010-10-01 | 2012-09-30 | ug/L | 0.89294 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.036397 | DISULFOTON_SULFONE | . | 0.014 | 0.0325 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89294 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.97428 | 0.086736 | 0.97338 | 0.12222 | 0.090602
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2011-07-07 | 2010-10-01 | 2012-09-30 | ug/L | 1.0306 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.072 | DISULFOTON_SULFONE | . | 0.014 | 0.0742 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0306 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.97428 | 0.086736 | 0.97338 | 0.12222 | 0.090602
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2011-09-19 | 2010-10-01 | 2012-09-30 | ug/L | 0.80833 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.036 | DISULFOTON_SULFONE | . | 0.014 | 0.0291 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80833 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.97428 | 0.086736 | 0.97338 | 0.12222 | 0.090602
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2011-09-29 | 2010-10-01 | 2012-09-30 | ug/L | 0.90833 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.072 | DISULFOTON_SULFONE | . | 0.014 | 0.0654 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90833 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.97428 | 0.086736 | 0.97338 | 0.12222 | 0.090602
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2011-11-17 | 2010-10-01 | 2012-09-30 | ug/L | 0.90833 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.036 | DISULFOTON_SULFONE | . | 0.014 | 0.0327 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90833 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.97428 | 0.086736 | 0.97338 | 0.12222 | 0.090602
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2011-12-21 | 2010-10-01 | 2012-09-30 | ug/L | 1.0431 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.072 | DISULFOTON_SULFONE | . | 0.014 | 0.0751 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0431 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.97428 | 0.086736 | 0.97338 | 0.12222 | 0.090602
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2012-01-27 | 2010-10-01 | 2012-09-30 | ug/L | 1.0292 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.072 | DISULFOTON_SULFONE | . | 0.014 | 0.0741 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0292 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.97428 | 0.086736 | 0.97338 | 0.12222 | 0.090602
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2012-04-05 | 2010-10-01 | 2012-09-30 | ug/L | 0.96667 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.036 | DISULFOTON_SULFONE | . | 0.014 | 0.0348 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96667 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.97428 | 0.086736 | 0.97338 | 0.12222 | 0.090602
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2012-06-02 | 2010-10-01 | 2012-09-30 | ug/L | 1.0778 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.036 | DISULFOTON_SULFONE | . | 0.014 | 0.0388 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0778 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.97428 | 0.086736 | 0.97338 | 0.12222 | 0.090602
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2012-10-18 | 2012-10-01 | 2050-09-30 | ug/L | 0.704 | Supelco, Abs | LB92783, 052412 | Supelco LB92783: 50 µl & Abs 052412: 50 µl | 0.25 | DISULFOTON_SULFONE | . | 0.01 | 0.176 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.704 | SuLB92783, Ab052412 | Su | Ab | Ab | LB92783 | 052412 | 052412 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.716 | 0.016971 | 0.716 | 0.024 | 0.017791
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2013-01-17 | 2012-10-01 | 2050-09-30 | ug/L | 0.728 | Supelco, Abs | LB92783, 052412 | Supelco LB92783: 50 µl & Abs 052412: 50 µl | 0.25 | DISULFOTON_SULFONE | . | 0.01 | 0.182 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.728 | SuLB92783, Ab052412 | Su | Ab | Ab | LB92783 | 052412 | 052412 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.716 | 0.016971 | 0.716 | 0.024 | 0.017791
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2009-09-29 | 2006-04-01 | 2009-09-30 | ug/L | 0.65372 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.026005 | DISULFOTON_SULFONE | . | 0.014 | 0.017 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65372 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.78989 | 0.19257 | 0.78989 | 0.27233 | 0.20188
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2010-01-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.92605 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.025916 | DISULFOTON_SULFONE | . | 0.0136 | 0.024 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92605 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.78989 | 0.19257 | 0.78989 | 0.27233 | 0.20188
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2010-02-06 | 2009-10-01 | 2010-09-30 | ug/L | 0.59379 | Supelco | LB69639 | Supelco LB69639: 20 µl | 0.078479 | DISULFOTON_SULFONE | . | 0.0136 | 0.0466 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59379 | Supelco LB69639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.9124 | 0.41783 | 0.76584 | 0.51548 | 0.38212
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2010-04-22 | 2009-10-01 | 2010-09-30 | ug/L | 1.5241 | Supelco | LB69639 | Supelco LB69639: 20 µl | 0.078078 | DISULFOTON_SULFONE | E | 0.0136 | 0.119 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5241 | Supelco LB69639 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.9124 | 0.41783 | 0.76584 | 0.51548 | 0.38212
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2010-07-07 | 2009-10-01 | 2010-09-30 | ug/L | 0.71553 | Supelco | LB69639 | Supelco LB69639: 40 µl | 0.15373 | DISULFOTON_SULFONE | . | 0.0136 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71553 | Supelco LB69639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.9124 | 0.41783 | 0.76584 | 0.51548 | 0.38212
DISULFOTON SULFONE | 2033 | 61640GCM39 | 2010-09-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.81615 | Supelco | LB69639 | Supelco LB69639: 40 µl | 0.15683 | DISULFOTON_SULFONE | . | 0.0136 | 0.128 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81615 | Supelco LB69639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.9124 | 0.41783 | 0.76584 | 0.51548 | 0.38212