## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2012-12-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.84024 | Abs, ERA | 052412, 0507-12-04.2 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl | 0.507 | ENDOSULFAN_SULFATE | . | 0.016 | 0.426 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84024 | Ab052412, ER05004.2 | Ab | ER | ER | 052412 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.78895 | 0.072524 | 0.78895 | 0.10256 | 0.07603
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2013-04-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.73767 | Abs, ERA | 052412, 0507-12-04.2 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl | 0.2535 | ENDOSULFAN_SULFATE | E | 0.016 | 0.187 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73767 | Ab052412, ER05004.2 | Ab | ER | ER | 052412 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Estimated Values | Y | 2 |  | 2 | 0.78895 | 0.072524 | 0.78895 | 0.10256 | 0.07603
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2012-08-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.951 | Abs, Supelco | 052412, LB92783 | Abs 052412: 20 µl & Supelco LB92783: 20 µl | 0.1 | ENDOSULFAN_SULFATE | . | 0.016 | 0.0951 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.951 | Ab052412, SuLB92783 | Ab | Su | Su | 052412 | LB92783 | LB92783 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.951 |  | 0.951 | 0 | 0
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2009-10-27 | 2009-10-01 | 2010-09-30 | ug/L | 1.005 | Abs | 080408Pest | Abs 080408Pest: 40 µl | 0.21692 | ENDOSULFAN_SULFATE | . | 0.014 | 0.218 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.005 | Abs 080408Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.98552 | 0.027519 | 0.98552 | 0.038918 | 0.028849
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2010-01-10 | 2009-10-01 | 2010-09-30 | ug/L | 0.96606 | Abs | 080408Pest | Abs 080408Pest: 25 µl | 0.1356 | ENDOSULFAN_SULFATE | . | 0.014 | 0.131 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96606 | Abs 080408Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.98552 | 0.027519 | 0.98552 | 0.038918 | 0.028849
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2009-09-03 | 2006-04-01 | 2009-09-30 | ug/L | 0.89092 | Accu | B8090098 | Accu B8090098: 25 µl | 0.13357 | ENDOSULFAN_SULFATE | . | 0.022 | 0.119 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89092 | Accu B8090098 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.97308 | 0.1162 | 0.97308 | 0.16433 | 0.12182
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2009-12-30 | 2009-10-01 | 2010-09-30 | ug/L | 1.0552 | Accu | B8090098 | Accu B8090098: 25 µl | 0.13457 | ENDOSULFAN_SULFATE | . | 0.014 | 0.142 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0552 | Accu B8090098 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.97308 | 0.1162 | 0.97308 | 0.16433 | 0.12182
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2013-07-11 | 2010-10-01 | 2050-09-30 | ug/L | 0.6225 | ChemService, ERA | 1473000, 0318-13-02.2 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl | 0.04 | ENDOSULFAN_SULFATE | . | 0.016 | 0.0249 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6225 | Ch1473000, ER03102.2 | Ch | ER | ER | 1473000 | 03102.2 | 03102.2 |  | 03102.2 | 03102.2 | Y | Recoverable Result | Y | 2 |  | 1 | 0.6225 |  | 0.6225 | 0 | 0
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2013-06-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.25 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl | 0.1 | ENDOSULFAN_SULFATE | . | 0.016 | 0.125 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.25 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.075 | 0.24749 | 1.075 | 0.35 | 0.25945
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2014-01-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.9 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl | 0.04 | ENDOSULFAN_SULFATE | . | 0.016 | 0.036 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.075 | 0.24749 | 1.075 | 0.35 | 0.25945
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2012-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.76627 | Crescent, ERA | 05BB029, 0507-12-04.2 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl | 0.1014 | ENDOSULFAN_SULFATE | . | 0.016 | 0.0777 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76627 | Cr05BB029, ER05004.2 | Cr | ER | ER | 05BB029 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.83037 | 0.090655 | 0.83037 | 0.12821 | 0.095037
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2013-03-07 | 2010-10-01 | 2050-09-30 | ug/L | 0.89448 | Crescent, ERA | 05BB029, 0507-12-04.2 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl | 0.1014 | ENDOSULFAN_SULFATE | . | 0.016 | 0.0907 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89448 | Cr05BB029, ER05004.2 | Cr | ER | ER | 05BB029 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.83037 | 0.090655 | 0.83037 | 0.12821 | 0.095037
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2013-09-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.793 | ERA, Abs, Crescent | 0318-13-02.2, 042413, 10802AL | ERA 0318-13-02.2: 50 µl & Abs 042413: 50 µl & Crescent 10802AL: 10 µl | 0.1 | ENDOSULFAN_SULFATE | . | 0.016 | 0.0793 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.793 | ER03102.2, Ab042413, Cr10802AL | ER | Ab | Cr | 03102.2 | 042413 | 10802AL | 03102.2 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.76275 | 0.04278 | 0.76275 | 0.0605 | 0.044848
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2014-01-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.7325 | ERA, Abs, Crescent | 0318-13-02.2, 042413, 10802AL | ERA 0318-13-02.2: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl | 0.04 | ENDOSULFAN_SULFATE | . | 0.016 | 0.0293 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7325 | ER03102.2, Ab042413, Cr10802AL | ER | Ab | Cr | 03102.2 | 042413 | 10802AL | 03102.2 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.76275 | 0.04278 | 0.76275 | 0.0605 | 0.044848
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2013-06-11 | 2010-10-01 | 2050-09-30 | ug/L | 0.985 | ERA, Crescent | 0318-13-02.2, 04CC101 | ERA 0318-13-02.2: 20 µl & Crescent 04CC101: 20 µl | 0.04 | ENDOSULFAN_SULFATE | . | 0.016 | 0.0394 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.985 | ER03102.2, Cr04CC101 | ER | Cr | Cr | 03102.2 | 04CC101 | 04CC101 | 03102.2 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.985 |  | 0.985 | 0 | 0
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2012-10-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.93886 | ERA | 0507-12-04.2 | ERA 0507-12-04.2: 50 µl | 0.2535 | ENDOSULFAN_SULFATE | . | 0.016 | 0.238 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93886 | ERA 0507-12-04.2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.93886 |  | 0.93886 | 0 | 0
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2009-09-03 | 2006-04-01 | 2009-09-30 | ug/L | 0.75249 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | ENDOSULFAN_SULFATE | . | 0.022 | 0.056 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75249 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.75249 |  | 0.75249 | 0 | 0
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.63689 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | ENDOSULFAN_SULFATE | E | 0.014 | 0.0247 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63689 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 0.90048 | 0.24444 | 0.94488 | 0.48279 | 0.35789
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 1.1197 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | ENDOSULFAN_SULFATE | . | 0.014 | 0.0454 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1197 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.90048 | 0.24444 | 0.94488 | 0.48279 | 0.35789
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2010-12-16 | 2010-10-01 | 2050-09-30 | ug/L | 0.94488 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | ENDOSULFAN_SULFATE | . | 0.016 | 0.0382 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94488 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.90048 | 0.24444 | 0.94488 | 0.48279 | 0.35789
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2011-01-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.88973 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | ENDOSULFAN_SULFATE | . | 0.016 | 0.0896 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88973 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.90165 | 0.17161 | 0.92786 | 0.24148 | 0.17901
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2011-03-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.0788 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 25 µl | 0.02475 | ENDOSULFAN_SULFATE | . | 0.016 | 0.0267 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0788 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.90165 | 0.17161 | 0.92786 | 0.24148 | 0.17901
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2011-04-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.966 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.099483 | ENDOSULFAN_SULFATE | . | 0.016 | 0.0961 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.966 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.90165 | 0.17161 | 0.92786 | 0.24148 | 0.17901
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2011-06-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.6721 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 75 µl | 0.074096 | ENDOSULFAN_SULFATE | . | 0.016 | 0.0498 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6721 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.90165 | 0.17161 | 0.92786 | 0.24148 | 0.17901
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2012-07-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.903 | Restek, Supelco | A088380, LB92783 | Restek A088380: 20 µl & Supelco LB92783: 20 µl | 0.1 | ENDOSULFAN_SULFATE | . | 0.016 | 0.0903 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.903 | ReA088380, SuLB92783 | Re | Su | Su | A088380 | LB92783 | LB92783 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.903 |  | 0.903 | 0 | 0
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2011-01-09 | 2010-10-01 | 2050-09-30 | ug/L | 0.99422 | Restek | A075606 | Restek A075606: 40 µl | 0.067289 | ENDOSULFAN_SULFATE | . | 0.016 | 0.0669 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99422 | Restek A075606 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.82951 | 0.17057 | 0.83454 | 0.17829 | 0.13216
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2011-01-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.76856 | Restek | A075606 | Restek A075606: 80 µl | 0.13922 | ENDOSULFAN_SULFATE | . | 0.016 | 0.107 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76856 | Restek A075606 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.82951 | 0.17057 | 0.83454 | 0.17829 | 0.13216
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2011-03-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.93536 | Restek | A075606 | Restek A075606: 40 µl | 0.070454 | ENDOSULFAN_SULFATE | . | 0.016 | 0.0659 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93536 | Restek A075606 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.82951 | 0.17057 | 0.83454 | 0.17829 | 0.13216
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2011-04-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.71983 | Restek | A075606 | Restek A075606: 40 µl | 0.069878 | ENDOSULFAN_SULFATE | . | 0.016 | 0.0503 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71983 | Restek A075606 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.82951 | 0.17057 | 0.83454 | 0.17829 | 0.13216
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2011-06-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.75509 | Restek | A075606 | Restek A075606: 80 µl | 0.13641 | ENDOSULFAN_SULFATE | . | 0.016 | 0.103 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75509 | Restek A075606 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.82951 | 0.17057 | 0.83454 | 0.17829 | 0.13216
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2011-08-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.90318 | Restek | A075606 | Restek A075606: 40 µl | 0.0692 | ENDOSULFAN_SULFATE | . | 0.016 | 0.0625 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90318 | Restek A075606 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.82951 | 0.17057 | 0.83454 | 0.17829 | 0.13216
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2011-09-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.75867 | Restek | A075606 | Restek A075606: 80 µl | 0.1384 | ENDOSULFAN_SULFATE | . | 0.016 | 0.105 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75867 | Restek A075606 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.82951 | 0.17057 | 0.83454 | 0.17829 | 0.13216
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2011-09-13 | 2010-10-01 | 2050-09-30 | ug/L | 0.4198 | Restek | A075606 | Restek A075606: 80 µl | 0.1384 | ENDOSULFAN_SULFATE | . | 0.016 | 0.0581 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4198 | Restek A075606 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.82951 | 0.17057 | 0.83454 | 0.17829 | 0.13216
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2011-11-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.8237 | Restek | A075606 | Restek A075606: 80 µl | 0.1384 | ENDOSULFAN_SULFATE | . | 0.016 | 0.114 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8237 | Restek A075606 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.82951 | 0.17057 | 0.83454 | 0.17829 | 0.13216
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2011-12-04 | 2010-10-01 | 2050-09-30 | ug/L | 0.93497 | Restek | A075606 | Restek A075606: 40 µl | 0.0692 | ENDOSULFAN_SULFATE | . | 0.016 | 0.0647 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93497 | Restek A075606 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.82951 | 0.17057 | 0.83454 | 0.17829 | 0.13216
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2012-02-14 | 2010-10-01 | 2050-09-30 | ug/L | 1.0954 | Restek | A075606 | Restek A075606: 40 µl | 0.0692 | ENDOSULFAN_SULFATE | E | 0.016 | 0.0758 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0954 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 |  | 12 | 0.82951 | 0.17057 | 0.83454 | 0.17829 | 0.13216
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2012-05-15 | 2010-10-01 | 2050-09-30 | ug/L | 0.84538 | Restek | A075606 | Restek A075606: 80 µl | 0.1384 | ENDOSULFAN_SULFATE | . | 0.016 | 0.117 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84538 | Restek A075606 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.82951 | 0.17057 | 0.83454 | 0.17829 | 0.13216
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2012-09-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.91026 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl | 0.1014 | ENDOSULFAN_SULFATE | . | 0.016 | 0.0923 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91026 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.88708 | 0.032775 | 0.88708 | 0.046351 | 0.03436
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2013-01-15 | 2010-10-01 | 2050-09-30 | ug/L | 0.86391 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl | 0.2535 | ENDOSULFAN_SULFATE | . | 0.016 | 0.219 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86391 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.88708 | 0.032775 | 0.88708 | 0.046351 | 0.03436
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2012-11-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.918 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl | 0.5 | ENDOSULFAN_SULFATE | . | 0.016 | 0.459 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.918 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.83433 | 0.082525 | 0.832 | 0.165 | 0.12231
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2013-02-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.753 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl | 0.1 | ENDOSULFAN_SULFATE | . | 0.016 | 0.0753 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.753 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.83433 | 0.082525 | 0.832 | 0.165 | 0.12231
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2013-04-02 | 2010-10-01 | 2050-09-30 | ug/L | 0.832 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl | 0.25 | ENDOSULFAN_SULFATE | . | 0.016 | 0.208 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.832 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.83433 | 0.082525 | 0.832 | 0.165 | 0.12231
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2013-09-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.75 | Spex Organics, ERA | T1130514013, 0318-13-02.2 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl | 0.2 | ENDOSULFAN_SULFATE | . | 0.016 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75 | SpT114013, ER03102.2 | Sp | ER | ER | T114013 | 03102.2 | 03102.2 | T114013 | 03102.2 | 03102.2 | Y | Recoverable Result | Y | 2 |  | 1 | 0.75 |  | 0.75 | 0 | 0
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2013-11-09 | 2010-10-01 | 2050-09-30 | ug/L | 0.86 | Spex Organics, Supelco | T1130514013, LB99392 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl | 0.04 | ENDOSULFAN_SULFATE | . | 0.016 | 0.0344 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86 | SpT114013, SuLB99392 | Sp | Su | Su | T114013 | LB99392 | LB99392 | T114013 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.86 |  | 0.86 | 0 | 0
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2010-06-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.90138 | Spex Organics | T1090901009 | Spex Organics T1090901009: 20 µl | 0.060241 | ENDOSULFAN_SULFATE | . | 0.014 | 0.0543 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90138 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.90898 | 0.08501 | 0.90548 | 0.10802 | 0.080072
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 1.0164 | Spex Organics | T1090901009 | Spex Organics T1090901009: 100 µl | 0.30303 | ENDOSULFAN_SULFATE | . | 0.014 | 0.308 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0164 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.90898 | 0.08501 | 0.90548 | 0.10802 | 0.080072
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2010-09-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.90958 | Spex Organics | T1090901009 | Spex Organics T1090901009: 20 µl | 0.061237 | ENDOSULFAN_SULFATE | . | 0.014 | 0.0557 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90958 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.90898 | 0.08501 | 0.90548 | 0.10802 | 0.080072
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2010-12-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.80857 | Spex Organics | T1090901009 | Spex Organics T1090901009: 40 µl | 0.1233 | ENDOSULFAN_SULFATE | . | 0.016 | 0.0997 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80857 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.90898 | 0.08501 | 0.90548 | 0.10802 | 0.080072
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2012-10-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.824 | Supelco, Abs | LB92783, 052412 | Supelco LB92783: 50 µl & Abs 052412: 50 µl | 0.25 | ENDOSULFAN_SULFATE | . | 0.016 | 0.206 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.824 | SuLB92783, Ab052412 | Su | Ab | Ab | LB92783 | 052412 | 052412 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.834 | 0.014142 | 0.834 | 0.02 | 0.014826
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2013-01-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.844 | Supelco, Abs | LB92783, 052412 | Supelco LB92783: 50 µl & Abs 052412: 50 µl | 0.25 | ENDOSULFAN_SULFATE | . | 0.016 | 0.211 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.844 | SuLB92783, Ab052412 | Su | Ab | Ab | LB92783 | 052412 | 052412 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.834 | 0.014142 | 0.834 | 0.02 | 0.014826
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2013-11-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.965 | Supelco, Abs, Crescent | LB99392, 042413, 10802AL | Supelco LB99392: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl | 0.04 | ENDOSULFAN_SULFATE | . | 0.016 | 0.0386 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.965 | SuLB99392, Ab042413, Cr10802AL | Su | Ab | Cr | LB99392 | 042413 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.965 |  | 0.965 | 0 | 0
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2013-08-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.801 | Supelco, Crescent | LB99392, 04CC101 | Supelco LB99392: 50 µl & Crescent 04CC101: 50 µl | 0.1 | ENDOSULFAN_SULFATE | . | 0.016 | 0.0801 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.801 | SuLB99392, Cr04CC101 | Su | Cr | Cr | LB99392 | 04CC101 | 04CC101 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.801 |  | 0.801 | 0 | 0
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2011-01-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.63907 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.069007 | ENDOSULFAN_SULFATE | E | 0.016 | 0.0441 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63907 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 |  | 11 | 0.81975 | 0.089522 | 0.85983 | 0.12882 | 0.095495
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2011-02-09 | 2010-10-01 | 2050-09-30 | ug/L | 0.70745 | Supelco | LB77168 | Supelco LB77168: 80 µl | 0.13358 | ENDOSULFAN_SULFATE | . | 0.016 | 0.0945 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70745 | Supelco LB77168 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.81975 | 0.089522 | 0.85983 | 0.12882 | 0.095495
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2011-03-30 | 2010-10-01 | 2050-09-30 | ug/L | 0.78949 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.069158 | ENDOSULFAN_SULFATE | . | 0.016 | 0.0546 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78949 | Supelco LB77168 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.81975 | 0.089522 | 0.85983 | 0.12882 | 0.095495
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2011-05-25 | 2010-10-01 | 2050-09-30 | ug/L | 0.76424 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.070397 | ENDOSULFAN_SULFATE | . | 0.016 | 0.0538 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76424 | Supelco LB77168 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.81975 | 0.089522 | 0.85983 | 0.12882 | 0.095495
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2011-07-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.93208 | Supelco | LB77168 | Supelco LB77168: 80 µl | 0.1384 | ENDOSULFAN_SULFATE | . | 0.016 | 0.129 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93208 | Supelco LB77168 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.81975 | 0.089522 | 0.85983 | 0.12882 | 0.095495
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2011-07-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.89306 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.0692 | ENDOSULFAN_SULFATE | . | 0.016 | 0.0618 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89306 | Supelco LB77168 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.81975 | 0.089522 | 0.85983 | 0.12882 | 0.095495
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2011-09-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.86127 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.0692 | ENDOSULFAN_SULFATE | . | 0.016 | 0.0596 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86127 | Supelco LB77168 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.81975 | 0.089522 | 0.85983 | 0.12882 | 0.095495
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2011-10-02 | 2010-10-01 | 2050-09-30 | ug/L | 0.85983 | Supelco | LB77168 | Supelco LB77168: 80 µl | 0.1384 | ENDOSULFAN_SULFATE | . | 0.016 | 0.119 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85983 | Supelco LB77168 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.81975 | 0.089522 | 0.85983 | 0.12882 | 0.095495
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2011-11-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.86705 | Supelco | LB77168 | Supelco LB77168: 80 µl | 0.1384 | ENDOSULFAN_SULFATE | . | 0.016 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86705 | Supelco LB77168 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.81975 | 0.089522 | 0.85983 | 0.12882 | 0.095495
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2011-12-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.90318 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.0692 | ENDOSULFAN_SULFATE | . | 0.016 | 0.0625 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90318 | Supelco LB77168 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.81975 | 0.089522 | 0.85983 | 0.12882 | 0.095495
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2012-03-09 | 2010-10-01 | 2050-09-30 | ug/L | 0.80058 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.0692 | ENDOSULFAN_SULFATE | . | 0.016 | 0.0554 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80058 | Supelco LB77168 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.81975 | 0.089522 | 0.85983 | 0.12882 | 0.095495
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2010-02-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.59944 | Ultra | CF-3558 | Ultra CF-3558: 40 µl | 0.11811 | ENDOSULFAN_SULFATE | . | 0.014 | 0.0708 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59944 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.7054 | 0.092424 | 0.70168 | 0.13721 | 0.10171
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2010-05-19 | 2009-10-01 | 2010-09-30 | ug/L | 0.81878 | Ultra | CF-3558 | Ultra CF-3558: 20 µl | 0.060945 | ENDOSULFAN_SULFATE | . | 0.014 | 0.0499 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81878 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.7054 | 0.092424 | 0.70168 | 0.13721 | 0.10171
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2010-08-10 | 2009-10-01 | 2010-09-30 | ug/L | 0.67414 | Ultra | CF-3558 | Ultra CF-3558: 40 µl | 0.12267 | ENDOSULFAN_SULFATE | . | 0.014 | 0.0827 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67414 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.7054 | 0.092424 | 0.70168 | 0.13721 | 0.10171
ENDOSULFAN SULFATE | 2033 | 61590GCM39 | 2010-12-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.72923 | Ultra | CF-3558 | Ultra CF-3558: 20 µl | 0.060612 | ENDOSULFAN_SULFATE | . | 0.016 | 0.0442 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72923 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.7054 | 0.092424 | 0.70168 | 0.13721 | 0.10171