## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
EPTC | 2033 | 82668GCM35 | 2013-06-26 | 2010-10-01 | 2050-09-30 | ug/L | 0.98 | Abs, ChemService | 042413, 1473000 | Abs 042413: 20 µl & ChemService 1473000: 20 µl | 0.01 | EPTC | . | 0.0056 | 0.0098 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98 | Ab042413, Ch1473000 | Ab | Ch | Ch | 042413 | 1473000 | 1473000 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.98 |  | 0.98 | 0 | 0
EPTC | 2033 | 82668GCM35 | 2013-10-19 | 2010-10-01 | 2050-09-30 | ug/L | 1.052 | Abs, Spex Organics, Crescent | 042413, T1130514013, 10802AL | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl | 0.025 | EPTC | . | 0.0056 | 0.0263 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.052 | Ab042413, SpT114013, Cr10802AL | Ab | Sp | Cr | 042413 | T114013 | 10802AL |  | T114013 |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.052 |  | 1.052 | 0 | 0
EPTC | 2033 | 82668GCM35 | 2011-01-07 | 2010-10-01 | 2050-09-30 | ug/L | 0.91473 | Abs | 080610 | Abs 080610: 40 µl | 0.053677 | EPTC | . | 0.0056 | 0.0491 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91473 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.99778 | 0.082253 | 0.9707 | 0.10806 | 0.080103
EPTC | 2033 | 82668GCM35 | 2011-01-28 | 2010-10-01 | 2050-09-30 | ug/L | 1.104 | Abs | 080610 | Abs 080610: 80 µl | 0.10507 | EPTC | . | 0.0056 | 0.116 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.104 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.99778 | 0.082253 | 0.9707 | 0.10806 | 0.080103
EPTC | 2033 | 82668GCM35 | 2011-02-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.0307 | Abs | 080610 | Abs 080610: 40 µl | 0.054043 | EPTC | . | 0.0056 | 0.0557 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0307 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.99778 | 0.082253 | 0.9707 | 0.10806 | 0.080103
EPTC | 2033 | 82668GCM35 | 2011-03-16 | 2010-10-01 | 2050-09-30 | ug/L | 1.0515 | Abs | 080610 | Abs 080610: 80 µl | 0.10842 | EPTC | . | 0.0056 | 0.114 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0515 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.99778 | 0.082253 | 0.9707 | 0.10806 | 0.080103
EPTC | 2033 | 82668GCM35 | 2011-05-03 | 2010-10-01 | 2050-09-30 | ug/L | 1.1676 | Abs | 080610 | Abs 080610: 40 µl | 0.054301 | EPTC | . | 0.0056 | 0.0634 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1676 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.99778 | 0.082253 | 0.9707 | 0.10806 | 0.080103
EPTC | 2033 | 82668GCM35 | 2011-05-29 | 2010-10-01 | 2050-09-30 | ug/L | 1.037 | Abs | 080610 | Abs 080610: 80 µl | 0.10994 | EPTC | . | 0.0056 | 0.114 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.037 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.99778 | 0.082253 | 0.9707 | 0.10806 | 0.080103
EPTC | 2033 | 82668GCM35 | 2011-08-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.91026 | Abs | 080610 | Abs 080610: 40 µl | 0.0546 | EPTC | . | 0.0056 | 0.0497 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91026 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.99778 | 0.082253 | 0.9707 | 0.10806 | 0.080103
EPTC | 2033 | 82668GCM35 | 2011-10-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.9707 | Abs | 080610 | Abs 080610: 40 µl | 0.0546 | EPTC | . | 0.0056 | 0.053 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9707 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.99778 | 0.082253 | 0.9707 | 0.10806 | 0.080103
EPTC | 2033 | 82668GCM35 | 2012-01-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.95238 | Abs | 080610 | Abs 080610: 40 µl | 0.0546 | EPTC | . | 0.0056 | 0.052 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95238 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.99778 | 0.082253 | 0.9707 | 0.10806 | 0.080103
EPTC | 2033 | 82668GCM35 | 2012-02-09 | 2010-10-01 | 2050-09-30 | ug/L | 0.89652 | Abs | 080610 | Abs 080610: 80 µl | 0.1092 | EPTC | . | 0.0056 | 0.0979 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89652 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.99778 | 0.082253 | 0.9707 | 0.10806 | 0.080103
EPTC | 2033 | 82668GCM35 | 2012-03-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.0458 | Abs | 080610 | Abs 080610: 40 µl | 0.0546 | EPTC | . | 0.0056 | 0.0571 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0458 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.99778 | 0.082253 | 0.9707 | 0.10806 | 0.080103
EPTC | 2033 | 82668GCM35 | 2012-04-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.93773 | Abs | 080610 | Abs 080610: 40 µl | 0.0546 | EPTC | . | 0.0056 | 0.0512 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93773 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.99778 | 0.082253 | 0.9707 | 0.10806 | 0.080103
EPTC | 2033 | 82668GCM35 | 2012-04-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.95238 | Abs | 080610 | Abs 080610: 80 µl | 0.1092 | EPTC | . | 0.0056 | 0.104 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95238 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.99778 | 0.082253 | 0.9707 | 0.10806 | 0.080103
EPTC | 2033 | 82668GCM35 | 2011-01-12 | 2010-10-01 | 2050-09-30 | ug/L | 1.0429 | Accu | 210061341 | Accu 210061341: 40 µl | 0.056094 | EPTC | . | 0.0056 | 0.0585 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0429 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.98275 | 0.064244 | 0.97969 | 0.088102 | 0.065309
EPTC | 2033 | 82668GCM35 | 2011-02-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.94296 | Accu | 210061341 | Accu 210061341: 80 µl | 0.11559 | EPTC | . | 0.0056 | 0.109 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94296 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.98275 | 0.064244 | 0.97969 | 0.088102 | 0.065309
EPTC | 2033 | 82668GCM35 | 2011-02-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.93957 | Accu | 210061341 | Accu 210061341: 40 µl | 0.057154 | EPTC | . | 0.0056 | 0.0537 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93957 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.98275 | 0.064244 | 0.97969 | 0.088102 | 0.065309
EPTC | 2033 | 82668GCM35 | 2011-04-07 | 2010-10-01 | 2050-09-30 | ug/L | 1.0694 | Accu | 210061341 | Accu 210061341: 40 µl | 0.058348 | EPTC | . | 0.0056 | 0.0624 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0694 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.98275 | 0.064244 | 0.97969 | 0.088102 | 0.065309
EPTC | 2033 | 82668GCM35 | 2011-05-21 | 2010-10-01 | 2050-09-30 | ug/L | 0.95066 | Accu | 210061341 | Accu 210061341: 80 µl | 0.11571 | EPTC | . | 0.0056 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95066 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.98275 | 0.064244 | 0.97969 | 0.088102 | 0.065309
EPTC | 2033 | 82668GCM35 | 2011-07-02 | 2010-10-01 | 2050-09-30 | ug/L | 0.9642 | Accu | 210061341 | Accu 210061341: 40 µl | 0.057976 | EPTC | . | 0.0056 | 0.0559 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9642 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.98275 | 0.064244 | 0.97969 | 0.088102 | 0.065309
EPTC | 2033 | 82668GCM35 | 2011-07-20 | 2010-10-01 | 2050-09-30 | ug/L | 1.0158 | Accu | 210061341 | Accu 210061341: 40 µl | 0.05808 | EPTC | . | 0.0056 | 0.059 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0158 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.98275 | 0.064244 | 0.97969 | 0.088102 | 0.065309
EPTC | 2033 | 82668GCM35 | 2011-08-30 | 2010-10-01 | 2050-09-30 | ug/L | 1.0847 | Accu | 210061341 | Accu 210061341: 80 µl | 0.11616 | EPTC | . | 0.0056 | 0.126 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0847 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.98275 | 0.064244 | 0.97969 | 0.088102 | 0.065309
EPTC | 2033 | 82668GCM35 | 2011-11-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.99518 | Accu | 210061341 | Accu 210061341: 40 µl | 0.05808 | EPTC | . | 0.0056 | 0.0578 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99518 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.98275 | 0.064244 | 0.97969 | 0.088102 | 0.065309
EPTC | 2033 | 82668GCM35 | 2011-12-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.89532 | Accu | 210061341 | Accu 210061341: 80 µl | 0.11616 | EPTC | . | 0.0056 | 0.104 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89532 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.98275 | 0.064244 | 0.97969 | 0.088102 | 0.065309
EPTC | 2033 | 82668GCM35 | 2012-03-02 | 2010-10-01 | 2050-09-30 | ug/L | 1.0072 | Accu | 210061341 | Accu 210061341: 80 µl | 0.11616 | EPTC | . | 0.0056 | 0.117 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0072 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.98275 | 0.064244 | 0.97969 | 0.088102 | 0.065309
EPTC | 2033 | 82668GCM35 | 2012-03-27 | 2010-10-01 | 2050-09-30 | ug/L | 0.88499 | Accu | 210061341 | Accu 210061341: 40 µl | 0.05808 | EPTC | . | 0.0056 | 0.0514 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88499 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.98275 | 0.064244 | 0.97969 | 0.088102 | 0.065309
EPTC | 2033 | 82668GCM35 | 2013-07-11 | 2010-10-01 | 2050-09-30 | ug/L | 0.99 | ChemService, ERA | 1473000, 0318-13-02.2 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl | 0.01 | EPTC | . | 0.0056 | 0.0099 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99 | Ch1473000, ER03102.2 | Ch | ER | ER | 1473000 | 03102.2 | 03102.2 |  | 03102.2 | 03102.2 | Y | Recoverable Result | Y | 2 |  | 1 | 0.99 |  | 0.99 | 0 | 0
EPTC | 2033 | 82668GCM35 | 2013-06-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.128 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl | 0.025 | EPTC | . | 0.0056 | 0.0282 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.128 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.084 | 0.062225 | 1.084 | 0.088 | 0.065234
EPTC | 2033 | 82668GCM35 | 2014-01-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.04 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl | 0.01 | EPTC | . | 0.0056 | 0.0104 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.04 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.084 | 0.062225 | 1.084 | 0.088 | 0.065234
EPTC | 2033 | 82668GCM35 | 2010-03-03 | 2009-10-01 | 2010-09-30 | ug/L | 1.1391 | ChemService | 430-36C | ChemService 430-36C: 40 µl | 0.013958 | EPTC | E | 0.002 | 0.0159 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1391 | ChemService 430-36C | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 1.2741 | 0.20469 | 1.1737 | 0.37054 | 0.27468
EPTC | 2033 | 82668GCM35 | 2010-06-26 | 2009-10-01 | 2010-09-30 | ug/L | 1.1737 | ChemService | 430-36C | ChemService 430-36C: 40 µl | 0.014229 | EPTC | . | 0.002 | 0.0167 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1737 | ChemService 430-36C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.2741 | 0.20469 | 1.1737 | 0.37054 | 0.27468
EPTC | 2033 | 82668GCM35 | 2010-09-21 | 2009-10-01 | 2010-09-30 | ug/L | 1.5097 | ChemService | 430-36C | ChemService 430-36C: 20 µl | 0.0072864 | EPTC | . | 0.002 | 0.011 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5097 | ChemService 430-36C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.2741 | 0.20469 | 1.1737 | 0.37054 | 0.27468
EPTC | 2033 | 82668GCM35 | 2013-12-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.1 | Crescent, ChemService, Cresc | 04CC101, 1473000, 10802AL | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl | 0.01 | EPTC | . | 0.0056 | 0.011 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1 | Cr04CC101, Ch1473000, Cr10802A | Cr | Ch | Cr | 04CC101 | 1473000 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1 |  | 1.1 | 0 | 0
EPTC | 2033 | 82668GCM35 | 2013-09-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.12 | Crescent, Spex Organics | 04CC101, T1130514013 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl | 0.01 | EPTC | . | 0.0056 | 0.0112 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.12 | Cr04CC101, SpT114013 | Cr | Sp | Sp | 04CC101 | T114013 | T114013 |  | T114013 | T114013 | Y | Recoverable Result | Y | 2 |  | 1 | 1.12 |  | 1.12 | 0 | 0
EPTC | 2033 | 82668GCM35 | 2009-07-23 | 2006-10-01 | 2009-09-30 | ug/L | 1.3662 | Crescent | 08HH019 | Crescent 08HH019: 40 µl | 0.0080515 | EPTC | . | 0.002 | 0.011 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3662 | Crescent 08HH019 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.3662 |  | 1.3662 | 0 | 0
EPTC | 2033 | 82668GCM35 | 2009-09-03 | 2006-10-01 | 2009-09-30 | ug/L | 0.95405 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | EPTC | . | 0.002 | 0.071 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95405 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.95405 |  | 0.95405 | 0 | 0
EPTC | 2033 | 82668GCM35 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 1.0185 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | EPTC | . | 0.002 | 0.0395 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0185 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0508 | 0.029984 | 1.0562 | 0.059242 | 0.043916
EPTC | 2033 | 82668GCM35 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 1.0778 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | EPTC | . | 0.002 | 0.0437 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0778 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0508 | 0.029984 | 1.0562 | 0.059242 | 0.043916
EPTC | 2033 | 82668GCM35 | 2010-12-16 | 2010-10-01 | 2050-09-30 | ug/L | 1.0562 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | EPTC | . | 0.0056 | 0.0427 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0562 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0508 | 0.029984 | 1.0562 | 0.059242 | 0.043916
EPTC | 2033 | 82668GCM35 | 2011-01-20 | 2010-10-01 | 2050-09-30 | ug/L | 1.0724 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | EPTC | . | 0.0056 | 0.108 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0724 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0546 | 0.091743 | 1.0797 | 0.11359 | 0.084202
EPTC | 2033 | 82668GCM35 | 2011-03-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.0869 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 25 µl | 0.02475 | EPTC | . | 0.0056 | 0.0269 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0869 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0546 | 0.091743 | 1.0797 | 0.11359 | 0.084202
EPTC | 2033 | 82668GCM35 | 2011-04-20 | 2010-10-01 | 2050-09-30 | ug/L | 1.1359 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.099483 | EPTC | E | 0.0056 | 0.113 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1359 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 1.0546 | 0.091743 | 1.0797 | 0.11359 | 0.084202
EPTC | 2033 | 82668GCM35 | 2011-06-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.92313 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 75 µl | 0.074096 | EPTC | . | 0.0056 | 0.0684 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92313 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0546 | 0.091743 | 1.0797 | 0.11359 | 0.084202
EPTC | 2033 | 82668GCM35 | 2009-09-15 | 2006-10-01 | 2009-09-30 | ug/L | 1.1303 | Protocol | D1080908018 | Protocol D1080908018: 40 µl | 0.0079626 | EPTC | . | 0.002 | 0.009 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1303 | Protocol D1080908018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.1303 |  | 1.1303 | 0 | 0
EPTC | 2033 | 82668GCM35 | 2012-09-26 | 2010-10-01 | 2050-09-30 | ug/L | 0.91333 | Restek, Abs | A088380, 052412 | Restek A088380: 20 µl & Abs 052412: 20 µl | 0.03 | EPTC | . | 0.0056 | 0.0274 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91333 | ReA088380, Ab052412 | Re | Ab | Ab | A088380 | 052412 | 052412 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.865 | 0.068354 | 0.865 | 0.096667 | 0.071658
EPTC | 2033 | 82668GCM35 | 2013-03-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.81667 | Restek, Abs | A088380, 052412 | Restek A088380: 20 µl & Abs 052412: 20 µl | 0.03 | EPTC | . | 0.0056 | 0.0245 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81667 | ReA088380, Ab052412 | Re | Ab | Ab | A088380 | 052412 | 052412 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.865 | 0.068354 | 0.865 | 0.096667 | 0.071658
EPTC | 2033 | 82668GCM35 | 2012-11-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.96933 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl | 0.075 | EPTC | . | 0.0056 | 0.0727 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96933 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.96756 | 0.053356 | 0.96933 | 0.10667 | 0.079071
EPTC | 2033 | 82668GCM35 | 2013-02-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.91333 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl | 0.15 | EPTC | . | 0.0056 | 0.137 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91333 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.96756 | 0.053356 | 0.96933 | 0.10667 | 0.079071
EPTC | 2033 | 82668GCM35 | 2013-05-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.02 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl | 0.03 | EPTC | . | 0.0056 | 0.0306 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.02 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.96756 | 0.053356 | 0.96933 | 0.10667 | 0.079071
EPTC | 2033 | 82668GCM35 | 2012-07-14 | 2010-10-01 | 2050-09-30 | ug/L | 1 | Restek, Supelco | A088380, LB92783 | Restek A088380: 20 µl & Supelco LB92783: 20 µl | 0.03 | EPTC | . | 0.0056 | 0.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | ReA088380, SuLB92783 | Re | Su | Su | A088380 | LB92783 | LB92783 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1 |  | 1 | 0 | 0
EPTC | 2033 | 82668GCM35 | 2013-07-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.97 | Restek, Abs | A093651, 012513 | Restek A093651: 20 µl & Abs 012513: 20 µl | 0.03 | EPTC | . | 0.0056 | 0.0291 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97 | ReA093651, Ab012513 | Re | Ab | Ab | A093651 | 012513 | 012513 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.97 |  | 0.97 | 0 | 0
EPTC | 2033 | 82668GCM35 | 2013-09-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.92933 | Restek, Abs, Crescent | A093651, 012513, 10802AL | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl | 0.075 | EPTC | . | 0.0056 | 0.0697 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92933 | ReA093651, Ab012513, Cr10802AL | Re | Ab | Cr | A093651 | 012513 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.92933 |  | 0.92933 | 0 | 0
EPTC | 2033 | 82668GCM35 | 2013-11-04 | 2010-10-01 | 2050-09-30 | ug/L | 0.95 | Restek, Abs, Crescent | A093651, 052412, 10802AL | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl | 0.03 | EPTC | . | 0.0056 | 0.0285 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95 | ReA093651, Ab052412, Cr10802AL | Re | Ab | Cr | A093651 | 052412 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.98333 | 0.04714 | 0.98333 | 0.066667 | 0.049419
EPTC | 2033 | 82668GCM35 | 2014-01-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.0167 | Restek, Abs, Crescent | A093651, 052412, 10802AL | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl | 0.03 | EPTC | . | 0.0056 | 0.0305 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0167 | ReA093651, Ab052412, Cr10802AL | Re | Ab | Cr | A093651 | 052412 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.98333 | 0.04714 | 0.98333 | 0.066667 | 0.049419
EPTC | 2033 | 82668GCM35 | 2010-02-02 | 2009-10-01 | 2010-09-30 | ug/L | 1.0083 | Restek | A069639 | Restek A069639: 20 µl | 0.0069424 | EPTC | E | 0.002 | 0.007 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0083 | Restek A069639 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 1.0538 | 0.082447 | 1.0372 | 0.12276 | 0.091001
EPTC | 2033 | 82668GCM35 | 2010-03-19 | 2009-10-01 | 2010-09-30 | ug/L | 1.0661 | Restek | A069639 | Restek A069639: 20 µl | 0.0070352 | EPTC | E | 0.002 | 0.0075 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0661 | Restek A069639 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 1.0538 | 0.082447 | 1.0372 | 0.12276 | 0.091001
EPTC | 2033 | 82668GCM35 | 2010-07-29 | 2009-10-01 | 2010-09-30 | ug/L | 0.97645 | Restek | A069639 | Restek A069639: 100 µl | 0.036356 | EPTC | . | 0.002 | 0.0355 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97645 | Restek A069639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0538 | 0.082447 | 1.0372 | 0.12276 | 0.091001
EPTC | 2033 | 82668GCM35 | 2010-10-18 | 2010-10-01 | 2050-09-30 | ug/L | 1.1642 | Restek | A069639 | Restek A069639: 40 µl | 0.013915 | EPTC | . | 0.0056 | 0.0162 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1642 | Restek A069639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0538 | 0.082447 | 1.0372 | 0.12276 | 0.091001
EPTC | 2033 | 82668GCM35 | 2012-06-28 | 2010-10-01 | 2050-09-30 | ug/L | 1.0253 | Restek | A088380 | Restek A088380: 50 µl | 0.075 | EPTC | . | 0.0056 | 0.0769 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0253 | Restek A088380 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.0253 |  | 1.0253 | 0 | 0
EPTC | 2033 | 82668GCM35 | 2012-08-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.98333 | Spex Organics, Crescent | T1120530013, 05BB029 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl | 0.03 | EPTC | . | 0.0056 | 0.0295 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98333 | SpT110013, Cr05BB029 | Sp | Cr | Cr | T110013 | 05BB029 | 05BB029 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.86167 | 0.17206 | 0.86167 | 0.24333 | 0.18038
EPTC | 2033 | 82668GCM35 | 2012-12-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.74 | Spex Organics, Crescent | T1120530013, 05BB029 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl | 0.15 | EPTC | . | 0.0056 | 0.111 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74 | SpT110013, Cr05BB029 | Sp | Cr | Cr | T110013 | 05BB029 | 05BB029 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.86167 | 0.17206 | 0.86167 | 0.24333 | 0.18038
EPTC | 2033 | 82668GCM35 | 2012-09-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.0433 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl | 0.03 | EPTC | . | 0.0056 | 0.0313 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0433 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.96567 | 0.10984 | 0.96567 | 0.15533 | 0.11515
EPTC | 2033 | 82668GCM35 | 2013-01-15 | 2010-10-01 | 2050-09-30 | ug/L | 0.888 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl | 0.075 | EPTC | . | 0.0056 | 0.0666 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.888 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.96567 | 0.10984 | 0.96567 | 0.15533 | 0.11515
EPTC | 2033 | 82668GCM35 | 2012-11-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.93333 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl | 0.15 | EPTC | . | 0.0056 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93333 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.92022 | 0.045119 | 0.93333 | 0.087333 | 0.064739
EPTC | 2033 | 82668GCM35 | 2013-02-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.87 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl | 0.03 | EPTC | . | 0.0056 | 0.0261 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.92022 | 0.045119 | 0.93333 | 0.087333 | 0.064739
EPTC | 2033 | 82668GCM35 | 2013-04-02 | 2010-10-01 | 2050-09-30 | ug/L | 0.95733 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl | 0.075 | EPTC | . | 0.0056 | 0.0718 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95733 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.92022 | 0.045119 | 0.93333 | 0.087333 | 0.064739
EPTC | 2033 | 82668GCM35 | 2013-09-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.986 | Spex Organics, ERA | T1130514013, 0318-13-02.2 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl | 0.05 | EPTC | . | 0.0056 | 0.0493 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.986 | SpT114013, ER03102.2 | Sp | ER | ER | T114013 | 03102.2 | 03102.2 | T114013 | 03102.2 | 03102.2 | Y | Recoverable Result | Y | 2 |  | 1 | 0.986 |  | 0.986 | 0 | 0
EPTC | 2033 | 82668GCM35 | 2013-11-09 | 2010-10-01 | 2050-09-30 | ug/L | 1.08 | Spex Organics, Supelco | T1130514013, LB99392 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl | 0.01 | EPTC | . | 0.0056 | 0.0108 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.08 | SpT114013, SuLB99392 | Sp | Su | Su | T114013 | LB99392 | LB99392 | T114013 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.08 |  | 1.08 | 0 | 0