## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
ETHION | 2033 | 82346GCM40 | 2013-06-26 | 2012-10-01 | 2050-09-30 | ug/L | 1.1714 | Abs, ChemService | 042413, 1473000 | Abs 042413: 20 µl & ChemService 1473000: 20 µl | 0.007 | ETHION | . | 0.0046 | 0.0082 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1714 | Ab042413, Ch1473000 | Ab | Ch | Ch | 042413 | 1473000 | 1473000 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1714 |  | 1.1714 | 0 | 0
ETHION | 2033 | 82346GCM40 | 2013-10-19 | 2012-10-01 | 2050-09-30 | ug/L | 0.99333 | Abs, Spex Organics, Crescent | 042413, T1130514013, 10802AL | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl | 0.015 | ETHION | . | 0.0046 | 0.0149 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99333 | Ab042413, SpT114013, Cr10802AL | Ab | Sp | Cr | 042413 | T114013 | 10802AL |  | T114013 |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.99333 |  | 0.99333 | 0 | 0
ETHION | 2033 | 82346GCM40 | 2012-12-06 | 2012-10-01 | 2050-09-30 | ug/L | 0.75337 | Abs, ERA | 052412, 0507-12-04.2 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl | 0.519 | ETHION | . | 0.0046 | 0.391 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75337 | Ab052412, ER05004.2 | Ab | ER | ER | 052412 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.67341 | 0.11308 | 0.67341 | 0.15992 | 0.11855
ETHION | 2033 | 82346GCM40 | 2013-04-22 | 2012-10-01 | 2050-09-30 | ug/L | 0.59345 | Abs, ERA | 052412, 0507-12-04.2 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl | 0.2595 | ETHION | . | 0.0046 | 0.154 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59345 | Ab052412, ER05004.2 | Ab | ER | ER | 052412 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.67341 | 0.11308 | 0.67341 | 0.15992 | 0.11855
ETHION | 2033 | 82346GCM40 | 2012-08-14 | 2011-10-01 | 2012-09-30 | ug/L | 0.744 | Abs, Supelco | 052412, LB92783 | Abs 052412: 20 µl & Supelco LB92783: 20 µl | 0.1 | ETHION | . | 0.01 | 0.0744 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.744 | Ab052412, SuLB92783 | Ab | Su | Su | 052412 | LB92783 | LB92783 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.744 |  | 0.744 | 0 | 0
ETHION | 2033 | 82346GCM40 | 2013-07-11 | 2012-10-01 | 2050-09-30 | ug/L | 1.0429 | ChemService, ERA | 1473000, 0318-13-02.2 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl | 0.007 | ETHION | . | 0.0046 | 0.0073 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0429 | Ch1473000, ER03102.2 | Ch | ER | ER | 1473000 | 03102.2 | 03102.2 |  | 03102.2 | 03102.2 | Y | Recoverable Result | Y | 2 |  | 1 | 1.0429 |  | 1.0429 | 0 | 0
ETHION | 2033 | 82346GCM40 | 2013-06-05 | 2012-10-01 | 2050-09-30 | ug/L | 1.28 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl | 0.0175 | ETHION | . | 0.0046 | 0.0224 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.28 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0829 | 0.2788 | 1.0829 | 0.39429 | 0.29228
ETHION | 2033 | 82346GCM40 | 2014-01-08 | 2012-10-01 | 2050-09-30 | ug/L | 0.88571 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl | 0.007 | ETHION | . | 0.0046 | 0.0062 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88571 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0829 | 0.2788 | 1.0829 | 0.39429 | 0.29228
ETHION | 2033 | 82346GCM40 | 2009-08-12 | 2008-10-01 | 2009-09-30 | ug/L | 0.7973 | ChemService | 406-99B | ChemService 406-99B: 25 µl | 0.10536 | ETHION | . | 0.012 | 0.084 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7973 | ChemService 406-99B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.93486 | 0.19454 | 0.93486 | 0.27512 | 0.20394
ETHION | 2033 | 82346GCM40 | 2009-12-01 | 2009-10-01 | 2010-09-30 | ug/L | 1.0724 | ChemService | 406-99B | ChemService 406-99B: 25 µl | 0.10723 | ETHION | . | 0.008 | 0.115 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0724 | ChemService 406-99B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.93486 | 0.19454 | 0.93486 | 0.27512 | 0.20394
ETHION | 2033 | 82346GCM40 | 2013-12-05 | 2012-10-01 | 2050-09-30 | ug/L | 1.2714 | Crescent, ChemService, Cresc | 04CC101, 1473000, 10802AL | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl | 0.007 | ETHION | . | 0.0046 | 0.0089 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2714 | Cr04CC101, Ch1473000, Cr10802A | Cr | Ch | Cr | 04CC101 | 1473000 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.2714 |  | 1.2714 | 0 | 0
ETHION | 2033 | 82346GCM40 | 2013-09-05 | 2012-10-01 | 2050-09-30 | ug/L | 1.1667 | Crescent, Spex Organics | 04CC101, T1130514013 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl | 0.006 | ETHION | . | 0.0046 | 0.007 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1667 | Cr04CC101, SpT114013 | Cr | Sp | Sp | 04CC101 | T114013 | T114013 |  | T114013 | T114013 | Y | Recoverable Result | Y | 2 |  | 1 | 1.1667 |  | 1.1667 | 0 | 0
ETHION | 2033 | 82346GCM40 | 2012-09-17 | 2011-10-01 | 2012-09-30 | ug/L | 0.82563 | Crescent, ERA | 05BB029, 0507-12-04.2 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl | 0.1038 | ETHION | . | 0.01 | 0.0857 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82563 | Cr05BB029, ER05004.2 | Cr | ER | ER | 05BB029 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.75096 | 0.10559 | 0.75096 | 0.14933 | 0.11069
ETHION | 2033 | 82346GCM40 | 2013-03-07 | 2012-10-01 | 2050-09-30 | ug/L | 0.6763 | Crescent, ERA | 05BB029, 0507-12-04.2 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl | 0.1038 | ETHION | . | 0.0046 | 0.0702 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6763 | Cr05BB029, ER05004.2 | Cr | ER | ER | 05BB029 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.75096 | 0.10559 | 0.75096 | 0.14933 | 0.11069
ETHION | 2033 | 82346GCM40 | 2012-10-12 | 2012-10-01 | 2050-09-30 | ug/L | 0.90173 | ERA | 0507-12-04.2 | ERA 0507-12-04.2: 50 µl | 0.2595 | ETHION | . | 0.0046 | 0.234 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90173 | ERA 0507-12-04.2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.90173 |  | 0.90173 | 0 | 0
ETHION | 2033 | 82346GCM40 | 2009-09-16 | 2008-10-01 | 2009-09-30 | ug/L | 0.60659 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 25 µl | 0.10881 | ETHION | . | 0.012 | 0.066 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60659 | ERA 0804-08-02PEST | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.65956 | 0.065846 | 0.65459 | 0.11242 | 0.083336
ETHION | 2033 | 82346GCM40 | 2009-11-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.72896 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 40 µl | 0.17285 | ETHION | . | 0.008 | 0.126 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72896 | ERA 0804-08-02PEST | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.65956 | 0.065846 | 0.65459 | 0.11242 | 0.083336
ETHION | 2033 | 82346GCM40 | 2010-01-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.70259 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 25 µl | 0.10817 | ETHION | . | 0.008 | 0.076 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70259 | ERA 0804-08-02PEST | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.65956 | 0.065846 | 0.65459 | 0.11242 | 0.083336
ETHION | 2033 | 82346GCM40 | 2010-01-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.60012 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 40 µl | 0.16663 | ETHION | . | 0.008 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60012 | ERA 0804-08-02PEST | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.65956 | 0.065846 | 0.65459 | 0.11242 | 0.083336
ETHION | 2033 | 82346GCM40 | 2011-01-13 | 2010-10-01 | 2011-09-30 | ug/L | 0.97504 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 80 µl | 0.043998 | ETHION | . | 0.008 | 0.0429 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97504 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.95585 | 0.19365 | 0.90465 | 0.26037 | 0.19301
ETHION | 2033 | 82346GCM40 | 2011-02-08 | 2010-10-01 | 2011-09-30 | ug/L | 1.0967 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.021701 | ETHION | . | 0.008 | 0.0238 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0967 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.95585 | 0.19365 | 0.90465 | 0.26037 | 0.19301
ETHION | 2033 | 82346GCM40 | 2011-02-28 | 2010-10-01 | 2011-09-30 | ug/L | 0.93678 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 80 µl | 0.04398 | ETHION | . | 0.008 | 0.0412 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93678 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.95585 | 0.19365 | 0.90465 | 0.26037 | 0.19301
ETHION | 2033 | 82346GCM40 | 2011-04-13 | 2010-10-01 | 2011-09-30 | ug/L | 1.2133 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.022253 | ETHION | . | 0.008 | 0.027 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2133 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.95585 | 0.19365 | 0.90465 | 0.26037 | 0.19301
ETHION | 2033 | 82346GCM40 | 2011-06-20 | 2010-10-01 | 2011-09-30 | ug/L | 0.85879 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.022357 | ETHION | . | 0.008 | 0.0192 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85879 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.95585 | 0.19365 | 0.90465 | 0.26037 | 0.19301
ETHION | 2033 | 82346GCM40 | 2011-07-28 | 2010-10-01 | 2011-09-30 | ug/L | 1.2929 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.02212 | ETHION | . | 0.008 | 0.0286 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2929 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.95585 | 0.19365 | 0.90465 | 0.26037 | 0.19301
ETHION | 2033 | 82346GCM40 | 2011-10-25 | 2011-10-01 | 2012-09-30 | ug/L | 0.87251 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.02212 | ETHION | . | 0.01 | 0.0193 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87251 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.95585 | 0.19365 | 0.90465 | 0.26037 | 0.19301
ETHION | 2033 | 82346GCM40 | 2011-12-03 | 2011-10-01 | 2012-09-30 | ug/L | 0.6623 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 80 µl | 0.04424 | ETHION | . | 0.01 | 0.0293 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6623 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.95585 | 0.19365 | 0.90465 | 0.26037 | 0.19301
ETHION | 2033 | 82346GCM40 | 2012-03-05 | 2011-10-01 | 2012-09-30 | ug/L | 0.81374 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.02212 | ETHION | . | 0.01 | 0.018 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81374 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.95585 | 0.19365 | 0.90465 | 0.26037 | 0.19301
ETHION | 2033 | 82346GCM40 | 2012-05-08 | 2011-10-01 | 2012-09-30 | ug/L | 0.83635 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.02212 | ETHION | . | 0.01 | 0.0185 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83635 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.95585 | 0.19365 | 0.90465 | 0.26037 | 0.19301
ETHION | 2033 | 82346GCM40 | 2010-02-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.6568 | NSI | 090109-01Pest | NSI 090109-01Pest: 40 µl | 0.080694 | ETHION | . | 0.008 | 0.053 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6568 | NSI 090109-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.67438 | 0.052322 | 0.65581 | 0.059435 | 0.044059
ETHION | 2033 | 82346GCM40 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.65481 | NSI | 090109-01Pest | NSI 090109-01Pest: 20 µl | 0.038332 | ETHION | . | 0.008 | 0.0251 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65481 | NSI 090109-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.67438 | 0.052322 | 0.65581 | 0.059435 | 0.044059
ETHION | 2033 | 82346GCM40 | 2010-08-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.7514 | NSI | 090109-01Pest | NSI 090109-01Pest: 20 µl | 0.039926 | ETHION | . | 0.008 | 0.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7514 | NSI 090109-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.67438 | 0.052322 | 0.65581 | 0.059435 | 0.044059
ETHION | 2033 | 82346GCM40 | 2010-10-27 | 2010-10-01 | 2011-09-30 | ug/L | 0.63452 | NSI | 090109-01Pest | NSI 090109-01Pest: 100 µl | 0.197 | ETHION | . | 0.008 | 0.125 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63452 | NSI 090109-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.67438 | 0.052322 | 0.65581 | 0.059435 | 0.044059
ETHION | 2033 | 82346GCM40 | 2009-09-03 | 2008-10-01 | 2009-09-30 | ug/L | 0.75249 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | ETHION | . | 0.012 | 0.056 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75249 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.75249 |  | 0.75249 | 0 | 0
ETHION | 2033 | 82346GCM40 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.81223 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | ETHION | . | 0.008 | 0.0315 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81223 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.89231 | 0.071443 | 0.9152 | 0.13728 | 0.10176
ETHION | 2033 | 82346GCM40 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.94951 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | ETHION | . | 0.008 | 0.0385 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94951 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.89231 | 0.071443 | 0.9152 | 0.13728 | 0.10176
ETHION | 2033 | 82346GCM40 | 2010-12-16 | 2010-10-01 | 2011-09-30 | ug/L | 0.91519 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | ETHION | . | 0.008 | 0.037 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9152 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.89231 | 0.071443 | 0.9152 | 0.13728 | 0.10176
ETHION | 2033 | 82346GCM40 | 2011-01-20 | 2010-10-01 | 2011-09-30 | ug/L | 0.8232 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | ETHION | . | 0.008 | 0.0829 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8232 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.83337 | 0.1453 | 0.79623 | 0.19484 | 0.14443
ETHION | 2033 | 82346GCM40 | 2011-03-05 | 2010-10-01 | 2011-09-30 | ug/L | 1.0384 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 25 µl | 0.02475 | ETHION | . | 0.008 | 0.0257 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0384 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.83337 | 0.1453 | 0.79623 | 0.19484 | 0.14443
ETHION | 2033 | 82346GCM40 | 2011-04-20 | 2010-10-01 | 2011-09-30 | ug/L | 0.70263 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.099483 | ETHION | . | 0.008 | 0.0699 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70263 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.83337 | 0.1453 | 0.79623 | 0.19484 | 0.14443
ETHION | 2033 | 82346GCM40 | 2011-06-22 | 2010-10-01 | 2011-09-30 | ug/L | 0.76927 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 75 µl | 0.074096 | ETHION | . | 0.008 | 0.057 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76927 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.83337 | 0.1453 | 0.79623 | 0.19484 | 0.14443
ETHION | 2033 | 82346GCM40 | 2012-07-14 | 2011-10-01 | 2012-09-30 | ug/L | 0.836 | Restek, Supelco | A088380, LB92783 | Restek A088380: 20 µl & Supelco LB92783: 20 µl | 0.1 | ETHION | . | 0.01 | 0.0836 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.836 | ReA088380, SuLB92783 | Re | Su | Su | A088380 | LB92783 | LB92783 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.836 |  | 0.836 | 0 | 0
ETHION | 2033 | 82346GCM40 | 2012-09-05 | 2011-10-01 | 2012-09-30 | ug/L | 0.87861 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl | 0.1038 | ETHION | . | 0.01 | 0.0912 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87861 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.7341 | 0.20437 | 0.7341 | 0.28902 | 0.21425
ETHION | 2033 | 82346GCM40 | 2013-01-15 | 2012-10-01 | 2050-09-30 | ug/L | 0.5896 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl | 0.2595 | ETHION | . | 0.0046 | 0.153 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5896 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.7341 | 0.20437 | 0.7341 | 0.28902 | 0.21425
ETHION | 2033 | 82346GCM40 | 2012-11-20 | 2012-10-01 | 2050-09-30 | ug/L | 0.746 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl | 0.5 | ETHION | . | 0.0046 | 0.373 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.746 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.75133 | 0.054197 | 0.746 | 0.108 | 0.080059
ETHION | 2033 | 82346GCM40 | 2013-02-22 | 2012-10-01 | 2050-09-30 | ug/L | 0.7 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl | 0.1 | ETHION | . | 0.0046 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.75133 | 0.054197 | 0.746 | 0.108 | 0.080059
ETHION | 2033 | 82346GCM40 | 2013-04-02 | 2012-10-01 | 2050-09-30 | ug/L | 0.808 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl | 0.25 | ETHION | . | 0.0046 | 0.202 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.808 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.75133 | 0.054197 | 0.746 | 0.108 | 0.080059
ETHION | 2033 | 82346GCM40 | 2013-09-20 | 2012-10-01 | 2050-09-30 | ug/L | 0.92333 | Spex Organics, ERA | T1130514013, 0318-13-02.2 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl | 0.03 | ETHION | . | 0.0046 | 0.0277 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92333 | SpT114013, ER03102.2 | Sp | ER | ER | T114013 | 03102.2 | 03102.2 | T114013 | 03102.2 | 03102.2 | Y | Recoverable Result | Y | 2 |  | 1 | 0.92333 |  | 0.92333 | 0 | 0
ETHION | 2033 | 82346GCM40 | 2013-11-09 | 2012-10-01 | 2050-09-30 | ug/L | 1.0333 | Spex Organics, Supelco | T1130514013, LB99392 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl | 0.006 | ETHION | . | 0.0046 | 0.0062 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0333 | SpT114013, SuLB99392 | Sp | Su | Su | T114013 | LB99392 | LB99392 | T114013 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0333 |  | 1.0333 | 0 | 0
ETHION | 2033 | 82346GCM40 | 2011-01-11 | 2010-10-01 | 2011-09-30 | ug/L | 0.69164 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.039616 | ETHION | . | 0.008 | 0.0274 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69164 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.84078 | 0.11379 | 0.865 | 0.1008 | 0.074724
ETHION | 2033 | 82346GCM40 | 2011-01-21 | 2010-10-01 | 2011-09-30 | ug/L | 0.99709 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.019958 | ETHION | . | 0.008 | 0.0199 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99709 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.84078 | 0.11379 | 0.865 | 0.1008 | 0.074724
ETHION | 2033 | 82346GCM40 | 2011-02-19 | 2010-10-01 | 2011-09-30 | ug/L | 0.89595 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.02009 | ETHION | . | 0.008 | 0.018 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89595 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.84078 | 0.11379 | 0.865 | 0.1008 | 0.074724
ETHION | 2033 | 82346GCM40 | 2011-03-23 | 2010-10-01 | 2011-09-30 | ug/L | 0.8983 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.019592 | ETHION | . | 0.008 | 0.0176 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8983 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.84078 | 0.11379 | 0.865 | 0.1008 | 0.074724
ETHION | 2033 | 82346GCM40 | 2011-05-14 | 2010-10-01 | 2011-09-30 | ug/L | 0.94459 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.02022 | ETHION | . | 0.008 | 0.0191 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94459 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.84078 | 0.11379 | 0.865 | 0.1008 | 0.074724
ETHION | 2033 | 82346GCM40 | 2011-07-07 | 2010-10-01 | 2011-09-30 | ug/L | 0.8925 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.04 | ETHION | . | 0.008 | 0.0357 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8925 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.84078 | 0.11379 | 0.865 | 0.1008 | 0.074724
ETHION | 2033 | 82346GCM40 | 2011-09-19 | 2010-10-01 | 2011-09-30 | ug/L | 0.905 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.02 | ETHION | . | 0.008 | 0.0181 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.905 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.84078 | 0.11379 | 0.865 | 0.1008 | 0.074724
ETHION | 2033 | 82346GCM40 | 2011-09-29 | 2010-10-01 | 2011-09-30 | ug/L | 0.785 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.04 | ETHION | . | 0.008 | 0.0314 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.785 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.84078 | 0.11379 | 0.865 | 0.1008 | 0.074724
ETHION | 2033 | 82346GCM40 | 2011-11-17 | 2011-10-01 | 2012-09-30 | ug/L | 0.865 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.02 | ETHION | . | 0.01 | 0.0173 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.865 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.84078 | 0.11379 | 0.865 | 0.1008 | 0.074724
ETHION | 2033 | 82346GCM40 | 2011-12-21 | 2011-10-01 | 2012-09-30 | ug/L | 0.7975 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.04 | ETHION | . | 0.01 | 0.0319 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7975 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.84078 | 0.11379 | 0.865 | 0.1008 | 0.074724
ETHION | 2033 | 82346GCM40 | 2012-01-27 | 2011-10-01 | 2012-09-30 | ug/L | 0.8375 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.04 | ETHION | . | 0.01 | 0.0335 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8375 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.84078 | 0.11379 | 0.865 | 0.1008 | 0.074724
ETHION | 2033 | 82346GCM40 | 2012-04-05 | 2011-10-01 | 2012-09-30 | ug/L | 0.56 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.02 | ETHION | . | 0.01 | 0.0112 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.84078 | 0.11379 | 0.865 | 0.1008 | 0.074724
ETHION | 2033 | 82346GCM40 | 2012-06-02 | 2011-10-01 | 2012-09-30 | ug/L | 0.86 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.02 | ETHION | . | 0.01 | 0.0172 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.84078 | 0.11379 | 0.865 | 0.1008 | 0.074724
ETHION | 2033 | 82346GCM40 | 2012-10-18 | 2012-10-01 | 2050-09-30 | ug/L | 0.664 | Supelco, Abs | LB92783, 052412 | Supelco LB92783: 50 µl & Abs 052412: 50 µl | 0.25 | ETHION | . | 0.0046 | 0.166 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.664 | SuLB92783, Ab052412 | Su | Ab | Ab | LB92783 | 052412 | 052412 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.664 | 0 | 0.664 | 0 | 0
ETHION | 2033 | 82346GCM40 | 2013-01-17 | 2012-10-01 | 2050-09-30 | ug/L | 0.664 | Supelco, Abs | LB92783, 052412 | Supelco LB92783: 50 µl & Abs 052412: 50 µl | 0.25 | ETHION | . | 0.0046 | 0.166 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.664 | SuLB92783, Ab052412 | Su | Ab | Ab | LB92783 | 052412 | 052412 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.664 | 0 | 0.664 | 0 | 0
ETHION | 2033 | 82346GCM40 | 2010-02-06 | 2009-10-01 | 2010-09-30 | ug/L | 0.64964 | Supelco | LB69639 | Supelco LB69639: 20 µl | 0.038329 | ETHION | . | 0.008 | 0.0249 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64964 | Supelco LB69639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.90905 | 0.27956 | 0.84161 | 0.36295 | 0.26905
ETHION | 2033 | 82346GCM40 | 2010-04-22 | 2009-10-01 | 2010-09-30 | ug/L | 1.3033 | Supelco | LB69639 | Supelco LB69639: 20 µl | 0.038133 | ETHION | . | 0.008 | 0.0497 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3033 | Supelco LB69639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.90905 | 0.27956 | 0.84161 | 0.36295 | 0.26905
ETHION | 2033 | 82346GCM40 | 2010-07-07 | 2009-10-01 | 2010-09-30 | ug/L | 0.8777 | Supelco | LB69639 | Supelco LB69639: 40 µl | 0.075082 | ETHION | . | 0.008 | 0.0659 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8777 | Supelco LB69639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.90905 | 0.27956 | 0.84161 | 0.36295 | 0.26905
ETHION | 2033 | 82346GCM40 | 2010-09-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.80551 | Supelco | LB69639 | Supelco LB69639: 40 µl | 0.076597 | ETHION | . | 0.008 | 0.0617 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80551 | Supelco LB69639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.90905 | 0.27956 | 0.84161 | 0.36295 | 0.26905