## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
ETHION MONOXON | 2033 | 61644GCM39 | 2009-09-03 | 2006-04-01 | 2009-09-30 | ug/L | 0.7928 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | ETHION_MONOXON | E | 0.021 | 0.059 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7928 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 0.7928 |  | 0.7928 | 0 | 0
ETHION MONOXON | 2033 | 61644GCM39 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.80449 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | ETHION_MONOXON | E | 0.021 | 0.0312 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80449 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.98769 | 0.16071 | 1.0537 | 0.30039 | 0.22267
ETHION MONOXON | 2033 | 61644GCM39 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 1.1049 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | ETHION_MONOXON | E | 0.021 | 0.0448 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1049 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.98769 | 0.16071 | 1.0537 | 0.30039 | 0.22267
ETHION MONOXON | 2033 | 61644GCM39 | 2010-12-16 | 2010-10-01 | 2011-09-30 | ug/L | 1.0537 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | ETHION_MONOXON | E | 0.021 | 0.0426 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0537 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.98769 | 0.16071 | 1.0537 | 0.30039 | 0.22267
ETHION MONOXON | 2033 | 61644GCM39 | 2011-01-20 | 2010-10-01 | 2011-09-30 | ug/L | 0.93243 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | ETHION_MONOXON | E | 0.021 | 0.0939 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93243 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.91881 | 0.18127 | 0.87582 | 0.26249 | 0.19458
ETHION MONOXON | 2033 | 61644GCM39 | 2011-03-05 | 2010-10-01 | 2011-09-30 | ug/L | 1.1677 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 25 µl | 0.02475 | ETHION_MONOXON | E | 0.021 | 0.0289 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1677 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.91881 | 0.18127 | 0.87582 | 0.26249 | 0.19458
ETHION MONOXON | 2033 | 61644GCM39 | 2011-04-20 | 2010-10-01 | 2011-09-30 | ug/L | 0.75591 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.099483 | ETHION_MONOXON | E | 0.021 | 0.0752 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75591 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.91881 | 0.18127 | 0.87582 | 0.26249 | 0.19458
ETHION MONOXON | 2033 | 61644GCM39 | 2011-06-22 | 2010-10-01 | 2011-09-30 | ug/L | 0.81921 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 75 µl | 0.074096 | ETHION_MONOXON | E | 0.021 | 0.0607 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81921 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.91881 | 0.18127 | 0.87582 | 0.26249 | 0.19458