## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
ETHOPROPHOS | 2033 | 82672GCM35 | 2012-12-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.94 | Abs, ERA | 052412, 0507-12-04.2 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl | 0.2 | ETHOPROPHOS | . | 0.016 | 0.188 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94 | Ab052412, ER05004.2 | Ab | ER | ER | 052412 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.839 | 0.14284 | 0.839 | 0.202 | 0.14974
ETHOPROPHOS | 2033 | 82672GCM35 | 2013-04-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.738 | Abs, ERA | 052412, 0507-12-04.2 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl | 0.1 | ETHOPROPHOS | . | 0.016 | 0.0738 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.738 | Ab052412, ER05004.2 | Ab | ER | ER | 052412 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.839 | 0.14284 | 0.839 | 0.202 | 0.14974
ETHOPROPHOS | 2033 | 82672GCM35 | 2012-08-14 | 2010-10-01 | 2050-09-30 | ug/L | 1.0632 | Abs, Supelco | 052412, LB92783 | Abs 052412: 20 µl & Supelco LB92783: 20 µl | 0.04016 | ETHOPROPHOS | . | 0.016 | 0.0427 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0632 | Ab052412, SuLB92783 | Ab | Su | Su | 052412 | LB92783 | LB92783 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0632 |  | 1.0632 | 0 | 0
ETHOPROPHOS | 2033 | 82672GCM35 | 2013-07-11 | 2010-10-01 | 2050-09-30 | ug/L | 0.715 | ChemService, ERA | 1473000, 0318-13-02.2 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl | 0.04 | ETHOPROPHOS | . | 0.016 | 0.0286 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.715 | Ch1473000, ER03102.2 | Ch | ER | ER | 1473000 | 03102.2 | 03102.2 |  | 03102.2 | 03102.2 | Y | Recoverable Result | Y | 2 |  | 1 | 0.715 |  | 0.715 | 0 | 0
ETHOPROPHOS | 2033 | 82672GCM35 | 2013-06-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.13 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl | 0.1 | ETHOPROPHOS | . | 0.016 | 0.113 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.13 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.98625 | 0.20329 | 0.98625 | 0.2875 | 0.21312
ETHOPROPHOS | 2033 | 82672GCM35 | 2014-01-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.8425 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl | 0.04 | ETHOPROPHOS | . | 0.016 | 0.0337 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8425 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.98625 | 0.20329 | 0.98625 | 0.2875 | 0.21312
ETHOPROPHOS | 2033 | 82672GCM35 | 2012-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.005 | Crescent, ERA | 05BB029, 0507-12-04.2 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl | 0.04 | ETHOPROPHOS | . | 0.016 | 0.0402 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.005 | Cr05BB029, ER05004.2 | Cr | ER | ER | 05BB029 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.87875 | 0.17854 | 0.87875 | 0.2525 | 0.18718
ETHOPROPHOS | 2033 | 82672GCM35 | 2013-03-07 | 2010-10-01 | 2050-09-30 | ug/L | 0.7525 | Crescent, ERA | 05BB029, 0507-12-04.2 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl | 0.04 | ETHOPROPHOS | E | 0.016 | 0.0301 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7525 | Cr05BB029, ER05004.2 | Cr | ER | ER | 05BB029 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Estimated Values | Y | 2 |  | 2 | 0.87875 | 0.17854 | 0.87875 | 0.2525 | 0.18718
ETHOPROPHOS | 2033 | 82672GCM35 | 2013-09-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.971 | ERA, Abs, Crescent | 0318-13-02.2, 042413, 10802AL | ERA 0318-13-02.2: 50 µl & Abs 042413: 50 µl & Crescent 10802AL: 10 µl | 0.1 | ETHOPROPHOS | . | 0.016 | 0.0971 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.971 | ER03102.2, Ab042413, Cr10802AL | ER | Ab | Cr | 03102.2 | 042413 | 10802AL | 03102.2 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.788 | 0.2588 | 0.788 | 0.366 | 0.27131
ETHOPROPHOS | 2033 | 82672GCM35 | 2014-01-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.605 | ERA, Abs, Crescent | 0318-13-02.2, 042413, 10802AL | ERA 0318-13-02.2: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl | 0.04 | ETHOPROPHOS | . | 0.016 | 0.0242 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.605 | ER03102.2, Ab042413, Cr10802AL | ER | Ab | Cr | 03102.2 | 042413 | 10802AL | 03102.2 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.788 | 0.2588 | 0.788 | 0.366 | 0.27131
ETHOPROPHOS | 2033 | 82672GCM35 | 2013-06-11 | 2010-10-01 | 2050-09-30 | ug/L | 0.935 | ERA, Crescent | 0318-13-02.2, 04CC101 | ERA 0318-13-02.2: 20 µl & Crescent 04CC101: 20 µl | 0.04 | ETHOPROPHOS | . | 0.016 | 0.0374 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.935 | ER03102.2, Cr04CC101 | ER | Cr | Cr | 03102.2 | 04CC101 | 04CC101 | 03102.2 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.935 |  | 0.935 | 0 | 0
ETHOPROPHOS | 2033 | 82672GCM35 | 2011-09-13 | 2010-10-01 | 2050-09-30 | ug/L | 1.0312 | ERA | 0318-13-02.2 | ERA 0318-13-02.2: 40 µl | 0.08 | ETHOPROPHOS | . | 0.016 | 0.0825 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0312 | ERA 0318-13-02.2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.0312 |  | 1.0312 | 0 | 0
ETHOPROPHOS | 2033 | 82672GCM35 | 2012-10-12 | 2010-10-01 | 2050-09-30 | ug/L | 1.01 | ERA | 0507-12-04.2 | ERA 0507-12-04.2: 50 µl | 0.1 | ETHOPROPHOS | . | 0.016 | 0.101 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.01 | ERA 0507-12-04.2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.01 |  | 1.01 | 0 | 0
ETHOPROPHOS | 2033 | 82672GCM35 | 2011-01-13 | 2010-10-01 | 2050-09-30 | ug/L | 1.1251 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 80 µl | 0.098657 | ETHOPROPHOS | . | 0.016 | 0.111 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1251 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.0245 | 0.10927 | 1.0583 | 0.20107 | 0.14905
ETHOPROPHOS | 2033 | 82672GCM35 | 2011-02-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.0583 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.048661 | ETHOPROPHOS | E | 0.016 | 0.0515 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0583 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 1.0245 | 0.10927 | 1.0583 | 0.20107 | 0.14905
ETHOPROPHOS | 2033 | 82672GCM35 | 2011-02-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.9116 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 80 µl | 0.098618 | ETHOPROPHOS | . | 0.016 | 0.0899 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9116 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.0245 | 0.10927 | 1.0583 | 0.20107 | 0.14905
ETHOPROPHOS | 2033 | 82672GCM35 | 2011-04-13 | 2010-10-01 | 2050-09-30 | ug/L | 0.91183 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.049899 | ETHOPROPHOS | . | 0.016 | 0.0455 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91183 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.0245 | 0.10927 | 1.0583 | 0.20107 | 0.14905
ETHOPROPHOS | 2033 | 82672GCM35 | 2011-06-20 | 2010-10-01 | 2050-09-30 | ug/L | 1.0971 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.050131 | ETHOPROPHOS | . | 0.016 | 0.055 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0971 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.0245 | 0.10927 | 1.0583 | 0.20107 | 0.14905
ETHOPROPHOS | 2033 | 82672GCM35 | 2011-07-28 | 2010-10-01 | 2050-09-30 | ug/L | 1.1552 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.0496 | ETHOPROPHOS | E | 0.016 | 0.0573 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1552 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 1.0245 | 0.10927 | 1.0583 | 0.20107 | 0.14905
ETHOPROPHOS | 2033 | 82672GCM35 | 2011-10-25 | 2010-10-01 | 2050-09-30 | ug/L | 0.98992 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.0496 | ETHOPROPHOS | . | 0.016 | 0.0491 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98992 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.0245 | 0.10927 | 1.0583 | 0.20107 | 0.14905
ETHOPROPHOS | 2033 | 82672GCM35 | 2011-12-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.85887 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 80 µl | 0.0992 | ETHOPROPHOS | . | 0.016 | 0.0852 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85887 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.0245 | 0.10927 | 1.0583 | 0.20107 | 0.14905
ETHOPROPHOS | 2033 | 82672GCM35 | 2012-03-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.1129 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.0496 | ETHOPROPHOS | . | 0.016 | 0.0552 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1129 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.0245 | 0.10927 | 1.0583 | 0.20107 | 0.14905
ETHOPROPHOS | 2033 | 82672GCM35 | 2009-09-03 | 2008-10-01 | 2009-09-30 | ug/L | 0.94061 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | ETHOPROPHOS | . | 0.016 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94061 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.94061 |  | 0.94061 | 0 | 0
ETHOPROPHOS | 2033 | 82672GCM35 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 1.1113 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | ETHOPROPHOS | . | 0.016 | 0.0431 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1113 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.2908 | 0.17133 | 1.3085 | 0.34129 | 0.25299
ETHOPROPHOS | 2033 | 82672GCM35 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 1.4526 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | ETHOPROPHOS | . | 0.016 | 0.0589 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4526 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.2908 | 0.17133 | 1.3085 | 0.34129 | 0.25299
ETHOPROPHOS | 2033 | 82672GCM35 | 2010-12-16 | 2010-10-01 | 2050-09-30 | ug/L | 1.3085 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | ETHOPROPHOS | . | 0.016 | 0.0529 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3085 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.2908 | 0.17133 | 1.3085 | 0.34129 | 0.25299
ETHOPROPHOS | 2033 | 82672GCM35 | 2011-01-20 | 2010-10-01 | 2050-09-30 | ug/L | 1.1122 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | ETHOPROPHOS | . | 0.016 | 0.112 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1122 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1009 | 0.14452 | 1.0925 | 0.19512 | 0.14464
ETHOPROPHOS | 2033 | 82672GCM35 | 2011-03-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.2848 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 25 µl | 0.02475 | ETHOPROPHOS | . | 0.016 | 0.0318 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2848 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1009 | 0.14452 | 1.0925 | 0.19512 | 0.14464
ETHOPROPHOS | 2033 | 82672GCM35 | 2011-04-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.93383 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.099483 | ETHOPROPHOS | . | 0.016 | 0.0929 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93383 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1009 | 0.14452 | 1.0925 | 0.19512 | 0.14464
ETHOPROPHOS | 2033 | 82672GCM35 | 2011-06-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.0729 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 75 µl | 0.074096 | ETHOPROPHOS | . | 0.016 | 0.0795 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0729 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1009 | 0.14452 | 1.0925 | 0.19512 | 0.14464
ETHOPROPHOS | 2033 | 82672GCM35 | 2009-08-25 | 2008-10-01 | 2009-09-30 | ug/L | 0.98584 | Restek | A063025 | Restek A063025: 40 µl | 0.21504 | ETHOPROPHOS | . | 0.016 | 0.212 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98584 | Restek A063025 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.0749 | 0.12596 | 1.0749 | 0.17813 | 0.13205
ETHOPROPHOS | 2033 | 82672GCM35 | 2009-12-11 | 2009-10-01 | 2010-09-30 | ug/L | 1.164 | Restek | A063025 | Restek A063025: 25 µl | 0.13316 | ETHOPROPHOS | . | 0.016 | 0.155 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.164 | Restek A063025 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.0749 | 0.12596 | 1.0749 | 0.17813 | 0.13205
ETHOPROPHOS | 2033 | 82672GCM35 | 2012-09-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.165 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl | 0.04 | ETHOPROPHOS | . | 0.016 | 0.0466 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.165 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.945 | 0.31113 | 0.945 | 0.44 | 0.32617
ETHOPROPHOS | 2033 | 82672GCM35 | 2013-01-15 | 2010-10-01 | 2050-09-30 | ug/L | 0.725 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl | 0.1 | ETHOPROPHOS | . | 0.016 | 0.0725 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.725 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.945 | 0.31113 | 0.945 | 0.44 | 0.32617
ETHOPROPHOS | 2033 | 82672GCM35 | 2012-11-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.83665 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl | 0.2008 | ETHOPROPHOS | . | 0.016 | 0.168 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83665 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.79432 | 0.056945 | 0.81673 | 0.10707 | 0.079371
ETHOPROPHOS | 2033 | 82672GCM35 | 2013-02-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.72958 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl | 0.04016 | ETHOPROPHOS | . | 0.016 | 0.0293 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72958 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.79432 | 0.056945 | 0.81673 | 0.10707 | 0.079371
ETHOPROPHOS | 2033 | 82672GCM35 | 2013-04-02 | 2010-10-01 | 2050-09-30 | ug/L | 0.81673 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl | 0.1004 | ETHOPROPHOS | . | 0.016 | 0.082 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81673 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.79432 | 0.056945 | 0.81673 | 0.10707 | 0.079371
ETHOPROPHOS | 2033 | 82672GCM35 | 2013-09-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.8 | Spex Organics, ERA | T1130514013, 0318-13-02.2 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl | 0.2 | ETHOPROPHOS | . | 0.016 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | SpT114013, ER03102.2 | Sp | ER | ER | T114013 | 03102.2 | 03102.2 | T114013 | 03102.2 | 03102.2 | Y | Recoverable Result | Y | 2 |  | 1 | 0.8 |  | 0.8 | 0 | 0
ETHOPROPHOS | 2033 | 82672GCM35 | 2013-11-09 | 2010-10-01 | 2050-09-30 | ug/L | 1.1525 | Spex Organics, Supelco | T1130514013, LB99392 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl | 0.04 | ETHOPROPHOS | . | 0.016 | 0.0461 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1525 | SpT114013, SuLB99392 | Sp | Su | Su | T114013 | LB99392 | LB99392 | T114013 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1525 |  | 1.1525 | 0 | 0
ETHOPROPHOS | 2033 | 82672GCM35 | 2010-06-16 | 2009-10-01 | 2010-09-30 | ug/L | 1.2699 | Spex Organics | T1090901009 | Spex Organics T1090901009: 20 µl | 0.052209 | ETHOPROPHOS | . | 0.016 | 0.0663 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2699 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0843 | 0.17939 | 1.0713 | 0.30729 | 0.22779
ETHOPROPHOS | 2033 | 82672GCM35 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.93669 | Spex Organics | T1090901009 | Spex Organics T1090901009: 100 µl | 0.26263 | ETHOPROPHOS | . | 0.016 | 0.246 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93669 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0843 | 0.17939 | 1.0713 | 0.30729 | 0.22779
ETHOPROPHOS | 2033 | 82672GCM35 | 2010-09-30 | 2009-10-01 | 2010-09-30 | ug/L | 1.2059 | Spex Organics | T1090901009 | Spex Organics T1090901009: 20 µl | 0.053072 | ETHOPROPHOS | . | 0.016 | 0.064 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2059 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0843 | 0.17939 | 1.0713 | 0.30729 | 0.22779
ETHOPROPHOS | 2033 | 82672GCM35 | 2010-12-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.92454 | Spex Organics | T1090901009 | Spex Organics T1090901009: 40 µl | 0.10686 | ETHOPROPHOS | . | 0.016 | 0.0988 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92454 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0843 | 0.17939 | 1.0713 | 0.30729 | 0.22779
ETHOPROPHOS | 2033 | 82672GCM35 | 2011-01-11 | 2010-10-01 | 2050-09-30 | ug/L | 1.1254 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.095078 | ETHOPROPHOS | . | 0.016 | 0.107 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1254 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.106 | 0.13822 | 1.1021 | 0.20863 | 0.15466
ETHOPROPHOS | 2033 | 82672GCM35 | 2011-01-21 | 2010-10-01 | 2050-09-30 | ug/L | 1.3862 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.047899 | ETHOPROPHOS | . | 0.016 | 0.0664 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3862 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.106 | 0.13822 | 1.1021 | 0.20863 | 0.15466
ETHOPROPHOS | 2033 | 82672GCM35 | 2011-02-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.93328 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.048217 | ETHOPROPHOS | . | 0.016 | 0.045 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93328 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.106 | 0.13822 | 1.1021 | 0.20863 | 0.15466
ETHOPROPHOS | 2033 | 82672GCM35 | 2011-03-23 | 2010-10-01 | 2050-09-30 | ug/L | 1.2611 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.047022 | ETHOPROPHOS | . | 0.016 | 0.0593 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2611 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.106 | 0.13822 | 1.1021 | 0.20863 | 0.15466
ETHOPROPHOS | 2033 | 82672GCM35 | 2011-05-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.9994 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.048529 | ETHOPROPHOS | . | 0.016 | 0.0485 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9994 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.106 | 0.13822 | 1.1021 | 0.20863 | 0.15466
ETHOPROPHOS | 2033 | 82672GCM35 | 2011-07-07 | 2010-10-01 | 2050-09-30 | ug/L | 1.1354 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.096 | ETHOPROPHOS | . | 0.016 | 0.109 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1354 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.106 | 0.13822 | 1.1021 | 0.20863 | 0.15466
ETHOPROPHOS | 2033 | 82672GCM35 | 2011-09-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.95208 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.048 | ETHOPROPHOS | . | 0.016 | 0.0457 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95208 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.106 | 0.13822 | 1.1021 | 0.20863 | 0.15466
ETHOPROPHOS | 2033 | 82672GCM35 | 2011-09-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.96042 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.096 | ETHOPROPHOS | E | 0.016 | 0.0922 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96042 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 |  | 12 | 1.106 | 0.13822 | 1.1021 | 0.20863 | 0.15466
ETHOPROPHOS | 2033 | 82672GCM35 | 2011-11-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.1208 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.048 | ETHOPROPHOS | . | 0.016 | 0.0538 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1208 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.106 | 0.13822 | 1.1021 | 0.20863 | 0.15466
ETHOPROPHOS | 2033 | 82672GCM35 | 2011-12-21 | 2010-10-01 | 2050-09-30 | ug/L | 1.0833 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.096 | ETHOPROPHOS | . | 0.016 | 0.104 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0833 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.106 | 0.13822 | 1.1021 | 0.20863 | 0.15466
ETHOPROPHOS | 2033 | 82672GCM35 | 2012-01-27 | 2010-10-01 | 2050-09-30 | ug/L | 1.0729 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.096 | ETHOPROPHOS | E | 0.016 | 0.103 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0729 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 |  | 12 | 1.106 | 0.13822 | 1.1021 | 0.20863 | 0.15466
ETHOPROPHOS | 2033 | 82672GCM35 | 2012-04-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.2417 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.048 | ETHOPROPHOS | E | 0.016 | 0.0596 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2417 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 |  | 12 | 1.106 | 0.13822 | 1.1021 | 0.20863 | 0.15466
ETHOPROPHOS | 2033 | 82672GCM35 | 2012-10-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.82072 | Supelco, Abs | LB92783, 052412 | Supelco LB92783: 50 µl & Abs 052412: 50 µl | 0.1004 | ETHOPROPHOS | . | 0.016 | 0.0824 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82072 | SuLB92783, Ab052412 | Su | Ab | Ab | LB92783 | 052412 | 052412 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.86853 | 0.067612 | 0.86853 | 0.095618 | 0.07088
ETHOPROPHOS | 2033 | 82672GCM35 | 2013-01-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.91633 | Supelco, Abs | LB92783, 052412 | Supelco LB92783: 50 µl & Abs 052412: 50 µl | 0.1004 | ETHOPROPHOS | . | 0.016 | 0.092 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91633 | SuLB92783, Ab052412 | Su | Ab | Ab | LB92783 | 052412 | 052412 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.86853 | 0.067612 | 0.86853 | 0.095618 | 0.07088
ETHOPROPHOS | 2033 | 82672GCM35 | 2013-11-23 | 2010-10-01 | 2050-09-30 | ug/L | 1.0675 | Supelco, Abs, Crescent | LB99392, 042413, 10802AL | Supelco LB99392: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl | 0.04 | ETHOPROPHOS | . | 0.016 | 0.0427 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0675 | SuLB99392, Ab042413, Cr10802AL | Su | Ab | Cr | LB99392 | 042413 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0675 |  | 1.0675 | 0 | 0
ETHOPROPHOS | 2033 | 82672GCM35 | 2013-08-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.837 | Supelco, Crescent | LB99392, 04CC101 | Supelco LB99392: 50 µl & Crescent 04CC101: 50 µl | 0.1 | ETHOPROPHOS | . | 0.016 | 0.0837 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.837 | SuLB99392, Cr04CC101 | Su | Cr | Cr | LB99392 | 04CC101 | 04CC101 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.837 |  | 0.837 | 0 | 0
ETHOPROPHOS | 2033 | 82672GCM35 | 2009-09-29 | 2008-10-01 | 2009-09-30 | ug/L | 0.89769 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.13256 | ETHOPROPHOS | . | 0.016 | 0.119 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89769 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.0052 | 0.15203 | 1.0052 | 0.21501 | 0.15938
ETHOPROPHOS | 2033 | 82672GCM35 | 2010-01-27 | 2009-10-01 | 2010-09-30 | ug/L | 1.1127 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.13211 | ETHOPROPHOS | . | 0.016 | 0.147 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1127 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.0052 | 0.15203 | 1.0052 | 0.21501 | 0.15938
ETHOPROPHOS | 2033 | 82672GCM35 | 2010-02-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.90756 | Ultra | CF-3558 | Ultra CF-3558: 40 µl | 0.10236 | ETHOPROPHOS | . | 0.016 | 0.0929 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90756 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1993 | 0.40744 | 1.0579 | 0.57926 | 0.4294
ETHOPROPHOS | 2033 | 82672GCM35 | 2010-05-19 | 2009-10-01 | 2010-09-30 | ug/L | 1.774 | Ultra | CF-3558 | Ultra CF-3558: 20 µl | 0.052819 | ETHOPROPHOS | E | 0.016 | 0.0937 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.774 | Ultra CF-3558 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 1.1993 | 0.40744 | 1.0579 | 0.57926 | 0.4294
ETHOPROPHOS | 2033 | 82672GCM35 | 2010-08-10 | 2009-10-01 | 2010-09-30 | ug/L | 1.2039 | Ultra | CF-3558 | Ultra CF-3558: 40 µl | 0.10632 | ETHOPROPHOS | . | 0.016 | 0.128 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2039 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1993 | 0.40744 | 1.0579 | 0.57926 | 0.4294
ETHOPROPHOS | 2033 | 82672GCM35 | 2010-12-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.91185 | Ultra | CF-3558 | Ultra CF-3558: 20 µl | 0.052531 | ETHOPROPHOS | E | 0.016 | 0.0479 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91185 | Ultra CF-3558 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 1.1993 | 0.40744 | 1.0579 | 0.57926 | 0.4294