## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2013-06-26 | 2010-10-01 | 2050-09-30 | ug/L | 0.59186 | Abs, ChemService | 042413, 1473000 | Abs 042413: 20 µl & ChemService 1473000: 20 µl | 0.1622 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.096 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59186 | Ab042413, Ch1473000 | Ab | Ch | Ch | 042413 | 1473000 | 1473000 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.59186 |  | 0.59186 | 0 | 0
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2013-10-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.25154 | Abs, Spex Organics, Crescent | 042413, T1130514013, 10802AL | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl | 0.4055 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.102 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.25154 | Ab042413, SpT114013, Cr10802AL | Ab | Sp | Cr | 042413 | T114013 | 10802AL |  | T114013 |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.25154 |  | 0.25154 | 0 | 0
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2012-12-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.31138 | Abs, ERA | 052412, 0507-12-04.2 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl | 0.501 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.156 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.31138 | Ab052412, ER05004.2 | Ab | ER | ER | 052412 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Estimated Values | Y | 2 | Y | 2 | 0.5509 | 0.33873 | 0.5509 | 0.47904 | 0.35511
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2013-04-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.79042 | Abs, ERA | 052412, 0507-12-04.2 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl | 0.2505 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.198 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79042 | Ab052412, ER05004.2 | Ab | ER | ER | 052412 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Estimated Values | Y | 2 | Y | 2 | 0.5509 | 0.33873 | 0.5509 | 0.47904 | 0.35511
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2012-08-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.96806 | Abs, Supelco | 052412, LB92783 | Abs 052412: 20 µl & Supelco LB92783: 20 µl | 0.1002 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.097 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96806 | Ab052412, SuLB92783 | Ab | Su | Su | 052412 | LB92783 | LB92783 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.96806 |  | 0.96806 | 0 | 0
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2012-06-16 | 2010-10-01 | 2050-09-30 | ug/L | 0.72854 | Abs | 052412 | Abs 052412: 20 µl | 0.1002 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.073 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72854 | Abs 052412 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 0.72854 |  | 0.72854 | 0 | 0
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2009-10-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.34963 | Abs | 080408Pest | Abs 080408Pest: 40 µl | 0.38613 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.135 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.34963 | Abs 080408Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 0.34963 |  | 0.34963 | 0 | 0
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2010-02-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.11676 | Accu | 209081187 | Accu 209081187: 100 µl | 0.91641 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.107 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.11676 | Accu 209081187 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.21448 | 0.08667 | 0.21439 | 0.13905 | 0.10307
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2010-03-24 | 2009-10-01 | 2010-09-30 | ug/L | 0.17316 | Accu | 209081187 | Accu 209081187: 20 µl | 0.1848 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.032 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.17316 | Accu 209081187 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.21448 | 0.08667 | 0.21439 | 0.13905 | 0.10307
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2010-09-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.31239 | Accu | 209081187 | Accu 209081187: 40 µl | 0.37774 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.118 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.31239 | Accu 209081187 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.21448 | 0.08667 | 0.21439 | 0.13905 | 0.10307
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2010-12-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.25562 | Accu | 209081187 | Accu 209081187: 40 µl | 0.37556 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.096 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.25562 | Accu 209081187 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.21448 | 0.08667 | 0.21439 | 0.13905 | 0.10307
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2009-09-03 | 2008-10-01 | 2009-09-30 | ug/L | 0.30532 | Accu | B8090098 | Accu B8090098: 25 µl | 0.23582 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.072 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.30532 | Accu B8090098 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.30208 | 0.0045736 | 0.30208 | 0.006468 | 0.0047947
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2009-12-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.29885 | Accu | B8090098 | Accu B8090098: 25 µl | 0.23758 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.071 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.29885 | Accu B8090098 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.30208 | 0.0045736 | 0.30208 | 0.006468 | 0.0047947
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2013-12-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.22843 | Crescent, ChemService, Cresc | 04CC101, 1473000, 10802AL | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl | 0.1576 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.036 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.22843 | Cr04CC101, Ch1473000, Cr10802A | Cr | Ch | Cr | 04CC101 | 1473000 | 10802AL |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.22843 |  | 0.22843 | 0 | 0
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2013-09-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.59645 | Crescent, Spex Organics | 04CC101, T1130514013 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl | 0.1576 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.094 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59645 | Cr04CC101, SpT114013 | Cr | Sp | Sp | 04CC101 | T114013 | T114013 |  | T114013 | T114013 | Y | Estimated Values | Y | 2 | Y | 1 | 0.59645 |  | 0.59645 | 0 | 0
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2012-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.35497 | Crescent, ERA | 05BB029, 0507-12-04.2 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl | 0.0986 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.035 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.35497 | Cr05BB029, ER05004.2 | Cr | ER | ER | 05BB029 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Estimated Values | Y | 2 | Y | 2 | 0.5426 | 0.26534 | 0.5426 | 0.37525 | 0.27817
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2013-03-07 | 2010-10-01 | 2050-09-30 | ug/L | 0.73022 | Crescent, ERA | 05BB029, 0507-12-04.2 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl | 0.0986 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.072 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73022 | Cr05BB029, ER05004.2 | Cr | ER | ER | 05BB029 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Estimated Values | Y | 2 | Y | 2 | 0.5426 | 0.26534 | 0.5426 | 0.37525 | 0.27817
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2010-07-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.19409 | Crescent | 08Ll064 | Crescent 08Ll064: 40 µl | 0.37096 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.072 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.19409 | Crescent 08Ll064 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.2792 | 0.12036 | 0.2792 | 0.17022 | 0.12618
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2010-10-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.36431 | Crescent | 08Ll064 | Crescent 08Ll064: 20 µl | 0.18665 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.068 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.36431 | Crescent 08Ll064 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.2792 | 0.12036 | 0.2792 | 0.17022 | 0.12618
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2013-09-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.22688 | ERA, Abs, Crescent | 0318-13-02.2, 042413, 10802AL | ERA 0318-13-02.2: 50 µl & Abs 042413: 50 µl & Crescent 10802AL: 10 µl | 0.4055 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.092 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.22688 | ER03102.2, Ab042413, Cr10802AL | ER | Ab | Cr | 03102.2 | 042413 | 10802AL | 03102.2 |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.22133 | 0.0078471 | 0.22133 | 0.011097 | 0.0082264
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2014-01-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.21578 | ERA, Abs, Crescent | 0318-13-02.2, 042413, 10802AL | ERA 0318-13-02.2: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl | 0.1622 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.035 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.21578 | ER03102.2, Ab042413, Cr10802AL | ER | Ab | Cr | 03102.2 | 042413 | 10802AL | 03102.2 |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.22133 | 0.0078471 | 0.22133 | 0.011097 | 0.0082264
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2013-06-11 | 2010-10-01 | 2050-09-30 | ug/L | 0.78046 | ERA, Crescent | 0318-13-02.2, 04CC101 | ERA 0318-13-02.2: 20 µl & Crescent 04CC101: 20 µl | 0.1576 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.123 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78046 | ER03102.2, Cr04CC101 | ER | Cr | Cr | 03102.2 | 04CC101 | 04CC101 | 03102.2 |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.78046 |  | 0.78046 | 0 | 0
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2009-09-03 | 2008-10-01 | 2009-09-30 | ug/L | 0.47031 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.035 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.47031 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 1 | Y | 1 | 0.47031 |  | 0.47031 | 0 | 0
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.41256 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.016 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.41256 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 1 | Y | 3 | 0.5159 | 0.35637 | 0.41256 | 0.6899 | 0.51141
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.91251 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.037 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.91251 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 1 | Y | 3 | 0.5159 | 0.35637 | 0.41256 | 0.6899 | 0.51141
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2010-12-16 | 2010-10-01 | 2050-09-30 | ug/L | 0.22262 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.009 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.22262 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 1 | Y | 3 | 0.5159 | 0.35637 | 0.41256 | 0.6899 | 0.51141
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2011-01-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.45678 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.046 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.45678 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.37589 | 0.23802 | 0.45678 | 0.45494 | 0.33725
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2011-04-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.56291 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.099483 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.056 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56291 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.37589 | 0.23802 | 0.45678 | 0.45494 | 0.33725
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2011-06-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.10797 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 75 µl | 0.074096 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.008 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.10797 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 1 | Y | 3 | 0.37589 | 0.23802 | 0.45678 | 0.45494 | 0.33725
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2013-03-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.47904 | Restek, Abs | A088380, 052412 | Restek A088380: 20 µl & Abs 052412: 20 µl | 0.1002 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.048 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.47904 | ReA088380, Ab052412 | Re | Ab | Ab | A088380 | 052412 | 052412 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.47904 |  | 0.47904 | 0 | 0
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2012-11-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.5355 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl | 0.2465 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.132 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5355 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Estimated Values | Y | 2 | Y | 3 | 0.70656 | 0.46923 | 0.5355 | 0.89047 | 0.66009
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2013-02-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.34686 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl | 0.493 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.171 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.34686 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Estimated Values | Y | 2 | Y | 3 | 0.70656 | 0.46923 | 0.5355 | 0.89047 | 0.66009
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2013-05-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.2373 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl | 0.0986 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.122 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2373 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Estimated Values | Y | 2 | Y | 3 | 0.70656 | 0.46923 | 0.5355 | 0.89047 | 0.66009
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2013-07-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.63872 | Restek, Abs | A093651, 012513 | Restek A093651: 20 µl & Abs 012513: 20 µl | 0.1002 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.064 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63872 | ReA093651, Ab012513 | Re | Ab | Ab | A093651 | 012513 | 012513 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.63872 |  | 0.63872 | 0 | 0
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2013-09-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.43513 | Restek, Abs, Crescent | A093651, 012513, 10802AL | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl | 0.2505 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.109 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.43513 | ReA093651, Ab012513, Cr10802AL | Re | Ab | Cr | A093651 | 012513 | 10802AL |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.43513 |  | 0.43513 | 0 | 0
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2014-01-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.3493 | Restek, Abs, Crescent | A093651, 052412, 10802AL | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl | 0.1002 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.035 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.3493 | ReA093651, Ab052412, Cr10802AL | Re | Ab | Cr | A093651 | 052412 | 10802AL |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.3493 |  | 0.3493 | 0 | 0
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2011-01-09 | 2010-10-01 | 2050-09-30 | ug/L | 0.34287 | Restek | A075606 | Restek A075606: 40 µl | 0.19249 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.066 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.34287 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 0.19263 | 0.080397 | 0.17009 | 0.13639 | 0.10111
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2011-01-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.090391 | Restek | A075606 | Restek A075606: 80 µl | 0.39827 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.036 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.090391 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 0.19263 | 0.080397 | 0.17009 | 0.13639 | 0.10111
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2011-03-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.24808 | Restek | A075606 | Restek A075606: 40 µl | 0.20155 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.24808 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 0.19263 | 0.080397 | 0.17009 | 0.13639 | 0.10111
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2011-04-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.17009 | Restek | A075606 | Restek A075606: 40 µl | 0.1999 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.034 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.17009 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 0.19263 | 0.080397 | 0.17009 | 0.13639 | 0.10111
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2011-06-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.14351 | Restek | A075606 | Restek A075606: 80 µl | 0.39022 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.056 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.14351 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 0.19263 | 0.080397 | 0.17009 | 0.13639 | 0.10111
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2011-08-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.25763 | Restek | A075606 | Restek A075606: 40 µl | 0.19796 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.051 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.25763 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 0.19263 | 0.080397 | 0.17009 | 0.13639 | 0.10111
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2011-09-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.2349 | Restek | A075606 | Restek A075606: 80 µl | 0.39592 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.093 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.2349 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 0.19263 | 0.080397 | 0.17009 | 0.13639 | 0.10111
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2011-09-13 | 2010-10-01 | 2050-09-30 | ug/L | 0.11619 | Restek | A075606 | Restek A075606: 80 µl | 0.39592 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.046 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.11619 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 0.19263 | 0.080397 | 0.17009 | 0.13639 | 0.10111
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2011-11-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.12124 | Restek | A075606 | Restek A075606: 80 µl | 0.39592 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.048 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.12124 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 0.19263 | 0.080397 | 0.17009 | 0.13639 | 0.10111
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2011-12-04 | 2010-10-01 | 2050-09-30 | ug/L | 0.26268 | Restek | A075606 | Restek A075606: 40 µl | 0.19796 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.052 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.26268 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 0.19263 | 0.080397 | 0.17009 | 0.13639 | 0.10111
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2012-05-15 | 2010-10-01 | 2050-09-30 | ug/L | 0.13134 | Restek | A075606 | Restek A075606: 80 µl | 0.39592 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.052 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.13134 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 0.19263 | 0.080397 | 0.17009 | 0.13639 | 0.10111
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2012-08-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.3144 | Spex Organics, Crescent | T1120530013, 05BB029 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl | 0.0986 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.031 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.3144 | SpT110013, Cr05BB029 | Sp | Cr | Cr | T110013 | 05BB029 | 05BB029 | T110013 |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.25862 | 0.078886 | 0.25862 | 0.11156 | 0.0827
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2012-12-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.20284 | Spex Organics, Crescent | T1120530013, 05BB029 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl | 0.493 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.20284 | SpT110013, Cr05BB029 | Sp | Cr | Cr | T110013 | 05BB029 | 05BB029 | T110013 |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.25862 | 0.078886 | 0.25862 | 0.11156 | 0.0827
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2012-10-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.17964 | Supelco, Abs | LB92783, 052412 | Supelco LB92783: 50 µl & Abs 052412: 50 µl | 0.2505 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.045 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.17964 | SuLB92783, Ab052412 | Su | Ab | Ab | LB92783 | 052412 | 052412 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.32535 | 0.20606 | 0.32535 | 0.29142 | 0.21602
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2013-01-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.47106 | Supelco, Abs | LB92783, 052412 | Supelco LB92783: 50 µl & Abs 052412: 50 µl | 0.2505 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.118 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.47106 | SuLB92783, Ab052412 | Su | Ab | Ab | LB92783 | 052412 | 052412 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.32535 | 0.20606 | 0.32535 | 0.29142 | 0.21602
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2013-11-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.25894 | Supelco, Abs, Crescent | LB99392, 042413, 10802AL | Supelco LB99392: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl | 0.1622 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.042 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.25894 | SuLB99392, Ab042413, Cr10802AL | Su | Ab | Cr | LB99392 | 042413 | 10802AL |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.25894 |  | 0.25894 | 0 | 0
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2013-08-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.29949 | Supelco, Crescent | LB99392, 04CC101 | Supelco LB99392: 50 µl & Crescent 04CC101: 50 µl | 0.394 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.118 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.29949 | SuLB99392, Cr04CC101 | Su | Cr | Cr | LB99392 | 04CC101 | 04CC101 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.29949 |  | 0.29949 | 0 | 0
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2011-01-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.162 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.19753 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.032 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.162 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 0.18327 | 0.080849 | 0.17165 | 0.093397 | 0.069234
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2011-02-09 | 2010-10-01 | 2050-09-30 | ug/L | 0.060153 | Supelco | LB77168 | Supelco LB77168: 80 µl | 0.38236 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.023 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.060153 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 0.18327 | 0.080849 | 0.17165 | 0.093397 | 0.069234
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2011-03-30 | 2010-10-01 | 2050-09-30 | ug/L | 0.3536 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.19796 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.3536 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 0.18327 | 0.080849 | 0.17165 | 0.093397 | 0.069234
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2011-05-25 | 2010-10-01 | 2050-09-30 | ug/L | 0.20843 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.20151 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.042 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.20843 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 0.18327 | 0.080849 | 0.17165 | 0.093397 | 0.069234
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2011-07-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.16912 | Supelco | LB77168 | Supelco LB77168: 80 µl | 0.39616 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.067 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.16912 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 0.18327 | 0.080849 | 0.17165 | 0.093397 | 0.069234
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2011-07-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.17165 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.19808 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.034 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.17165 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 0.18327 | 0.080849 | 0.17165 | 0.093397 | 0.069234
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2011-09-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.20194 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.19808 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.20194 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 0.18327 | 0.080849 | 0.17165 | 0.093397 | 0.069234
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2011-10-02 | 2010-10-01 | 2050-09-30 | ug/L | 0.13883 | Supelco | LB77168 | Supelco LB77168: 80 µl | 0.39616 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.055 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.13883 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 0.18327 | 0.080849 | 0.17165 | 0.093397 | 0.069234
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2011-11-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.23223 | Supelco | LB77168 | Supelco LB77168: 80 µl | 0.39616 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.092 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.23223 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 0.18327 | 0.080849 | 0.17165 | 0.093397 | 0.069234
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2011-12-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.075727 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.19808 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.015 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.075727 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 0.18327 | 0.080849 | 0.17165 | 0.093397 | 0.069234
FENAMIPHOS SULFOXIDE | 2033 | 61646GCM39 | 2012-03-09 | 2010-10-01 | 2050-09-30 | ug/L | 0.24233 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.19808 | FENAMIPHOS_SULFOXIDE | E | 0.08 | 0.048 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.24233 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 0.18327 | 0.080849 | 0.17165 | 0.093397 | 0.069234