## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
FIPRONIL | 2033 | 62166GCM29 | 2012-12-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.90066 | Abs, ERA | 052412, 0507-12-04.2 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl | 0.151 | FIPRONIL | E | 0.018 | 0.136 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90066 | Ab052412, ER05004.2 | Ab | ER | ER | 052412 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Estimated Values | Y | 2 |  | 2 | 0.98411 | 0.11801 | 0.98411 | 0.16689 | 0.12371
FIPRONIL | 2033 | 62166GCM29 | 2013-04-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.0675 | Abs, ERA | 052412, 0507-12-04.2 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl | 0.0755 | FIPRONIL | E | 0.018 | 0.0806 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0675 | Ab052412, ER05004.2 | Ab | ER | ER | 052412 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Estimated Values | Y | 2 |  | 2 | 0.98411 | 0.11801 | 0.98411 | 0.16689 | 0.12371
FIPRONIL | 2033 | 62166GCM29 | 2012-08-14 | 2010-10-01 | 2050-09-30 | ug/L | 1.508 | Abs, Supelco | 052412, LB92783 | Abs 052412: 20 µl & Supelco LB92783: 20 µl | 0.03004 | FIPRONIL | E | 0.018 | 0.0453 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.508 | Ab052412, SuLB92783 | Ab | Su | Su | 052412 | LB92783 | LB92783 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 1.508 |  | 1.508 | 0 | 0
FIPRONIL | 2033 | 62166GCM29 | 2009-10-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.81834 | Abs | 080408Pest | Abs 080408Pest: 40 µl | 0.20529 | FIPRONIL | E | 0.018 | 0.168 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81834 | Abs 080408Pest | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.90008 | 0.11559 | 0.90008 | 0.16347 | 0.12118
FIPRONIL | 2033 | 62166GCM29 | 2010-01-10 | 2009-10-01 | 2010-09-30 | ug/L | 0.98182 | Abs | 080408Pest | Abs 080408Pest: 25 µl | 0.12833 | FIPRONIL | E | 0.018 | 0.126 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98182 | Abs 080408Pest | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.90008 | 0.11559 | 0.90008 | 0.16347 | 0.12118
FIPRONIL | 2033 | 62166GCM29 | 2010-02-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.7217 | Accu | 209081187 | Accu 209081187: 100 µl | 0.71082 | FIPRONIL | E | 0.018 | 0.513 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7217 | Accu 209081187 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.787 | 0.04691 | 0.79984 | 0.060937 | 0.045172
FIPRONIL | 2033 | 62166GCM29 | 2010-03-24 | 2009-10-01 | 2010-09-30 | ug/L | 0.83714 | Accu | 209081187 | Accu 209081187: 20 µl | 0.14335 | FIPRONIL | E | 0.018 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83714 | Accu 209081187 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.787 | 0.04691 | 0.79984 | 0.060937 | 0.045172
FIPRONIL | 2033 | 62166GCM29 | 2010-05-07 | 2009-10-01 | 2010-09-30 | ug/L | 0.81863 | Accu | 209081187 | Accu 209081187: 20 µl | 0.15025 | FIPRONIL | E | 0.018 | 0.123 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81863 | Accu 209081187 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.787 | 0.04691 | 0.79984 | 0.060937 | 0.045172
FIPRONIL | 2033 | 62166GCM29 | 2010-09-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.75769 | Accu | 209081187 | Accu 209081187: 40 µl | 0.29299 | FIPRONIL | E | 0.018 | 0.222 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75769 | Accu 209081187 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.787 | 0.04691 | 0.79984 | 0.060937 | 0.045172
FIPRONIL | 2033 | 62166GCM29 | 2010-12-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.79984 | Accu | 209081187 | Accu 209081187: 40 µl | 0.29131 | FIPRONIL | E | 0.018 | 0.233 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79984 | Accu 209081187 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.787 | 0.04691 | 0.79984 | 0.060937 | 0.045172
FIPRONIL | 2033 | 62166GCM29 | 2009-09-03 | 2008-10-01 | 2009-09-30 | ug/L | 1.1151 | Accu | B8090098 | Accu B8090098: 25 µl | 0.12644 | FIPRONIL | E | 0.04 | 0.141 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1151 | Accu B8090098 | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.99718 | 0.16681 | 0.99718 | 0.23591 | 0.17488
FIPRONIL | 2033 | 62166GCM29 | 2009-12-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.87922 | Accu | B8090098 | Accu B8090098: 25 µl | 0.12739 | FIPRONIL | E | 0.018 | 0.112 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87922 | Accu B8090098 | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.99718 | 0.16681 | 0.99718 | 0.23591 | 0.17488
FIPRONIL | 2033 | 62166GCM29 | 2013-07-11 | 2010-10-01 | 2050-09-30 | ug/L | 0.48996 | ChemService, ERA | 1473000, 0318-13-02.2 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl | 0.0498 | FIPRONIL | E | 0.018 | 0.0244 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.48996 | Ch1473000, ER03102.2 | Ch | ER | ER | 1473000 | 03102.2 | 03102.2 |  | 03102.2 | 03102.2 | Y | Estimated Values | Y | 2 |  | 1 | 0.48996 |  | 0.48996 | 0 | 0
FIPRONIL | 2033 | 62166GCM29 | 2013-06-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.1369 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl | 0.1249 | FIPRONIL | E | 0.018 | 0.142 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1369 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 1.0458 | 0.1288 | 1.0458 | 0.18215 | 0.13502
FIPRONIL | 2033 | 62166GCM29 | 2014-01-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.95476 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl | 0.04996 | FIPRONIL | E | 0.018 | 0.0477 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95476 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 1.0458 | 0.1288 | 1.0458 | 0.18215 | 0.13502
FIPRONIL | 2033 | 62166GCM29 | 2012-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.1589 | Crescent, ERA | 05BB029, 0507-12-04.2 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl | 0.0302 | FIPRONIL | E | 0.018 | 0.035 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1589 | Cr05BB029, ER05004.2 | Cr | ER | ER | 05BB029 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Estimated Values | Y | 2 |  | 2 | 1.2053 | 0.06556 | 1.2053 | 0.092715 | 0.068729
FIPRONIL | 2033 | 62166GCM29 | 2013-03-07 | 2010-10-01 | 2050-09-30 | ug/L | 1.2517 | Crescent, ERA | 05BB029, 0507-12-04.2 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl | 0.0302 | FIPRONIL | E | 0.018 | 0.0378 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2517 | Cr05BB029, ER05004.2 | Cr | ER | ER | 05BB029 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Estimated Values | Y | 2 |  | 2 | 1.2053 | 0.06556 | 1.2053 | 0.092715 | 0.068729
FIPRONIL | 2033 | 62166GCM29 | 2009-07-23 | 2008-10-01 | 2009-09-30 | ug/L | 0.98366 | Crescent | 08HH019 | Crescent 08HH019: 40 µl | 0.20129 | FIPRONIL | E | 0.04 | 0.198 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98366 | Crescent 08HH019 | [9 empty] | Y | Estimated Values | Y | 2 |  | 1 | 0.98366 |  | 0.98366 | 0 | 0
FIPRONIL | 2033 | 62166GCM29 | 2010-06-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.52601 | Crescent | 08Ll064 | Crescent 08Ll064: 20 µl | 0.14696 | FIPRONIL | E | 0.018 | 0.0773 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52601 | Crescent 08Ll064 | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 0.67721 | 0.16922 | 0.64564 | 0.33398 | 0.24758
FIPRONIL | 2033 | 62166GCM29 | 2010-07-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.64564 | Crescent | 08Ll064 | Crescent 08Ll064: 40 µl | 0.29118 | FIPRONIL | E | 0.018 | 0.188 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64564 | Crescent 08Ll064 | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 0.67721 | 0.16922 | 0.64564 | 0.33398 | 0.24758
FIPRONIL | 2033 | 62166GCM29 | 2010-10-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.85999 | Crescent | 08Ll064 | Crescent 08Ll064: 20 µl | 0.14651 | FIPRONIL | E | 0.018 | 0.126 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85999 | Crescent 08Ll064 | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 0.67721 | 0.16922 | 0.64564 | 0.33398 | 0.24758
FIPRONIL | 2033 | 62166GCM29 | 2013-09-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.93976 | ERA, Abs, Crescent | 0318-13-02.2, 042413, 10802AL | ERA 0318-13-02.2: 50 µl & Abs 042413: 50 µl & Crescent 10802AL: 10 µl | 0.1245 | FIPRONIL | E | 0.018 | 0.117 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93976 | ER03102.2, Ab042413, Cr10802AL | ER | Ab | Cr | 03102.2 | 042413 | 10802AL | 03102.2 |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.86546 | 0.10507 | 0.86546 | 0.14859 | 0.11015
FIPRONIL | 2033 | 62166GCM29 | 2014-01-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.79116 | ERA, Abs, Crescent | 0318-13-02.2, 042413, 10802AL | ERA 0318-13-02.2: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl | 0.0498 | FIPRONIL | E | 0.018 | 0.0394 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79116 | ER03102.2, Ab042413, Cr10802AL | ER | Ab | Cr | 03102.2 | 042413 | 10802AL | 03102.2 |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.86546 | 0.10507 | 0.86546 | 0.14859 | 0.11015
FIPRONIL | 2033 | 62166GCM29 | 2013-06-11 | 2010-10-01 | 2050-09-30 | ug/L | 1.0141 | ERA, Crescent | 0318-13-02.2, 04CC101 | ERA 0318-13-02.2: 20 µl & Crescent 04CC101: 20 µl | 0.0498 | FIPRONIL | E | 0.018 | 0.0505 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0141 | ER03102.2, Cr04CC101 | ER | Cr | Cr | 03102.2 | 04CC101 | 04CC101 | 03102.2 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 1.0141 |  | 1.0141 | 0 | 0
FIPRONIL | 2033 | 62166GCM29 | 2012-10-12 | 2010-10-01 | 2050-09-30 | ug/L | 1.0834 | ERA | 0507-12-04.2 | ERA 0507-12-04.2: 50 µl | 0.0755 | FIPRONIL | E | 0.018 | 0.0818 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0834 | ERA 0507-12-04.2 | [9 empty] | Y | Estimated Values | Y | 2 |  | 1 | 1.0834 |  | 1.0834 | 0 | 0
FIPRONIL | 2033 | 62166GCM29 | 2009-09-03 | 2008-10-01 | 2009-09-30 | ug/L | 0.98093 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | FIPRONIL | E | 0.04 | 0.073 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98093 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 |  | 1 | 0.98093 |  | 0.98093 | 0 | 0
FIPRONIL | 2033 | 62166GCM29 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.79418 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | FIPRONIL | E | 0.018 | 0.0308 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79418 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 1.1794 | 0.33373 | 1.3629 | 0.58692 | 0.43508
FIPRONIL | 2033 | 62166GCM29 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 1.3811 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | FIPRONIL | E | 0.018 | 0.056 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3811 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 1.1794 | 0.33373 | 1.3629 | 0.58692 | 0.43508
FIPRONIL | 2033 | 62166GCM29 | 2010-12-16 | 2010-10-01 | 2050-09-30 | ug/L | 1.3629 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | FIPRONIL | E | 0.018 | 0.0551 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3629 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 1.1794 | 0.33373 | 1.3629 | 0.58692 | 0.43508
FIPRONIL | 2033 | 62166GCM29 | 2011-01-20 | 2010-10-01 | 2050-09-30 | ug/L | 1.132 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | FIPRONIL | E | 0.018 | 0.114 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.132 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 1.1231 | 0.30858 | 1.0573 | 0.43335 | 0.32123
FIPRONIL | 2033 | 62166GCM29 | 2011-03-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.5475 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 25 µl | 0.02475 | FIPRONIL | E | 0.018 | 0.0383 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5475 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 1.1231 | 0.30858 | 1.0573 | 0.43335 | 0.32123
FIPRONIL | 2033 | 62166GCM29 | 2011-04-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.8303 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.099483 | FIPRONIL | E | 0.018 | 0.0826 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8303 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 1.1231 | 0.30858 | 1.0573 | 0.43335 | 0.32123
FIPRONIL | 2033 | 62166GCM29 | 2011-06-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.98251 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 75 µl | 0.074096 | FIPRONIL | E | 0.018 | 0.0728 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98251 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 1.1231 | 0.30858 | 1.0573 | 0.43335 | 0.32123
FIPRONIL | 2033 | 62166GCM29 | 2009-09-15 | 2008-10-01 | 2009-09-30 | ug/L | 0.78307 | Protocol | D1080908018 | Protocol D1080908018: 40 µl | 0.20305 | FIPRONIL | E | 0.04 | 0.159 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78307 | Protocol D1080908018 | [9 empty] | Y | Estimated Values | Y | 2 |  | 1 | 0.78307 |  | 0.78307 | 0 | 0
FIPRONIL | 2033 | 62166GCM29 | 2012-07-14 | 2010-10-01 | 2050-09-30 | ug/L | 1.3848 | Restek, Supelco | A088380, LB92783 | Restek A088380: 20 µl & Supelco LB92783: 20 µl | 0.03004 | FIPRONIL | E | 0.018 | 0.0416 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3848 | ReA088380, SuLB92783 | Re | Su | Su | A088380 | LB92783 | LB92783 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 1.3848 |  | 1.3848 | 0 | 0
FIPRONIL | 2033 | 62166GCM29 | 2009-08-25 | 2008-10-01 | 2009-09-30 | ug/L | 0.86313 | Restek | A063025 | Restek A063025: 40 µl | 0.20854 | FIPRONIL | E | 0.04 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86313 | Restek A063025 | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.90392 | 0.057694 | 0.90392 | 0.081592 | 0.060483
FIPRONIL | 2033 | 62166GCM29 | 2009-12-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.94472 | Restek | A063025 | Restek A063025: 25 µl | 0.12914 | FIPRONIL | E | 0.018 | 0.122 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94472 | Restek A063025 | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.90392 | 0.057694 | 0.90392 | 0.081592 | 0.060483
FIPRONIL | 2033 | 62166GCM29 | 2011-01-09 | 2010-10-01 | 2050-09-30 | ug/L | 1.0011 | Restek | A075606 | Restek A075606: 40 µl | 0.077013 | FIPRONIL | E | 0.018 | 0.0771 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0011 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 |  | 12 | 0.9849 | 0.19577 | 1.0057 | 0.23966 | 0.17766
FIPRONIL | 2033 | 62166GCM29 | 2011-01-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.92255 | Restek | A075606 | Restek A075606: 80 µl | 0.15934 | FIPRONIL | E | 0.018 | 0.147 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92255 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 |  | 12 | 0.9849 | 0.19577 | 1.0057 | 0.23966 | 0.17766
FIPRONIL | 2033 | 62166GCM29 | 2011-03-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.1335 | Restek | A075606 | Restek A075606: 40 µl | 0.080635 | FIPRONIL | E | 0.018 | 0.0914 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1335 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 |  | 12 | 0.9849 | 0.19577 | 1.0057 | 0.23966 | 0.17766
FIPRONIL | 2033 | 62166GCM29 | 2011-04-23 | 2010-10-01 | 2050-09-30 | ug/L | 1.0103 | Restek | A075606 | Restek A075606: 40 µl | 0.079976 | FIPRONIL | E | 0.018 | 0.0808 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0103 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 |  | 12 | 0.9849 | 0.19577 | 1.0057 | 0.23966 | 0.17766
FIPRONIL | 2033 | 62166GCM29 | 2011-06-20 | 2010-10-01 | 2050-09-30 | ug/L | 1.1017 | Restek | A075606 | Restek A075606: 80 µl | 0.15612 | FIPRONIL | E | 0.018 | 0.172 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1017 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 |  | 12 | 0.9849 | 0.19577 | 1.0057 | 0.23966 | 0.17766
FIPRONIL | 2033 | 62166GCM29 | 2011-08-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.2879 | Restek | A075606 | Restek A075606: 40 µl | 0.0792 | FIPRONIL | E | 0.018 | 0.102 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2879 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 |  | 12 | 0.9849 | 0.19577 | 1.0057 | 0.23966 | 0.17766
FIPRONIL | 2033 | 62166GCM29 | 2011-09-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.76389 | Restek | A075606 | Restek A075606: 80 µl | 0.1584 | FIPRONIL | E | 0.018 | 0.121 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76389 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 |  | 12 | 0.9849 | 0.19577 | 1.0057 | 0.23966 | 0.17766
FIPRONIL | 2033 | 62166GCM29 | 2011-09-13 | 2010-10-01 | 2050-09-30 | ug/L | 0.58523 | Restek | A075606 | Restek A075606: 80 µl | 0.1584 | FIPRONIL | E | 0.018 | 0.0927 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58523 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 |  | 12 | 0.9849 | 0.19577 | 1.0057 | 0.23966 | 0.17766
FIPRONIL | 2033 | 62166GCM29 | 2011-11-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.83333 | Restek | A075606 | Restek A075606: 80 µl | 0.1584 | FIPRONIL | E | 0.018 | 0.132 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83333 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 |  | 12 | 0.9849 | 0.19577 | 1.0057 | 0.23966 | 0.17766
FIPRONIL | 2033 | 62166GCM29 | 2011-12-04 | 2010-10-01 | 2050-09-30 | ug/L | 0.93056 | Restek | A075606 | Restek A075606: 40 µl | 0.0792 | FIPRONIL | E | 0.018 | 0.0737 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93056 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 |  | 12 | 0.9849 | 0.19577 | 1.0057 | 0.23966 | 0.17766
FIPRONIL | 2033 | 62166GCM29 | 2012-02-14 | 2010-10-01 | 2050-09-30 | ug/L | 1.2134 | Restek | A075606 | Restek A075606: 40 µl | 0.0792 | FIPRONIL | E | 0.018 | 0.0961 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2134 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 |  | 12 | 0.9849 | 0.19577 | 1.0057 | 0.23966 | 0.17766
FIPRONIL | 2033 | 62166GCM29 | 2012-05-15 | 2010-10-01 | 2050-09-30 | ug/L | 1.0354 | Restek | A075606 | Restek A075606: 80 µl | 0.1584 | FIPRONIL | E | 0.018 | 0.164 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0354 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 |  | 12 | 0.9849 | 0.19577 | 1.0057 | 0.23966 | 0.17766
FIPRONIL | 2033 | 62166GCM29 | 2012-09-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.2119 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl | 0.0302 | FIPRONIL | E | 0.018 | 0.0366 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2119 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Estimated Values | Y | 2 |  | 2 | 1.0232 | 0.26692 | 1.0232 | 0.37748 | 0.27982
FIPRONIL | 2033 | 62166GCM29 | 2013-01-15 | 2010-10-01 | 2050-09-30 | ug/L | 0.83444 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl | 0.0755 | FIPRONIL | E | 0.018 | 0.063 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83444 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Estimated Values | Y | 2 |  | 2 | 1.0232 | 0.26692 | 1.0232 | 0.37748 | 0.27982
FIPRONIL | 2033 | 62166GCM29 | 2012-11-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.8522 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl | 0.1502 | FIPRONIL | E | 0.018 | 0.128 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8522 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Estimated Values | Y | 2 |  | 3 | 0.99822 | 0.12938 | 1.0439 | 0.24634 | 0.18261
FIPRONIL | 2033 | 62166GCM29 | 2013-02-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.0985 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl | 0.03004 | FIPRONIL | E | 0.018 | 0.033 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0985 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Estimated Values | Y | 2 |  | 3 | 0.99822 | 0.12938 | 1.0439 | 0.24634 | 0.18261
FIPRONIL | 2033 | 62166GCM29 | 2013-04-02 | 2010-10-01 | 2050-09-30 | ug/L | 1.0439 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl | 0.0751 | FIPRONIL | E | 0.018 | 0.0784 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0439 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Estimated Values | Y | 2 |  | 3 | 0.99822 | 0.12938 | 1.0439 | 0.24634 | 0.18261
FIPRONIL | 2033 | 62166GCM29 | 2013-09-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.88353 | Spex Organics, ERA | T1130514013, 0318-13-02.2 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl | 0.249 | FIPRONIL | E | 0.018 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88353 | SpT114013, ER03102.2 | Sp | ER | ER | T114013 | 03102.2 | 03102.2 | T114013 | 03102.2 | 03102.2 | Y | Estimated Values | Y | 2 |  | 1 | 0.88353 |  | 0.88353 | 0 | 0
FIPRONIL | 2033 | 62166GCM29 | 2013-11-09 | 2010-10-01 | 2050-09-30 | ug/L | 1.0849 | Spex Organics, Supelco | T1130514013, LB99392 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl | 0.04996 | FIPRONIL | E | 0.018 | 0.0542 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0849 | SpT114013, SuLB99392 | Sp | Su | Su | T114013 | LB99392 | LB99392 | T114013 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 1.0849 |  | 1.0849 | 0 | 0
FIPRONIL | 2033 | 62166GCM29 | 2012-10-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.99068 | Supelco, Abs | LB92783, 052412 | Supelco LB92783: 50 µl & Abs 052412: 50 µl | 0.0751 | FIPRONIL | E | 0.018 | 0.0744 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99068 | SuLB92783, Ab052412 | Su | Ab | Ab | LB92783 | 052412 | 052412 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 1.012 | 0.03013 | 1.012 | 0.04261 | 0.031586
FIPRONIL | 2033 | 62166GCM29 | 2013-01-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.0333 | Supelco, Abs | LB92783, 052412 | Supelco LB92783: 50 µl & Abs 052412: 50 µl | 0.0751 | FIPRONIL | E | 0.018 | 0.0776 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0333 | SuLB92783, Ab052412 | Su | Ab | Ab | LB92783 | 052412 | 052412 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 1.012 | 0.03013 | 1.012 | 0.04261 | 0.031586
FIPRONIL | 2033 | 62166GCM29 | 2013-11-23 | 2010-10-01 | 2050-09-30 | ug/L | 1.5272 | Supelco, Abs, Crescent | LB99392, 042413, 10802AL | Supelco LB99392: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl | 0.04996 | FIPRONIL | E | 0.018 | 0.0763 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5272 | SuLB99392, Ab042413, Cr10802AL | Su | Ab | Cr | LB99392 | 042413 | 10802AL |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 1.5272 |  | 1.5272 | 0 | 0
FIPRONIL | 2033 | 62166GCM29 | 2013-08-19 | 2010-10-01 | 2050-09-30 | ug/L | 1.0088 | Supelco, Crescent | LB99392, 04CC101 | Supelco LB99392: 50 µl & Crescent 04CC101: 50 µl | 0.1249 | FIPRONIL | E | 0.018 | 0.126 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0088 | SuLB99392, Cr04CC101 | Su | Cr | Cr | LB99392 | 04CC101 | 04CC101 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 1.0088 |  | 1.0088 | 0 | 0
FIPRONIL | 2033 | 62166GCM29 | 2009-09-29 | 2008-10-01 | 2009-09-30 | ug/L | 0.9049 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.12819 | FIPRONIL | E | 0.04 | 0.116 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9049 | Supelco LB60731 | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 1.0043 | 0.14056 | 1.0043 | 0.19878 | 0.14735
FIPRONIL | 2033 | 62166GCM29 | 2010-01-27 | 2009-10-01 | 2010-09-30 | ug/L | 1.1037 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.12775 | FIPRONIL | E | 0.018 | 0.141 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1037 | Supelco LB60731 | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 1.0043 | 0.14056 | 1.0043 | 0.19878 | 0.14735
FIPRONIL | 2033 | 62166GCM29 | 2011-01-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.80532 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.079099 | FIPRONIL | E | 0.018 | 0.0637 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80533 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 |  | 11 | 0.9362 | 0.15959 | 0.85558 | 0.28898 | 0.21422
FIPRONIL | 2033 | 62166GCM29 | 2011-02-09 | 2010-10-01 | 2050-09-30 | ug/L | 0.85558 | Supelco | LB77168 | Supelco LB77168: 80 µl | 0.15311 | FIPRONIL | E | 0.018 | 0.131 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85558 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 |  | 11 | 0.9362 | 0.15959 | 0.85558 | 0.28898 | 0.21422
FIPRONIL | 2033 | 62166GCM29 | 2011-03-30 | 2010-10-01 | 2050-09-30 | ug/L | 0.85023 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.079272 | FIPRONIL | E | 0.018 | 0.0674 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85023 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 |  | 11 | 0.9362 | 0.15959 | 0.85558 | 0.28898 | 0.21422
FIPRONIL | 2033 | 62166GCM29 | 2011-05-25 | 2010-10-01 | 2050-09-30 | ug/L | 1.0435 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.080692 | FIPRONIL | E | 0.018 | 0.0842 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0435 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 |  | 11 | 0.9362 | 0.15959 | 0.85558 | 0.28898 | 0.21422
FIPRONIL | 2033 | 62166GCM29 | 2011-07-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.76273 | Supelco | LB77168 | Supelco LB77168: 80 µl | 0.15864 | FIPRONIL | E | 0.018 | 0.121 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76273 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 |  | 11 | 0.9362 | 0.15959 | 0.85558 | 0.28898 | 0.21422
FIPRONIL | 2033 | 62166GCM29 | 2011-07-20 | 2010-10-01 | 2050-09-30 | ug/L | 1.0716 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.07932 | FIPRONIL | E | 0.018 | 0.085 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0716 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 |  | 11 | 0.9362 | 0.15959 | 0.85558 | 0.28898 | 0.21422
FIPRONIL | 2033 | 62166GCM29 | 2011-09-24 | 2010-10-01 | 2050-09-30 | ug/L | 1.1599 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.07932 | FIPRONIL | E | 0.018 | 0.092 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1599 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 |  | 11 | 0.9362 | 0.15959 | 0.85558 | 0.28898 | 0.21422
FIPRONIL | 2033 | 62166GCM29 | 2011-10-02 | 2010-10-01 | 2050-09-30 | ug/L | 0.72491 | Supelco | LB77168 | Supelco LB77168: 80 µl | 0.15864 | FIPRONIL | E | 0.018 | 0.115 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72491 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 |  | 11 | 0.9362 | 0.15959 | 0.85558 | 0.28898 | 0.21422
FIPRONIL | 2033 | 62166GCM29 | 2011-11-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.81947 | Supelco | LB77168 | Supelco LB77168: 80 µl | 0.15864 | FIPRONIL | E | 0.018 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81947 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 |  | 11 | 0.9362 | 0.15959 | 0.85558 | 0.28898 | 0.21422
FIPRONIL | 2033 | 62166GCM29 | 2011-12-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.1107 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.07932 | FIPRONIL | E | 0.018 | 0.0881 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1107 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 |  | 11 | 0.9362 | 0.15959 | 0.85558 | 0.28898 | 0.21422
FIPRONIL | 2033 | 62166GCM29 | 2012-03-09 | 2010-10-01 | 2050-09-30 | ug/L | 1.0943 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.07932 | FIPRONIL | E | 0.018 | 0.0868 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0943 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 |  | 11 | 0.9362 | 0.15959 | 0.85558 | 0.28898 | 0.21422