## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
FIPRONIL SULFIDE | 2033 | 62167GCM29 | 2012-12-06 | 2012-10-01 | 2050-09-30 | ug/L | 1.1503 | Abs, ERA | 052412, 0507-12-04.2 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl | 0.153 | FIPRONIL_SULFIDE | . | 0.016 | 0.176 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1503 | Ab052412, ER05004.2 | Ab | ER | ER | 052412 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 1.0529 | 0.13772 | 1.0529 | 0.19477 | 0.14438
FIPRONIL SULFIDE | 2033 | 62167GCM29 | 2013-04-22 | 2012-10-01 | 2050-09-30 | ug/L | 0.95556 | Abs, ERA | 052412, 0507-12-04.2 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl | 0.0765 | FIPRONIL_SULFIDE | . | 0.016 | 0.0731 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95556 | Ab052412, ER05004.2 | Ab | ER | ER | 052412 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 1.0529 | 0.13772 | 1.0529 | 0.19477 | 0.14438
FIPRONIL SULFIDE | 2033 | 62167GCM29 | 2012-08-14 | 2010-10-01 | 2012-09-30 | ug/L | 1.5267 | Abs, Supelco | 052412, LB92783 | Abs 052412: 20 µl & Supelco LB92783: 20 µl | 0.03 | FIPRONIL_SULFIDE | . | 0.012 | 0.0458 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5267 | Ab052412, SuLB92783 | Ab | Su | Su | 052412 | LB92783 | LB92783 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.5267 |  | 1.5267 | 0 | 0
FIPRONIL SULFIDE | 2033 | 62167GCM29 | 2010-02-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.78616 | Accu | 209081187 | Accu 209081187: 100 µl | 0.19589 | FIPRONIL_SULFIDE | . | 0.013 | 0.154 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78616 | Accu 209081187 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.98709 | 0.11813 | 1.0126 | 0.077991 | 0.057814
FIPRONIL SULFIDE | 2033 | 62167GCM29 | 2010-03-24 | 2009-10-01 | 2010-09-30 | ug/L | 1.0126 | Accu | 209081187 | Accu 209081187: 20 µl | 0.039503 | FIPRONIL_SULFIDE | . | 0.013 | 0.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0126 | Accu 209081187 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.98709 | 0.11813 | 1.0126 | 0.077991 | 0.057814
FIPRONIL SULFIDE | 2033 | 62167GCM29 | 2010-05-07 | 2009-10-01 | 2010-09-30 | ug/L | 1.0771 | Accu | 209081187 | Accu 209081187: 20 µl | 0.041406 | FIPRONIL_SULFIDE | . | 0.013 | 0.0446 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0771 | Accu 209081187 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.98709 | 0.11813 | 1.0126 | 0.077991 | 0.057814
FIPRONIL SULFIDE | 2033 | 62167GCM29 | 2010-09-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.99079 | Accu | 209081187 | Accu 209081187: 40 µl | 0.080743 | FIPRONIL_SULFIDE | . | 0.013 | 0.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99079 | Accu 209081187 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.98709 | 0.11813 | 1.0126 | 0.077991 | 0.057814
FIPRONIL SULFIDE | 2033 | 62167GCM29 | 2010-12-14 | 2010-10-01 | 2012-09-30 | ug/L | 1.0688 | Accu | 209081187 | Accu 209081187: 40 µl | 0.080278 | FIPRONIL_SULFIDE | . | 0.012 | 0.0858 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0688 | Accu 209081187 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.98709 | 0.11813 | 1.0126 | 0.077991 | 0.057814
FIPRONIL SULFIDE | 2033 | 62167GCM29 | 2013-07-11 | 2012-10-01 | 2050-09-30 | ug/L | 0.6748 | ChemService, ERA | 1473000, 0318-13-02.2 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl | 0.0492 | FIPRONIL_SULFIDE | . | 0.016 | 0.0332 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6748 | Ch1473000, ER03102.2 | Ch | ER | ER | 1473000 | 03102.2 | 03102.2 |  | 03102.2 | 03102.2 | Y | Recoverable Result | Y | 2 |  | 1 | 0.6748 |  | 0.6748 | 0 | 0
FIPRONIL SULFIDE | 2033 | 62167GCM29 | 2013-06-05 | 2012-10-01 | 2050-09-30 | ug/L | 1.136 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl | 0.125 | FIPRONIL_SULFIDE | . | 0.016 | 0.142 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.136 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.028 | 0.15274 | 1.028 | 0.216 | 0.16012
FIPRONIL SULFIDE | 2033 | 62167GCM29 | 2014-01-08 | 2012-10-01 | 2050-09-30 | ug/L | 0.92 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl | 0.05 | FIPRONIL_SULFIDE | . | 0.016 | 0.046 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.028 | 0.15274 | 1.028 | 0.216 | 0.16012
FIPRONIL SULFIDE | 2033 | 62167GCM29 | 2012-09-17 | 2010-10-01 | 2012-09-30 | ug/L | 1.1209 | Crescent, ERA | 05BB029, 0507-12-04.2 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl | 0.0306 | FIPRONIL_SULFIDE | . | 0.012 | 0.0343 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1209 | Cr05BB029, ER05004.2 | Cr | ER | ER | 05BB029 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 1.0441 | 0.10861 | 1.0441 | 0.15359 | 0.11386
FIPRONIL SULFIDE | 2033 | 62167GCM29 | 2013-03-07 | 2012-10-01 | 2050-09-30 | ug/L | 0.96732 | Crescent, ERA | 05BB029, 0507-12-04.2 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl | 0.0306 | FIPRONIL_SULFIDE | . | 0.016 | 0.0296 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96732 | Cr05BB029, ER05004.2 | Cr | ER | ER | 05BB029 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 1.0441 | 0.10861 | 1.0441 | 0.15359 | 0.11386
FIPRONIL SULFIDE | 2033 | 62167GCM29 | 2009-07-23 | 2005-03-04 | 2009-09-30 | ug/L | 1.3289 | Crescent | 08HH019 | Crescent 08HH019: 40 µl | 0.080515 | FIPRONIL_SULFIDE | . | 0.013 | 0.107 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3289 | Crescent 08HH019 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.3289 |  | 1.3289 | 0 | 0
FIPRONIL SULFIDE | 2033 | 62167GCM29 | 2010-06-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.5191 | Crescent | 08Ll064 | Crescent 08Ll064: 20 µl | 0.040262 | FIPRONIL_SULFIDE | . | 0.013 | 0.0209 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5191 | Crescent 08Ll064 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.81111 | 0.32953 | 0.74583 | 0.64929 | 0.48131
FIPRONIL SULFIDE | 2033 | 62167GCM29 | 2010-07-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.74583 | Crescent | 08Ll064 | Crescent 08Ll064: 40 µl | 0.079777 | FIPRONIL_SULFIDE | . | 0.013 | 0.0595 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74583 | Crescent 08Ll064 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.81111 | 0.32953 | 0.74583 | 0.64929 | 0.48131
FIPRONIL SULFIDE | 2033 | 62167GCM29 | 2010-10-19 | 2010-10-01 | 2012-09-30 | ug/L | 1.1684 | Crescent | 08Ll064 | Crescent 08Ll064: 20 µl | 0.040141 | FIPRONIL_SULFIDE | . | 0.012 | 0.0469 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1684 | Crescent 08Ll064 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.81111 | 0.32953 | 0.74583 | 0.64929 | 0.48131
FIPRONIL SULFIDE | 2033 | 62167GCM29 | 2013-09-24 | 2012-10-01 | 2050-09-30 | ug/L | 0.90244 | ERA, Abs, Crescent | 0318-13-02.2, 042413, 10802AL | ERA 0318-13-02.2: 50 µl & Abs 042413: 50 µl & Crescent 10802AL: 10 µl | 0.123 | FIPRONIL_SULFIDE | . | 0.016 | 0.111 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90244 | ER03102.2, Ab042413, Cr10802AL | ER | Ab | Cr | 03102.2 | 042413 | 10802AL | 03102.2 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.81504 | 0.1236 | 0.81504 | 0.1748 | 0.12958
FIPRONIL SULFIDE | 2033 | 62167GCM29 | 2014-01-10 | 2012-10-01 | 2050-09-30 | ug/L | 0.72764 | ERA, Abs, Crescent | 0318-13-02.2, 042413, 10802AL | ERA 0318-13-02.2: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl | 0.0492 | FIPRONIL_SULFIDE | . | 0.016 | 0.0358 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72764 | ER03102.2, Ab042413, Cr10802AL | ER | Ab | Cr | 03102.2 | 042413 | 10802AL | 03102.2 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.81504 | 0.1236 | 0.81504 | 0.1748 | 0.12958
FIPRONIL SULFIDE | 2033 | 62167GCM29 | 2013-06-11 | 2012-10-01 | 2050-09-30 | ug/L | 1.063 | ERA, Crescent | 0318-13-02.2, 04CC101 | ERA 0318-13-02.2: 20 µl & Crescent 04CC101: 20 µl | 0.0492 | FIPRONIL_SULFIDE | . | 0.016 | 0.0523 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.063 | ER03102.2, Cr04CC101 | ER | Cr | Cr | 03102.2 | 04CC101 | 04CC101 | 03102.2 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.063 |  | 1.063 | 0 | 0
FIPRONIL SULFIDE | 2033 | 62167GCM29 | 2011-09-13 | 2010-10-01 | 2012-09-30 | ug/L | 0.93089 | ERA | 0318-13-02.2 | ERA 0318-13-02.2: 40 µl | 0.0984 | FIPRONIL_SULFIDE | . | 0.012 | 0.0916 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93089 | ERA 0318-13-02.2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.93089 |  | 0.93089 | 0 | 0
FIPRONIL SULFIDE | 2033 | 62167GCM29 | 2012-10-12 | 2012-10-01 | 2050-09-30 | ug/L | 1.2013 | ERA | 0507-12-04.2 | ERA 0507-12-04.2: 50 µl | 0.0765 | FIPRONIL_SULFIDE | . | 0.016 | 0.0919 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2013 | ERA 0507-12-04.2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.2013 |  | 1.2013 | 0 | 0
FIPRONIL SULFIDE | 2033 | 62167GCM29 | 2011-01-13 | 2010-10-01 | 2012-09-30 | ug/L | 0.98284 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 80 µl | 0.097066 | FIPRONIL_SULFIDE | . | 0.012 | 0.0954 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98284 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.93675 | 0.24583 | 0.92008 | 0.21311 | 0.15798
FIPRONIL SULFIDE | 2033 | 62167GCM29 | 2011-02-08 | 2010-10-01 | 2012-09-30 | ug/L | 0.68719 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.047876 | FIPRONIL_SULFIDE | . | 0.012 | 0.0329 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68719 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.93675 | 0.24583 | 0.92008 | 0.21311 | 0.15798
FIPRONIL SULFIDE | 2033 | 62167GCM29 | 2011-02-28 | 2010-10-01 | 2012-09-30 | ug/L | 0.78741 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 80 µl | 0.097028 | FIPRONIL_SULFIDE | . | 0.012 | 0.0764 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78741 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.93675 | 0.24583 | 0.92008 | 0.21311 | 0.15798
FIPRONIL SULFIDE | 2033 | 62167GCM29 | 2011-04-13 | 2010-10-01 | 2012-09-30 | ug/L | 0.68236 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.049095 | FIPRONIL_SULFIDE | . | 0.012 | 0.0335 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68236 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.93675 | 0.24583 | 0.92008 | 0.21311 | 0.15798
FIPRONIL SULFIDE | 2033 | 62167GCM29 | 2011-07-28 | 2010-10-01 | 2012-09-30 | ug/L | 1.1516 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.0488 | FIPRONIL_SULFIDE | . | 0.012 | 0.0562 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1516 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.93675 | 0.24583 | 0.92008 | 0.21311 | 0.15798
FIPRONIL SULFIDE | 2033 | 62167GCM29 | 2011-10-25 | 2010-10-01 | 2012-09-30 | ug/L | 0.99385 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.0488 | FIPRONIL_SULFIDE | . | 0.012 | 0.0485 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99385 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.93675 | 0.24583 | 0.92008 | 0.21311 | 0.15798
FIPRONIL SULFIDE | 2033 | 62167GCM29 | 2011-12-03 | 2010-10-01 | 2012-09-30 | ug/L | 0.78074 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 80 µl | 0.0976 | FIPRONIL_SULFIDE | . | 0.012 | 0.0762 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78074 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.93675 | 0.24583 | 0.92008 | 0.21311 | 0.15798
FIPRONIL SULFIDE | 2033 | 62167GCM29 | 2012-03-05 | 2010-10-01 | 2012-09-30 | ug/L | 0.92008 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.0488 | FIPRONIL_SULFIDE | . | 0.012 | 0.0449 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92008 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.93675 | 0.24583 | 0.92008 | 0.21311 | 0.15798
FIPRONIL SULFIDE | 2033 | 62167GCM29 | 2012-05-08 | 2010-10-01 | 2012-09-30 | ug/L | 1.4447 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.0488 | FIPRONIL_SULFIDE | . | 0.012 | 0.0705 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4447 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.93675 | 0.24583 | 0.92008 | 0.21311 | 0.15798
FIPRONIL SULFIDE | 2033 | 62167GCM29 | 2009-09-03 | 2005-03-04 | 2009-09-30 | ug/L | 0.91374 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | FIPRONIL_SULFIDE | . | 0.013 | 0.068 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91374 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.91374 |  | 0.91374 | 0 | 0
FIPRONIL SULFIDE | 2033 | 62167GCM29 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.70909 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | FIPRONIL_SULFIDE | . | 0.013 | 0.0275 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70909 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.095 | 0.33741 | 1.2417 | 0.62515 | 0.46342
FIPRONIL SULFIDE | 2033 | 62167GCM29 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 1.3342 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | FIPRONIL_SULFIDE | . | 0.013 | 0.0541 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3342 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.095 | 0.33741 | 1.2417 | 0.62515 | 0.46342
FIPRONIL SULFIDE | 2033 | 62167GCM29 | 2010-12-16 | 2010-10-01 | 2012-09-30 | ug/L | 1.2417 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | FIPRONIL_SULFIDE | . | 0.012 | 0.0502 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2417 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.095 | 0.33741 | 1.2417 | 0.62515 | 0.46342
FIPRONIL SULFIDE | 2033 | 62167GCM29 | 2011-01-20 | 2010-10-01 | 2012-09-30 | ug/L | 1.1022 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | FIPRONIL_SULFIDE | . | 0.012 | 0.111 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1022 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0317 | 0.10759 | 1.0302 | 0.18234 | 0.13516
FIPRONIL SULFIDE | 2033 | 62167GCM29 | 2011-03-05 | 2010-10-01 | 2012-09-30 | ug/L | 1.1434 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 25 µl | 0.02475 | FIPRONIL_SULFIDE | . | 0.012 | 0.0283 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1434 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0317 | 0.10759 | 1.0302 | 0.18234 | 0.13516
FIPRONIL SULFIDE | 2033 | 62167GCM29 | 2011-04-20 | 2010-10-01 | 2012-09-30 | ug/L | 0.92277 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.099483 | FIPRONIL_SULFIDE | . | 0.012 | 0.0918 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92277 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0317 | 0.10759 | 1.0302 | 0.18234 | 0.13516
FIPRONIL SULFIDE | 2033 | 62167GCM29 | 2011-06-22 | 2010-10-01 | 2012-09-30 | ug/L | 0.95822 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 75 µl | 0.074096 | FIPRONIL_SULFIDE | . | 0.012 | 0.071 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95822 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0317 | 0.10759 | 1.0302 | 0.18234 | 0.13516
FIPRONIL SULFIDE | 2033 | 62167GCM29 | 2009-09-15 | 2005-03-04 | 2009-09-30 | ug/L | 0.87911 | Protocol | D1080908018 | Protocol D1080908018: 40 µl | 0.079626 | FIPRONIL_SULFIDE | . | 0.013 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87911 | Protocol D1080908018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.87911 |  | 0.87911 | 0 | 0
FIPRONIL SULFIDE | 2033 | 62167GCM29 | 2012-07-14 | 2010-10-01 | 2012-09-30 | ug/L | 1.1033 | Restek, Supelco | A088380, LB92783 | Restek A088380: 20 µl & Supelco LB92783: 20 µl | 0.03 | FIPRONIL_SULFIDE | . | 0.012 | 0.0331 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1033 | ReA088380, SuLB92783 | Re | Su | Su | A088380 | LB92783 | LB92783 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1033 |  | 1.1033 | 0 | 0
FIPRONIL SULFIDE | 2033 | 62167GCM29 | 2012-09-05 | 2010-10-01 | 2012-09-30 | ug/L | 1.1438 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl | 0.0306 | FIPRONIL_SULFIDE | . | 0.012 | 0.035 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1438 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.96993 | 0.24587 | 0.96993 | 0.34771 | 0.25776
FIPRONIL SULFIDE | 2033 | 62167GCM29 | 2013-01-15 | 2012-10-01 | 2050-09-30 | ug/L | 0.79608 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl | 0.0765 | FIPRONIL_SULFIDE | . | 0.016 | 0.0609 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79608 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.96993 | 0.24587 | 0.96993 | 0.34771 | 0.25776
FIPRONIL SULFIDE | 2033 | 62167GCM29 | 2012-11-20 | 2012-10-01 | 2050-09-30 | ug/L | 0.88667 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl | 0.15 | FIPRONIL_SULFIDE | . | 0.016 | 0.133 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88667 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.89867 | 0.011392 | 0.9 | 0.022667 | 0.016803
FIPRONIL SULFIDE | 2033 | 62167GCM29 | 2013-02-22 | 2012-10-01 | 2050-09-30 | ug/L | 0.9 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl | 0.03 | FIPRONIL_SULFIDE | . | 0.016 | 0.027 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.89867 | 0.011392 | 0.9 | 0.022667 | 0.016803
FIPRONIL SULFIDE | 2033 | 62167GCM29 | 2013-04-02 | 2012-10-01 | 2050-09-30 | ug/L | 0.90933 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl | 0.075 | FIPRONIL_SULFIDE | . | 0.016 | 0.0682 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90933 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.89867 | 0.011392 | 0.9 | 0.022667 | 0.016803
FIPRONIL SULFIDE | 2033 | 62167GCM29 | 2013-09-20 | 2012-10-01 | 2050-09-30 | ug/L | 0.95122 | Spex Organics, ERA | T1130514013, 0318-13-02.2 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl | 0.246 | FIPRONIL_SULFIDE | . | 0.016 | 0.234 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95122 | SpT114013, ER03102.2 | Sp | ER | ER | T114013 | 03102.2 | 03102.2 | T114013 | 03102.2 | 03102.2 | Y | Recoverable Result | Y | 2 |  | 1 | 0.95122 |  | 0.95122 | 0 | 0
FIPRONIL SULFIDE | 2033 | 62167GCM29 | 2013-11-09 | 2012-10-01 | 2050-09-30 | ug/L | 0.846 | Spex Organics, Supelco | T1130514013, LB99392 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl | 0.05 | FIPRONIL_SULFIDE | . | 0.016 | 0.0423 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.846 | SpT114013, SuLB99392 | Sp | Su | Su | T114013 | LB99392 | LB99392 | T114013 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.846 |  | 0.846 | 0 | 0
FIPRONIL SULFIDE | 2033 | 62167GCM29 | 2011-01-11 | 2010-10-01 | 2012-09-30 | ug/L | 1.0413 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.095078 | FIPRONIL_SULFIDE | . | 0.012 | 0.099 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0413 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0324 | 0.18628 | 1.0167 | 0.17292 | 0.12818
FIPRONIL SULFIDE | 2033 | 62167GCM29 | 2011-01-21 | 2010-10-01 | 2012-09-30 | ug/L | 1.0668 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.047899 | FIPRONIL_SULFIDE | . | 0.012 | 0.0511 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0668 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0324 | 0.18628 | 1.0167 | 0.17292 | 0.12818
FIPRONIL SULFIDE | 2033 | 62167GCM29 | 2011-02-19 | 2010-10-01 | 2012-09-30 | ug/L | 0.71552 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.048217 | FIPRONIL_SULFIDE | . | 0.012 | 0.0345 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71552 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0324 | 0.18628 | 1.0167 | 0.17292 | 0.12818
FIPRONIL SULFIDE | 2033 | 62167GCM29 | 2011-03-23 | 2010-10-01 | 2012-09-30 | ug/L | 1.4079 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.047022 | FIPRONIL_SULFIDE | . | 0.012 | 0.0662 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4079 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0324 | 0.18628 | 1.0167 | 0.17292 | 0.12818
FIPRONIL SULFIDE | 2033 | 62167GCM29 | 2011-05-14 | 2010-10-01 | 2012-09-30 | ug/L | 0.88401 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.048529 | FIPRONIL_SULFIDE | . | 0.012 | 0.0429 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88401 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0324 | 0.18628 | 1.0167 | 0.17292 | 0.12818
FIPRONIL SULFIDE | 2033 | 62167GCM29 | 2011-07-07 | 2010-10-01 | 2012-09-30 | ug/L | 0.96771 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.096 | FIPRONIL_SULFIDE | . | 0.012 | 0.0929 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96771 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0324 | 0.18628 | 1.0167 | 0.17292 | 0.12818
FIPRONIL SULFIDE | 2033 | 62167GCM29 | 2011-09-19 | 2010-10-01 | 2012-09-30 | ug/L | 1.0167 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.048 | FIPRONIL_SULFIDE | . | 0.012 | 0.0488 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0167 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0324 | 0.18628 | 1.0167 | 0.17292 | 0.12818
FIPRONIL SULFIDE | 2033 | 62167GCM29 | 2011-09-29 | 2010-10-01 | 2012-09-30 | ug/L | 0.925 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.096 | FIPRONIL_SULFIDE | . | 0.012 | 0.0888 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.925 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0324 | 0.18628 | 1.0167 | 0.17292 | 0.12818
FIPRONIL SULFIDE | 2033 | 62167GCM29 | 2011-11-17 | 2010-10-01 | 2012-09-30 | ug/L | 1.0979 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.048 | FIPRONIL_SULFIDE | . | 0.012 | 0.0527 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0979 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0324 | 0.18628 | 1.0167 | 0.17292 | 0.12818
FIPRONIL SULFIDE | 2033 | 62167GCM29 | 2011-12-21 | 2010-10-01 | 2012-09-30 | ug/L | 1.1042 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.096 | FIPRONIL_SULFIDE | . | 0.012 | 0.106 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1042 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0324 | 0.18628 | 1.0167 | 0.17292 | 0.12818
FIPRONIL SULFIDE | 2033 | 62167GCM29 | 2012-01-27 | 2010-10-01 | 2012-09-30 | ug/L | 0.8625 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.096 | FIPRONIL_SULFIDE | . | 0.012 | 0.0828 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8625 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0324 | 0.18628 | 1.0167 | 0.17292 | 0.12818
FIPRONIL SULFIDE | 2033 | 62167GCM29 | 2012-04-05 | 2010-10-01 | 2012-09-30 | ug/L | 1.3417 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.048 | FIPRONIL_SULFIDE | E | 0.012 | 0.0644 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3417 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 1.0324 | 0.18628 | 1.0167 | 0.17292 | 0.12818
FIPRONIL SULFIDE | 2033 | 62167GCM29 | 2012-06-02 | 2010-10-01 | 2012-09-30 | ug/L | 0.98958 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.048 | FIPRONIL_SULFIDE | . | 0.012 | 0.0475 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98958 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0324 | 0.18628 | 1.0167 | 0.17292 | 0.12818
FIPRONIL SULFIDE | 2033 | 62167GCM29 | 2012-10-18 | 2012-10-01 | 2050-09-30 | ug/L | 0.93333 | Supelco, Abs | LB92783, 052412 | Supelco LB92783: 50 µl & Abs 052412: 50 µl | 0.075 | FIPRONIL_SULFIDE | . | 0.016 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93333 | SuLB92783, Ab052412 | Su | Ab | Ab | LB92783 | 052412 | 052412 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.97067 | 0.052797 | 0.97067 | 0.074667 | 0.05535
FIPRONIL SULFIDE | 2033 | 62167GCM29 | 2013-01-17 | 2012-10-01 | 2050-09-30 | ug/L | 1.008 | Supelco, Abs | LB92783, 052412 | Supelco LB92783: 50 µl & Abs 052412: 50 µl | 0.075 | FIPRONIL_SULFIDE | . | 0.016 | 0.0756 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.008 | SuLB92783, Ab052412 | Su | Ab | Ab | LB92783 | 052412 | 052412 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.97067 | 0.052797 | 0.97067 | 0.074667 | 0.05535
FIPRONIL SULFIDE | 2033 | 62167GCM29 | 2013-11-23 | 2012-10-01 | 2050-09-30 | ug/L | 1.124 | Supelco, Abs, Crescent | LB99392, 042413, 10802AL | Supelco LB99392: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl | 0.05 | FIPRONIL_SULFIDE | . | 0.016 | 0.0562 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.124 | SuLB99392, Ab042413, Cr10802AL | Su | Ab | Cr | LB99392 | 042413 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.124 |  | 1.124 | 0 | 0
FIPRONIL SULFIDE | 2033 | 62167GCM29 | 2013-08-19 | 2012-10-01 | 2050-09-30 | ug/L | 0.952 | Supelco, Crescent | LB99392, 04CC101 | Supelco LB99392: 50 µl & Crescent 04CC101: 50 µl | 0.125 | FIPRONIL_SULFIDE | . | 0.016 | 0.119 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.952 | SuLB99392, Cr04CC101 | Su | Cr | Cr | LB99392 | 04CC101 | 04CC101 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.952 |  | 0.952 | 0 | 0