## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
FIPRONIL SULFONE | 2033 | 62168GCM29 | 2012-12-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.76355 | Abs, ERA | 052412, 0507-12-04.2 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl | 0.203 | FIPRONIL_SULFONE | . | 0.024 | 0.155 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76355 | Ab052412, ER05004.2 | Ab | ER | ER | 052412 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.7798 | 0.02299 | 0.7798 | 0.032512 | 0.024101
FIPRONIL SULFONE | 2033 | 62168GCM29 | 2013-04-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.79606 | Abs, ERA | 052412, 0507-12-04.2 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl | 0.1015 | FIPRONIL_SULFONE | . | 0.024 | 0.0808 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79606 | Ab052412, ER05004.2 | Ab | ER | ER | 052412 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.7798 | 0.02299 | 0.7798 | 0.032512 | 0.024101
FIPRONIL SULFONE | 2033 | 62168GCM29 | 2012-08-14 | 2010-10-01 | 2050-09-30 | ug/L | 1.415 | Abs, Supelco | 052412, LB92783 | Abs 052412: 20 µl & Supelco LB92783: 20 µl | 0.04 | FIPRONIL_SULFONE | E | 0.024 | 0.0566 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.415 | Ab052412, SuLB92783 | Ab | Su | Su | 052412 | LB92783 | LB92783 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 1.415 |  | 1.415 | 0 | 0
FIPRONIL SULFONE | 2033 | 62168GCM29 | 2010-02-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.51762 | Accu | 209081187 | Accu 209081187: 100 µl | 0.24728 | FIPRONIL_SULFONE | . | 0.024 | 0.128 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51762 | Accu 209081187 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.8164 | 0.18632 | 0.8555 | 0.1879 | 0.13929
FIPRONIL SULFONE | 2033 | 62168GCM29 | 2010-03-24 | 2009-10-01 | 2010-09-30 | ug/L | 0.96054 | Accu | 209081187 | Accu 209081187: 20 µl | 0.049868 | FIPRONIL_SULFONE | . | 0.024 | 0.0479 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96054 | Accu 209081187 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.8164 | 0.18632 | 0.8555 | 0.1879 | 0.13929
FIPRONIL SULFONE | 2033 | 62168GCM29 | 2010-05-07 | 2009-10-01 | 2010-09-30 | ug/L | 0.9757 | Accu | 209081187 | Accu 209081187: 20 µl | 0.05227 | FIPRONIL_SULFONE | . | 0.024 | 0.051 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9757 | Accu 209081187 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.8164 | 0.18632 | 0.8555 | 0.1879 | 0.13929
FIPRONIL SULFONE | 2033 | 62168GCM29 | 2010-09-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.8555 | Accu | 209081187 | Accu 209081187: 40 µl | 0.10193 | FIPRONIL_SULFONE | . | 0.024 | 0.0872 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8555 | Accu 209081187 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.8164 | 0.18632 | 0.8555 | 0.1879 | 0.13929
FIPRONIL SULFONE | 2033 | 62168GCM29 | 2010-12-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.77264 | Accu | 209081187 | Accu 209081187: 40 µl | 0.10134 | FIPRONIL_SULFONE | . | 0.024 | 0.0783 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77264 | Accu 209081187 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.8164 | 0.18632 | 0.8555 | 0.1879 | 0.13929
FIPRONIL SULFONE | 2033 | 62168GCM29 | 2009-09-03 | 2005-03-04 | 2009-09-30 | ug/L | 0.59747 | Accu | B8090098 | Accu B8090098: 25 µl | 0.050212 | FIPRONIL_SULFONE | . | 0.024 | 0.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59747 | Accu B8090098 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.68421 | 0.12268 | 0.68421 | 0.17349 | 0.12861
FIPRONIL SULFONE | 2033 | 62168GCM29 | 2009-12-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.77096 | Accu | B8090098 | Accu B8090098: 25 µl | 0.050586 | FIPRONIL_SULFONE | . | 0.024 | 0.039 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77096 | Accu B8090098 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.68421 | 0.12268 | 0.68421 | 0.17349 | 0.12861
FIPRONIL SULFONE | 2033 | 62168GCM29 | 2013-07-11 | 2010-10-01 | 2050-09-30 | ug/L | 0.84396 | ChemService, ERA | 1473000, 0318-13-02.2 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl | 0.0596 | FIPRONIL_SULFONE | . | 0.024 | 0.0503 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84396 | Ch1473000, ER03102.2 | Ch | ER | ER | 1473000 | 03102.2 | 03102.2 |  | 03102.2 | 03102.2 | Y | Recoverable Result | Y | 2 |  | 1 | 0.84396 |  | 0.84396 | 0 | 0
FIPRONIL SULFONE | 2033 | 62168GCM29 | 2013-06-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.6933 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl | 0.15 | FIPRONIL_SULFONE | . | 0.024 | 0.254 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.6933 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.2792 | 0.58572 | 1.2792 | 0.82833 | 0.61404
FIPRONIL SULFONE | 2033 | 62168GCM29 | 2014-01-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.865 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl | 0.06 | FIPRONIL_SULFONE | . | 0.024 | 0.0519 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.865 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.2792 | 0.58572 | 1.2792 | 0.82833 | 0.61404
FIPRONIL SULFONE | 2033 | 62168GCM29 | 2012-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.74384 | Crescent, ERA | 05BB029, 0507-12-04.2 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl | 0.0406 | FIPRONIL_SULFONE | . | 0.024 | 0.0302 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74384 | Cr05BB029, ER05004.2 | Cr | ER | ER | 05BB029 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.80419 | 0.08534 | 0.80419 | 0.12069 | 0.089466
FIPRONIL SULFONE | 2033 | 62168GCM29 | 2013-03-07 | 2010-10-01 | 2050-09-30 | ug/L | 0.86453 | Crescent, ERA | 05BB029, 0507-12-04.2 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl | 0.0406 | FIPRONIL_SULFONE | . | 0.024 | 0.0351 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86453 | Cr05BB029, ER05004.2 | Cr | ER | ER | 05BB029 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.80419 | 0.08534 | 0.80419 | 0.12069 | 0.089466
FIPRONIL SULFONE | 2033 | 62168GCM29 | 2010-06-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.48483 | Crescent | 08Ll064 | Crescent 08Ll064: 20 µl | 0.050327 | FIPRONIL_SULFONE | . | 0.024 | 0.0244 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.48483 | Crescent 08Ll064 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.63095 | 0.26664 | 0.48483 | 0.46939 | 0.34796
FIPRONIL SULFONE | 2033 | 62168GCM29 | 2010-07-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.46931 | Crescent | 08Ll064 | Crescent 08Ll064: 40 µl | 0.099721 | FIPRONIL_SULFONE | . | 0.024 | 0.0468 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.46931 | Crescent 08Ll064 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.63095 | 0.26664 | 0.48483 | 0.46939 | 0.34796
FIPRONIL SULFONE | 2033 | 62168GCM29 | 2010-10-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.9387 | Crescent | 08Ll064 | Crescent 08Ll064: 20 µl | 0.050176 | FIPRONIL_SULFONE | . | 0.024 | 0.0471 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9387 | Crescent 08Ll064 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.63095 | 0.26664 | 0.48483 | 0.46939 | 0.34796
FIPRONIL SULFONE | 2033 | 62168GCM29 | 2013-09-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.74497 | ERA, Abs, Crescent | 0318-13-02.2, 042413, 10802AL | ERA 0318-13-02.2: 50 µl & Abs 042413: 50 µl & Crescent 10802AL: 10 µl | 0.149 | FIPRONIL_SULFONE | . | 0.024 | 0.111 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74497 | ER03102.2, Ab042413, Cr10802AL | ER | Ab | Cr | 03102.2 | 042413 | 10802AL | 03102.2 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.73322 | 0.01661 | 0.73322 | 0.02349 | 0.017413
FIPRONIL SULFONE | 2033 | 62168GCM29 | 2014-01-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.72148 | ERA, Abs, Crescent | 0318-13-02.2, 042413, 10802AL | ERA 0318-13-02.2: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl | 0.0596 | FIPRONIL_SULFONE | . | 0.024 | 0.043 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72148 | ER03102.2, Ab042413, Cr10802AL | ER | Ab | Cr | 03102.2 | 042413 | 10802AL | 03102.2 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.73322 | 0.01661 | 0.73322 | 0.02349 | 0.017413
FIPRONIL SULFONE | 2033 | 62168GCM29 | 2013-06-11 | 2010-10-01 | 2050-09-30 | ug/L | 1.0369 | ERA, Crescent | 0318-13-02.2, 04CC101 | ERA 0318-13-02.2: 20 µl & Crescent 04CC101: 20 µl | 0.0596 | FIPRONIL_SULFONE | . | 0.024 | 0.0618 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0369 | ER03102.2, Cr04CC101 | ER | Cr | Cr | 03102.2 | 04CC101 | 04CC101 | 03102.2 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0369 |  | 1.0369 | 0 | 0
FIPRONIL SULFONE | 2033 | 62168GCM29 | 2012-10-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.94975 | ERA | 0507-12-04.2 | ERA 0507-12-04.2: 50 µl | 0.1015 | FIPRONIL_SULFONE | . | 0.024 | 0.0964 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94975 | ERA 0507-12-04.2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.94975 |  | 0.94975 | 0 | 0
FIPRONIL SULFONE | 2033 | 62168GCM29 | 2009-09-03 | 2005-03-04 | 2009-09-30 | ug/L | 0.59124 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | FIPRONIL_SULFONE | . | 0.024 | 0.044 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59124 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.59124 |  | 0.59124 | 0 | 0
FIPRONIL SULFONE | 2033 | 62168GCM29 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.59048 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | FIPRONIL_SULFONE | E | 0.024 | 0.0229 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59048 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 0.92121 | 0.30846 | 0.97209 | 0.61059 | 0.45262
FIPRONIL SULFONE | 2033 | 62168GCM29 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 1.2011 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | FIPRONIL_SULFONE | . | 0.024 | 0.0487 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2011 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.92121 | 0.30846 | 0.97209 | 0.61059 | 0.45262
FIPRONIL SULFONE | 2033 | 62168GCM29 | 2010-12-16 | 2010-10-01 | 2050-09-30 | ug/L | 0.97209 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | FIPRONIL_SULFONE | . | 0.024 | 0.0393 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97209 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.92121 | 0.30846 | 0.97209 | 0.61059 | 0.45262
FIPRONIL SULFONE | 2033 | 62168GCM29 | 2011-01-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.89668 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | FIPRONIL_SULFONE | . | 0.024 | 0.0903 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89668 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.94878 | 0.3616 | 0.8464 | 0.46578 | 0.34528
FIPRONIL SULFONE | 2033 | 62168GCM29 | 2011-03-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.4667 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 25 µl | 0.02475 | FIPRONIL_SULFONE | E | 0.024 | 0.0363 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4667 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.94878 | 0.3616 | 0.8464 | 0.46578 | 0.34528
FIPRONIL SULFONE | 2033 | 62168GCM29 | 2011-04-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.79612 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.099483 | FIPRONIL_SULFONE | . | 0.024 | 0.0792 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79612 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.94878 | 0.3616 | 0.8464 | 0.46578 | 0.34528
FIPRONIL SULFONE | 2033 | 62168GCM29 | 2011-06-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.63566 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 75 µl | 0.074096 | FIPRONIL_SULFONE | E | 0.024 | 0.0471 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63566 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.94878 | 0.3616 | 0.8464 | 0.46578 | 0.34528
FIPRONIL SULFONE | 2033 | 62168GCM29 | 2012-07-14 | 2010-10-01 | 2050-09-30 | ug/L | 1.12 | Restek, Supelco | A088380, LB92783 | Restek A088380: 20 µl & Supelco LB92783: 20 µl | 0.04 | FIPRONIL_SULFONE | . | 0.024 | 0.0448 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.12 | ReA088380, SuLB92783 | Re | Su | Su | A088380 | LB92783 | LB92783 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.12 |  | 1.12 | 0 | 0
FIPRONIL SULFONE | 2033 | 62168GCM29 | 2009-08-25 | 2005-03-04 | 2009-09-30 | ug/L | 0.64564 | Restek | A063025 | Restek A063025: 40 µl | 0.08054 | FIPRONIL_SULFONE | . | 0.024 | 0.052 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64564 | Restek A063025 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.59351 | 0.073733 | 0.59351 | 0.10427 | 0.077297
FIPRONIL SULFONE | 2033 | 62168GCM29 | 2009-12-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.54137 | Restek | A063025 | Restek A063025: 25 µl | 0.049873 | FIPRONIL_SULFONE | . | 0.024 | 0.027 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54137 | Restek A063025 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.59351 | 0.073733 | 0.59351 | 0.10427 | 0.077297
FIPRONIL SULFONE | 2033 | 62168GCM29 | 2011-01-09 | 2010-10-01 | 2050-09-30 | ug/L | 0.95681 | Restek | A075606 | Restek A075606: 40 µl | 0.05811 | FIPRONIL_SULFONE | . | 0.024 | 0.0556 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95681 | Restek A075606 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.79805 | 0.21915 | 0.73107 | 0.28351 | 0.21017
FIPRONIL SULFONE | 2033 | 62168GCM29 | 2011-01-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.87333 | Restek | A075606 | Restek A075606: 80 µl | 0.12023 | FIPRONIL_SULFONE | . | 0.024 | 0.105 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87333 | Restek A075606 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.79805 | 0.21915 | 0.73107 | 0.28351 | 0.21017
FIPRONIL SULFONE | 2033 | 62168GCM29 | 2011-03-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.1439 | Restek | A075606 | Restek A075606: 40 µl | 0.060843 | FIPRONIL_SULFONE | E | 0.024 | 0.0696 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1439 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 |  | 12 | 0.79805 | 0.21915 | 0.73107 | 0.28351 | 0.21017
FIPRONIL SULFONE | 2033 | 62168GCM29 | 2011-04-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.72251 | Restek | A075606 | Restek A075606: 40 µl | 0.060345 | FIPRONIL_SULFONE | . | 0.024 | 0.0436 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72251 | Restek A075606 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.79805 | 0.21915 | 0.73107 | 0.28351 | 0.21017
FIPRONIL SULFONE | 2033 | 62168GCM29 | 2011-06-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.69015 | Restek | A075606 | Restek A075606: 80 µl | 0.1178 | FIPRONIL_SULFONE | . | 0.024 | 0.0813 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69015 | Restek A075606 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.79805 | 0.21915 | 0.73107 | 0.28351 | 0.21017
FIPRONIL SULFONE | 2033 | 62168GCM29 | 2011-08-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.1596 | Restek | A075606 | Restek A075606: 40 µl | 0.05976 | FIPRONIL_SULFONE | . | 0.024 | 0.0693 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1596 | Restek A075606 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.79805 | 0.21915 | 0.73107 | 0.28351 | 0.21017
FIPRONIL SULFONE | 2033 | 62168GCM29 | 2011-09-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.62165 | Restek | A075606 | Restek A075606: 80 µl | 0.11952 | FIPRONIL_SULFONE | . | 0.024 | 0.0743 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62165 | Restek A075606 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.79805 | 0.21915 | 0.73107 | 0.28351 | 0.21017
FIPRONIL SULFONE | 2033 | 62168GCM29 | 2011-09-13 | 2010-10-01 | 2050-09-30 | ug/L | 0.43507 | Restek | A075606 | Restek A075606: 80 µl | 0.11952 | FIPRONIL_SULFONE | . | 0.024 | 0.052 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.43507 | Restek A075606 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.79805 | 0.21915 | 0.73107 | 0.28351 | 0.21017
FIPRONIL SULFONE | 2033 | 62168GCM29 | 2011-11-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.71787 | Restek | A075606 | Restek A075606: 80 µl | 0.11952 | FIPRONIL_SULFONE | . | 0.024 | 0.0858 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71787 | Restek A075606 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.79805 | 0.21915 | 0.73107 | 0.28351 | 0.21017
FIPRONIL SULFONE | 2033 | 62168GCM29 | 2011-12-04 | 2010-10-01 | 2050-09-30 | ug/L | 0.92202 | Restek | A075606 | Restek A075606: 40 µl | 0.05976 | FIPRONIL_SULFONE | . | 0.024 | 0.0551 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92202 | Restek A075606 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.79805 | 0.21915 | 0.73107 | 0.28351 | 0.21017
FIPRONIL SULFONE | 2033 | 62168GCM29 | 2012-02-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.59404 | Restek | A075606 | Restek A075606: 40 µl | 0.05976 | FIPRONIL_SULFONE | . | 0.024 | 0.0355 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59404 | Restek A075606 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.79805 | 0.21915 | 0.73107 | 0.28351 | 0.21017
FIPRONIL SULFONE | 2033 | 62168GCM29 | 2012-05-15 | 2010-10-01 | 2050-09-30 | ug/L | 0.73963 | Restek | A075606 | Restek A075606: 80 µl | 0.11952 | FIPRONIL_SULFONE | . | 0.024 | 0.0884 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73963 | Restek A075606 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.79805 | 0.21915 | 0.73107 | 0.28351 | 0.21017
FIPRONIL SULFONE | 2033 | 62168GCM29 | 2012-09-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.80788 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl | 0.0406 | FIPRONIL_SULFONE | . | 0.024 | 0.0328 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80788 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.79212 | 0.022293 | 0.79212 | 0.031527 | 0.023371
FIPRONIL SULFONE | 2033 | 62168GCM29 | 2013-01-15 | 2010-10-01 | 2050-09-30 | ug/L | 0.77635 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl | 0.1015 | FIPRONIL_SULFONE | . | 0.024 | 0.0788 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77635 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.79212 | 0.022293 | 0.79212 | 0.031527 | 0.023371
FIPRONIL SULFONE | 2033 | 62168GCM29 | 2012-11-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.79 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl | 0.2 | FIPRONIL_SULFONE | . | 0.024 | 0.158 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.8925 | 0.11228 | 0.875 | 0.2225 | 0.16494
FIPRONIL SULFONE | 2033 | 62168GCM29 | 2013-02-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.0125 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl | 0.04 | FIPRONIL_SULFONE | . | 0.024 | 0.0405 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0125 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.8925 | 0.11228 | 0.875 | 0.2225 | 0.16494
FIPRONIL SULFONE | 2033 | 62168GCM29 | 2013-04-02 | 2010-10-01 | 2050-09-30 | ug/L | 0.875 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl | 0.1 | FIPRONIL_SULFONE | . | 0.024 | 0.0875 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.875 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.8925 | 0.11228 | 0.875 | 0.2225 | 0.16494
FIPRONIL SULFONE | 2033 | 62168GCM29 | 2013-09-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.7349 | Spex Organics, ERA | T1130514013, 0318-13-02.2 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl | 0.298 | FIPRONIL_SULFONE | . | 0.024 | 0.219 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7349 | SpT114013, ER03102.2 | Sp | ER | ER | T114013 | 03102.2 | 03102.2 | T114013 | 03102.2 | 03102.2 | Y | Recoverable Result | Y | 2 |  | 1 | 0.7349 |  | 0.7349 | 0 | 0
FIPRONIL SULFONE | 2033 | 62168GCM29 | 2013-11-09 | 2010-10-01 | 2050-09-30 | ug/L | 0.85833 | Spex Organics, Supelco | T1130514013, LB99392 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl | 0.06 | FIPRONIL_SULFONE | . | 0.024 | 0.0515 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85833 | SpT114013, SuLB99392 | Sp | Su | Su | T114013 | LB99392 | LB99392 | T114013 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.85833 |  | 0.85833 | 0 | 0
FIPRONIL SULFONE | 2033 | 62168GCM29 | 2012-10-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.73 | Supelco, Abs | LB92783, 052412 | Supelco LB92783: 50 µl & Abs 052412: 50 µl | 0.1 | FIPRONIL_SULFONE | . | 0.024 | 0.073 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73 | SuLB92783, Ab052412 | Su | Ab | Ab | LB92783 | 052412 | 052412 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.7665 | 0.051619 | 0.7665 | 0.073 | 0.054114
FIPRONIL SULFONE | 2033 | 62168GCM29 | 2013-01-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.803 | Supelco, Abs | LB92783, 052412 | Supelco LB92783: 50 µl & Abs 052412: 50 µl | 0.1 | FIPRONIL_SULFONE | . | 0.024 | 0.0803 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.803 | SuLB92783, Ab052412 | Su | Ab | Ab | LB92783 | 052412 | 052412 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.7665 | 0.051619 | 0.7665 | 0.073 | 0.054114
FIPRONIL SULFONE | 2033 | 62168GCM29 | 2013-11-23 | 2010-10-01 | 2050-09-30 | ug/L | 1.3067 | Supelco, Abs, Crescent | LB99392, 042413, 10802AL | Supelco LB99392: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl | 0.06 | FIPRONIL_SULFONE | . | 0.024 | 0.0784 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3067 | SuLB99392, Ab042413, Cr10802AL | Su | Ab | Cr | LB99392 | 042413 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.3067 |  | 1.3067 | 0 | 0
FIPRONIL SULFONE | 2033 | 62168GCM29 | 2013-08-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.73333 | Supelco, Crescent | LB99392, 04CC101 | Supelco LB99392: 50 µl & Crescent 04CC101: 50 µl | 0.15 | FIPRONIL_SULFONE | . | 0.024 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73333 | SuLB99392, Cr04CC101 | Su | Cr | Cr | LB99392 | 04CC101 | 04CC101 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.73333 |  | 0.73333 | 0 | 0
FIPRONIL SULFONE | 2033 | 62168GCM29 | 2009-09-29 | 2005-03-04 | 2009-09-30 | ug/L | 0.52581 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.049447 | FIPRONIL_SULFONE | . | 0.024 | 0.026 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52581 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.82096 | 0.41739 | 0.82096 | 0.59029 | 0.43757
FIPRONIL SULFONE | 2033 | 62168GCM29 | 2010-01-27 | 2009-10-01 | 2010-09-30 | ug/L | 1.1161 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.049279 | FIPRONIL_SULFONE | . | 0.024 | 0.055 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1161 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.82096 | 0.41739 | 0.82096 | 0.59029 | 0.43757
FIPRONIL SULFONE | 2033 | 62168GCM29 | 2011-01-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.56496 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.059473 | FIPRONIL_SULFONE | E | 0.024 | 0.0336 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56496 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 |  | 11 | 0.82154 | 0.14218 | 0.83082 | 0.19085 | 0.14148
FIPRONIL SULFONE | 2033 | 62168GCM29 | 2011-02-09 | 2010-10-01 | 2050-09-30 | ug/L | 0.70619 | Supelco | LB77168 | Supelco LB77168: 80 µl | 0.11512 | FIPRONIL_SULFONE | . | 0.024 | 0.0813 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7062 | Supelco LB77168 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.82154 | 0.14218 | 0.83082 | 0.19085 | 0.14148
FIPRONIL SULFONE | 2033 | 62168GCM29 | 2011-03-30 | 2010-10-01 | 2050-09-30 | ug/L | 0.70129 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.059604 | FIPRONIL_SULFONE | . | 0.024 | 0.0418 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70129 | Supelco LB77168 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.82154 | 0.14218 | 0.83082 | 0.19085 | 0.14148
FIPRONIL SULFONE | 2033 | 62168GCM29 | 2011-05-25 | 2010-10-01 | 2050-09-30 | ug/L | 0.79774 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.060671 | FIPRONIL_SULFONE | . | 0.024 | 0.0484 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79774 | Supelco LB77168 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.82154 | 0.14218 | 0.83082 | 0.19085 | 0.14148
FIPRONIL SULFONE | 2033 | 62168GCM29 | 2011-07-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.83669 | Supelco | LB77168 | Supelco LB77168: 80 µl | 0.11928 | FIPRONIL_SULFONE | . | 0.024 | 0.0998 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83669 | Supelco LB77168 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.82154 | 0.14218 | 0.83082 | 0.19085 | 0.14148
FIPRONIL SULFONE | 2033 | 62168GCM29 | 2011-07-20 | 2010-10-01 | 2050-09-30 | ug/L | 1.1284 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.05964 | FIPRONIL_SULFONE | . | 0.024 | 0.0673 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1284 | Supelco LB77168 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.82154 | 0.14218 | 0.83082 | 0.19085 | 0.14148
FIPRONIL SULFONE | 2033 | 62168GCM29 | 2011-09-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.85681 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.05964 | FIPRONIL_SULFONE | . | 0.024 | 0.0511 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85681 | Supelco LB77168 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.82154 | 0.14218 | 0.83082 | 0.19085 | 0.14148
FIPRONIL SULFONE | 2033 | 62168GCM29 | 2011-10-02 | 2010-10-01 | 2050-09-30 | ug/L | 0.89705 | Supelco | LB77168 | Supelco LB77168: 80 µl | 0.11928 | FIPRONIL_SULFONE | . | 0.024 | 0.107 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89705 | Supelco LB77168 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.82154 | 0.14218 | 0.83082 | 0.19085 | 0.14148
FIPRONIL SULFONE | 2033 | 62168GCM29 | 2011-11-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.83082 | Supelco | LB77168 | Supelco LB77168: 80 µl | 0.11928 | FIPRONIL_SULFONE | . | 0.024 | 0.0991 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83082 | Supelco LB77168 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.82154 | 0.14218 | 0.83082 | 0.19085 | 0.14148
FIPRONIL SULFONE | 2033 | 62168GCM29 | 2011-12-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.90208 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.05964 | FIPRONIL_SULFONE | . | 0.024 | 0.0538 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90208 | Supelco LB77168 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.82154 | 0.14218 | 0.83082 | 0.19085 | 0.14148
FIPRONIL SULFONE | 2033 | 62168GCM29 | 2012-03-09 | 2010-10-01 | 2050-09-30 | ug/L | 0.81489 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.05964 | FIPRONIL_SULFONE | . | 0.024 | 0.0486 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81489 | Supelco LB77168 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.82154 | 0.14218 | 0.83082 | 0.19085 | 0.14148