## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
HEXAZINONE | 2033 | 04025GCM39 | 2012-12-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.505 | Abs, ERA | 052412, 0507-12-04.2 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl | 0.6 | HEXAZINONE | . | 0.012 | 0.303 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.505 | Ab052412, ER05004.2 | Ab | ER | ER | 052412 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.43417 | 0.10017 | 0.43417 | 0.14167 | 0.10502
HEXAZINONE | 2033 | 04025GCM39 | 2013-04-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.36333 | Abs, ERA | 052412, 0507-12-04.2 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl | 0.3 | HEXAZINONE | . | 0.012 | 0.109 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.36333 | Ab052412, ER05004.2 | Ab | ER | ER | 052412 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.43417 | 0.10017 | 0.43417 | 0.14167 | 0.10502
HEXAZINONE | 2033 | 04025GCM39 | 2012-08-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.57167 | Abs, Supelco | 052412, LB92783 | Abs 052412: 20 µl & Supelco LB92783: 20 µl | 0.12 | HEXAZINONE | E | 0.012 | 0.0686 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57167 | Ab052412, SuLB92783 | Ab | Su | Su | 052412 | LB92783 | LB92783 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.57167 |  | 0.57167 | 0 | 0
HEXAZINONE | 2033 | 04025GCM39 | 2011-01-07 | 2010-10-01 | 2011-09-30 | ug/L | 1.0303 | Abs | 080610 | Abs 080610: 40 µl | 0.021353 | HEXAZINONE | . | 0.008 | 0.022 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0303 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.83875 | 0.15941 | 0.81031 | 0.1374 | 0.10185
HEXAZINONE | 2033 | 04025GCM39 | 2011-01-28 | 2010-10-01 | 2011-09-30 | ug/L | 0.88283 | Abs | 080610 | Abs 080610: 80 µl | 0.041797 | HEXAZINONE | . | 0.008 | 0.0369 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88283 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.83875 | 0.15941 | 0.81031 | 0.1374 | 0.10185
HEXAZINONE | 2033 | 04025GCM39 | 2011-02-22 | 2010-10-01 | 2011-09-30 | ug/L | 0.67912 | Abs | 080610 | Abs 080610: 40 µl | 0.021499 | HEXAZINONE | . | 0.008 | 0.0146 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67911 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.83875 | 0.15941 | 0.81031 | 0.1374 | 0.10185
HEXAZINONE | 2033 | 04025GCM39 | 2011-03-16 | 2010-10-01 | 2011-09-30 | ug/L | 0.71877 | Abs | 080610 | Abs 080610: 80 µl | 0.04313 | HEXAZINONE | E | 0.008 | 0.031 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71877 | Abs 080610 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.83875 | 0.15941 | 0.81031 | 0.1374 | 0.10185
HEXAZINONE | 2033 | 04025GCM39 | 2011-05-03 | 2010-10-01 | 2011-09-30 | ug/L | 1.0462 | Abs | 080610 | Abs 080610: 40 µl | 0.021601 | HEXAZINONE | . | 0.008 | 0.0226 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0462 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.83875 | 0.15941 | 0.81031 | 0.1374 | 0.10185
HEXAZINONE | 2033 | 04025GCM39 | 2011-05-29 | 2010-10-01 | 2011-09-30 | ug/L | 0.74543 | Abs | 080610 | Abs 080610: 80 µl | 0.043733 | HEXAZINONE | . | 0.008 | 0.0326 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74543 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.83875 | 0.15941 | 0.81031 | 0.1374 | 0.10185
HEXAZINONE | 2033 | 04025GCM39 | 2011-08-22 | 2010-10-01 | 2011-09-30 | ug/L | 0.84254 | Abs | 080610 | Abs 080610: 40 µl | 0.02172 | HEXAZINONE | . | 0.008 | 0.0183 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84254 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.83875 | 0.15941 | 0.81031 | 0.1374 | 0.10185
HEXAZINONE | 2033 | 04025GCM39 | 2011-10-20 | 2011-10-01 | 2050-09-30 | ug/L | 1.1464 | Abs | 080610 | Abs 080610: 40 µl | 0.02172 | HEXAZINONE | E | 0.012 | 0.0249 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1464 | Abs 080610 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.83875 | 0.15941 | 0.81031 | 0.1374 | 0.10185
HEXAZINONE | 2033 | 04025GCM39 | 2012-01-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.75046 | Abs | 080610 | Abs 080610: 40 µl | 0.02172 | HEXAZINONE | . | 0.012 | 0.0163 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75046 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.83875 | 0.15941 | 0.81031 | 0.1374 | 0.10185
HEXAZINONE | 2033 | 04025GCM39 | 2012-02-09 | 2011-10-01 | 2050-09-30 | ug/L | 0.87017 | Abs | 080610 | Abs 080610: 80 µl | 0.04344 | HEXAZINONE | E | 0.012 | 0.0378 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87017 | Abs 080610 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.83875 | 0.15941 | 0.81031 | 0.1374 | 0.10185
HEXAZINONE | 2033 | 04025GCM39 | 2012-03-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.81031 | Abs | 080610 | Abs 080610: 40 µl | 0.02172 | HEXAZINONE | . | 0.012 | 0.0176 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81031 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.83875 | 0.15941 | 0.81031 | 0.1374 | 0.10185
HEXAZINONE | 2033 | 04025GCM39 | 2012-04-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.80571 | Abs | 080610 | Abs 080610: 40 µl | 0.02172 | HEXAZINONE | . | 0.012 | 0.0175 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80571 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.83875 | 0.15941 | 0.81031 | 0.1374 | 0.10185
HEXAZINONE | 2033 | 04025GCM39 | 2012-04-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.57551 | Abs | 080610 | Abs 080610: 80 µl | 0.04344 | HEXAZINONE | . | 0.012 | 0.025 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57551 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.83875 | 0.15941 | 0.81031 | 0.1374 | 0.10185
HEXAZINONE | 2033 | 04025GCM39 | 2011-01-12 | 2010-10-01 | 2011-09-30 | ug/L | 0.74031 | Accu | 210061341 | Accu 210061341: 40 µl | 0.019316 | HEXAZINONE | . | 0.008 | 0.0143 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74031 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.73628 | 0.14016 | 0.75917 | 0.12328 | 0.091389
HEXAZINONE | 2033 | 04025GCM39 | 2011-02-01 | 2010-10-01 | 2011-09-30 | ug/L | 0.69841 | Accu | 210061341 | Accu 210061341: 80 µl | 0.039805 | HEXAZINONE | . | 0.008 | 0.0278 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6984 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.73628 | 0.14016 | 0.75917 | 0.12328 | 0.091389
HEXAZINONE | 2033 | 04025GCM39 | 2011-02-14 | 2010-10-01 | 2011-09-30 | ug/L | 0.68593 | Accu | 210061341 | Accu 210061341: 40 µl | 0.019681 | HEXAZINONE | E | 0.008 | 0.0135 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68593 | Accu 210061341 | [9 empty] | Y | Estimated Values | Y | 2 |  | 12 | 0.73628 | 0.14016 | 0.75917 | 0.12328 | 0.091389
HEXAZINONE | 2033 | 04025GCM39 | 2011-04-07 | 2010-10-01 | 2011-09-30 | ug/L | 0.87098 | Accu | 210061341 | Accu 210061341: 40 µl | 0.020092 | HEXAZINONE | . | 0.008 | 0.0175 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87098 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.73628 | 0.14016 | 0.75917 | 0.12328 | 0.091389
HEXAZINONE | 2033 | 04025GCM39 | 2011-05-21 | 2010-10-01 | 2011-09-30 | ug/L | 0.77802 | Accu | 210061341 | Accu 210061341: 80 µl | 0.039845 | HEXAZINONE | . | 0.008 | 0.031 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77802 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.73628 | 0.14016 | 0.75917 | 0.12328 | 0.091389
HEXAZINONE | 2033 | 04025GCM39 | 2011-07-02 | 2010-10-01 | 2011-09-30 | ug/L | 0.98677 | Accu | 210061341 | Accu 210061341: 40 µl | 0.019964 | HEXAZINONE | . | 0.008 | 0.0197 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98677 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.73628 | 0.14016 | 0.75917 | 0.12328 | 0.091389
HEXAZINONE | 2033 | 04025GCM39 | 2011-07-20 | 2010-10-01 | 2011-09-30 | ug/L | 0.815 | Accu | 210061341 | Accu 210061341: 40 µl | 0.02 | HEXAZINONE | . | 0.008 | 0.0163 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.815 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.73628 | 0.14016 | 0.75917 | 0.12328 | 0.091389
HEXAZINONE | 2033 | 04025GCM39 | 2011-08-30 | 2010-10-01 | 2011-09-30 | ug/L | 0.5825 | Accu | 210061341 | Accu 210061341: 80 µl | 0.04 | HEXAZINONE | . | 0.008 | 0.0233 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5825 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.73628 | 0.14016 | 0.75917 | 0.12328 | 0.091389
HEXAZINONE | 2033 | 04025GCM39 | 2011-11-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.79 | Accu | 210061341 | Accu 210061341: 40 µl | 0.02 | HEXAZINONE | . | 0.012 | 0.0158 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.73628 | 0.14016 | 0.75917 | 0.12328 | 0.091389
HEXAZINONE | 2033 | 04025GCM39 | 2011-12-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.435 | Accu | 210061341 | Accu 210061341: 80 µl | 0.04 | HEXAZINONE | . | 0.012 | 0.0174 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.435 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.73628 | 0.14016 | 0.75917 | 0.12328 | 0.091389
HEXAZINONE | 2033 | 04025GCM39 | 2012-03-02 | 2011-10-01 | 2050-09-30 | ug/L | 0.6725 | Accu | 210061341 | Accu 210061341: 80 µl | 0.04 | HEXAZINONE | . | 0.012 | 0.0269 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6725 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.73628 | 0.14016 | 0.75917 | 0.12328 | 0.091389
HEXAZINONE | 2033 | 04025GCM39 | 2012-03-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.78 | Accu | 210061341 | Accu 210061341: 40 µl | 0.02 | HEXAZINONE | . | 0.012 | 0.0156 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.73628 | 0.14016 | 0.75917 | 0.12328 | 0.091389
HEXAZINONE | 2033 | 04025GCM39 | 2013-07-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.315 | ChemService, ERA | 1473000, 0318-13-02.2 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl | 0.04 | HEXAZINONE | . | 0.012 | 0.0126 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.315 | Ch1473000, ER03102.2 | Ch | ER | ER | 1473000 | 03102.2 | 03102.2 |  | 03102.2 | 03102.2 | Y | Recoverable Result | Y | 2 |  | 1 | 0.315 |  | 0.315 | 0 | 0
HEXAZINONE | 2033 | 04025GCM39 | 2013-06-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.78486 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl | 0.1004 | HEXAZINONE | . | 0.012 | 0.0788 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78486 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.60906 | 0.24861 | 0.60906 | 0.35159 | 0.26063
HEXAZINONE | 2033 | 04025GCM39 | 2014-01-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.43327 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl | 0.04016 | HEXAZINONE | . | 0.012 | 0.0174 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.43327 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.60906 | 0.24861 | 0.60906 | 0.35159 | 0.26063
HEXAZINONE | 2033 | 04025GCM39 | 2009-08-12 | 2007-10-01 | 2009-09-30 | ug/L | 0.67432 | ChemService | 406-99B | ChemService 406-99B: 25 µl | 0.04004 | HEXAZINONE | . | 0.008 | 0.027 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67433 | ChemService 406-99B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.74203 | 0.095751 | 0.74203 | 0.13541 | 0.10038
HEXAZINONE | 2033 | 04025GCM39 | 2009-12-01 | 2009-10-01 | 2010-09-30 | ug/L | 0.80974 | ChemService | 406-99B | ChemService 406-99B: 25 µl | 0.040754 | HEXAZINONE | . | 0.008 | 0.033 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80974 | ChemService 406-99B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.74203 | 0.095751 | 0.74203 | 0.13541 | 0.10038
HEXAZINONE | 2033 | 04025GCM39 | 2010-03-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.29634 | ChemService | 430-36C | ChemService 430-36C: 40 µl | 0.078963 | HEXAZINONE | E | 0.008 | 0.0234 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.29634 | ChemService 430-36C | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 0.59615 | 0.26046 | 0.7255 | 0.47028 | 0.34861
HEXAZINONE | 2033 | 04025GCM39 | 2010-06-26 | 2009-10-01 | 2010-09-30 | ug/L | 0.7255 | ChemService | 430-36C | ChemService 430-36C: 40 µl | 0.080496 | HEXAZINONE | . | 0.008 | 0.0584 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7255 | ChemService 430-36C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.59615 | 0.26046 | 0.7255 | 0.47028 | 0.34861
HEXAZINONE | 2033 | 04025GCM39 | 2010-09-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.76662 | ChemService | 430-36C | ChemService 430-36C: 20 µl | 0.04122 | HEXAZINONE | . | 0.008 | 0.0316 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76662 | ChemService 430-36C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.59615 | 0.26046 | 0.7255 | 0.47028 | 0.34861
HEXAZINONE | 2033 | 04025GCM39 | 2012-09-17 | 2011-10-01 | 2050-09-30 | ug/L | 0.50667 | Crescent, ERA | 05BB029, 0507-12-04.2 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl | 0.12 | HEXAZINONE | . | 0.012 | 0.0608 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50667 | Cr05BB029, ER05004.2 | Cr | ER | ER | 05BB029 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.51042 | 0.0053033 | 0.51042 | 0.0075 | 0.0055597
HEXAZINONE | 2033 | 04025GCM39 | 2013-03-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.51417 | Crescent, ERA | 05BB029, 0507-12-04.2 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl | 0.12 | HEXAZINONE | . | 0.012 | 0.0617 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51417 | Cr05BB029, ER05004.2 | Cr | ER | ER | 05BB029 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.51042 | 0.0053033 | 0.51042 | 0.0075 | 0.0055597
HEXAZINONE | 2033 | 04025GCM39 | 2013-09-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.514 | ERA, Abs, Crescent | 0318-13-02.2, 042413, 10802AL | ERA 0318-13-02.2: 50 µl & Abs 042413: 50 µl & Crescent 10802AL: 10 µl | 0.1 | HEXAZINONE | . | 0.012 | 0.0514 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.514 | ER03102.2, Ab042413, Cr10802AL | ER | Ab | Cr | 03102.2 | 042413 | 10802AL | 03102.2 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.4095 | 0.14779 | 0.4095 | 0.209 | 0.15493
HEXAZINONE | 2033 | 04025GCM39 | 2014-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.305 | ERA, Abs, Crescent | 0318-13-02.2, 042413, 10802AL | ERA 0318-13-02.2: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl | 0.04 | HEXAZINONE | . | 0.012 | 0.0122 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.305 | ER03102.2, Ab042413, Cr10802AL | ER | Ab | Cr | 03102.2 | 042413 | 10802AL | 03102.2 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.4095 | 0.14779 | 0.4095 | 0.209 | 0.15493
HEXAZINONE | 2033 | 04025GCM39 | 2013-06-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.755 | ERA, Crescent | 0318-13-02.2, 04CC101 | ERA 0318-13-02.2: 20 µl & Crescent 04CC101: 20 µl | 0.04 | HEXAZINONE | . | 0.012 | 0.0302 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.755 | ER03102.2, Cr04CC101 | ER | Cr | Cr | 03102.2 | 04CC101 | 04CC101 | 03102.2 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.755 |  | 0.755 | 0 | 0
HEXAZINONE | 2033 | 04025GCM39 | 2012-10-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.46667 | ERA | 0507-12-04.2 | ERA 0507-12-04.2: 50 µl | 0.3 | HEXAZINONE | . | 0.012 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.46667 | ERA 0507-12-04.2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.46667 |  | 0.46667 | 0 | 0
HEXAZINONE | 2033 | 04025GCM39 | 2009-09-16 | 2007-10-01 | 2009-09-30 | ug/L | 0.9467 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 25 µl | 0.040139 | HEXAZINONE | . | 0.008 | 0.038 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9467 | ERA 0804-08-02PEST | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.89283 | 0.11812 | 0.94947 | 0.12321 | 0.091331
HEXAZINONE | 2033 | 04025GCM39 | 2009-11-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.95663 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 40 µl | 0.063766 | HEXAZINONE | . | 0.008 | 0.061 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95663 | ERA 0804-08-02PEST | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.89283 | 0.11812 | 0.94947 | 0.12321 | 0.091331
HEXAZINONE | 2033 | 04025GCM39 | 2010-01-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.95225 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 25 µl | 0.039906 | HEXAZINONE | . | 0.008 | 0.038 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95225 | ERA 0804-08-02PEST | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.89283 | 0.11812 | 0.94947 | 0.12321 | 0.091331
HEXAZINONE | 2033 | 04025GCM39 | 2010-01-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.71576 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 40 µl | 0.061473 | HEXAZINONE | . | 0.008 | 0.044 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71576 | ERA 0804-08-02PEST | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.89283 | 0.11812 | 0.94947 | 0.12321 | 0.091331
HEXAZINONE | 2033 | 04025GCM39 | 2009-09-03 | 2007-10-01 | 2009-09-30 | ug/L | 0.57781 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | HEXAZINONE | . | 0.008 | 0.043 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57781 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.57781 |  | 0.57781 | 0 | 0
HEXAZINONE | 2033 | 04025GCM39 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.59821 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | HEXAZINONE | . | 0.008 | 0.0232 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59821 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.73527 | 0.15447 | 0.70495 | 0.30443 | 0.22567
HEXAZINONE | 2033 | 04025GCM39 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.90265 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | HEXAZINONE | . | 0.008 | 0.0366 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90265 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.73527 | 0.15447 | 0.70495 | 0.30443 | 0.22567
HEXAZINONE | 2033 | 04025GCM39 | 2010-12-16 | 2010-10-01 | 2011-09-30 | ug/L | 0.70495 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | HEXAZINONE | . | 0.008 | 0.0285 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70495 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.73527 | 0.15447 | 0.70495 | 0.30443 | 0.22567
HEXAZINONE | 2033 | 04025GCM39 | 2011-01-20 | 2010-10-01 | 2011-09-30 | ug/L | 0.74574 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | HEXAZINONE | . | 0.008 | 0.0751 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74574 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.69154 | 0.092043 | 0.6875 | 0.15459 | 0.1146
HEXAZINONE | 2033 | 04025GCM39 | 2011-03-05 | 2010-10-01 | 2011-09-30 | ug/L | 0.79192 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 25 µl | 0.02475 | HEXAZINONE | . | 0.008 | 0.0196 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79192 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.69154 | 0.092043 | 0.6875 | 0.15459 | 0.1146
HEXAZINONE | 2033 | 04025GCM39 | 2011-04-20 | 2010-10-01 | 2011-09-30 | ug/L | 0.62926 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.099483 | HEXAZINONE | . | 0.008 | 0.0626 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62926 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.69154 | 0.092043 | 0.6875 | 0.15459 | 0.1146
HEXAZINONE | 2033 | 04025GCM39 | 2011-06-22 | 2010-10-01 | 2011-09-30 | ug/L | 0.59922 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 75 µl | 0.074096 | HEXAZINONE | . | 0.008 | 0.0444 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59922 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.69154 | 0.092043 | 0.6875 | 0.15459 | 0.1146
HEXAZINONE | 2033 | 04025GCM39 | 2012-07-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.56 | Restek, Supelco | A088380, LB92783 | Restek A088380: 20 µl & Supelco LB92783: 20 µl | 0.12 | HEXAZINONE | . | 0.012 | 0.0672 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56 | ReA088380, SuLB92783 | Re | Su | Su | A088380 | LB92783 | LB92783 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.56 |  | 0.56 | 0 | 0
HEXAZINONE | 2033 | 04025GCM39 | 2010-02-02 | 2009-10-01 | 2010-09-30 | ug/L | 0.57544 | Restek | A069639 | Restek A069639: 20 µl | 0.039274 | HEXAZINONE | . | 0.008 | 0.0226 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57544 | Restek A069639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.60804 | 0.050142 | 0.59552 | 0.075344 | 0.055852
HEXAZINONE | 2033 | 04025GCM39 | 2010-03-19 | 2009-10-01 | 2010-09-30 | ug/L | 0.61559 | Restek | A069639 | Restek A069639: 20 µl | 0.039799 | HEXAZINONE | . | 0.008 | 0.0245 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61559 | Restek A069639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.60804 | 0.050142 | 0.59552 | 0.075344 | 0.055852
HEXAZINONE | 2033 | 04025GCM39 | 2010-07-29 | 2009-10-01 | 2010-09-30 | ug/L | 0.67583 | Restek | A069639 | Restek A069639: 100 µl | 0.20567 | HEXAZINONE | . | 0.008 | 0.139 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67584 | Restek A069639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.60804 | 0.050142 | 0.59552 | 0.075344 | 0.055852
HEXAZINONE | 2033 | 04025GCM39 | 2010-10-18 | 2010-10-01 | 2011-09-30 | ug/L | 0.5653 | Restek | A069639 | Restek A069639: 40 µl | 0.07872 | HEXAZINONE | . | 0.008 | 0.0445 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5653 | Restek A069639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.60804 | 0.050142 | 0.59552 | 0.075344 | 0.055852
HEXAZINONE | 2033 | 04025GCM39 | 2012-09-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.49833 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl | 0.12 | HEXAZINONE | . | 0.012 | 0.0598 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49833 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.44583 | 0.074246 | 0.44583 | 0.105 | 0.077835
HEXAZINONE | 2033 | 04025GCM39 | 2013-01-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.39333 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl | 0.3 | HEXAZINONE | . | 0.012 | 0.118 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.39333 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.44583 | 0.074246 | 0.44583 | 0.105 | 0.077835
HEXAZINONE | 2033 | 04025GCM39 | 2012-11-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.58833 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl | 0.6 | HEXAZINONE | . | 0.012 | 0.353 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58833 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.48167 | 0.094178 | 0.44667 | 0.17833 | 0.1322
HEXAZINONE | 2033 | 04025GCM39 | 2013-02-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.41 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl | 0.12 | HEXAZINONE | . | 0.012 | 0.0492 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.41 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.48167 | 0.094178 | 0.44667 | 0.17833 | 0.1322
HEXAZINONE | 2033 | 04025GCM39 | 2013-04-02 | 2011-10-01 | 2050-09-30 | ug/L | 0.44667 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl | 0.3 | HEXAZINONE | . | 0.012 | 0.134 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.44667 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.48167 | 0.094178 | 0.44667 | 0.17833 | 0.1322
HEXAZINONE | 2033 | 04025GCM39 | 2013-09-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.4195 | Spex Organics, ERA | T1130514013, 0318-13-02.2 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl | 0.2 | HEXAZINONE | . | 0.012 | 0.0839 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4195 | SpT114013, ER03102.2 | Sp | ER | ER | T114013 | 03102.2 | 03102.2 | T114013 | 03102.2 | 03102.2 | Y | Recoverable Result | Y | 2 |  | 1 | 0.4195 |  | 0.4195 | 0 | 0
HEXAZINONE | 2033 | 04025GCM39 | 2013-11-09 | 2011-10-01 | 2050-09-30 | ug/L | 0.76693 | Spex Organics, Supelco | T1130514013, LB99392 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl | 0.04016 | HEXAZINONE | . | 0.012 | 0.0308 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76693 | SpT114013, SuLB99392 | Sp | Su | Su | T114013 | LB99392 | LB99392 | T114013 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.76693 |  | 0.76693 | 0 | 0
HEXAZINONE | 2033 | 04025GCM39 | 2012-10-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.42 | Supelco, Abs | LB92783, 052412 | Supelco LB92783: 50 µl & Abs 052412: 50 µl | 0.3 | HEXAZINONE | . | 0.012 | 0.126 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.42 | SuLB92783, Ab052412 | Su | Ab | Ab | LB92783 | 052412 | 052412 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.44667 | 0.037712 | 0.44667 | 0.053333 | 0.039535
HEXAZINONE | 2033 | 04025GCM39 | 2013-01-17 | 2011-10-01 | 2050-09-30 | ug/L | 0.47333 | Supelco, Abs | LB92783, 052412 | Supelco LB92783: 50 µl & Abs 052412: 50 µl | 0.3 | HEXAZINONE | . | 0.012 | 0.142 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.47333 | SuLB92783, Ab052412 | Su | Ab | Ab | LB92783 | 052412 | 052412 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.44667 | 0.037712 | 0.44667 | 0.053333 | 0.039535
HEXAZINONE | 2033 | 04025GCM39 | 2013-11-23 | 2011-10-01 | 2050-09-30 | ug/L | 0.70468 | Supelco, Abs, Crescent | LB99392, 042413, 10802AL | Supelco LB99392: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl | 0.04016 | HEXAZINONE | . | 0.012 | 0.0283 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70468 | SuLB99392, Ab042413, Cr10802AL | Su | Ab | Cr | LB99392 | 042413 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.70468 |  | 0.70468 | 0 | 0
HEXAZINONE | 2033 | 04025GCM39 | 2013-08-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.45916 | Supelco, Crescent | LB99392, 04CC101 | Supelco LB99392: 50 µl & Crescent 04CC101: 50 µl | 0.1004 | HEXAZINONE | . | 0.012 | 0.0461 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.45916 | SuLB99392, Cr04CC101 | Su | Cr | Cr | LB99392 | 04CC101 | 04CC101 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.45916 |  | 0.45916 | 0 | 0