## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
IPRODIONE | 2033 | 61593GCM39 | 2012-12-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.93227 | Abs, ERA | 052412, 0507-12-04.2 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl | 0.251 | IPRODIONE | E | 0.014 | 0.234 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93227 | Ab052412, ER05004.2 | Ab | ER | ER | 052412 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Estimated Values | Y | 2 | Y | 2 | 0.86454 | 0.095783 | 0.86454 | 0.13546 | 0.10041
IPRODIONE | 2033 | 61593GCM39 | 2013-04-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.79681 | Abs, ERA | 052412, 0507-12-04.2 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl | 0.1255 | IPRODIONE | E | 0.014 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79681 | Ab052412, ER05004.2 | Ab | ER | ER | 052412 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Estimated Values | Y | 2 | Y | 2 | 0.86454 | 0.095783 | 0.86454 | 0.13546 | 0.10041
IPRODIONE | 2033 | 61593GCM39 | 2012-08-14 | 2010-10-01 | 2050-09-30 | ug/L | 1.2121 | Abs, Supelco | 052412, LB92783 | Abs 052412: 20 µl & Supelco LB92783: 20 µl | 0.05008 | IPRODIONE | E | 0.014 | 0.0607 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2121 | Ab052412, SuLB92783 | Ab | Su | Su | 052412 | LB92783 | LB92783 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 1.2121 |  | 1.2121 | 0 | 0
IPRODIONE | 2033 | 61593GCM39 | 2013-07-11 | 2010-10-01 | 2050-09-30 | ug/L | 0.6754 | ChemService, ERA | 1473000, 0318-13-02.2 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl | 0.0496 | IPRODIONE | E | 0.014 | 0.0335 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6754 | Ch1473000, ER03102.2 | Ch | ER | ER | 1473000 | 03102.2 | 03102.2 |  | 03102.2 | 03102.2 | Y | Estimated Values | Y | 2 | Y | 1 | 0.6754 |  | 0.6754 | 0 | 0
IPRODIONE | 2033 | 61593GCM39 | 2013-06-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.912 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl | 0.125 | IPRODIONE | E | 0.014 | 0.114 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.912 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.877 | 0.049497 | 0.877 | 0.07 | 0.05189
IPRODIONE | 2033 | 61593GCM39 | 2014-01-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.842 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl | 0.05 | IPRODIONE | E | 0.014 | 0.0421 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.842 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.877 | 0.049497 | 0.877 | 0.07 | 0.05189
IPRODIONE | 2033 | 61593GCM39 | 2009-08-12 | 2008-10-01 | 2009-09-30 | ug/L | 0.82003 | ChemService | 406-99B | ChemService 406-99B: 25 µl | 0.15365 | IPRODIONE | E | 0.014 | 0.126 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82003 | ChemService 406-99B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.94392 | 0.17522 | 0.94392 | 0.24779 | 0.18369
IPRODIONE | 2033 | 61593GCM39 | 2009-12-01 | 2009-10-01 | 2010-09-30 | ug/L | 1.0678 | ChemService | 406-99B | ChemService 406-99B: 25 µl | 0.15639 | IPRODIONE | E | 0.014 | 0.167 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0678 | ChemService 406-99B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.94392 | 0.17522 | 0.94392 | 0.24779 | 0.18369
IPRODIONE | 2033 | 61593GCM39 | 2012-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.9502 | Crescent, ERA | 05BB029, 0507-12-04.2 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl | 0.0502 | IPRODIONE | E | 0.014 | 0.0477 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9502 | Cr05BB029, ER05004.2 | Cr | ER | ER | 05BB029 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Estimated Values | Y | 2 | Y | 2 | 0.94522 | 0.0070429 | 0.94522 | 0.0099602 | 0.0073834
IPRODIONE | 2033 | 61593GCM39 | 2013-03-07 | 2010-10-01 | 2050-09-30 | ug/L | 0.94024 | Crescent, ERA | 05BB029, 0507-12-04.2 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl | 0.0502 | IPRODIONE | E | 0.014 | 0.0472 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94024 | Cr05BB029, ER05004.2 | Cr | ER | ER | 05BB029 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Estimated Values | Y | 2 | Y | 2 | 0.94522 | 0.0070429 | 0.94522 | 0.0099602 | 0.0073834
IPRODIONE | 2033 | 61593GCM39 | 2013-09-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.80645 | ERA, Abs, Crescent | 0318-13-02.2, 042413, 10802AL | ERA 0318-13-02.2: 50 µl & Abs 042413: 50 µl & Crescent 10802AL: 10 µl | 0.124 | IPRODIONE | E | 0.014 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80645 | ER03102.2, Ab042413, Cr10802AL | ER | Ab | Cr | 03102.2 | 042413 | 10802AL | 03102.2 |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.81452 | 0.011405 | 0.81452 | 0.016129 | 0.011956
IPRODIONE | 2033 | 61593GCM39 | 2014-01-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.82258 | ERA, Abs, Crescent | 0318-13-02.2, 042413, 10802AL | ERA 0318-13-02.2: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl | 0.0496 | IPRODIONE | E | 0.014 | 0.0408 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82258 | ER03102.2, Ab042413, Cr10802AL | ER | Ab | Cr | 03102.2 | 042413 | 10802AL | 03102.2 |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.81452 | 0.011405 | 0.81452 | 0.016129 | 0.011956
IPRODIONE | 2033 | 61593GCM39 | 2013-06-11 | 2010-10-01 | 2050-09-30 | ug/L | 0.96774 | ERA, Crescent | 0318-13-02.2, 04CC101 | ERA 0318-13-02.2: 20 µl & Crescent 04CC101: 20 µl | 0.0496 | IPRODIONE | E | 0.014 | 0.048 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96774 | ER03102.2, Cr04CC101 | ER | Cr | Cr | 03102.2 | 04CC101 | 04CC101 | 03102.2 |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.96774 |  | 0.96774 | 0 | 0
IPRODIONE | 2033 | 61593GCM39 | 2011-09-13 | 2010-10-01 | 2050-09-30 | ug/L | 0.36694 | ERA | 0318-13-02.2 | ERA 0318-13-02.2: 40 µl | 0.0992 | IPRODIONE | E | 0.014 | 0.0364 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.36694 | ERA 0318-13-02.2 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 0.36694 |  | 0.36694 | 0 | 0
IPRODIONE | 2033 | 61593GCM39 | 2012-10-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.83665 | ERA | 0507-12-04.2 | ERA 0507-12-04.2: 50 µl | 0.1255 | IPRODIONE | E | 0.014 | 0.105 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83665 | ERA 0507-12-04.2 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 0.83665 |  | 0.83665 | 0 | 0
IPRODIONE | 2033 | 61593GCM39 | 2009-09-16 | 2008-10-01 | 2009-09-30 | ug/L | 0.59481 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 25 µl | 0.15803 | IPRODIONE | E | 0.014 | 0.094 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59481 | ERA 0804-08-02PEST | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.67115 | 0.091916 | 0.64259 | 0.111 | 0.082285
IPRODIONE | 2033 | 61593GCM39 | 2009-11-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.80461 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 40 µl | 0.25105 | IPRODIONE | E | 0.014 | 0.202 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80461 | ERA 0804-08-02PEST | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.67115 | 0.091916 | 0.64259 | 0.111 | 0.082285
IPRODIONE | 2033 | 61593GCM39 | 2010-01-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.63649 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 25 µl | 0.15711 | IPRODIONE | E | 0.014 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63649 | ERA 0804-08-02PEST | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.67115 | 0.091916 | 0.64259 | 0.111 | 0.082285
IPRODIONE | 2033 | 61593GCM39 | 2010-01-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.64869 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 40 µl | 0.24203 | IPRODIONE | E | 0.014 | 0.157 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64869 | ERA 0804-08-02PEST | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.67115 | 0.091916 | 0.64259 | 0.111 | 0.082285
IPRODIONE | 2033 | 61593GCM39 | 2011-01-13 | 2010-10-01 | 2050-09-30 | ug/L | 0.83849 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 80 µl | 0.058319 | IPRODIONE | E | 0.014 | 0.0489 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83849 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 10 | 0.78194 | 0.15835 | 0.74582 | 0.11202 | 0.083041
IPRODIONE | 2033 | 61593GCM39 | 2011-02-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.78916 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.028765 | IPRODIONE | E | 0.014 | 0.0227 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78916 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 10 | 0.78194 | 0.15835 | 0.74582 | 0.11202 | 0.083041
IPRODIONE | 2033 | 61593GCM39 | 2011-02-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.62955 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 80 µl | 0.058296 | IPRODIONE | E | 0.014 | 0.0367 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62954 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 10 | 0.78194 | 0.15835 | 0.74582 | 0.11202 | 0.083041
IPRODIONE | 2033 | 61593GCM39 | 2011-04-13 | 2010-10-01 | 2050-09-30 | ug/L | 0.75601 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.029497 | IPRODIONE | E | 0.014 | 0.0223 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75601 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 10 | 0.78194 | 0.15835 | 0.74582 | 0.11202 | 0.083041
IPRODIONE | 2033 | 61593GCM39 | 2011-06-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.73564 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.029634 | IPRODIONE | E | 0.014 | 0.0218 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73564 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 10 | 0.78194 | 0.15835 | 0.74582 | 0.11202 | 0.083041
IPRODIONE | 2033 | 61593GCM39 | 2011-07-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.93111 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.02932 | IPRODIONE | E | 0.014 | 0.0273 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93111 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 10 | 0.78194 | 0.15835 | 0.74582 | 0.11202 | 0.083041
IPRODIONE | 2033 | 61593GCM39 | 2011-10-25 | 2010-10-01 | 2050-09-30 | ug/L | 0.72988 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.02932 | IPRODIONE | E | 0.014 | 0.0214 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72988 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 10 | 0.78194 | 0.15835 | 0.74582 | 0.11202 | 0.083041
IPRODIONE | 2033 | 61593GCM39 | 2011-12-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.55764 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 80 µl | 0.05864 | IPRODIONE | E | 0.014 | 0.0327 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55764 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 10 | 0.78194 | 0.15835 | 0.74582 | 0.11202 | 0.083041
IPRODIONE | 2033 | 61593GCM39 | 2012-03-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.72647 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.02932 | IPRODIONE | E | 0.014 | 0.0213 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72647 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 10 | 0.78194 | 0.15835 | 0.74582 | 0.11202 | 0.083041
IPRODIONE | 2033 | 61593GCM39 | 2012-05-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.1255 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.02932 | IPRODIONE | E | 0.014 | 0.033 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1255 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 10 | 0.78194 | 0.15835 | 0.74582 | 0.11202 | 0.083041
IPRODIONE | 2033 | 61593GCM39 | 2009-09-03 | 2008-10-01 | 2009-09-30 | ug/L | 0.28218 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | IPRODIONE | E | 0.014 | 0.021 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.28218 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 0.28218 |  | 0.28218 | 0 | 0
IPRODIONE | 2033 | 61593GCM39 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.50539 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | IPRODIONE | E | 0.014 | 0.0196 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50539 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.70524 | 0.17344 | 0.79399 | 0.31094 | 0.2305
IPRODIONE | 2033 | 61593GCM39 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.81633 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | IPRODIONE | E | 0.014 | 0.0331 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81633 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.70524 | 0.17344 | 0.79399 | 0.31094 | 0.2305
IPRODIONE | 2033 | 61593GCM39 | 2010-12-16 | 2010-10-01 | 2050-09-30 | ug/L | 0.79399 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | IPRODIONE | E | 0.014 | 0.0321 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79399 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.70524 | 0.17344 | 0.79399 | 0.31094 | 0.2305
IPRODIONE | 2033 | 61593GCM39 | 2011-01-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.84206 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | IPRODIONE | E | 0.014 | 0.0848 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84206 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.44418 | 0.37774 | 0.4 | 0.7516 | 0.55715
IPRODIONE | 2033 | 61593GCM39 | 2011-03-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.4 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 25 µl | 0.02475 | IPRODIONE | E | 0.014 | 0.0099 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.44418 | 0.37774 | 0.4 | 0.7516 | 0.55715
IPRODIONE | 2033 | 61593GCM39 | 2011-04-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.090468 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.099483 | IPRODIONE | E | 0.014 | 0.009 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.090468 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.44418 | 0.37774 | 0.4 | 0.7516 | 0.55715
IPRODIONE | 2033 | 61593GCM39 | 2012-07-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.96446 | Restek, Supelco | A088380, LB92783 | Restek A088380: 20 µl & Supelco LB92783: 20 µl | 0.05008 | IPRODIONE | E | 0.014 | 0.0483 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96446 | ReA088380, SuLB92783 | Re | Su | Su | A088380 | LB92783 | LB92783 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.96446 |  | 0.96446 | 0 | 0
IPRODIONE | 2033 | 61593GCM39 | 2012-09-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.86056 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl | 0.0502 | IPRODIONE | E | 0.014 | 0.0432 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86056 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Estimated Values | Y | 2 | Y | 2 | 0.76534 | 0.13466 | 0.76534 | 0.19044 | 0.14117
IPRODIONE | 2033 | 61593GCM39 | 2013-01-15 | 2010-10-01 | 2050-09-30 | ug/L | 0.67012 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl | 0.1255 | IPRODIONE | E | 0.014 | 0.0841 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67012 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Estimated Values | Y | 2 | Y | 2 | 0.76534 | 0.13466 | 0.76534 | 0.19044 | 0.14117
IPRODIONE | 2033 | 61593GCM39 | 2012-11-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.71086 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl | 0.2504 | IPRODIONE | E | 0.014 | 0.178 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71086 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Estimated Values | Y | 2 | Y | 3 | 0.64018 | 0.075232 | 0.64856 | 0.14976 | 0.11102
IPRODIONE | 2033 | 61593GCM39 | 2013-02-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.5611 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl | 0.05008 | IPRODIONE | E | 0.014 | 0.0281 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5611 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Estimated Values | Y | 2 | Y | 3 | 0.64018 | 0.075232 | 0.64856 | 0.14976 | 0.11102
IPRODIONE | 2033 | 61593GCM39 | 2013-04-02 | 2010-10-01 | 2050-09-30 | ug/L | 0.64856 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl | 0.1252 | IPRODIONE | E | 0.014 | 0.0812 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64856 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Estimated Values | Y | 2 | Y | 3 | 0.64018 | 0.075232 | 0.64856 | 0.14976 | 0.11102
IPRODIONE | 2033 | 61593GCM39 | 2013-09-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.59677 | Spex Organics, ERA | T1130514013, 0318-13-02.2 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl | 0.248 | IPRODIONE | E | 0.014 | 0.148 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59677 | SpT114013, ER03102.2 | Sp | ER | ER | T114013 | 03102.2 | 03102.2 | T114013 | 03102.2 | 03102.2 | Y | Estimated Values | Y | 2 | Y | 1 | 0.59677 |  | 0.59677 | 0 | 0
IPRODIONE | 2033 | 61593GCM39 | 2013-11-09 | 2010-10-01 | 2050-09-30 | ug/L | 1.112 | Spex Organics, Supelco | T1130514013, LB99392 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl | 0.05 | IPRODIONE | E | 0.014 | 0.0556 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.112 | SpT114013, SuLB99392 | Sp | Su | Su | T114013 | LB99392 | LB99392 | T114013 |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 1.112 |  | 1.112 | 0 | 0
IPRODIONE | 2033 | 61593GCM39 | 2011-01-11 | 2010-10-01 | 2050-09-30 | ug/L | 0.89611 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.055462 | IPRODIONE | E | 0.014 | 0.0497 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89611 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.7901 | 0.089981 | 0.80894 | 0.11071 | 0.082071
IPRODIONE | 2033 | 61593GCM39 | 2011-01-21 | 2010-10-01 | 2050-09-30 | ug/L | 0.84105 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.027941 | IPRODIONE | E | 0.014 | 0.0235 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84105 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.7901 | 0.089981 | 0.80894 | 0.11071 | 0.082071
IPRODIONE | 2033 | 61593GCM39 | 2011-02-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.75729 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.028127 | IPRODIONE | E | 0.014 | 0.0213 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75729 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.7901 | 0.089981 | 0.80894 | 0.11071 | 0.082071
IPRODIONE | 2033 | 61593GCM39 | 2011-03-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.87862 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.02743 | IPRODIONE | E | 0.014 | 0.0241 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87862 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.7901 | 0.089981 | 0.80894 | 0.11071 | 0.082071
IPRODIONE | 2033 | 61593GCM39 | 2011-05-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.80894 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.028309 | IPRODIONE | E | 0.014 | 0.0229 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80894 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.7901 | 0.089981 | 0.80894 | 0.11071 | 0.082071
IPRODIONE | 2033 | 61593GCM39 | 2011-07-07 | 2010-10-01 | 2050-09-30 | ug/L | 0.85 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.056 | IPRODIONE | E | 0.014 | 0.0476 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.7901 | 0.089981 | 0.80894 | 0.11071 | 0.082071
IPRODIONE | 2033 | 61593GCM39 | 2011-09-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.74643 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.028 | IPRODIONE | E | 0.014 | 0.0209 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74643 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.7901 | 0.089981 | 0.80894 | 0.11071 | 0.082071
IPRODIONE | 2033 | 61593GCM39 | 2011-09-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.64643 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.056 | IPRODIONE | E | 0.014 | 0.0362 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64643 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.7901 | 0.089981 | 0.80894 | 0.11071 | 0.082071
IPRODIONE | 2033 | 61593GCM39 | 2011-11-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.71429 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.028 | IPRODIONE | E | 0.014 | 0.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71429 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.7901 | 0.089981 | 0.80894 | 0.11071 | 0.082071
IPRODIONE | 2033 | 61593GCM39 | 2011-12-21 | 2010-10-01 | 2050-09-30 | ug/L | 0.74286 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.056 | IPRODIONE | E | 0.014 | 0.0416 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74286 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.7901 | 0.089981 | 0.80894 | 0.11071 | 0.082071
IPRODIONE | 2033 | 61593GCM39 | 2012-01-27 | 2010-10-01 | 2050-09-30 | ug/L | 0.63571 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.056 | IPRODIONE | E | 0.014 | 0.0356 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63571 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.7901 | 0.089981 | 0.80894 | 0.11071 | 0.082071
IPRODIONE | 2033 | 61593GCM39 | 2012-04-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.85357 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.028 | IPRODIONE | E | 0.014 | 0.0239 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85357 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.7901 | 0.089981 | 0.80894 | 0.11071 | 0.082071
IPRODIONE | 2033 | 61593GCM39 | 2012-06-02 | 2010-10-01 | 2050-09-30 | ug/L | 0.9 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.028 | IPRODIONE | E | 0.014 | 0.0252 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.7901 | 0.089981 | 0.80894 | 0.11071 | 0.082071
IPRODIONE | 2033 | 61593GCM39 | 2012-10-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.84665 | Supelco, Abs | LB92783, 052412 | Supelco LB92783: 50 µl & Abs 052412: 50 µl | 0.1252 | IPRODIONE | E | 0.014 | 0.106 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84665 | SuLB92783, Ab052412 | Su | Ab | Ab | LB92783 | 052412 | 052412 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.91454 | 0.096013 | 0.91454 | 0.13578 | 0.10065
IPRODIONE | 2033 | 61593GCM39 | 2013-01-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.98243 | Supelco, Abs | LB92783, 052412 | Supelco LB92783: 50 µl & Abs 052412: 50 µl | 0.1252 | IPRODIONE | E | 0.014 | 0.123 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98243 | SuLB92783, Ab052412 | Su | Ab | Ab | LB92783 | 052412 | 052412 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.91454 | 0.096013 | 0.91454 | 0.13578 | 0.10065
IPRODIONE | 2033 | 61593GCM39 | 2013-11-23 | 2010-10-01 | 2050-09-30 | ug/L | 1.222 | Supelco, Abs, Crescent | LB99392, 042413, 10802AL | Supelco LB99392: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl | 0.05 | IPRODIONE | E | 0.014 | 0.0611 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.222 | SuLB99392, Ab042413, Cr10802AL | Su | Ab | Cr | LB99392 | 042413 | 10802AL |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 1.222 |  | 1.222 | 0 | 0
IPRODIONE | 2033 | 61593GCM39 | 2013-08-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.832 | Supelco, Crescent | LB99392, 04CC101 | Supelco LB99392: 50 µl & Crescent 04CC101: 50 µl | 0.125 | IPRODIONE | E | 0.014 | 0.104 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.832 | SuLB99392, Cr04CC101 | Su | Cr | Cr | LB99392 | 04CC101 | 04CC101 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.832 |  | 0.832 | 0 | 0
IPRODIONE | 2033 | 61593GCM39 | 2010-02-06 | 2009-10-01 | 2010-09-30 | ug/L | 0.3002 | Supelco | LB69639 | Supelco LB69639: 20 µl | 0.062958 | IPRODIONE | E | 0.014 | 0.0189 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.3002 | Supelco LB69639 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 0.3002 |  | 0.3002 | 0 | 0