## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
MALATHION | 2033 | 39532GCM35 | 2012-12-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.90789 | Abs, ERA | 052412, 0507-12-04.2 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl | 0.152 | MALATHION | . | 0.016 | 0.138 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90789 | Ab052412, ER05004.2 | Ab | ER | ER | 052412 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.81447 | 0.13212 | 0.81447 | 0.18684 | 0.1385
MALATHION | 2033 | 39532GCM35 | 2013-04-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.72105 | Abs, ERA | 052412, 0507-12-04.2 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl | 0.076 | MALATHION | . | 0.016 | 0.0548 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72105 | Ab052412, ER05004.2 | Ab | ER | ER | 052412 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.81447 | 0.13212 | 0.81447 | 0.18684 | 0.1385
MALATHION | 2033 | 39532GCM35 | 2012-08-14 | 2010-10-01 | 2050-09-30 | ug/L | 1.02 | Abs, Supelco | 052412, LB92783 | Abs 052412: 20 µl & Supelco LB92783: 20 µl | 0.03 | MALATHION | . | 0.016 | 0.0306 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.02 | Ab052412, SuLB92783 | Ab | Su | Su | 052412 | LB92783 | LB92783 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.02 |  | 1.02 | 0 | 0
MALATHION | 2033 | 39532GCM35 | 2013-07-11 | 2010-10-01 | 2050-09-30 | ug/L | 0.78333 | ChemService, ERA | 1473000, 0318-13-02.2 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl | 0.03 | MALATHION | . | 0.016 | 0.0235 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78333 | Ch1473000, ER03102.2 | Ch | ER | ER | 1473000 | 03102.2 | 03102.2 |  | 03102.2 | 03102.2 | Y | Recoverable Result | Y | 2 |  | 1 | 0.78333 |  | 0.78333 | 0 | 0
MALATHION | 2033 | 39532GCM35 | 2013-06-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.2021 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl | 0.0752 | MALATHION | . | 0.016 | 0.0904 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2021 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0748 | 0.18007 | 1.0748 | 0.25465 | 0.18877
MALATHION | 2033 | 39532GCM35 | 2014-01-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.94747 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl | 0.03008 | MALATHION | . | 0.016 | 0.0285 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94747 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0748 | 0.18007 | 1.0748 | 0.25465 | 0.18877
MALATHION | 2033 | 39532GCM35 | 2012-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.95066 | Crescent, ERA | 05BB029, 0507-12-04.2 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl | 0.0304 | MALATHION | . | 0.016 | 0.0289 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95066 | Cr05BB029, ER05004.2 | Cr | ER | ER | 05BB029 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.8898 | 0.086062 | 0.8898 | 0.12171 | 0.090223
MALATHION | 2033 | 39532GCM35 | 2013-03-07 | 2010-10-01 | 2050-09-30 | ug/L | 0.82895 | Crescent, ERA | 05BB029, 0507-12-04.2 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl | 0.0304 | MALATHION | . | 0.016 | 0.0252 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82895 | Cr05BB029, ER05004.2 | Cr | ER | ER | 05BB029 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.8898 | 0.086062 | 0.8898 | 0.12171 | 0.090223
MALATHION | 2033 | 39532GCM35 | 2013-09-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.89333 | ERA, Abs, Crescent | 0318-13-02.2, 042413, 10802AL | ERA 0318-13-02.2: 50 µl & Abs 042413: 50 µl & Crescent 10802AL: 10 µl | 0.075 | MALATHION | . | 0.016 | 0.067 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89333 | ER03102.2, Ab042413, Cr10802AL | ER | Ab | Cr | 03102.2 | 042413 | 10802AL | 03102.2 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.775 | 0.16735 | 0.775 | 0.23667 | 0.17544
MALATHION | 2033 | 39532GCM35 | 2014-01-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.65667 | ERA, Abs, Crescent | 0318-13-02.2, 042413, 10802AL | ERA 0318-13-02.2: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl | 0.03 | MALATHION | . | 0.016 | 0.0197 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65667 | ER03102.2, Ab042413, Cr10802AL | ER | Ab | Cr | 03102.2 | 042413 | 10802AL | 03102.2 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.775 | 0.16735 | 0.775 | 0.23667 | 0.17544
MALATHION | 2033 | 39532GCM35 | 2013-06-11 | 2010-10-01 | 2050-09-30 | ug/L | 0.75667 | ERA, Crescent | 0318-13-02.2, 04CC101 | ERA 0318-13-02.2: 20 µl & Crescent 04CC101: 20 µl | 0.03 | MALATHION | . | 0.016 | 0.0227 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75667 | ER03102.2, Cr04CC101 | ER | Cr | Cr | 03102.2 | 04CC101 | 04CC101 | 03102.2 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.75667 |  | 0.75667 | 0 | 0
MALATHION | 2033 | 39532GCM35 | 2011-09-13 | 2010-10-01 | 2050-09-30 | ug/L | 0.88833 | ERA | 0318-13-02.2 | ERA 0318-13-02.2: 40 µl | 0.06 | MALATHION | . | 0.016 | 0.0533 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88833 | ERA 0318-13-02.2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.88833 |  | 0.88833 | 0 | 0
MALATHION | 2033 | 39532GCM35 | 2012-10-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.93026 | ERA | 0507-12-04.2 | ERA 0507-12-04.2: 50 µl | 0.076 | MALATHION | . | 0.016 | 0.0707 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93026 | ERA 0507-12-04.2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.93026 |  | 0.93026 | 0 | 0
MALATHION | 2033 | 39532GCM35 | 2011-01-13 | 2010-10-01 | 2050-09-30 | ug/L | 1.0452 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 80 µl | 0.068503 | MALATHION | . | 0.016 | 0.0716 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0452 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.90574 | 0.16487 | 0.84727 | 0.23908 | 0.17723
MALATHION | 2033 | 39532GCM35 | 2011-02-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.8583 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.033788 | MALATHION | . | 0.016 | 0.029 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8583 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.90574 | 0.16487 | 0.84727 | 0.23908 | 0.17723
MALATHION | 2033 | 39532GCM35 | 2011-02-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.80612 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 80 µl | 0.068476 | MALATHION | . | 0.016 | 0.0552 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80612 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.90574 | 0.16487 | 0.84727 | 0.23908 | 0.17723
MALATHION | 2033 | 39532GCM35 | 2011-04-13 | 2010-10-01 | 2050-09-30 | ug/L | 0.71866 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.034648 | MALATHION | . | 0.016 | 0.0249 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71866 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.90574 | 0.16487 | 0.84727 | 0.23908 | 0.17723
MALATHION | 2033 | 39532GCM35 | 2011-06-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.90494 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.034809 | MALATHION | . | 0.016 | 0.0315 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90494 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.90574 | 0.16487 | 0.84727 | 0.23908 | 0.17723
MALATHION | 2033 | 39532GCM35 | 2011-07-28 | 2010-10-01 | 2050-09-30 | ug/L | 1.0569 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.03444 | MALATHION | . | 0.016 | 0.0364 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0569 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.90574 | 0.16487 | 0.84727 | 0.23908 | 0.17723
MALATHION | 2033 | 39532GCM35 | 2011-10-25 | 2010-10-01 | 2050-09-30 | ug/L | 0.81301 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.03444 | MALATHION | . | 0.016 | 0.028 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81301 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.90574 | 0.16487 | 0.84727 | 0.23908 | 0.17723
MALATHION | 2033 | 39532GCM35 | 2011-12-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.76365 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 80 µl | 0.06888 | MALATHION | . | 0.016 | 0.0526 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76365 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.90574 | 0.16487 | 0.84727 | 0.23908 | 0.17723
MALATHION | 2033 | 39532GCM35 | 2012-03-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.83624 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.03444 | MALATHION | . | 0.016 | 0.0288 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83624 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.90574 | 0.16487 | 0.84727 | 0.23908 | 0.17723
MALATHION | 2033 | 39532GCM35 | 2012-05-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.2544 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.03444 | MALATHION | . | 0.016 | 0.0432 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2544 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.90574 | 0.16487 | 0.84727 | 0.23908 | 0.17723
MALATHION | 2033 | 39532GCM35 | 2009-09-03 | 2008-10-01 | 2009-09-30 | ug/L | 0.9003 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | MALATHION | . | 0.02 | 0.067 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9003 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.9003 |  | 0.9003 | 0 | 0
MALATHION | 2033 | 39532GCM35 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.80965 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | MALATHION | . | 0.016 | 0.0314 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80965 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.96054 | 0.15518 | 0.9523 | 0.31003 | 0.22982
MALATHION | 2033 | 39532GCM35 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 1.1197 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | MALATHION | . | 0.016 | 0.0454 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1197 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.96054 | 0.15518 | 0.9523 | 0.31003 | 0.22982
MALATHION | 2033 | 39532GCM35 | 2010-12-16 | 2010-10-01 | 2050-09-30 | ug/L | 0.9523 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | MALATHION | . | 0.016 | 0.0385 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9523 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.96054 | 0.15518 | 0.9523 | 0.31003 | 0.22982
MALATHION | 2033 | 39532GCM35 | 2011-01-20 | 2010-10-01 | 2050-09-30 | ug/L | 1.0129 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | MALATHION | . | 0.016 | 0.102 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0129 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.89605 | 0.12652 | 0.92061 | 0.19449 | 0.14417
MALATHION | 2033 | 39532GCM35 | 2011-03-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.97374 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 25 µl | 0.02475 | MALATHION | . | 0.016 | 0.0241 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97374 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.89605 | 0.12652 | 0.92061 | 0.19449 | 0.14417
MALATHION | 2033 | 39532GCM35 | 2011-04-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.86749 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.099483 | MALATHION | . | 0.016 | 0.0863 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86749 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.89605 | 0.12652 | 0.92061 | 0.19449 | 0.14417
MALATHION | 2033 | 39532GCM35 | 2011-06-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.73013 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 75 µl | 0.074096 | MALATHION | . | 0.016 | 0.0541 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73013 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.89605 | 0.12652 | 0.92061 | 0.19449 | 0.14417
MALATHION | 2033 | 39532GCM35 | 2012-07-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.95667 | Restek, Supelco | A088380, LB92783 | Restek A088380: 20 µl & Supelco LB92783: 20 µl | 0.03 | MALATHION | . | 0.016 | 0.0287 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95667 | ReA088380, SuLB92783 | Re | Su | Su | A088380 | LB92783 | LB92783 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.95667 |  | 0.95667 | 0 | 0
MALATHION | 2033 | 39532GCM35 | 2009-08-25 | 2008-10-01 | 2009-09-30 | ug/L | 1.1186 | Restek | A063025 | Restek A063025: 40 µl | 0.067048 | MALATHION | . | 0.02 | 0.075 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1186 | Restek A063025 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.1012 | 0.024577 | 1.1012 | 0.034757 | 0.025765
MALATHION | 2033 | 39532GCM35 | 2009-12-11 | 2009-10-01 | 2010-09-30 | ug/L | 1.0838 | Restek | A063025 | Restek A063025: 25 µl | 0.041519 | MALATHION | . | 0.016 | 0.045 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0838 | Restek A063025 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.1012 | 0.024577 | 1.1012 | 0.034757 | 0.025765
MALATHION | 2033 | 39532GCM35 | 2012-09-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.91447 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl | 0.0304 | MALATHION | . | 0.016 | 0.0278 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91447 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.80263 | 0.15817 | 0.80263 | 0.22368 | 0.16581
MALATHION | 2033 | 39532GCM35 | 2013-01-15 | 2010-10-01 | 2050-09-30 | ug/L | 0.69079 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl | 0.076 | MALATHION | . | 0.016 | 0.0525 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69079 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.80263 | 0.15817 | 0.80263 | 0.22368 | 0.16581
MALATHION | 2033 | 39532GCM35 | 2012-11-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.72667 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl | 0.15 | MALATHION | . | 0.016 | 0.109 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72667 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.69489 | 0.056199 | 0.72667 | 0.098 | 0.072646
MALATHION | 2033 | 39532GCM35 | 2013-02-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.63 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl | 0.03 | MALATHION | . | 0.016 | 0.0189 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.69489 | 0.056199 | 0.72667 | 0.098 | 0.072646
MALATHION | 2033 | 39532GCM35 | 2013-04-02 | 2010-10-01 | 2050-09-30 | ug/L | 0.728 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl | 0.075 | MALATHION | . | 0.016 | 0.0546 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.728 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.69489 | 0.056199 | 0.72667 | 0.098 | 0.072646
MALATHION | 2033 | 39532GCM35 | 2013-09-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.84 | Spex Organics, ERA | T1130514013, 0318-13-02.2 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl | 0.15 | MALATHION | . | 0.016 | 0.126 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84 | SpT114013, ER03102.2 | Sp | ER | ER | T114013 | 03102.2 | 03102.2 | T114013 | 03102.2 | 03102.2 | Y | Recoverable Result | Y | 2 |  | 1 | 0.84 |  | 0.84 | 0 | 0
MALATHION | 2033 | 39532GCM35 | 2013-11-09 | 2010-10-01 | 2050-09-30 | ug/L | 1.3331 | Spex Organics, Supelco | T1130514013, LB99392 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl | 0.03008 | MALATHION | . | 0.016 | 0.0401 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3331 | SpT114013, SuLB99392 | Sp | Su | Su | T114013 | LB99392 | LB99392 | T114013 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.3331 |  | 1.3331 | 0 | 0
MALATHION | 2033 | 39532GCM35 | 2010-06-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.82336 | Spex Organics | T1090901009 | Spex Organics T1090901009: 20 µl | 0.060241 | MALATHION | . | 0.016 | 0.0496 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82336 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.7662 | 0.15859 | 0.75788 | 0.24797 | 0.18382
MALATHION | 2033 | 39532GCM35 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.957 | Spex Organics | T1090901009 | Spex Organics T1090901009: 100 µl | 0.30303 | MALATHION | . | 0.016 | 0.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.957 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.7662 | 0.15859 | 0.75788 | 0.24797 | 0.18382
MALATHION | 2033 | 39532GCM35 | 2010-09-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.69239 | Spex Organics | T1090901009 | Spex Organics T1090901009: 20 µl | 0.061237 | MALATHION | . | 0.016 | 0.0424 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69239 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.7662 | 0.15859 | 0.75788 | 0.24797 | 0.18382
MALATHION | 2033 | 39532GCM35 | 2010-12-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.59203 | Spex Organics | T1090901009 | Spex Organics T1090901009: 40 µl | 0.1233 | MALATHION | . | 0.016 | 0.073 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59203 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.7662 | 0.15859 | 0.75788 | 0.24797 | 0.18382
MALATHION | 2033 | 39532GCM35 | 2011-01-11 | 2010-10-01 | 2050-09-30 | ug/L | 1.1149 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.095078 | MALATHION | . | 0.016 | 0.106 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1149 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.96584 | 0.14406 | 0.96458 | 0.14271 | 0.10579
MALATHION | 2033 | 39532GCM35 | 2011-01-21 | 2010-10-01 | 2050-09-30 | ug/L | 1.0125 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.047899 | MALATHION | . | 0.016 | 0.0485 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0125 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.96584 | 0.14406 | 0.96458 | 0.14271 | 0.10579
MALATHION | 2033 | 39532GCM35 | 2011-02-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.7964 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.048217 | MALATHION | . | 0.016 | 0.0384 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7964 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.96584 | 0.14406 | 0.96458 | 0.14271 | 0.10579
MALATHION | 2033 | 39532GCM35 | 2011-03-23 | 2010-10-01 | 2050-09-30 | ug/L | 1.0697 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.047022 | MALATHION | . | 0.016 | 0.0503 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0697 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.96584 | 0.14406 | 0.96458 | 0.14271 | 0.10579
MALATHION | 2033 | 39532GCM35 | 2011-05-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.77067 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.048529 | MALATHION | . | 0.016 | 0.0374 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77067 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.96584 | 0.14406 | 0.96458 | 0.14271 | 0.10579
MALATHION | 2033 | 39532GCM35 | 2011-07-07 | 2010-10-01 | 2050-09-30 | ug/L | 0.95937 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.096 | MALATHION | . | 0.016 | 0.0921 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95937 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.96584 | 0.14406 | 0.96458 | 0.14271 | 0.10579
MALATHION | 2033 | 39532GCM35 | 2011-09-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.7625 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.048 | MALATHION | . | 0.016 | 0.0366 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7625 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.96584 | 0.14406 | 0.96458 | 0.14271 | 0.10579
MALATHION | 2033 | 39532GCM35 | 2011-09-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.91875 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.096 | MALATHION | . | 0.016 | 0.0882 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91875 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.96584 | 0.14406 | 0.96458 | 0.14271 | 0.10579
MALATHION | 2033 | 39532GCM35 | 2011-11-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.89583 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.048 | MALATHION | . | 0.016 | 0.043 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89583 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.96584 | 0.14406 | 0.96458 | 0.14271 | 0.10579
MALATHION | 2033 | 39532GCM35 | 2011-12-21 | 2010-10-01 | 2050-09-30 | ug/L | 1.0385 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.096 | MALATHION | . | 0.016 | 0.0997 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0385 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.96584 | 0.14406 | 0.96458 | 0.14271 | 0.10579
MALATHION | 2033 | 39532GCM35 | 2012-01-27 | 2010-10-01 | 2050-09-30 | ug/L | 0.98125 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.096 | MALATHION | . | 0.016 | 0.0942 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98125 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.96584 | 0.14406 | 0.96458 | 0.14271 | 0.10579
MALATHION | 2033 | 39532GCM35 | 2012-04-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.2708 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.048 | MALATHION | E | 0.016 | 0.061 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2708 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.96584 | 0.14406 | 0.96458 | 0.14271 | 0.10579
MALATHION | 2033 | 39532GCM35 | 2012-06-02 | 2010-10-01 | 2050-09-30 | ug/L | 0.96458 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.048 | MALATHION | . | 0.016 | 0.0463 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96458 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.96584 | 0.14406 | 0.96458 | 0.14271 | 0.10579
MALATHION | 2033 | 39532GCM35 | 2012-10-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.82 | Supelco, Abs | LB92783, 052412 | Supelco LB92783: 50 µl & Abs 052412: 50 µl | 0.075 | MALATHION | . | 0.016 | 0.0615 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82 | SuLB92783, Ab052412 | Su | Ab | Ab | LB92783 | 052412 | 052412 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.846 | 0.03677 | 0.846 | 0.052 | 0.038547
MALATHION | 2033 | 39532GCM35 | 2013-01-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.872 | Supelco, Abs | LB92783, 052412 | Supelco LB92783: 50 µl & Abs 052412: 50 µl | 0.075 | MALATHION | . | 0.016 | 0.0654 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.872 | SuLB92783, Ab052412 | Su | Ab | Ab | LB92783 | 052412 | 052412 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.846 | 0.03677 | 0.846 | 0.052 | 0.038547
MALATHION | 2033 | 39532GCM35 | 2013-11-23 | 2010-10-01 | 2050-09-30 | ug/L | 1.363 | Supelco, Abs, Crescent | LB99392, 042413, 10802AL | Supelco LB99392: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl | 0.03008 | MALATHION | . | 0.016 | 0.041 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.363 | SuLB99392, Ab042413, Cr10802AL | Su | Ab | Cr | LB99392 | 042413 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.363 |  | 1.363 | 0 | 0
MALATHION | 2033 | 39532GCM35 | 2013-08-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.96543 | Supelco, Crescent | LB99392, 04CC101 | Supelco LB99392: 50 µl & Crescent 04CC101: 50 µl | 0.0752 | MALATHION | . | 0.016 | 0.0726 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96543 | SuLB99392, Cr04CC101 | Su | Cr | Cr | LB99392 | 04CC101 | 04CC101 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.96543 |  | 0.96543 | 0 | 0
MALATHION | 2033 | 39532GCM35 | 2009-09-29 | 2008-10-01 | 2009-09-30 | ug/L | 0.84681 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.041332 | MALATHION | E | 0.02 | 0.035 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84681 | Supelco LB60731 | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.83612 | 0.01512 | 0.83612 | 0.021383 | 0.015851
MALATHION | 2033 | 39532GCM35 | 2010-01-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.82542 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.041191 | MALATHION | . | 0.016 | 0.034 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82543 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.83612 | 0.01512 | 0.83612 | 0.021383 | 0.015851
MALATHION | 2033 | 39532GCM35 | 2010-02-17 | 2009-10-01 | 2010-09-30 | ug/L | 1.0753 | Ultra | CF-3558 | Ultra CF-3558: 40 µl | 0.11811 | MALATHION | . | 0.016 | 0.127 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0753 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.018 | 0.36046 | 1.0023 | 0.50782 | 0.37644
MALATHION | 2033 | 39532GCM35 | 2010-05-19 | 2009-10-01 | 2010-09-30 | ug/L | 1.4685 | Ultra | CF-3558 | Ultra CF-3558: 20 µl | 0.060945 | MALATHION | . | 0.016 | 0.0895 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4685 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.018 | 0.36046 | 1.0023 | 0.50782 | 0.37644
MALATHION | 2033 | 39532GCM35 | 2010-08-10 | 2009-10-01 | 2010-09-30 | ug/L | 0.92929 | Ultra | CF-3558 | Ultra CF-3558: 40 µl | 0.12267 | MALATHION | . | 0.016 | 0.114 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92929 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.018 | 0.36046 | 1.0023 | 0.50782 | 0.37644
MALATHION | 2033 | 39532GCM35 | 2010-12-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.59889 | Ultra | CF-3558 | Ultra CF-3558: 20 µl | 0.060612 | MALATHION | . | 0.016 | 0.0363 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59889 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.018 | 0.36046 | 1.0023 | 0.50782 | 0.37644