## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
METALAXYL | 2033 | 61596GCM39 | 2012-12-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.96753 | Abs, ERA | 052412, 0507-12-04.2 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl | 0.154 | METALAXYL | . | 0.014 | 0.149 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96753 | Ab052412, ER05004.2 | Ab | ER | ER | 052412 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.89416 | 0.10377 | 0.89416 | 0.14675 | 0.10879
METALAXYL | 2033 | 61596GCM39 | 2013-04-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.82078 | Abs, ERA | 052412, 0507-12-04.2 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl | 0.077 | METALAXYL | . | 0.014 | 0.0632 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82078 | Ab052412, ER05004.2 | Ab | ER | ER | 052412 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.89416 | 0.10377 | 0.89416 | 0.14675 | 0.10879
METALAXYL | 2033 | 61596GCM39 | 2012-08-14 | 2010-10-01 | 2050-09-30 | ug/L | 1.04 | Abs, Supelco | 052412, LB92783 | Abs 052412: 20 µl & Supelco LB92783: 20 µl | 0.03 | METALAXYL | . | 0.014 | 0.0312 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.04 | Ab052412, SuLB92783 | Ab | Su | Su | 052412 | LB92783 | LB92783 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.04 |  | 1.04 | 0 | 0
METALAXYL | 2033 | 61596GCM39 | 2011-01-07 | 2010-10-01 | 2050-09-30 | ug/L | 0.88408 | Abs | 080610 | Abs 080610: 40 µl | 0.029296 | METALAXYL | . | 0.014 | 0.0259 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88408 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.99937 | 0.13058 | 0.93284 | 0.16892 | 0.12522
METALAXYL | 2033 | 61596GCM39 | 2011-01-28 | 2010-10-01 | 2050-09-30 | ug/L | 1.0934 | Abs | 080610 | Abs 080610: 80 µl | 0.057346 | METALAXYL | . | 0.014 | 0.0627 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0934 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.99937 | 0.13058 | 0.93284 | 0.16892 | 0.12522
METALAXYL | 2033 | 61596GCM39 | 2011-02-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.96962 | Abs | 080610 | Abs 080610: 40 µl | 0.029496 | METALAXYL | . | 0.014 | 0.0286 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96962 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.99937 | 0.13058 | 0.93284 | 0.16892 | 0.12522
METALAXYL | 2033 | 61596GCM39 | 2011-03-16 | 2010-10-01 | 2050-09-30 | ug/L | 0.93284 | Abs | 080610 | Abs 080610: 80 µl | 0.059174 | METALAXYL | . | 0.014 | 0.0552 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93284 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.99937 | 0.13058 | 0.93284 | 0.16892 | 0.12522
METALAXYL | 2033 | 61596GCM39 | 2011-05-03 | 2010-10-01 | 2050-09-30 | ug/L | 1.3362 | Abs | 080610 | Abs 080610: 40 µl | 0.029637 | METALAXYL | . | 0.014 | 0.0396 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3362 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.99937 | 0.13058 | 0.93284 | 0.16892 | 0.12522
METALAXYL | 2033 | 61596GCM39 | 2011-05-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.91497 | Abs | 080610 | Abs 080610: 80 µl | 0.060002 | METALAXYL | . | 0.014 | 0.0549 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91497 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.99937 | 0.13058 | 0.93284 | 0.16892 | 0.12522
METALAXYL | 2033 | 61596GCM39 | 2011-08-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.90604 | Abs | 080610 | Abs 080610: 40 µl | 0.0298 | METALAXYL | . | 0.014 | 0.027 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90604 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.99937 | 0.13058 | 0.93284 | 0.16892 | 0.12522
METALAXYL | 2033 | 61596GCM39 | 2011-10-20 | 2010-10-01 | 2050-09-30 | ug/L | 1.0839 | Abs | 080610 | Abs 080610: 40 µl | 0.0298 | METALAXYL | . | 0.014 | 0.0323 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0839 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.99937 | 0.13058 | 0.93284 | 0.16892 | 0.12522
METALAXYL | 2033 | 61596GCM39 | 2012-01-20 | 2010-10-01 | 2050-09-30 | ug/L | 1.104 | Abs | 080610 | Abs 080610: 40 µl | 0.0298 | METALAXYL | . | 0.014 | 0.0329 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.104 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.99937 | 0.13058 | 0.93284 | 0.16892 | 0.12522
METALAXYL | 2033 | 61596GCM39 | 2012-02-09 | 2010-10-01 | 2050-09-30 | ug/L | 1.0436 | Abs | 080610 | Abs 080610: 80 µl | 0.0596 | METALAXYL | . | 0.014 | 0.0622 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0436 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.99937 | 0.13058 | 0.93284 | 0.16892 | 0.12522
METALAXYL | 2033 | 61596GCM39 | 2012-03-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.92953 | Abs | 080610 | Abs 080610: 40 µl | 0.0298 | METALAXYL | . | 0.014 | 0.0277 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92953 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.99937 | 0.13058 | 0.93284 | 0.16892 | 0.12522
METALAXYL | 2033 | 61596GCM39 | 2012-04-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.86577 | Abs | 080610 | Abs 080610: 40 µl | 0.0298 | METALAXYL | . | 0.014 | 0.0258 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86577 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.99937 | 0.13058 | 0.93284 | 0.16892 | 0.12522
METALAXYL | 2033 | 61596GCM39 | 2012-04-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.92785 | Abs | 080610 | Abs 080610: 80 µl | 0.0596 | METALAXYL | . | 0.014 | 0.0553 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92785 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.99937 | 0.13058 | 0.93284 | 0.16892 | 0.12522
METALAXYL | 2033 | 61596GCM39 | 2011-01-12 | 2010-10-01 | 2050-09-30 | ug/L | 1.1451 | Accu | 210061341 | Accu 210061341: 40 µl | 0.027159 | METALAXYL | . | 0.014 | 0.0311 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1451 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.0422 | 0.179 | 1.0216 | 0.25142 | 0.18638
METALAXYL | 2033 | 61596GCM39 | 2011-02-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.97202 | Accu | 210061341 | Accu 210061341: 80 µl | 0.055966 | METALAXYL | . | 0.014 | 0.0544 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97202 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.0422 | 0.179 | 1.0216 | 0.25142 | 0.18638
METALAXYL | 2033 | 61596GCM39 | 2011-02-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.92513 | Accu | 210061341 | Accu 210061341: 40 µl | 0.027672 | METALAXYL | . | 0.014 | 0.0256 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92513 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.0422 | 0.179 | 1.0216 | 0.25142 | 0.18638
METALAXYL | 2033 | 61596GCM39 | 2011-04-07 | 2010-10-01 | 2050-09-30 | ug/L | 1.1044 | Accu | 210061341 | Accu 210061341: 40 µl | 0.02825 | METALAXYL | . | 0.014 | 0.0312 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1044 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.0422 | 0.179 | 1.0216 | 0.25142 | 0.18638
METALAXYL | 2033 | 61596GCM39 | 2011-05-21 | 2010-10-01 | 2050-09-30 | ug/L | 1.2549 | Accu | 210061341 | Accu 210061341: 80 µl | 0.056022 | METALAXYL | . | 0.014 | 0.0703 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2549 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.0422 | 0.179 | 1.0216 | 0.25142 | 0.18638
METALAXYL | 2033 | 61596GCM39 | 2011-07-02 | 2010-10-01 | 2050-09-30 | ug/L | 1.0403 | Accu | 210061341 | Accu 210061341: 40 µl | 0.02807 | METALAXYL | . | 0.014 | 0.0292 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0403 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.0422 | 0.179 | 1.0216 | 0.25142 | 0.18638
METALAXYL | 2033 | 61596GCM39 | 2011-07-20 | 2010-10-01 | 2050-09-30 | ug/L | 1.298 | Accu | 210061341 | Accu 210061341: 40 µl | 0.02812 | METALAXYL | . | 0.014 | 0.0365 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.298 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.0422 | 0.179 | 1.0216 | 0.25142 | 0.18638
METALAXYL | 2033 | 61596GCM39 | 2011-08-30 | 2010-10-01 | 2050-09-30 | ug/L | 1.0028 | Accu | 210061341 | Accu 210061341: 80 µl | 0.05624 | METALAXYL | . | 0.014 | 0.0564 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0028 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.0422 | 0.179 | 1.0216 | 0.25142 | 0.18638
METALAXYL | 2033 | 61596GCM39 | 2011-11-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.2589 | Accu | 210061341 | Accu 210061341: 40 µl | 0.02812 | METALAXYL | . | 0.014 | 0.0354 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2589 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.0422 | 0.179 | 1.0216 | 0.25142 | 0.18638
METALAXYL | 2033 | 61596GCM39 | 2011-12-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.75391 | Accu | 210061341 | Accu 210061341: 80 µl | 0.05624 | METALAXYL | . | 0.014 | 0.0424 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75391 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.0422 | 0.179 | 1.0216 | 0.25142 | 0.18638
METALAXYL | 2033 | 61596GCM39 | 2012-03-02 | 2010-10-01 | 2050-09-30 | ug/L | 0.97973 | Accu | 210061341 | Accu 210061341: 80 µl | 0.05624 | METALAXYL | . | 0.014 | 0.0551 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97973 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.0422 | 0.179 | 1.0216 | 0.25142 | 0.18638
METALAXYL | 2033 | 61596GCM39 | 2012-03-27 | 2010-10-01 | 2050-09-30 | ug/L | 0.77169 | Accu | 210061341 | Accu 210061341: 40 µl | 0.02812 | METALAXYL | . | 0.014 | 0.0217 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77169 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.0422 | 0.179 | 1.0216 | 0.25142 | 0.18638
METALAXYL | 2033 | 61596GCM39 | 2013-07-11 | 2010-10-01 | 2050-09-30 | ug/L | 0.68841 | ChemService, ERA | 1473000, 0318-13-02.2 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl | 0.0552 | METALAXYL | . | 0.014 | 0.038 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68841 | Ch1473000, ER03102.2 | Ch | ER | ER | 1473000 | 03102.2 | 03102.2 |  | 03102.2 | 03102.2 | Y | Recoverable Result | Y | 2 |  | 1 | 0.68841 |  | 0.68841 | 0 | 0
METALAXYL | 2033 | 61596GCM39 | 2013-06-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.0174 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl | 0.1376 | METALAXYL | . | 0.014 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0174 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0156 | 0.0025694 | 1.0156 | 0.0036337 | 0.0026936
METALAXYL | 2033 | 61596GCM39 | 2014-01-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.0138 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl | 0.05504 | METALAXYL | . | 0.014 | 0.0558 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0138 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0156 | 0.0025694 | 1.0156 | 0.0036337 | 0.0026936
METALAXYL | 2033 | 61596GCM39 | 2009-08-12 | 2006-04-01 | 2009-09-30 | ug/L | 1.0105 | ChemService | 406-99B | ChemService 406-99B: 25 µl | 0.13063 | METALAXYL | . | 0.0069 | 0.132 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0105 | ChemService 406-99B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.1821 | 0.24276 | 1.1821 | 0.34331 | 0.25449
METALAXYL | 2033 | 61596GCM39 | 2009-12-01 | 2009-10-01 | 2010-09-30 | ug/L | 1.3538 | ChemService | 406-99B | ChemService 406-99B: 25 µl | 0.13296 | METALAXYL | . | 0.007 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3538 | ChemService 406-99B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.1821 | 0.24276 | 1.1821 | 0.34331 | 0.25449
METALAXYL | 2033 | 61596GCM39 | 2010-03-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.73417 | ChemService | 430-36C | ChemService 430-36C: 40 µl | 0.082951 | METALAXYL | E | 0.007 | 0.0609 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73417 | ChemService 430-36C | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 1.0263 | 0.25525 | 1.1385 | 0.47206 | 0.34993
METALAXYL | 2033 | 61596GCM39 | 2010-06-26 | 2009-10-01 | 2010-09-30 | ug/L | 1.2062 | ChemService | 430-36C | ChemService 430-36C: 40 µl | 0.084561 | METALAXYL | . | 0.007 | 0.102 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2062 | ChemService 430-36C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0263 | 0.25525 | 1.1385 | 0.47206 | 0.34993
METALAXYL | 2033 | 61596GCM39 | 2010-09-21 | 2009-10-01 | 2010-09-30 | ug/L | 1.1385 | ChemService | 430-36C | ChemService 430-36C: 20 µl | 0.043302 | METALAXYL | . | 0.007 | 0.0493 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1385 | ChemService 430-36C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0263 | 0.25525 | 1.1385 | 0.47206 | 0.34993
METALAXYL | 2033 | 61596GCM39 | 2012-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.93831 | Crescent, ERA | 05BB029, 0507-12-04.2 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl | 0.0308 | METALAXYL | . | 0.014 | 0.0289 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93831 | Cr05BB029, ER05004.2 | Cr | ER | ER | 05BB029 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.88636 | 0.073466 | 0.88636 | 0.1039 | 0.077017
METALAXYL | 2033 | 61596GCM39 | 2013-03-07 | 2010-10-01 | 2050-09-30 | ug/L | 0.83442 | Crescent, ERA | 05BB029, 0507-12-04.2 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl | 0.0308 | METALAXYL | . | 0.014 | 0.0257 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83442 | Cr05BB029, ER05004.2 | Cr | ER | ER | 05BB029 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.88636 | 0.073466 | 0.88636 | 0.1039 | 0.077017
METALAXYL | 2033 | 61596GCM39 | 2013-09-24 | 2010-10-01 | 2050-09-30 | ug/L | 1.0072 | ERA, Abs, Crescent | 0318-13-02.2, 042413, 10802AL | ERA 0318-13-02.2: 50 µl & Abs 042413: 50 µl & Crescent 10802AL: 10 µl | 0.138 | METALAXYL | . | 0.014 | 0.139 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0072 | ER03102.2, Ab042413, Cr10802AL | ER | Ab | Cr | 03102.2 | 042413 | 10802AL | 03102.2 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.8904 | 0.16525 | 0.8904 | 0.2337 | 0.17324
METALAXYL | 2033 | 61596GCM39 | 2014-01-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.77355 | ERA, Abs, Crescent | 0318-13-02.2, 042413, 10802AL | ERA 0318-13-02.2: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl | 0.0552 | METALAXYL | . | 0.014 | 0.0427 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77355 | ER03102.2, Ab042413, Cr10802AL | ER | Ab | Cr | 03102.2 | 042413 | 10802AL | 03102.2 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.8904 | 0.16525 | 0.8904 | 0.2337 | 0.17324
METALAXYL | 2033 | 61596GCM39 | 2013-06-11 | 2010-10-01 | 2050-09-30 | ug/L | 0.83152 | ERA, Crescent | 0318-13-02.2, 04CC101 | ERA 0318-13-02.2: 20 µl & Crescent 04CC101: 20 µl | 0.0552 | METALAXYL | . | 0.014 | 0.0459 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83152 | ER03102.2, Cr04CC101 | ER | Cr | Cr | 03102.2 | 04CC101 | 04CC101 | 03102.2 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.83152 |  | 0.83152 | 0 | 0
METALAXYL | 2033 | 61596GCM39 | 2012-10-12 | 2010-10-01 | 2050-09-30 | ug/L | 1.0312 | ERA | 0507-12-04.2 | ERA 0507-12-04.2: 50 µl | 0.077 | METALAXYL | . | 0.014 | 0.0794 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0312 | ERA 0507-12-04.2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.0312 |  | 1.0312 | 0 | 0
METALAXYL | 2033 | 61596GCM39 | 2009-09-16 | 2006-04-01 | 2009-09-30 | ug/L | 0.65524 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 25 µl | 0.1343 | METALAXYL | . | 0.0069 | 0.088 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65524 | ERA 0804-08-02PEST | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.82865 | 0.11657 | 0.88032 | 0.13666 | 0.1013
METALAXYL | 2033 | 61596GCM39 | 2009-11-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.89522 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 40 µl | 0.21335 | METALAXYL | . | 0.007 | 0.191 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89522 | ERA 0804-08-02PEST | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.82865 | 0.11657 | 0.88032 | 0.13666 | 0.1013
METALAXYL | 2033 | 61596GCM39 | 2010-01-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.89874 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 25 µl | 0.13352 | METALAXYL | . | 0.007 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89874 | ERA 0804-08-02PEST | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.82865 | 0.11657 | 0.88032 | 0.13666 | 0.1013
METALAXYL | 2033 | 61596GCM39 | 2010-01-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.86541 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 40 µl | 0.20568 | METALAXYL | . | 0.007 | 0.178 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86541 | ERA 0804-08-02PEST | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.82865 | 0.11657 | 0.88032 | 0.13666 | 0.1013
METALAXYL | 2033 | 61596GCM39 | 2009-09-03 | 2006-04-01 | 2009-09-30 | ug/L | 0.99436 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | METALAXYL | . | 0.0069 | 0.074 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99436 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.99436 |  | 0.99436 | 0 | 0
METALAXYL | 2033 | 61596GCM39 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.90763 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | METALAXYL | . | 0.007 | 0.0352 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90763 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.111 | 0.1812 | 1.17 | 0.34769 | 0.25774
METALAXYL | 2033 | 61596GCM39 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 1.2553 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | METALAXYL | . | 0.007 | 0.0509 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2553 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.111 | 0.1812 | 1.17 | 0.34769 | 0.25774
METALAXYL | 2033 | 61596GCM39 | 2010-12-16 | 2010-10-01 | 2050-09-30 | ug/L | 1.17 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | METALAXYL | . | 0.014 | 0.0473 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.17 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.111 | 0.1812 | 1.17 | 0.34769 | 0.25774
METALAXYL | 2033 | 61596GCM39 | 2011-01-20 | 2010-10-01 | 2050-09-30 | ug/L | 1.132 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | METALAXYL | . | 0.014 | 0.114 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.132 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0588 | 0.087359 | 1.0654 | 0.14983 | 0.11107
METALAXYL | 2033 | 61596GCM39 | 2011-03-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.1354 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 25 µl | 0.02475 | METALAXYL | . | 0.014 | 0.0281 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1354 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0588 | 0.087359 | 1.0654 | 0.14983 | 0.11107
METALAXYL | 2033 | 61596GCM39 | 2011-04-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.96901 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.099483 | METALAXYL | . | 0.014 | 0.0964 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96901 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0588 | 0.087359 | 1.0654 | 0.14983 | 0.11107
METALAXYL | 2033 | 61596GCM39 | 2011-06-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.9987 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 75 µl | 0.074096 | METALAXYL | . | 0.014 | 0.074 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9987 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0588 | 0.087359 | 1.0654 | 0.14983 | 0.11107
METALAXYL | 2033 | 61596GCM39 | 2012-07-14 | 2010-10-01 | 2050-09-30 | ug/L | 1.1267 | Restek, Supelco | A088380, LB92783 | Restek A088380: 20 µl & Supelco LB92783: 20 µl | 0.03 | METALAXYL | . | 0.014 | 0.0338 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1267 | ReA088380, SuLB92783 | Re | Su | Su | A088380 | LB92783 | LB92783 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1267 |  | 1.1267 | 0 | 0
METALAXYL | 2033 | 61596GCM39 | 2010-02-02 | 2009-10-01 | 2010-09-30 | ug/L | 0.71987 | Restek | A069639 | Restek A069639: 20 µl | 0.041258 | METALAXYL | . | 0.007 | 0.0297 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71987 | Restek A069639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.93464 | 0.15066 | 0.97476 | 0.19268 | 0.14283
METALAXYL | 2033 | 61596GCM39 | 2010-03-19 | 2009-10-01 | 2010-09-30 | ug/L | 0.95673 | Restek | A069639 | Restek A069639: 20 µl | 0.041809 | METALAXYL | . | 0.007 | 0.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95673 | Restek A069639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.93464 | 0.15066 | 0.97476 | 0.19268 | 0.14283
METALAXYL | 2033 | 61596GCM39 | 2010-07-29 | 2009-10-01 | 2010-09-30 | ug/L | 1.0692 | Restek | A069639 | Restek A069639: 100 µl | 0.21606 | METALAXYL | . | 0.007 | 0.231 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0692 | Restek A069639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.93464 | 0.15066 | 0.97476 | 0.19268 | 0.14283
METALAXYL | 2033 | 61596GCM39 | 2010-10-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.9928 | Restek | A069639 | Restek A069639: 40 µl | 0.082696 | METALAXYL | . | 0.014 | 0.0821 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9928 | Restek A069639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.93464 | 0.15066 | 0.97476 | 0.19268 | 0.14283
METALAXYL | 2033 | 61596GCM39 | 2012-09-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.0227 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl | 0.0308 | METALAXYL | . | 0.014 | 0.0315 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0227 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.92045 | 0.14464 | 0.92045 | 0.20455 | 0.15163
METALAXYL | 2033 | 61596GCM39 | 2013-01-15 | 2010-10-01 | 2050-09-30 | ug/L | 0.81818 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl | 0.077 | METALAXYL | . | 0.014 | 0.063 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81818 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.92045 | 0.14464 | 0.92045 | 0.20455 | 0.15163
METALAXYL | 2033 | 61596GCM39 | 2012-11-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.89333 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl | 0.15 | METALAXYL | . | 0.014 | 0.134 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89333 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.83533 | 0.10278 | 0.89333 | 0.17933 | 0.13294
METALAXYL | 2033 | 61596GCM39 | 2013-02-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.71667 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl | 0.03 | METALAXYL | . | 0.014 | 0.0215 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71667 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.83533 | 0.10278 | 0.89333 | 0.17933 | 0.13294
METALAXYL | 2033 | 61596GCM39 | 2013-04-02 | 2010-10-01 | 2050-09-30 | ug/L | 0.896 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl | 0.075 | METALAXYL | . | 0.014 | 0.0672 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.896 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.83533 | 0.10278 | 0.89333 | 0.17933 | 0.13294
METALAXYL | 2033 | 61596GCM39 | 2013-09-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.97464 | Spex Organics, ERA | T1130514013, 0318-13-02.2 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl | 0.276 | METALAXYL | . | 0.014 | 0.269 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97464 | SpT114013, ER03102.2 | Sp | ER | ER | T114013 | 03102.2 | 03102.2 | T114013 | 03102.2 | 03102.2 | Y | Recoverable Result | Y | 2 |  | 1 | 0.97464 |  | 0.97464 | 0 | 0
METALAXYL | 2033 | 61596GCM39 | 2013-11-09 | 2010-10-01 | 2050-09-30 | ug/L | 0.94477 | Spex Organics, Supelco | T1130514013, LB99392 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl | 0.05504 | METALAXYL | . | 0.014 | 0.052 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94477 | SpT114013, SuLB99392 | Sp | Su | Su | T114013 | LB99392 | LB99392 | T114013 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.94477 |  | 0.94477 | 0 | 0
METALAXYL | 2033 | 61596GCM39 | 2012-10-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.85867 | Supelco, Abs | LB92783, 052412 | Supelco LB92783: 50 µl & Abs 052412: 50 µl | 0.075 | METALAXYL | . | 0.014 | 0.0644 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85867 | SuLB92783, Ab052412 | Su | Ab | Ab | LB92783 | 052412 | 052412 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.904 | 0.064111 | 0.904 | 0.090667 | 0.06721
METALAXYL | 2033 | 61596GCM39 | 2013-01-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.94933 | Supelco, Abs | LB92783, 052412 | Supelco LB92783: 50 µl & Abs 052412: 50 µl | 0.075 | METALAXYL | . | 0.014 | 0.0712 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94933 | SuLB92783, Ab052412 | Su | Ab | Ab | LB92783 | 052412 | 052412 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.904 | 0.064111 | 0.904 | 0.090667 | 0.06721
METALAXYL | 2033 | 61596GCM39 | 2013-11-23 | 2010-10-01 | 2050-09-30 | ug/L | 1.0174 | Supelco, Abs, Crescent | LB99392, 042413, 10802AL | Supelco LB99392: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl | 0.05504 | METALAXYL | . | 0.014 | 0.056 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0174 | SuLB99392, Ab042413, Cr10802AL | Su | Ab | Cr | LB99392 | 042413 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0174 |  | 1.0174 | 0 | 0
METALAXYL | 2033 | 61596GCM39 | 2013-08-19 | 2010-10-01 | 2050-09-30 | ug/L | 1.0392 | Supelco, Crescent | LB99392, 04CC101 | Supelco LB99392: 50 µl & Crescent 04CC101: 50 µl | 0.1376 | METALAXYL | . | 0.014 | 0.143 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0392 | SuLB99392, Cr04CC101 | Su | Cr | Cr | LB99392 | 04CC101 | 04CC101 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0392 |  | 1.0392 | 0 | 0