## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
METHIDATHION (SUPRACIDE) | 2033 | 61598GCM39 | 2012-12-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.73026 | Abs, ERA | 052412, 0507-12-04.2 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl | 0.152 | METHIDATHION_(SUPRACIDE) | . | 0.012 | 0.111 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73026 | Ab052412, ER05004.2 | Ab | ER | ER | 052412 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.72105 | 0.013026 | 0.72105 | 0.018421 | 0.013655
METHIDATHION (SUPRACIDE) | 2033 | 61598GCM39 | 2013-04-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.71184 | Abs, ERA | 052412, 0507-12-04.2 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl | 0.076 | METHIDATHION_(SUPRACIDE) | . | 0.012 | 0.0541 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71184 | Ab052412, ER05004.2 | Ab | ER | ER | 052412 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.72105 | 0.013026 | 0.72105 | 0.018421 | 0.013655
METHIDATHION (SUPRACIDE) | 2033 | 61598GCM39 | 2012-08-14 | 2010-10-01 | 2050-09-30 | ug/L | 1.0267 | Abs, Supelco | 052412, LB92783 | Abs 052412: 20 µl & Supelco LB92783: 20 µl | 0.03 | METHIDATHION_(SUPRACIDE) | . | 0.012 | 0.0308 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0267 | Ab052412, SuLB92783 | Ab | Su | Su | 052412 | LB92783 | LB92783 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0267 |  | 1.0267 | 0 | 0
METHIDATHION (SUPRACIDE) | 2033 | 61598GCM39 | 2011-01-07 | 2010-10-01 | 2050-09-30 | ug/L | 0.99066 | Abs | 080610 | Abs 080610: 40 µl | 0.045222 | METHIDATHION_(SUPRACIDE) | . | 0.012 | 0.0448 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99066 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.92892 | 0.12315 | 0.91087 | 0.16655 | 0.12346
METHIDATHION (SUPRACIDE) | 2033 | 61598GCM39 | 2011-01-28 | 2010-10-01 | 2050-09-30 | ug/L | 1.0099 | Abs | 080610 | Abs 080610: 80 µl | 0.088521 | METHIDATHION_(SUPRACIDE) | . | 0.012 | 0.0894 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0099 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.92892 | 0.12315 | 0.91087 | 0.16655 | 0.12346
METHIDATHION (SUPRACIDE) | 2033 | 61598GCM39 | 2011-02-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.84338 | Abs | 080610 | Abs 080610: 40 µl | 0.045531 | METHIDATHION_(SUPRACIDE) | . | 0.012 | 0.0384 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84338 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.92892 | 0.12315 | 0.91087 | 0.16655 | 0.12346
METHIDATHION (SUPRACIDE) | 2033 | 61598GCM39 | 2011-03-16 | 2010-10-01 | 2050-09-30 | ug/L | 1.0214 | Abs | 080610 | Abs 080610: 80 µl | 0.091342 | METHIDATHION_(SUPRACIDE) | . | 0.012 | 0.0933 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0214 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.92892 | 0.12315 | 0.91087 | 0.16655 | 0.12346
METHIDATHION (SUPRACIDE) | 2033 | 61598GCM39 | 2011-05-03 | 2010-10-01 | 2050-09-30 | ug/L | 1.0514 | Abs | 080610 | Abs 080610: 40 µl | 0.045748 | METHIDATHION_(SUPRACIDE) | . | 0.012 | 0.0481 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0514 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.92892 | 0.12315 | 0.91087 | 0.16655 | 0.12346
METHIDATHION (SUPRACIDE) | 2033 | 61598GCM39 | 2011-05-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.74282 | Abs | 080610 | Abs 080610: 80 µl | 0.092621 | METHIDATHION_(SUPRACIDE) | . | 0.012 | 0.0688 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74282 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.92892 | 0.12315 | 0.91087 | 0.16655 | 0.12346
METHIDATHION (SUPRACIDE) | 2033 | 61598GCM39 | 2011-08-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.1913 | Abs | 080610 | Abs 080610: 40 µl | 0.046 | METHIDATHION_(SUPRACIDE) | E | 0.012 | 0.0548 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1913 | Abs 080610 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.92892 | 0.12315 | 0.91087 | 0.16655 | 0.12346
METHIDATHION (SUPRACIDE) | 2033 | 61598GCM39 | 2011-10-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.89783 | Abs | 080610 | Abs 080610: 40 µl | 0.046 | METHIDATHION_(SUPRACIDE) | . | 0.012 | 0.0413 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89783 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.92892 | 0.12315 | 0.91087 | 0.16655 | 0.12346
METHIDATHION (SUPRACIDE) | 2033 | 61598GCM39 | 2012-01-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.81087 | Abs | 080610 | Abs 080610: 40 µl | 0.046 | METHIDATHION_(SUPRACIDE) | . | 0.012 | 0.0373 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81087 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.92892 | 0.12315 | 0.91087 | 0.16655 | 0.12346
METHIDATHION (SUPRACIDE) | 2033 | 61598GCM39 | 2012-02-09 | 2010-10-01 | 2050-09-30 | ug/L | 0.91087 | Abs | 080610 | Abs 080610: 80 µl | 0.092 | METHIDATHION_(SUPRACIDE) | E | 0.012 | 0.0838 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91087 | Abs 080610 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.92892 | 0.12315 | 0.91087 | 0.16655 | 0.12346
METHIDATHION (SUPRACIDE) | 2033 | 61598GCM39 | 2012-03-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.78261 | Abs | 080610 | Abs 080610: 40 µl | 0.046 | METHIDATHION_(SUPRACIDE) | . | 0.012 | 0.036 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78261 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.92892 | 0.12315 | 0.91087 | 0.16655 | 0.12346
METHIDATHION (SUPRACIDE) | 2033 | 61598GCM39 | 2012-04-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.9087 | Abs | 080610 | Abs 080610: 40 µl | 0.046 | METHIDATHION_(SUPRACIDE) | . | 0.012 | 0.0418 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9087 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.92892 | 0.12315 | 0.91087 | 0.16655 | 0.12346
METHIDATHION (SUPRACIDE) | 2033 | 61598GCM39 | 2012-04-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.91413 | Abs | 080610 | Abs 080610: 80 µl | 0.092 | METHIDATHION_(SUPRACIDE) | . | 0.012 | 0.0841 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91413 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.92892 | 0.12315 | 0.91087 | 0.16655 | 0.12346
METHIDATHION (SUPRACIDE) | 2033 | 61598GCM39 | 2011-01-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.81938 | Accu | 210061341 | Accu 210061341: 40 µl | 0.042959 | METHIDATHION_(SUPRACIDE) | . | 0.012 | 0.0352 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81938 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.84849 | 0.15455 | 0.8065 | 0.097776 | 0.072481
METHIDATHION (SUPRACIDE) | 2033 | 61598GCM39 | 2011-02-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.78282 | Accu | 210061341 | Accu 210061341: 80 µl | 0.088526 | METHIDATHION_(SUPRACIDE) | . | 0.012 | 0.0693 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78282 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.84849 | 0.15455 | 0.8065 | 0.097776 | 0.072481
METHIDATHION (SUPRACIDE) | 2033 | 61598GCM39 | 2011-02-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.71509 | Accu | 210061341 | Accu 210061341: 40 µl | 0.043771 | METHIDATHION_(SUPRACIDE) | . | 0.012 | 0.0313 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71509 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.84849 | 0.15455 | 0.8065 | 0.097776 | 0.072481
METHIDATHION (SUPRACIDE) | 2033 | 61598GCM39 | 2011-04-07 | 2010-10-01 | 2050-09-30 | ug/L | 0.87948 | Accu | 210061341 | Accu 210061341: 40 µl | 0.044686 | METHIDATHION_(SUPRACIDE) | . | 0.012 | 0.0393 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87948 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.84849 | 0.15455 | 0.8065 | 0.097776 | 0.072481
METHIDATHION (SUPRACIDE) | 2033 | 61598GCM39 | 2011-05-21 | 2010-10-01 | 2050-09-30 | ug/L | 0.86103 | Accu | 210061341 | Accu 210061341: 80 µl | 0.088614 | METHIDATHION_(SUPRACIDE) | . | 0.012 | 0.0763 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86103 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.84849 | 0.15455 | 0.8065 | 0.097776 | 0.072481
METHIDATHION (SUPRACIDE) | 2033 | 61598GCM39 | 2011-07-02 | 2010-10-01 | 2050-09-30 | ug/L | 1.268 | Accu | 210061341 | Accu 210061341: 40 µl | 0.0444 | METHIDATHION_(SUPRACIDE) | E | 0.012 | 0.0563 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.268 | Accu 210061341 | [9 empty] | Y | Estimated Values | Y | 2 |  | 12 | 0.84849 | 0.15455 | 0.8065 | 0.097776 | 0.072481
METHIDATHION (SUPRACIDE) | 2033 | 61598GCM39 | 2011-07-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.98696 | Accu | 210061341 | Accu 210061341: 40 µl | 0.04448 | METHIDATHION_(SUPRACIDE) | . | 0.012 | 0.0439 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98696 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.84849 | 0.15455 | 0.8065 | 0.097776 | 0.072481
METHIDATHION (SUPRACIDE) | 2033 | 61598GCM39 | 2011-08-30 | 2010-10-01 | 2050-09-30 | ug/L | 0.76214 | Accu | 210061341 | Accu 210061341: 80 µl | 0.08896 | METHIDATHION_(SUPRACIDE) | . | 0.012 | 0.0678 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76214 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.84849 | 0.15455 | 0.8065 | 0.097776 | 0.072481
METHIDATHION (SUPRACIDE) | 2033 | 61598GCM39 | 2011-11-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.84757 | Accu | 210061341 | Accu 210061341: 40 µl | 0.04448 | METHIDATHION_(SUPRACIDE) | . | 0.012 | 0.0377 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84757 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.84849 | 0.15455 | 0.8065 | 0.097776 | 0.072481
METHIDATHION (SUPRACIDE) | 2033 | 61598GCM39 | 2011-12-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.67671 | Accu | 210061341 | Accu 210061341: 80 µl | 0.08896 | METHIDATHION_(SUPRACIDE) | . | 0.012 | 0.0602 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67671 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.84849 | 0.15455 | 0.8065 | 0.097776 | 0.072481
METHIDATHION (SUPRACIDE) | 2033 | 61598GCM39 | 2012-03-02 | 2010-10-01 | 2050-09-30 | ug/L | 0.79362 | Accu | 210061341 | Accu 210061341: 80 µl | 0.08896 | METHIDATHION_(SUPRACIDE) | . | 0.012 | 0.0706 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79362 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.84849 | 0.15455 | 0.8065 | 0.097776 | 0.072481
METHIDATHION (SUPRACIDE) | 2033 | 61598GCM39 | 2012-03-27 | 2010-10-01 | 2050-09-30 | ug/L | 0.78912 | Accu | 210061341 | Accu 210061341: 40 µl | 0.04448 | METHIDATHION_(SUPRACIDE) | . | 0.012 | 0.0351 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78912 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.84849 | 0.15455 | 0.8065 | 0.097776 | 0.072481
METHIDATHION (SUPRACIDE) | 2033 | 61598GCM39 | 2013-07-11 | 2010-10-01 | 2050-09-30 | ug/L | 0.73109 | ChemService, ERA | 1473000, 0318-13-02.2 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl | 0.0238 | METHIDATHION_(SUPRACIDE) | . | 0.012 | 0.0174 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73109 | Ch1473000, ER03102.2 | Ch | ER | ER | 1473000 | 03102.2 | 03102.2 |  | 03102.2 | 03102.2 | Y | Recoverable Result | Y | 2 |  | 1 | 0.73109 |  | 0.73109 | 0 | 0
METHIDATHION (SUPRACIDE) | 2033 | 61598GCM39 | 2013-06-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.155 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl | 0.06 | METHIDATHION_(SUPRACIDE) | . | 0.012 | 0.0693 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.155 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0212 | 0.18915 | 1.0212 | 0.2675 | 0.1983
METHIDATHION (SUPRACIDE) | 2033 | 61598GCM39 | 2014-01-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.8875 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl | 0.024 | METHIDATHION_(SUPRACIDE) | . | 0.012 | 0.0213 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8875 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0212 | 0.18915 | 1.0212 | 0.2675 | 0.1983
METHIDATHION (SUPRACIDE) | 2033 | 61598GCM39 | 2010-03-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.49036 | ChemService | 430-36C | ChemService 430-36C: 40 µl | 0.017946 | METHIDATHION_(SUPRACIDE) | E | 0.006 | 0.0088 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49035 | ChemService 430-36C | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 0.98911 | 0.44025 | 1.1534 | 0.83327 | 0.6177
METHIDATHION (SUPRACIDE) | 2033 | 61598GCM39 | 2010-06-26 | 2009-10-01 | 2010-09-30 | ug/L | 1.1534 | ChemService | 430-36C | ChemService 430-36C: 40 µl | 0.018295 | METHIDATHION_(SUPRACIDE) | . | 0.006 | 0.0211 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1534 | ChemService 430-36C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.98911 | 0.44025 | 1.1534 | 0.83327 | 0.6177
METHIDATHION (SUPRACIDE) | 2033 | 61598GCM39 | 2010-09-21 | 2009-10-01 | 2010-09-30 | ug/L | 1.3236 | ChemService | 430-36C | ChemService 430-36C: 20 µl | 0.0093682 | METHIDATHION_(SUPRACIDE) | . | 0.006 | 0.0124 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3236 | ChemService 430-36C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.98911 | 0.44025 | 1.1534 | 0.83327 | 0.6177
METHIDATHION (SUPRACIDE) | 2033 | 61598GCM39 | 2012-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.99342 | Crescent, ERA | 05BB029, 0507-12-04.2 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl | 0.0304 | METHIDATHION_(SUPRACIDE) | . | 0.012 | 0.0302 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99342 | Cr05BB029, ER05004.2 | Cr | ER | ER | 05BB029 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.91776 | 0.107 | 0.91776 | 0.15132 | 0.11217
METHIDATHION (SUPRACIDE) | 2033 | 61598GCM39 | 2013-03-07 | 2010-10-01 | 2050-09-30 | ug/L | 0.84211 | Crescent, ERA | 05BB029, 0507-12-04.2 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl | 0.0304 | METHIDATHION_(SUPRACIDE) | . | 0.012 | 0.0256 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84211 | Cr05BB029, ER05004.2 | Cr | ER | ER | 05BB029 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.91776 | 0.107 | 0.91776 | 0.15132 | 0.11217
METHIDATHION (SUPRACIDE) | 2033 | 61598GCM39 | 2009-07-23 | 2008-10-01 | 2009-09-30 | ug/L | 1.3577 | Crescent | 08HH019 | Crescent 08HH019: 40 µl | 0.29388 | METHIDATHION_(SUPRACIDE) | . | 0.006 | 0.399 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3577 | Crescent 08HH019 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.3577 |  | 1.3577 | 0 | 0
METHIDATHION (SUPRACIDE) | 2033 | 61598GCM39 | 2013-09-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.75966 | ERA, Abs, Crescent | 0318-13-02.2, 042413, 10802AL | ERA 0318-13-02.2: 50 µl & Abs 042413: 50 µl & Crescent 10802AL: 10 µl | 0.0595 | METHIDATHION_(SUPRACIDE) | . | 0.012 | 0.0452 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75966 | ER03102.2, Ab042413, Cr10802AL | ER | Ab | Cr | 03102.2 | 042413 | 10802AL | 03102.2 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.71807 | 0.058827 | 0.71807 | 0.083193 | 0.06167
METHIDATHION (SUPRACIDE) | 2033 | 61598GCM39 | 2014-01-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.67647 | ERA, Abs, Crescent | 0318-13-02.2, 042413, 10802AL | ERA 0318-13-02.2: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl | 0.0238 | METHIDATHION_(SUPRACIDE) | . | 0.012 | 0.0161 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67647 | ER03102.2, Ab042413, Cr10802AL | ER | Ab | Cr | 03102.2 | 042413 | 10802AL | 03102.2 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.71807 | 0.058827 | 0.71807 | 0.083193 | 0.06167
METHIDATHION (SUPRACIDE) | 2033 | 61598GCM39 | 2013-06-11 | 2010-10-01 | 2050-09-30 | ug/L | 1.1387 | ERA, Crescent | 0318-13-02.2, 04CC101 | ERA 0318-13-02.2: 20 µl & Crescent 04CC101: 20 µl | 0.0238 | METHIDATHION_(SUPRACIDE) | . | 0.012 | 0.0271 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1387 | ER03102.2, Cr04CC101 | ER | Cr | Cr | 03102.2 | 04CC101 | 04CC101 | 03102.2 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1387 |  | 1.1387 | 0 | 0
METHIDATHION (SUPRACIDE) | 2033 | 61598GCM39 | 2012-10-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.87237 | ERA | 0507-12-04.2 | ERA 0507-12-04.2: 50 µl | 0.076 | METHIDATHION_(SUPRACIDE) | . | 0.012 | 0.0663 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87237 | ERA 0507-12-04.2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.87237 |  | 0.87237 | 0 | 0
METHIDATHION (SUPRACIDE) | 2033 | 61598GCM39 | 2009-09-03 | 2008-10-01 | 2009-09-30 | ug/L | 0.75249 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | METHIDATHION_(SUPRACIDE) | . | 0.006 | 0.056 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75249 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.75249 |  | 0.75249 | 0 | 0
METHIDATHION (SUPRACIDE) | 2033 | 61598GCM39 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.85348 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | METHIDATHION_(SUPRACIDE) | . | 0.006 | 0.0331 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85348 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.9942 | 0.12643 | 1.0309 | 0.24475 | 0.18143
METHIDATHION (SUPRACIDE) | 2033 | 61598GCM39 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 1.0309 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | METHIDATHION_(SUPRACIDE) | . | 0.006 | 0.0418 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0309 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.9942 | 0.12643 | 1.0309 | 0.24475 | 0.18143
METHIDATHION (SUPRACIDE) | 2033 | 61598GCM39 | 2010-12-16 | 2010-10-01 | 2050-09-30 | ug/L | 1.0982 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | METHIDATHION_(SUPRACIDE) | . | 0.012 | 0.0444 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0982 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.9942 | 0.12643 | 1.0309 | 0.24475 | 0.18143
METHIDATHION (SUPRACIDE) | 2033 | 61598GCM39 | 2011-01-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.89569 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | METHIDATHION_(SUPRACIDE) | . | 0.012 | 0.0902 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89569 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.87509 | 0.085288 | 0.86048 | 0.13136 | 0.097372
METHIDATHION (SUPRACIDE) | 2033 | 61598GCM39 | 2011-03-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.98586 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 25 µl | 0.02475 | METHIDATHION_(SUPRACIDE) | . | 0.012 | 0.0244 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98586 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.87509 | 0.085288 | 0.86048 | 0.13136 | 0.097372
METHIDATHION (SUPRACIDE) | 2033 | 61598GCM39 | 2011-04-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.82527 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.099483 | METHIDATHION_(SUPRACIDE) | . | 0.012 | 0.0821 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82527 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.87509 | 0.085288 | 0.86048 | 0.13136 | 0.097372
METHIDATHION (SUPRACIDE) | 2033 | 61598GCM39 | 2011-06-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.79356 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 75 µl | 0.074096 | METHIDATHION_(SUPRACIDE) | . | 0.012 | 0.0588 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79357 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.87509 | 0.085288 | 0.86048 | 0.13136 | 0.097372
METHIDATHION (SUPRACIDE) | 2033 | 61598GCM39 | 2009-09-15 | 2008-10-01 | 2009-09-30 | ug/L | 0.65718 | Protocol | D1080908018 | Protocol D1080908018: 40 µl | 0.29063 | METHIDATHION_(SUPRACIDE) | . | 0.006 | 0.191 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65718 | Protocol D1080908018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.65718 |  | 0.65718 | 0 | 0
METHIDATHION (SUPRACIDE) | 2033 | 61598GCM39 | 2012-07-14 | 2010-10-01 | 2050-09-30 | ug/L | 1.0367 | Restek, Supelco | A088380, LB92783 | Restek A088380: 20 µl & Supelco LB92783: 20 µl | 0.03 | METHIDATHION_(SUPRACIDE) | . | 0.012 | 0.0311 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0367 | ReA088380, SuLB92783 | Re | Su | Su | A088380 | LB92783 | LB92783 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0367 |  | 1.0367 | 0 | 0
METHIDATHION (SUPRACIDE) | 2033 | 61598GCM39 | 2010-02-02 | 2009-10-01 | 2010-09-30 | ug/L | 0.97469 | Restek | A069639 | Restek A069639: 20 µl | 0.0089259 | METHIDATHION_(SUPRACIDE) | . | 0.006 | 0.0087 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97469 | Restek A069639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.84638 | 0.2541 | 0.94944 | 0.29905 | 0.22168
METHIDATHION (SUPRACIDE) | 2033 | 61598GCM39 | 2010-03-19 | 2009-10-01 | 2010-09-30 | ug/L | 1.0171 | Restek | A069639 | Restek A069639: 20 µl | 0.0090452 | METHIDATHION_(SUPRACIDE) | . | 0.006 | 0.0092 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0171 | Restek A069639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.84638 | 0.2541 | 0.94944 | 0.29905 | 0.22168
METHIDATHION (SUPRACIDE) | 2033 | 61598GCM39 | 2010-07-29 | 2009-10-01 | 2010-09-30 | ug/L | 0.92419 | Restek | A069639 | Restek A069639: 100 µl | 0.046743 | METHIDATHION_(SUPRACIDE) | . | 0.006 | 0.0432 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92419 | Restek A069639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.84638 | 0.2541 | 0.94944 | 0.29905 | 0.22168
METHIDATHION (SUPRACIDE) | 2033 | 61598GCM39 | 2010-10-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.46951 | Restek | A069639 | Restek A069639: 40 µl | 0.017891 | METHIDATHION_(SUPRACIDE) | . | 0.012 | 0.0084 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.46951 | Restek A069639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.84638 | 0.2541 | 0.94944 | 0.29905 | 0.22168
METHIDATHION (SUPRACIDE) | 2033 | 61598GCM39 | 2012-09-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.0724 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl | 0.0304 | METHIDATHION_(SUPRACIDE) | . | 0.012 | 0.0326 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0724 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.90855 | 0.23167 | 0.90855 | 0.32763 | 0.24287
METHIDATHION (SUPRACIDE) | 2033 | 61598GCM39 | 2013-01-15 | 2010-10-01 | 2050-09-30 | ug/L | 0.74474 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl | 0.076 | METHIDATHION_(SUPRACIDE) | . | 0.012 | 0.0566 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74474 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.90855 | 0.23167 | 0.90855 | 0.32763 | 0.24287
METHIDATHION (SUPRACIDE) | 2033 | 61598GCM39 | 2012-11-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.79333 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl | 0.15 | METHIDATHION_(SUPRACIDE) | . | 0.012 | 0.119 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79333 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.81644 | 0.029252 | 0.80667 | 0.056 | 0.041512
METHIDATHION (SUPRACIDE) | 2033 | 61598GCM39 | 2013-02-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.80667 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl | 0.03 | METHIDATHION_(SUPRACIDE) | . | 0.012 | 0.0242 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80667 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.81644 | 0.029252 | 0.80667 | 0.056 | 0.041512
METHIDATHION (SUPRACIDE) | 2033 | 61598GCM39 | 2013-04-02 | 2010-10-01 | 2050-09-30 | ug/L | 0.84933 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl | 0.075 | METHIDATHION_(SUPRACIDE) | . | 0.012 | 0.0637 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84933 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.81644 | 0.029252 | 0.80667 | 0.056 | 0.041512
METHIDATHION (SUPRACIDE) | 2033 | 61598GCM39 | 2013-09-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.82605 | Spex Organics, ERA | T1130514013, 0318-13-02.2 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl | 0.119 | METHIDATHION_(SUPRACIDE) | . | 0.012 | 0.0983 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82605 | SpT114013, ER03102.2 | Sp | ER | ER | T114013 | 03102.2 | 03102.2 | T114013 | 03102.2 | 03102.2 | Y | Recoverable Result | Y | 2 |  | 1 | 0.82605 |  | 0.82605 | 0 | 0
METHIDATHION (SUPRACIDE) | 2033 | 61598GCM39 | 2013-11-09 | 2010-10-01 | 2050-09-30 | ug/L | 1.0167 | Spex Organics, Supelco | T1130514013, LB99392 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl | 0.024 | METHIDATHION_(SUPRACIDE) | . | 0.012 | 0.0244 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0167 | SpT114013, SuLB99392 | Sp | Su | Su | T114013 | LB99392 | LB99392 | T114013 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0167 |  | 1.0167 | 0 | 0
METHIDATHION (SUPRACIDE) | 2033 | 61598GCM39 | 2012-10-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.80267 | Supelco, Abs | LB92783, 052412 | Supelco LB92783: 50 µl & Abs 052412: 50 µl | 0.075 | METHIDATHION_(SUPRACIDE) | . | 0.012 | 0.0602 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80267 | SuLB92783, Ab052412 | Su | Ab | Ab | LB92783 | 052412 | 052412 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.8 | 0.0037712 | 0.8 | 0.0053333 | 0.0039535
METHIDATHION (SUPRACIDE) | 2033 | 61598GCM39 | 2013-01-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.79733 | Supelco, Abs | LB92783, 052412 | Supelco LB92783: 50 µl & Abs 052412: 50 µl | 0.075 | METHIDATHION_(SUPRACIDE) | . | 0.012 | 0.0598 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79733 | SuLB92783, Ab052412 | Su | Ab | Ab | LB92783 | 052412 | 052412 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.8 | 0.0037712 | 0.8 | 0.0053333 | 0.0039535
METHIDATHION (SUPRACIDE) | 2033 | 61598GCM39 | 2013-11-23 | 2010-10-01 | 2050-09-30 | ug/L | 1.0333 | Supelco, Abs, Crescent | LB99392, 042413, 10802AL | Supelco LB99392: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl | 0.024 | METHIDATHION_(SUPRACIDE) | . | 0.012 | 0.0248 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0333 | SuLB99392, Ab042413, Cr10802AL | Su | Ab | Cr | LB99392 | 042413 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0333 |  | 1.0333 | 0 | 0
METHIDATHION (SUPRACIDE) | 2033 | 61598GCM39 | 2013-08-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.84667 | Supelco, Crescent | LB99392, 04CC101 | Supelco LB99392: 50 µl & Crescent 04CC101: 50 µl | 0.06 | METHIDATHION_(SUPRACIDE) | . | 0.012 | 0.0508 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84667 | SuLB99392, Cr04CC101 | Su | Cr | Cr | LB99392 | 04CC101 | 04CC101 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.84667 |  | 0.84667 | 0 | 0