## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
METOLACHLOR | 2033 | 39415GCM35 | 2012-12-06 | 2012-10-01 | 2050-09-30 | ug/L | 0.99342 | Abs, ERA | 052412, 0507-12-04.2 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl | 0.152 | METOLACHLOR | . | 0.012 | 0.151 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99342 | Ab052412, ER05004.2 | Ab | ER | ER | 052412 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.83947 | 0.21771 | 0.83947 | 0.30789 | 0.22824
METOLACHLOR | 2033 | 39415GCM35 | 2013-04-22 | 2012-10-01 | 2050-09-30 | ug/L | 0.68553 | Abs, ERA | 052412, 0507-12-04.2 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl | 0.076 | METOLACHLOR | . | 0.012 | 0.0521 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68553 | Ab052412, ER05004.2 | Ab | ER | ER | 052412 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.83947 | 0.21771 | 0.83947 | 0.30789 | 0.22824
METOLACHLOR | 2033 | 39415GCM35 | 2012-08-14 | 2010-10-01 | 2012-09-30 | ug/L | 1.0658 | Abs, Supelco | 052412, LB92783 | Abs 052412: 20 µl & Supelco LB92783: 20 µl | 0.0304 | METOLACHLOR | . | 0.02 | 0.0324 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0658 | Ab052412, SuLB92783 | Ab | Su | Su | 052412 | LB92783 | LB92783 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0658 |  | 1.0658 | 0 | 0
METOLACHLOR | 2033 | 39415GCM35 | 2012-06-16 | 2010-10-01 | 2012-09-30 | ug/L | 1.0822 | Abs | 052412 | Abs 052412: 20 µl | 0.0304 | METOLACHLOR | . | 0.02 | 0.0329 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0822 | Abs 052412 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.0822 |  | 1.0822 | 0 | 0
METOLACHLOR | 2033 | 39415GCM35 | 2013-07-11 | 2012-10-01 | 2050-09-30 | ug/L | 0.66016 | ChemService, ERA | 1473000, 0318-13-02.2 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl | 0.0512 | METOLACHLOR | . | 0.012 | 0.0338 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66016 | Ch1473000, ER03102.2 | Ch | ER | ER | 1473000 | 03102.2 | 03102.2 |  | 03102.2 | 03102.2 | Y | Recoverable Result | Y | 2 |  | 1 | 0.66016 |  | 0.66016 | 0 | 0
METOLACHLOR | 2033 | 39415GCM35 | 2013-06-05 | 2012-10-01 | 2050-09-30 | ug/L | 1.1581 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl | 0.1252 | METOLACHLOR | . | 0.012 | 0.145 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1581 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0443 | 0.16096 | 1.0443 | 0.22764 | 0.16874
METOLACHLOR | 2033 | 39415GCM35 | 2014-01-08 | 2012-10-01 | 2050-09-30 | ug/L | 0.93051 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl | 0.05008 | METOLACHLOR | . | 0.012 | 0.0466 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93051 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0443 | 0.16096 | 1.0443 | 0.22764 | 0.16874
METOLACHLOR | 2033 | 39415GCM35 | 2009-08-12 | 2008-10-01 | 2009-09-30 | ug/L | 1.0078 | ChemService | 406-99B | ChemService 406-99B: 25 µl | 0.17067 | METOLACHLOR | . | 0.014 | 0.172 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0078 | ChemService 406-99B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.163 | 0.21954 | 1.163 | 0.31047 | 0.23015
METOLACHLOR | 2033 | 39415GCM35 | 2009-12-01 | 2009-10-01 | 2010-09-30 | ug/L | 1.3183 | ChemService | 406-99B | ChemService 406-99B: 25 µl | 0.17371 | METOLACHLOR | . | 0.014 | 0.229 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3183 | ChemService 406-99B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.163 | 0.21954 | 1.163 | 0.31047 | 0.23015
METOLACHLOR | 2033 | 39415GCM35 | 2012-09-17 | 2010-10-01 | 2012-09-30 | ug/L | 0.90268 | Crescent, ERA | 05BB029, 0507-12-04.2 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl | 0.0298 | METOLACHLOR | . | 0.02 | 0.0269 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90268 | Cr05BB029, ER05004.2 | Cr | ER | ER | 05BB029 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.82215 | 0.1139 | 0.82215 | 0.16107 | 0.1194
METOLACHLOR | 2033 | 39415GCM35 | 2013-03-07 | 2012-10-01 | 2050-09-30 | ug/L | 0.74161 | Crescent, ERA | 05BB029, 0507-12-04.2 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl | 0.0298 | METOLACHLOR | E | 0.012 | 0.0221 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74161 | Cr05BB029, ER05004.2 | Cr | ER | ER | 05BB029 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Estimated Values | Y | 2 |  | 2 | 0.82215 | 0.1139 | 0.82215 | 0.16107 | 0.1194
METOLACHLOR | 2033 | 39415GCM35 | 2013-09-24 | 2012-10-01 | 2050-09-30 | ug/L | 0.92187 | ERA, Abs, Crescent | 0318-13-02.2, 042413, 10802AL | ERA 0318-13-02.2: 50 µl & Abs 042413: 50 µl & Crescent 10802AL: 10 µl | 0.128 | METOLACHLOR | . | 0.012 | 0.118 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92187 | ER03102.2, Ab042413, Cr10802AL | ER | Ab | Cr | 03102.2 | 042413 | 10802AL | 03102.2 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.80176 | 0.16987 | 0.80176 | 0.24023 | 0.17808
METOLACHLOR | 2033 | 39415GCM35 | 2014-01-10 | 2012-10-01 | 2050-09-30 | ug/L | 0.68164 | ERA, Abs, Crescent | 0318-13-02.2, 042413, 10802AL | ERA 0318-13-02.2: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl | 0.0512 | METOLACHLOR | . | 0.012 | 0.0349 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68164 | ER03102.2, Ab042413, Cr10802AL | ER | Ab | Cr | 03102.2 | 042413 | 10802AL | 03102.2 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.80176 | 0.16987 | 0.80176 | 0.24023 | 0.17808
METOLACHLOR | 2033 | 39415GCM35 | 2013-06-11 | 2012-10-01 | 2050-09-30 | ug/L | 0.70312 | ERA, Crescent | 0318-13-02.2, 04CC101 | ERA 0318-13-02.2: 20 µl & Crescent 04CC101: 20 µl | 0.0512 | METOLACHLOR | . | 0.012 | 0.036 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70312 | ER03102.2, Cr04CC101 | ER | Cr | Cr | 03102.2 | 04CC101 | 04CC101 | 03102.2 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.70312 |  | 0.70312 | 0 | 0
METOLACHLOR | 2033 | 39415GCM35 | 2011-09-13 | 2010-10-01 | 2012-09-30 | ug/L | 0.78613 | ERA | 0318-13-02.2 | ERA 0318-13-02.2: 40 µl | 0.1024 | METOLACHLOR | . | 0.02 | 0.0805 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78613 | ERA 0318-13-02.2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.78613 |  | 0.78613 | 0 | 0
METOLACHLOR | 2033 | 39415GCM35 | 2009-09-16 | 2008-10-01 | 2009-09-30 | ug/L | 0.77055 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 25 µl | 0.1752 | METOLACHLOR | . | 0.014 | 0.135 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77055 | ERA 0804-08-02PEST | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.89857 | 0.086204 | 0.93579 | 0.1023 | 0.075832
METOLACHLOR | 2033 | 39415GCM35 | 2009-11-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.95213 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 40 µl | 0.27832 | METOLACHLOR | . | 0.014 | 0.265 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95213 | ERA 0804-08-02PEST | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.89857 | 0.086204 | 0.93579 | 0.1023 | 0.075832
METOLACHLOR | 2033 | 39415GCM35 | 2010-01-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.9473 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 25 µl | 0.17418 | METOLACHLOR | . | 0.014 | 0.165 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9473 | ERA 0804-08-02PEST | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.89857 | 0.086204 | 0.93579 | 0.1023 | 0.075832
METOLACHLOR | 2033 | 39415GCM35 | 2010-01-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.92428 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 40 µl | 0.26832 | METOLACHLOR | . | 0.014 | 0.248 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92428 | ERA 0804-08-02PEST | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.89857 | 0.086204 | 0.93579 | 0.1023 | 0.075832
METOLACHLOR | 2033 | 39415GCM35 | 2011-01-13 | 2010-10-01 | 2012-09-30 | ug/L | 0.88492 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 80 µl | 0.097862 | METOLACHLOR | E | 0.02 | 0.0866 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88492 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.86197 | 0.1466 | 0.84221 | 0.13289 | 0.098509
METOLACHLOR | 2033 | 39415GCM35 | 2011-02-08 | 2010-10-01 | 2012-09-30 | ug/L | 0.83077 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.048268 | METOLACHLOR | . | 0.02 | 0.0401 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83077 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.86197 | 0.1466 | 0.84221 | 0.13289 | 0.098509
METOLACHLOR | 2033 | 39415GCM35 | 2011-02-28 | 2010-10-01 | 2012-09-30 | ug/L | 0.7258 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 80 µl | 0.097823 | METOLACHLOR | . | 0.02 | 0.071 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7258 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.86197 | 0.1466 | 0.84221 | 0.13289 | 0.098509
METOLACHLOR | 2033 | 39415GCM35 | 2011-04-13 | 2010-10-01 | 2012-09-30 | ug/L | 0.66469 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.049497 | METOLACHLOR | . | 0.02 | 0.0329 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66469 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.86197 | 0.1466 | 0.84221 | 0.13289 | 0.098509
METOLACHLOR | 2033 | 39415GCM35 | 2011-06-20 | 2010-10-01 | 2012-09-30 | ug/L | 0.82852 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.049727 | METOLACHLOR | . | 0.02 | 0.0412 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82852 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.86197 | 0.1466 | 0.84221 | 0.13289 | 0.098509
METOLACHLOR | 2033 | 39415GCM35 | 2011-07-28 | 2010-10-01 | 2012-09-30 | ug/L | 1.0935 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.0492 | METOLACHLOR | . | 0.02 | 0.0538 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0935 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.86197 | 0.1466 | 0.84221 | 0.13289 | 0.098509
METOLACHLOR | 2033 | 39415GCM35 | 2011-10-25 | 2010-10-01 | 2012-09-30 | ug/L | 0.85366 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.0492 | METOLACHLOR | . | 0.02 | 0.042 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85366 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.86197 | 0.1466 | 0.84221 | 0.13289 | 0.098509
METOLACHLOR | 2033 | 39415GCM35 | 2011-12-03 | 2010-10-01 | 2012-09-30 | ug/L | 0.75203 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 80 µl | 0.0984 | METOLACHLOR | . | 0.02 | 0.074 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75203 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.86197 | 0.1466 | 0.84221 | 0.13289 | 0.098509
METOLACHLOR | 2033 | 39415GCM35 | 2012-03-05 | 2010-10-01 | 2012-09-30 | ug/L | 0.86382 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.0492 | METOLACHLOR | . | 0.02 | 0.0425 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86382 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.86197 | 0.1466 | 0.84221 | 0.13289 | 0.098509
METOLACHLOR | 2033 | 39415GCM35 | 2012-05-08 | 2010-10-01 | 2012-09-30 | ug/L | 1.122 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.0492 | METOLACHLOR | . | 0.02 | 0.0552 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.122 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.86197 | 0.1466 | 0.84221 | 0.13289 | 0.098509
METOLACHLOR | 2033 | 39415GCM35 | 2010-02-16 | 2009-10-01 | 2010-09-30 | ug/L | 1.5754 | NSI | 090109-01Pest | NSI 090109-01Pest: 40 µl | 0.19233 | METOLACHLOR | . | 0.014 | 0.303 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5754 | NSI 090109-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.5077 | 0.3699 | 1.4959 | 0.52524 | 0.38936
METOLACHLOR | 2033 | 39415GCM35 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 1.0738 | NSI | 090109-01Pest | NSI 090109-01Pest: 20 µl | 0.09136 | METOLACHLOR | . | 0.014 | 0.0981 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0738 | NSI 090109-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.5077 | 0.3699 | 1.4959 | 0.52524 | 0.38936
METOLACHLOR | 2033 | 39415GCM35 | 2010-08-03 | 2009-10-01 | 2010-09-30 | ug/L | 1.9651 | NSI | 090109-01Pest | NSI 090109-01Pest: 20 µl | 0.095159 | METOLACHLOR | . | 0.014 | 0.187 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.9651 | NSI 090109-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.5077 | 0.3699 | 1.4959 | 0.52524 | 0.38936
METOLACHLOR | 2033 | 39415GCM35 | 2010-10-27 | 2010-10-01 | 2012-09-30 | ug/L | 1.4163 | NSI | 090109-01Pest | NSI 090109-01Pest: 100 µl | 0.46953 | METOLACHLOR | . | 0.02 | 0.665 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4163 | NSI 090109-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.5077 | 0.3699 | 1.4959 | 0.52524 | 0.38936
METOLACHLOR | 2033 | 39415GCM35 | 2009-09-03 | 2008-10-01 | 2009-09-30 | ug/L | 1.0212 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | METOLACHLOR | . | 0.014 | 0.076 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0212 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.0212 |  | 1.0212 | 0 | 0
METOLACHLOR | 2033 | 39415GCM35 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.8999 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | METOLACHLOR | . | 0.014 | 0.0349 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8999 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.9956 | 0.093914 | 0.9993 | 0.18772 | 0.13915
METOLACHLOR | 2033 | 39415GCM35 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 1.0876 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | METOLACHLOR | . | 0.014 | 0.0441 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0876 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.9956 | 0.093914 | 0.9993 | 0.18772 | 0.13915
METOLACHLOR | 2033 | 39415GCM35 | 2010-12-16 | 2010-10-01 | 2012-09-30 | ug/L | 0.99929 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | METOLACHLOR | . | 0.02 | 0.0404 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9993 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.9956 | 0.093914 | 0.9993 | 0.18772 | 0.13915
METOLACHLOR | 2033 | 39415GCM35 | 2011-01-20 | 2010-10-01 | 2012-09-30 | ug/L | 1.0824 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | METOLACHLOR | . | 0.02 | 0.109 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0824 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.96759 | 0.10566 | 0.96347 | 0.17749 | 0.13158
METOLACHLOR | 2033 | 39415GCM35 | 2011-03-05 | 2010-10-01 | 2012-09-30 | ug/L | 1.0303 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 25 µl | 0.02475 | METOLACHLOR | . | 0.02 | 0.0255 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0303 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.96759 | 0.10566 | 0.96347 | 0.17749 | 0.13158
METOLACHLOR | 2033 | 39415GCM35 | 2011-04-20 | 2010-10-01 | 2012-09-30 | ug/L | 0.89664 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.099483 | METOLACHLOR | . | 0.02 | 0.0892 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89664 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.96759 | 0.10566 | 0.96347 | 0.17749 | 0.13158
METOLACHLOR | 2033 | 39415GCM35 | 2011-06-22 | 2010-10-01 | 2012-09-30 | ug/L | 0.86104 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 75 µl | 0.074096 | METOLACHLOR | . | 0.02 | 0.0638 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86105 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.96759 | 0.10566 | 0.96347 | 0.17749 | 0.13158
METOLACHLOR | 2033 | 39415GCM35 | 2012-09-26 | 2010-10-01 | 2012-09-30 | ug/L | 0.82566 | Restek, Abs | A088380, 052412 | Restek A088380: 20 µl & Abs 052412: 20 µl | 0.0304 | METOLACHLOR | . | 0.02 | 0.0251 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82566 | ReA088380, Ab052412 | Re | Ab | Ab | A088380 | 052412 | 052412 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.74836 | 0.10932 | 0.74836 | 0.15461 | 0.11461
METOLACHLOR | 2033 | 39415GCM35 | 2013-03-18 | 2012-10-01 | 2050-09-30 | ug/L | 0.67105 | Restek, Abs | A088380, 052412 | Restek A088380: 20 µl & Abs 052412: 20 µl | 0.0304 | METOLACHLOR | . | 0.012 | 0.0204 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67105 | ReA088380, Ab052412 | Re | Ab | Ab | A088380 | 052412 | 052412 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.74836 | 0.10932 | 0.74836 | 0.15461 | 0.11461
METOLACHLOR | 2033 | 39415GCM35 | 2012-11-14 | 2012-10-01 | 2050-09-30 | ug/L | 0.90336 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl | 0.0745 | METOLACHLOR | . | 0.012 | 0.0673 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90336 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.96219 | 0.13576 | 0.90336 | 0.25168 | 0.18657
METOLACHLOR | 2033 | 39415GCM35 | 2013-02-06 | 2012-10-01 | 2050-09-30 | ug/L | 0.86577 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl | 0.149 | METOLACHLOR | . | 0.012 | 0.129 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86577 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.96219 | 0.13576 | 0.90336 | 0.25168 | 0.18657
METOLACHLOR | 2033 | 39415GCM35 | 2013-05-22 | 2012-10-01 | 2050-09-30 | ug/L | 1.1175 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl | 0.0298 | METOLACHLOR | . | 0.012 | 0.0333 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1174 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.96219 | 0.13576 | 0.90336 | 0.25168 | 0.18657
METOLACHLOR | 2033 | 39415GCM35 | 2013-07-23 | 2012-10-01 | 2050-09-30 | ug/L | 0.84106 | Restek, Abs | A093651, 012513 | Restek A093651: 20 µl & Abs 012513: 20 µl | 0.0302 | METOLACHLOR | . | 0.012 | 0.0254 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84106 | ReA093651, Ab012513 | Re | Ab | Ab | A093651 | 012513 | 012513 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.84106 |  | 0.84106 | 0 | 0
METOLACHLOR | 2033 | 39415GCM35 | 2013-09-14 | 2012-10-01 | 2050-09-30 | ug/L | 0.71523 | Restek, Abs, Crescent | A093651, 012513, 10802AL | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl | 0.0755 | METOLACHLOR | . | 0.012 | 0.054 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71523 | ReA093651, Ab012513, Cr10802AL | Re | Ab | Cr | A093651 | 012513 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.71523 |  | 0.71523 | 0 | 0
METOLACHLOR | 2033 | 39415GCM35 | 2013-11-04 | 2012-10-01 | 2050-09-30 | ug/L | 0.73026 | Restek, Abs, Crescent | A093651, 052412, 10802AL | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl | 0.0304 | METOLACHLOR | . | 0.012 | 0.0222 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73026 | ReA093651, Ab052412, Cr10802AL | Re | Ab | Cr | A093651 | 052412 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.80921 | 0.11165 | 0.80921 | 0.15789 | 0.11705
METOLACHLOR | 2033 | 39415GCM35 | 2014-01-08 | 2012-10-01 | 2050-09-30 | ug/L | 0.88816 | Restek, Abs, Crescent | A093651, 052412, 10802AL | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl | 0.0304 | METOLACHLOR | . | 0.012 | 0.027 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88816 | ReA093651, Ab052412, Cr10802AL | Re | Ab | Cr | A093651 | 052412 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.80921 | 0.11165 | 0.80921 | 0.15789 | 0.11705
METOLACHLOR | 2033 | 39415GCM35 | 2012-08-29 | 2010-10-01 | 2012-09-30 | ug/L | 0.88591 | Spex Organics, Crescent | T1120530013, 05BB029 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl | 0.0298 | METOLACHLOR | . | 0.02 | 0.0264 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88591 | SpT110013, Cr05BB029 | Sp | Cr | Cr | T110013 | 05BB029 | 05BB029 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.96309 | 0.10915 | 0.96309 | 0.15436 | 0.11443
METOLACHLOR | 2033 | 39415GCM35 | 2012-12-20 | 2012-10-01 | 2050-09-30 | ug/L | 1.0403 | Spex Organics, Crescent | T1120530013, 05BB029 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl | 0.149 | METOLACHLOR | . | 0.012 | 0.155 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0403 | SpT110013, Cr05BB029 | Sp | Cr | Cr | T110013 | 05BB029 | 05BB029 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.96309 | 0.10915 | 0.96309 | 0.15436 | 0.11443
METOLACHLOR | 2033 | 39415GCM35 | 2013-09-20 | 2012-10-01 | 2050-09-30 | ug/L | 1.0039 | Spex Organics, ERA | T1130514013, 0318-13-02.2 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl | 0.256 | METOLACHLOR | . | 0.012 | 0.257 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0039 | SpT114013, ER03102.2 | Sp | ER | ER | T114013 | 03102.2 | 03102.2 | T114013 | 03102.2 | 03102.2 | Y | Recoverable Result | Y | 2 |  | 1 | 1.0039 |  | 1.0039 | 0 | 0
METOLACHLOR | 2033 | 39415GCM35 | 2013-11-09 | 2012-10-01 | 2050-09-30 | ug/L | 0.85663 | Spex Organics, Supelco | T1130514013, LB99392 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl | 0.05008 | METOLACHLOR | . | 0.012 | 0.0429 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85663 | SpT114013, SuLB99392 | Sp | Su | Su | T114013 | LB99392 | LB99392 | T114013 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.85663 |  | 0.85663 | 0 | 0
METOLACHLOR | 2033 | 39415GCM35 | 2011-01-11 | 2010-10-01 | 2012-09-30 | ug/L | 0.88769 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.095078 | METOLACHLOR | . | 0.02 | 0.0844 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88769 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.90586 | 0.14846 | 0.86875 | 0.12145 | 0.090033
METOLACHLOR | 2033 | 39415GCM35 | 2011-01-21 | 2010-10-01 | 2012-09-30 | ug/L | 1.1169 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.047899 | METOLACHLOR | . | 0.02 | 0.0535 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1169 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.90586 | 0.14846 | 0.86875 | 0.12145 | 0.090033
METOLACHLOR | 2033 | 39415GCM35 | 2011-02-19 | 2010-10-01 | 2012-09-30 | ug/L | 0.68855 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.048217 | METOLACHLOR | . | 0.02 | 0.0332 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68855 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.90586 | 0.14846 | 0.86875 | 0.12145 | 0.090033
METOLACHLOR | 2033 | 39415GCM35 | 2011-03-23 | 2010-10-01 | 2012-09-30 | ug/L | 0.95062 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.047022 | METOLACHLOR | . | 0.02 | 0.0447 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95062 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.90586 | 0.14846 | 0.86875 | 0.12145 | 0.090033
METOLACHLOR | 2033 | 39415GCM35 | 2011-05-14 | 2010-10-01 | 2012-09-30 | ug/L | 0.74801 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.048529 | METOLACHLOR | . | 0.02 | 0.0363 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74801 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.90586 | 0.14846 | 0.86875 | 0.12145 | 0.090033
METOLACHLOR | 2033 | 39415GCM35 | 2011-07-07 | 2010-10-01 | 2012-09-30 | ug/L | 0.96875 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.096 | METOLACHLOR | . | 0.02 | 0.093 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96875 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.90586 | 0.14846 | 0.86875 | 0.12145 | 0.090033
METOLACHLOR | 2033 | 39415GCM35 | 2011-09-19 | 2010-10-01 | 2012-09-30 | ug/L | 0.81875 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.048 | METOLACHLOR | . | 0.02 | 0.0393 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81875 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.90586 | 0.14846 | 0.86875 | 0.12145 | 0.090033
METOLACHLOR | 2033 | 39415GCM35 | 2011-09-29 | 2010-10-01 | 2012-09-30 | ug/L | 0.84167 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.096 | METOLACHLOR | . | 0.02 | 0.0808 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84167 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.90586 | 0.14846 | 0.86875 | 0.12145 | 0.090033
METOLACHLOR | 2033 | 39415GCM35 | 2011-11-17 | 2010-10-01 | 2012-09-30 | ug/L | 0.86875 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.048 | METOLACHLOR | . | 0.02 | 0.0417 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86875 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.90586 | 0.14846 | 0.86875 | 0.12145 | 0.090033
METOLACHLOR | 2033 | 39415GCM35 | 2011-12-21 | 2010-10-01 | 2012-09-30 | ug/L | 0.94896 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.096 | METOLACHLOR | . | 0.02 | 0.0911 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94896 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.90586 | 0.14846 | 0.86875 | 0.12145 | 0.090033
METOLACHLOR | 2033 | 39415GCM35 | 2012-01-27 | 2010-10-01 | 2012-09-30 | ug/L | 0.85833 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.096 | METOLACHLOR | . | 0.02 | 0.0824 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85833 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.90586 | 0.14846 | 0.86875 | 0.12145 | 0.090033
METOLACHLOR | 2033 | 39415GCM35 | 2012-04-05 | 2010-10-01 | 2012-09-30 | ug/L | 1.25 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.048 | METOLACHLOR | E | 0.02 | 0.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.25 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.90586 | 0.14846 | 0.86875 | 0.12145 | 0.090033
METOLACHLOR | 2033 | 39415GCM35 | 2012-06-02 | 2010-10-01 | 2012-09-30 | ug/L | 0.82917 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.048 | METOLACHLOR | . | 0.02 | 0.0398 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82917 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.90586 | 0.14846 | 0.86875 | 0.12145 | 0.090033
METOLACHLOR | 2033 | 39415GCM35 | 2012-10-18 | 2012-10-01 | 2050-09-30 | ug/L | 0.80132 | Supelco, Abs | LB92783, 052412 | Supelco LB92783: 50 µl & Abs 052412: 50 µl | 0.076 | METOLACHLOR | . | 0.012 | 0.0609 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80132 | SuLB92783, Ab052412 | Su | Ab | Ab | LB92783 | 052412 | 052412 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.86118 | 0.084667 | 0.86118 | 0.11974 | 0.08876
METOLACHLOR | 2033 | 39415GCM35 | 2013-01-17 | 2012-10-01 | 2050-09-30 | ug/L | 0.92105 | Supelco, Abs | LB92783, 052412 | Supelco LB92783: 50 µl & Abs 052412: 50 µl | 0.076 | METOLACHLOR | . | 0.012 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92105 | SuLB92783, Ab052412 | Su | Ab | Ab | LB92783 | 052412 | 052412 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.86118 | 0.084667 | 0.86118 | 0.11974 | 0.08876
METOLACHLOR | 2033 | 39415GCM35 | 2013-11-23 | 2012-10-01 | 2050-09-30 | ug/L | 0.97843 | Supelco, Abs, Crescent | LB99392, 042413, 10802AL | Supelco LB99392: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl | 0.05008 | METOLACHLOR | . | 0.012 | 0.049 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97843 | SuLB99392, Ab042413, Cr10802AL | Su | Ab | Cr | LB99392 | 042413 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.97843 |  | 0.97843 | 0 | 0
METOLACHLOR | 2033 | 39415GCM35 | 2013-08-19 | 2012-10-01 | 2050-09-30 | ug/L | 0.91853 | Supelco, Crescent | LB99392, 04CC101 | Supelco LB99392: 50 µl & Crescent 04CC101: 50 µl | 0.1252 | METOLACHLOR | . | 0.012 | 0.115 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91853 | SuLB99392, Cr04CC101 | Su | Cr | Cr | LB99392 | 04CC101 | 04CC101 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.91853 |  | 0.91853 | 0 | 0
METOLACHLOR | 2033 | 39415GCM35 | 2010-02-06 | 2009-10-01 | 2010-09-30 | ug/L | 0.63687 | Supelco | LB69639 | Supelco LB69639: 20 µl | 0.091071 | METOLACHLOR | . | 0.014 | 0.058 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63687 | Supelco LB69639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.81159 | 0.13954 | 0.82122 | 0.2071 | 0.15352
METOLACHLOR | 2033 | 39415GCM35 | 2010-04-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.77921 | Supelco | LB69639 | Supelco LB69639: 20 µl | 0.090605 | METOLACHLOR | . | 0.014 | 0.0706 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77921 | Supelco LB69639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.81159 | 0.13954 | 0.82122 | 0.2071 | 0.15352
METOLACHLOR | 2033 | 39415GCM35 | 2010-07-07 | 2009-10-01 | 2010-09-30 | ug/L | 0.86324 | Supelco | LB69639 | Supelco LB69639: 40 µl | 0.1784 | METOLACHLOR | . | 0.014 | 0.154 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86324 | Supelco LB69639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.81159 | 0.13954 | 0.82122 | 0.2071 | 0.15352
METOLACHLOR | 2033 | 39415GCM35 | 2010-09-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.96704 | Supelco | LB69639 | Supelco LB69639: 40 µl | 0.182 | METOLACHLOR | . | 0.014 | 0.176 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96704 | Supelco LB69639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.81159 | 0.13954 | 0.82122 | 0.2071 | 0.15352