## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
METRIBUZIN | 2033 | 82630GCM35 | 2012-12-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.74342 | Abs, ERA | 052412, 0507-12-04.2 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl | 0.152 | METRIBUZIN | . | 0.012 | 0.113 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74342 | Ab052412, ER05004.2 | Ab | ER | ER | 052412 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.69342 | 0.070711 | 0.69342 | 9999999999999996 | 0.074129
METRIBUZIN | 2033 | 82630GCM35 | 2013-04-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.64342 | Abs, ERA | 052412, 0507-12-04.2 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl | 0.076 | METRIBUZIN | . | 0.012 | 0.0489 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64342 | Ab052412, ER05004.2 | Ab | ER | ER | 052412 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.69342 | 0.070711 | 0.69342 | 9999999999999996 | 0.074129
METRIBUZIN | 2033 | 82630GCM35 | 2012-08-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.9 | Abs, Supelco | 052412, LB92783 | Abs 052412: 20 µl & Supelco LB92783: 20 µl | 0.03 | METRIBUZIN | . | 0.012 | 0.027 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9 | Ab052412, SuLB92783 | Ab | Su | Su | 052412 | LB92783 | LB92783 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.9 |  | 0.9 | 0 | 0
METRIBUZIN | 2033 | 82630GCM35 | 2013-07-11 | 2010-10-01 | 2050-09-30 | ug/L | 0.59 | ChemService, ERA | 1473000, 0318-13-02.2 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl | 0.04 | METRIBUZIN | . | 0.012 | 0.0236 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59 | Ch1473000, ER03102.2 | Ch | ER | ER | 1473000 | 03102.2 | 03102.2 |  | 03102.2 | 03102.2 | Y | Recoverable Result | Y | 2 |  | 1 | 0.59 |  | 0.59 | 0 | 0
METRIBUZIN | 2033 | 82630GCM35 | 2013-06-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.963 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl | 0.1 | METRIBUZIN | . | 0.012 | 0.0963 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.963 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.9515 | 0.016263 | 0.9515 | 0.023 | 0.01705
METRIBUZIN | 2033 | 82630GCM35 | 2014-01-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.94 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl | 0.04 | METRIBUZIN | . | 0.012 | 0.0376 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.9515 | 0.016263 | 0.9515 | 0.023 | 0.01705
METRIBUZIN | 2033 | 82630GCM35 | 2012-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 1 | Crescent, ERA | 05BB029, 0507-12-04.2 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl | 0.0304 | METRIBUZIN | . | 0.012 | 0.0304 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | Cr05BB029, ER05004.2 | Cr | ER | ER | 05BB029 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.86513 | 0.19073 | 0.86513 | 0.26974 | 0.19995
METRIBUZIN | 2033 | 82630GCM35 | 2013-03-07 | 2010-10-01 | 2050-09-30 | ug/L | 0.73026 | Crescent, ERA | 05BB029, 0507-12-04.2 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl | 0.0304 | METRIBUZIN | . | 0.012 | 0.0222 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73026 | Cr05BB029, ER05004.2 | Cr | ER | ER | 05BB029 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.86513 | 0.19073 | 0.86513 | 0.26974 | 0.19995
METRIBUZIN | 2033 | 82630GCM35 | 2013-09-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.648 | ERA, Abs, Crescent | 0318-13-02.2, 042413, 10802AL | ERA 0318-13-02.2: 50 µl & Abs 042413: 50 µl & Crescent 10802AL: 10 µl | 0.1 | METRIBUZIN | . | 0.012 | 0.0648 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.648 | ER03102.2, Ab042413, Cr10802AL | ER | Ab | Cr | 03102.2 | 042413 | 10802AL | 03102.2 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.58775 | 0.085206 | 0.58775 | 0.1205 | 0.089325
METRIBUZIN | 2033 | 82630GCM35 | 2014-01-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.5275 | ERA, Abs, Crescent | 0318-13-02.2, 042413, 10802AL | ERA 0318-13-02.2: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl | 0.04 | METRIBUZIN | . | 0.012 | 0.0211 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5275 | ER03102.2, Ab042413, Cr10802AL | ER | Ab | Cr | 03102.2 | 042413 | 10802AL | 03102.2 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.58775 | 0.085206 | 0.58775 | 0.1205 | 0.089325
METRIBUZIN | 2033 | 82630GCM35 | 2013-06-11 | 2010-10-01 | 2050-09-30 | ug/L | 0.68 | ERA, Crescent | 0318-13-02.2, 04CC101 | ERA 0318-13-02.2: 20 µl & Crescent 04CC101: 20 µl | 0.04 | METRIBUZIN | . | 0.012 | 0.0272 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68 | ER03102.2, Cr04CC101 | ER | Cr | Cr | 03102.2 | 04CC101 | 04CC101 | 03102.2 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.68 |  | 0.68 | 0 | 0
METRIBUZIN | 2033 | 82630GCM35 | 2011-09-13 | 2010-10-01 | 2050-09-30 | ug/L | 0.35 | ERA | 0318-13-02.2 | ERA 0318-13-02.2: 40 µl | 0.08 | METRIBUZIN | . | 0.012 | 0.028 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.35 | ERA 0318-13-02.2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.35 |  | 0.35 | 0 | 0
METRIBUZIN | 2033 | 82630GCM35 | 2012-10-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.80132 | ERA | 0507-12-04.2 | ERA 0507-12-04.2: 50 µl | 0.076 | METRIBUZIN | . | 0.012 | 0.0609 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80132 | ERA 0507-12-04.2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.80132 |  | 0.80132 | 0 | 0
METRIBUZIN | 2033 | 82630GCM35 | 2011-01-13 | 2010-10-01 | 2050-09-30 | ug/L | 1.1683 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 80 µl | 0.04177 | METRIBUZIN | . | 0.012 | 0.0488 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1683 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.90279 | 0.16148 | 0.85014 | 0.27141 | 0.2012
METRIBUZIN | 2033 | 82630GCM35 | 2011-02-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.86883 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.020602 | METRIBUZIN | . | 0.012 | 0.0179 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86883 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.90279 | 0.16148 | 0.85014 | 0.27141 | 0.2012
METRIBUZIN | 2033 | 82630GCM35 | 2011-02-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.8143 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 80 µl | 0.041754 | METRIBUZIN | . | 0.012 | 0.034 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8143 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.90279 | 0.16148 | 0.85014 | 0.27141 | 0.2012
METRIBUZIN | 2033 | 82630GCM35 | 2011-04-13 | 2010-10-01 | 2050-09-30 | ug/L | 0.79047 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.021127 | METRIBUZIN | . | 0.012 | 0.0167 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79047 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.90279 | 0.16148 | 0.85014 | 0.27141 | 0.2012
METRIBUZIN | 2033 | 82630GCM35 | 2011-06-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.86219 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.021225 | METRIBUZIN | . | 0.012 | 0.0183 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86219 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.90279 | 0.16148 | 0.85014 | 0.27141 | 0.2012
METRIBUZIN | 2033 | 82630GCM35 | 2011-07-28 | 2010-10-01 | 2050-09-30 | ug/L | 1.0857 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.021 | METRIBUZIN | . | 0.012 | 0.0228 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0857 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.90279 | 0.16148 | 0.85014 | 0.27141 | 0.2012
METRIBUZIN | 2033 | 82630GCM35 | 2011-10-25 | 2010-10-01 | 2050-09-30 | ug/L | 0.8381 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.021 | METRIBUZIN | . | 0.012 | 0.0176 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8381 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.90279 | 0.16148 | 0.85014 | 0.27141 | 0.2012
METRIBUZIN | 2033 | 82630GCM35 | 2011-12-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.67143 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 80 µl | 0.042 | METRIBUZIN | . | 0.012 | 0.0282 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67143 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.90279 | 0.16148 | 0.85014 | 0.27141 | 0.2012
METRIBUZIN | 2033 | 82630GCM35 | 2012-03-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.81905 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.021 | METRIBUZIN | . | 0.012 | 0.0172 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81905 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.90279 | 0.16148 | 0.85014 | 0.27141 | 0.2012
METRIBUZIN | 2033 | 82630GCM35 | 2012-05-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.1095 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.021 | METRIBUZIN | . | 0.012 | 0.0233 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1095 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.90279 | 0.16148 | 0.85014 | 0.27141 | 0.2012
METRIBUZIN | 2033 | 82630GCM35 | 2009-09-03 | 2008-10-01 | 2009-09-30 | ug/L | 0.83311 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | METRIBUZIN | . | 0.016 | 0.062 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83311 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.83311 |  | 0.83311 | 0 | 0
METRIBUZIN | 2033 | 82630GCM35 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.81996 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | METRIBUZIN | . | 0.012 | 0.0318 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81996 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.97964 | 0.15392 | 0.99187 | 0.30711 | 0.22766
METRIBUZIN | 2033 | 82630GCM35 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 1.1271 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | METRIBUZIN | . | 0.012 | 0.0457 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1271 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.97964 | 0.15392 | 0.99187 | 0.30711 | 0.22766
METRIBUZIN | 2033 | 82630GCM35 | 2010-12-16 | 2010-10-01 | 2050-09-30 | ug/L | 0.99187 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | METRIBUZIN | . | 0.012 | 0.0401 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99187 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.97964 | 0.15392 | 0.99187 | 0.30711 | 0.22766
METRIBUZIN | 2033 | 82630GCM35 | 2011-01-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.96321 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | METRIBUZIN | . | 0.012 | 0.097 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96321 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.89583 | 0.085591 | 0.90329 | 0.14529 | 0.1077
METRIBUZIN | 2033 | 82630GCM35 | 2011-03-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.97374 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 25 µl | 0.02475 | METRIBUZIN | . | 0.012 | 0.0241 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97374 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.89583 | 0.085591 | 0.90329 | 0.14529 | 0.1077
METRIBUZIN | 2033 | 82630GCM35 | 2011-04-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.84336 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.099483 | METRIBUZIN | . | 0.012 | 0.0839 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84336 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.89583 | 0.085591 | 0.90329 | 0.14529 | 0.1077
METRIBUZIN | 2033 | 82630GCM35 | 2011-06-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.80301 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 75 µl | 0.074096 | METRIBUZIN | . | 0.012 | 0.0595 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80301 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.89583 | 0.085591 | 0.90329 | 0.14529 | 0.1077
METRIBUZIN | 2033 | 82630GCM35 | 2012-07-14 | 2010-10-01 | 2050-09-30 | ug/L | 1.0533 | Restek, Supelco | A088380, LB92783 | Restek A088380: 20 µl & Supelco LB92783: 20 µl | 0.03 | METRIBUZIN | . | 0.012 | 0.0316 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0533 | ReA088380, SuLB92783 | Re | Su | Su | A088380 | LB92783 | LB92783 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0533 |  | 1.0533 | 0 | 0
METRIBUZIN | 2033 | 82630GCM35 | 2009-08-25 | 2008-10-01 | 2009-09-30 | ug/L | 0.9914 | Restek | A063025 | Restek A063025: 40 µl | 0.24612 | METRIBUZIN | . | 0.016 | 0.244 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9914 | Restek A063025 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.0009 | 0.013479 | 1.0009 | 0.019063 | 0.014131
METRIBUZIN | 2033 | 82630GCM35 | 2009-12-11 | 2009-10-01 | 2010-09-30 | ug/L | 1.0105 | Restek | A063025 | Restek A063025: 25 µl | 0.15241 | METRIBUZIN | . | 0.012 | 0.154 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0105 | Restek A063025 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.0009 | 0.013479 | 1.0009 | 0.019063 | 0.014131
METRIBUZIN | 2033 | 82630GCM35 | 2012-09-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.0822 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl | 0.0304 | METRIBUZIN | . | 0.012 | 0.0329 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0822 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.93586 | 0.20701 | 0.93586 | 0.29276 | 0.21702
METRIBUZIN | 2033 | 82630GCM35 | 2013-01-15 | 2010-10-01 | 2050-09-30 | ug/L | 0.78947 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl | 0.076 | METRIBUZIN | . | 0.012 | 0.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78947 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.93586 | 0.20701 | 0.93586 | 0.29276 | 0.21702
METRIBUZIN | 2033 | 82630GCM35 | 2012-11-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.8 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl | 0.15 | METRIBUZIN | . | 0.012 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.79244 | 0.088908 | 0.8 | 0.17733 | 0.13146
METRIBUZIN | 2033 | 82630GCM35 | 2013-02-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.7 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl | 0.03 | METRIBUZIN | . | 0.012 | 0.021 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.79244 | 0.088908 | 0.8 | 0.17733 | 0.13146
METRIBUZIN | 2033 | 82630GCM35 | 2013-04-02 | 2010-10-01 | 2050-09-30 | ug/L | 0.87733 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl | 0.075 | METRIBUZIN | . | 0.012 | 0.0658 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87733 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.79244 | 0.088908 | 0.8 | 0.17733 | 0.13146
METRIBUZIN | 2033 | 82630GCM35 | 2013-09-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.62 | Spex Organics, ERA | T1130514013, 0318-13-02.2 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl | 0.2 | METRIBUZIN | . | 0.012 | 0.124 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62 | SpT114013, ER03102.2 | Sp | ER | ER | T114013 | 03102.2 | 03102.2 | T114013 | 03102.2 | 03102.2 | Y | Recoverable Result | Y | 2 |  | 1 | 0.62 |  | 0.62 | 0 | 0
METRIBUZIN | 2033 | 82630GCM35 | 2013-11-09 | 2010-10-01 | 2050-09-30 | ug/L | 0.9975 | Spex Organics, Supelco | T1130514013, LB99392 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl | 0.04 | METRIBUZIN | . | 0.012 | 0.0399 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9975 | SpT114013, SuLB99392 | Sp | Su | Su | T114013 | LB99392 | LB99392 | T114013 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.9975 |  | 0.9975 | 0 | 0
METRIBUZIN | 2033 | 82630GCM35 | 2010-06-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.7348 | Spex Organics | T1090901009 | Spex Organics T1090901009: 20 µl | 0.098394 | METRIBUZIN | . | 0.012 | 0.0723 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7348 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.7822 | 0.13816 | 0.72283 | 0.15839 | 0.11741
METRIBUZIN | 2033 | 82630GCM35 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.98798 | Spex Organics | T1090901009 | Spex Organics T1090901009: 100 µl | 0.49495 | METRIBUZIN | . | 0.012 | 0.489 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98798 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.7822 | 0.13816 | 0.72283 | 0.15839 | 0.11741
METRIBUZIN | 2033 | 82630GCM35 | 2010-09-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.71085 | Spex Organics | T1090901009 | Spex Organics T1090901009: 20 µl | 0.10002 | METRIBUZIN | . | 0.012 | 0.0711 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71085 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.7822 | 0.13816 | 0.72283 | 0.15839 | 0.11741
METRIBUZIN | 2033 | 82630GCM35 | 2010-12-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.69514 | Spex Organics | T1090901009 | Spex Organics T1090901009: 40 µl | 0.2014 | METRIBUZIN | . | 0.012 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69514 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.7822 | 0.13816 | 0.72283 | 0.15839 | 0.11741
METRIBUZIN | 2033 | 82630GCM35 | 2011-01-11 | 2010-10-01 | 2050-09-30 | ug/L | 1.0955 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.039616 | METRIBUZIN | . | 0.012 | 0.0434 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0955 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0573 | 0.13713 | 1.055 | 0.13053 | 0.096757
METRIBUZIN | 2033 | 82630GCM35 | 2011-01-21 | 2010-10-01 | 2050-09-30 | ug/L | 1.3929 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.019958 | METRIBUZIN | . | 0.012 | 0.0278 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3929 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0573 | 0.13713 | 1.055 | 0.13053 | 0.096757
METRIBUZIN | 2033 | 82630GCM35 | 2011-02-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.92582 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.02009 | METRIBUZIN | . | 0.012 | 0.0186 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92582 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0573 | 0.13713 | 1.055 | 0.13053 | 0.096757
METRIBUZIN | 2033 | 82630GCM35 | 2011-03-23 | 2010-10-01 | 2050-09-30 | ug/L | 1.1127 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.019592 | METRIBUZIN | . | 0.012 | 0.0218 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1127 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0573 | 0.13713 | 1.055 | 0.13053 | 0.096757
METRIBUZIN | 2033 | 82630GCM35 | 2011-05-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.89514 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.02022 | METRIBUZIN | . | 0.012 | 0.0181 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89514 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0573 | 0.13713 | 1.055 | 0.13053 | 0.096757
METRIBUZIN | 2033 | 82630GCM35 | 2011-07-07 | 2010-10-01 | 2050-09-30 | ug/L | 1.0725 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.04 | METRIBUZIN | . | 0.012 | 0.0429 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0725 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0573 | 0.13713 | 1.055 | 0.13053 | 0.096757
METRIBUZIN | 2033 | 82630GCM35 | 2011-09-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.935 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.02 | METRIBUZIN | . | 0.012 | 0.0187 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.935 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0573 | 0.13713 | 1.055 | 0.13053 | 0.096757
METRIBUZIN | 2033 | 82630GCM35 | 2011-09-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.995 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.04 | METRIBUZIN | . | 0.012 | 0.0398 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.995 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0573 | 0.13713 | 1.055 | 0.13053 | 0.096757
METRIBUZIN | 2033 | 82630GCM35 | 2011-11-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.995 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.02 | METRIBUZIN | . | 0.012 | 0.0199 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.995 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0573 | 0.13713 | 1.055 | 0.13053 | 0.096757
METRIBUZIN | 2033 | 82630GCM35 | 2011-12-21 | 2010-10-01 | 2050-09-30 | ug/L | 1.055 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.04 | METRIBUZIN | . | 0.012 | 0.0422 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.055 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0573 | 0.13713 | 1.055 | 0.13053 | 0.096757
METRIBUZIN | 2033 | 82630GCM35 | 2012-01-27 | 2010-10-01 | 2050-09-30 | ug/L | 0.965 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.04 | METRIBUZIN | . | 0.012 | 0.0386 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.965 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0573 | 0.13713 | 1.055 | 0.13053 | 0.096757
METRIBUZIN | 2033 | 82630GCM35 | 2012-04-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.24 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.02 | METRIBUZIN | E | 0.012 | 0.0248 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.24 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 1.0573 | 0.13713 | 1.055 | 0.13053 | 0.096757
METRIBUZIN | 2033 | 82630GCM35 | 2012-06-02 | 2010-10-01 | 2050-09-30 | ug/L | 1.065 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.02 | METRIBUZIN | E | 0.012 | 0.0213 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.065 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 1.0573 | 0.13713 | 1.055 | 0.13053 | 0.096757
METRIBUZIN | 2033 | 82630GCM35 | 2012-10-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.69467 | Supelco, Abs | LB92783, 052412 | Supelco LB92783: 50 µl & Abs 052412: 50 µl | 0.075 | METRIBUZIN | . | 0.012 | 0.0521 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69467 | SuLB92783, Ab052412 | Su | Ab | Ab | LB92783 | 052412 | 052412 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.75267 | 0.082024 | 0.75267 | 0.116 | 0.08599
METRIBUZIN | 2033 | 82630GCM35 | 2013-01-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.81067 | Supelco, Abs | LB92783, 052412 | Supelco LB92783: 50 µl & Abs 052412: 50 µl | 0.075 | METRIBUZIN | . | 0.012 | 0.0608 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81067 | SuLB92783, Ab052412 | Su | Ab | Ab | LB92783 | 052412 | 052412 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.75267 | 0.082024 | 0.75267 | 0.116 | 0.08599
METRIBUZIN | 2033 | 82630GCM35 | 2013-11-23 | 2010-10-01 | 2050-09-30 | ug/L | 1.16 | Supelco, Abs, Crescent | LB99392, 042413, 10802AL | Supelco LB99392: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl | 0.04 | METRIBUZIN | . | 0.012 | 0.0464 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.16 | SuLB99392, Ab042413, Cr10802AL | Su | Ab | Cr | LB99392 | 042413 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.16 |  | 1.16 | 0 | 0
METRIBUZIN | 2033 | 82630GCM35 | 2013-08-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.751 | Supelco, Crescent | LB99392, 04CC101 | Supelco LB99392: 50 µl & Crescent 04CC101: 50 µl | 0.1 | METRIBUZIN | . | 0.012 | 0.0751 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.751 | SuLB99392, Cr04CC101 | Su | Cr | Cr | LB99392 | 04CC101 | 04CC101 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.751 |  | 0.751 | 0 | 0
METRIBUZIN | 2033 | 82630GCM35 | 2009-09-29 | 2008-10-01 | 2009-09-30 | ug/L | 0.74559 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.15156 | METRIBUZIN | . | 0.016 | 0.113 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74559 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.82962 | 0.11884 | 0.82962 | 0.16806 | 0.12458
METRIBUZIN | 2033 | 82630GCM35 | 2010-01-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.91366 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.15104 | METRIBUZIN | . | 0.012 | 0.138 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91365 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.82962 | 0.11884 | 0.82962 | 0.16806 | 0.12458
METRIBUZIN | 2033 | 82630GCM35 | 2010-02-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.87086 | Ultra | CF-3558 | Ultra CF-3558: 40 µl | 0.19291 | METRIBUZIN | . | 0.012 | 0.168 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87086 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.96691 | 0.29235 | 0.93701 | 0.41549 | 0.308
METRIBUZIN | 2033 | 82630GCM35 | 2010-05-19 | 2009-10-01 | 2010-09-30 | ug/L | 1.3462 | Ultra | CF-3558 | Ultra CF-3558: 20 µl | 0.099543 | METRIBUZIN | . | 0.012 | 0.134 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3462 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.96691 | 0.29235 | 0.93701 | 0.41549 | 0.308
METRIBUZIN | 2033 | 82630GCM35 | 2010-08-10 | 2009-10-01 | 2010-09-30 | ug/L | 1.0032 | Ultra | CF-3558 | Ultra CF-3558: 40 µl | 0.20037 | METRIBUZIN | . | 0.012 | 0.201 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0032 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.96691 | 0.29235 | 0.93701 | 0.41549 | 0.308
METRIBUZIN | 2033 | 82630GCM35 | 2010-12-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.64748 | Ultra | CF-3558 | Ultra CF-3558: 20 µl | 0.099 | METRIBUZIN | . | 0.012 | 0.0641 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64748 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.96691 | 0.29235 | 0.93701 | 0.41549 | 0.308