## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
MOLINATE | 2033 | 82671GCM35 | 2013-06-26 | 2012-10-01 | 2050-09-30 | ug/L | 1.18 | Abs, ChemService | 042413, 1473000 | Abs 042413: 20 µl & ChemService 1473000: 20 µl | 0.02 | MOLINATE | . | 0.008 | 0.0236 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.18 | Ab042413, Ch1473000 | Ab | Ch | Ch | 042413 | 1473000 | 1473000 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.18 |  | 1.18 | 0 | 0
MOLINATE | 2033 | 82671GCM35 | 2013-10-19 | 2012-10-01 | 2050-09-30 | ug/L | 1.218 | Abs, Spex Organics, Crescent | 042413, T1130514013, 10802AL | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl | 0.05 | MOLINATE | . | 0.008 | 0.0609 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.218 | Ab042413, SpT114013, Cr10802AL | Ab | Sp | Cr | 042413 | T114013 | 10802AL |  | T114013 |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.218 |  | 1.218 | 0 | 0
MOLINATE | 2033 | 82671GCM35 | 2011-01-07 | 2010-10-01 | 2012-09-30 | ug/L | 0.90301 | Abs | 080610 | Abs 080610: 40 µl | 0.034329 | MOLINATE | . | 0.004 | 0.031 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90301 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0104 | 0.075709 | 1.0166 | 0.081941 | 0.060742
MOLINATE | 2033 | 82671GCM35 | 2011-01-28 | 2010-10-01 | 2012-09-30 | ug/L | 1.0789 | Abs | 080610 | Abs 080610: 80 µl | 0.067199 | MOLINATE | . | 0.004 | 0.0725 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0789 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0104 | 0.075709 | 1.0166 | 0.081941 | 0.060742
MOLINATE | 2033 | 82671GCM35 | 2011-02-22 | 2010-10-01 | 2012-09-30 | ug/L | 1.0184 | Abs | 080610 | Abs 080610: 40 µl | 0.034564 | MOLINATE | . | 0.004 | 0.0352 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0184 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0104 | 0.075709 | 1.0166 | 0.081941 | 0.060742
MOLINATE | 2033 | 82671GCM35 | 2011-03-16 | 2010-10-01 | 2012-09-30 | ug/L | 1.047 | Abs | 080610 | Abs 080610: 80 µl | 0.069341 | MOLINATE | . | 0.004 | 0.0726 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.047 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0104 | 0.075709 | 1.0166 | 0.081941 | 0.060742
MOLINATE | 2033 | 82671GCM35 | 2011-05-03 | 2010-10-01 | 2012-09-30 | ug/L | 1.1719 | Abs | 080610 | Abs 080610: 40 µl | 0.034729 | MOLINATE | . | 0.004 | 0.0407 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1719 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0104 | 0.075709 | 1.0166 | 0.081941 | 0.060742
MOLINATE | 2033 | 82671GCM35 | 2011-05-29 | 2010-10-01 | 2012-09-30 | ug/L | 1.0724 | Abs | 080610 | Abs 080610: 80 µl | 0.070311 | MOLINATE | . | 0.004 | 0.0754 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0724 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0104 | 0.075709 | 1.0166 | 0.081941 | 0.060742
MOLINATE | 2033 | 82671GCM35 | 2011-08-22 | 2010-10-01 | 2012-09-30 | ug/L | 1.0367 | Abs | 080610 | Abs 080610: 40 µl | 0.03492 | MOLINATE | . | 0.004 | 0.0362 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0367 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0104 | 0.075709 | 1.0166 | 0.081941 | 0.060742
MOLINATE | 2033 | 82671GCM35 | 2011-10-20 | 2010-10-01 | 2012-09-30 | ug/L | 0.98225 | Abs | 080610 | Abs 080610: 40 µl | 0.03492 | MOLINATE | . | 0.004 | 0.0343 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98225 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0104 | 0.075709 | 1.0166 | 0.081941 | 0.060742
MOLINATE | 2033 | 82671GCM35 | 2012-01-20 | 2010-10-01 | 2012-09-30 | ug/L | 1.0166 | Abs | 080610 | Abs 080610: 40 µl | 0.03492 | MOLINATE | . | 0.004 | 0.0355 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0166 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0104 | 0.075709 | 1.0166 | 0.081941 | 0.060742
MOLINATE | 2033 | 82671GCM35 | 2012-02-09 | 2010-10-01 | 2012-09-30 | ug/L | 0.88774 | Abs | 080610 | Abs 080610: 80 µl | 0.06984 | MOLINATE | . | 0.004 | 0.062 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88774 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0104 | 0.075709 | 1.0166 | 0.081941 | 0.060742
MOLINATE | 2033 | 82671GCM35 | 2012-03-08 | 2010-10-01 | 2012-09-30 | ug/L | 0.96506 | Abs | 080610 | Abs 080610: 40 µl | 0.03492 | MOLINATE | . | 0.004 | 0.0337 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96506 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0104 | 0.075709 | 1.0166 | 0.081941 | 0.060742
MOLINATE | 2033 | 82671GCM35 | 2012-04-12 | 2010-10-01 | 2012-09-30 | ug/L | 0.9937 | Abs | 080610 | Abs 080610: 40 µl | 0.03492 | MOLINATE | . | 0.004 | 0.0347 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9937 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0104 | 0.075709 | 1.0166 | 0.081941 | 0.060742
MOLINATE | 2033 | 82671GCM35 | 2012-04-24 | 2010-10-01 | 2012-09-30 | ug/L | 0.9622 | Abs | 080610 | Abs 080610: 80 µl | 0.06984 | MOLINATE | . | 0.004 | 0.0672 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9622 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0104 | 0.075709 | 1.0166 | 0.081941 | 0.060742
MOLINATE | 2033 | 82671GCM35 | 2011-01-12 | 2010-10-01 | 2012-09-30 | ug/L | 1.0814 | Accu | 210061341 | Accu 210061341: 40 µl | 0.034769 | MOLINATE | . | 0.004 | 0.0376 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0814 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.9999 | 0.074705 | 0.99951 | 0.11706 | 0.086779
MOLINATE | 2033 | 82671GCM35 | 2011-02-01 | 2010-10-01 | 2012-09-30 | ug/L | 0.9714 | Accu | 210061341 | Accu 210061341: 80 µl | 0.071649 | MOLINATE | . | 0.004 | 0.0696 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9714 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.9999 | 0.074705 | 0.99951 | 0.11706 | 0.086779
MOLINATE | 2033 | 82671GCM35 | 2011-02-14 | 2010-10-01 | 2012-09-30 | ug/L | 0.89482 | Accu | 210061341 | Accu 210061341: 40 µl | 0.035426 | MOLINATE | . | 0.004 | 0.0317 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89482 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.9999 | 0.074705 | 0.99951 | 0.11706 | 0.086779
MOLINATE | 2033 | 82671GCM35 | 2011-04-07 | 2010-10-01 | 2012-09-30 | ug/L | 1.0258 | Accu | 210061341 | Accu 210061341: 40 µl | 0.036166 | MOLINATE | . | 0.004 | 0.0371 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0258 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.9999 | 0.074705 | 0.99951 | 0.11706 | 0.086779
MOLINATE | 2033 | 82671GCM35 | 2011-05-21 | 2010-10-01 | 2012-09-30 | ug/L | 1.0666 | Accu | 210061341 | Accu 210061341: 80 µl | 0.07172 | MOLINATE | . | 0.004 | 0.0765 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0666 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.9999 | 0.074705 | 0.99951 | 0.11706 | 0.086779
MOLINATE | 2033 | 82671GCM35 | 2011-07-02 | 2010-10-01 | 2012-09-30 | ug/L | 0.99902 | Accu | 210061341 | Accu 210061341: 40 µl | 0.035935 | MOLINATE | . | 0.004 | 0.0359 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99902 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.9999 | 0.074705 | 0.99951 | 0.11706 | 0.086779
MOLINATE | 2033 | 82671GCM35 | 2011-07-20 | 2010-10-01 | 2012-09-30 | ug/L | 1.0889 | Accu | 210061341 | Accu 210061341: 40 µl | 0.036 | MOLINATE | . | 0.004 | 0.0392 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0889 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.9999 | 0.074705 | 0.99951 | 0.11706 | 0.086779
MOLINATE | 2033 | 82671GCM35 | 2011-08-30 | 2010-10-01 | 2012-09-30 | ug/L | 1.0778 | Accu | 210061341 | Accu 210061341: 80 µl | 0.072 | MOLINATE | . | 0.004 | 0.0776 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0778 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.9999 | 0.074705 | 0.99951 | 0.11706 | 0.086779
MOLINATE | 2033 | 82671GCM35 | 2011-11-05 | 2010-10-01 | 2012-09-30 | ug/L | 1 | Accu | 210061341 | Accu 210061341: 40 µl | 0.036 | MOLINATE | . | 0.004 | 0.036 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.9999 | 0.074705 | 0.99951 | 0.11706 | 0.086779
MOLINATE | 2033 | 82671GCM35 | 2011-12-08 | 2010-10-01 | 2012-09-30 | ug/L | 0.85833 | Accu | 210061341 | Accu 210061341: 80 µl | 0.072 | MOLINATE | . | 0.004 | 0.0618 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85833 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.9999 | 0.074705 | 0.99951 | 0.11706 | 0.086779
MOLINATE | 2033 | 82671GCM35 | 2012-03-02 | 2010-10-01 | 2012-09-30 | ug/L | 0.99583 | Accu | 210061341 | Accu 210061341: 80 µl | 0.072 | MOLINATE | . | 0.004 | 0.0717 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99583 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.9999 | 0.074705 | 0.99951 | 0.11706 | 0.086779
MOLINATE | 2033 | 82671GCM35 | 2012-03-27 | 2010-10-01 | 2012-09-30 | ug/L | 0.93889 | Accu | 210061341 | Accu 210061341: 40 µl | 0.036 | MOLINATE | . | 0.004 | 0.0338 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93889 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.9999 | 0.074705 | 0.99951 | 0.11706 | 0.086779
MOLINATE | 2033 | 82671GCM35 | 2013-07-11 | 2012-10-01 | 2050-09-30 | ug/L | 1.075 | ChemService, ERA | 1473000, 0318-13-02.2 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl | 0.02 | MOLINATE | . | 0.008 | 0.0215 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.075 | Ch1473000, ER03102.2 | Ch | ER | ER | 1473000 | 03102.2 | 03102.2 |  | 03102.2 | 03102.2 | Y | Recoverable Result | Y | 2 |  | 1 | 1.075 |  | 1.075 | 0 | 0
MOLINATE | 2033 | 82671GCM35 | 2013-06-05 | 2012-10-01 | 2050-09-30 | ug/L | 1.092 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl | 0.05 | MOLINATE | . | 0.008 | 0.0546 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.092 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.061 | 0.043841 | 1.061 | 0.062 | 0.04596
MOLINATE | 2033 | 82671GCM35 | 2014-01-08 | 2012-10-01 | 2050-09-30 | ug/L | 1.03 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl | 0.02 | MOLINATE | . | 0.008 | 0.0206 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.03 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.061 | 0.043841 | 1.061 | 0.062 | 0.04596
MOLINATE | 2033 | 82671GCM35 | 2010-03-03 | 2009-10-01 | 2010-09-30 | ug/L | 1.0539 | ChemService | 430-36C | ChemService 430-36C: 40 µl | 0.025523 | MOLINATE | E | 0.0026 | 0.0269 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0539 | ChemService 430-36C | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 1.1646 | 0.1288 | 1.1338 | 0.25202 | 0.18682
MOLINATE | 2033 | 82671GCM35 | 2010-06-26 | 2009-10-01 | 2010-09-30 | ug/L | 1.1338 | ChemService | 430-36C | ChemService 430-36C: 40 µl | 0.026019 | MOLINATE | . | 0.0026 | 0.0295 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1338 | ChemService 430-36C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.1646 | 0.1288 | 1.1338 | 0.25202 | 0.18682
MOLINATE | 2033 | 82671GCM35 | 2010-09-21 | 2009-10-01 | 2010-09-30 | ug/L | 1.306 | ChemService | 430-36C | ChemService 430-36C: 20 µl | 0.013324 | MOLINATE | . | 0.0026 | 0.0174 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.306 | ChemService 430-36C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.1646 | 0.1288 | 1.1338 | 0.25202 | 0.18682
MOLINATE | 2033 | 82671GCM35 | 2013-12-05 | 2012-10-01 | 2050-09-30 | ug/L | 1.045 | Crescent, ChemService, Cresc | 04CC101, 1473000, 10802AL | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl | 0.02 | MOLINATE | . | 0.008 | 0.0209 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.045 | Cr04CC101, Ch1473000, Cr10802A | Cr | Ch | Cr | 04CC101 | 1473000 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.045 |  | 1.045 | 0 | 0
MOLINATE | 2033 | 82671GCM35 | 2013-09-05 | 2012-10-01 | 2050-09-30 | ug/L | 1.18 | Crescent, Spex Organics | 04CC101, T1130514013 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl | 0.02 | MOLINATE | . | 0.008 | 0.0236 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.18 | Cr04CC101, SpT114013 | Cr | Sp | Sp | 04CC101 | T114013 | T114013 |  | T114013 | T114013 | Y | Recoverable Result | Y | 2 |  | 1 | 1.18 |  | 1.18 | 0 | 0
MOLINATE | 2033 | 82671GCM35 | 2009-07-23 | 2008-10-01 | 2009-09-30 | ug/L | 1.242 | Crescent | 08HH019 | Crescent 08HH019: 40 µl | 0.02818 | MOLINATE | . | 0.002 | 0.035 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.242 | Crescent 08HH019 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.242 |  | 1.242 | 0 | 0
MOLINATE | 2033 | 82671GCM35 | 2009-09-03 | 2008-10-01 | 2009-09-30 | ug/L | 0.92718 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | MOLINATE | . | 0.002 | 0.069 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92718 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.92718 |  | 0.92718 | 0 | 0
MOLINATE | 2033 | 82671GCM35 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 1.0082 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | MOLINATE | . | 0.0026 | 0.0391 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0082 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0712 | 0.058808 | 1.0809 | 0.11642 | 0.086297
MOLINATE | 2033 | 82671GCM35 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 1.1246 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | MOLINATE | . | 0.0026 | 0.0456 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1246 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0712 | 0.058808 | 1.0809 | 0.11642 | 0.086297
MOLINATE | 2033 | 82671GCM35 | 2010-12-16 | 2010-10-01 | 2012-09-30 | ug/L | 1.0809 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | MOLINATE | . | 0.004 | 0.0437 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0809 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0712 | 0.058808 | 1.0809 | 0.11642 | 0.086297
MOLINATE | 2033 | 82671GCM35 | 2011-01-20 | 2010-10-01 | 2012-09-30 | ug/L | 1.0625 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | MOLINATE | . | 0.004 | 0.107 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0625 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0626 | 0.074186 | 1.0767 | 0.10168 | 0.075374
MOLINATE | 2033 | 82671GCM35 | 2011-03-05 | 2010-10-01 | 2012-09-30 | ug/L | 1.0909 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 25 µl | 0.02475 | MOLINATE | . | 0.004 | 0.027 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0909 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0626 | 0.074186 | 1.0767 | 0.10168 | 0.075374
MOLINATE | 2033 | 82671GCM35 | 2011-04-20 | 2010-10-01 | 2012-09-30 | ug/L | 1.1359 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.099483 | MOLINATE | . | 0.004 | 0.113 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1359 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0626 | 0.074186 | 1.0767 | 0.10168 | 0.075374
MOLINATE | 2033 | 82671GCM35 | 2011-06-22 | 2010-10-01 | 2012-09-30 | ug/L | 0.96092 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 75 µl | 0.074096 | MOLINATE | . | 0.004 | 0.0712 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96092 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0626 | 0.074186 | 1.0767 | 0.10168 | 0.075374
MOLINATE | 2033 | 82671GCM35 | 2009-09-15 | 2008-10-01 | 2009-09-30 | ug/L | 0.71764 | Protocol | D1080908018 | Protocol D1080908018: 40 µl | 0.027869 | MOLINATE | . | 0.002 | 0.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71764 | Protocol D1080908018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.71764 |  | 0.71764 | 0 | 0
MOLINATE | 2033 | 82671GCM35 | 2012-09-26 | 2010-10-01 | 2012-09-30 | ug/L | 0.915 | Restek, Abs | A088380, 052412 | Restek A088380: 20 µl & Abs 052412: 20 µl | 0.06 | MOLINATE | . | 0.004 | 0.0549 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.915 | ReA088380, Ab052412 | Re | Ab | Ab | A088380 | 052412 | 052412 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.91 | 0.0070711 | 0.91 | 0.01 | 0.0074129
MOLINATE | 2033 | 82671GCM35 | 2013-03-18 | 2012-10-01 | 2050-09-30 | ug/L | 0.905 | Restek, Abs | A088380, 052412 | Restek A088380: 20 µl & Abs 052412: 20 µl | 0.06 | MOLINATE | . | 0.008 | 0.0543 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.905 | ReA088380, Ab052412 | Re | Ab | Ab | A088380 | 052412 | 052412 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.91 | 0.0070711 | 0.91 | 0.01 | 0.0074129
MOLINATE | 2033 | 82671GCM35 | 2012-11-14 | 2012-10-01 | 2050-09-30 | ug/L | 0.99333 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl | 0.15 | MOLINATE | . | 0.008 | 0.149 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99333 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.98111 | 0.08235 | 0.99333 | 0.16333 | 0.12108
MOLINATE | 2033 | 82671GCM35 | 2013-02-06 | 2012-10-01 | 2050-09-30 | ug/L | 0.89333 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl | 0.3 | MOLINATE | . | 0.008 | 0.268 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89333 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.98111 | 0.08235 | 0.99333 | 0.16333 | 0.12108
MOLINATE | 2033 | 82671GCM35 | 2013-05-22 | 2012-10-01 | 2050-09-30 | ug/L | 1.0567 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl | 0.06 | MOLINATE | . | 0.008 | 0.0634 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0567 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.98111 | 0.08235 | 0.99333 | 0.16333 | 0.12108
MOLINATE | 2033 | 82671GCM35 | 2012-07-14 | 2010-10-01 | 2012-09-30 | ug/L | 1.045 | Restek, Supelco | A088380, LB92783 | Restek A088380: 20 µl & Supelco LB92783: 20 µl | 0.06 | MOLINATE | . | 0.004 | 0.0627 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.045 | ReA088380, SuLB92783 | Re | Su | Su | A088380 | LB92783 | LB92783 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.045 |  | 1.045 | 0 | 0
MOLINATE | 2033 | 82671GCM35 | 2013-07-23 | 2012-10-01 | 2050-09-30 | ug/L | 0.995 | Restek, Abs | A093651, 012513 | Restek A093651: 20 µl & Abs 012513: 20 µl | 0.06 | MOLINATE | . | 0.008 | 0.0597 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.995 | ReA093651, Ab012513 | Re | Ab | Ab | A093651 | 012513 | 012513 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.995 |  | 0.995 | 0 | 0
MOLINATE | 2033 | 82671GCM35 | 2013-09-14 | 2012-10-01 | 2050-09-30 | ug/L | 0.93333 | Restek, Abs, Crescent | A093651, 012513, 10802AL | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl | 0.15 | MOLINATE | . | 0.008 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93333 | ReA093651, Ab012513, Cr10802AL | Re | Ab | Cr | A093651 | 012513 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.93333 |  | 0.93333 | 0 | 0
MOLINATE | 2033 | 82671GCM35 | 2013-11-04 | 2012-10-01 | 2050-09-30 | ug/L | 0.99333 | Restek, Abs, Crescent | A093651, 052412, 10802AL | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl | 0.06 | MOLINATE | . | 0.008 | 0.0596 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99333 | ReA093651, Ab052412, Cr10802AL | Re | Ab | Cr | A093651 | 052412 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.99667 | 0.004714 | 0.99667 | 0.0066667 | 0.0049419
MOLINATE | 2033 | 82671GCM35 | 2014-01-08 | 2012-10-01 | 2050-09-30 | ug/L | 1 | Restek, Abs, Crescent | A093651, 052412, 10802AL | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl | 0.06 | MOLINATE | . | 0.008 | 0.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | ReA093651, Ab052412, Cr10802AL | Re | Ab | Cr | A093651 | 052412 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.99667 | 0.004714 | 0.99667 | 0.0066667 | 0.0049419
MOLINATE | 2033 | 82671GCM35 | 2010-02-02 | 2009-10-01 | 2010-09-30 | ug/L | 0.95316 | Restek | A069639 | Restek A069639: 20 µl | 0.012695 | MOLINATE | . | 0.0026 | 0.0121 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95316 | Restek A069639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.99417 | 0.071757 | 0.96395 | 0.086816 | 0.064356
MOLINATE | 2033 | 82671GCM35 | 2010-03-19 | 2009-10-01 | 2010-09-30 | ug/L | 0.94836 | Restek | A069639 | Restek A069639: 20 µl | 0.012864 | MOLINATE | . | 0.0026 | 0.0122 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94836 | Restek A069639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.99417 | 0.071757 | 0.96395 | 0.086816 | 0.064356
MOLINATE | 2033 | 82671GCM35 | 2010-07-29 | 2009-10-01 | 2010-09-30 | ug/L | 0.97473 | Restek | A069639 | Restek A069639: 100 µl | 0.06648 | MOLINATE | . | 0.0026 | 0.0648 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97473 | Restek A069639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.99417 | 0.071757 | 0.96395 | 0.086816 | 0.064356
MOLINATE | 2033 | 82671GCM35 | 2010-10-18 | 2010-10-01 | 2012-09-30 | ug/L | 1.1004 | Restek | A069639 | Restek A069639: 40 µl | 0.025445 | MOLINATE | . | 0.004 | 0.028 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1004 | Restek A069639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.99417 | 0.071757 | 0.96395 | 0.086816 | 0.064356
MOLINATE | 2033 | 82671GCM35 | 2012-06-28 | 2010-10-01 | 2012-09-30 | ug/L | 0.96 | Restek | A088380 | Restek A088380: 50 µl | 0.15 | MOLINATE | . | 0.004 | 0.144 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96 | Restek A088380 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.96 |  | 0.96 | 0 | 0
MOLINATE | 2033 | 82671GCM35 | 2012-08-29 | 2010-10-01 | 2012-09-30 | ug/L | 0.875 | Spex Organics, Crescent | T1120530013, 05BB029 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl | 0.06 | MOLINATE | . | 0.004 | 0.0525 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.875 | SpT110013, Cr05BB029 | Sp | Cr | Cr | T110013 | 05BB029 | 05BB029 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.875 |  | 0.875 | 0 | 0
MOLINATE | 2033 | 82671GCM35 | 2012-09-05 | 2010-10-01 | 2012-09-30 | ug/L | 0.99833 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl | 0.06 | MOLINATE | . | 0.004 | 0.0599 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99833 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.91917 | 0.11196 | 0.91917 | 0.15833 | 0.11737
MOLINATE | 2033 | 82671GCM35 | 2013-01-15 | 2012-10-01 | 2050-09-30 | ug/L | 0.84 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl | 0.15 | MOLINATE | . | 0.008 | 0.126 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.91917 | 0.11196 | 0.91917 | 0.15833 | 0.11737
MOLINATE | 2033 | 82671GCM35 | 2012-11-20 | 2012-10-01 | 2050-09-30 | ug/L | 0.89 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl | 0.3 | MOLINATE | . | 0.008 | 0.267 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.86778 | 0.04141 | 0.89 | 0.073333 | 0.054361
MOLINATE | 2033 | 82671GCM35 | 2013-02-22 | 2012-10-01 | 2050-09-30 | ug/L | 0.82 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl | 0.06 | MOLINATE | . | 0.008 | 0.0492 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.86778 | 0.04141 | 0.89 | 0.073333 | 0.054361
MOLINATE | 2033 | 82671GCM35 | 2013-04-02 | 2012-10-01 | 2050-09-30 | ug/L | 0.89333 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl | 0.15 | MOLINATE | . | 0.008 | 0.134 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89333 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.86778 | 0.04141 | 0.89 | 0.073333 | 0.054361
MOLINATE | 2033 | 82671GCM35 | 2013-09-20 | 2012-10-01 | 2050-09-30 | ug/L | 0.962 | Spex Organics, ERA | T1130514013, 0318-13-02.2 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl | 0.1 | MOLINATE | . | 0.008 | 0.0962 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.962 | SpT114013, ER03102.2 | Sp | ER | ER | T114013 | 03102.2 | 03102.2 | T114013 | 03102.2 | 03102.2 | Y | Recoverable Result | Y | 2 |  | 1 | 0.962 |  | 0.962 | 0 | 0
MOLINATE | 2033 | 82671GCM35 | 2013-11-09 | 2012-10-01 | 2050-09-30 | ug/L | 1.13 | Spex Organics, Supelco | T1130514013, LB99392 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl | 0.02 | MOLINATE | . | 0.008 | 0.0226 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.13 | SpT114013, SuLB99392 | Sp | Su | Su | T114013 | LB99392 | LB99392 | T114013 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.13 |  | 1.13 | 0 | 0