## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
OXYFLUORFEN | 2033 | 61600GCM39 | 2013-06-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.8375 | Abs, ChemService | 042413, 1473000 | Abs 042413: 20 µl & ChemService 1473000: 20 µl | 0.024 | OXYFLUORFEN | . | 0.01 | 0.0201 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8375 | Ab042413, Ch1473000 | Ab | Ch | Ch | 042413 | 1473000 | 1473000 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.8375 |  | 0.8375 | 0 | 0
OXYFLUORFEN | 2033 | 61600GCM39 | 2013-10-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.84667 | Abs, Spex Organics, Crescent | 042413, T1130514013, 10802AL | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl | 0.06 | OXYFLUORFEN | . | 0.01 | 0.0508 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84667 | Ab042413, SpT114013, Cr10802AL | Ab | Sp | Cr | 042413 | T114013 | 10802AL |  | T114013 |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.84667 |  | 0.84667 | 0 | 0
OXYFLUORFEN | 2033 | 61600GCM39 | 2011-01-07 | 2010-10-01 | 2011-09-30 | ug/L | 1.2385 | Abs | 080610 | Abs 080610: 40 µl | 0.027291 | OXYFLUORFEN | . | 0.006 | 0.0338 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2385 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.9849 | 0.20815 | 0.91679 | 0.16298 | 0.12082
OXYFLUORFEN | 2033 | 61600GCM39 | 2011-01-28 | 2010-10-01 | 2011-09-30 | ug/L | 1.0576 | Abs | 080610 | Abs 080610: 80 µl | 0.053421 | OXYFLUORFEN | . | 0.006 | 0.0565 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0576 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.9849 | 0.20815 | 0.91679 | 0.16298 | 0.12082
OXYFLUORFEN | 2033 | 61600GCM39 | 2011-02-22 | 2010-10-01 | 2011-09-30 | ug/L | 1.0445 | Abs | 080610 | Abs 080610: 40 µl | 0.027477 | OXYFLUORFEN | . | 0.006 | 0.0287 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0445 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.9849 | 0.20815 | 0.91679 | 0.16298 | 0.12082
OXYFLUORFEN | 2033 | 61600GCM39 | 2011-03-16 | 2010-10-01 | 2011-09-30 | ug/L | 1.1683 | Abs | 080610 | Abs 080610: 80 µl | 0.055123 | OXYFLUORFEN | . | 0.006 | 0.0644 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1683 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.9849 | 0.20815 | 0.91679 | 0.16298 | 0.12082
OXYFLUORFEN | 2033 | 61600GCM39 | 2011-05-03 | 2010-10-01 | 2011-09-30 | ug/L | 0.89466 | Abs | 080610 | Abs 080610: 40 µl | 0.027608 | OXYFLUORFEN | . | 0.006 | 0.0247 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89466 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.9849 | 0.20815 | 0.91679 | 0.16298 | 0.12082
OXYFLUORFEN | 2033 | 61600GCM39 | 2011-05-29 | 2010-10-01 | 2011-09-30 | ug/L | 0.65838 | Abs | 080610 | Abs 080610: 80 µl | 0.055895 | OXYFLUORFEN | . | 0.006 | 0.0368 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65838 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.9849 | 0.20815 | 0.91679 | 0.16298 | 0.12082
OXYFLUORFEN | 2033 | 61600GCM39 | 2011-08-22 | 2010-10-01 | 2011-09-30 | ug/L | 1.4337 | Abs | 080610 | Abs 080610: 40 µl | 0.02776 | OXYFLUORFEN | . | 0.006 | 0.0398 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4337 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.9849 | 0.20815 | 0.91679 | 0.16298 | 0.12082
OXYFLUORFEN | 2033 | 61600GCM39 | 2011-10-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.91499 | Abs | 080610 | Abs 080610: 40 µl | 0.02776 | OXYFLUORFEN | . | 0.01 | 0.0254 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91499 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.9849 | 0.20815 | 0.91679 | 0.16298 | 0.12082
OXYFLUORFEN | 2033 | 61600GCM39 | 2012-01-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.73127 | Abs | 080610 | Abs 080610: 40 µl | 0.02776 | OXYFLUORFEN | . | 0.01 | 0.0203 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73127 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.9849 | 0.20815 | 0.91679 | 0.16298 | 0.12082
OXYFLUORFEN | 2033 | 61600GCM39 | 2012-02-09 | 2011-10-01 | 2050-09-30 | ug/L | 0.91679 | Abs | 080610 | Abs 080610: 80 µl | 0.05552 | OXYFLUORFEN | E | 0.01 | 0.0509 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91679 | Abs 080610 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.9849 | 0.20815 | 0.91679 | 0.16298 | 0.12082
OXYFLUORFEN | 2033 | 61600GCM39 | 2012-03-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.91499 | Abs | 080610 | Abs 080610: 40 µl | 0.02776 | OXYFLUORFEN | . | 0.01 | 0.0254 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91499 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.9849 | 0.20815 | 0.91679 | 0.16298 | 0.12082
OXYFLUORFEN | 2033 | 61600GCM39 | 2012-04-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.85014 | Abs | 080610 | Abs 080610: 40 µl | 0.02776 | OXYFLUORFEN | . | 0.01 | 0.0236 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85014 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.9849 | 0.20815 | 0.91679 | 0.16298 | 0.12082
OXYFLUORFEN | 2033 | 61600GCM39 | 2012-04-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.97983 | Abs | 080610 | Abs 080610: 80 µl | 0.05552 | OXYFLUORFEN | E | 0.01 | 0.0544 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97983 | Abs 080610 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.9849 | 0.20815 | 0.91679 | 0.16298 | 0.12082
OXYFLUORFEN | 2033 | 61600GCM39 | 2011-01-12 | 2010-10-01 | 2011-09-30 | ug/L | 0.77949 | Accu | 210061341 | Accu 210061341: 40 µl | 0.027197 | OXYFLUORFEN | . | 0.006 | 0.0212 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77949 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.78129 | 0.12821 | 0.7777 | 0.11362 | 0.084222
OXYFLUORFEN | 2033 | 61600GCM39 | 2011-02-01 | 2010-10-01 | 2011-09-30 | ug/L | 0.7369 | Accu | 210061341 | Accu 210061341: 80 µl | 0.056045 | OXYFLUORFEN | . | 0.006 | 0.0413 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7369 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.78129 | 0.12821 | 0.7777 | 0.11362 | 0.084222
OXYFLUORFEN | 2033 | 61600GCM39 | 2011-02-14 | 2010-10-01 | 2011-09-30 | ug/L | 0.77947 | Accu | 210061341 | Accu 210061341: 40 µl | 0.027711 | OXYFLUORFEN | . | 0.006 | 0.0216 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77947 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.78129 | 0.12821 | 0.7777 | 0.11362 | 0.084222
OXYFLUORFEN | 2033 | 61600GCM39 | 2011-04-07 | 2010-10-01 | 2011-09-30 | ug/L | 0.89077 | Accu | 210061341 | Accu 210061341: 40 µl | 0.02829 | OXYFLUORFEN | . | 0.006 | 0.0252 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89077 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.78129 | 0.12821 | 0.7777 | 0.11362 | 0.084222
OXYFLUORFEN | 2033 | 61600GCM39 | 2011-05-21 | 2010-10-01 | 2011-09-30 | ug/L | 0.64526 | Accu | 210061341 | Accu 210061341: 80 µl | 0.056101 | OXYFLUORFEN | . | 0.006 | 0.0362 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64526 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.78129 | 0.12821 | 0.7777 | 0.11362 | 0.084222
OXYFLUORFEN | 2033 | 61600GCM39 | 2011-07-02 | 2010-10-01 | 2011-09-30 | ug/L | 1.1064 | Accu | 210061341 | Accu 210061341: 40 µl | 0.028109 | OXYFLUORFEN | . | 0.006 | 0.0311 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1064 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.78129 | 0.12821 | 0.7777 | 0.11362 | 0.084222
OXYFLUORFEN | 2033 | 61600GCM39 | 2011-07-20 | 2010-10-01 | 2011-09-30 | ug/L | 0.79901 | Accu | 210061341 | Accu 210061341: 40 µl | 0.02816 | OXYFLUORFEN | . | 0.006 | 0.0225 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79901 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.78129 | 0.12821 | 0.7777 | 0.11362 | 0.084222
OXYFLUORFEN | 2033 | 61600GCM39 | 2011-08-30 | 2010-10-01 | 2011-09-30 | ug/L | 0.62322 | Accu | 210061341 | Accu 210061341: 80 µl | 0.05632 | OXYFLUORFEN | . | 0.006 | 0.0351 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62322 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.78129 | 0.12821 | 0.7777 | 0.11362 | 0.084222
OXYFLUORFEN | 2033 | 61600GCM39 | 2011-11-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.83097 | Accu | 210061341 | Accu 210061341: 40 µl | 0.02816 | OXYFLUORFEN | . | 0.01 | 0.0234 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83097 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.78129 | 0.12821 | 0.7777 | 0.11362 | 0.084222
OXYFLUORFEN | 2033 | 61600GCM39 | 2011-12-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.66584 | Accu | 210061341 | Accu 210061341: 80 µl | 0.05632 | OXYFLUORFEN | . | 0.01 | 0.0375 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66584 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.78129 | 0.12821 | 0.7777 | 0.11362 | 0.084222
OXYFLUORFEN | 2033 | 61600GCM39 | 2012-03-02 | 2011-10-01 | 2050-09-30 | ug/L | 0.77592 | Accu | 210061341 | Accu 210061341: 80 µl | 0.05632 | OXYFLUORFEN | . | 0.01 | 0.0437 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77592 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.78129 | 0.12821 | 0.7777 | 0.11362 | 0.084222
OXYFLUORFEN | 2033 | 61600GCM39 | 2012-03-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.74219 | Accu | 210061341 | Accu 210061341: 40 µl | 0.02816 | OXYFLUORFEN | . | 0.01 | 0.0209 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74219 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.78129 | 0.12821 | 0.7777 | 0.11362 | 0.084222
OXYFLUORFEN | 2033 | 61600GCM39 | 2013-07-11 | 2011-10-01 | 2050-09-30 | ug/L | 1.0958 | ChemService, ERA | 1473000, 0318-13-02.2 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl | 0.024 | OXYFLUORFEN | . | 0.01 | 0.0263 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0958 | Ch1473000, ER03102.2 | Ch | ER | ER | 1473000 | 03102.2 | 03102.2 |  | 03102.2 | 03102.2 | Y | Recoverable Result | Y | 2 |  | 1 | 1.0958 |  | 1.0958 | 0 | 0
OXYFLUORFEN | 2033 | 61600GCM39 | 2013-06-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.88667 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl | 0.06 | OXYFLUORFEN | . | 0.01 | 0.0532 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88667 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.90167 | 0.021213 | 0.90167 | 0.03 | 0.022239
OXYFLUORFEN | 2033 | 61600GCM39 | 2014-01-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.91667 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl | 0.024 | OXYFLUORFEN | . | 0.01 | 0.022 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91667 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.90167 | 0.021213 | 0.90167 | 0.03 | 0.022239
OXYFLUORFEN | 2033 | 61600GCM39 | 2010-03-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.36063 | ChemService | 430-36C | ChemService 430-36C: 40 µl | 0.035493 | OXYFLUORFEN | E | 0.01 | 0.0128 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.36063 | ChemService 430-36C | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 0.72494 | 0.32434 | 0.83189 | 0.62166 | 0.46083
OXYFLUORFEN | 2033 | 61600GCM39 | 2010-06-26 | 2009-10-01 | 2010-09-30 | ug/L | 0.83189 | ChemService | 430-36C | ChemService 430-36C: 40 µl | 0.036183 | OXYFLUORFEN | . | 0.01 | 0.0301 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83189 | ChemService 430-36C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.72494 | 0.32434 | 0.83189 | 0.62166 | 0.46083
OXYFLUORFEN | 2033 | 61600GCM39 | 2010-09-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.98229 | ChemService | 430-36C | ChemService 430-36C: 20 µl | 0.018528 | OXYFLUORFEN | . | 0.01 | 0.0182 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98229 | ChemService 430-36C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.72494 | 0.32434 | 0.83189 | 0.62166 | 0.46083
OXYFLUORFEN | 2033 | 61600GCM39 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 1.2167 | Crescent, ChemService, Cresc | 04CC101, 1473000, 10802AL | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl | 0.024 | OXYFLUORFEN | . | 0.01 | 0.0292 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2167 | Cr04CC101, Ch1473000, Cr10802A | Cr | Ch | Cr | 04CC101 | 1473000 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.2167 |  | 1.2167 | 0 | 0
OXYFLUORFEN | 2033 | 61600GCM39 | 2013-09-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.95833 | Crescent, Spex Organics | 04CC101, T1130514013 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl | 0.024 | OXYFLUORFEN | . | 0.01 | 0.023 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95833 | Cr04CC101, SpT114013 | Cr | Sp | Sp | 04CC101 | T114013 | T114013 |  | T114013 | T114013 | Y | Recoverable Result | Y | 2 |  | 1 | 0.95833 |  | 0.95833 | 0 | 0
OXYFLUORFEN | 2033 | 61600GCM39 | 2009-07-23 | 2007-10-01 | 2009-09-30 | ug/L | 0.90045 | Crescent | 08HH019 | Crescent 08HH019: 40 µl | 0.032206 | OXYFLUORFEN | . | 0.006 | 0.029 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90045 | Crescent 08HH019 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.90045 |  | 0.90045 | 0 | 0
OXYFLUORFEN | 2033 | 61600GCM39 | 2009-09-03 | 2007-10-01 | 2009-09-30 | ug/L | 0.63155 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | OXYFLUORFEN | . | 0.006 | 0.047 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63155 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.63155 |  | 0.63155 | 0 | 0
OXYFLUORFEN | 2033 | 61600GCM39 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.71167 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | OXYFLUORFEN | . | 0.01 | 0.0276 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71167 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.79212 | 0.069686 | 0.83113 | 0.1219 | 0.090366
OXYFLUORFEN | 2033 | 61600GCM39 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.83113 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | OXYFLUORFEN | . | 0.01 | 0.0337 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83113 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.79212 | 0.069686 | 0.83113 | 0.1219 | 0.090366
OXYFLUORFEN | 2033 | 61600GCM39 | 2010-12-16 | 2010-10-01 | 2011-09-30 | ug/L | 0.83357 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | OXYFLUORFEN | . | 0.006 | 0.0337 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83357 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.79212 | 0.069686 | 0.83113 | 0.1219 | 0.090366
OXYFLUORFEN | 2033 | 61600GCM39 | 2011-01-20 | 2010-10-01 | 2011-09-30 | ug/L | 0.74078 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | OXYFLUORFEN | . | 0.006 | 0.0746 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74078 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.77719 | 0.10872 | 0.7584 | 0.14689 | 0.10889
OXYFLUORFEN | 2033 | 61600GCM39 | 2011-03-05 | 2010-10-01 | 2011-09-30 | ug/L | 0.92525 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 25 µl | 0.02475 | OXYFLUORFEN | . | 0.006 | 0.0229 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92525 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.77719 | 0.10872 | 0.7584 | 0.14689 | 0.10889
OXYFLUORFEN | 2033 | 61600GCM39 | 2011-04-20 | 2010-10-01 | 2011-09-30 | ug/L | 0.77601 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.099483 | OXYFLUORFEN | . | 0.006 | 0.0772 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77601 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.77719 | 0.10872 | 0.7584 | 0.14689 | 0.10889
OXYFLUORFEN | 2033 | 61600GCM39 | 2011-06-22 | 2010-10-01 | 2011-09-30 | ug/L | 0.6667 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 75 µl | 0.074096 | OXYFLUORFEN | . | 0.006 | 0.0494 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6667 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.77719 | 0.10872 | 0.7584 | 0.14689 | 0.10889
OXYFLUORFEN | 2033 | 61600GCM39 | 2009-09-15 | 2007-10-01 | 2009-09-30 | ug/L | 1.0675 | Protocol | D1080908018 | Protocol D1080908018: 40 µl | 0.03185 | OXYFLUORFEN | . | 0.006 | 0.034 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0675 | Protocol D1080908018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.0675 |  | 1.0675 | 0 | 0
OXYFLUORFEN | 2033 | 61600GCM39 | 2012-09-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.67333 | Restek, Abs | A088380, 052412 | Restek A088380: 20 µl & Abs 052412: 20 µl | 0.06 | OXYFLUORFEN | . | 0.01 | 0.0404 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67333 | ReA088380, Ab052412 | Re | Ab | Ab | A088380 | 052412 | 052412 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.63917 | 0.048319 | 0.63917 | 0.068333 | 0.050655
OXYFLUORFEN | 2033 | 61600GCM39 | 2013-03-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.605 | Restek, Abs | A088380, 052412 | Restek A088380: 20 µl & Abs 052412: 20 µl | 0.06 | OXYFLUORFEN | . | 0.01 | 0.0363 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.605 | ReA088380, Ab052412 | Re | Ab | Ab | A088380 | 052412 | 052412 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.63917 | 0.048319 | 0.63917 | 0.068333 | 0.050655
OXYFLUORFEN | 2033 | 61600GCM39 | 2012-11-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.67333 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl | 0.15 | OXYFLUORFEN | E | 0.01 | 0.101 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67333 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Estimated Values | Y | 2 |  | 3 | 0.63333 | 0.15395 | 0.67333 | 0.3 | 0.22239
OXYFLUORFEN | 2033 | 61600GCM39 | 2013-02-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.46333 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl | 0.3 | OXYFLUORFEN | . | 0.01 | 0.139 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.46333 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.63333 | 0.15395 | 0.67333 | 0.3 | 0.22239
OXYFLUORFEN | 2033 | 61600GCM39 | 2013-05-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.76333 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl | 0.06 | OXYFLUORFEN | . | 0.01 | 0.0458 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76333 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.63333 | 0.15395 | 0.67333 | 0.3 | 0.22239
OXYFLUORFEN | 2033 | 61600GCM39 | 2012-07-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.77333 | Restek, Supelco | A088380, LB92783 | Restek A088380: 20 µl & Supelco LB92783: 20 µl | 0.06 | OXYFLUORFEN | . | 0.01 | 0.0464 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77333 | ReA088380, SuLB92783 | Re | Su | Su | A088380 | LB92783 | LB92783 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.77333 |  | 0.77333 | 0 | 0
OXYFLUORFEN | 2033 | 61600GCM39 | 2013-07-23 | 2011-10-01 | 2050-09-30 | ug/L | 0.84833 | Restek, Abs | A093651, 012513 | Restek A093651: 20 µl & Abs 012513: 20 µl | 0.06 | OXYFLUORFEN | . | 0.01 | 0.0509 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84833 | ReA093651, Ab012513 | Re | Ab | Ab | A093651 | 012513 | 012513 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.84833 |  | 0.84833 | 0 | 0
OXYFLUORFEN | 2033 | 61600GCM39 | 2013-09-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.68 | Restek, Abs, Crescent | A093651, 012513, 10802AL | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl | 0.15 | OXYFLUORFEN | . | 0.01 | 0.102 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68 | ReA093651, Ab012513, Cr10802AL | Re | Ab | Cr | A093651 | 012513 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.68 |  | 0.68 | 0 | 0
OXYFLUORFEN | 2033 | 61600GCM39 | 2013-11-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.88167 | Restek, Abs, Crescent | A093651, 052412, 10802AL | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl | 0.06 | OXYFLUORFEN | . | 0.01 | 0.0529 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88167 | ReA093651, Ab052412, Cr10802AL | Re | Ab | Cr | A093651 | 052412 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.81 | 0.10135 | 0.81 | 0.14333 | 0.10625
OXYFLUORFEN | 2033 | 61600GCM39 | 2014-01-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.73833 | Restek, Abs, Crescent | A093651, 052412, 10802AL | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl | 0.06 | OXYFLUORFEN | . | 0.01 | 0.0443 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73833 | ReA093651, Ab052412, Cr10802AL | Re | Ab | Cr | A093651 | 052412 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.81 | 0.10135 | 0.81 | 0.14333 | 0.10625
OXYFLUORFEN | 2033 | 61600GCM39 | 2010-02-02 | 2009-10-01 | 2010-09-30 | ug/L | 0.74773 | Restek | A069639 | Restek A069639: 20 µl | 0.017654 | OXYFLUORFEN | . | 0.01 | 0.0132 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74773 | Restek A069639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.59579 | 0.17481 | 0.62836 | 0.28284 | 0.20967
OXYFLUORFEN | 2033 | 61600GCM39 | 2010-03-19 | 2009-10-01 | 2010-09-30 | ug/L | 0.72669 | Restek | A069639 | Restek A069639: 20 µl | 0.017889 | OXYFLUORFEN | . | 0.01 | 0.013 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72669 | Restek A069639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.59579 | 0.17481 | 0.62836 | 0.28284 | 0.20967
OXYFLUORFEN | 2033 | 61600GCM39 | 2010-07-29 | 2009-10-01 | 2010-09-30 | ug/L | 0.53003 | Restek | A069639 | Restek A069639: 100 µl | 0.092448 | OXYFLUORFEN | . | 0.01 | 0.049 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53003 | Restek A069639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.59579 | 0.17481 | 0.62836 | 0.28284 | 0.20967
OXYFLUORFEN | 2033 | 61600GCM39 | 2010-10-18 | 2010-10-01 | 2011-09-30 | ug/L | 0.3787 | Restek | A069639 | Restek A069639: 40 µl | 0.035384 | OXYFLUORFEN | . | 0.006 | 0.0134 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.3787 | Restek A069639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.59579 | 0.17481 | 0.62836 | 0.28284 | 0.20967
OXYFLUORFEN | 2033 | 61600GCM39 | 2012-06-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.6 | Restek | A088380 | Restek A088380: 50 µl | 0.15 | OXYFLUORFEN | . | 0.01 | 0.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6 | Restek A088380 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.6 |  | 0.6 | 0 | 0
OXYFLUORFEN | 2033 | 61600GCM39 | 2012-08-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.70167 | Spex Organics, Crescent | T1120530013, 05BB029 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl | 0.06 | OXYFLUORFEN | . | 0.01 | 0.0421 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70167 | SpT110013, Cr05BB029 | Sp | Cr | Cr | T110013 | 05BB029 | 05BB029 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.64083 | 0.086031 | 0.64083 | 0.12167 | 0.09019
OXYFLUORFEN | 2033 | 61600GCM39 | 2012-12-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.58 | Spex Organics, Crescent | T1120530013, 05BB029 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl | 0.3 | OXYFLUORFEN | . | 0.01 | 0.174 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58 | SpT110013, Cr05BB029 | Sp | Cr | Cr | T110013 | 05BB029 | 05BB029 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.64083 | 0.086031 | 0.64083 | 0.12167 | 0.09019
OXYFLUORFEN | 2033 | 61600GCM39 | 2012-09-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.79333 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl | 0.06 | OXYFLUORFEN | . | 0.01 | 0.0476 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79333 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.72533 | 0.096167 | 0.72533 | 0.136 | 0.10082
OXYFLUORFEN | 2033 | 61600GCM39 | 2013-01-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.65733 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl | 0.15 | OXYFLUORFEN | . | 0.01 | 0.0986 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65733 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.72533 | 0.096167 | 0.72533 | 0.136 | 0.10082
OXYFLUORFEN | 2033 | 61600GCM39 | 2012-11-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.56 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl | 0.3 | OXYFLUORFEN | . | 0.01 | 0.168 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.60667 | 0.054569 | 0.59333 | 0.10667 | 0.079071
OXYFLUORFEN | 2033 | 61600GCM39 | 2013-02-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.66667 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl | 0.06 | OXYFLUORFEN | . | 0.01 | 0.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66667 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.60667 | 0.054569 | 0.59333 | 0.10667 | 0.079071
OXYFLUORFEN | 2033 | 61600GCM39 | 2013-04-02 | 2011-10-01 | 2050-09-30 | ug/L | 0.59333 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl | 0.15 | OXYFLUORFEN | . | 0.01 | 0.089 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59333 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.60667 | 0.054569 | 0.59333 | 0.10667 | 0.079071
OXYFLUORFEN | 2033 | 61600GCM39 | 2013-09-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.725 | Spex Organics, ERA | T1130514013, 0318-13-02.2 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl | 0.12 | OXYFLUORFEN | . | 0.01 | 0.087 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.725 | SpT114013, ER03102.2 | Sp | ER | ER | T114013 | 03102.2 | 03102.2 | T114013 | 03102.2 | 03102.2 | Y | Recoverable Result | Y | 2 |  | 1 | 0.725 |  | 0.725 | 0 | 0
OXYFLUORFEN | 2033 | 61600GCM39 | 2013-11-09 | 2011-10-01 | 2050-09-30 | ug/L | 0.8375 | Spex Organics, Supelco | T1130514013, LB99392 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl | 0.024 | OXYFLUORFEN | . | 0.01 | 0.0201 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8375 | SpT114013, SuLB99392 | Sp | Su | Su | T114013 | LB99392 | LB99392 | T114013 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.8375 |  | 0.8375 | 0 | 0