## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
PARAOXON-METHYL | 2033 | 61664GCM39 | 2012-12-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.92647 | Abs, ERA | 052412, 0507-12-04.2 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl | 0.102 | PARAOXON-METHYL | E | 0.014 | 0.0945 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92647 | Ab052412, ER05004.2 | Ab | ER | ER | 052412 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Estimated Values | Y | 2 | Y | 2 | 0.93284 | 0.0090121 | 0.93284 | 0.012745 | 0.0094478
PARAOXON-METHYL | 2033 | 61664GCM39 | 2013-04-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.93922 | Abs, ERA | 052412, 0507-12-04.2 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl | 0.051 | PARAOXON-METHYL | E | 0.014 | 0.0479 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93922 | Ab052412, ER05004.2 | Ab | ER | ER | 052412 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Estimated Values | Y | 2 | Y | 2 | 0.93284 | 0.0090121 | 0.93284 | 0.012745 | 0.0094478
PARAOXON-METHYL | 2033 | 61664GCM39 | 2012-08-14 | 2010-10-01 | 2050-09-30 | ug/L | 1.2948 | Abs, Supelco | 052412, LB92783 | Abs 052412: 20 µl & Supelco LB92783: 20 µl | 0.02008 | PARAOXON-METHYL | E | 0.014 | 0.026 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2948 | Ab052412, SuLB92783 | Ab | Su | Su | 052412 | LB92783 | LB92783 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 1.2948 |  | 1.2948 | 0 | 0
PARAOXON-METHYL | 2033 | 61664GCM39 | 2013-07-11 | 2010-10-01 | 2050-09-30 | ug/L | 0.96857 | ChemService, ERA | 1473000, 0318-13-02.2 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl | 0.035 | PARAOXON-METHYL | E | 0.014 | 0.0339 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96857 | Ch1473000, ER03102.2 | Ch | ER | ER | 1473000 | 03102.2 | 03102.2 |  | 03102.2 | 03102.2 | Y | Estimated Values | Y | 2 | Y | 1 | 0.96857 |  | 0.96857 | 0 | 0
PARAOXON-METHYL | 2033 | 61664GCM39 | 2013-06-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.91818 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl | 0.088 | PARAOXON-METHYL | E | 0.014 | 0.0808 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91818 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.9804 | 0.087987 | 0.9804 | 0.12443 | 0.09224
PARAOXON-METHYL | 2033 | 61664GCM39 | 2014-01-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.0426 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl | 0.0352 | PARAOXON-METHYL | E | 0.014 | 0.0367 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0426 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.9804 | 0.087987 | 0.9804 | 0.12443 | 0.09224
PARAOXON-METHYL | 2033 | 61664GCM39 | 2012-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.3284 | Crescent, ERA | 05BB029, 0507-12-04.2 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl | 0.0204 | PARAOXON-METHYL | E | 0.014 | 0.0271 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3284 | Cr05BB029, ER05004.2 | Cr | ER | ER | 05BB029 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Estimated Values | Y | 2 | Y | 2 | 1.3971 | 0.097054 | 1.3971 | 0.13725 | 0.10175
PARAOXON-METHYL | 2033 | 61664GCM39 | 2013-03-07 | 2010-10-01 | 2050-09-30 | ug/L | 1.4657 | Crescent, ERA | 05BB029, 0507-12-04.2 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl | 0.0204 | PARAOXON-METHYL | E | 0.014 | 0.0299 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4657 | Cr05BB029, ER05004.2 | Cr | ER | ER | 05BB029 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Estimated Values | Y | 2 | Y | 2 | 1.3971 | 0.097054 | 1.3971 | 0.13725 | 0.10175
PARAOXON-METHYL | 2033 | 61664GCM39 | 2013-09-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.80114 | ERA, Abs, Crescent | 0318-13-02.2, 042413, 10802AL | ERA 0318-13-02.2: 50 µl & Abs 042413: 50 µl & Crescent 10802AL: 10 µl | 0.0875 | PARAOXON-METHYL | E | 0.014 | 0.0701 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80114 | ER03102.2, Ab042413, Cr10802AL | ER | Ab | Cr | 03102.2 | 042413 | 10802AL | 03102.2 |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.81771 | 0.023436 | 0.81771 | 0.033143 | 0.024568
PARAOXON-METHYL | 2033 | 61664GCM39 | 2014-01-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.83429 | ERA, Abs, Crescent | 0318-13-02.2, 042413, 10802AL | ERA 0318-13-02.2: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl | 0.035 | PARAOXON-METHYL | E | 0.014 | 0.0292 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83429 | ER03102.2, Ab042413, Cr10802AL | ER | Ab | Cr | 03102.2 | 042413 | 10802AL | 03102.2 |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.81771 | 0.023436 | 0.81771 | 0.033143 | 0.024568
PARAOXON-METHYL | 2033 | 61664GCM39 | 2013-06-11 | 2010-10-01 | 2050-09-30 | ug/L | 1.0571 | ERA, Crescent | 0318-13-02.2, 04CC101 | ERA 0318-13-02.2: 20 µl & Crescent 04CC101: 20 µl | 0.035 | PARAOXON-METHYL | E | 0.014 | 0.037 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0571 | ER03102.2, Cr04CC101 | ER | Cr | Cr | 03102.2 | 04CC101 | 04CC101 | 03102.2 |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 1.0571 |  | 1.0571 | 0 | 0
PARAOXON-METHYL | 2033 | 61664GCM39 | 2011-09-13 | 2010-10-01 | 2050-09-30 | ug/L | 0.76286 | ERA | 0318-13-02.2 | ERA 0318-13-02.2: 40 µl | 0.07 | PARAOXON-METHYL | E | 0.014 | 0.0534 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76286 | ERA 0318-13-02.2 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 0.76286 |  | 0.76286 | 0 | 0
PARAOXON-METHYL | 2033 | 61664GCM39 | 2012-10-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.92353 | ERA | 0507-12-04.2 | ERA 0507-12-04.2: 50 µl | 0.051 | PARAOXON-METHYL | E | 0.014 | 0.0471 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92353 | ERA 0507-12-04.2 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 0.92353 |  | 0.92353 | 0 | 0
PARAOXON-METHYL | 2033 | 61664GCM39 | 2011-01-13 | 2010-10-01 | 2050-09-30 | ug/L | 1.0618 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 80 µl | 0.062536 | PARAOXON-METHYL | E | 0.014 | 0.0664 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0618 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 1.0103 | 0.23661 | 0.98282 | 0.24593 | 0.18231
PARAOXON-METHYL | 2033 | 61664GCM39 | 2011-02-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.0375 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.030845 | PARAOXON-METHYL | E | 0.014 | 0.032 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0375 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 1.0103 | 0.23661 | 0.98282 | 0.24593 | 0.18231
PARAOXON-METHYL | 2033 | 61664GCM39 | 2011-02-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.81585 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 80 µl | 0.062511 | PARAOXON-METHYL | E | 0.014 | 0.051 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81585 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 1.0103 | 0.23661 | 0.98282 | 0.24593 | 0.18231
PARAOXON-METHYL | 2033 | 61664GCM39 | 2011-04-13 | 2010-10-01 | 2050-09-30 | ug/L | 0.724 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.03163 | PARAOXON-METHYL | E | 0.014 | 0.0229 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.724 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 1.0103 | 0.23661 | 0.98282 | 0.24593 | 0.18231
PARAOXON-METHYL | 2033 | 61664GCM39 | 2011-07-28 | 2010-10-01 | 2050-09-30 | ug/L | 1.4695 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.03144 | PARAOXON-METHYL | E | 0.014 | 0.0462 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4695 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 1.0103 | 0.23661 | 0.98282 | 0.24593 | 0.18231
PARAOXON-METHYL | 2033 | 61664GCM39 | 2011-10-25 | 2010-10-01 | 2050-09-30 | ug/L | 0.98282 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.03144 | PARAOXON-METHYL | E | 0.014 | 0.0309 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98282 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 1.0103 | 0.23661 | 0.98282 | 0.24593 | 0.18231
PARAOXON-METHYL | 2033 | 61664GCM39 | 2011-12-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.78721 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 80 µl | 0.06288 | PARAOXON-METHYL | E | 0.014 | 0.0495 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78721 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 1.0103 | 0.23661 | 0.98282 | 0.24593 | 0.18231
PARAOXON-METHYL | 2033 | 61664GCM39 | 2012-03-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.95738 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.03144 | PARAOXON-METHYL | E | 0.014 | 0.0301 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95738 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 1.0103 | 0.23661 | 0.98282 | 0.24593 | 0.18231
PARAOXON-METHYL | 2033 | 61664GCM39 | 2012-05-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.2564 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.03144 | PARAOXON-METHYL | E | 0.014 | 0.0395 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2564 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 1.0103 | 0.23661 | 0.98282 | 0.24593 | 0.18231
PARAOXON-METHYL | 2033 | 61664GCM39 | 2010-02-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.99201 | NSI | 090109-01Pest | NSI 090109-01Pest: 40 µl | 0.062297 | PARAOXON-METHYL | E | 0.01 | 0.0618 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99201 | NSI 090109-01Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.78126 | 0.24613 | 0.80182 | 0.42225 | 0.31301
PARAOXON-METHYL | 2033 | 61664GCM39 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.61163 | NSI | 090109-01Pest | NSI 090109-01Pest: 20 µl | 0.029593 | PARAOXON-METHYL | E | 0.01 | 0.0181 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61163 | NSI 090109-01Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.78126 | 0.24613 | 0.80182 | 0.42225 | 0.31301
PARAOXON-METHYL | 2033 | 61664GCM39 | 2010-08-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.99275 | NSI | 090109-01Pest | NSI 090109-01Pest: 20 µl | 0.030823 | PARAOXON-METHYL | E | 0.01 | 0.0306 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99276 | NSI 090109-01Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.78126 | 0.24613 | 0.80182 | 0.42225 | 0.31301
PARAOXON-METHYL | 2033 | 61664GCM39 | 2010-10-27 | 2010-10-01 | 2050-09-30 | ug/L | 0.52864 | NSI | 090109-01Pest | NSI 090109-01Pest: 100 µl | 0.15209 | PARAOXON-METHYL | E | 0.014 | 0.0804 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52864 | NSI 090109-01Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.78126 | 0.24613 | 0.80182 | 0.42225 | 0.31301
PARAOXON-METHYL | 2033 | 61664GCM39 | 2009-09-03 | 2007-10-01 | 2009-09-30 | ug/L | 0.63155 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | PARAOXON-METHYL | E | 0.01 | 0.047 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63155 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 0.63155 |  | 0.63155 | 0 | 0
PARAOXON-METHYL | 2033 | 61664GCM39 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.86638 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | PARAOXON-METHYL | E | 0.01 | 0.0336 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86638 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 1.0463 | 0.1673 | 1.0753 | 0.3308 | 0.24522
PARAOXON-METHYL | 2033 | 61664GCM39 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 1.0753 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | PARAOXON-METHYL | E | 0.01 | 0.0436 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0753 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 1.0463 | 0.1673 | 1.0753 | 0.3308 | 0.24522
PARAOXON-METHYL | 2033 | 61664GCM39 | 2010-12-16 | 2010-10-01 | 2050-09-30 | ug/L | 1.1972 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | PARAOXON-METHYL | E | 0.014 | 0.0484 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1972 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 1.0463 | 0.1673 | 1.0753 | 0.3308 | 0.24522
PARAOXON-METHYL | 2033 | 61664GCM39 | 2011-01-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.92349 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | PARAOXON-METHYL | E | 0.014 | 0.093 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92349 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.90446 | 0.16262 | 0.87337 | 0.2378 | 0.17628
PARAOXON-METHYL | 2033 | 61664GCM39 | 2011-03-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.1232 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 25 µl | 0.02475 | PARAOXON-METHYL | E | 0.014 | 0.0278 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1232 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.90446 | 0.16262 | 0.87337 | 0.2378 | 0.17628
PARAOXON-METHYL | 2033 | 61664GCM39 | 2011-04-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.74787 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.099483 | PARAOXON-METHYL | E | 0.014 | 0.0744 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74787 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.90446 | 0.16262 | 0.87337 | 0.2378 | 0.17628
PARAOXON-METHYL | 2033 | 61664GCM39 | 2011-06-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.82326 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 75 µl | 0.074096 | PARAOXON-METHYL | E | 0.014 | 0.061 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82326 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.90446 | 0.16262 | 0.87337 | 0.2378 | 0.17628
PARAOXON-METHYL | 2033 | 61664GCM39 | 2012-07-14 | 2010-10-01 | 2050-09-30 | ug/L | 1.2898 | Restek, Supelco | A088380, LB92783 | Restek A088380: 20 µl & Supelco LB92783: 20 µl | 0.02008 | PARAOXON-METHYL | E | 0.014 | 0.0259 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2898 | ReA088380, SuLB92783 | Re | Su | Su | A088380 | LB92783 | LB92783 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 1.2898 |  | 1.2898 | 0 | 0
PARAOXON-METHYL | 2033 | 61664GCM39 | 2009-08-25 | 2007-10-01 | 2009-09-30 | ug/L | 0.6966 | Restek | A063025 | Restek A063025: 40 µl | 0.12633 | PARAOXON-METHYL | E | 0.01 | 0.088 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6966 | Restek A063025 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.69344 | 0.0044574 | 0.69344 | 0.0063038 | 0.0046729
PARAOXON-METHYL | 2033 | 61664GCM39 | 2009-12-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.69029 | Restek | A063025 | Restek A063025: 25 µl | 0.078228 | PARAOXON-METHYL | E | 0.01 | 0.054 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69029 | Restek A063025 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.69344 | 0.0044574 | 0.69344 | 0.0063038 | 0.0046729
PARAOXON-METHYL | 2033 | 61664GCM39 | 2012-09-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.0588 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl | 0.0204 | PARAOXON-METHYL | E | 0.014 | 0.0216 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0588 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Estimated Values | Y | 2 | Y | 2 | 1.0304 | 0.040208 | 1.0304 | 0.056863 | 0.042152
PARAOXON-METHYL | 2033 | 61664GCM39 | 2013-01-15 | 2010-10-01 | 2050-09-30 | ug/L | 1.002 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl | 0.051 | PARAOXON-METHYL | E | 0.014 | 0.0511 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.002 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Estimated Values | Y | 2 | Y | 2 | 1.0304 | 0.040208 | 1.0304 | 0.056863 | 0.042152
PARAOXON-METHYL | 2033 | 61664GCM39 | 2012-11-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.77789 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl | 0.1004 | PARAOXON-METHYL | E | 0.014 | 0.0781 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77789 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Estimated Values | Y | 2 | Y | 3 | 0.87151 | 0.081107 | 0.91633 | 0.14243 | 0.10558
PARAOXON-METHYL | 2033 | 61664GCM39 | 2013-02-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.91633 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl | 0.02008 | PARAOXON-METHYL | E | 0.014 | 0.0184 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91633 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Estimated Values | Y | 2 | Y | 3 | 0.87151 | 0.081107 | 0.91633 | 0.14243 | 0.10558
PARAOXON-METHYL | 2033 | 61664GCM39 | 2013-04-02 | 2010-10-01 | 2050-09-30 | ug/L | 0.92032 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl | 0.0502 | PARAOXON-METHYL | E | 0.014 | 0.0462 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92032 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Estimated Values | Y | 2 | Y | 3 | 0.87151 | 0.081107 | 0.91633 | 0.14243 | 0.10558
PARAOXON-METHYL | 2033 | 61664GCM39 | 2013-09-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.69714 | Spex Organics, ERA | T1130514013, 0318-13-02.2 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl | 0.175 | PARAOXON-METHYL | E | 0.014 | 0.122 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69714 | SpT114013, ER03102.2 | Sp | ER | ER | T114013 | 03102.2 | 03102.2 | T114013 | 03102.2 | 03102.2 | Y | Estimated Values | Y | 2 | Y | 1 | 0.69714 |  | 0.69714 | 0 | 0
PARAOXON-METHYL | 2033 | 61664GCM39 | 2013-11-09 | 2010-10-01 | 2050-09-30 | ug/L | 1.0881 | Spex Organics, Supelco | T1130514013, LB99392 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl | 0.0352 | PARAOXON-METHYL | E | 0.014 | 0.0383 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0881 | SpT114013, SuLB99392 | Sp | Su | Su | T114013 | LB99392 | LB99392 | T114013 |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 1.0881 |  | 1.0881 | 0 | 0
PARAOXON-METHYL | 2033 | 61664GCM39 | 2011-01-11 | 2010-10-01 | 2050-09-30 | ug/L | 1.625 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.063385 | PARAOXON-METHYL | E | 0.014 | 0.103 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.625 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 1.1501 | 0.2256 | 1.0726 | 0.24149 | 0.17902
PARAOXON-METHYL | 2033 | 61664GCM39 | 2011-01-21 | 2010-10-01 | 2050-09-30 | ug/L | 1.0867 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.031933 | PARAOXON-METHYL | E | 0.014 | 0.0347 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0867 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 1.1501 | 0.2256 | 1.0726 | 0.24149 | 0.17902
PARAOXON-METHYL | 2033 | 61664GCM39 | 2011-02-19 | 2010-10-01 | 2050-09-30 | ug/L | 1.263 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.032145 | PARAOXON-METHYL | E | 0.014 | 0.0406 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.263 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 1.1501 | 0.2256 | 1.0726 | 0.24149 | 0.17902
PARAOXON-METHYL | 2033 | 61664GCM39 | 2011-03-23 | 2010-10-01 | 2050-09-30 | ug/L | 1.2696 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.031348 | PARAOXON-METHYL | E | 0.014 | 0.0398 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2696 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 1.1501 | 0.2256 | 1.0726 | 0.24149 | 0.17902
PARAOXON-METHYL | 2033 | 61664GCM39 | 2011-05-14 | 2010-10-01 | 2050-09-30 | ug/L | 1.0726 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.032353 | PARAOXON-METHYL | E | 0.014 | 0.0347 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0726 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 1.1501 | 0.2256 | 1.0726 | 0.24149 | 0.17902
PARAOXON-METHYL | 2033 | 61664GCM39 | 2011-07-07 | 2010-10-01 | 2050-09-30 | ug/L | 1.0281 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.064 | PARAOXON-METHYL | E | 0.014 | 0.0658 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0281 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 1.1501 | 0.2256 | 1.0726 | 0.24149 | 0.17902
PARAOXON-METHYL | 2033 | 61664GCM39 | 2011-09-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.85937 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.032 | PARAOXON-METHYL | E | 0.014 | 0.0275 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85938 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 1.1501 | 0.2256 | 1.0726 | 0.24149 | 0.17902
PARAOXON-METHYL | 2033 | 61664GCM39 | 2011-09-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.88906 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.064 | PARAOXON-METHYL | E | 0.014 | 0.0569 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88906 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 1.1501 | 0.2256 | 1.0726 | 0.24149 | 0.17902
PARAOXON-METHYL | 2033 | 61664GCM39 | 2011-11-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.0469 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.032 | PARAOXON-METHYL | E | 0.014 | 0.0335 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0469 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 1.1501 | 0.2256 | 1.0726 | 0.24149 | 0.17902
PARAOXON-METHYL | 2033 | 61664GCM39 | 2011-12-21 | 2010-10-01 | 2050-09-30 | ug/L | 1.3953 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.064 | PARAOXON-METHYL | E | 0.014 | 0.0893 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3953 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 1.1501 | 0.2256 | 1.0726 | 0.24149 | 0.17902
PARAOXON-METHYL | 2033 | 61664GCM39 | 2012-01-27 | 2010-10-01 | 2050-09-30 | ug/L | 0.95937 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.064 | PARAOXON-METHYL | E | 0.014 | 0.0614 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95937 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 1.1501 | 0.2256 | 1.0726 | 0.24149 | 0.17902
PARAOXON-METHYL | 2033 | 61664GCM39 | 2012-04-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.4031 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.032 | PARAOXON-METHYL | E | 0.014 | 0.0449 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4031 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 1.1501 | 0.2256 | 1.0726 | 0.24149 | 0.17902
PARAOXON-METHYL | 2033 | 61664GCM39 | 2012-06-02 | 2010-10-01 | 2050-09-30 | ug/L | 1.0531 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.032 | PARAOXON-METHYL | E | 0.014 | 0.0337 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0531 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 1.1501 | 0.2256 | 1.0726 | 0.24149 | 0.17902
PARAOXON-METHYL | 2033 | 61664GCM39 | 2012-10-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.8506 | Supelco, Abs | LB92783, 052412 | Supelco LB92783: 50 µl & Abs 052412: 50 µl | 0.0502 | PARAOXON-METHYL | E | 0.014 | 0.0427 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8506 | SuLB92783, Ab052412 | Su | Ab | Ab | LB92783 | 052412 | 052412 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.93127 | 0.11409 | 0.93127 | 0.16135 | 0.11961
PARAOXON-METHYL | 2033 | 61664GCM39 | 2013-01-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.012 | Supelco, Abs | LB92783, 052412 | Supelco LB92783: 50 µl & Abs 052412: 50 µl | 0.0502 | PARAOXON-METHYL | E | 0.014 | 0.0508 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.012 | SuLB92783, Ab052412 | Su | Ab | Ab | LB92783 | 052412 | 052412 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.93127 | 0.11409 | 0.93127 | 0.16135 | 0.11961
PARAOXON-METHYL | 2033 | 61664GCM39 | 2013-11-23 | 2010-10-01 | 2050-09-30 | ug/L | 1.3381 | Supelco, Abs, Crescent | LB99392, 042413, 10802AL | Supelco LB99392: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl | 0.0352 | PARAOXON-METHYL | E | 0.014 | 0.0471 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3381 | SuLB99392, Ab042413, Cr10802AL | Su | Ab | Cr | LB99392 | 042413 | 10802AL |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 1.3381 |  | 1.3381 | 0 | 0
PARAOXON-METHYL | 2033 | 61664GCM39 | 2013-08-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.74773 | Supelco, Crescent | LB99392, 04CC101 | Supelco LB99392: 50 µl & Crescent 04CC101: 50 µl | 0.088 | PARAOXON-METHYL | E | 0.014 | 0.0658 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74773 | SuLB99392, Cr04CC101 | Su | Cr | Cr | LB99392 | 04CC101 | 04CC101 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.74773 |  | 0.74773 | 0 | 0
PARAOXON-METHYL | 2033 | 61664GCM39 | 2009-09-29 | 2007-10-01 | 2009-09-30 | ug/L | 0.36088 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.077588 | PARAOXON-METHYL | E | 0.01 | 0.028 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.36088 | Supelco LB60731 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.54255 | 0.25693 | 0.54255 | 0.36335 | 0.26935
PARAOXON-METHYL | 2033 | 61664GCM39 | 2010-01-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.72423 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.077324 | PARAOXON-METHYL | E | 0.01 | 0.056 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72423 | Supelco LB60731 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.54255 | 0.25693 | 0.54255 | 0.36335 | 0.26935
PARAOXON-METHYL | 2033 | 61664GCM39 | 2010-02-06 | 2009-10-01 | 2010-09-30 | ug/L | 0.44777 | Supelco | LB69639 | Supelco LB69639: 20 µl | 0.029479 | PARAOXON-METHYL | E | 0.01 | 0.0132 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.44777 | Supelco LB69639 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.80921 | 0.28164 | 0.87286 | 0.4468 | 0.33121
PARAOXON-METHYL | 2033 | 61664GCM39 | 2010-04-22 | 2009-10-01 | 2010-09-30 | ug/L | 1.0434 | Supelco | LB69639 | Supelco LB69639: 20 µl | 0.029328 | PARAOXON-METHYL | E | 0.01 | 0.0306 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0434 | Supelco LB69639 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.80921 | 0.28164 | 0.87286 | 0.4468 | 0.33121
PARAOXON-METHYL | 2033 | 61664GCM39 | 2010-07-07 | 2009-10-01 | 2010-09-30 | ug/L | 0.72385 | Supelco | LB69639 | Supelco LB69639: 40 µl | 0.057747 | PARAOXON-METHYL | E | 0.01 | 0.0418 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72385 | Supelco LB69639 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.80921 | 0.28164 | 0.87286 | 0.4468 | 0.33121
PARAOXON-METHYL | 2033 | 61664GCM39 | 2010-09-23 | 2009-10-01 | 2010-09-30 | ug/L | 1.0219 | Supelco | LB69639 | Supelco LB69639: 40 µl | 0.058912 | PARAOXON-METHYL | E | 0.01 | 0.0602 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0219 | Supelco LB69639 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.80921 | 0.28164 | 0.87286 | 0.4468 | 0.33121