## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
PENDIMETHALIN | 2033 | 82683GCM35 | 2012-12-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.787 | Abs, ERA | 052412, 0507-12-04.2 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl | 0.1 | PENDIMETHALIN | . | 0.012 | 0.0787 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.787 | Ab052412, ER05004.2 | Ab | ER | ER | 052412 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.7565 | 0.043134 | 0.7565 | 0.061 | 0.045219
PENDIMETHALIN | 2033 | 82683GCM35 | 2013-04-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.726 | Abs, ERA | 052412, 0507-12-04.2 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl | 0.05 | PENDIMETHALIN | . | 0.012 | 0.0363 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.726 | Ab052412, ER05004.2 | Ab | ER | ER | 052412 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.7565 | 0.043134 | 0.7565 | 0.061 | 0.045219
PENDIMETHALIN | 2033 | 82683GCM35 | 2012-08-14 | 2010-10-01 | 2050-09-30 | ug/L | 1.18 | Abs, Supelco | 052412, LB92783 | Abs 052412: 20 µl & Supelco LB92783: 20 µl | 0.02 | PENDIMETHALIN | . | 0.012 | 0.0236 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.18 | Ab052412, SuLB92783 | Ab | Su | Su | 052412 | LB92783 | LB92783 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.18 |  | 1.18 | 0 | 0
PENDIMETHALIN | 2033 | 82683GCM35 | 2013-07-11 | 2010-10-01 | 2050-09-30 | ug/L | 0.76 | ChemService, ERA | 1473000, 0318-13-02.2 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl | 0.025 | PENDIMETHALIN | . | 0.012 | 0.019 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76 | Ch1473000, ER03102.2 | Ch | ER | ER | 1473000 | 03102.2 | 03102.2 |  | 03102.2 | 03102.2 | Y | Recoverable Result | Y | 2 |  | 1 | 0.76 |  | 0.76 | 0 | 0
PENDIMETHALIN | 2033 | 82683GCM35 | 2013-06-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.97923 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl | 0.0626 | PENDIMETHALIN | . | 0.012 | 0.0613 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97923 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.90695 | 0.10223 | 0.90695 | 0.14457 | 0.10717
PENDIMETHALIN | 2033 | 82683GCM35 | 2014-01-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.83466 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl | 0.02504 | PENDIMETHALIN | . | 0.012 | 0.0209 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83466 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.90695 | 0.10223 | 0.90695 | 0.14457 | 0.10717
PENDIMETHALIN | 2033 | 82683GCM35 | 2012-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.105 | Crescent, ERA | 05BB029, 0507-12-04.2 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl | 0.02 | PENDIMETHALIN | . | 0.012 | 0.0221 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.105 | Cr05BB029, ER05004.2 | Cr | ER | ER | 05BB029 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 1.095 | 0.014142 | 1.095 | 0.02 | 0.014826
PENDIMETHALIN | 2033 | 82683GCM35 | 2013-03-07 | 2010-10-01 | 2050-09-30 | ug/L | 1.085 | Crescent, ERA | 05BB029, 0507-12-04.2 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl | 0.02 | PENDIMETHALIN | . | 0.012 | 0.0217 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.085 | Cr05BB029, ER05004.2 | Cr | ER | ER | 05BB029 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 1.095 | 0.014142 | 1.095 | 0.02 | 0.014826
PENDIMETHALIN | 2033 | 82683GCM35 | 2013-09-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.88 | ERA, Abs, Crescent | 0318-13-02.2, 042413, 10802AL | ERA 0318-13-02.2: 50 µl & Abs 042413: 50 µl & Crescent 10802AL: 10 µl | 0.0625 | PENDIMETHALIN | . | 0.012 | 0.055 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88 | ER03102.2, Ab042413, Cr10802AL | ER | Ab | Cr | 03102.2 | 042413 | 10802AL | 03102.2 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.872 | 0.011314 | 0.872 | 0.016 | 0.011861
PENDIMETHALIN | 2033 | 82683GCM35 | 2014-01-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.864 | ERA, Abs, Crescent | 0318-13-02.2, 042413, 10802AL | ERA 0318-13-02.2: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl | 0.025 | PENDIMETHALIN | . | 0.012 | 0.0216 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.864 | ER03102.2, Ab042413, Cr10802AL | ER | Ab | Cr | 03102.2 | 042413 | 10802AL | 03102.2 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.872 | 0.011314 | 0.872 | 0.016 | 0.011861
PENDIMETHALIN | 2033 | 82683GCM35 | 2013-06-11 | 2010-10-01 | 2050-09-30 | ug/L | 1.264 | ERA, Crescent | 0318-13-02.2, 04CC101 | ERA 0318-13-02.2: 20 µl & Crescent 04CC101: 20 µl | 0.025 | PENDIMETHALIN | . | 0.012 | 0.0316 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.264 | ER03102.2, Cr04CC101 | ER | Cr | Cr | 03102.2 | 04CC101 | 04CC101 | 03102.2 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.264 |  | 1.264 | 0 | 0
PENDIMETHALIN | 2033 | 82683GCM35 | 2011-09-13 | 2010-10-01 | 2050-09-30 | ug/L | 1.562 | ERA | 0318-13-02.2 | ERA 0318-13-02.2: 40 µl | 0.05 | PENDIMETHALIN | . | 0.012 | 0.0781 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.562 | ERA 0318-13-02.2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.562 |  | 1.562 | 0 | 0
PENDIMETHALIN | 2033 | 82683GCM35 | 2012-10-12 | 2010-10-01 | 2050-09-30 | ug/L | 1.048 | ERA | 0507-12-04.2 | ERA 0507-12-04.2: 50 µl | 0.05 | PENDIMETHALIN | . | 0.012 | 0.0524 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.048 | ERA 0507-12-04.2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.048 |  | 1.048 | 0 | 0
PENDIMETHALIN | 2033 | 82683GCM35 | 2011-01-13 | 2010-10-01 | 2050-09-30 | ug/L | 0.93727 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 80 µl | 0.083541 | PENDIMETHALIN | . | 0.012 | 0.0783 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93727 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.97585 | 0.2391 | 0.93507 | 0.28644 | 0.21233
PENDIMETHALIN | 2033 | 82683GCM35 | 2011-02-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.1698 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.041205 | PENDIMETHALIN | . | 0.012 | 0.0482 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1698 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.97585 | 0.2391 | 0.93507 | 0.28644 | 0.21233
PENDIMETHALIN | 2033 | 82683GCM35 | 2011-02-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.93046 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 80 µl | 0.083507 | PENDIMETHALIN | . | 0.012 | 0.0777 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93046 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.97585 | 0.2391 | 0.93507 | 0.28644 | 0.21233
PENDIMETHALIN | 2033 | 82683GCM35 | 2011-04-13 | 2010-10-01 | 2050-09-30 | ug/L | 0.58457 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.042253 | PENDIMETHALIN | E | 0.012 | 0.0247 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58457 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.97585 | 0.2391 | 0.93507 | 0.28644 | 0.21233
PENDIMETHALIN | 2033 | 82683GCM35 | 2011-06-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.93286 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.04245 | PENDIMETHALIN | . | 0.012 | 0.0396 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93286 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.97585 | 0.2391 | 0.93507 | 0.28644 | 0.21233
PENDIMETHALIN | 2033 | 82683GCM35 | 2011-07-28 | 2010-10-01 | 2050-09-30 | ug/L | 1.381 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.042 | PENDIMETHALIN | . | 0.012 | 0.058 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.381 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.97585 | 0.2391 | 0.93507 | 0.28644 | 0.21233
PENDIMETHALIN | 2033 | 82683GCM35 | 2011-10-25 | 2010-10-01 | 2050-09-30 | ug/L | 0.88333 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.042 | PENDIMETHALIN | . | 0.012 | 0.0371 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88333 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.97585 | 0.2391 | 0.93507 | 0.28644 | 0.21233
PENDIMETHALIN | 2033 | 82683GCM35 | 2011-12-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.72738 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 80 µl | 0.084 | PENDIMETHALIN | . | 0.012 | 0.0611 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72738 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.97585 | 0.2391 | 0.93507 | 0.28644 | 0.21233
PENDIMETHALIN | 2033 | 82683GCM35 | 2012-03-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.94762 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.042 | PENDIMETHALIN | . | 0.012 | 0.0398 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94762 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.97585 | 0.2391 | 0.93507 | 0.28644 | 0.21233
PENDIMETHALIN | 2033 | 82683GCM35 | 2012-05-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.2643 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.042 | PENDIMETHALIN | . | 0.012 | 0.0531 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2643 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.97585 | 0.2391 | 0.93507 | 0.28644 | 0.21233
PENDIMETHALIN | 2033 | 82683GCM35 | 2010-02-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.67413 | NSI | 090109-01Pest | NSI 090109-01Pest: 40 µl | 0.10369 | PENDIMETHALIN | . | 0.012 | 0.0699 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67413 | NSI 090109-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.65969 | 0.12937 | 0.63855 | 0.18705 | 0.13866
PENDIMETHALIN | 2033 | 82683GCM35 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.60298 | NSI | 090109-01Pest | NSI 090109-01Pest: 20 µl | 0.049255 | PENDIMETHALIN | . | 0.012 | 0.0297 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60298 | NSI 090109-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.65969 | 0.12937 | 0.63855 | 0.18705 | 0.13866
PENDIMETHALIN | 2033 | 82683GCM35 | 2010-08-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.83231 | NSI | 090109-01Pest | NSI 090109-01Pest: 20 µl | 0.051303 | PENDIMETHALIN | . | 0.012 | 0.0427 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83231 | NSI 090109-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.65969 | 0.12937 | 0.63855 | 0.18705 | 0.13866
PENDIMETHALIN | 2033 | 82683GCM35 | 2010-10-27 | 2010-10-01 | 2050-09-30 | ug/L | 0.52935 | NSI | 090109-01Pest | NSI 090109-01Pest: 100 µl | 0.25314 | PENDIMETHALIN | . | 0.012 | 0.134 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52935 | NSI 090109-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.65969 | 0.12937 | 0.63855 | 0.18705 | 0.13866
PENDIMETHALIN | 2033 | 82683GCM35 | 2009-09-03 | 2007-10-01 | 2009-09-30 | ug/L | 0.92718 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | PENDIMETHALIN | . | 0.012 | 0.069 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92718 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.92718 |  | 0.92718 | 0 | 0
PENDIMETHALIN | 2033 | 82683GCM35 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.95147 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | PENDIMETHALIN | . | 0.012 | 0.0369 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95147 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0977 | 0.13848 | 1.1147 | 0.27539 | 0.20414
PENDIMETHALIN | 2033 | 82683GCM35 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 1.1147 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | PENDIMETHALIN | . | 0.012 | 0.0452 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1147 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0977 | 0.13848 | 1.1147 | 0.27539 | 0.20414
PENDIMETHALIN | 2033 | 82683GCM35 | 2010-12-16 | 2010-10-01 | 2050-09-30 | ug/L | 1.2269 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | PENDIMETHALIN | . | 0.012 | 0.0496 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2269 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0977 | 0.13848 | 1.1147 | 0.27539 | 0.20414
PENDIMETHALIN | 2033 | 82683GCM35 | 2011-01-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.92945 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | PENDIMETHALIN | . | 0.012 | 0.0936 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92945 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.99925 | 0.22608 | 0.94788 | 0.28499 | 0.21126
PENDIMETHALIN | 2033 | 82683GCM35 | 2011-03-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.3172 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 25 µl | 0.02475 | PENDIMETHALIN | . | 0.012 | 0.0326 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3172 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.99925 | 0.22608 | 0.94788 | 0.28499 | 0.21126
PENDIMETHALIN | 2033 | 82683GCM35 | 2011-04-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.78406 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.099483 | PENDIMETHALIN | . | 0.012 | 0.078 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78406 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.99925 | 0.22608 | 0.94788 | 0.28499 | 0.21126
PENDIMETHALIN | 2033 | 82683GCM35 | 2011-06-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.96631 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 75 µl | 0.074096 | PENDIMETHALIN | . | 0.012 | 0.0716 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96631 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.99925 | 0.22608 | 0.94788 | 0.28499 | 0.21126
PENDIMETHALIN | 2033 | 82683GCM35 | 2012-07-14 | 2010-10-01 | 2050-09-30 | ug/L | 1.215 | Restek, Supelco | A088380, LB92783 | Restek A088380: 20 µl & Supelco LB92783: 20 µl | 0.02 | PENDIMETHALIN | . | 0.012 | 0.0243 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.215 | ReA088380, SuLB92783 | Re | Su | Su | A088380 | LB92783 | LB92783 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.215 |  | 1.215 | 0 | 0
PENDIMETHALIN | 2033 | 82683GCM35 | 2009-08-25 | 2007-10-01 | 2009-09-30 | ug/L | 0.7246 | Restek | A063025 | Restek A063025: 40 µl | 0.32294 | PENDIMETHALIN | . | 0.012 | 0.234 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7246 | Restek A063025 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.83736 | 0.15946 | 0.83736 | 0.22552 | 0.16717
PENDIMETHALIN | 2033 | 82683GCM35 | 2009-12-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.95012 | Restek | A063025 | Restek A063025: 25 µl | 0.19997 | PENDIMETHALIN | . | 0.012 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95012 | Restek A063025 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.83736 | 0.15946 | 0.83736 | 0.22552 | 0.16717
PENDIMETHALIN | 2033 | 82683GCM35 | 2012-09-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.085 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl | 0.02 | PENDIMETHALIN | . | 0.012 | 0.0217 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.085 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.9755 | 0.15486 | 0.9755 | 0.219 | 0.16234
PENDIMETHALIN | 2033 | 82683GCM35 | 2013-01-15 | 2010-10-01 | 2050-09-30 | ug/L | 0.866 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl | 0.05 | PENDIMETHALIN | . | 0.012 | 0.0433 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.866 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.9755 | 0.15486 | 0.9755 | 0.219 | 0.16234
PENDIMETHALIN | 2033 | 82683GCM35 | 2012-11-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.774 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl | 0.1 | PENDIMETHALIN | . | 0.012 | 0.0774 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.774 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.737 | 0.036042 | 0.735 | 0.072 | 0.053373
PENDIMETHALIN | 2033 | 82683GCM35 | 2013-02-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.735 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl | 0.02 | PENDIMETHALIN | . | 0.012 | 0.0147 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.735 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.737 | 0.036042 | 0.735 | 0.072 | 0.053373
PENDIMETHALIN | 2033 | 82683GCM35 | 2013-04-02 | 2010-10-01 | 2050-09-30 | ug/L | 0.702 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl | 0.05 | PENDIMETHALIN | . | 0.012 | 0.0351 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.702 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.737 | 0.036042 | 0.735 | 0.072 | 0.053373
PENDIMETHALIN | 2033 | 82683GCM35 | 2013-09-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.7808 | Spex Organics, ERA | T1130514013, 0318-13-02.2 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl | 0.125 | PENDIMETHALIN | . | 0.012 | 0.0976 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7808 | SpT114013, ER03102.2 | Sp | ER | ER | T114013 | 03102.2 | 03102.2 | T114013 | 03102.2 | 03102.2 | Y | Recoverable Result | Y | 2 |  | 1 | 0.7808 |  | 0.7808 | 0 | 0
PENDIMETHALIN | 2033 | 82683GCM35 | 2013-11-09 | 2010-10-01 | 2050-09-30 | ug/L | 0.90655 | Spex Organics, Supelco | T1130514013, LB99392 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl | 0.02504 | PENDIMETHALIN | . | 0.012 | 0.0227 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90655 | SpT114013, SuLB99392 | Sp | Su | Su | T114013 | LB99392 | LB99392 | T114013 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.90655 |  | 0.90655 | 0 | 0
PENDIMETHALIN | 2033 | 82683GCM35 | 2011-01-11 | 2010-10-01 | 2050-09-30 | ug/L | 1.1725 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.079231 | PENDIMETHALIN | . | 0.012 | 0.0929 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1725 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0639 | 0.15068 | 1.0328 | 0.20376 | 0.15105
PENDIMETHALIN | 2033 | 82683GCM35 | 2011-01-21 | 2010-10-01 | 2050-09-30 | ug/L | 1.2702 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.039916 | PENDIMETHALIN | . | 0.012 | 0.0507 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2702 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0639 | 0.15068 | 1.0328 | 0.20376 | 0.15105
PENDIMETHALIN | 2033 | 82683GCM35 | 2011-02-19 | 2010-10-01 | 2050-09-30 | ug/L | 1.0328 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.040181 | PENDIMETHALIN | . | 0.012 | 0.0415 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0328 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0639 | 0.15068 | 1.0328 | 0.20376 | 0.15105
PENDIMETHALIN | 2033 | 82683GCM35 | 2011-03-23 | 2010-10-01 | 2050-09-30 | ug/L | 1.2454 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.039185 | PENDIMETHALIN | . | 0.012 | 0.0488 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2454 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0639 | 0.15068 | 1.0328 | 0.20376 | 0.15105
PENDIMETHALIN | 2033 | 82683GCM35 | 2011-05-14 | 2010-10-01 | 2050-09-30 | ug/L | 1.0138 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.040441 | PENDIMETHALIN | . | 0.012 | 0.041 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0138 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0639 | 0.15068 | 1.0328 | 0.20376 | 0.15105
PENDIMETHALIN | 2033 | 82683GCM35 | 2011-07-07 | 2010-10-01 | 2050-09-30 | ug/L | 0.92 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.08 | PENDIMETHALIN | . | 0.012 | 0.0736 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0639 | 0.15068 | 1.0328 | 0.20376 | 0.15105
PENDIMETHALIN | 2033 | 82683GCM35 | 2011-09-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.9475 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.04 | PENDIMETHALIN | . | 0.012 | 0.0379 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9475 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0639 | 0.15068 | 1.0328 | 0.20376 | 0.15105
PENDIMETHALIN | 2033 | 82683GCM35 | 2011-09-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.96875 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.08 | PENDIMETHALIN | . | 0.012 | 0.0775 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96875 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0639 | 0.15068 | 1.0328 | 0.20376 | 0.15105
PENDIMETHALIN | 2033 | 82683GCM35 | 2011-11-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.0075 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.04 | PENDIMETHALIN | . | 0.012 | 0.0403 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0075 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0639 | 0.15068 | 1.0328 | 0.20376 | 0.15105
PENDIMETHALIN | 2033 | 82683GCM35 | 2011-12-21 | 2010-10-01 | 2050-09-30 | ug/L | 1.1325 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.08 | PENDIMETHALIN | . | 0.012 | 0.0906 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1325 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0639 | 0.15068 | 1.0328 | 0.20376 | 0.15105
PENDIMETHALIN | 2033 | 82683GCM35 | 2012-01-27 | 2010-10-01 | 2050-09-30 | ug/L | 0.785 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.08 | PENDIMETHALIN | . | 0.012 | 0.0628 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.785 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0639 | 0.15068 | 1.0328 | 0.20376 | 0.15105
PENDIMETHALIN | 2033 | 82683GCM35 | 2012-04-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.2925 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.04 | PENDIMETHALIN | . | 0.012 | 0.0517 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2925 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0639 | 0.15068 | 1.0328 | 0.20376 | 0.15105
PENDIMETHALIN | 2033 | 82683GCM35 | 2012-06-02 | 2010-10-01 | 2050-09-30 | ug/L | 1.0425 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.04 | PENDIMETHALIN | . | 0.012 | 0.0417 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0425 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0639 | 0.15068 | 1.0328 | 0.20376 | 0.15105
PENDIMETHALIN | 2033 | 82683GCM35 | 2012-10-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.894 | Supelco, Abs | LB92783, 052412 | Supelco LB92783: 50 µl & Abs 052412: 50 µl | 0.05 | PENDIMETHALIN | . | 0.012 | 0.0447 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.894 | SuLB92783, Ab052412 | Su | Ab | Ab | LB92783 | 052412 | 052412 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.902 | 0.011314 | 0.902 | 0.016 | 0.011861
PENDIMETHALIN | 2033 | 82683GCM35 | 2013-01-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.91 | Supelco, Abs | LB92783, 052412 | Supelco LB92783: 50 µl & Abs 052412: 50 µl | 0.05 | PENDIMETHALIN | . | 0.012 | 0.0455 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91 | SuLB92783, Ab052412 | Su | Ab | Ab | LB92783 | 052412 | 052412 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.902 | 0.011314 | 0.902 | 0.016 | 0.011861
PENDIMETHALIN | 2033 | 82683GCM35 | 2013-11-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.88259 | Supelco, Abs, Crescent | LB99392, 042413, 10802AL | Supelco LB99392: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl | 0.02504 | PENDIMETHALIN | . | 0.012 | 0.0221 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88259 | SuLB99392, Ab042413, Cr10802AL | Su | Ab | Cr | LB99392 | 042413 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.88259 |  | 0.88259 | 0 | 0
PENDIMETHALIN | 2033 | 82683GCM35 | 2013-08-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.80351 | Supelco, Crescent | LB99392, 04CC101 | Supelco LB99392: 50 µl & Crescent 04CC101: 50 µl | 0.0626 | PENDIMETHALIN | . | 0.012 | 0.0503 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80351 | SuLB99392, Cr04CC101 | Su | Cr | Cr | LB99392 | 04CC101 | 04CC101 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.80351 |  | 0.80351 | 0 | 0
PENDIMETHALIN | 2033 | 82683GCM35 | 2009-09-29 | 2007-10-01 | 2009-09-30 | ug/L | 0.84916 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.19902 | PENDIMETHALIN | . | 0.012 | 0.169 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84916 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.86826 | 0.027007 | 0.86826 | 0.038194 | 0.028313
PENDIMETHALIN | 2033 | 82683GCM35 | 2010-01-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.88735 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.19834 | PENDIMETHALIN | . | 0.012 | 0.176 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88735 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.86826 | 0.027007 | 0.86826 | 0.038194 | 0.028313
PENDIMETHALIN | 2033 | 82683GCM35 | 2010-02-06 | 2009-10-01 | 2010-09-30 | ug/L | 0.71807 | Supelco | LB69639 | Supelco LB69639: 20 µl | 0.04902 | PENDIMETHALIN | . | 0.012 | 0.0352 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71807 | Supelco LB69639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.93036 | 0.24697 | 0.8609 | 0.33139 | 0.24566
PENDIMETHALIN | 2033 | 82683GCM35 | 2010-04-22 | 2009-10-01 | 2010-09-30 | ug/L | 1.2816 | Supelco | LB69639 | Supelco LB69639: 20 µl | 0.048769 | PENDIMETHALIN | . | 0.012 | 0.0625 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2816 | Supelco LB69639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.93036 | 0.24697 | 0.8609 | 0.33139 | 0.24566
PENDIMETHALIN | 2033 | 82683GCM35 | 2010-07-07 | 2009-10-01 | 2010-09-30 | ug/L | 0.81125 | Supelco | LB69639 | Supelco LB69639: 40 µl | 0.096025 | PENDIMETHALIN | . | 0.012 | 0.0779 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81125 | Supelco LB69639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.93036 | 0.24697 | 0.8609 | 0.33139 | 0.24566
PENDIMETHALIN | 2033 | 82683GCM35 | 2010-09-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.91055 | Supelco | LB69639 | Supelco LB69639: 40 µl | 0.097962 | PENDIMETHALIN | . | 0.012 | 0.0892 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91055 | Supelco LB69639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.93036 | 0.24697 | 0.8609 | 0.33139 | 0.24566