## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
PHORATE | 2033 | 82664GCM35 | 2013-06-26 | 2010-10-01 | 2050-09-30 | ug/L | 0.41667 | Abs, ChemService | 042413, 1473000 | Abs 042413: 20 µl & ChemService 1473000: 20 µl | 0.0432 | PHORATE | . | 0.02 | 0.018 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.41667 | Ab042413, Ch1473000 | Ab | Ch | Ch | 042413 | 1473000 | 1473000 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.41667 |  | 0.41667 | 0 | 0
PHORATE | 2033 | 82664GCM35 | 2013-10-19 | 2010-10-01 | 2050-09-30 | ug/L | 1.1296 | Abs, Spex Organics, Crescent | 042413, T1130514013, 10802AL | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl | 0.108 | PHORATE | . | 0.02 | 0.122 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1296 | Ab042413, SpT114013, Cr10802AL | Ab | Sp | Cr | 042413 | T114013 | 10802AL |  | T114013 |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1296 |  | 1.1296 | 0 | 0
PHORATE | 2033 | 82664GCM35 | 2012-12-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.63036 | Abs, ERA | 052412, 0507-12-04.2 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl | 0.303 | PHORATE | . | 0.02 | 0.191 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63036 | Ab052412, ER05004.2 | Ab | ER | ER | 052412 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.4505 | 0.25437 | 0.4505 | 0.35974 | 0.26667
PHORATE | 2033 | 82664GCM35 | 2013-04-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.27063 | Abs, ERA | 052412, 0507-12-04.2 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl | 0.1515 | PHORATE | . | 0.02 | 0.041 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.27063 | Ab052412, ER05004.2 | Ab | ER | ER | 052412 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.4505 | 0.25437 | 0.4505 | 0.35974 | 0.26667
PHORATE | 2033 | 82664GCM35 | 2012-08-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.51155 | Abs, Supelco | 052412, LB92783 | Abs 052412: 20 µl & Supelco LB92783: 20 µl | 0.0606 | PHORATE | . | 0.02 | 0.031 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51155 | Ab052412, SuLB92783 | Ab | Su | Su | 052412 | LB92783 | LB92783 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.51155 |  | 0.51155 | 0 | 0
PHORATE | 2033 | 82664GCM35 | 2012-06-16 | 2010-10-01 | 2050-09-30 | ug/L | 0.67657 | Abs | 052412 | Abs 052412: 20 µl | 0.0606 | PHORATE | . | 0.02 | 0.041 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67657 | Abs 052412 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.67657 |  | 0.67657 | 0 | 0
PHORATE | 2033 | 82664GCM35 | 2009-10-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.84412 | Abs | 080408Pest | Abs 080408Pest: 40 µl | 0.31275 | PHORATE | . | 0.02 | 0.264 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84412 | Abs 080408Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.91053 | 0.093916 | 0.91053 | 0.13282 | 0.098456
PHORATE | 2033 | 82664GCM35 | 2010-01-10 | 2009-10-01 | 2010-09-30 | ug/L | 0.97694 | Abs | 080408Pest | Abs 080408Pest: 25 µl | 0.19551 | PHORATE | . | 0.02 | 0.191 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97694 | Abs 080408Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.91053 | 0.093916 | 0.91053 | 0.13282 | 0.098456
PHORATE | 2033 | 82664GCM35 | 2009-09-03 | 2008-10-01 | 2009-09-30 | ug/L | 0.89989 | Accu | B8090098 | Accu B8090098: 25 µl | 0.18891 | PHORATE | . | 0.02 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89989 | Accu B8090098 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.87817 | 0.030715 | 0.87817 | 0.043438 | 0.0322
PHORATE | 2033 | 82664GCM35 | 2009-12-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.85645 | Accu | B8090098 | Accu B8090098: 25 µl | 0.19032 | PHORATE | . | 0.02 | 0.163 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85645 | Accu B8090098 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.87817 | 0.030715 | 0.87817 | 0.043438 | 0.0322
PHORATE | 2033 | 82664GCM35 | 2013-12-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.80952 | Crescent, ChemService, Cresc | 04CC101, 1473000, 10802AL | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl | 0.042 | PHORATE | . | 0.02 | 0.034 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80952 | Cr04CC101, Ch1473000, Cr10802A | Cr | Ch | Cr | 04CC101 | 1473000 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.80952 |  | 0.80952 | 0 | 0
PHORATE | 2033 | 82664GCM35 | 2013-09-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.57143 | Crescent, Spex Organics | 04CC101, T1130514013 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl | 0.042 | PHORATE | . | 0.02 | 0.024 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57143 | Cr04CC101, SpT114013 | Cr | Sp | Sp | 04CC101 | T114013 | T114013 |  | T114013 | T114013 | Y | Recoverable Result | Y | 2 |  | 1 | 0.57143 |  | 0.57143 | 0 | 0
PHORATE | 2033 | 82664GCM35 | 2012-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.75085 | Crescent, ERA | 05BB029, 0507-12-04.2 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl | 0.0586 | PHORATE | . | 0.02 | 0.044 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75085 | Cr05BB029, ER05004.2 | Cr | ER | ER | 05BB029 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.48635 | 0.37407 | 0.48635 | 0.52901 | 0.39215
PHORATE | 2033 | 82664GCM35 | 2013-03-07 | 2010-10-01 | 2050-09-30 | ug/L | 0.22184 | Crescent, ERA | 05BB029, 0507-12-04.2 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl | 0.0586 | PHORATE | . | 0.02 | 0.013 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.22184 | Cr05BB029, ER05004.2 | Cr | ER | ER | 05BB029 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.48635 | 0.37407 | 0.48635 | 0.52901 | 0.39215
PHORATE | 2033 | 82664GCM35 | 2013-09-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.83333 | ERA, Abs, Crescent | 0318-13-02.2, 042413, 10802AL | ERA 0318-13-02.2: 50 µl & Abs 042413: 50 µl & Crescent 10802AL: 10 µl | 0.108 | PHORATE | . | 0.02 | 0.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83333 | ER03102.2, Ab042413, Cr10802AL | ER | Ab | Cr | 03102.2 | 042413 | 10802AL | 03102.2 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.61343 | 0.311 | 0.61343 | 0.43981 | 0.32603
PHORATE | 2033 | 82664GCM35 | 2014-01-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.39352 | ERA, Abs, Crescent | 0318-13-02.2, 042413, 10802AL | ERA 0318-13-02.2: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl | 0.0432 | PHORATE | . | 0.02 | 0.017 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.39352 | ER03102.2, Ab042413, Cr10802AL | ER | Ab | Cr | 03102.2 | 042413 | 10802AL | 03102.2 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.61343 | 0.311 | 0.61343 | 0.43981 | 0.32603
PHORATE | 2033 | 82664GCM35 | 2009-09-03 | 2008-10-01 | 2009-09-30 | ug/L | 0.80624 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | PHORATE | . | 0.02 | 0.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80624 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.80624 |  | 0.80624 | 0 | 0
PHORATE | 2033 | 82664GCM35 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.77355 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | PHORATE | . | 0.02 | 0.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77355 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.80952 | 0.070245 | 0.77355 | 0.12592 | 0.093346
PHORATE | 2033 | 82664GCM35 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.76454 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | PHORATE | . | 0.02 | 0.031 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76454 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.80952 | 0.070245 | 0.77355 | 0.12592 | 0.093346
PHORATE | 2033 | 82664GCM35 | 2010-12-16 | 2010-10-01 | 2050-09-30 | ug/L | 0.89046 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | PHORATE | . | 0.02 | 0.036 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89046 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.80952 | 0.070245 | 0.77355 | 0.12592 | 0.093346
PHORATE | 2033 | 82664GCM35 | 2011-01-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.91356 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | PHORATE | . | 0.02 | 0.092 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91356 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.84646 | 0.049617 | 0.83209 | 0.07507 | 0.055648
PHORATE | 2033 | 82664GCM35 | 2011-03-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.80808 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 25 µl | 0.02475 | PHORATE | . | 0.02 | 0.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80808 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.84646 | 0.049617 | 0.83209 | 0.07507 | 0.055648
PHORATE | 2033 | 82664GCM35 | 2011-04-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.85442 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.099483 | PHORATE | . | 0.02 | 0.085 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85442 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.84646 | 0.049617 | 0.83209 | 0.07507 | 0.055648
PHORATE | 2033 | 82664GCM35 | 2011-06-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.80976 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 75 µl | 0.074096 | PHORATE | . | 0.02 | 0.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80976 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.84646 | 0.049617 | 0.83209 | 0.07507 | 0.055648
PHORATE | 2033 | 82664GCM35 | 2012-09-26 | 2010-10-01 | 2050-09-30 | ug/L | 0.62706 | Restek, Abs | A088380, 052412 | Restek A088380: 20 µl & Abs 052412: 20 µl | 0.0606 | PHORATE | . | 0.02 | 0.038 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62706 | ReA088380, Ab052412 | Re | Ab | Ab | A088380 | 052412 | 052412 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.5363 | 0.12835 | 0.5363 | 0.18152 | 0.13456
PHORATE | 2033 | 82664GCM35 | 2013-03-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.44554 | Restek, Abs | A088380, 052412 | Restek A088380: 20 µl & Abs 052412: 20 µl | 0.0606 | PHORATE | . | 0.02 | 0.027 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.44554 | ReA088380, Ab052412 | Re | Ab | Ab | A088380 | 052412 | 052412 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.5363 | 0.12835 | 0.5363 | 0.18152 | 0.13456
PHORATE | 2033 | 82664GCM35 | 2012-11-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.46416 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl | 0.1465 | PHORATE | . | 0.02 | 0.068 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.46416 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.53072 | 0.09412 | 0.53072 | 0.13311 | 0.09867
PHORATE | 2033 | 82664GCM35 | 2013-02-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.59727 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl | 0.293 | PHORATE | . | 0.02 | 0.175 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59727 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.53072 | 0.09412 | 0.53072 | 0.13311 | 0.09867
PHORATE | 2033 | 82664GCM35 | 2013-07-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.48173 | Restek, Abs | A093651, 012513 | Restek A093651: 20 µl & Abs 012513: 20 µl | 0.0602 | PHORATE | . | 0.02 | 0.029 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.48173 | ReA093651, Ab012513 | Re | Ab | Ab | A093651 | 012513 | 012513 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.48173 |  | 0.48173 | 0 | 0
PHORATE | 2033 | 82664GCM35 | 2013-09-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.69103 | Restek, Abs, Crescent | A093651, 012513, 10802AL | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl | 0.1505 | PHORATE | . | 0.02 | 0.104 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69103 | ReA093651, Ab012513, Cr10802AL | Re | Ab | Cr | A093651 | 012513 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.69103 |  | 0.69103 | 0 | 0
PHORATE | 2033 | 82664GCM35 | 2013-11-04 | 2010-10-01 | 2050-09-30 | ug/L | 0.70957 | Restek, Abs, Crescent | A093651, 052412, 10802AL | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl | 0.0606 | PHORATE | . | 0.02 | 0.043 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70957 | ReA093651, Ab052412, Cr10802AL | Re | Ab | Cr | A093651 | 052412 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.72607 | 0.023337 | 0.72607 | 0.033003 | 0.024465
PHORATE | 2033 | 82664GCM35 | 2014-01-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.74257 | Restek, Abs, Crescent | A093651, 052412, 10802AL | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl | 0.0606 | PHORATE | . | 0.02 | 0.045 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74257 | ReA093651, Ab052412, Cr10802AL | Re | Ab | Cr | A093651 | 052412 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.72607 | 0.023337 | 0.72607 | 0.033003 | 0.024465
PHORATE | 2033 | 82664GCM35 | 2011-01-09 | 2010-10-01 | 2050-09-30 | ug/L | 0.97633 | Restek | A075606 | Restek A075606: 40 µl | 0.049164 | PHORATE | . | 0.02 | 0.048 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97633 | Restek A075606 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.73633 | 0.21054 | 0.79114 | 0.21548 | 0.15973
PHORATE | 2033 | 82664GCM35 | 2011-01-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.68816 | Restek | A075606 | Restek A075606: 80 µl | 0.10172 | PHORATE | . | 0.02 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68816 | Restek A075606 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.73633 | 0.21054 | 0.79114 | 0.21548 | 0.15973
PHORATE | 2033 | 82664GCM35 | 2011-03-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.71878 | Restek | A075606 | Restek A075606: 40 µl | 0.051476 | PHORATE | . | 0.02 | 0.037 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71878 | Restek A075606 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.73633 | 0.21054 | 0.79114 | 0.21548 | 0.15973
PHORATE | 2033 | 82664GCM35 | 2011-04-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.84223 | Restek | A075606 | Restek A075606: 40 µl | 0.051055 | PHORATE | . | 0.02 | 0.043 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84223 | Restek A075606 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.73633 | 0.21054 | 0.79114 | 0.21548 | 0.15973
PHORATE | 2033 | 82664GCM35 | 2011-06-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.91306 | Restek | A075606 | Restek A075606: 80 µl | 0.099665 | PHORATE | . | 0.02 | 0.091 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91306 | Restek A075606 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.73633 | 0.21054 | 0.79114 | 0.21548 | 0.15973
PHORATE | 2033 | 82664GCM35 | 2011-08-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.8307 | Restek | A075606 | Restek A075606: 40 µl | 0.05056 | PHORATE | E | 0.02 | 0.042 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8307 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 |  | 12 | 0.73633 | 0.21054 | 0.79114 | 0.21548 | 0.15973
PHORATE | 2033 | 82664GCM35 | 2011-09-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.76147 | Restek | A075606 | Restek A075606: 80 µl | 0.10112 | PHORATE | . | 0.02 | 0.077 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76147 | Restek A075606 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.73633 | 0.21054 | 0.79114 | 0.21548 | 0.15973
PHORATE | 2033 | 82664GCM35 | 2011-09-13 | 2010-10-01 | 2050-09-30 | ug/L | 0.17801 | Restek | A075606 | Restek A075606: 80 µl | 0.10112 | PHORATE | . | 0.02 | 0.018 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.17801 | Restek A075606 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.73633 | 0.21054 | 0.79114 | 0.21548 | 0.15973
PHORATE | 2033 | 82664GCM35 | 2011-11-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.82081 | Restek | A075606 | Restek A075606: 80 µl | 0.10112 | PHORATE | . | 0.02 | 0.083 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82081 | Restek A075606 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.73633 | 0.21054 | 0.79114 | 0.21548 | 0.15973
PHORATE | 2033 | 82664GCM35 | 2011-12-04 | 2010-10-01 | 2050-09-30 | ug/L | 0.61313 | Restek | A075606 | Restek A075606: 40 µl | 0.05056 | PHORATE | . | 0.02 | 0.031 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61313 | Restek A075606 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.73633 | 0.21054 | 0.79114 | 0.21548 | 0.15973
PHORATE | 2033 | 82664GCM35 | 2012-02-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.89003 | Restek | A075606 | Restek A075606: 40 µl | 0.05056 | PHORATE | . | 0.02 | 0.045 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89003 | Restek A075606 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.73633 | 0.21054 | 0.79114 | 0.21548 | 0.15973
PHORATE | 2033 | 82664GCM35 | 2012-05-15 | 2010-10-01 | 2050-09-30 | ug/L | 0.60324 | Restek | A075606 | Restek A075606: 80 µl | 0.10112 | PHORATE | . | 0.02 | 0.061 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60324 | Restek A075606 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.73633 | 0.21054 | 0.79114 | 0.21548 | 0.15973
PHORATE | 2033 | 82664GCM35 | 2012-08-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.5802 | Spex Organics, Crescent | T1120530013, 05BB029 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl | 0.0586 | PHORATE | . | 0.02 | 0.034 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5802 | SpT110013, Cr05BB029 | Sp | Cr | Cr | T110013 | 05BB029 | 05BB029 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.62799 | 0.067573 | 0.62799 | 0.095563 | 0.07084
PHORATE | 2033 | 82664GCM35 | 2012-12-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.67577 | Spex Organics, Crescent | T1120530013, 05BB029 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl | 0.293 | PHORATE | . | 0.02 | 0.198 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67577 | SpT110013, Cr05BB029 | Sp | Cr | Cr | T110013 | 05BB029 | 05BB029 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.62799 | 0.067573 | 0.62799 | 0.095563 | 0.07084
PHORATE | 2033 | 82664GCM35 | 2010-06-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.2988 | Spex Organics | T1090901009 | Spex Organics T1090901009: 20 µl | 0.050201 | PHORATE | E | 0.02 | 0.015 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.2988 | Spex Organics T1090901009 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.56928 | 0.21742 | 0.60503 | 0.34985 | 0.25934
PHORATE | 2033 | 82664GCM35 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.76824 | Spex Organics | T1090901009 | Spex Organics T1090901009: 100 µl | 0.25253 | PHORATE | . | 0.02 | 0.194 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76824 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.56928 | 0.21742 | 0.60503 | 0.34985 | 0.25934
PHORATE | 2033 | 82664GCM35 | 2010-09-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.4899 | Spex Organics | T1090901009 | Spex Organics T1090901009: 20 µl | 0.051031 | PHORATE | . | 0.02 | 0.025 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4899 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.56928 | 0.21742 | 0.60503 | 0.34985 | 0.25934
PHORATE | 2033 | 82664GCM35 | 2010-12-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.72017 | Spex Organics | T1090901009 | Spex Organics T1090901009: 40 µl | 0.10275 | PHORATE | . | 0.02 | 0.074 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72017 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.56928 | 0.21742 | 0.60503 | 0.34985 | 0.25934
PHORATE | 2033 | 82664GCM35 | 2012-10-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.68647 | Supelco, Abs | LB92783, 052412 | Supelco LB92783: 50 µl & Abs 052412: 50 µl | 0.1515 | PHORATE | . | 0.02 | 0.104 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68647 | SuLB92783, Ab052412 | Su | Ab | Ab | LB92783 | 052412 | 052412 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.60726 | 0.11202 | 0.60726 | 0.15842 | 0.11743
PHORATE | 2033 | 82664GCM35 | 2013-01-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.52805 | Supelco, Abs | LB92783, 052412 | Supelco LB92783: 50 µl & Abs 052412: 50 µl | 0.1515 | PHORATE | . | 0.02 | 0.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52805 | SuLB92783, Ab052412 | Su | Ab | Ab | LB92783 | 052412 | 052412 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.60726 | 0.11202 | 0.60726 | 0.15842 | 0.11743
PHORATE | 2033 | 82664GCM35 | 2013-11-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.74074 | Supelco, Abs, Crescent | LB99392, 042413, 10802AL | Supelco LB99392: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl | 0.0432 | PHORATE | . | 0.02 | 0.032 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74074 | SuLB99392, Ab042413, Cr10802AL | Su | Ab | Cr | LB99392 | 042413 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.74074 |  | 0.74074 | 0 | 0
PHORATE | 2033 | 82664GCM35 | 2013-08-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.25714 | Supelco, Crescent | LB99392, 04CC101 | Supelco LB99392: 50 µl & Crescent 04CC101: 50 µl | 0.105 | PHORATE | . | 0.02 | 0.027 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.25714 | SuLB99392, Cr04CC101 | Su | Cr | Cr | LB99392 | 04CC101 | 04CC101 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.25714 |  | 0.25714 | 0 | 0
PHORATE | 2033 | 82664GCM35 | 2011-01-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.71572 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.050299 | PHORATE | . | 0.02 | 0.036 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71572 | Supelco LB77168 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.77139 | 0.098892 | 0.78311 | 0.15369 | 0.11393
PHORATE | 2033 | 82664GCM35 | 2011-02-09 | 2010-10-01 | 2050-09-30 | ug/L | 0.63678 | Supelco | LB77168 | Supelco LB77168: 80 µl | 0.097365 | PHORATE | . | 0.02 | 0.062 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63678 | Supelco LB77168 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.77139 | 0.098892 | 0.78311 | 0.15369 | 0.11393
PHORATE | 2033 | 82664GCM35 | 2011-03-30 | 2010-10-01 | 2050-09-30 | ug/L | 0.89268 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.05041 | PHORATE | . | 0.02 | 0.045 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89268 | Supelco LB77168 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.77139 | 0.098892 | 0.78311 | 0.15369 | 0.11393
PHORATE | 2033 | 82664GCM35 | 2011-05-25 | 2010-10-01 | 2050-09-30 | ug/L | 0.85749 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.051312 | PHORATE | . | 0.02 | 0.044 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85749 | Supelco LB77168 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.77139 | 0.098892 | 0.78311 | 0.15369 | 0.11393
PHORATE | 2033 | 82664GCM35 | 2011-07-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.72363 | Supelco | LB77168 | Supelco LB77168: 80 µl | 0.10088 | PHORATE | . | 0.02 | 0.073 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72363 | Supelco LB77168 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.77139 | 0.098892 | 0.78311 | 0.15369 | 0.11393
PHORATE | 2033 | 82664GCM35 | 2011-07-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.81285 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.05044 | PHORATE | . | 0.02 | 0.041 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81285 | Supelco LB77168 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.77139 | 0.098892 | 0.78311 | 0.15369 | 0.11393
PHORATE | 2033 | 82664GCM35 | 2011-09-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.8525 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.05044 | PHORATE | . | 0.02 | 0.043 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8525 | Supelco LB77168 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.77139 | 0.098892 | 0.78311 | 0.15369 | 0.11393
PHORATE | 2033 | 82664GCM35 | 2011-10-02 | 2010-10-01 | 2050-09-30 | ug/L | 0.70381 | Supelco | LB77168 | Supelco LB77168: 80 µl | 0.10088 | PHORATE | . | 0.02 | 0.071 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70381 | Supelco LB77168 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.77139 | 0.098892 | 0.78311 | 0.15369 | 0.11393
PHORATE | 2033 | 82664GCM35 | 2011-11-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.78311 | Supelco | LB77168 | Supelco LB77168: 80 µl | 0.10088 | PHORATE | . | 0.02 | 0.079 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78311 | Supelco LB77168 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.77139 | 0.098892 | 0.78311 | 0.15369 | 0.11393
PHORATE | 2033 | 82664GCM35 | 2011-12-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.89215 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.05044 | PHORATE | . | 0.02 | 0.045 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89215 | Supelco LB77168 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.77139 | 0.098892 | 0.78311 | 0.15369 | 0.11393
PHORATE | 2033 | 82664GCM35 | 2012-03-09 | 2010-10-01 | 2050-09-30 | ug/L | 0.61459 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.05044 | PHORATE | . | 0.02 | 0.031 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61459 | Supelco LB77168 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.77139 | 0.098892 | 0.78311 | 0.15369 | 0.11393
PHORATE | 2033 | 82664GCM35 | 2010-02-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.46736 | Ultra | CF-3558 | Ultra CF-3558: 40 µl | 0.098425 | PHORATE | . | 0.02 | 0.046 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.46736 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.73876 | 0.25566 | 0.75963 | 0.43602 | 0.32322
PHORATE | 2033 | 82664GCM35 | 2010-05-19 | 2009-10-01 | 2010-09-30 | ug/L | 0.94512 | Ultra | CF-3558 | Ultra CF-3558: 20 µl | 0.050787 | PHORATE | . | 0.02 | 0.048 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94512 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.73876 | 0.25566 | 0.75963 | 0.43602 | 0.32322
PHORATE | 2033 | 82664GCM35 | 2010-08-10 | 2009-10-01 | 2010-09-30 | ug/L | 0.96842 | Ultra | CF-3558 | Ultra CF-3558: 40 µl | 0.10223 | PHORATE | . | 0.02 | 0.099 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96842 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.73876 | 0.25566 | 0.75963 | 0.43602 | 0.32322
PHORATE | 2033 | 82664GCM35 | 2010-12-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.57414 | Ultra | CF-3558 | Ultra CF-3558: 20 µl | 0.05051 | PHORATE | . | 0.02 | 0.029 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57414 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.73876 | 0.25566 | 0.75963 | 0.43602 | 0.32322