## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
PHOSMET (IMIDAN) | 2033 | 61601GCM39 | 2013-06-26 | 2012-10-01 | 2050-09-30 | ug/L | 0.82228 | Abs, ChemService | 042413, 1473000 | Abs 042413: 20 µl & ChemService 1473000: 20 µl | 0.3016 | PHOSMET_(IMIDAN) | E | 0.14 | 0.248 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82228 | Ab042413, Ch1473000 | Ab | Ch | Ch | 042413 | 1473000 | 1473000 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.82228 |  | 0.82228 | 0 | 0
PHOSMET (IMIDAN) | 2033 | 61601GCM39 | 2013-10-19 | 2012-10-01 | 2050-09-30 | ug/L | 0.79708 | Abs, Spex Organics, Crescent | 042413, T1130514013, 10802AL | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl | 0.754 | PHOSMET_(IMIDAN) | E | 0.14 | 0.601 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79708 | Ab042413, SpT114013, Cr10802AL | Ab | Sp | Cr | 042413 | T114013 | 10802AL |  | T114013 |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.79708 |  | 0.79708 | 0 | 0
PHOSMET (IMIDAN) | 2033 | 61601GCM39 | 2012-12-06 | 2012-10-01 | 2050-09-30 | ug/L | 0.85857 | Abs, ERA | 052412, 0507-12-04.2 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl | 0.502 | PHOSMET_(IMIDAN) | E | 0.14 | 0.431 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85857 | Ab052412, ER05004.2 | Ab | ER | ER | 052412 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Estimated Values | Y | 2 | Y | 2 | 0.69422 | 0.23242 | 0.69422 | 0.32869 | 0.24365
PHOSMET (IMIDAN) | 2033 | 61601GCM39 | 2013-04-22 | 2012-10-01 | 2050-09-30 | ug/L | 0.52988 | Abs, ERA | 052412, 0507-12-04.2 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl | 0.251 | PHOSMET_(IMIDAN) | E | 0.14 | 0.133 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52988 | Ab052412, ER05004.2 | Ab | ER | ER | 052412 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Estimated Values | Y | 2 | Y | 2 | 0.69422 | 0.23242 | 0.69422 | 0.32869 | 0.24365
PHOSMET (IMIDAN) | 2033 | 61601GCM39 | 2012-08-14 | 2011-10-01 | 2012-09-30 | ug/L | 0.97311 | Abs, Supelco | 052412, LB92783 | Abs 052412: 20 µl & Supelco LB92783: 20 µl | 0.1004 | PHOSMET_(IMIDAN) | E | 0.08 | 0.0977 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97311 | Ab052412, SuLB92783 | Ab | Su | Su | 052412 | LB92783 | LB92783 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.97311 |  | 0.97311 | 0 | 0
PHOSMET (IMIDAN) | 2033 | 61601GCM39 | 2012-06-16 | 2011-10-01 | 2012-09-30 | ug/L | 1.1155 | Abs | 052412 | Abs 052412: 20 µl | 0.1004 | PHOSMET_(IMIDAN) | E | 0.08 | 0.112 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1155 | Abs 052412 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 1.1155 |  | 1.1155 | 0 | 0
PHOSMET (IMIDAN) | 2033 | 61601GCM39 | 2010-02-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.12608 | Accu | 209081187 | Accu 209081187: 100 µl | 1.1976 | PHOSMET_(IMIDAN) | E | 0.034 | 0.151 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.12608 | Accu 209081187 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.10325 | 0.019936 | 0.094403 | 0.036807 | 0.027285
PHOSMET (IMIDAN) | 2033 | 61601GCM39 | 2010-03-24 | 2009-10-01 | 2010-09-30 | ug/L | 0.094403 | Accu | 209081187 | Accu 209081187: 20 µl | 0.24152 | PHOSMET_(IMIDAN) | E | 0.034 | 0.0228 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.094403 | Accu 209081187 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.10325 | 0.019936 | 0.094403 | 0.036807 | 0.027285
PHOSMET (IMIDAN) | 2033 | 61601GCM39 | 2010-05-07 | 2009-10-01 | 2010-09-30 | ug/L | 0.089275 | Accu | 209081187 | Accu 209081187: 20 µl | 0.25315 | PHOSMET_(IMIDAN) | E | 0.034 | 0.0226 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.089275 | Accu 209081187 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.10325 | 0.019936 | 0.094403 | 0.036807 | 0.027285
PHOSMET (IMIDAN) | 2033 | 61601GCM39 | 2009-08-12 | 2008-10-01 | 2009-09-30 | ug/L | 0.7992 | ChemService | 406-99B | ChemService 406-99B: 25 µl | 0.01001 | PHOSMET_(IMIDAN) | E | 0.2 | 0.008 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.7992 | ChemService 406-99B | [9 empty] | Y | Estimated Values | Y | 1 | Y | 2 | 1.0376 | 0.33711 | 1.0376 | 0.47675 | 0.35341
PHOSMET (IMIDAN) | 2033 | 61601GCM39 | 2009-12-01 | 2009-10-01 | 2010-09-30 | ug/L | 1.2759 | ChemService | 406-99B | ChemService 406-99B: 25 µl | 0.010189 | PHOSMET_(IMIDAN) | E | 0.034 | 0.013 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.2759 | ChemService 406-99B | [9 empty] | Y | Estimated Values | Y | 1 | Y | 2 | 1.0376 | 0.33711 | 1.0376 | 0.47675 | 0.35341
PHOSMET (IMIDAN) | 2033 | 61601GCM39 | 2013-12-05 | 2012-10-01 | 2050-09-30 | ug/L | 0.79499 | Crescent, ChemService, Cresc | 04CC101, 1473000, 10802AL | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl | 0.2956 | PHOSMET_(IMIDAN) | E | 0.14 | 0.235 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79499 | Cr04CC101, Ch1473000, Cr10802A | Cr | Ch | Cr | 04CC101 | 1473000 | 10802AL |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.79499 |  | 0.79499 | 0 | 0
PHOSMET (IMIDAN) | 2033 | 61601GCM39 | 2013-09-05 | 2012-10-01 | 2050-09-30 | ug/L | 0.7544 | Crescent, Spex Organics | 04CC101, T1130514013 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl | 0.2956 | PHOSMET_(IMIDAN) | E | 0.14 | 0.223 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7544 | Cr04CC101, SpT114013 | Cr | Sp | Sp | 04CC101 | T114013 | T114013 |  | T114013 | T114013 | Y | Estimated Values | Y | 2 | Y | 1 | 0.7544 |  | 0.7544 | 0 | 0
PHOSMET (IMIDAN) | 2033 | 61601GCM39 | 2012-09-17 | 2011-10-01 | 2012-09-30 | ug/L | 0.82755 | Crescent, ERA | 05BB029, 0507-12-04.2 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl | 0.098 | PHOSMET_(IMIDAN) | E | 0.08 | 0.0811 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82755 | Cr05BB029, ER05004.2 | Cr | ER | ER | 05BB029 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Estimated Values | Y | 2 | Y | 2 | 0.86276 | 0.049786 | 0.86276 | 0.070408 | 0.052193
PHOSMET (IMIDAN) | 2033 | 61601GCM39 | 2013-03-07 | 2012-10-01 | 2050-09-30 | ug/L | 0.89796 | Crescent, ERA | 05BB029, 0507-12-04.2 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl | 0.098 | PHOSMET_(IMIDAN) | E | 0.14 | 0.088 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.89796 | Cr05BB029, ER05004.2 | Cr | ER | ER | 05BB029 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Estimated Values | Y | 1 | Y | 2 | 0.86276 | 0.049786 | 0.86276 | 0.070408 | 0.052193
PHOSMET (IMIDAN) | 2033 | 61601GCM39 | 2010-06-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.17712 | Crescent | 08Ll064 | Crescent 08Ll064: 20 µl | 0.2456 | PHOSMET_(IMIDAN) | E | 0.034 | 0.0435 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.17712 | Crescent 08Ll064 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.24356 | 0.078093 | 0.22399 | 0.15246 | 0.11302
PHOSMET (IMIDAN) | 2033 | 61601GCM39 | 2010-07-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.22399 | Crescent | 08Ll064 | Crescent 08Ll064: 40 µl | 0.48664 | PHOSMET_(IMIDAN) | E | 0.034 | 0.109 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.22399 | Crescent 08Ll064 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.24356 | 0.078093 | 0.22399 | 0.15246 | 0.11302
PHOSMET (IMIDAN) | 2033 | 61601GCM39 | 2010-10-19 | 2010-10-01 | 2011-09-30 | ug/L | 0.32958 | Crescent | 08Ll064 | Crescent 08Ll064: 20 µl | 0.24486 | PHOSMET_(IMIDAN) | E | 0.14 | 0.0807 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.32958 | Crescent 08Ll064 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.24356 | 0.078093 | 0.22399 | 0.15246 | 0.11302
PHOSMET (IMIDAN) | 2033 | 61601GCM39 | 2013-09-24 | 2012-10-01 | 2050-09-30 | ug/L | 0.57692 | ERA, Abs, Crescent | 0318-13-02.2, 042413, 10802AL | ERA 0318-13-02.2: 50 µl & Abs 042413: 50 µl & Crescent 10802AL: 10 µl | 0.754 | PHOSMET_(IMIDAN) | E | 0.14 | 0.435 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57692 | ER03102.2, Ab042413, Cr10802AL | ER | Ab | Cr | 03102.2 | 042413 | 10802AL | 03102.2 |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.57195 | 0.0070336 | 0.57195 | 0.0099469 | 0.0073736
PHOSMET (IMIDAN) | 2033 | 61601GCM39 | 2014-01-10 | 2012-10-01 | 2050-09-30 | ug/L | 0.56698 | ERA, Abs, Crescent | 0318-13-02.2, 042413, 10802AL | ERA 0318-13-02.2: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl | 0.3016 | PHOSMET_(IMIDAN) | E | 0.14 | 0.171 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56698 | ER03102.2, Ab042413, Cr10802AL | ER | Ab | Cr | 03102.2 | 042413 | 10802AL | 03102.2 |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.57195 | 0.0070336 | 0.57195 | 0.0099469 | 0.0073736
PHOSMET (IMIDAN) | 2033 | 61601GCM39 | 2013-06-11 | 2012-10-01 | 2050-09-30 | ug/L | 0.52774 | ERA, Crescent | 0318-13-02.2, 04CC101 | ERA 0318-13-02.2: 20 µl & Crescent 04CC101: 20 µl | 0.2956 | PHOSMET_(IMIDAN) | E | 0.14 | 0.156 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52774 | ER03102.2, Cr04CC101 | ER | Cr | Cr | 03102.2 | 04CC101 | 04CC101 | 03102.2 |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.52774 |  | 0.52774 | 0 | 0
PHOSMET (IMIDAN) | 2033 | 61601GCM39 | 2009-09-16 | 2008-10-01 | 2009-09-30 | ug/L | 1.1795 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 25 µl | 0.010174 | PHOSMET_(IMIDAN) | E | 0.2 | 0.012 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.1795 | ERA 0804-08-02PEST | [9 empty] | Y | Estimated Values | Y | 1 | Y | 2 | 1.2324 | 0.074801 | 1.2324 | 0.10578 | 0.078417
PHOSMET (IMIDAN) | 2033 | 61601GCM39 | 2010-01-17 | 2009-10-01 | 2010-09-30 | ug/L | 1.2853 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 25 µl | 0.010114 | PHOSMET_(IMIDAN) | E | 0.034 | 0.013 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.2853 | ERA 0804-08-02PEST | [9 empty] | Y | Estimated Values | Y | 1 | Y | 2 | 1.2324 | 0.074801 | 1.2324 | 0.10578 | 0.078417
PHOSMET (IMIDAN) | 2033 | 61601GCM39 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.32489 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | PHOSMET_(IMIDAN) | E | 0.034 | 0.0126 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.32489 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.44416 | 0.11216 | 0.46007 | 0.22262 | 0.16502
PHOSMET (IMIDAN) | 2033 | 61601GCM39 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.54751 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | PHOSMET_(IMIDAN) | E | 0.034 | 0.0222 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54751 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.44416 | 0.11216 | 0.46007 | 0.22262 | 0.16502
PHOSMET (IMIDAN) | 2033 | 61601GCM39 | 2010-12-16 | 2010-10-01 | 2011-09-30 | ug/L | 0.46007 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | PHOSMET_(IMIDAN) | E | 0.14 | 0.0186 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.46007 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 1 | Y | 3 | 0.44416 | 0.11216 | 0.46007 | 0.22262 | 0.16502
PHOSMET (IMIDAN) | 2033 | 61601GCM39 | 2011-01-20 | 2010-10-01 | 2011-09-30 | ug/L | 0.46373 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | PHOSMET_(IMIDAN) | E | 0.14 | 0.0467 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.46373 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 1 | Y | 1 | 0.46373 |  | 0.46373 | 0 | 0
PHOSMET (IMIDAN) | 2033 | 61601GCM39 | 2012-09-26 | 2011-10-01 | 2012-09-30 | ug/L | 0.50598 | Restek, Abs | A088380, 052412 | Restek A088380: 20 µl & Abs 052412: 20 µl | 0.1004 | PHOSMET_(IMIDAN) | E | 0.08 | 0.0508 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50598 | ReA088380, Ab052412 | Re | Ab | Ab | A088380 | 052412 | 052412 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.53685 | 0.043666 | 0.53685 | 0.061753 | 0.045777
PHOSMET (IMIDAN) | 2033 | 61601GCM39 | 2013-03-18 | 2012-10-01 | 2050-09-30 | ug/L | 0.56773 | Restek, Abs | A088380, 052412 | Restek A088380: 20 µl & Abs 052412: 20 µl | 0.1004 | PHOSMET_(IMIDAN) | E | 0.14 | 0.057 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.56773 | ReA088380, Ab052412 | Re | Ab | Ab | A088380 | 052412 | 052412 |  |  |  | Y | Estimated Values | Y | 1 | Y | 2 | 0.53685 | 0.043666 | 0.53685 | 0.061753 | 0.045777
PHOSMET (IMIDAN) | 2033 | 61601GCM39 | 2012-11-14 | 2012-10-01 | 2050-09-30 | ug/L | 0.87755 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl | 0.245 | PHOSMET_(IMIDAN) | E | 0.14 | 0.215 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87755 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Estimated Values | Y | 2 | Y | 3 | 0.85918 | 0.050528 | 0.87755 | 0.095918 | 0.071103
PHOSMET (IMIDAN) | 2033 | 61601GCM39 | 2013-02-06 | 2012-10-01 | 2050-09-30 | ug/L | 0.80204 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl | 0.49 | PHOSMET_(IMIDAN) | E | 0.14 | 0.393 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80204 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Estimated Values | Y | 2 | Y | 3 | 0.85918 | 0.050528 | 0.87755 | 0.095918 | 0.071103
PHOSMET (IMIDAN) | 2033 | 61601GCM39 | 2013-05-22 | 2012-10-01 | 2050-09-30 | ug/L | 0.89796 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl | 0.098 | PHOSMET_(IMIDAN) | E | 0.14 | 0.088 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.89796 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Estimated Values | Y | 1 | Y | 3 | 0.85918 | 0.050528 | 0.87755 | 0.095918 | 0.071103
PHOSMET (IMIDAN) | 2033 | 61601GCM39 | 2013-07-23 | 2012-10-01 | 2050-09-30 | ug/L | 0.67864 | Restek, Abs | A093651, 012513 | Restek A093651: 20 µl & Abs 012513: 20 µl | 0.1002 | PHOSMET_(IMIDAN) | E | 0.14 | 0.068 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.67864 | ReA093651, Ab012513 | Re | Ab | Ab | A093651 | 012513 | 012513 |  |  |  | Y | Estimated Values | Y | 1 | Y | 1 | 0.67864 |  | 0.67864 | 0 | 0
PHOSMET (IMIDAN) | 2033 | 61601GCM39 | 2013-09-14 | 2012-10-01 | 2050-09-30 | ug/L | 0.67864 | Restek, Abs, Crescent | A093651, 012513, 10802AL | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl | 0.2505 | PHOSMET_(IMIDAN) | E | 0.14 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67864 | ReA093651, Ab012513, Cr10802AL | Re | Ab | Cr | A093651 | 012513 | 10802AL |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.67864 |  | 0.67864 | 0 | 0
PHOSMET (IMIDAN) | 2033 | 61601GCM39 | 2013-11-04 | 2012-10-01 | 2050-09-30 | ug/L | 0.56773 | Restek, Abs, Crescent | A093651, 052412, 10802AL | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl | 0.1004 | PHOSMET_(IMIDAN) | E | 0.14 | 0.057 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.56773 | ReA093651, Ab052412, Cr10802AL | Re | Ab | Cr | A093651 | 052412 | 10802AL |  |  |  | Y | Estimated Values | Y | 1 | Y | 2 | 0.65239 | 0.11973 | 0.65239 | 0.16932 | 0.12552
PHOSMET (IMIDAN) | 2033 | 61601GCM39 | 2014-01-08 | 2012-10-01 | 2050-09-30 | ug/L | 0.73705 | Restek, Abs, Crescent | A093651, 052412, 10802AL | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl | 0.1004 | PHOSMET_(IMIDAN) | E | 0.14 | 0.074 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.73705 | ReA093651, Ab052412, Cr10802AL | Re | Ab | Cr | A093651 | 052412 | 10802AL |  |  |  | Y | Estimated Values | Y | 1 | Y | 2 | 0.65239 | 0.11973 | 0.65239 | 0.16932 | 0.12552
PHOSMET (IMIDAN) | 2033 | 61601GCM39 | 2011-01-09 | 2010-10-01 | 2011-09-30 | ug/L | 0.59548 | Restek | A075606 | Restek A075606: 40 µl | 0.35434 | PHOSMET_(IMIDAN) | E | 0.14 | 0.211 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59548 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.61834 | 0.16388 | 0.58863 | 0.19717 | 0.14616
PHOSMET (IMIDAN) | 2033 | 61601GCM39 | 2011-01-28 | 2010-10-01 | 2011-09-30 | ug/L | 0.55516 | Restek | A075606 | Restek A075606: 80 µl | 0.73313 | PHOSMET_(IMIDAN) | E | 0.14 | 0.407 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55516 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.61834 | 0.16388 | 0.58863 | 0.19717 | 0.14616
PHOSMET (IMIDAN) | 2033 | 61601GCM39 | 2011-03-08 | 2010-10-01 | 2011-09-30 | ug/L | 0.55525 | Restek | A075606 | Restek A075606: 40 µl | 0.371 | PHOSMET_(IMIDAN) | E | 0.14 | 0.206 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55525 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.61834 | 0.16388 | 0.58863 | 0.19717 | 0.14616
PHOSMET (IMIDAN) | 2033 | 61601GCM39 | 2011-04-23 | 2010-10-01 | 2011-09-30 | ug/L | 0.67397 | Restek | A075606 | Restek A075606: 40 µl | 0.36797 | PHOSMET_(IMIDAN) | E | 0.14 | 0.248 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67397 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.61834 | 0.16388 | 0.58863 | 0.19717 | 0.14616
PHOSMET (IMIDAN) | 2033 | 61601GCM39 | 2011-06-20 | 2010-10-01 | 2011-09-30 | ug/L | 0.79074 | Restek | A075606 | Restek A075606: 80 µl | 0.71831 | PHOSMET_(IMIDAN) | E | 0.14 | 0.568 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79074 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.61834 | 0.16388 | 0.58863 | 0.19717 | 0.14616
PHOSMET (IMIDAN) | 2033 | 61601GCM39 | 2011-08-17 | 2010-10-01 | 2011-09-30 | ug/L | 0.4528 | Restek | A075606 | Restek A075606: 40 µl | 0.3644 | PHOSMET_(IMIDAN) | E | 0.14 | 0.165 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4528 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.61834 | 0.16388 | 0.58863 | 0.19717 | 0.14616
PHOSMET (IMIDAN) | 2033 | 61601GCM39 | 2011-09-01 | 2010-10-01 | 2011-09-30 | ug/L | 0.58178 | Restek | A075606 | Restek A075606: 80 µl | 0.7288 | PHOSMET_(IMIDAN) | E | 0.14 | 0.424 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58178 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.61834 | 0.16388 | 0.58863 | 0.19717 | 0.14616
PHOSMET (IMIDAN) | 2033 | 61601GCM39 | 2011-09-13 | 2010-10-01 | 2011-09-30 | ug/L | 0.28814 | Restek | A075606 | Restek A075606: 80 µl | 0.7288 | PHOSMET_(IMIDAN) | E | 0.14 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.28814 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.61834 | 0.16388 | 0.58863 | 0.19717 | 0.14616
PHOSMET (IMIDAN) | 2033 | 61601GCM39 | 2011-11-01 | 2011-10-01 | 2012-09-30 | ug/L | 0.76839 | Restek | A075606 | Restek A075606: 80 µl | 0.7288 | PHOSMET_(IMIDAN) | E | 0.08 | 0.56 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76839 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.61834 | 0.16388 | 0.58863 | 0.19717 | 0.14616
PHOSMET (IMIDAN) | 2033 | 61601GCM39 | 2011-12-04 | 2011-10-01 | 2012-09-30 | ug/L | 0.72173 | Restek | A075606 | Restek A075606: 40 µl | 0.3644 | PHOSMET_(IMIDAN) | E | 0.08 | 0.263 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72173 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.61834 | 0.16388 | 0.58863 | 0.19717 | 0.14616
PHOSMET (IMIDAN) | 2033 | 61601GCM39 | 2012-02-14 | 2011-10-01 | 2012-09-30 | ug/L | 0.54061 | Restek | A075606 | Restek A075606: 40 µl | 0.3644 | PHOSMET_(IMIDAN) | E | 0.08 | 0.197 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54061 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.61834 | 0.16388 | 0.58863 | 0.19717 | 0.14616
PHOSMET (IMIDAN) | 2033 | 61601GCM39 | 2012-05-15 | 2011-10-01 | 2012-09-30 | ug/L | 0.89599 | Restek | A075606 | Restek A075606: 80 µl | 0.7288 | PHOSMET_(IMIDAN) | E | 0.08 | 0.653 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89599 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.61834 | 0.16388 | 0.58863 | 0.19717 | 0.14616
PHOSMET (IMIDAN) | 2033 | 61601GCM39 | 2012-08-29 | 2011-10-01 | 2012-09-30 | ug/L | 0.84286 | Spex Organics, Crescent | T1120530013, 05BB029 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl | 0.098 | PHOSMET_(IMIDAN) | E | 0.08 | 0.0826 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84286 | SpT110013, Cr05BB029 | Sp | Cr | Cr | T110013 | 05BB029 | 05BB029 | T110013 |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.84388 | 0.0014431 | 0.84388 | 0.0020408 | 0.0015128
PHOSMET (IMIDAN) | 2033 | 61601GCM39 | 2012-12-20 | 2012-10-01 | 2050-09-30 | ug/L | 0.8449 | Spex Organics, Crescent | T1120530013, 05BB029 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl | 0.49 | PHOSMET_(IMIDAN) | E | 0.14 | 0.414 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8449 | SpT110013, Cr05BB029 | Sp | Cr | Cr | T110013 | 05BB029 | 05BB029 | T110013 |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.84388 | 0.0014431 | 0.84388 | 0.0020408 | 0.0015128
PHOSMET (IMIDAN) | 2033 | 61601GCM39 | 2012-10-18 | 2012-10-01 | 2050-09-30 | ug/L | 0.71315 | Supelco, Abs | LB92783, 052412 | Supelco LB92783: 50 µl & Abs 052412: 50 µl | 0.251 | PHOSMET_(IMIDAN) | E | 0.14 | 0.179 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71315 | SuLB92783, Ab052412 | Su | Ab | Ab | LB92783 | 052412 | 052412 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.7988 | 0.12114 | 0.7988 | 0.17131 | 0.12699
PHOSMET (IMIDAN) | 2033 | 61601GCM39 | 2013-01-17 | 2012-10-01 | 2050-09-30 | ug/L | 0.88446 | Supelco, Abs | LB92783, 052412 | Supelco LB92783: 50 µl & Abs 052412: 50 µl | 0.251 | PHOSMET_(IMIDAN) | E | 0.14 | 0.222 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88446 | SuLB92783, Ab052412 | Su | Ab | Ab | LB92783 | 052412 | 052412 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.7988 | 0.12114 | 0.7988 | 0.17131 | 0.12699
PHOSMET (IMIDAN) | 2033 | 61601GCM39 | 2013-11-23 | 2012-10-01 | 2050-09-30 | ug/L | 0.73607 | Supelco, Abs, Crescent | LB99392, 042413, 10802AL | Supelco LB99392: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl | 0.3016 | PHOSMET_(IMIDAN) | E | 0.14 | 0.222 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73607 | SuLB99392, Ab042413, Cr10802AL | Su | Ab | Cr | LB99392 | 042413 | 10802AL |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.73607 |  | 0.73607 | 0 | 0
PHOSMET (IMIDAN) | 2033 | 61601GCM39 | 2013-08-19 | 2012-10-01 | 2050-09-30 | ug/L | 0.60622 | Supelco, Crescent | LB99392, 04CC101 | Supelco LB99392: 50 µl & Crescent 04CC101: 50 µl | 0.739 | PHOSMET_(IMIDAN) | E | 0.14 | 0.448 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60622 | SuLB99392, Cr04CC101 | Su | Cr | Cr | LB99392 | 04CC101 | 04CC101 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.60622 |  | 0.60622 | 0 | 0
PHOSMET (IMIDAN) | 2033 | 61601GCM39 | 2011-01-18 | 2010-10-01 | 2011-09-30 | ug/L | 0.42921 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.36346 | PHOSMET_(IMIDAN) | E | 0.14 | 0.156 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.42921 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 0.58556 | 0.11416 | 0.57068 | 0.19754 | 0.14644
PHOSMET (IMIDAN) | 2033 | 61601GCM39 | 2011-02-09 | 2010-10-01 | 2011-09-30 | ug/L | 0.56569 | Supelco | LB77168 | Supelco LB77168: 80 µl | 0.70356 | PHOSMET_(IMIDAN) | E | 0.14 | 0.398 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56569 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 0.58556 | 0.11416 | 0.57068 | 0.19754 | 0.14644
PHOSMET (IMIDAN) | 2033 | 61601GCM39 | 2011-03-30 | 2010-10-01 | 2011-09-30 | ug/L | 0.62318 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.36426 | PHOSMET_(IMIDAN) | E | 0.14 | 0.227 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62318 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 0.58556 | 0.11416 | 0.57068 | 0.19754 | 0.14644
PHOSMET (IMIDAN) | 2033 | 61601GCM39 | 2011-05-25 | 2010-10-01 | 2011-09-30 | ug/L | 0.72819 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.37078 | PHOSMET_(IMIDAN) | E | 0.14 | 0.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72819 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 0.58556 | 0.11416 | 0.57068 | 0.19754 | 0.14644
PHOSMET (IMIDAN) | 2033 | 61601GCM39 | 2011-07-14 | 2010-10-01 | 2011-09-30 | ug/L | 0.40743 | Supelco | LB77168 | Supelco LB77168: 80 µl | 0.72896 | PHOSMET_(IMIDAN) | E | 0.14 | 0.297 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.40743 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 0.58556 | 0.11416 | 0.57068 | 0.19754 | 0.14644
PHOSMET (IMIDAN) | 2033 | 61601GCM39 | 2011-07-20 | 2010-10-01 | 2011-09-30 | ug/L | 0.50757 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.36448 | PHOSMET_(IMIDAN) | E | 0.14 | 0.185 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50757 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 0.58556 | 0.11416 | 0.57068 | 0.19754 | 0.14644
PHOSMET (IMIDAN) | 2033 | 61601GCM39 | 2011-09-24 | 2010-10-01 | 2011-09-30 | ug/L | 0.73255 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.36448 | PHOSMET_(IMIDAN) | E | 0.14 | 0.267 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73255 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 0.58556 | 0.11416 | 0.57068 | 0.19754 | 0.14644
PHOSMET (IMIDAN) | 2033 | 61601GCM39 | 2011-10-02 | 2011-10-01 | 2012-09-30 | ug/L | 0.5158 | Supelco | LB77168 | Supelco LB77168: 80 µl | 0.72896 | PHOSMET_(IMIDAN) | E | 0.08 | 0.376 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5158 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 0.58556 | 0.11416 | 0.57068 | 0.19754 | 0.14644
PHOSMET (IMIDAN) | 2033 | 61601GCM39 | 2011-11-17 | 2011-10-01 | 2012-09-30 | ug/L | 0.70511 | Supelco | LB77168 | Supelco LB77168: 80 µl | 0.72896 | PHOSMET_(IMIDAN) | E | 0.08 | 0.514 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70511 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 0.58556 | 0.11416 | 0.57068 | 0.19754 | 0.14644
PHOSMET (IMIDAN) | 2033 | 61601GCM39 | 2011-12-22 | 2011-10-01 | 2012-09-30 | ug/L | 0.65573 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.36448 | PHOSMET_(IMIDAN) | E | 0.08 | 0.239 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65573 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 0.58556 | 0.11416 | 0.57068 | 0.19754 | 0.14644
PHOSMET (IMIDAN) | 2033 | 61601GCM39 | 2012-03-09 | 2011-10-01 | 2012-09-30 | ug/L | 0.57068 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.36448 | PHOSMET_(IMIDAN) | E | 0.08 | 0.208 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57068 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 0.58556 | 0.11416 | 0.57068 | 0.19754 | 0.14644