## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
PHOSMET OXON | 2033 | 61668GCM39 | 2013-06-26 | 2010-10-01 | 2050-09-30 | ug/L | 0.92 | Abs, ChemService | 042413, 1473000 | Abs 042413: 20 µl & ChemService 1473000: 20 µl | 0.1 | PHOSMET_OXON | E | 0.0511 | 0.092 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92 | Ab042413, Ch1473000 | Ab | Ch | Ch | 042413 | 1473000 | 1473000 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.92 |  | 0.92 | 0 | 0
PHOSMET OXON | 2033 | 61668GCM39 | 2013-10-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.692 | Abs, Spex Organics, Crescent | 042413, T1130514013, 10802AL | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl | 0.25 | PHOSMET_OXON | E | 0.0511 | 0.173 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.692 | Ab042413, SpT114013, Cr10802AL | Ab | Sp | Cr | 042413 | T114013 | 10802AL |  | T114013 |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.692 |  | 0.692 | 0 | 0
PHOSMET OXON | 2033 | 61668GCM39 | 2012-12-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.96543 | Abs, ERA | 052412, 0507-12-04.2 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl | 0.376 | PHOSMET_OXON | E | 0.0511 | 0.363 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96543 | Ab052412, ER05004.2 | Ab | ER | ER | 052412 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Estimated Values | Y | 2 | Y | 2 | 0.74255 | 0.31519 | 0.74255 | 0.44574 | 0.33043
PHOSMET OXON | 2033 | 61668GCM39 | 2013-04-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.51968 | Abs, ERA | 052412, 0507-12-04.2 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl | 0.188 | PHOSMET_OXON | E | 0.0511 | 0.0977 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51968 | Ab052412, ER05004.2 | Ab | ER | ER | 052412 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Estimated Values | Y | 2 | Y | 2 | 0.74255 | 0.31519 | 0.74255 | 0.44574 | 0.33043
PHOSMET OXON | 2033 | 61668GCM39 | 2012-08-14 | 2010-10-01 | 2050-09-30 | ug/L | 3.8963 | Abs, Supelco | 052412, LB92783 | Abs 052412: 20 µl & Supelco LB92783: 20 µl | 0.0752 | PHOSMET_OXON | E | 0.0511 | 0.293 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2 | Ab052412, SuLB92783 | Ab | Su | Su | 052412 | LB92783 | LB92783 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 2 |  | 2 | 0 | 0 | 2
PHOSMET OXON | 2033 | 61668GCM39 | 2012-06-16 | 2010-10-01 | 2050-09-30 | ug/L | 2.6729 | Abs | 052412 | Abs 052412: 20 µl | 0.0752 | PHOSMET_OXON | E | 0.0511 | 0.201 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2 | Abs 052412 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 2 |  | 2 | 0 | 0 | 2
PHOSMET OXON | 2033 | 61668GCM39 | 2009-10-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.7003 | Abs | 080408Pest | Abs 080408Pest: 40 µl | 0.30273 | PHOSMET_OXON | E | 0.0511 | 0.212 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7003 | Abs 080408Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.78346 | 0.1176 | 0.78346 | 0.16631 | 0.12329
PHOSMET OXON | 2033 | 61668GCM39 | 2010-01-10 | 2009-10-01 | 2010-09-30 | ug/L | 0.86662 | Abs | 080408Pest | Abs 080408Pest: 25 µl | 0.18924 | PHOSMET_OXON | E | 0.0511 | 0.164 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86662 | Abs 080408Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.78346 | 0.1176 | 0.78346 | 0.16631 | 0.12329
PHOSMET OXON | 2033 | 61668GCM39 | 2010-02-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.076211 | Accu | 209081187 | Accu 209081187: 100 µl | 0.50912 | PHOSMET_OXON | E | 0.0511 | 0.0388 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.076211 | Accu 209081187 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 0.076211 |  | 0.076211 | 0 | 0
PHOSMET OXON | 2033 | 61668GCM39 | 2009-09-03 | 2005-03-04 | 2009-09-30 | ug/L | 0.93132 | Accu | B8090098 | Accu B8090098: 25 µl | 0.18361 | PHOSMET_OXON | E | 0.0511 | 0.171 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93132 | Accu B8090098 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.97924 | 0.067758 | 0.97924 | 0.095824 | 0.071034
PHOSMET OXON | 2033 | 61668GCM39 | 2009-12-30 | 2009-10-01 | 2010-09-30 | ug/L | 1.0271 | Accu | B8090098 | Accu B8090098: 25 µl | 0.18498 | PHOSMET_OXON | E | 0.0511 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0271 | Accu B8090098 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.97924 | 0.067758 | 0.97924 | 0.095824 | 0.071034
PHOSMET OXON | 2033 | 61668GCM39 | 2013-12-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.0563 | Crescent, ChemService, Cresc | 04CC101, 1473000, 10802AL | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl | 0.0994 | PHOSMET_OXON | E | 0.0511 | 0.105 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0563 | Cr04CC101, Ch1473000, Cr10802A | Cr | Ch | Cr | 04CC101 | 1473000 | 10802AL |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 1.0563 |  | 1.0563 | 0 | 0
PHOSMET OXON | 2033 | 61668GCM39 | 2013-09-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.94769 | Crescent, Spex Organics | 04CC101, T1130514013 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl | 0.0994 | PHOSMET_OXON | E | 0.0511 | 0.0942 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94769 | Cr04CC101, SpT114013 | Cr | Sp | Sp | 04CC101 | T114013 | T114013 |  | T114013 | T114013 | Y | Estimated Values | Y | 2 | Y | 1 | 0.94769 |  | 0.94769 | 0 | 0
PHOSMET OXON | 2033 | 61668GCM39 | 2012-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.2116 | Crescent, ERA | 05BB029, 0507-12-04.2 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl | 0.0742 | PHOSMET_OXON | E | 0.0511 | 0.0899 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2116 | Cr05BB029, ER05004.2 | Cr | ER | ER | 05BB029 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Estimated Values | Y | 2 | Y | 2 | 0.99528 | 0.3059 | 0.99528 | 0.43261 | 0.32069
PHOSMET OXON | 2033 | 61668GCM39 | 2013-03-07 | 2010-10-01 | 2050-09-30 | ug/L | 0.77898 | Crescent, ERA | 05BB029, 0507-12-04.2 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl | 0.0742 | PHOSMET_OXON | E | 0.0511 | 0.0578 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77898 | Cr05BB029, ER05004.2 | Cr | ER | ER | 05BB029 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Estimated Values | Y | 2 | Y | 2 | 0.99528 | 0.3059 | 0.99528 | 0.43261 | 0.32069
PHOSMET OXON | 2033 | 61668GCM39 | 2010-06-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.43466 | Crescent | 08Ll064 | Crescent 08Ll064: 20 µl | 0.10468 | PHOSMET_OXON | E | 0.0511 | 0.0455 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.43466 | Crescent 08Ll064 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.33164 | 0.091181 | 0.29895 | 0.17335 | 0.1285
PHOSMET OXON | 2033 | 61668GCM39 | 2010-07-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.26131 | Crescent | 08Ll064 | Crescent 08Ll064: 40 µl | 0.20742 | PHOSMET_OXON | E | 0.0511 | 0.0542 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.26131 | Crescent 08Ll064 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.33164 | 0.091181 | 0.29895 | 0.17335 | 0.1285
PHOSMET OXON | 2033 | 61668GCM39 | 2010-10-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.29895 | Crescent | 08Ll064 | Crescent 08Ll064: 20 µl | 0.10437 | PHOSMET_OXON | E | 0.0511 | 0.0312 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.29895 | Crescent 08Ll064 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.33164 | 0.091181 | 0.29895 | 0.17335 | 0.1285
PHOSMET OXON | 2033 | 61668GCM39 | 2013-09-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.3096 | ERA, Abs, Crescent | 0318-13-02.2, 042413, 10802AL | ERA 0318-13-02.2: 50 µl & Abs 042413: 50 µl & Crescent 10802AL: 10 µl | 0.25 | PHOSMET_OXON | E | 0.0511 | 0.0774 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.3096 | ER03102.2, Ab042413, Cr10802AL | ER | Ab | Cr | 03102.2 | 042413 | 10802AL | 03102.2 |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.5493 | 0.33899 | 0.5493 | 0.4794 | 0.35537
PHOSMET OXON | 2033 | 61668GCM39 | 2014-01-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.789 | ERA, Abs, Crescent | 0318-13-02.2, 042413, 10802AL | ERA 0318-13-02.2: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl | 0.1 | PHOSMET_OXON | E | 0.0511 | 0.0789 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.789 | ER03102.2, Ab042413, Cr10802AL | ER | Ab | Cr | 03102.2 | 042413 | 10802AL | 03102.2 |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.5493 | 0.33899 | 0.5493 | 0.4794 | 0.35537
PHOSMET OXON | 2033 | 61668GCM39 | 2013-06-11 | 2010-10-01 | 2050-09-30 | ug/L | 0.93561 | ERA, Crescent | 0318-13-02.2, 04CC101 | ERA 0318-13-02.2: 20 µl & Crescent 04CC101: 20 µl | 0.0994 | PHOSMET_OXON | E | 0.0511 | 0.093 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93561 | ER03102.2, Cr04CC101 | ER | Cr | Cr | 03102.2 | 04CC101 | 04CC101 | 03102.2 |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.93561 |  | 0.93561 | 0 | 0
PHOSMET OXON | 2033 | 61668GCM39 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.23206 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | PHOSMET_OXON | E | 0.0511 | 0.009 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.23207 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 1 | Y | 3 | 0.35473 | 0.12847 | 0.34382 | 0.25625 | 0.18996
PHOSMET OXON | 2033 | 61668GCM39 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.48832 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | PHOSMET_OXON | E | 0.0511 | 0.0198 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.48832 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 1 | Y | 3 | 0.35473 | 0.12847 | 0.34382 | 0.25625 | 0.18996
PHOSMET OXON | 2033 | 61668GCM39 | 2010-12-16 | 2010-10-01 | 2050-09-30 | ug/L | 0.34382 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | PHOSMET_OXON | E | 0.0511 | 0.0139 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.34382 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 1 | Y | 3 | 0.35473 | 0.12847 | 0.34382 | 0.25625 | 0.18996
PHOSMET OXON | 2033 | 61668GCM39 | 2011-01-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.3684 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | PHOSMET_OXON | E | 0.0511 | 0.0371 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.3684 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 0.3684 |  | 0.3684 | 0 | 0
PHOSMET OXON | 2033 | 61668GCM39 | 2012-09-26 | 2010-10-01 | 2050-09-30 | ug/L | 0.52128 | Restek, Abs | A088380, 052412 | Restek A088380: 20 µl & Abs 052412: 20 µl | 0.0752 | PHOSMET_OXON | E | 0.0511 | 0.0392 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52128 | ReA088380, Ab052412 | Re | Ab | Ab | A088380 | 052412 | 052412 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.59109 | 0.098732 | 0.59109 | 0.13963 | 0.1035
PHOSMET OXON | 2033 | 61668GCM39 | 2013-03-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.6609 | Restek, Abs | A088380, 052412 | Restek A088380: 20 µl & Abs 052412: 20 µl | 0.0752 | PHOSMET_OXON | E | 0.0511 | 0.0497 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6609 | ReA088380, Ab052412 | Re | Ab | Ab | A088380 | 052412 | 052412 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.59109 | 0.098732 | 0.59109 | 0.13963 | 0.1035
PHOSMET OXON | 2033 | 61668GCM39 | 2012-11-14 | 2010-10-01 | 2050-09-30 | ug/L | 1.6604 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl | 0.1855 | PHOSMET_OXON | E | 0.0511 | 0.308 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.6604 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Estimated Values | Y | 2 | Y | 3 | 1.0979 | 0.49376 | 0.89757 | 0.92453 | 0.68534
PHOSMET OXON | 2033 | 61668GCM39 | 2013-02-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.73585 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl | 0.371 | PHOSMET_OXON | E | 0.0511 | 0.273 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73585 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Estimated Values | Y | 2 | Y | 3 | 1.0979 | 0.49376 | 0.89757 | 0.92453 | 0.68534
PHOSMET OXON | 2033 | 61668GCM39 | 2013-05-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.89757 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl | 0.0742 | PHOSMET_OXON | E | 0.0511 | 0.0666 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89757 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Estimated Values | Y | 2 | Y | 3 | 1.0979 | 0.49376 | 0.89757 | 0.92453 | 0.68534
PHOSMET OXON | 2033 | 61668GCM39 | 2013-07-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.80053 | Restek, Abs | A093651, 012513 | Restek A093651: 20 µl & Abs 012513: 20 µl | 0.0752 | PHOSMET_OXON | E | 0.0511 | 0.0602 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80053 | ReA093651, Ab012513 | Re | Ab | Ab | A093651 | 012513 | 012513 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.80053 |  | 0.80053 | 0 | 0
PHOSMET OXON | 2033 | 61668GCM39 | 2013-09-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.67553 | Restek, Abs, Crescent | A093651, 012513, 10802AL | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl | 0.188 | PHOSMET_OXON | E | 0.0511 | 0.127 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67553 | ReA093651, Ab012513, Cr10802AL | Re | Ab | Cr | A093651 | 012513 | 10802AL |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.67553 |  | 0.67553 | 0 | 0
PHOSMET OXON | 2033 | 61668GCM39 | 2013-11-04 | 2010-10-01 | 2050-09-30 | ug/L | 0.45745 | Restek, Abs, Crescent | A093651, 052412, 10802AL | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl | 0.0752 | PHOSMET_OXON | E | 0.0511 | 0.0344 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.45745 | ReA093651, Ab052412, Cr10802AL | Re | Ab | Cr | A093651 | 052412 | 10802AL |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.66423 | 0.29243 | 0.66423 | 0.41356 | 0.30657
PHOSMET OXON | 2033 | 61668GCM39 | 2014-01-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.87101 | Restek, Abs, Crescent | A093651, 052412, 10802AL | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl | 0.0752 | PHOSMET_OXON | E | 0.0511 | 0.0655 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87101 | ReA093651, Ab052412, Cr10802AL | Re | Ab | Cr | A093651 | 052412 | 10802AL |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.66423 | 0.29243 | 0.66423 | 0.41356 | 0.30657
PHOSMET OXON | 2033 | 61668GCM39 | 2012-08-29 | 2010-10-01 | 2050-09-30 | ug/L | 1.4151 | Spex Organics, Crescent | T1120530013, 05BB029 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl | 0.0742 | PHOSMET_OXON | E | 0.0511 | 0.105 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4151 | SpT110013, Cr05BB029 | Sp | Cr | Cr | T110013 | 05BB029 | 05BB029 | T110013 |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 1.1442 | 0.3831 | 1.1442 | 0.54178 | 0.40162
PHOSMET OXON | 2033 | 61668GCM39 | 2012-12-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.87332 | Spex Organics, Crescent | T1120530013, 05BB029 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl | 0.371 | PHOSMET_OXON | E | 0.0511 | 0.324 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87332 | SpT110013, Cr05BB029 | Sp | Cr | Cr | T110013 | 05BB029 | 05BB029 | T110013 |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 1.1442 | 0.3831 | 1.1442 | 0.54178 | 0.40162
PHOSMET OXON | 2033 | 61668GCM39 | 2013-01-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.0106 | Supelco, Abs | LB92783, 052412 | Supelco LB92783: 50 µl & Abs 052412: 50 µl | 0.188 | PHOSMET_OXON | E | 0.0511 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0106 | SuLB92783, Ab052412 | Su | Ab | Ab | LB92783 | 052412 | 052412 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 1.0106 |  | 1.0106 | 0 | 0
PHOSMET OXON | 2033 | 61668GCM39 | 2013-11-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.869 | Supelco, Abs, Crescent | LB99392, 042413, 10802AL | Supelco LB99392: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl | 0.1 | PHOSMET_OXON | E | 0.0511 | 0.0869 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.869 | SuLB99392, Ab042413, Cr10802AL | Su | Ab | Cr | LB99392 | 042413 | 10802AL |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.869 |  | 0.869 | 0 | 0
PHOSMET OXON | 2033 | 61668GCM39 | 2013-08-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.30624 | Supelco, Crescent | LB99392, 04CC101 | Supelco LB99392: 50 µl & Crescent 04CC101: 50 µl | 0.2485 | PHOSMET_OXON | E | 0.0511 | 0.0761 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.30624 | SuLB99392, Cr04CC101 | Su | Cr | Cr | LB99392 | 04CC101 | 04CC101 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.30624 |  | 0.30624 | 0 | 0