## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
PROMETON | 2033 | 04037GCM35 | 2012-12-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.93069 | Abs, ERA | 052412, 0507-12-04.2 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl | 0.101 | PROMETON | . | 0.012 | 0.094 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93069 | Ab052412, ER05004.2 | Ab | ER | ER | 052412 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.85446 | 0.10782 | 0.85446 | 0.15248 | 0.11303
PROMETON | 2033 | 04037GCM35 | 2013-04-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.77822 | Abs, ERA | 052412, 0507-12-04.2 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl | 0.0505 | PROMETON | . | 0.012 | 0.0393 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77822 | Ab052412, ER05004.2 | Ab | ER | ER | 052412 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.85446 | 0.10782 | 0.85446 | 0.15248 | 0.11303
PROMETON | 2033 | 04037GCM35 | 2012-08-14 | 2010-10-01 | 2050-09-30 | ug/L | 1.17 | Abs, Supelco | 052412, LB92783 | Abs 052412: 20 µl & Supelco LB92783: 20 µl | 0.02 | PROMETON | . | 0.012 | 0.0234 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.17 | Ab052412, SuLB92783 | Ab | Su | Su | 052412 | LB92783 | LB92783 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.17 |  | 1.17 | 0 | 0
PROMETON | 2033 | 04037GCM35 | 2013-07-11 | 2010-10-01 | 2050-09-30 | ug/L | 0.59667 | ChemService, ERA | 1473000, 0318-13-02.2 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl | 0.03 | PROMETON | . | 0.012 | 0.0179 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59667 | Ch1473000, ER03102.2 | Ch | ER | ER | 1473000 | 03102.2 | 03102.2 |  | 03102.2 | 03102.2 | Y | Recoverable Result | Y | 2 |  | 1 | 0.59667 |  | 0.59667 | 0 | 0
PROMETON | 2033 | 04037GCM35 | 2013-06-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.0971 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl | 0.0752 | PROMETON | . | 0.012 | 0.0825 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0971 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.99734 | 0.14105 | 0.99734 | 0.19947 | 0.14786
PROMETON | 2033 | 04037GCM35 | 2014-01-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.89761 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl | 0.03008 | PROMETON | . | 0.012 | 0.027 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89761 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.99734 | 0.14105 | 0.99734 | 0.19947 | 0.14786
PROMETON | 2033 | 04037GCM35 | 2009-08-12 | 2008-10-01 | 2009-09-30 | ug/L | 0.96289 | ChemService | 406-99B | ChemService 406-99B: 25 µl | 0.062312 | PROMETON | . | 0.012 | 0.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96289 | ChemService 406-99B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.1358 | 0.2445 | 1.1358 | 0.34578 | 0.25632
PROMETON | 2033 | 04037GCM35 | 2009-12-01 | 2009-10-01 | 2010-09-30 | ug/L | 1.3087 | ChemService | 406-99B | ChemService 406-99B: 25 µl | 0.063423 | PROMETON | . | 0.012 | 0.083 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3087 | ChemService 406-99B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.1358 | 0.2445 | 1.1358 | 0.34578 | 0.25632
PROMETON | 2033 | 04037GCM35 | 2012-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.97525 | Crescent, ERA | 05BB029, 0507-12-04.2 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl | 0.0202 | PROMETON | . | 0.012 | 0.0197 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97525 | Cr05BB029, ER05004.2 | Cr | ER | ER | 05BB029 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.87871 | 0.13652 | 0.87871 | 0.19307 | 0.14312
PROMETON | 2033 | 04037GCM35 | 2013-03-07 | 2010-10-01 | 2050-09-30 | ug/L | 0.78218 | Crescent, ERA | 05BB029, 0507-12-04.2 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl | 0.0202 | PROMETON | . | 0.012 | 0.0158 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78218 | Cr05BB029, ER05004.2 | Cr | ER | ER | 05BB029 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.87871 | 0.13652 | 0.87871 | 0.19307 | 0.14312
PROMETON | 2033 | 04037GCM35 | 2013-09-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.97867 | ERA, Abs, Crescent | 0318-13-02.2, 042413, 10802AL | ERA 0318-13-02.2: 50 µl & Abs 042413: 50 µl & Crescent 10802AL: 10 µl | 0.075 | PROMETON | . | 0.012 | 0.0734 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97867 | ER03102.2, Ab042413, Cr10802AL | ER | Ab | Cr | 03102.2 | 042413 | 10802AL | 03102.2 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.821 | 0.22297 | 0.821 | 0.31533 | 0.23375
PROMETON | 2033 | 04037GCM35 | 2014-01-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.66333 | ERA, Abs, Crescent | 0318-13-02.2, 042413, 10802AL | ERA 0318-13-02.2: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl | 0.03 | PROMETON | . | 0.012 | 0.0199 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66333 | ER03102.2, Ab042413, Cr10802AL | ER | Ab | Cr | 03102.2 | 042413 | 10802AL | 03102.2 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.821 | 0.22297 | 0.821 | 0.31533 | 0.23375
PROMETON | 2033 | 04037GCM35 | 2013-06-11 | 2010-10-01 | 2050-09-30 | ug/L | 0.80333 | ERA, Crescent | 0318-13-02.2, 04CC101 | ERA 0318-13-02.2: 20 µl & Crescent 04CC101: 20 µl | 0.03 | PROMETON | . | 0.012 | 0.0241 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80333 | ER03102.2, Cr04CC101 | ER | Cr | Cr | 03102.2 | 04CC101 | 04CC101 | 03102.2 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.80333 |  | 0.80333 | 0 | 0
PROMETON | 2033 | 04037GCM35 | 2011-09-13 | 2010-10-01 | 2050-09-30 | ug/L | 0.98833 | ERA | 0318-13-02.2 | ERA 0318-13-02.2: 40 µl | 0.06 | PROMETON | . | 0.012 | 0.0593 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98833 | ERA 0318-13-02.2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.98833 |  | 0.98833 | 0 | 0
PROMETON | 2033 | 04037GCM35 | 2012-10-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.87129 | ERA | 0507-12-04.2 | ERA 0507-12-04.2: 50 µl | 0.0505 | PROMETON | . | 0.012 | 0.044 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87129 | ERA 0507-12-04.2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.87129 |  | 0.87129 | 0 | 0
PROMETON | 2033 | 04037GCM35 | 2009-09-16 | 2008-10-01 | 2009-09-30 | ug/L | 0.919 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 25 µl | 0.063112 | PROMETON | . | 0.012 | 0.058 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.919 | ERA 0804-08-02PEST | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.9159 | 0.08701 | 0.9183 | 0.1072 | 0.07947
PROMETON | 2033 | 04037GCM35 | 2009-11-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.91761 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 40 µl | 0.10026 | PROMETON | . | 0.012 | 0.092 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91761 | ERA 0804-08-02PEST | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.9159 | 0.08701 | 0.9183 | 0.1072 | 0.07947
PROMETON | 2033 | 04037GCM35 | 2010-01-17 | 2009-10-01 | 2010-09-30 | ug/L | 1.02 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 25 µl | 0.062745 | PROMETON | . | 0.012 | 0.064 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.02 | ERA 0804-08-02PEST | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.9159 | 0.08701 | 0.9183 | 0.1072 | 0.07947
PROMETON | 2033 | 04037GCM35 | 2010-01-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.80699 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 40 µl | 0.096656 | PROMETON | . | 0.012 | 0.078 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80699 | ERA 0804-08-02PEST | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.9159 | 0.08701 | 0.9183 | 0.1072 | 0.07947
PROMETON | 2033 | 04037GCM35 | 2011-01-13 | 2010-10-01 | 2050-09-30 | ug/L | 0.96692 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 80 µl | 0.080358 | PROMETON | . | 0.012 | 0.0777 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96692 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.8366 | 0.1333 | 0.7797 | 0.18688 | 0.13853
PROMETON | 2033 | 04037GCM35 | 2011-02-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.72158 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.039635 | PROMETON | . | 0.012 | 0.0286 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72158 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.8366 | 0.1333 | 0.7797 | 0.18688 | 0.13853
PROMETON | 2033 | 04037GCM35 | 2011-02-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.74447 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 80 µl | 0.080326 | PROMETON | . | 0.012 | 0.0598 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74447 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.8366 | 0.1333 | 0.7797 | 0.18688 | 0.13853
PROMETON | 2033 | 04037GCM35 | 2011-04-13 | 2010-10-01 | 2050-09-30 | ug/L | 0.72828 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.040644 | PROMETON | . | 0.012 | 0.0296 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72828 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.8366 | 0.1333 | 0.7797 | 0.18688 | 0.13853
PROMETON | 2033 | 04037GCM35 | 2011-06-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.8694 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.040833 | PROMETON | . | 0.012 | 0.0355 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8694 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.8366 | 0.1333 | 0.7797 | 0.18688 | 0.13853
PROMETON | 2033 | 04037GCM35 | 2011-07-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.91832 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.0404 | PROMETON | . | 0.012 | 0.0371 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91832 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.8366 | 0.1333 | 0.7797 | 0.18688 | 0.13853
PROMETON | 2033 | 04037GCM35 | 2011-10-25 | 2010-10-01 | 2050-09-30 | ug/L | 0.79208 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.0404 | PROMETON | . | 0.012 | 0.032 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79208 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.8366 | 0.1333 | 0.7797 | 0.18688 | 0.13853
PROMETON | 2033 | 04037GCM35 | 2011-12-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.73144 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 80 µl | 0.0808 | PROMETON | . | 0.012 | 0.0591 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73144 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.8366 | 0.1333 | 0.7797 | 0.18688 | 0.13853
PROMETON | 2033 | 04037GCM35 | 2012-03-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.76733 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.0404 | PROMETON | . | 0.012 | 0.031 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76733 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.8366 | 0.1333 | 0.7797 | 0.18688 | 0.13853
PROMETON | 2033 | 04037GCM35 | 2012-05-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.1262 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.0404 | PROMETON | . | 0.012 | 0.0455 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1262 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.8366 | 0.1333 | 0.7797 | 0.18688 | 0.13853
PROMETON | 2033 | 04037GCM35 | 2010-02-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.80744 | NSI | 090109-01Pest | NSI 090109-01Pest: 40 µl | 0.16348 | PROMETON | . | 0.012 | 0.132 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80745 | NSI 090109-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.7406 | 0.21165 | 0.73822 | 0.319 | 0.23647
PROMETON | 2033 | 04037GCM35 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.4932 | NSI | 090109-01Pest | NSI 090109-01Pest: 20 µl | 0.077656 | PROMETON | . | 0.012 | 0.0383 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4932 | NSI 090109-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.7406 | 0.21165 | 0.73822 | 0.319 | 0.23647
PROMETON | 2033 | 04037GCM35 | 2010-08-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.99276 | NSI | 090109-01Pest | NSI 090109-01Pest: 20 µl | 0.080885 | PROMETON | . | 0.012 | 0.0803 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99276 | NSI 090109-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.7406 | 0.21165 | 0.73822 | 0.319 | 0.23647
PROMETON | 2033 | 04037GCM35 | 2010-10-27 | 2010-10-01 | 2050-09-30 | ug/L | 0.669 | NSI | 090109-01Pest | NSI 090109-01Pest: 100 µl | 0.3991 | PROMETON | . | 0.012 | 0.267 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.669 | NSI 090109-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.7406 | 0.21165 | 0.73822 | 0.319 | 0.23647
PROMETON | 2033 | 04037GCM35 | 2009-09-03 | 2008-10-01 | 2009-09-30 | ug/L | 0.9003 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | PROMETON | . | 0.012 | 0.067 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9003 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.9003 |  | 0.9003 | 0 | 0
PROMETON | 2033 | 04037GCM35 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.94631 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | PROMETON | . | 0.012 | 0.0367 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94631 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0802 | 0.13478 | 1.0784 | 0.26955 | 0.19982
PROMETON | 2033 | 04037GCM35 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 1.2159 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | PROMETON | . | 0.012 | 0.0493 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2159 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0802 | 0.13478 | 1.0784 | 0.26955 | 0.19982
PROMETON | 2033 | 04037GCM35 | 2010-12-16 | 2010-10-01 | 2050-09-30 | ug/L | 1.0784 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | PROMETON | . | 0.012 | 0.0436 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0784 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0802 | 0.13478 | 1.0784 | 0.26955 | 0.19982
PROMETON | 2033 | 04037GCM35 | 2011-01-20 | 2010-10-01 | 2050-09-30 | ug/L | 1.0427 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | PROMETON | . | 0.012 | 0.105 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0427 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.99925 | 0.067894 | 0.99773 | 0.11486 | 0.085146
PROMETON | 2033 | 04037GCM35 | 2011-03-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.0707 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 25 µl | 0.02475 | PROMETON | . | 0.012 | 0.0265 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0707 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.99925 | 0.067894 | 0.99773 | 0.11486 | 0.085146
PROMETON | 2033 | 04037GCM35 | 2011-04-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.93082 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.099483 | PROMETON | . | 0.012 | 0.0926 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93082 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.99925 | 0.067894 | 0.99773 | 0.11486 | 0.085146
PROMETON | 2033 | 04037GCM35 | 2011-06-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.95282 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 75 µl | 0.074096 | PROMETON | . | 0.012 | 0.0706 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95282 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.99925 | 0.067894 | 0.99773 | 0.11486 | 0.085146
PROMETON | 2033 | 04037GCM35 | 2012-07-14 | 2010-10-01 | 2050-09-30 | ug/L | 1.02 | Restek, Supelco | A088380, LB92783 | Restek A088380: 20 µl & Supelco LB92783: 20 µl | 0.02 | PROMETON | . | 0.012 | 0.0204 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.02 | ReA088380, SuLB92783 | Re | Su | Su | A088380 | LB92783 | LB92783 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.02 |  | 1.02 | 0 | 0
PROMETON | 2033 | 04037GCM35 | 2012-09-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.0099 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl | 0.0202 | PROMETON | . | 0.012 | 0.0204 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0099 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.86139 | 0.21003 | 0.86139 | 0.29703 | 0.22019
PROMETON | 2033 | 04037GCM35 | 2013-01-15 | 2010-10-01 | 2050-09-30 | ug/L | 0.71287 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl | 0.0505 | PROMETON | . | 0.012 | 0.036 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71287 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.86139 | 0.21003 | 0.86139 | 0.29703 | 0.22019
PROMETON | 2033 | 04037GCM35 | 2012-11-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.786 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl | 0.1 | PROMETON | . | 0.012 | 0.0786 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.786 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.75533 | 0.074869 | 0.786 | 0.14 | 0.10378
PROMETON | 2033 | 04037GCM35 | 2013-02-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.67 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl | 0.02 | PROMETON | . | 0.012 | 0.0134 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.75533 | 0.074869 | 0.786 | 0.14 | 0.10378
PROMETON | 2033 | 04037GCM35 | 2013-04-02 | 2010-10-01 | 2050-09-30 | ug/L | 0.81 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl | 0.05 | PROMETON | . | 0.012 | 0.0405 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.75533 | 0.074869 | 0.786 | 0.14 | 0.10378
PROMETON | 2033 | 04037GCM35 | 2013-09-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.88 | Spex Organics, ERA | T1130514013, 0318-13-02.2 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl | 0.15 | PROMETON | . | 0.012 | 0.132 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88 | SpT114013, ER03102.2 | Sp | ER | ER | T114013 | 03102.2 | 03102.2 | T114013 | 03102.2 | 03102.2 | Y | Recoverable Result | Y | 2 |  | 1 | 0.88 |  | 0.88 | 0 | 0
PROMETON | 2033 | 04037GCM35 | 2013-11-09 | 2010-10-01 | 2050-09-30 | ug/L | 1.1702 | Spex Organics, Supelco | T1130514013, LB99392 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl | 0.03008 | PROMETON | . | 0.012 | 0.0352 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1702 | SpT114013, SuLB99392 | Sp | Su | Su | T114013 | LB99392 | LB99392 | T114013 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1702 |  | 1.1702 | 0 | 0
PROMETON | 2033 | 04037GCM35 | 2011-01-11 | 2010-10-01 | 2050-09-30 | ug/L | 0.99582 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.079231 | PROMETON | . | 0.012 | 0.0789 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99582 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.91632 | 0.087983 | 0.93125 | 0.15625 | 0.11583
PROMETON | 2033 | 04037GCM35 | 2011-01-21 | 2010-10-01 | 2050-09-30 | ug/L | 1.0672 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.039916 | PROMETON | . | 0.012 | 0.0426 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0672 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.91632 | 0.087983 | 0.93125 | 0.15625 | 0.11583
PROMETON | 2033 | 04037GCM35 | 2011-02-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.774 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.040181 | PROMETON | . | 0.012 | 0.0311 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.774 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.91632 | 0.087983 | 0.93125 | 0.15625 | 0.11583
PROMETON | 2033 | 04037GCM35 | 2011-03-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.94679 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.039185 | PROMETON | . | 0.012 | 0.0371 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94679 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.91632 | 0.087983 | 0.93125 | 0.15625 | 0.11583
PROMETON | 2033 | 04037GCM35 | 2011-05-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.83084 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.040441 | PROMETON | . | 0.012 | 0.0336 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83084 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.91632 | 0.087983 | 0.93125 | 0.15625 | 0.11583
PROMETON | 2033 | 04037GCM35 | 2011-07-07 | 2010-10-01 | 2050-09-30 | ug/L | 0.99375 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.08 | PROMETON | . | 0.012 | 0.0795 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99375 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.91632 | 0.087983 | 0.93125 | 0.15625 | 0.11583
PROMETON | 2033 | 04037GCM35 | 2011-09-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.8175 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.04 | PROMETON | . | 0.012 | 0.0327 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8175 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.91632 | 0.087983 | 0.93125 | 0.15625 | 0.11583
PROMETON | 2033 | 04037GCM35 | 2011-09-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.8925 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.08 | PROMETON | . | 0.012 | 0.0714 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8925 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.91632 | 0.087983 | 0.93125 | 0.15625 | 0.11583
PROMETON | 2033 | 04037GCM35 | 2011-11-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.865 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.04 | PROMETON | . | 0.012 | 0.0346 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.865 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.91632 | 0.087983 | 0.93125 | 0.15625 | 0.11583
PROMETON | 2033 | 04037GCM35 | 2011-12-21 | 2010-10-01 | 2050-09-30 | ug/L | 0.93125 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.08 | PROMETON | . | 0.012 | 0.0745 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93125 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.91632 | 0.087983 | 0.93125 | 0.15625 | 0.11583
PROMETON | 2033 | 04037GCM35 | 2012-01-27 | 2010-10-01 | 2050-09-30 | ug/L | 0.8375 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.08 | PROMETON | . | 0.012 | 0.067 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8375 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.91632 | 0.087983 | 0.93125 | 0.15625 | 0.11583
PROMETON | 2033 | 04037GCM35 | 2012-04-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.01 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.04 | PROMETON | . | 0.012 | 0.0404 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.01 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.91632 | 0.087983 | 0.93125 | 0.15625 | 0.11583
PROMETON | 2033 | 04037GCM35 | 2012-06-02 | 2010-10-01 | 2050-09-30 | ug/L | 0.95 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.04 | PROMETON | . | 0.012 | 0.038 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.91632 | 0.087983 | 0.93125 | 0.15625 | 0.11583
PROMETON | 2033 | 04037GCM35 | 2012-10-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.81 | Supelco, Abs | LB92783, 052412 | Supelco LB92783: 50 µl & Abs 052412: 50 µl | 0.05 | PROMETON | . | 0.012 | 0.0405 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81 | SuLB92783, Ab052412 | Su | Ab | Ab | LB92783 | 052412 | 052412 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.877 | 0.094752 | 0.877 | 0.134 | 0.099333
PROMETON | 2033 | 04037GCM35 | 2013-01-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.944 | Supelco, Abs | LB92783, 052412 | Supelco LB92783: 50 µl & Abs 052412: 50 µl | 0.05 | PROMETON | . | 0.012 | 0.0472 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.944 | SuLB92783, Ab052412 | Su | Ab | Ab | LB92783 | 052412 | 052412 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.877 | 0.094752 | 0.877 | 0.134 | 0.099333
PROMETON | 2033 | 04037GCM35 | 2013-11-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.96742 | Supelco, Abs, Crescent | LB99392, 042413, 10802AL | Supelco LB99392: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl | 0.03008 | PROMETON | . | 0.012 | 0.0291 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96742 | SuLB99392, Ab042413, Cr10802AL | Su | Ab | Cr | LB99392 | 042413 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.96742 |  | 0.96742 | 0 | 0
PROMETON | 2033 | 04037GCM35 | 2013-08-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.93218 | Supelco, Crescent | LB99392, 04CC101 | Supelco LB99392: 50 µl & Crescent 04CC101: 50 µl | 0.0752 | PROMETON | . | 0.012 | 0.0701 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93218 | SuLB99392, Cr04CC101 | Su | Cr | Cr | LB99392 | 04CC101 | 04CC101 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.93218 |  | 0.93218 | 0 | 0
PROMETON | 2033 | 04037GCM35 | 2010-02-06 | 2009-10-01 | 2010-09-30 | ug/L | 0.58489 | Supelco | LB69639 | Supelco LB69639: 20 µl | 0.07745 | PROMETON | . | 0.012 | 0.0453 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58489 | Supelco LB69639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.84801 | 0.19235 | 0.89316 | 0.28053 | 0.20796
PROMETON | 2033 | 04037GCM35 | 2010-04-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.83059 | Supelco | LB69639 | Supelco LB69639: 20 µl | 0.077053 | PROMETON | E | 0.012 | 0.064 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83059 | Supelco LB69639 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.84801 | 0.19235 | 0.89316 | 0.28053 | 0.20796
PROMETON | 2033 | 04037GCM35 | 2010-07-07 | 2009-10-01 | 2010-09-30 | ug/L | 0.95573 | Supelco | LB69639 | Supelco LB69639: 40 µl | 0.15172 | PROMETON | . | 0.012 | 0.145 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95573 | Supelco LB69639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.84801 | 0.19235 | 0.89316 | 0.28053 | 0.20796
PROMETON | 2033 | 04037GCM35 | 2010-09-23 | 2009-10-01 | 2010-09-30 | ug/L | 1.0208 | Supelco | LB69639 | Supelco LB69639: 40 µl | 0.15478 | PROMETON | . | 0.012 | 0.158 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0208 | Supelco LB69639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.84801 | 0.19235 | 0.89316 | 0.28053 | 0.20796