## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
PROPANIL | 2033 | 82679GCM35 | 2012-12-06 | 2010-10-01 | 2050-09-30 | ug/L | 1.0067 | Abs, ERA | 052412, 0507-12-04.2 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl | 0.15 | PROPANIL | . | 0.01 | 0.151 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0067 | Ab052412, ER05004.2 | Ab | ER | ER | 052412 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.96267 | 0.062225 | 0.96267 | 0.088 | 0.065234
PROPANIL | 2033 | 82679GCM35 | 2013-04-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.91867 | Abs, ERA | 052412, 0507-12-04.2 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl | 0.075 | PROPANIL | . | 0.01 | 0.0689 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91867 | Ab052412, ER05004.2 | Ab | ER | ER | 052412 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.96267 | 0.062225 | 0.96267 | 0.088 | 0.065234
PROPANIL | 2033 | 82679GCM35 | 2012-08-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.97333 | Abs, Supelco | 052412, LB92783 | Abs 052412: 20 µl & Supelco LB92783: 20 µl | 0.03 | PROPANIL | . | 0.01 | 0.0292 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97333 | Ab052412, SuLB92783 | Ab | Su | Su | 052412 | LB92783 | LB92783 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.97333 |  | 0.97333 | 0 | 0
PROPANIL | 2033 | 82679GCM35 | 2013-07-11 | 2010-10-01 | 2050-09-30 | ug/L | 0.65578 | ChemService, ERA | 1473000, 0318-13-02.2 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl | 0.0398 | PROPANIL | . | 0.01 | 0.0261 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65578 | Ch1473000, ER03102.2 | Ch | ER | ER | 1473000 | 03102.2 | 03102.2 |  | 03102.2 | 03102.2 | Y | Recoverable Result | Y | 2 |  | 1 | 0.65578 |  | 0.65578 | 0 | 0
PROPANIL | 2033 | 82679GCM35 | 2013-06-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.13 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl | 0.1 | PROPANIL | . | 0.01 | 0.113 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.13 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.055 | 0.10607 | 1.055 | 0.15 | 0.11119
PROPANIL | 2033 | 82679GCM35 | 2014-01-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.98 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl | 0.04 | PROPANIL | . | 0.01 | 0.0392 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.055 | 0.10607 | 1.055 | 0.15 | 0.11119
PROPANIL | 2033 | 82679GCM35 | 2009-08-12 | 2008-10-01 | 2009-09-30 | ug/L | 1.2051 | ChemService | 406-99B | ChemService 406-99B: 25 µl | 0.047297 | PROPANIL | . | 0.014 | 0.057 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2051 | ChemService 406-99B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.2881 | 0.11727 | 1.2881 | 0.16584 | 0.12294
PROPANIL | 2033 | 82679GCM35 | 2009-12-01 | 2009-10-01 | 2010-09-30 | ug/L | 1.371 | ChemService | 406-99B | ChemService 406-99B: 25 µl | 0.048141 | PROPANIL | . | 0.01 | 0.066 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.371 | ChemService 406-99B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.2881 | 0.11727 | 1.2881 | 0.16584 | 0.12294
PROPANIL | 2033 | 82679GCM35 | 2012-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.98667 | Crescent, ERA | 05BB029, 0507-12-04.2 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl | 0.03 | PROPANIL | . | 0.01 | 0.0296 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98667 | Cr05BB029, ER05004.2 | Cr | ER | ER | 05BB029 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.97333 | 0.018856 | 0.97333 | 0.026667 | 0.019768
PROPANIL | 2033 | 82679GCM35 | 2013-03-07 | 2010-10-01 | 2050-09-30 | ug/L | 0.96 | Crescent, ERA | 05BB029, 0507-12-04.2 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl | 0.03 | PROPANIL | . | 0.01 | 0.0288 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96 | Cr05BB029, ER05004.2 | Cr | ER | ER | 05BB029 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.97333 | 0.018856 | 0.97333 | 0.026667 | 0.019768
PROPANIL | 2033 | 82679GCM35 | 2013-09-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.81005 | ERA, Abs, Crescent | 0318-13-02.2, 042413, 10802AL | ERA 0318-13-02.2: 50 µl & Abs 042413: 50 µl & Crescent 10802AL: 10 µl | 0.0995 | PROPANIL | . | 0.01 | 0.0806 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81005 | ER03102.2, Ab042413, Cr10802AL | ER | Ab | Cr | 03102.2 | 042413 | 10802AL | 03102.2 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.72538 | 0.11975 | 0.72538 | 0.16935 | 0.12554
PROPANIL | 2033 | 82679GCM35 | 2014-01-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.6407 | ERA, Abs, Crescent | 0318-13-02.2, 042413, 10802AL | ERA 0318-13-02.2: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl | 0.0398 | PROPANIL | . | 0.01 | 0.0255 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6407 | ER03102.2, Ab042413, Cr10802AL | ER | Ab | Cr | 03102.2 | 042413 | 10802AL | 03102.2 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.72538 | 0.11975 | 0.72538 | 0.16935 | 0.12554
PROPANIL | 2033 | 82679GCM35 | 2013-06-11 | 2010-10-01 | 2050-09-30 | ug/L | 1.01 | ERA, Crescent | 0318-13-02.2, 04CC101 | ERA 0318-13-02.2: 20 µl & Crescent 04CC101: 20 µl | 0.0398 | PROPANIL | . | 0.01 | 0.0402 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0101 | ER03102.2, Cr04CC101 | ER | Cr | Cr | 03102.2 | 04CC101 | 04CC101 | 03102.2 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0101 |  | 1.0101 | 0 | 0
PROPANIL | 2033 | 82679GCM35 | 2011-09-13 | 2010-10-01 | 2050-09-30 | ug/L | 1.1018 | ERA | 0318-13-02.2 | ERA 0318-13-02.2: 40 µl | 0.0796 | PROPANIL | . | 0.01 | 0.0877 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1018 | ERA 0318-13-02.2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.1018 |  | 1.1018 | 0 | 0
PROPANIL | 2033 | 82679GCM35 | 2012-10-12 | 2010-10-01 | 2050-09-30 | ug/L | 1.0907 | ERA | 0507-12-04.2 | ERA 0507-12-04.2: 50 µl | 0.075 | PROPANIL | . | 0.01 | 0.0818 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0907 | ERA 0507-12-04.2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.0907 |  | 1.0907 | 0 | 0
PROPANIL | 2033 | 82679GCM35 | 2009-09-16 | 2008-10-01 | 2009-09-30 | ug/L | 1.1199 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 25 µl | 0.048218 | PROPANIL | . | 0.014 | 0.054 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1199 | ERA 0804-08-02PEST | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1538 | 0.025641 | 1.1585 | 0.038793 | 0.028757
PROPANIL | 2033 | 82679GCM35 | 2009-11-11 | 2009-10-01 | 2010-09-30 | ug/L | 1.1488 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 40 µl | 0.076599 | PROPANIL | . | 0.01 | 0.088 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1488 | ERA 0804-08-02PEST | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1538 | 0.025641 | 1.1585 | 0.038793 | 0.028757
PROPANIL | 2033 | 82679GCM35 | 2010-01-17 | 2009-10-01 | 2010-09-30 | ug/L | 1.1682 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 25 µl | 0.047937 | PROPANIL | . | 0.01 | 0.056 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1682 | ERA 0804-08-02PEST | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1538 | 0.025641 | 1.1585 | 0.038793 | 0.028757
PROPANIL | 2033 | 82679GCM35 | 2010-01-21 | 2009-10-01 | 2010-09-30 | ug/L | 1.1781 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 40 µl | 0.073845 | PROPANIL | . | 0.01 | 0.087 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1781 | ERA 0804-08-02PEST | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1538 | 0.025641 | 1.1585 | 0.038793 | 0.028757
PROPANIL | 2033 | 82679GCM35 | 2011-01-13 | 2010-10-01 | 2050-09-30 | ug/L | 1.3698 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 80 µl | 0.078846 | PROPANIL | . | 0.01 | 0.108 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3698 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.2218 | 0.22635 | 1.1754 | 0.28058 | 0.20799
PROPANIL | 2033 | 82679GCM35 | 2011-02-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.0363 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.038889 | PROPANIL | . | 0.01 | 0.0403 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0363 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.2218 | 0.22635 | 1.1754 | 0.28058 | 0.20799
PROPANIL | 2033 | 82679GCM35 | 2011-02-28 | 2010-10-01 | 2050-09-30 | ug/L | 1.0823 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 80 µl | 0.078815 | PROPANIL | . | 0.01 | 0.0853 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0823 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.2218 | 0.22635 | 1.1754 | 0.28058 | 0.20799
PROPANIL | 2033 | 82679GCM35 | 2011-04-13 | 2010-10-01 | 2050-09-30 | ug/L | 1.0181 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.039879 | PROPANIL | . | 0.01 | 0.0406 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0181 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.2218 | 0.22635 | 1.1754 | 0.28058 | 0.20799
PROPANIL | 2033 | 82679GCM35 | 2011-06-20 | 2010-10-01 | 2050-09-30 | ug/L | 1.2056 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.040065 | PROPANIL | . | 0.01 | 0.0483 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2056 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.2218 | 0.22635 | 1.1754 | 0.28058 | 0.20799
PROPANIL | 2033 | 82679GCM35 | 2011-07-28 | 2010-10-01 | 2050-09-30 | ug/L | 1.2538 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.03964 | PROPANIL | . | 0.01 | 0.0497 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2538 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.2218 | 0.22635 | 1.1754 | 0.28058 | 0.20799
PROPANIL | 2033 | 82679GCM35 | 2011-10-25 | 2010-10-01 | 2050-09-30 | ug/L | 1.1453 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.03964 | PROPANIL | . | 0.01 | 0.0454 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1453 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.2218 | 0.22635 | 1.1754 | 0.28058 | 0.20799
PROPANIL | 2033 | 82679GCM35 | 2011-12-03 | 2010-10-01 | 2050-09-30 | ug/L | 1.0293 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 80 µl | 0.07928 | PROPANIL | . | 0.01 | 0.0816 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0293 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.2218 | 0.22635 | 1.1754 | 0.28058 | 0.20799
PROPANIL | 2033 | 82679GCM35 | 2012-03-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.3169 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.03964 | PROPANIL | . | 0.01 | 0.0522 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3169 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.2218 | 0.22635 | 1.1754 | 0.28058 | 0.20799
PROPANIL | 2033 | 82679GCM35 | 2012-05-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.7608 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.03964 | PROPANIL | . | 0.01 | 0.0698 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.7608 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.2218 | 0.22635 | 1.1754 | 0.28058 | 0.20799
PROPANIL | 2033 | 82679GCM35 | 2009-09-03 | 2008-10-01 | 2009-09-30 | ug/L | 0.85999 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | PROPANIL | . | 0.014 | 0.064 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85999 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.85999 |  | 0.85999 | 0 | 0
PROPANIL | 2033 | 82679GCM35 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.96178 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | PROPANIL | . | 0.01 | 0.0373 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96178 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.2459 | 0.2493 | 1.3481 | 0.46618 | 0.34557
PROPANIL | 2033 | 82679GCM35 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 1.428 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | PROPANIL | . | 0.01 | 0.0579 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.428 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.2459 | 0.2493 | 1.3481 | 0.46618 | 0.34557
PROPANIL | 2033 | 82679GCM35 | 2010-12-16 | 2010-10-01 | 2050-09-30 | ug/L | 1.3481 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | PROPANIL | . | 0.01 | 0.0545 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3481 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.2459 | 0.2493 | 1.3481 | 0.46618 | 0.34557
PROPANIL | 2033 | 82679GCM35 | 2011-01-20 | 2010-10-01 | 2050-09-30 | ug/L | 1.1717 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | PROPANIL | . | 0.01 | 0.118 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1717 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1116 | 0.17945 | 1.1399 | 0.2456 | 0.18206
PROPANIL | 2033 | 82679GCM35 | 2011-03-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.297 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 25 µl | 0.02475 | PROPANIL | . | 0.01 | 0.0321 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.297 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1116 | 0.17945 | 1.1399 | 0.2456 | 0.18206
PROPANIL | 2033 | 82679GCM35 | 2011-04-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.8695 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.099483 | PROPANIL | . | 0.01 | 0.0865 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8695 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1116 | 0.17945 | 1.1399 | 0.2456 | 0.18206
PROPANIL | 2033 | 82679GCM35 | 2011-06-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.108 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 75 µl | 0.074096 | PROPANIL | . | 0.01 | 0.0821 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.108 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1116 | 0.17945 | 1.1399 | 0.2456 | 0.18206
PROPANIL | 2033 | 82679GCM35 | 2012-07-14 | 2010-10-01 | 2050-09-30 | ug/L | 1.2567 | Restek, Supelco | A088380, LB92783 | Restek A088380: 20 µl & Supelco LB92783: 20 µl | 0.03 | PROPANIL | . | 0.01 | 0.0377 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2567 | ReA088380, SuLB92783 | Re | Su | Su | A088380 | LB92783 | LB92783 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.2567 |  | 1.2567 | 0 | 0
PROPANIL | 2033 | 82679GCM35 | 2012-09-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.2533 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl | 0.03 | PROPANIL | . | 0.01 | 0.0376 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2533 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 1.0553 | 0.28001 | 1.0553 | 0.396 | 0.29355
PROPANIL | 2033 | 82679GCM35 | 2013-01-15 | 2010-10-01 | 2050-09-30 | ug/L | 0.85733 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl | 0.075 | PROPANIL | . | 0.01 | 0.0643 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85733 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 1.0553 | 0.28001 | 1.0553 | 0.396 | 0.29355
PROPANIL | 2033 | 82679GCM35 | 2012-11-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.96667 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl | 0.15 | PROPANIL | . | 0.01 | 0.145 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96667 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.96333 | 0.085049 | 0.96667 | 0.17 | 0.12602
PROPANIL | 2033 | 82679GCM35 | 2013-02-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.87667 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl | 0.03 | PROPANIL | . | 0.01 | 0.0263 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87667 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.96333 | 0.085049 | 0.96667 | 0.17 | 0.12602
PROPANIL | 2033 | 82679GCM35 | 2013-04-02 | 2010-10-01 | 2050-09-30 | ug/L | 1.0467 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl | 0.075 | PROPANIL | . | 0.01 | 0.0785 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0467 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.96333 | 0.085049 | 0.96667 | 0.17 | 0.12602
PROPANIL | 2033 | 82679GCM35 | 2013-09-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.80905 | Spex Organics, ERA | T1130514013, 0318-13-02.2 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl | 0.199 | PROPANIL | . | 0.01 | 0.161 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80905 | SpT114013, ER03102.2 | Sp | ER | ER | T114013 | 03102.2 | 03102.2 | T114013 | 03102.2 | 03102.2 | Y | Recoverable Result | Y | 2 |  | 1 | 0.80905 |  | 0.80905 | 0 | 0
PROPANIL | 2033 | 82679GCM35 | 2013-11-09 | 2010-10-01 | 2050-09-30 | ug/L | 1.0275 | Spex Organics, Supelco | T1130514013, LB99392 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl | 0.04 | PROPANIL | . | 0.01 | 0.0411 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0275 | SpT114013, SuLB99392 | Sp | Su | Su | T114013 | LB99392 | LB99392 | T114013 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0275 |  | 1.0275 | 0 | 0
PROPANIL | 2033 | 82679GCM35 | 2010-06-16 | 2009-10-01 | 2010-09-30 | ug/L | 1.0412 | Spex Organics | T1090901009 | Spex Organics T1090901009: 20 µl | 0.086345 | PROPANIL | . | 0.01 | 0.0899 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0412 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0183 | 0.17535 | 0.98565 | 0.25777 | 0.19108
PROPANIL | 2033 | 82679GCM35 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.93014 | Spex Organics | T1090901009 | Spex Organics T1090901009: 100 µl | 0.43434 | PROPANIL | . | 0.01 | 0.404 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93014 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0183 | 0.17535 | 0.98565 | 0.25777 | 0.19108
PROPANIL | 2033 | 82679GCM35 | 2010-09-30 | 2009-10-01 | 2010-09-30 | ug/L | 1.2532 | Spex Organics | T1090901009 | Spex Organics T1090901009: 20 µl | 0.087773 | PROPANIL | . | 0.01 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2532 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0183 | 0.17535 | 0.98565 | 0.25777 | 0.19108
PROPANIL | 2033 | 82679GCM35 | 2010-12-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.84872 | Spex Organics | T1090901009 | Spex Organics T1090901009: 40 µl | 0.17674 | PROPANIL | . | 0.01 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84872 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0183 | 0.17535 | 0.98565 | 0.25777 | 0.19108
PROPANIL | 2033 | 82679GCM35 | 2011-01-11 | 2010-10-01 | 2050-09-30 | ug/L | 1.3252 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.079231 | PROPANIL | . | 0.01 | 0.105 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3252 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.1368 | 0.15005 | 1.1325 | 0.22125 | 0.16401
PROPANIL | 2033 | 82679GCM35 | 2011-01-21 | 2010-10-01 | 2050-09-30 | ug/L | 1.2652 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.039916 | PROPANIL | . | 0.01 | 0.0505 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2652 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.1368 | 0.15005 | 1.1325 | 0.22125 | 0.16401
PROPANIL | 2033 | 82679GCM35 | 2011-02-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.92084 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.040181 | PROPANIL | . | 0.01 | 0.037 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92084 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.1368 | 0.15005 | 1.1325 | 0.22125 | 0.16401
PROPANIL | 2033 | 82679GCM35 | 2011-03-23 | 2010-10-01 | 2050-09-30 | ug/L | 1.4036 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.039185 | PROPANIL | . | 0.01 | 0.055 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4036 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.1368 | 0.15005 | 1.1325 | 0.22125 | 0.16401
PROPANIL | 2033 | 82679GCM35 | 2011-05-14 | 2010-10-01 | 2050-09-30 | ug/L | 1.0608 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.040441 | PROPANIL | . | 0.01 | 0.0429 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0608 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.1368 | 0.15005 | 1.1325 | 0.22125 | 0.16401
PROPANIL | 2033 | 82679GCM35 | 2011-07-07 | 2010-10-01 | 2050-09-30 | ug/L | 1.1325 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.08 | PROPANIL | E | 0.01 | 0.0906 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1325 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 1.1368 | 0.15005 | 1.1325 | 0.22125 | 0.16401
PROPANIL | 2033 | 82679GCM35 | 2011-09-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.9175 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.04 | PROPANIL | . | 0.01 | 0.0367 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9175 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.1368 | 0.15005 | 1.1325 | 0.22125 | 0.16401
PROPANIL | 2033 | 82679GCM35 | 2011-09-29 | 2010-10-01 | 2050-09-30 | ug/L | 1.0337 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.08 | PROPANIL | . | 0.01 | 0.0827 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0337 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.1368 | 0.15005 | 1.1325 | 0.22125 | 0.16401
PROPANIL | 2033 | 82679GCM35 | 2011-11-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.1625 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.04 | PROPANIL | . | 0.01 | 0.0465 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1625 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.1368 | 0.15005 | 1.1325 | 0.22125 | 0.16401
PROPANIL | 2033 | 82679GCM35 | 2011-12-21 | 2010-10-01 | 2050-09-30 | ug/L | 1.175 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.08 | PROPANIL | . | 0.01 | 0.094 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.175 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.1368 | 0.15005 | 1.1325 | 0.22125 | 0.16401
PROPANIL | 2033 | 82679GCM35 | 2012-01-27 | 2010-10-01 | 2050-09-30 | ug/L | 0.99625 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.08 | PROPANIL | . | 0.01 | 0.0797 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99625 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.1368 | 0.15005 | 1.1325 | 0.22125 | 0.16401
PROPANIL | 2033 | 82679GCM35 | 2012-04-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.255 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.04 | PROPANIL | . | 0.01 | 0.0502 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.255 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.1368 | 0.15005 | 1.1325 | 0.22125 | 0.16401
PROPANIL | 2033 | 82679GCM35 | 2012-06-02 | 2010-10-01 | 2050-09-30 | ug/L | 1.13 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.04 | PROPANIL | . | 0.01 | 0.0452 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.13 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.1368 | 0.15005 | 1.1325 | 0.22125 | 0.16401
PROPANIL | 2033 | 82679GCM35 | 2012-10-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.97467 | Supelco, Abs | LB92783, 052412 | Supelco LB92783: 50 µl & Abs 052412: 50 µl | 0.075 | PROPANIL | . | 0.01 | 0.0731 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97467 | SuLB92783, Ab052412 | Su | Ab | Ab | LB92783 | 052412 | 052412 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.006 | 0.044312 | 1.006 | 0.062667 | 0.046454
PROPANIL | 2033 | 82679GCM35 | 2013-01-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.0373 | Supelco, Abs | LB92783, 052412 | Supelco LB92783: 50 µl & Abs 052412: 50 µl | 0.075 | PROPANIL | . | 0.01 | 0.0778 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0373 | SuLB92783, Ab052412 | Su | Ab | Ab | LB92783 | 052412 | 052412 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.006 | 0.044312 | 1.006 | 0.062667 | 0.046454
PROPANIL | 2033 | 82679GCM35 | 2013-11-23 | 2010-10-01 | 2050-09-30 | ug/L | 1.1325 | Supelco, Abs, Crescent | LB99392, 042413, 10802AL | Supelco LB99392: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl | 0.04 | PROPANIL | . | 0.01 | 0.0453 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1325 | SuLB99392, Ab042413, Cr10802AL | Su | Ab | Cr | LB99392 | 042413 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1325 |  | 1.1325 | 0 | 0
PROPANIL | 2033 | 82679GCM35 | 2013-08-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.8 | Supelco, Crescent | LB99392, 04CC101 | Supelco LB99392: 50 µl & Crescent 04CC101: 50 µl | 0.1 | PROPANIL | . | 0.01 | 0.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | SuLB99392, Cr04CC101 | Su | Cr | Cr | LB99392 | 04CC101 | 04CC101 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.8 |  | 0.8 | 0 | 0
PROPANIL | 2033 | 82679GCM35 | 2010-02-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.8447 | Ultra | CF-3558 | Ultra CF-3558: 40 µl | 0.16929 | PROPANIL | . | 0.01 | 0.143 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8447 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1765 | 0.41057 | 1.0721 | 0.6381 | 0.47302
PROPANIL | 2033 | 82679GCM35 | 2010-05-19 | 2009-10-01 | 2010-09-30 | ug/L | 1.7172 | Ultra | CF-3558 | Ultra CF-3558: 20 µl | 0.087354 | PROPANIL | . | 0.01 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.7172 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1765 | 0.41057 | 1.0721 | 0.6381 | 0.47302
PROPANIL | 2033 | 82679GCM35 | 2010-08-10 | 2009-10-01 | 2010-09-30 | ug/L | 1.2739 | Ultra | CF-3558 | Ultra CF-3558: 40 µl | 0.17583 | PROPANIL | . | 0.01 | 0.224 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2739 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1765 | 0.41057 | 1.0721 | 0.6381 | 0.47302
PROPANIL | 2033 | 82679GCM35 | 2010-12-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.87019 | Ultra | CF-3558 | Ultra CF-3558: 20 µl | 0.086877 | PROPANIL | E | 0.01 | 0.0756 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87019 | Ultra CF-3558 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 1.1765 | 0.41057 | 1.0721 | 0.6381 | 0.47302