## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
PROPYZAMIDE (PRONAMIDE) | 2033 | 82676GCM35 | 2013-06-26 | 2012-10-01 | 2050-09-30 | ug/L | 1.275 | Abs, ChemService | 042413, 1473000 | Abs 042413: 20 µl & ChemService 1473000: 20 µl | 0.016 | PROPYZAMIDE_(PRONAMIDE) | . | 0.008 | 0.0204 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.275 | Ab042413, Ch1473000 | Ab | Ch | Ch | 042413 | 1473000 | 1473000 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.275 |  | 1.275 | 0 | 0
PROPYZAMIDE (PRONAMIDE) | 2033 | 82676GCM35 | 2013-10-19 | 2012-10-01 | 2050-09-30 | ug/L | 1.1 | Abs, Spex Organics, Crescent | 042413, T1130514013, 10802AL | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl | 0.04 | PROPYZAMIDE_(PRONAMIDE) | . | 0.008 | 0.044 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1 | Ab042413, SpT114013, Cr10802AL | Ab | Sp | Cr | 042413 | T114013 | 10802AL |  | T114013 |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1 |  | 1.1 | 0 | 0
PROPYZAMIDE (PRONAMIDE) | 2033 | 82676GCM35 | 2011-01-07 | 2010-10-01 | 2012-09-30 | ug/L | 0.75565 | Abs | 080610 | Abs 080610: 40 µl | 0.078608 | PROPYZAMIDE_(PRONAMIDE) | . | 0.0036 | 0.0594 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75565 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.88494 | 0.096887 | 0.88794 | 0.14094 | 0.10448
PROPYZAMIDE (PRONAMIDE) | 2033 | 82676GCM35 | 2011-01-28 | 2010-10-01 | 2012-09-30 | ug/L | 0.96833 | Abs | 080610 | Abs 080610: 80 µl | 0.15387 | PROPYZAMIDE_(PRONAMIDE) | . | 0.0036 | 0.149 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96833 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.88494 | 0.096887 | 0.88794 | 0.14094 | 0.10448
PROPYZAMIDE (PRONAMIDE) | 2033 | 82676GCM35 | 2011-02-22 | 2010-10-01 | 2012-09-30 | ug/L | 0.94384 | Abs | 080610 | Abs 080610: 40 µl | 0.079145 | PROPYZAMIDE_(PRONAMIDE) | . | 0.0036 | 0.0747 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94384 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.88494 | 0.096887 | 0.88794 | 0.14094 | 0.10448
PROPYZAMIDE (PRONAMIDE) | 2033 | 82676GCM35 | 2011-03-16 | 2010-10-01 | 2012-09-30 | ug/L | 0.93213 | Abs | 080610 | Abs 080610: 80 µl | 0.15878 | PROPYZAMIDE_(PRONAMIDE) | . | 0.0036 | 0.148 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93213 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.88494 | 0.096887 | 0.88794 | 0.14094 | 0.10448
PROPYZAMIDE (PRONAMIDE) | 2033 | 82676GCM35 | 2011-05-03 | 2010-10-01 | 2012-09-30 | ug/L | 1.0789 | Abs | 080610 | Abs 080610: 40 µl | 0.079523 | PROPYZAMIDE_(PRONAMIDE) | . | 0.0036 | 0.0858 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0789 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.88494 | 0.096887 | 0.88794 | 0.14094 | 0.10448
PROPYZAMIDE (PRONAMIDE) | 2033 | 82676GCM35 | 2011-05-29 | 2010-10-01 | 2012-09-30 | ug/L | 1.0062 | Abs | 080610 | Abs 080610: 80 µl | 0.161 | PROPYZAMIDE_(PRONAMIDE) | . | 0.0036 | 0.162 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0062 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.88494 | 0.096887 | 0.88794 | 0.14094 | 0.10448
PROPYZAMIDE (PRONAMIDE) | 2033 | 82676GCM35 | 2011-08-22 | 2010-10-01 | 2012-09-30 | ug/L | 0.7929 | Abs | 080610 | Abs 080610: 40 µl | 0.07996 | PROPYZAMIDE_(PRONAMIDE) | . | 0.0036 | 0.0634 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7929 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.88494 | 0.096887 | 0.88794 | 0.14094 | 0.10448
PROPYZAMIDE (PRONAMIDE) | 2033 | 82676GCM35 | 2011-10-20 | 2010-10-01 | 2012-09-30 | ug/L | 0.89045 | Abs | 080610 | Abs 080610: 40 µl | 0.07996 | PROPYZAMIDE_(PRONAMIDE) | . | 0.0036 | 0.0712 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89045 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.88494 | 0.096887 | 0.88794 | 0.14094 | 0.10448
PROPYZAMIDE (PRONAMIDE) | 2033 | 82676GCM35 | 2012-01-20 | 2010-10-01 | 2012-09-30 | ug/L | 0.81416 | Abs | 080610 | Abs 080610: 40 µl | 0.07996 | PROPYZAMIDE_(PRONAMIDE) | . | 0.0036 | 0.0651 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81416 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.88494 | 0.096887 | 0.88794 | 0.14094 | 0.10448
PROPYZAMIDE (PRONAMIDE) | 2033 | 82676GCM35 | 2012-02-09 | 2010-10-01 | 2012-09-30 | ug/L | 0.88794 | Abs | 080610 | Abs 080610: 80 µl | 0.15992 | PROPYZAMIDE_(PRONAMIDE) | . | 0.0036 | 0.142 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88794 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.88494 | 0.096887 | 0.88794 | 0.14094 | 0.10448
PROPYZAMIDE (PRONAMIDE) | 2033 | 82676GCM35 | 2012-03-08 | 2010-10-01 | 2012-09-30 | ug/L | 0.7929 | Abs | 080610 | Abs 080610: 40 µl | 0.07996 | PROPYZAMIDE_(PRONAMIDE) | . | 0.0036 | 0.0634 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7929 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.88494 | 0.096887 | 0.88794 | 0.14094 | 0.10448
PROPYZAMIDE (PRONAMIDE) | 2033 | 82676GCM35 | 2012-04-12 | 2010-10-01 | 2012-09-30 | ug/L | 0.8029 | Abs | 080610 | Abs 080610: 40 µl | 0.07996 | PROPYZAMIDE_(PRONAMIDE) | . | 0.0036 | 0.0642 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8029 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.88494 | 0.096887 | 0.88794 | 0.14094 | 0.10448
PROPYZAMIDE (PRONAMIDE) | 2033 | 82676GCM35 | 2012-04-24 | 2010-10-01 | 2012-09-30 | ug/L | 0.83792 | Abs | 080610 | Abs 080610: 80 µl | 0.15992 | PROPYZAMIDE_(PRONAMIDE) | . | 0.0036 | 0.134 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83792 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.88494 | 0.096887 | 0.88794 | 0.14094 | 0.10448
PROPYZAMIDE (PRONAMIDE) | 2033 | 82676GCM35 | 2011-01-12 | 2010-10-01 | 2012-09-30 | ug/L | 1.0204 | Accu | 210061341 | Accu 210061341: 40 µl | 0.077226 | PROPYZAMIDE_(PRONAMIDE) | . | 0.0036 | 0.0788 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0204 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.90441 | 0.12487 | 0.9059 | 0.18341 | 0.13596
PROPYZAMIDE (PRONAMIDE) | 2033 | 82676GCM35 | 2011-02-01 | 2010-10-01 | 2012-09-30 | ug/L | 0.86088 | Accu | 210061341 | Accu 210061341: 80 µl | 0.15914 | PROPYZAMIDE_(PRONAMIDE) | . | 0.0036 | 0.137 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86088 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.90441 | 0.12487 | 0.9059 | 0.18341 | 0.13596
PROPYZAMIDE (PRONAMIDE) | 2033 | 82676GCM35 | 2011-02-14 | 2010-10-01 | 2012-09-30 | ug/L | 0.81718 | Accu | 210061341 | Accu 210061341: 40 µl | 0.078685 | PROPYZAMIDE_(PRONAMIDE) | . | 0.0036 | 0.0643 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81718 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.90441 | 0.12487 | 0.9059 | 0.18341 | 0.13596
PROPYZAMIDE (PRONAMIDE) | 2033 | 82676GCM35 | 2011-04-07 | 2010-10-01 | 2012-09-30 | ug/L | 0.88884 | Accu | 210061341 | Accu 210061341: 40 µl | 0.080329 | PROPYZAMIDE_(PRONAMIDE) | . | 0.0036 | 0.0714 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88884 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.90441 | 0.12487 | 0.9059 | 0.18341 | 0.13596
PROPYZAMIDE (PRONAMIDE) | 2033 | 82676GCM35 | 2011-05-21 | 2010-10-01 | 2012-09-30 | ug/L | 1.1111 | Accu | 210061341 | Accu 210061341: 80 µl | 0.1593 | PROPYZAMIDE_(PRONAMIDE) | . | 0.0036 | 0.177 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1111 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.90441 | 0.12487 | 0.9059 | 0.18341 | 0.13596
PROPYZAMIDE (PRONAMIDE) | 2033 | 82676GCM35 | 2011-07-02 | 2010-10-01 | 2012-09-30 | ug/L | 0.81186 | Accu | 210061341 | Accu 210061341: 40 µl | 0.079816 | PROPYZAMIDE_(PRONAMIDE) | . | 0.0036 | 0.0648 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81186 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.90441 | 0.12487 | 0.9059 | 0.18341 | 0.13596
PROPYZAMIDE (PRONAMIDE) | 2033 | 82676GCM35 | 2011-07-20 | 2010-10-01 | 2012-09-30 | ug/L | 1.068 | Accu | 210061341 | Accu 210061341: 40 µl | 0.07996 | PROPYZAMIDE_(PRONAMIDE) | . | 0.0036 | 0.0854 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.068 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.90441 | 0.12487 | 0.9059 | 0.18341 | 0.13596
PROPYZAMIDE (PRONAMIDE) | 2033 | 82676GCM35 | 2011-08-30 | 2010-10-01 | 2012-09-30 | ug/L | 0.97549 | Accu | 210061341 | Accu 210061341: 80 µl | 0.15992 | PROPYZAMIDE_(PRONAMIDE) | . | 0.0036 | 0.156 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97549 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.90441 | 0.12487 | 0.9059 | 0.18341 | 0.13596
PROPYZAMIDE (PRONAMIDE) | 2033 | 82676GCM35 | 2011-11-05 | 2010-10-01 | 2012-09-30 | ug/L | 0.92296 | Accu | 210061341 | Accu 210061341: 40 µl | 0.07996 | PROPYZAMIDE_(PRONAMIDE) | . | 0.0036 | 0.0738 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92296 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.90441 | 0.12487 | 0.9059 | 0.18341 | 0.13596
PROPYZAMIDE (PRONAMIDE) | 2033 | 82676GCM35 | 2011-12-08 | 2010-10-01 | 2012-09-30 | ug/L | 0.73787 | Accu | 210061341 | Accu 210061341: 80 µl | 0.15992 | PROPYZAMIDE_(PRONAMIDE) | . | 0.0036 | 0.118 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73787 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.90441 | 0.12487 | 0.9059 | 0.18341 | 0.13596
PROPYZAMIDE (PRONAMIDE) | 2033 | 82676GCM35 | 2012-03-02 | 2010-10-01 | 2012-09-30 | ug/L | 0.92546 | Accu | 210061341 | Accu 210061341: 80 µl | 0.15992 | PROPYZAMIDE_(PRONAMIDE) | . | 0.0036 | 0.148 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92546 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.90441 | 0.12487 | 0.9059 | 0.18341 | 0.13596
PROPYZAMIDE (PRONAMIDE) | 2033 | 82676GCM35 | 2012-03-27 | 2010-10-01 | 2012-09-30 | ug/L | 0.71286 | Accu | 210061341 | Accu 210061341: 40 µl | 0.07996 | PROPYZAMIDE_(PRONAMIDE) | . | 0.0036 | 0.057 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71286 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.90441 | 0.12487 | 0.9059 | 0.18341 | 0.13596
PROPYZAMIDE (PRONAMIDE) | 2033 | 82676GCM35 | 2013-07-11 | 2012-10-01 | 2050-09-30 | ug/L | 1.1062 | ChemService, ERA | 1473000, 0318-13-02.2 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl | 0.016 | PROPYZAMIDE_(PRONAMIDE) | . | 0.008 | 0.0177 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1062 | Ch1473000, ER03102.2 | Ch | ER | ER | 1473000 | 03102.2 | 03102.2 |  | 03102.2 | 03102.2 | Y | Recoverable Result | Y | 2 |  | 1 | 1.1062 |  | 1.1062 | 0 | 0
PROPYZAMIDE (PRONAMIDE) | 2033 | 82676GCM35 | 2013-06-05 | 2012-10-01 | 2050-09-30 | ug/L | 1.18 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl | 0.04 | PROPYZAMIDE_(PRONAMIDE) | . | 0.008 | 0.0472 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.18 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0994 | 0.11402 | 1.0994 | 0.16125 | 0.11953
PROPYZAMIDE (PRONAMIDE) | 2033 | 82676GCM35 | 2014-01-08 | 2012-10-01 | 2050-09-30 | ug/L | 1.0188 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl | 0.016 | PROPYZAMIDE_(PRONAMIDE) | . | 0.008 | 0.0163 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0187 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0994 | 0.11402 | 1.0994 | 0.16125 | 0.11953
PROPYZAMIDE (PRONAMIDE) | 2033 | 82676GCM35 | 2010-03-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.73666 | ChemService | 430-36C | ChemService 430-36C: 40 µl | 0.076969 | PROPYZAMIDE_(PRONAMIDE) | E | 0.0036 | 0.0567 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73666 | ChemService 430-36C | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 0.94298 | 0.18064 | 1.0196 | 0.33604 | 0.2491
PROPYZAMIDE (PRONAMIDE) | 2033 | 82676GCM35 | 2010-06-26 | 2009-10-01 | 2010-09-30 | ug/L | 1.0196 | ChemService | 430-36C | ChemService 430-36C: 40 µl | 0.078463 | PROPYZAMIDE_(PRONAMIDE) | . | 0.0036 | 0.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0196 | ChemService 430-36C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.94298 | 0.18064 | 1.0196 | 0.33604 | 0.2491
PROPYZAMIDE (PRONAMIDE) | 2033 | 82676GCM35 | 2010-09-21 | 2009-10-01 | 2010-09-30 | ug/L | 1.0727 | ChemService | 430-36C | ChemService 430-36C: 20 µl | 0.040179 | PROPYZAMIDE_(PRONAMIDE) | . | 0.0036 | 0.0431 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0727 | ChemService 430-36C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.94298 | 0.18064 | 1.0196 | 0.33604 | 0.2491
PROPYZAMIDE (PRONAMIDE) | 2033 | 82676GCM35 | 2013-12-05 | 2012-10-01 | 2050-09-30 | ug/L | 1.1875 | Crescent, ChemService, Cresc | 04CC101, 1473000, 10802AL | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl | 0.016 | PROPYZAMIDE_(PRONAMIDE) | . | 0.008 | 0.019 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1875 | Cr04CC101, Ch1473000, Cr10802A | Cr | Ch | Cr | 04CC101 | 1473000 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1875 |  | 1.1875 | 0 | 0
PROPYZAMIDE (PRONAMIDE) | 2033 | 82676GCM35 | 2013-09-05 | 2012-10-01 | 2050-09-30 | ug/L | 1.05 | Crescent, Spex Organics | 04CC101, T1130514013 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl | 0.016 | PROPYZAMIDE_(PRONAMIDE) | . | 0.008 | 0.0168 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.05 | Cr04CC101, SpT114013 | Cr | Sp | Sp | 04CC101 | T114013 | T114013 |  | T114013 | T114013 | Y | Recoverable Result | Y | 2 |  | 1 | 1.05 |  | 1.05 | 0 | 0
PROPYZAMIDE (PRONAMIDE) | 2033 | 82676GCM35 | 2009-07-23 | 2005-03-04 | 2009-09-30 | ug/L | 0.9936 | Crescent | 08HH019 | Crescent 08HH019: 40 µl | 0.19726 | PROPYZAMIDE_(PRONAMIDE) | . | 0.004 | 0.196 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9936 | Crescent 08HH019 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.9936 |  | 0.9936 | 0 | 0
PROPYZAMIDE (PRONAMIDE) | 2033 | 82676GCM35 | 2009-09-03 | 2005-03-04 | 2009-09-30 | ug/L | 0.87343 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | PROPYZAMIDE_(PRONAMIDE) | . | 0.004 | 0.065 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87343 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.87343 |  | 0.87343 | 0 | 0
PROPYZAMIDE (PRONAMIDE) | 2033 | 82676GCM35 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.80191 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | PROPYZAMIDE_(PRONAMIDE) | . | 0.0036 | 0.0311 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80191 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0099 | 0.18129 | 1.0933 | 0.33256 | 0.24652
PROPYZAMIDE (PRONAMIDE) | 2033 | 82676GCM35 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 1.1345 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | PROPYZAMIDE_(PRONAMIDE) | . | 0.0036 | 0.046 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1345 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0099 | 0.18129 | 1.0933 | 0.33256 | 0.24652
PROPYZAMIDE (PRONAMIDE) | 2033 | 82676GCM35 | 2010-12-16 | 2010-10-01 | 2012-09-30 | ug/L | 1.0933 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | PROPYZAMIDE_(PRONAMIDE) | . | 0.0036 | 0.0442 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0933 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0099 | 0.18129 | 1.0933 | 0.33256 | 0.24652
PROPYZAMIDE (PRONAMIDE) | 2033 | 82676GCM35 | 2011-01-20 | 2010-10-01 | 2012-09-30 | ug/L | 1.0724 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | PROPYZAMIDE_(PRONAMIDE) | . | 0.0036 | 0.108 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0724 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.97611 | 0.094837 | 0.98008 | 0.15861 | 0.11757
PROPYZAMIDE (PRONAMIDE) | 2033 | 82676GCM35 | 2011-03-05 | 2010-10-01 | 2012-09-30 | ug/L | 1.0384 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 25 µl | 0.02475 | PROPYZAMIDE_(PRONAMIDE) | . | 0.0036 | 0.0257 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0384 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.97611 | 0.094837 | 0.98008 | 0.15861 | 0.11757
PROPYZAMIDE (PRONAMIDE) | 2033 | 82676GCM35 | 2011-04-20 | 2010-10-01 | 2012-09-30 | ug/L | 0.92177 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.099483 | PROPYZAMIDE_(PRONAMIDE) | . | 0.0036 | 0.0917 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92177 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.97611 | 0.094837 | 0.98008 | 0.15861 | 0.11757
PROPYZAMIDE (PRONAMIDE) | 2033 | 82676GCM35 | 2011-06-22 | 2010-10-01 | 2012-09-30 | ug/L | 0.87184 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 75 µl | 0.074096 | PROPYZAMIDE_(PRONAMIDE) | . | 0.0036 | 0.0646 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87184 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.97611 | 0.094837 | 0.98008 | 0.15861 | 0.11757
PROPYZAMIDE (PRONAMIDE) | 2033 | 82676GCM35 | 2009-09-15 | 2005-03-04 | 2009-09-30 | ug/L | 0.89705 | Protocol | D1080908018 | Protocol D1080908018: 40 µl | 0.19508 | PROPYZAMIDE_(PRONAMIDE) | . | 0.004 | 0.175 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89705 | Protocol D1080908018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.89705 |  | 0.89705 | 0 | 0
PROPYZAMIDE (PRONAMIDE) | 2033 | 82676GCM35 | 2012-09-26 | 2010-10-01 | 2012-09-30 | ug/L | 0.835 | Restek, Abs | A088380, 052412 | Restek A088380: 20 µl & Abs 052412: 20 µl | 0.06 | PROPYZAMIDE_(PRONAMIDE) | . | 0.0036 | 0.0501 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.835 | ReA088380, Ab052412 | Re | Ab | Ab | A088380 | 052412 | 052412 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.78917 | 0.064818 | 0.78917 | 0.091667 | 0.067952
PROPYZAMIDE (PRONAMIDE) | 2033 | 82676GCM35 | 2013-03-18 | 2012-10-01 | 2050-09-30 | ug/L | 0.74333 | Restek, Abs | A088380, 052412 | Restek A088380: 20 µl & Abs 052412: 20 µl | 0.06 | PROPYZAMIDE_(PRONAMIDE) | . | 0.008 | 0.0446 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74333 | ReA088380, Ab052412 | Re | Ab | Ab | A088380 | 052412 | 052412 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.78917 | 0.064818 | 0.78917 | 0.091667 | 0.067952
PROPYZAMIDE (PRONAMIDE) | 2033 | 82676GCM35 | 2012-11-14 | 2012-10-01 | 2050-09-30 | ug/L | 0.92 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl | 0.15 | PROPYZAMIDE_(PRONAMIDE) | . | 0.008 | 0.138 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 1 | 0.15026 | 0.92 | 0.26667 | 0.19768
PROPYZAMIDE (PRONAMIDE) | 2033 | 82676GCM35 | 2013-02-06 | 2012-10-01 | 2050-09-30 | ug/L | 0.90667 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl | 0.3 | PROPYZAMIDE_(PRONAMIDE) | . | 0.008 | 0.272 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90667 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 1 | 0.15026 | 0.92 | 0.26667 | 0.19768
PROPYZAMIDE (PRONAMIDE) | 2033 | 82676GCM35 | 2013-05-22 | 2012-10-01 | 2050-09-30 | ug/L | 1.1733 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl | 0.06 | PROPYZAMIDE_(PRONAMIDE) | . | 0.008 | 0.0704 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1733 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 1 | 0.15026 | 0.92 | 0.26667 | 0.19768
PROPYZAMIDE (PRONAMIDE) | 2033 | 82676GCM35 | 2012-07-14 | 2010-10-01 | 2012-09-30 | ug/L | 1.07 | Restek, Supelco | A088380, LB92783 | Restek A088380: 20 µl & Supelco LB92783: 20 µl | 0.06 | PROPYZAMIDE_(PRONAMIDE) | . | 0.0036 | 0.0642 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.07 | ReA088380, SuLB92783 | Re | Su | Su | A088380 | LB92783 | LB92783 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.07 |  | 1.07 | 0 | 0
PROPYZAMIDE (PRONAMIDE) | 2033 | 82676GCM35 | 2013-07-23 | 2012-10-01 | 2050-09-30 | ug/L | 0.93667 | Restek, Abs | A093651, 012513 | Restek A093651: 20 µl & Abs 012513: 20 µl | 0.06 | PROPYZAMIDE_(PRONAMIDE) | . | 0.008 | 0.0562 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93667 | ReA093651, Ab012513 | Re | Ab | Ab | A093651 | 012513 | 012513 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.93667 |  | 0.93667 | 0 | 0
PROPYZAMIDE (PRONAMIDE) | 2033 | 82676GCM35 | 2013-09-14 | 2012-10-01 | 2050-09-30 | ug/L | 0.84 | Restek, Abs, Crescent | A093651, 012513, 10802AL | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl | 0.15 | PROPYZAMIDE_(PRONAMIDE) | . | 0.008 | 0.126 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84 | ReA093651, Ab012513, Cr10802AL | Re | Ab | Cr | A093651 | 012513 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.84 |  | 0.84 | 0 | 0
PROPYZAMIDE (PRONAMIDE) | 2033 | 82676GCM35 | 2013-11-04 | 2012-10-01 | 2050-09-30 | ug/L | 0.81 | Restek, Abs, Crescent | A093651, 052412, 10802AL | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl | 0.06 | PROPYZAMIDE_(PRONAMIDE) | . | 0.008 | 0.0486 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81 | ReA093651, Ab052412, Cr10802AL | Re | Ab | Cr | A093651 | 052412 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.885 | 0.10607 | 0.885 | 0.15 | 0.11119
PROPYZAMIDE (PRONAMIDE) | 2033 | 82676GCM35 | 2014-01-08 | 2012-10-01 | 2050-09-30 | ug/L | 0.96 | Restek, Abs, Crescent | A093651, 052412, 10802AL | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl | 0.06 | PROPYZAMIDE_(PRONAMIDE) | . | 0.008 | 0.0576 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96 | ReA093651, Ab052412, Cr10802AL | Re | Ab | Cr | A093651 | 052412 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.885 | 0.10607 | 0.885 | 0.15 | 0.11119
PROPYZAMIDE (PRONAMIDE) | 2033 | 82676GCM35 | 2010-02-02 | 2009-10-01 | 2010-09-30 | ug/L | 0.66054 | Restek | A069639 | Restek A069639: 20 µl | 0.038302 | PROPYZAMIDE_(PRONAMIDE) | . | 0.0036 | 0.0253 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66054 | Restek A069639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.84057 | 0.19855 | 0.81743 | 0.33271 | 0.24664
PROPYZAMIDE (PRONAMIDE) | 2033 | 82676GCM35 | 2010-03-19 | 2009-10-01 | 2010-09-30 | ug/L | 0.68789 | Restek | A069639 | Restek A069639: 20 µl | 0.038814 | PROPYZAMIDE_(PRONAMIDE) | . | 0.0036 | 0.0267 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68789 | Restek A069639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.84057 | 0.19855 | 0.81743 | 0.33271 | 0.24664
PROPYZAMIDE (PRONAMIDE) | 2033 | 82676GCM35 | 2010-07-29 | 2009-10-01 | 2010-09-30 | ug/L | 1.0669 | Restek | A069639 | Restek A069639: 100 µl | 0.20058 | PROPYZAMIDE_(PRONAMIDE) | . | 0.0036 | 0.214 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0669 | Restek A069639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.84057 | 0.19855 | 0.81743 | 0.33271 | 0.24664
PROPYZAMIDE (PRONAMIDE) | 2033 | 82676GCM35 | 2010-10-18 | 2010-10-01 | 2012-09-30 | ug/L | 0.94696 | Restek | A069639 | Restek A069639: 40 µl | 0.076772 | PROPYZAMIDE_(PRONAMIDE) | . | 0.0036 | 0.0727 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94696 | Restek A069639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.84057 | 0.19855 | 0.81743 | 0.33271 | 0.24664
PROPYZAMIDE (PRONAMIDE) | 2033 | 82676GCM35 | 2012-06-28 | 2010-10-01 | 2012-09-30 | ug/L | 1 | Restek | A088380 | Restek A088380: 50 µl | 0.15 | PROPYZAMIDE_(PRONAMIDE) | . | 0.0036 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | Restek A088380 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1 |  | 1 | 0 | 0
PROPYZAMIDE (PRONAMIDE) | 2033 | 82676GCM35 | 2012-08-29 | 2010-10-01 | 2012-09-30 | ug/L | 0.99667 | Spex Organics, Crescent | T1120530013, 05BB029 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl | 0.06 | PROPYZAMIDE_(PRONAMIDE) | . | 0.0036 | 0.0598 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99667 | SpT110013, Cr05BB029 | Sp | Cr | Cr | T110013 | 05BB029 | 05BB029 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.01 | 0.018856 | 1.01 | 0.026667 | 0.019768
PROPYZAMIDE (PRONAMIDE) | 2033 | 82676GCM35 | 2012-12-20 | 2012-10-01 | 2050-09-30 | ug/L | 1.0233 | Spex Organics, Crescent | T1120530013, 05BB029 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl | 0.3 | PROPYZAMIDE_(PRONAMIDE) | . | 0.008 | 0.307 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0233 | SpT110013, Cr05BB029 | Sp | Cr | Cr | T110013 | 05BB029 | 05BB029 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.01 | 0.018856 | 1.01 | 0.026667 | 0.019768
PROPYZAMIDE (PRONAMIDE) | 2033 | 82676GCM35 | 2012-09-05 | 2010-10-01 | 2012-09-30 | ug/L | 1.0583 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl | 0.06 | PROPYZAMIDE_(PRONAMIDE) | . | 0.0036 | 0.0635 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0583 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.95583 | 0.14496 | 0.95583 | 0.205 | 0.15196
PROPYZAMIDE (PRONAMIDE) | 2033 | 82676GCM35 | 2013-01-15 | 2012-10-01 | 2050-09-30 | ug/L | 0.85333 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl | 0.15 | PROPYZAMIDE_(PRONAMIDE) | . | 0.008 | 0.128 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85333 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.95583 | 0.14496 | 0.95583 | 0.205 | 0.15196
PROPYZAMIDE (PRONAMIDE) | 2033 | 82676GCM35 | 2012-11-20 | 2012-10-01 | 2050-09-30 | ug/L | 0.89333 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl | 0.3 | PROPYZAMIDE_(PRONAMIDE) | . | 0.008 | 0.268 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89333 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.82444 | 0.091974 | 0.86 | 0.17333 | 0.12849
PROPYZAMIDE (PRONAMIDE) | 2033 | 82676GCM35 | 2013-02-22 | 2012-10-01 | 2050-09-30 | ug/L | 0.72 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl | 0.06 | PROPYZAMIDE_(PRONAMIDE) | . | 0.008 | 0.0432 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.82444 | 0.091974 | 0.86 | 0.17333 | 0.12849
PROPYZAMIDE (PRONAMIDE) | 2033 | 82676GCM35 | 2013-04-02 | 2012-10-01 | 2050-09-30 | ug/L | 0.86 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl | 0.15 | PROPYZAMIDE_(PRONAMIDE) | . | 0.008 | 0.129 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.82444 | 0.091974 | 0.86 | 0.17333 | 0.12849
PROPYZAMIDE (PRONAMIDE) | 2033 | 82676GCM35 | 2013-09-20 | 2012-10-01 | 2050-09-30 | ug/L | 0.905 | Spex Organics, ERA | T1130514013, 0318-13-02.2 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl | 0.08 | PROPYZAMIDE_(PRONAMIDE) | . | 0.008 | 0.0724 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.905 | SpT114013, ER03102.2 | Sp | ER | ER | T114013 | 03102.2 | 03102.2 | T114013 | 03102.2 | 03102.2 | Y | Recoverable Result | Y | 2 |  | 1 | 0.905 |  | 0.905 | 0 | 0
PROPYZAMIDE (PRONAMIDE) | 2033 | 82676GCM35 | 2013-11-09 | 2012-10-01 | 2050-09-30 | ug/L | 1.025 | Spex Organics, Supelco | T1130514013, LB99392 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl | 0.016 | PROPYZAMIDE_(PRONAMIDE) | . | 0.008 | 0.0164 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.025 | SpT114013, SuLB99392 | Sp | Su | Su | T114013 | LB99392 | LB99392 | T114013 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.025 |  | 1.025 | 0 | 0