## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
SIMAZINE | 2033 | 04035GCM35 | 2013-06-26 | 2010-10-01 | 2050-09-30 | ug/L | 1.21 | Abs, ChemService | 042413, 1473000 | Abs 042413: 20 µl & ChemService 1473000: 20 µl | 0.02 | SIMAZINE | . | 0.006 | 0.0242 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.21 | Ab042413, Ch1473000 | Ab | Ch | Ch | 042413 | 1473000 | 1473000 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.21 |  | 1.21 | 0 | 0
SIMAZINE | 2033 | 04035GCM35 | 2013-10-19 | 2010-10-01 | 2050-09-30 | ug/L | 1.13 | Abs, Spex Organics, Crescent | 042413, T1130514013, 10802AL | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl | 0.05 | SIMAZINE | . | 0.006 | 0.0565 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.13 | Ab042413, SpT114013, Cr10802AL | Ab | Sp | Cr | 042413 | T114013 | 10802AL |  | T114013 |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.13 |  | 1.13 | 0 | 0
SIMAZINE | 2033 | 04035GCM35 | 2011-01-07 | 2010-10-01 | 2050-09-30 | ug/L | 0.66487 | Abs | 080610 | Abs 080610: 40 µl | 0.088439 | SIMAZINE | . | 0.006 | 0.0588 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66487 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.88113 | 0.11468 | 0.93375 | 0.13742 | 0.10186
SIMAZINE | 2033 | 04035GCM35 | 2011-01-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.95889 | Abs | 080610 | Abs 080610: 80 µl | 0.17312 | SIMAZINE | . | 0.006 | 0.166 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95889 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.88113 | 0.11468 | 0.93375 | 0.13742 | 0.10186
SIMAZINE | 2033 | 04035GCM35 | 2011-02-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.93887 | Abs | 080610 | Abs 080610: 40 µl | 0.089043 | SIMAZINE | . | 0.006 | 0.0836 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93887 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.88113 | 0.11468 | 0.93375 | 0.13742 | 0.10186
SIMAZINE | 2033 | 04035GCM35 | 2011-03-16 | 2010-10-01 | 2050-09-30 | ug/L | 0.94047 | Abs | 080610 | Abs 080610: 80 µl | 0.17863 | SIMAZINE | . | 0.006 | 0.168 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94047 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.88113 | 0.11468 | 0.93375 | 0.13742 | 0.10186
SIMAZINE | 2033 | 04035GCM35 | 2011-05-03 | 2010-10-01 | 2050-09-30 | ug/L | 1.0607 | Abs | 080610 | Abs 080610: 40 µl | 0.089468 | SIMAZINE | . | 0.006 | 0.0949 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0607 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.88113 | 0.11468 | 0.93375 | 0.13742 | 0.10186
SIMAZINE | 2033 | 04035GCM35 | 2011-05-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.9827 | Abs | 080610 | Abs 080610: 80 µl | 0.18113 | SIMAZINE | . | 0.006 | 0.178 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9827 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.88113 | 0.11468 | 0.93375 | 0.13742 | 0.10186
SIMAZINE | 2033 | 04035GCM35 | 2011-08-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.70698 | Abs | 080610 | Abs 080610: 40 µl | 0.08996 | SIMAZINE | . | 0.006 | 0.0636 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70698 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.88113 | 0.11468 | 0.93375 | 0.13742 | 0.10186
SIMAZINE | 2033 | 04035GCM35 | 2011-10-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.77812 | Abs | 080610 | Abs 080610: 40 µl | 0.08996 | SIMAZINE | . | 0.006 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77812 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.88113 | 0.11468 | 0.93375 | 0.13742 | 0.10186
SIMAZINE | 2033 | 04035GCM35 | 2012-01-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.86483 | Abs | 080610 | Abs 080610: 40 µl | 0.08996 | SIMAZINE | . | 0.006 | 0.0778 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86483 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.88113 | 0.11468 | 0.93375 | 0.13742 | 0.10186
SIMAZINE | 2033 | 04035GCM35 | 2012-02-09 | 2010-10-01 | 2050-09-30 | ug/L | 0.93375 | Abs | 080610 | Abs 080610: 80 µl | 0.17992 | SIMAZINE | . | 0.006 | 0.168 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93375 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.88113 | 0.11468 | 0.93375 | 0.13742 | 0.10186
SIMAZINE | 2033 | 04035GCM35 | 2012-03-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.84149 | Abs | 080610 | Abs 080610: 40 µl | 0.08996 | SIMAZINE | . | 0.006 | 0.0757 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84149 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.88113 | 0.11468 | 0.93375 | 0.13742 | 0.10186
SIMAZINE | 2033 | 04035GCM35 | 2012-04-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.82148 | Abs | 080610 | Abs 080610: 40 µl | 0.08996 | SIMAZINE | . | 0.006 | 0.0739 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82148 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.88113 | 0.11468 | 0.93375 | 0.13742 | 0.10186
SIMAZINE | 2033 | 04035GCM35 | 2012-04-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.96154 | Abs | 080610 | Abs 080610: 80 µl | 0.17992 | SIMAZINE | . | 0.006 | 0.173 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96154 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.88113 | 0.11468 | 0.93375 | 0.13742 | 0.10186
SIMAZINE | 2033 | 04035GCM35 | 2011-01-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.96174 | Accu | 210061341 | Accu 210061341: 40 µl | 0.085262 | SIMAZINE | . | 0.006 | 0.082 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96174 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.9207 | 0.10013 | 0.91948 | 0.17299 | 0.12824
SIMAZINE | 2033 | 04035GCM35 | 2011-02-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.88788 | Accu | 210061341 | Accu 210061341: 80 µl | 0.1757 | SIMAZINE | . | 0.006 | 0.156 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88788 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.9207 | 0.10013 | 0.91948 | 0.17299 | 0.12824
SIMAZINE | 2033 | 04035GCM35 | 2011-02-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.82189 | Accu | 210061341 | Accu 210061341: 40 µl | 0.086873 | SIMAZINE | . | 0.006 | 0.0714 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82189 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.9207 | 0.10013 | 0.91948 | 0.17299 | 0.12824
SIMAZINE | 2033 | 04035GCM35 | 2011-04-07 | 2010-10-01 | 2050-09-30 | ug/L | 0.75659 | Accu | 210061341 | Accu 210061341: 40 µl | 0.088688 | SIMAZINE | . | 0.006 | 0.0671 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75658 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.9207 | 0.10013 | 0.91948 | 0.17299 | 0.12824
SIMAZINE | 2033 | 04035GCM35 | 2011-05-21 | 2010-10-01 | 2050-09-30 | ug/L | 1.0803 | Accu | 210061341 | Accu 210061341: 80 µl | 0.17587 | SIMAZINE | . | 0.006 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0803 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.9207 | 0.10013 | 0.91948 | 0.17299 | 0.12824
SIMAZINE | 2033 | 04035GCM35 | 2011-07-02 | 2010-10-01 | 2050-09-30 | ug/L | 0.90784 | Accu | 210061341 | Accu 210061341: 40 µl | 0.088121 | SIMAZINE | . | 0.006 | 0.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90784 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.9207 | 0.10013 | 0.91948 | 0.17299 | 0.12824
SIMAZINE | 2033 | 04035GCM35 | 2011-07-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.98097 | Accu | 210061341 | Accu 210061341: 40 µl | 0.08828 | SIMAZINE | . | 0.006 | 0.0866 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98097 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.9207 | 0.10013 | 0.91948 | 0.17299 | 0.12824
SIMAZINE | 2033 | 04035GCM35 | 2011-08-30 | 2010-10-01 | 2050-09-30 | ug/L | 1.0308 | Accu | 210061341 | Accu 210061341: 80 µl | 0.17656 | SIMAZINE | . | 0.006 | 0.182 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0308 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.9207 | 0.10013 | 0.91948 | 0.17299 | 0.12824
SIMAZINE | 2033 | 04035GCM35 | 2011-11-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.93113 | Accu | 210061341 | Accu 210061341: 40 µl | 0.08828 | SIMAZINE | . | 0.006 | 0.0822 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93113 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.9207 | 0.10013 | 0.91948 | 0.17299 | 0.12824
SIMAZINE | 2033 | 04035GCM35 | 2011-12-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.84391 | Accu | 210061341 | Accu 210061341: 80 µl | 0.17656 | SIMAZINE | . | 0.006 | 0.149 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84391 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.9207 | 0.10013 | 0.91948 | 0.17299 | 0.12824
SIMAZINE | 2033 | 04035GCM35 | 2012-03-02 | 2010-10-01 | 2050-09-30 | ug/L | 1.0308 | Accu | 210061341 | Accu 210061341: 80 µl | 0.17656 | SIMAZINE | . | 0.006 | 0.182 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0308 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.9207 | 0.10013 | 0.91948 | 0.17299 | 0.12824
SIMAZINE | 2033 | 04035GCM35 | 2012-03-27 | 2010-10-01 | 2050-09-30 | ug/L | 0.81445 | Accu | 210061341 | Accu 210061341: 40 µl | 0.08828 | SIMAZINE | . | 0.006 | 0.0719 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81445 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.9207 | 0.10013 | 0.91948 | 0.17299 | 0.12824
SIMAZINE | 2033 | 04035GCM35 | 2013-07-11 | 2010-10-01 | 2050-09-30 | ug/L | 1.055 | ChemService, ERA | 1473000, 0318-13-02.2 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl | 0.02 | SIMAZINE | . | 0.006 | 0.0211 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.055 | Ch1473000, ER03102.2 | Ch | ER | ER | 1473000 | 03102.2 | 03102.2 |  | 03102.2 | 03102.2 | Y | Recoverable Result | Y | 2 |  | 1 | 1.055 |  | 1.055 | 0 | 0
SIMAZINE | 2033 | 04035GCM35 | 2013-06-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.946 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl | 0.05 | SIMAZINE | . | 0.006 | 0.0473 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.946 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.943 | 0.0042426 | 0.943 | 0.006 | 0.0044477
SIMAZINE | 2033 | 04035GCM35 | 2014-01-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.94 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl | 0.02 | SIMAZINE | . | 0.006 | 0.0188 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.943 | 0.0042426 | 0.943 | 0.006 | 0.0044477
SIMAZINE | 2033 | 04035GCM35 | 2013-12-05 | 2010-10-01 | 2050-09-30 | ug/L | 1 | Crescent, ChemService, Cresc | 04CC101, 1473000, 10802AL | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl | 0.02 | SIMAZINE | . | 0.006 | 0.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | Cr04CC101, Ch1473000, Cr10802A | Cr | Ch | Cr | 04CC101 | 1473000 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1 |  | 1 | 0 | 0
SIMAZINE | 2033 | 04035GCM35 | 2013-09-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.03 | Crescent, Spex Organics | 04CC101, T1130514013 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl | 0.02 | SIMAZINE | . | 0.006 | 0.0206 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.03 | Cr04CC101, SpT114013 | Cr | Sp | Sp | 04CC101 | T114013 | T114013 |  | T114013 | T114013 | Y | Recoverable Result | Y | 2 |  | 1 | 1.03 |  | 1.03 | 0 | 0
SIMAZINE | 2033 | 04035GCM35 | 2009-07-23 | 2008-10-01 | 2009-09-30 | ug/L | 1.1864 | Crescent | 08HH019 | Crescent 08HH019: 40 µl | 0.26973 | SIMAZINE | . | 0.01 | 0.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1864 | Crescent 08HH019 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.1864 |  | 1.1864 | 0 | 0
SIMAZINE | 2033 | 04035GCM35 | 2010-02-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.87094 | NSI | 090109-01Pest | NSI 090109-01Pest: 40 µl | 0.082785 | SIMAZINE | . | 0.006 | 0.0721 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87093 | NSI 090109-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.79445 | 0.17057 | 0.77935 | 0.27812 | 0.20617
SIMAZINE | 2033 | 04035GCM35 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.62302 | NSI | 090109-01Pest | NSI 090109-01Pest: 20 µl | 0.039325 | SIMAZINE | . | 0.006 | 0.0245 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62302 | NSI 090109-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.79445 | 0.17057 | 0.77935 | 0.27812 | 0.20617
SIMAZINE | 2033 | 04035GCM35 | 2010-08-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.9961 | NSI | 090109-01Pest | NSI 090109-01Pest: 20 µl | 0.04096 | SIMAZINE | . | 0.006 | 0.0408 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9961 | NSI 090109-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.79445 | 0.17057 | 0.77935 | 0.27812 | 0.20617
SIMAZINE | 2033 | 04035GCM35 | 2010-10-27 | 2010-10-01 | 2050-09-30 | ug/L | 0.68777 | NSI | 090109-01Pest | NSI 090109-01Pest: 100 µl | 0.2021 | SIMAZINE | . | 0.006 | 0.139 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68777 | NSI 090109-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.79445 | 0.17057 | 0.77935 | 0.27812 | 0.20617
SIMAZINE | 2033 | 04035GCM35 | 2009-09-03 | 2008-10-01 | 2009-09-30 | ug/L | 0.91374 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | SIMAZINE | . | 0.01 | 0.068 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91374 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.91374 |  | 0.91374 | 0 | 0
SIMAZINE | 2033 | 04035GCM35 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.89474 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | SIMAZINE | . | 0.006 | 0.0347 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89474 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0227 | 0.1109 | 1.0834 | 0.19534 | 0.1448
SIMAZINE | 2033 | 04035GCM35 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 1.0901 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | SIMAZINE | . | 0.006 | 0.0442 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0901 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0227 | 0.1109 | 1.0834 | 0.19534 | 0.1448
SIMAZINE | 2033 | 04035GCM35 | 2010-12-16 | 2010-10-01 | 2050-09-30 | ug/L | 1.0834 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | SIMAZINE | . | 0.006 | 0.0438 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0834 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0227 | 0.1109 | 1.0834 | 0.19534 | 0.1448
SIMAZINE | 2033 | 04035GCM35 | 2011-01-20 | 2010-10-01 | 2050-09-30 | ug/L | 1.0625 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | SIMAZINE | . | 0.006 | 0.107 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0625 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.94074 | 0.12973 | 0.95427 | 0.21638 | 0.1604
SIMAZINE | 2033 | 04035GCM35 | 2011-03-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.79192 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 25 µl | 0.02475 | SIMAZINE | . | 0.006 | 0.0196 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79192 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.94074 | 0.12973 | 0.95427 | 0.21638 | 0.1604
SIMAZINE | 2033 | 04035GCM35 | 2011-04-20 | 2010-10-01 | 2050-09-30 | ug/L | 1.0354 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.099483 | SIMAZINE | . | 0.006 | 0.103 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0354 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.94074 | 0.12973 | 0.95427 | 0.21638 | 0.1604
SIMAZINE | 2033 | 04035GCM35 | 2011-06-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.87319 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 75 µl | 0.074096 | SIMAZINE | . | 0.006 | 0.0647 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87319 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.94074 | 0.12973 | 0.95427 | 0.21638 | 0.1604
SIMAZINE | 2033 | 04035GCM35 | 2009-09-15 | 2008-10-01 | 2009-09-30 | ug/L | 1.0459 | Protocol | D1080908018 | Protocol D1080908018: 40 µl | 0.26675 | SIMAZINE | . | 0.01 | 0.279 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0459 | Protocol D1080908018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.0459 |  | 1.0459 | 0 | 0
SIMAZINE | 2033 | 04035GCM35 | 2012-09-26 | 2010-10-01 | 2050-09-30 | ug/L | 0.895 | Restek, Abs | A088380, 052412 | Restek A088380: 20 µl & Abs 052412: 20 µl | 0.02 | SIMAZINE | . | 0.006 | 0.0179 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.895 | ReA088380, Ab052412 | Re | Ab | Ab | A088380 | 052412 | 052412 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.825 | 0.098995 | 0.825 | 0.14 | 0.10378
SIMAZINE | 2033 | 04035GCM35 | 2013-03-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.755 | Restek, Abs | A088380, 052412 | Restek A088380: 20 µl & Abs 052412: 20 µl | 0.02 | SIMAZINE | . | 0.006 | 0.0151 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.755 | ReA088380, Ab052412 | Re | Ab | Ab | A088380 | 052412 | 052412 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.825 | 0.098995 | 0.825 | 0.14 | 0.10378
SIMAZINE | 2033 | 04035GCM35 | 2012-11-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.89 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl | 0.05 | SIMAZINE | . | 0.006 | 0.0445 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.993 | 0.17067 | 0.899 | 0.3 | 0.22239
SIMAZINE | 2033 | 04035GCM35 | 2013-02-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.899 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl | 0.1 | SIMAZINE | . | 0.006 | 0.0899 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.899 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.993 | 0.17067 | 0.899 | 0.3 | 0.22239
SIMAZINE | 2033 | 04035GCM35 | 2013-05-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.19 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl | 0.02 | SIMAZINE | . | 0.006 | 0.0238 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.19 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.993 | 0.17067 | 0.899 | 0.3 | 0.22239
SIMAZINE | 2033 | 04035GCM35 | 2012-07-14 | 2010-10-01 | 2050-09-30 | ug/L | 1.01 | Restek, Supelco | A088380, LB92783 | Restek A088380: 20 µl & Supelco LB92783: 20 µl | 0.02 | SIMAZINE | . | 0.006 | 0.0202 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.01 | ReA088380, SuLB92783 | Re | Su | Su | A088380 | LB92783 | LB92783 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.01 |  | 1.01 | 0 | 0
SIMAZINE | 2033 | 04035GCM35 | 2013-07-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.97 | Restek, Abs | A093651, 012513 | Restek A093651: 20 µl & Abs 012513: 20 µl | 0.02 | SIMAZINE | . | 0.006 | 0.0194 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97 | ReA093651, Ab012513 | Re | Ab | Ab | A093651 | 012513 | 012513 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.97 |  | 0.97 | 0 | 0
SIMAZINE | 2033 | 04035GCM35 | 2013-09-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.922 | Restek, Abs, Crescent | A093651, 012513, 10802AL | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl | 0.05 | SIMAZINE | . | 0.006 | 0.0461 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.922 | ReA093651, Ab012513, Cr10802AL | Re | Ab | Cr | A093651 | 012513 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.922 |  | 0.922 | 0 | 0
SIMAZINE | 2033 | 04035GCM35 | 2013-11-04 | 2010-10-01 | 2050-09-30 | ug/L | 0.86 | Restek, Abs, Crescent | A093651, 052412, 10802AL | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl | 0.02 | SIMAZINE | . | 0.006 | 0.0172 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86 | ReA093651, Ab052412, Cr10802AL | Re | Ab | Cr | A093651 | 052412 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.9275 | 0.095459 | 0.9275 | 0.135 | 0.10007
SIMAZINE | 2033 | 04035GCM35 | 2014-01-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.995 | Restek, Abs, Crescent | A093651, 052412, 10802AL | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl | 0.02 | SIMAZINE | . | 0.006 | 0.0199 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.995 | ReA093651, Ab052412, Cr10802AL | Re | Ab | Cr | A093651 | 052412 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.9275 | 0.095459 | 0.9275 | 0.135 | 0.10007
SIMAZINE | 2033 | 04035GCM35 | 2012-06-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.866 | Restek | A088380 | Restek A088380: 50 µl | 0.05 | SIMAZINE | . | 0.006 | 0.0433 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.866 | Restek A088380 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.866 |  | 0.866 | 0 | 0
SIMAZINE | 2033 | 04035GCM35 | 2012-08-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.82082 | Spex Organics, Crescent | T1120530013, 05BB029 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl | 0.01998 | SIMAZINE | . | 0.006 | 0.0164 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82082 | SpT110013, Cr05BB029 | Sp | Cr | Cr | T110013 | 05BB029 | 05BB029 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.91091 | 0.12741 | 0.91091 | 0.18018 | 0.13357
SIMAZINE | 2033 | 04035GCM35 | 2012-12-20 | 2010-10-01 | 2050-09-30 | ug/L | 1.001 | Spex Organics, Crescent | T1120530013, 05BB029 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl | 0.0999 | SIMAZINE | . | 0.006 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.001 | SpT110013, Cr05BB029 | Sp | Cr | Cr | T110013 | 05BB029 | 05BB029 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.91091 | 0.12741 | 0.91091 | 0.18018 | 0.13357
SIMAZINE | 2033 | 04035GCM35 | 2012-09-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.88589 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl | 0.01998 | SIMAZINE | . | 0.006 | 0.0177 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88589 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.77728 | 0.1536 | 0.77728 | 0.21722 | 0.16102
SIMAZINE | 2033 | 04035GCM35 | 2013-01-15 | 2010-10-01 | 2050-09-30 | ug/L | 0.66867 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl | 0.04995 | SIMAZINE | . | 0.006 | 0.0334 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66867 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.77728 | 0.1536 | 0.77728 | 0.21722 | 0.16102
SIMAZINE | 2033 | 04035GCM35 | 2012-11-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.74474 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl | 0.0999 | SIMAZINE | . | 0.006 | 0.0744 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74474 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.7007 | 0.047334 | 0.70671 | 0.094094 | 0.069751
SIMAZINE | 2033 | 04035GCM35 | 2013-02-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.65065 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl | 0.01998 | SIMAZINE | . | 0.006 | 0.013 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65065 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.7007 | 0.047334 | 0.70671 | 0.094094 | 0.069751
SIMAZINE | 2033 | 04035GCM35 | 2013-04-02 | 2010-10-01 | 2050-09-30 | ug/L | 0.70671 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl | 0.04995 | SIMAZINE | . | 0.006 | 0.0353 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70671 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.7007 | 0.047334 | 0.70671 | 0.094094 | 0.069751
SIMAZINE | 2033 | 04035GCM35 | 2013-09-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.926 | Spex Organics, ERA | T1130514013, 0318-13-02.2 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl | 0.1 | SIMAZINE | . | 0.006 | 0.0926 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.926 | SpT114013, ER03102.2 | Sp | ER | ER | T114013 | 03102.2 | 03102.2 | T114013 | 03102.2 | 03102.2 | Y | Recoverable Result | Y | 2 |  | 1 | 0.926 |  | 0.926 | 0 | 0
SIMAZINE | 2033 | 04035GCM35 | 2013-11-09 | 2010-10-01 | 2050-09-30 | ug/L | 0.95 | Spex Organics, Supelco | T1130514013, LB99392 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl | 0.02 | SIMAZINE | . | 0.006 | 0.019 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95 | SpT114013, SuLB99392 | Sp | Su | Su | T114013 | LB99392 | LB99392 | T114013 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.95 |  | 0.95 | 0 | 0
SIMAZINE | 2033 | 04035GCM35 | 2010-02-06 | 2009-10-01 | 2010-09-30 | ug/L | 0.65429 | Supelco | LB69639 | Supelco LB69639: 20 µl | 0.039279 | SIMAZINE | . | 0.006 | 0.0257 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65429 | Supelco LB69639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.88697 | 0.18295 | 0.90792 | 0.27878 | 0.20666
SIMAZINE | 2033 | 04035GCM35 | 2010-04-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.97497 | Supelco | LB69639 | Supelco LB69639: 20 µl | 0.039078 | SIMAZINE | E | 0.006 | 0.0381 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97497 | Supelco LB69639 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.88697 | 0.18295 | 0.90792 | 0.27878 | 0.20666
SIMAZINE | 2033 | 04035GCM35 | 2010-07-07 | 2009-10-01 | 2010-09-30 | ug/L | 0.84087 | Supelco | LB69639 | Supelco LB69639: 40 µl | 0.076944 | SIMAZINE | . | 0.006 | 0.0647 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84087 | Supelco LB69639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.88697 | 0.18295 | 0.90792 | 0.27878 | 0.20666
SIMAZINE | 2033 | 04035GCM35 | 2010-09-23 | 2009-10-01 | 2010-09-30 | ug/L | 1.0778 | Supelco | LB69639 | Supelco LB69639: 40 µl | 0.078496 | SIMAZINE | . | 0.006 | 0.0846 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0778 | Supelco LB69639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.88697 | 0.18295 | 0.90792 | 0.27878 | 0.20666