## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
TEBUTHIURON | 2033 | 82670GCM35 | 2013-06-26 | 2010-10-01 | 2050-09-30 | ug/L | 1.9576 | Abs, ChemService | 042413, 1473000 | Abs 042413: 20 µl & ChemService 1473000: 20 µl | 0.0802 | TEBUTHIURON | . | 0.028 | 0.157 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.9576 | Ab042413, Ch1473000 | Ab | Ch | Ch | 042413 | 1473000 | 1473000 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.9576 |  | 1.9576 | 0 | 0
TEBUTHIURON | 2033 | 82670GCM35 | 2013-10-19 | 2010-10-01 | 2050-09-30 | ug/L | 1.5062 | Abs, Spex Organics, Crescent | 042413, T1130514013, 10802AL | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl | 0.2005 | TEBUTHIURON | . | 0.028 | 0.302 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5062 | Ab042413, SpT114013, Cr10802AL | Ab | Sp | Cr | 042413 | T114013 | 10802AL |  | T114013 |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.5062 |  | 1.5062 | 0 | 0
TEBUTHIURON | 2033 | 82670GCM35 | 2012-12-06 | 2010-10-01 | 2050-09-30 | ug/L | 1.099 | Abs, ERA | 052412, 0507-12-04.2 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl | 0.303 | TEBUTHIURON | . | 0.028 | 0.333 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.099 | Ab052412, ER05004.2 | Ab | ER | ER | 052412 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 1.0215 | 0.10968 | 1.0215 | 0.15512 | 0.11499
TEBUTHIURON | 2033 | 82670GCM35 | 2013-04-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.94389 | Abs, ERA | 052412, 0507-12-04.2 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl | 0.1515 | TEBUTHIURON | . | 0.028 | 0.143 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94389 | Ab052412, ER05004.2 | Ab | ER | ER | 052412 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 1.0215 | 0.10968 | 1.0215 | 0.15512 | 0.11499
TEBUTHIURON | 2033 | 82670GCM35 | 2012-08-14 | 2010-10-01 | 2050-09-30 | ug/L | 2.2937 | Abs, Supelco | 052412, LB92783 | Abs 052412: 20 µl & Supelco LB92783: 20 µl | 0.0606 | TEBUTHIURON | E | 0.028 | 0.139 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2 | Ab052412, SuLB92783 | Ab | Su | Su | 052412 | LB92783 | LB92783 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 2 |  | 2 | 0 | 0 | 2
TEBUTHIURON | 2033 | 82670GCM35 | 2012-06-16 | 2010-10-01 | 2050-09-30 | ug/L | 1.5314 | Abs | 052412 | Abs 052412: 20 µl | 0.0606 | TEBUTHIURON | . | 0.028 | 0.0928 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5314 | Abs 052412 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.5314 |  | 1.5314 | 0 | 0
TEBUTHIURON | 2033 | 82670GCM35 | 2013-12-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.2023 | Crescent, ChemService, Cresc | 04CC101, 1473000, 10802AL | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl | 0.0796 | TEBUTHIURON | . | 0.028 | 0.0957 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2023 | Cr04CC101, Ch1473000, Cr10802A | Cr | Ch | Cr | 04CC101 | 1473000 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.2023 |  | 1.2023 | 0 | 0
TEBUTHIURON | 2033 | 82670GCM35 | 2013-09-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.6332 | Crescent, Spex Organics | 04CC101, T1130514013 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl | 0.0796 | TEBUTHIURON | . | 0.028 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.6332 | Cr04CC101, SpT114013 | Cr | Sp | Sp | 04CC101 | T114013 | T114013 |  | T114013 | T114013 | Y | Recoverable Result | Y | 2 |  | 1 | 1.6332 |  | 1.6332 | 0 | 0
TEBUTHIURON | 2033 | 82670GCM35 | 2012-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.5017 | Crescent, ERA | 05BB029, 0507-12-04.2 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl | 0.0598 | TEBUTHIURON | . | 0.028 | 0.0898 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5017 | Cr05BB029, ER05004.2 | Cr | ER | ER | 05BB029 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 1.2818 | 0.31099 | 1.2818 | 0.4398 | 0.32602
TEBUTHIURON | 2033 | 82670GCM35 | 2013-03-07 | 2010-10-01 | 2050-09-30 | ug/L | 1.0619 | Crescent, ERA | 05BB029, 0507-12-04.2 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl | 0.0598 | TEBUTHIURON | . | 0.028 | 0.0635 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0619 | Cr05BB029, ER05004.2 | Cr | ER | ER | 05BB029 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 1.2818 | 0.31099 | 1.2818 | 0.4398 | 0.32602
TEBUTHIURON | 2033 | 82670GCM35 | 2013-09-24 | 2010-10-01 | 2050-09-30 | ug/L | 1.4065 | ERA, Abs, Crescent | 0318-13-02.2, 042413, 10802AL | ERA 0318-13-02.2: 50 µl & Abs 042413: 50 µl & Crescent 10802AL: 10 µl | 0.2005 | TEBUTHIURON | . | 0.028 | 0.282 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4065 | ER03102.2, Ab042413, Cr10802AL | ER | Ab | Cr | 03102.2 | 042413 | 10802AL | 03102.2 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0642 | 0.48404 | 1.0642 | 0.68454 | 0.50744
TEBUTHIURON | 2033 | 82670GCM35 | 2014-01-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.72195 | ERA, Abs, Crescent | 0318-13-02.2, 042413, 10802AL | ERA 0318-13-02.2: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl | 0.0802 | TEBUTHIURON | . | 0.028 | 0.0579 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72195 | ER03102.2, Ab042413, Cr10802AL | ER | Ab | Cr | 03102.2 | 042413 | 10802AL | 03102.2 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0642 | 0.48404 | 1.0642 | 0.68454 | 0.50744
TEBUTHIURON | 2033 | 82670GCM35 | 2013-06-11 | 2010-10-01 | 2050-09-30 | ug/L | 1.3191 | ERA, Crescent | 0318-13-02.2, 04CC101 | ERA 0318-13-02.2: 20 µl & Crescent 04CC101: 20 µl | 0.0796 | TEBUTHIURON | . | 0.028 | 0.105 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3191 | ER03102.2, Cr04CC101 | ER | Cr | Cr | 03102.2 | 04CC101 | 04CC101 | 03102.2 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.3191 |  | 1.3191 | 0 | 0
TEBUTHIURON | 2033 | 82670GCM35 | 2009-09-03 | 2008-10-01 | 2009-09-30 | ug/L | 1.384 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | TEBUTHIURON | . | 0.02 | 0.103 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.384 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.384 |  | 1.384 | 0 | 0
TEBUTHIURON | 2033 | 82670GCM35 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 2.1969 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | TEBUTHIURON | . | 0.028 | 0.0852 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.8424 | 0.15778 | 1.8428 | 0.31555 | 0.23392 | 2
TEBUTHIURON | 2033 | 82670GCM35 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 1.6844 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | TEBUTHIURON | . | 0.028 | 0.0683 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.6844 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.8424 | 0.15778 | 1.8428 | 0.31555 | 0.23392
TEBUTHIURON | 2033 | 82670GCM35 | 2010-12-16 | 2010-10-01 | 2050-09-30 | ug/L | 1.8428 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | TEBUTHIURON | . | 0.028 | 0.0745 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.8428 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.8424 | 0.15778 | 1.8428 | 0.31555 | 0.23392
TEBUTHIURON | 2033 | 82670GCM35 | 2011-01-20 | 2010-10-01 | 2050-09-30 | ug/L | 1.6782 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | TEBUTHIURON | E | 0.028 | 0.169 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.6782 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 1.804 | 0.15227 | 1.7688 | 0.24102 | 0.17867
TEBUTHIURON | 2033 | 82670GCM35 | 2011-03-05 | 2010-10-01 | 2050-09-30 | ug/L | 2.1091 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 25 µl | 0.02475 | TEBUTHIURON | E | 0.028 | 0.0522 | MICROGRAMS PER LITER |  |  | < Reporting Level | 2 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 1 |  | 4 | 1.804 | 0.15227 | 1.7688 | 0.24102 | 0.17867 | 2
TEBUTHIURON | 2033 | 82670GCM35 | 2011-04-20 | 2010-10-01 | 2050-09-30 | ug/L | 1.6887 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.099483 | TEBUTHIURON | . | 0.028 | 0.168 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.6887 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.804 | 0.15227 | 1.7688 | 0.24102 | 0.17867
TEBUTHIURON | 2033 | 82670GCM35 | 2011-06-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.849 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 75 µl | 0.074096 | TEBUTHIURON | E | 0.028 | 0.137 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.849 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 1.804 | 0.15227 | 1.7688 | 0.24102 | 0.17867
TEBUTHIURON | 2033 | 82670GCM35 | 2012-09-26 | 2010-10-01 | 2050-09-30 | ug/L | 1.0132 | Restek, Abs | A088380, 052412 | Restek A088380: 20 µl & Abs 052412: 20 µl | 0.0606 | TEBUTHIURON | . | 0.028 | 0.0614 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0132 | ReA088380, Ab052412 | Re | Ab | Ab | A088380 | 052412 | 052412 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0759 | 0.08868 | 1.0759 | 0.12541 | 0.092967
TEBUTHIURON | 2033 | 82670GCM35 | 2013-03-18 | 2010-10-01 | 2050-09-30 | ug/L | 1.1386 | Restek, Abs | A088380, 052412 | Restek A088380: 20 µl & Abs 052412: 20 µl | 0.0606 | TEBUTHIURON | . | 0.028 | 0.069 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1386 | ReA088380, Ab052412 | Re | Ab | Ab | A088380 | 052412 | 052412 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0759 | 0.08868 | 1.0759 | 0.12541 | 0.092967
TEBUTHIURON | 2033 | 82670GCM35 | 2012-11-14 | 2010-10-01 | 2050-09-30 | ug/L | 1.1639 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl | 0.1495 | TEBUTHIURON | . | 0.028 | 0.174 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1639 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 1.2687 | 0.4278 | 1.1639 | 0.83612 | 0.61981
TEBUTHIURON | 2033 | 82670GCM35 | 2013-02-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.90301 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl | 0.299 | TEBUTHIURON | . | 0.028 | 0.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90301 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 1.2687 | 0.4278 | 1.1639 | 0.83612 | 0.61981
TEBUTHIURON | 2033 | 82670GCM35 | 2013-05-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.7391 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl | 0.0598 | TEBUTHIURON | . | 0.028 | 0.104 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.7391 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 1.2687 | 0.4278 | 1.1639 | 0.83612 | 0.61981
TEBUTHIURON | 2033 | 82670GCM35 | 2013-07-23 | 2010-10-01 | 2050-09-30 | ug/L | 2.0462 | Restek, Abs | A093651, 012513 | Restek A093651: 20 µl & Abs 012513: 20 µl | 0.0606 | TEBUTHIURON | E | 0.028 | 0.124 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2 | ReA093651, Ab012513 | Re | Ab | Ab | A093651 | 012513 | 012513 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 2 |  | 2 | 0 | 0 | 2
TEBUTHIURON | 2033 | 82670GCM35 | 2013-09-14 | 2010-10-01 | 2050-09-30 | ug/L | 1.2079 | Restek, Abs, Crescent | A093651, 012513, 10802AL | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl | 0.1515 | TEBUTHIURON | . | 0.028 | 0.183 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2079 | ReA093651, Ab012513, Cr10802AL | Re | Ab | Cr | A093651 | 012513 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.2079 |  | 1.2079 | 0 | 0
TEBUTHIURON | 2033 | 82670GCM35 | 2013-11-04 | 2010-10-01 | 2050-09-30 | ug/L | 1.505 | Restek, Abs, Crescent | A093651, 052412, 10802AL | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl | 0.0606 | TEBUTHIURON | . | 0.028 | 0.0912 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.505 | ReA093651, Ab052412, Cr10802AL | Re | Ab | Cr | A093651 | 052412 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.288 | 0.30688 | 1.288 | 0.43399 | 0.32171
TEBUTHIURON | 2033 | 82670GCM35 | 2014-01-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.071 | Restek, Abs, Crescent | A093651, 052412, 10802AL | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl | 0.0606 | TEBUTHIURON | . | 0.028 | 0.0649 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.071 | ReA093651, Ab052412, Cr10802AL | Re | Ab | Cr | A093651 | 052412 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.288 | 0.30688 | 1.288 | 0.43399 | 0.32171
TEBUTHIURON | 2033 | 82670GCM35 | 2009-08-25 | 2008-10-01 | 2009-09-30 | ug/L | 1.3207 | Restek | A063025 | Restek A063025: 40 µl | 0.25593 | TEBUTHIURON | . | 0.02 | 0.338 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3207 | Restek A063025 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.326 | 0.0075702 | 1.326 | 0.010706 | 0.0079362
TEBUTHIURON | 2033 | 82670GCM35 | 2009-12-11 | 2009-10-01 | 2010-09-30 | ug/L | 1.3314 | Restek | A063025 | Restek A063025: 25 µl | 0.15848 | TEBUTHIURON | . | 0.028 | 0.211 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3314 | Restek A063025 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.326 | 0.0075702 | 1.326 | 0.010706 | 0.0079362
TEBUTHIURON | 2033 | 82670GCM35 | 2011-01-09 | 2010-10-01 | 2050-09-30 | ug/L | 1.6834 | Restek | A075606 | Restek A075606: 40 µl | 0.065344 | TEBUTHIURON | . | 0.028 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.6834 | Restek A075606 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.4352 | 0.28182 | 1.4881 | 0.36173 | 0.26815
TEBUTHIURON | 2033 | 82670GCM35 | 2011-01-28 | 2010-10-01 | 2050-09-30 | ug/L | 1.2352 | Restek | A075606 | Restek A075606: 80 µl | 0.1352 | TEBUTHIURON | . | 0.028 | 0.167 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2352 | Restek A075606 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.4352 | 0.28182 | 1.4881 | 0.36173 | 0.26815
TEBUTHIURON | 2033 | 82670GCM35 | 2011-03-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.5347 | Restek | A075606 | Restek A075606: 40 µl | 0.068418 | TEBUTHIURON | E | 0.028 | 0.105 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5347 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 |  | 12 | 1.4352 | 0.28182 | 1.4881 | 0.36173 | 0.26815
TEBUTHIURON | 2033 | 82670GCM35 | 2011-04-23 | 2010-10-01 | 2050-09-30 | ug/L | 1.7094 | Restek | A075606 | Restek A075606: 40 µl | 0.067858 | TEBUTHIURON | E | 0.028 | 0.116 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.7094 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 |  | 12 | 1.4352 | 0.28182 | 1.4881 | 0.36173 | 0.26815
TEBUTHIURON | 2033 | 82670GCM35 | 2011-06-20 | 2010-10-01 | 2050-09-30 | ug/L | 1.7212 | Restek | A075606 | Restek A075606: 80 µl | 0.13247 | TEBUTHIURON | E | 0.028 | 0.228 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.7212 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 |  | 12 | 1.4352 | 0.28182 | 1.4881 | 0.36173 | 0.26815
TEBUTHIURON | 2033 | 82670GCM35 | 2011-08-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.4122 | Restek | A075606 | Restek A075606: 40 µl | 0.0672 | TEBUTHIURON | E | 0.028 | 0.0949 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4122 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 |  | 12 | 1.4352 | 0.28182 | 1.4881 | 0.36173 | 0.26815
TEBUTHIURON | 2033 | 82670GCM35 | 2011-09-01 | 2010-10-01 | 2050-09-30 | ug/L | 1.2277 | Restek | A075606 | Restek A075606: 80 µl | 0.1344 | TEBUTHIURON | E | 0.028 | 0.165 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2277 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 |  | 12 | 1.4352 | 0.28182 | 1.4881 | 0.36173 | 0.26815
TEBUTHIURON | 2033 | 82670GCM35 | 2011-09-13 | 2010-10-01 | 2050-09-30 | ug/L | 0.72396 | Restek | A075606 | Restek A075606: 80 µl | 0.1344 | TEBUTHIURON | E | 0.028 | 0.0973 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72396 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 |  | 12 | 1.4352 | 0.28182 | 1.4881 | 0.36173 | 0.26815
TEBUTHIURON | 2033 | 82670GCM35 | 2011-11-01 | 2010-10-01 | 2050-09-30 | ug/L | 1.4435 | Restek | A075606 | Restek A075606: 80 µl | 0.1344 | TEBUTHIURON | . | 0.028 | 0.194 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4435 | Restek A075606 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.4352 | 0.28182 | 1.4881 | 0.36173 | 0.26815
TEBUTHIURON | 2033 | 82670GCM35 | 2011-12-04 | 2010-10-01 | 2050-09-30 | ug/L | 1.5327 | Restek | A075606 | Restek A075606: 40 µl | 0.0672 | TEBUTHIURON | . | 0.028 | 0.103 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5327 | Restek A075606 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.4352 | 0.28182 | 1.4881 | 0.36173 | 0.26815
TEBUTHIURON | 2033 | 82670GCM35 | 2012-02-14 | 2010-10-01 | 2050-09-30 | ug/L | 1.6369 | Restek | A075606 | Restek A075606: 40 µl | 0.0672 | TEBUTHIURON | E | 0.028 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.6369 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 |  | 12 | 1.4352 | 0.28182 | 1.4881 | 0.36173 | 0.26815
TEBUTHIURON | 2033 | 82670GCM35 | 2012-05-15 | 2010-10-01 | 2050-09-30 | ug/L | 1.3616 | Restek | A075606 | Restek A075606: 80 µl | 0.1344 | TEBUTHIURON | . | 0.028 | 0.183 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3616 | Restek A075606 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.4352 | 0.28182 | 1.4881 | 0.36173 | 0.26815
TEBUTHIURON | 2033 | 82670GCM35 | 2012-08-29 | 2010-10-01 | 2050-09-30 | ug/L | 1.1957 | Spex Organics, Crescent | T1120530013, 05BB029 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl | 0.0598 | TEBUTHIURON | E | 0.028 | 0.0715 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1957 | SpT110013, Cr05BB029 | Sp | Cr | Cr | T110013 | 05BB029 | 05BB029 | T110013 |  |  | Y | Estimated Values | Y | 2 |  | 2 | 1.1413 | 0.076859 | 1.1413 | 0.1087 | 0.080575
TEBUTHIURON | 2033 | 82670GCM35 | 2012-12-20 | 2010-10-01 | 2050-09-30 | ug/L | 1.087 | Spex Organics, Crescent | T1120530013, 05BB029 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl | 0.299 | TEBUTHIURON | . | 0.028 | 0.325 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.087 | SpT110013, Cr05BB029 | Sp | Cr | Cr | T110013 | 05BB029 | 05BB029 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.1413 | 0.076859 | 1.1413 | 0.1087 | 0.080575
TEBUTHIURON | 2033 | 82670GCM35 | 2010-06-16 | 2009-10-01 | 2010-09-30 | ug/L | 1.5574 | Spex Organics | T1090901009 | Spex Organics T1090901009: 20 µl | 0.11044 | TEBUTHIURON | . | 0.028 | 0.172 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5574 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.3047 | 0.2553 | 1.3507 | 0.36425 | 0.27002
TEBUTHIURON | 2033 | 82670GCM35 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 1.2852 | Spex Organics | T1090901009 | Spex Organics T1090901009: 100 µl | 0.55556 | TEBUTHIURON | . | 0.028 | 0.714 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2852 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.3047 | 0.2553 | 1.3507 | 0.36425 | 0.27002
TEBUTHIURON | 2033 | 82670GCM35 | 2010-09-30 | 2009-10-01 | 2010-09-30 | ug/L | 1.4163 | Spex Organics | T1090901009 | Spex Organics T1090901009: 20 µl | 0.11227 | TEBUTHIURON | . | 0.028 | 0.159 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4163 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.3047 | 0.2553 | 1.3507 | 0.36425 | 0.27002
TEBUTHIURON | 2033 | 82670GCM35 | 2010-12-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.95993 | Spex Organics | T1090901009 | Spex Organics T1090901009: 40 µl | 0.22606 | TEBUTHIURON | . | 0.028 | 0.217 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95993 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.3047 | 0.2553 | 1.3507 | 0.36425 | 0.27002
TEBUTHIURON | 2033 | 82670GCM35 | 2012-10-18 | 2010-10-01 | 2050-09-30 | ug/L | 1.0957 | Supelco, Abs | LB92783, 052412 | Supelco LB92783: 50 µl & Abs 052412: 50 µl | 0.1515 | TEBUTHIURON | E | 0.028 | 0.166 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0957 | SuLB92783, Ab052412 | Su | Ab | Ab | LB92783 | 052412 | 052412 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 1.1089 | 0.018669 | 1.1089 | 0.026403 | 0.019572
TEBUTHIURON | 2033 | 82670GCM35 | 2013-01-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.1221 | Supelco, Abs | LB92783, 052412 | Supelco LB92783: 50 µl & Abs 052412: 50 µl | 0.1515 | TEBUTHIURON | . | 0.028 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1221 | SuLB92783, Ab052412 | Su | Ab | Ab | LB92783 | 052412 | 052412 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.1089 | 0.018669 | 1.1089 | 0.026403 | 0.019572
TEBUTHIURON | 2033 | 82670GCM35 | 2013-11-23 | 2010-10-01 | 2050-09-30 | ug/L | 1.202 | Supelco, Abs, Crescent | LB99392, 042413, 10802AL | Supelco LB99392: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl | 0.0802 | TEBUTHIURON | . | 0.028 | 0.0964 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.202 | SuLB99392, Ab042413, Cr10802AL | Su | Ab | Cr | LB99392 | 042413 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.202 |  | 1.202 | 0 | 0
TEBUTHIURON | 2033 | 82670GCM35 | 2013-08-19 | 2010-10-01 | 2050-09-30 | ug/L | 1.5779 | Supelco, Crescent | LB99392, 04CC101 | Supelco LB99392: 50 µl & Crescent 04CC101: 50 µl | 0.199 | TEBUTHIURON | E | 0.028 | 0.314 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5779 | SuLB99392, Cr04CC101 | Su | Cr | Cr | LB99392 | 04CC101 | 04CC101 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 1.5779 |  | 1.5779 | 0 | 0
TEBUTHIURON | 2033 | 82670GCM35 | 2009-09-29 | 2008-10-01 | 2009-09-30 | ug/L | 1.29 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.15736 | TEBUTHIURON | . | 0.02 | 0.203 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.29 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.5824 | 0.41342 | 1.5824 | 0.58467 | 0.43341
TEBUTHIURON | 2033 | 82670GCM35 | 2010-01-27 | 2009-10-01 | 2010-09-30 | ug/L | 1.8747 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.15683 | TEBUTHIURON | . | 0.028 | 0.294 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.8747 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.5824 | 0.41342 | 1.5824 | 0.58467 | 0.43341
TEBUTHIURON | 2033 | 82670GCM35 | 2011-01-18 | 2010-10-01 | 2050-09-30 | ug/L | 1.537 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.067012 | TEBUTHIURON | . | 0.028 | 0.103 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.537 | Supelco LB77168 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.4471 | 0.2755 | 1.3988 | 0.42411 | 0.31439
TEBUTHIURON | 2033 | 82670GCM35 | 2011-02-09 | 2010-10-01 | 2050-09-30 | ug/L | 1.1255 | Supelco | LB77168 | Supelco LB77168: 80 µl | 0.12972 | TEBUTHIURON | E | 0.028 | 0.146 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1255 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 |  | 11 | 1.4471 | 0.2755 | 1.3988 | 0.42411 | 0.31439
TEBUTHIURON | 2033 | 82670GCM35 | 2011-03-30 | 2010-10-01 | 2050-09-30 | ug/L | 1.2865 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.06716 | TEBUTHIURON | . | 0.028 | 0.0864 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2865 | Supelco LB77168 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.4471 | 0.2755 | 1.3988 | 0.42411 | 0.31439
TEBUTHIURON | 2033 | 82670GCM35 | 2011-05-25 | 2010-10-01 | 2050-09-30 | ug/L | 1.77 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.068362 | TEBUTHIURON | . | 0.028 | 0.121 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.77 | Supelco LB77168 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.4471 | 0.2755 | 1.3988 | 0.42411 | 0.31439
TEBUTHIURON | 2033 | 82670GCM35 | 2011-07-14 | 2010-10-01 | 2050-09-30 | ug/L | 1.2574 | Supelco | LB77168 | Supelco LB77168: 80 µl | 0.1344 | TEBUTHIURON | E | 0.028 | 0.169 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2574 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 |  | 11 | 1.4471 | 0.2755 | 1.3988 | 0.42411 | 0.31439
TEBUTHIURON | 2033 | 82670GCM35 | 2011-07-20 | 2010-10-01 | 2050-09-30 | ug/L | 1.6667 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.0672 | TEBUTHIURON | E | 0.028 | 0.112 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.6667 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 |  | 11 | 1.4471 | 0.2755 | 1.3988 | 0.42411 | 0.31439
TEBUTHIURON | 2033 | 82670GCM35 | 2011-09-24 | 2010-10-01 | 2050-09-30 | ug/L | 1.2783 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.0672 | TEBUTHIURON | . | 0.028 | 0.0859 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2783 | Supelco LB77168 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.4471 | 0.2755 | 1.3988 | 0.42411 | 0.31439
TEBUTHIURON | 2033 | 82670GCM35 | 2011-10-02 | 2010-10-01 | 2050-09-30 | ug/L | 1.0417 | Supelco | LB77168 | Supelco LB77168: 80 µl | 0.1344 | TEBUTHIURON | . | 0.028 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0417 | Supelco LB77168 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.4471 | 0.2755 | 1.3988 | 0.42411 | 0.31439
TEBUTHIURON | 2033 | 82670GCM35 | 2011-11-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.3988 | Supelco | LB77168 | Supelco LB77168: 80 µl | 0.1344 | TEBUTHIURON | E | 0.028 | 0.188 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3988 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 |  | 11 | 1.4471 | 0.2755 | 1.3988 | 0.42411 | 0.31439
TEBUTHIURON | 2033 | 82670GCM35 | 2011-12-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.6815 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.0672 | TEBUTHIURON | E | 0.028 | 0.113 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.6815 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 |  | 11 | 1.4471 | 0.2755 | 1.3988 | 0.42411 | 0.31439
TEBUTHIURON | 2033 | 82670GCM35 | 2012-03-09 | 2010-10-01 | 2050-09-30 | ug/L | 1.875 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.0672 | TEBUTHIURON | . | 0.028 | 0.126 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.875 | Supelco LB77168 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.4471 | 0.2755 | 1.3988 | 0.42411 | 0.31439
TEBUTHIURON | 2033 | 82670GCM35 | 2010-02-17 | 2009-10-01 | 2010-09-30 | ug/L | 1.0391 | Ultra | CF-3558 | Ultra CF-3558: 40 µl | 0.21654 | TEBUTHIURON | . | 0.028 | 0.225 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0391 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.3766 | 0.44171 | 1.2336 | 0.6252 | 0.46345
TEBUTHIURON | 2033 | 82670GCM35 | 2010-05-19 | 2009-10-01 | 2010-09-30 | ug/L | 2.8908 | Ultra | CF-3558 | Ultra CF-3558: 20 µl | 0.11173 | TEBUTHIURON | . | 0.028 | 0.323 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.3766 | 0.44171 | 1.2336 | 0.6252 | 0.46345 | 2
TEBUTHIURON | 2033 | 82670GCM35 | 2010-08-10 | 2009-10-01 | 2010-09-30 | ug/L | 1.3784 | Ultra | CF-3558 | Ultra CF-3558: 40 µl | 0.2249 | TEBUTHIURON | . | 0.028 | 0.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3784 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.3766 | 0.44171 | 1.2336 | 0.6252 | 0.46345
TEBUTHIURON | 2033 | 82670GCM35 | 2010-12-01 | 2010-10-01 | 2050-09-30 | ug/L | 1.0889 | Ultra | CF-3558 | Ultra CF-3558: 20 µl | 0.11112 | TEBUTHIURON | E | 0.028 | 0.121 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0889 | Ultra CF-3558 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 1.3766 | 0.44171 | 1.2336 | 0.6252 | 0.46345