## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
TEFLUTHRIN | 2033 | 61606GCM39 | 2012-12-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.50502 | Abs, ERA | 052412, 0507-12-04.2 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl | 0.299 | TEFLUTHRIN | E | 0.014 | 0.151 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50502 | Ab052412, ER05004.2 | Ab | ER | ER | 052412 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Estimated Values | Y | 2 | Y | 2 | 0.52174 | 0.023649 | 0.52174 | 0.033445 | 0.024792
TEFLUTHRIN | 2033 | 61606GCM39 | 2013-04-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.53846 | Abs, ERA | 052412, 0507-12-04.2 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl | 0.1495 | TEFLUTHRIN | E | 0.014 | 0.0805 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53846 | Ab052412, ER05004.2 | Ab | ER | ER | 052412 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Estimated Values | Y | 2 | Y | 2 | 0.52174 | 0.023649 | 0.52174 | 0.033445 | 0.024792
TEFLUTHRIN | 2033 | 61606GCM39 | 2012-08-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.57667 | Abs, Supelco | 052412, LB92783 | Abs 052412: 20 µl & Supelco LB92783: 20 µl | 0.06 | TEFLUTHRIN | E | 0.014 | 0.0346 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57667 | Ab052412, SuLB92783 | Ab | Su | Su | 052412 | LB92783 | LB92783 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.57667 |  | 0.57667 | 0 | 0
TEFLUTHRIN | 2033 | 61606GCM39 | 2013-07-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.40606 | ChemService, ERA | 1473000, 0318-13-02.2 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl | 0.033 | TEFLUTHRIN | E | 0.014 | 0.0134 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.40606 | Ch1473000, ER03102.2 | Ch | ER | ER | 1473000 | 03102.2 | 03102.2 |  | 03102.2 | 03102.2 | Y | Estimated Values | Y | 2 | Y | 1 | 0.40606 |  | 0.40606 | 0 | 0
TEFLUTHRIN | 2033 | 61606GCM39 | 2013-06-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.67956 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl | 0.0827 | TEFLUTHRIN | E | 0.014 | 0.0562 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67956 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.62092 | 0.082938 | 0.62092 | 0.11729 | 0.086947
TEFLUTHRIN | 2033 | 61606GCM39 | 2014-01-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.56227 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl | 0.03308 | TEFLUTHRIN | E | 0.014 | 0.0186 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56227 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.62092 | 0.082938 | 0.62092 | 0.11729 | 0.086947
TEFLUTHRIN | 2033 | 61606GCM39 | 2012-09-17 | 2011-10-01 | 2050-09-30 | ug/L | 0.53846 | Crescent, ERA | 05BB029, 0507-12-04.2 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl | 0.0598 | TEFLUTHRIN | E | 0.014 | 0.0322 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53846 | Cr05BB029, ER05004.2 | Cr | ER | ER | 05BB029 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Estimated Values | Y | 2 | Y | 2 | 0.5209 | 0.024832 | 0.5209 | 0.035117 | 0.026032
TEFLUTHRIN | 2033 | 61606GCM39 | 2013-03-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.50334 | Crescent, ERA | 05BB029, 0507-12-04.2 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl | 0.0598 | TEFLUTHRIN | E | 0.014 | 0.0301 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50334 | Cr05BB029, ER05004.2 | Cr | ER | ER | 05BB029 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Estimated Values | Y | 2 | Y | 2 | 0.5209 | 0.024832 | 0.5209 | 0.035117 | 0.026032
TEFLUTHRIN | 2033 | 61606GCM39 | 2009-07-23 | 2008-10-01 | 2009-09-30 | ug/L | 0.9108 | Crescent | 08HH019 | Crescent 08HH019: 40 µl | 0.012077 | TEFLUTHRIN | E | 0.01 | 0.011 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9108 | Crescent 08HH019 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 0.9108 |  | 0.9108 | 0 | 0
TEFLUTHRIN | 2033 | 61606GCM39 | 2013-09-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.6097 | ERA, Abs, Crescent | 0318-13-02.2, 042413, 10802AL | ERA 0318-13-02.2: 50 µl & Abs 042413: 50 µl & Crescent 10802AL: 10 µl | 0.0825 | TEFLUTHRIN | E | 0.014 | 0.0503 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6097 | ER03102.2, Ab042413, Cr10802AL | ER | Ab | Cr | 03102.2 | 042413 | 10802AL | 03102.2 |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.51394 | 0.13542 | 0.51394 | 0.19152 | 0.14197
TEFLUTHRIN | 2033 | 61606GCM39 | 2014-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.41818 | ERA, Abs, Crescent | 0318-13-02.2, 042413, 10802AL | ERA 0318-13-02.2: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl | 0.033 | TEFLUTHRIN | E | 0.014 | 0.0138 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.41818 | ER03102.2, Ab042413, Cr10802AL | ER | Ab | Cr | 03102.2 | 042413 | 10802AL | 03102.2 |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.51394 | 0.13542 | 0.51394 | 0.19152 | 0.14197
TEFLUTHRIN | 2033 | 61606GCM39 | 2013-06-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.55758 | ERA, Crescent | 0318-13-02.2, 04CC101 | ERA 0318-13-02.2: 20 µl & Crescent 04CC101: 20 µl | 0.033 | TEFLUTHRIN | E | 0.014 | 0.0184 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55758 | ER03102.2, Cr04CC101 | ER | Cr | Cr | 03102.2 | 04CC101 | 04CC101 | 03102.2 |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.55758 |  | 0.55758 | 0 | 0
TEFLUTHRIN | 2033 | 61606GCM39 | 2011-09-13 | 2010-10-01 | 2011-09-30 | ug/L | 0.30606 | ERA | 0318-13-02.2 | ERA 0318-13-02.2: 40 µl | 0.066 | TEFLUTHRIN | E | 0.01 | 0.0202 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.30606 | ERA 0318-13-02.2 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 0.30606 |  | 0.30606 | 0 | 0
TEFLUTHRIN | 2033 | 61606GCM39 | 2012-10-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.66288 | ERA | 0507-12-04.2 | ERA 0507-12-04.2: 50 µl | 0.1495 | TEFLUTHRIN | E | 0.014 | 0.0991 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66288 | ERA 0507-12-04.2 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 0.66288 |  | 0.66288 | 0 | 0
TEFLUTHRIN | 2033 | 61606GCM39 | 2011-01-13 | 2010-10-01 | 2011-09-30 | ug/L | 0.70599 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 80 µl | 0.037394 | TEFLUTHRIN | E | 0.01 | 0.0264 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70599 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 10 | 0.71085 | 0.097943 | 0.71011 | 0.080952 | 0.060009
TEFLUTHRIN | 2033 | 61606GCM39 | 2011-02-08 | 2010-10-01 | 2011-09-30 | ug/L | 0.78616 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.018444 | TEFLUTHRIN | E | 0.01 | 0.0145 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78616 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 10 | 0.71085 | 0.097943 | 0.71011 | 0.080952 | 0.060009
TEFLUTHRIN | 2033 | 61606GCM39 | 2011-02-28 | 2010-10-01 | 2011-09-30 | ug/L | 0.56716 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 80 µl | 0.03738 | TEFLUTHRIN | E | 0.01 | 0.0212 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56716 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 10 | 0.71085 | 0.097943 | 0.71011 | 0.080952 | 0.060009
TEFLUTHRIN | 2033 | 61606GCM39 | 2011-04-13 | 2010-10-01 | 2011-09-30 | ug/L | 0.72964 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.018913 | TEFLUTHRIN | E | 0.01 | 0.0138 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72964 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 10 | 0.71085 | 0.097943 | 0.71011 | 0.080952 | 0.060009
TEFLUTHRIN | 2033 | 61606GCM39 | 2011-06-20 | 2010-10-01 | 2011-09-30 | ug/L | 0.70521 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.019001 | TEFLUTHRIN | E | 0.01 | 0.0134 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70521 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 10 | 0.71085 | 0.097943 | 0.71011 | 0.080952 | 0.060009
TEFLUTHRIN | 2033 | 61606GCM39 | 2011-07-28 | 2010-10-01 | 2011-09-30 | ug/L | 0.81915 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.0188 | TEFLUTHRIN | E | 0.01 | 0.0154 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81915 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 10 | 0.71085 | 0.097943 | 0.71011 | 0.080952 | 0.060009
TEFLUTHRIN | 2033 | 61606GCM39 | 2011-10-25 | 2011-10-01 | 2050-09-30 | ug/L | 0.71277 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.0188 | TEFLUTHRIN | E | 0.014 | 0.0134 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71277 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 10 | 0.71085 | 0.097943 | 0.71011 | 0.080952 | 0.060009
TEFLUTHRIN | 2033 | 61606GCM39 | 2011-12-03 | 2011-10-01 | 2050-09-30 | ug/L | 0.53457 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 80 µl | 0.0376 | TEFLUTHRIN | E | 0.014 | 0.0201 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53457 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 10 | 0.71085 | 0.097943 | 0.71011 | 0.080952 | 0.060009
TEFLUTHRIN | 2033 | 61606GCM39 | 2012-03-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.70745 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.0188 | TEFLUTHRIN | E | 0.014 | 0.0133 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70745 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 10 | 0.71085 | 0.097943 | 0.71011 | 0.080952 | 0.060009
TEFLUTHRIN | 2033 | 61606GCM39 | 2012-05-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.84043 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.0188 | TEFLUTHRIN | E | 0.014 | 0.0158 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84043 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 10 | 0.71085 | 0.097943 | 0.71011 | 0.080952 | 0.060009
TEFLUTHRIN | 2033 | 61606GCM39 | 2010-02-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.37668 | NSI | 090109-01Pest | NSI 090109-01Pest: 40 µl | 0.12 | TEFLUTHRIN | E | 0.01 | 0.0452 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.37668 | NSI 090109-01Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.43052 | 0.095534 | 0.39657 | 0.12472 | 0.092452
TEFLUTHRIN | 2033 | 61606GCM39 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.35964 | NSI | 090109-01Pest | NSI 090109-01Pest: 20 µl | 0.057001 | TEFLUTHRIN | E | 0.01 | 0.0205 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.35964 | NSI 090109-01Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.43052 | 0.095534 | 0.39657 | 0.12472 | 0.092452
TEFLUTHRIN | 2033 | 61606GCM39 | 2010-08-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.5693 | NSI | 090109-01Pest | NSI 090109-01Pest: 20 µl | 0.059371 | TEFLUTHRIN | E | 0.01 | 0.0338 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5693 | NSI 090109-01Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.43052 | 0.095534 | 0.39657 | 0.12472 | 0.092452
TEFLUTHRIN | 2033 | 61606GCM39 | 2010-10-27 | 2010-10-01 | 2011-09-30 | ug/L | 0.41646 | NSI | 090109-01Pest | NSI 090109-01Pest: 100 µl | 0.29295 | TEFLUTHRIN | E | 0.01 | 0.122 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.41646 | NSI 090109-01Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.43052 | 0.095534 | 0.39657 | 0.12472 | 0.092452
TEFLUTHRIN | 2033 | 61606GCM39 | 2009-09-03 | 2008-10-01 | 2009-09-30 | ug/L | 0.55093 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | TEFLUTHRIN | E | 0.01 | 0.041 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55093 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 0.55093 |  | 0.55093 | 0 | 0
TEFLUTHRIN | 2033 | 61606GCM39 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.63947 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | TEFLUTHRIN | E | 0.01 | 0.0248 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63947 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.70629 | 0.060439 | 0.72226 | 0.11767 | 0.087228
TEFLUTHRIN | 2033 | 61606GCM39 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.75714 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | TEFLUTHRIN | E | 0.01 | 0.0307 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75714 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.70629 | 0.060439 | 0.72226 | 0.11767 | 0.087228
TEFLUTHRIN | 2033 | 61606GCM39 | 2010-12-16 | 2010-10-01 | 2011-09-30 | ug/L | 0.72226 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | TEFLUTHRIN | E | 0.01 | 0.0292 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72226 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.70629 | 0.060439 | 0.72226 | 0.11767 | 0.087228
TEFLUTHRIN | 2033 | 61606GCM39 | 2011-01-20 | 2010-10-01 | 2011-09-30 | ug/L | 0.70702 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | TEFLUTHRIN | E | 0.01 | 0.0712 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70702 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.6928 | 0.091544 | 0.67115 | 0.13759 | 0.10199
TEFLUTHRIN | 2033 | 61606GCM39 | 2011-03-05 | 2010-10-01 | 2011-09-30 | ug/L | 0.81616 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 25 µl | 0.02475 | TEFLUTHRIN | E | 0.01 | 0.0202 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81616 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.6928 | 0.091544 | 0.67115 | 0.13759 | 0.10199
TEFLUTHRIN | 2033 | 61606GCM39 | 2011-04-20 | 2010-10-01 | 2011-09-30 | ug/L | 0.63529 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.099483 | TEFLUTHRIN | E | 0.01 | 0.0632 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63529 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.6928 | 0.091544 | 0.67115 | 0.13759 | 0.10199
TEFLUTHRIN | 2033 | 61606GCM39 | 2011-06-22 | 2010-10-01 | 2011-09-30 | ug/L | 0.61272 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 75 µl | 0.074096 | TEFLUTHRIN | E | 0.01 | 0.0454 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61272 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.6928 | 0.091544 | 0.67115 | 0.13759 | 0.10199
TEFLUTHRIN | 2033 | 61606GCM39 | 2009-09-15 | 2008-10-01 | 2009-09-30 | ug/L | 19.5917 | Protocol | D1080908018 | Protocol D1080908018: 40 µl | 0.011944 | TEFLUTHRIN | E | 0.01 | 0.234 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2 | Protocol D1080908018 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 2 |  | 2 | 0 | 0 | 2
TEFLUTHRIN | 2033 | 61606GCM39 | 2012-07-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.65167 | Restek, Supelco | A088380, LB92783 | Restek A088380: 20 µl & Supelco LB92783: 20 µl | 0.06 | TEFLUTHRIN | E | 0.014 | 0.0391 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65167 | ReA088380, SuLB92783 | Re | Su | Su | A088380 | LB92783 | LB92783 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.65167 |  | 0.65167 | 0 | 0
TEFLUTHRIN | 2033 | 61606GCM39 | 2012-09-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.65385 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl | 0.0598 | TEFLUTHRIN | E | 0.014 | 0.0391 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65385 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Estimated Values | Y | 2 | Y | 2 | 0.53629 | 0.16625 | 0.53629 | 0.23512 | 0.17429
TEFLUTHRIN | 2033 | 61606GCM39 | 2013-01-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.41873 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl | 0.1495 | TEFLUTHRIN | E | 0.014 | 0.0626 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.41873 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Estimated Values | Y | 2 | Y | 2 | 0.53629 | 0.16625 | 0.53629 | 0.23512 | 0.17429
TEFLUTHRIN | 2033 | 61606GCM39 | 2012-11-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.50667 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl | 0.3 | TEFLUTHRIN | E | 0.014 | 0.152 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50667 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Estimated Values | Y | 2 | Y | 3 | 0.50144 | 0.020993 | 0.50667 | 0.041 | 0.030393
TEFLUTHRIN | 2033 | 61606GCM39 | 2013-02-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.47833 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl | 0.06 | TEFLUTHRIN | E | 0.014 | 0.0287 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.47833 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Estimated Values | Y | 2 | Y | 3 | 0.50144 | 0.020993 | 0.50667 | 0.041 | 0.030393
TEFLUTHRIN | 2033 | 61606GCM39 | 2013-04-02 | 2011-10-01 | 2050-09-30 | ug/L | 0.51933 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl | 0.15 | TEFLUTHRIN | E | 0.014 | 0.0779 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51933 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Estimated Values | Y | 2 | Y | 3 | 0.50144 | 0.020993 | 0.50667 | 0.041 | 0.030393
TEFLUTHRIN | 2033 | 61606GCM39 | 2013-09-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.57939 | Spex Organics, ERA | T1130514013, 0318-13-02.2 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl | 0.165 | TEFLUTHRIN | E | 0.014 | 0.0956 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57939 | SpT114013, ER03102.2 | Sp | ER | ER | T114013 | 03102.2 | 03102.2 | T114013 | 03102.2 | 03102.2 | Y | Estimated Values | Y | 2 | Y | 1 | 0.57939 |  | 0.57939 | 0 | 0
TEFLUTHRIN | 2033 | 61606GCM39 | 2013-11-09 | 2011-10-01 | 2050-09-30 | ug/L | 0.69226 | Spex Organics, Supelco | T1130514013, LB99392 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl | 0.03308 | TEFLUTHRIN | E | 0.014 | 0.0229 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69226 | SpT114013, SuLB99392 | Sp | Su | Su | T114013 | LB99392 | LB99392 | T114013 |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.69226 |  | 0.69226 | 0 | 0
TEFLUTHRIN | 2033 | 61606GCM39 | 2011-01-11 | 2010-10-01 | 2011-09-30 | ug/L | 0.5932 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.039616 | TEFLUTHRIN | E | 0.01 | 0.0235 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5932 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.698 | 0.13236 | 0.725 | 0.1079 | 0.079987
TEFLUTHRIN | 2033 | 61606GCM39 | 2011-01-21 | 2010-10-01 | 2011-09-30 | ug/L | 0.94698 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.019958 | TEFLUTHRIN | E | 0.01 | 0.0189 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94698 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.698 | 0.13236 | 0.725 | 0.1079 | 0.079987
TEFLUTHRIN | 2033 | 61606GCM39 | 2011-02-19 | 2010-10-01 | 2011-09-30 | ug/L | 0.6421 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.02009 | TEFLUTHRIN | E | 0.01 | 0.0129 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6421 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.698 | 0.13236 | 0.725 | 0.1079 | 0.079987
TEFLUTHRIN | 2033 | 61606GCM39 | 2011-03-23 | 2010-10-01 | 2011-09-30 | ug/L | 0.86258 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.019592 | TEFLUTHRIN | E | 0.01 | 0.0169 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86257 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.698 | 0.13236 | 0.725 | 0.1079 | 0.079987
TEFLUTHRIN | 2033 | 61606GCM39 | 2011-05-14 | 2010-10-01 | 2011-09-30 | ug/L | 0.76161 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.02022 | TEFLUTHRIN | E | 0.01 | 0.0154 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76161 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.698 | 0.13236 | 0.725 | 0.1079 | 0.079987
TEFLUTHRIN | 2033 | 61606GCM39 | 2011-07-07 | 2010-10-01 | 2011-09-30 | ug/L | 0.745 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.04 | TEFLUTHRIN | E | 0.01 | 0.0298 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.745 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.698 | 0.13236 | 0.725 | 0.1079 | 0.079987
TEFLUTHRIN | 2033 | 61606GCM39 | 2011-09-19 | 2010-10-01 | 2011-09-30 | ug/L | 0.75 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.02 | TEFLUTHRIN | E | 0.01 | 0.015 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.698 | 0.13236 | 0.725 | 0.1079 | 0.079987
TEFLUTHRIN | 2033 | 61606GCM39 | 2011-09-29 | 2010-10-01 | 2011-09-30 | ug/L | 0.5825 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.04 | TEFLUTHRIN | E | 0.01 | 0.0233 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5825 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.698 | 0.13236 | 0.725 | 0.1079 | 0.079987
TEFLUTHRIN | 2033 | 61606GCM39 | 2011-11-17 | 2011-10-01 | 2050-09-30 | ug/L | 0.725 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.02 | TEFLUTHRIN | E | 0.014 | 0.0145 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.725 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.698 | 0.13236 | 0.725 | 0.1079 | 0.079987
TEFLUTHRIN | 2033 | 61606GCM39 | 2011-12-21 | 2011-10-01 | 2050-09-30 | ug/L | 0.6575 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.04 | TEFLUTHRIN | E | 0.014 | 0.0263 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6575 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.698 | 0.13236 | 0.725 | 0.1079 | 0.079987
TEFLUTHRIN | 2033 | 61606GCM39 | 2012-01-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.6625 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.04 | TEFLUTHRIN | E | 0.014 | 0.0265 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6625 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.698 | 0.13236 | 0.725 | 0.1079 | 0.079987
TEFLUTHRIN | 2033 | 61606GCM39 | 2012-04-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.415 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.02 | TEFLUTHRIN | E | 0.014 | 0.0083 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.415 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.698 | 0.13236 | 0.725 | 0.1079 | 0.079987
TEFLUTHRIN | 2033 | 61606GCM39 | 2012-06-02 | 2011-10-01 | 2050-09-30 | ug/L | 0.73 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.02 | TEFLUTHRIN | E | 0.014 | 0.0146 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.698 | 0.13236 | 0.725 | 0.1079 | 0.079987
TEFLUTHRIN | 2033 | 61606GCM39 | 2012-10-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.54 | Supelco, Abs | LB92783, 052412 | Supelco LB92783: 50 µl & Abs 052412: 50 µl | 0.15 | TEFLUTHRIN | E | 0.014 | 0.081 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54 | SuLB92783, Ab052412 | Su | Ab | Ab | LB92783 | 052412 | 052412 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.552 | 0.016971 | 0.552 | 0.024 | 0.017791
TEFLUTHRIN | 2033 | 61606GCM39 | 2013-01-17 | 2011-10-01 | 2050-09-30 | ug/L | 0.564 | Supelco, Abs | LB92783, 052412 | Supelco LB92783: 50 µl & Abs 052412: 50 µl | 0.15 | TEFLUTHRIN | E | 0.014 | 0.0846 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.564 | SuLB92783, Ab052412 | Su | Ab | Ab | LB92783 | 052412 | 052412 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.552 | 0.016971 | 0.552 | 0.024 | 0.017791
TEFLUTHRIN | 2033 | 61606GCM39 | 2013-11-23 | 2011-10-01 | 2050-09-30 | ug/L | 0.58343 | Supelco, Abs, Crescent | LB99392, 042413, 10802AL | Supelco LB99392: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl | 0.03308 | TEFLUTHRIN | E | 0.014 | 0.0193 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58343 | SuLB99392, Ab042413, Cr10802AL | Su | Ab | Cr | LB99392 | 042413 | 10802AL |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.58343 |  | 0.58343 | 0 | 0
TEFLUTHRIN | 2033 | 61606GCM39 | 2013-08-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.62273 | Supelco, Crescent | LB99392, 04CC101 | Supelco LB99392: 50 µl & Crescent 04CC101: 50 µl | 0.0827 | TEFLUTHRIN | E | 0.014 | 0.0515 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62273 | SuLB99392, Cr04CC101 | Su | Cr | Cr | LB99392 | 04CC101 | 04CC101 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.62273 |  | 0.62273 | 0 | 0
TEFLUTHRIN | 2033 | 61606GCM39 | 2010-02-06 | 2009-10-01 | 2010-09-30 | ug/L | 0.45822 | Supelco | LB69639 | Supelco LB69639: 20 µl | 0.056959 | TEFLUTHRIN | E | 0.01 | 0.0261 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.45822 | Supelco LB69639 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.54634 | 0.11263 | 0.50777 | 0.12799 | 0.094877
TEFLUTHRIN | 2033 | 61606GCM39 | 2010-04-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.50646 | Supelco | LB69639 | Supelco LB69639: 20 µl | 0.056667 | TEFLUTHRIN | E | 0.01 | 0.0287 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50646 | Supelco LB69639 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.54634 | 0.11263 | 0.50777 | 0.12799 | 0.094877
TEFLUTHRIN | 2033 | 61606GCM39 | 2010-07-07 | 2009-10-01 | 2010-09-30 | ug/L | 0.50907 | Supelco | LB69639 | Supelco LB69639: 40 µl | 0.11158 | TEFLUTHRIN | E | 0.01 | 0.0568 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50907 | Supelco LB69639 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.54634 | 0.11263 | 0.50777 | 0.12799 | 0.094877
TEFLUTHRIN | 2033 | 61606GCM39 | 2010-09-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.7116 | Supelco | LB69639 | Supelco LB69639: 40 µl | 0.11383 | TEFLUTHRIN | E | 0.01 | 0.081 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7116 | Supelco LB69639 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.54634 | 0.11263 | 0.50777 | 0.12799 | 0.094877