## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
TERBUFOS-O-ANALOGUE SULFONE | 2033 | 61674GCM39 | 2013-10-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.64 | Abs, Spex Organics, Crescent | 042413, T1130514013, 10802AL | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl | 0.2 | TERBUFOS-O-ANALOGUE_SULFONE | . | 0.045 | 0.128 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64 | Ab042413, SpT114013, Cr10802AL | Ab | Sp | Cr | 042413 | T114013 | 10802AL |  | T114013 |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.64 |  | 0.64 | 0 | 0
TERBUFOS-O-ANALOGUE SULFONE | 2033 | 61674GCM39 | 2012-12-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.84579 | Abs, ERA | 052412, 0507-12-04.2 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl | 0.107 | TERBUFOS-O-ANALOGUE_SULFONE | . | 0.045 | 0.0905 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84579 | Ab052412, ER05004.2 | Ab | ER | ER | 052412 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.80421 | 0.058815 | 0.80421 | 0.083178 | 0.061659
TERBUFOS-O-ANALOGUE SULFONE | 2033 | 61674GCM39 | 2013-04-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.76262 | Abs, ERA | 052412, 0507-12-04.2 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl | 0.0535 | TERBUFOS-O-ANALOGUE_SULFONE | . | 0.045 | 0.0408 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76262 | Ab052412, ER05004.2 | Ab | ER | ER | 052412 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.80421 | 0.058815 | 0.80421 | 0.083178 | 0.061659
TERBUFOS-O-ANALOGUE SULFONE | 2033 | 61674GCM39 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.795 | Crescent, ChemService, Cresc | 04CC101, 1473000, 10802AL | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl | 0.2 | TERBUFOS-O-ANALOGUE_SULFONE | . | 0.045 | 0.159 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.795 | Cr04CC101, Ch1473000, Cr10802A | Cr | Ch | Cr | 04CC101 | 1473000 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.795 |  | 0.795 | 0 | 0
TERBUFOS-O-ANALOGUE SULFONE | 2033 | 61674GCM39 | 2012-09-17 | 2011-10-01 | 2050-09-30 | ug/L | 1.3785 | Crescent, ERA | 05BB029, 0507-12-04.2 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl | 0.0214 | TERBUFOS-O-ANALOGUE_SULFONE | . | 0.045 | 0.0295 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.3785 | Cr05BB029, ER05004.2 | Cr | ER | ER | 05BB029 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 1 |  | 2 | 1.2243 | 0.21808 | 1.2243 | 0.30841 | 0.22862
TERBUFOS-O-ANALOGUE SULFONE | 2033 | 61674GCM39 | 2013-03-07 | 2011-10-01 | 2050-09-30 | ug/L | 1.0701 | Crescent, ERA | 05BB029, 0507-12-04.2 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl | 0.0214 | TERBUFOS-O-ANALOGUE_SULFONE | . | 0.045 | 0.0229 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.0701 | Cr05BB029, ER05004.2 | Cr | ER | ER | 05BB029 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 1 |  | 2 | 1.2243 | 0.21808 | 1.2243 | 0.30841 | 0.22862
TERBUFOS-O-ANALOGUE SULFONE | 2033 | 61674GCM39 | 2013-09-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.532 | ERA, Abs, Crescent | 0318-13-02.2, 042413, 10802AL | ERA 0318-13-02.2: 50 µl & Abs 042413: 50 µl & Crescent 10802AL: 10 µl | 0.1 | TERBUFOS-O-ANALOGUE_SULFONE | . | 0.045 | 0.0532 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.532 | ER03102.2, Ab042413, Cr10802AL | ER | Ab | Cr | 03102.2 | 042413 | 10802AL | 03102.2 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.552 | 0.028284 | 0.552 | 0.04 | 0.029652
TERBUFOS-O-ANALOGUE SULFONE | 2033 | 61674GCM39 | 2014-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.572 | ERA, Abs, Crescent | 0318-13-02.2, 042413, 10802AL | ERA 0318-13-02.2: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl | 0.1 | TERBUFOS-O-ANALOGUE_SULFONE | . | 0.045 | 0.0572 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.572 | ER03102.2, Ab042413, Cr10802AL | ER | Ab | Cr | 03102.2 | 042413 | 10802AL | 03102.2 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.552 | 0.028284 | 0.552 | 0.04 | 0.029652
TERBUFOS-O-ANALOGUE SULFONE | 2033 | 61674GCM39 | 2012-10-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.87103 | ERA | 0507-12-04.2 | ERA 0507-12-04.2: 50 µl | 0.0535 | TERBUFOS-O-ANALOGUE_SULFONE | . | 0.045 | 0.0466 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87103 | ERA 0507-12-04.2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.87103 |  | 0.87103 | 0 | 0
TERBUFOS-O-ANALOGUE SULFONE | 2033 | 61674GCM39 | 2009-09-03 | 2006-04-01 | 2009-09-30 | ug/L | 0.87343 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | TERBUFOS-O-ANALOGUE_SULFONE | . | 0.045 | 0.065 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87343 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.87343 |  | 0.87343 | 0 | 0
TERBUFOS-O-ANALOGUE SULFONE | 2033 | 61674GCM39 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.72456 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | TERBUFOS-O-ANALOGUE_SULFONE | E | 0.045 | 0.0281 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.72456 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 1 |  | 3 | 0.97503 | 0.22042 | 1.0611 | 0.41485 | 0.30752
TERBUFOS-O-ANALOGUE SULFONE | 2033 | 61674GCM39 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 1.1394 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | TERBUFOS-O-ANALOGUE_SULFONE | . | 0.045 | 0.0462 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.1394 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 1 |  | 3 | 0.97503 | 0.22042 | 1.0611 | 0.41485 | 0.30752
TERBUFOS-O-ANALOGUE SULFONE | 2033 | 61674GCM39 | 2010-12-16 | 2010-10-01 | 2011-09-30 | ug/L | 1.0611 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | TERBUFOS-O-ANALOGUE_SULFONE | . | 0.045 | 0.0429 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.0611 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 1 |  | 3 | 0.97503 | 0.22042 | 1.0611 | 0.41485 | 0.30752
TERBUFOS-O-ANALOGUE SULFONE | 2033 | 61674GCM39 | 2011-01-20 | 2010-10-01 | 2011-09-30 | ug/L | 0.91555 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | TERBUFOS-O-ANALOGUE_SULFONE | . | 0.045 | 0.0922 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91555 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.7711 | 0.24304 | 0.74456 | 0.41173 | 0.30521
TERBUFOS-O-ANALOGUE SULFONE | 2033 | 61674GCM39 | 2011-03-05 | 2010-10-01 | 2011-09-30 | ug/L | 1.0384 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 25 µl | 0.02475 | TERBUFOS-O-ANALOGUE_SULFONE | . | 0.045 | 0.0257 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.0384 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 1 |  | 4 | 0.7711 | 0.24304 | 0.74456 | 0.41173 | 0.30521
TERBUFOS-O-ANALOGUE SULFONE | 2033 | 61674GCM39 | 2011-04-20 | 2010-10-01 | 2011-09-30 | ug/L | 0.55688 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.099483 | TERBUFOS-O-ANALOGUE_SULFONE | . | 0.045 | 0.0554 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55688 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.7711 | 0.24304 | 0.74456 | 0.41173 | 0.30521
TERBUFOS-O-ANALOGUE SULFONE | 2033 | 61674GCM39 | 2011-06-22 | 2010-10-01 | 2011-09-30 | ug/L | 0.57358 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 75 µl | 0.074096 | TERBUFOS-O-ANALOGUE_SULFONE | . | 0.045 | 0.0425 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57358 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.7711 | 0.24304 | 0.74456 | 0.41173 | 0.30521
TERBUFOS-O-ANALOGUE SULFONE | 2033 | 61674GCM39 | 2013-09-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.69 | Restek, Abs, Crescent | A093651, 012513, 10802AL | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl | 0.05 | TERBUFOS-O-ANALOGUE_SULFONE | . | 0.045 | 0.0345 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69 | ReA093651, Ab012513, Cr10802AL | Re | Ab | Cr | A093651 | 012513 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.69 |  | 0.69 | 0 | 0
TERBUFOS-O-ANALOGUE SULFONE | 2033 | 61674GCM39 | 2013-11-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.514 | Restek, Abs, Crescent | A093651, 052412, 10802AL | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl | 0.05 | TERBUFOS-O-ANALOGUE_SULFONE | . | 0.045 | 0.0257 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.514 | ReA093651, Ab052412, Cr10802AL | Re | Ab | Cr | A093651 | 052412 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.595 | 0.11455 | 0.595 | 0.162 | 0.12009
TERBUFOS-O-ANALOGUE SULFONE | 2033 | 61674GCM39 | 2014-01-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.676 | Restek, Abs, Crescent | A093651, 052412, 10802AL | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl | 0.05 | TERBUFOS-O-ANALOGUE_SULFONE | . | 0.045 | 0.0338 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.676 | ReA093651, Ab052412, Cr10802AL | Re | Ab | Cr | A093651 | 052412 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.595 | 0.11455 | 0.595 | 0.162 | 0.12009
TERBUFOS-O-ANALOGUE SULFONE | 2033 | 61674GCM39 | 2012-09-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.99533 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl | 0.0214 | TERBUFOS-O-ANALOGUE_SULFONE | . | 0.045 | 0.0213 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.99533 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 1 |  | 2 | 0.8472 | 0.20949 | 0.8472 | 0.29626 | 0.21962
TERBUFOS-O-ANALOGUE SULFONE | 2033 | 61674GCM39 | 2013-01-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.69907 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl | 0.0535 | TERBUFOS-O-ANALOGUE_SULFONE | . | 0.045 | 0.0374 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69907 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.8472 | 0.20949 | 0.8472 | 0.29626 | 0.21962
TERBUFOS-O-ANALOGUE SULFONE | 2033 | 61674GCM39 | 2013-11-23 | 2011-10-01 | 2050-09-30 | ug/L | 0.893 | Supelco, Abs, Crescent | LB99392, 042413, 10802AL | Supelco LB99392: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl | 0.1 | TERBUFOS-O-ANALOGUE_SULFONE | . | 0.045 | 0.0893 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.893 | SuLB99392, Ab042413, Cr10802AL | Su | Ab | Cr | LB99392 | 042413 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.893 |  | 0.893 | 0 | 0