## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
TERBUTHYLAZINE | 2033 | 04022GCM39 | 2013-06-26 | 2011-10-01 | 2050-09-30 | ug/L | 1.2873 | Abs, ChemService | 042413, 1473000 | Abs 042413: 20 µl & ChemService 1473000: 20 µl | 0.0268 | TERBUTHYLAZINE | . | 0.008 | 0.0345 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2873 | Ab042413, Ch1473000 | Ab | Ch | Ch | 042413 | 1473000 | 1473000 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.2873 |  | 1.2873 | 0 | 0
TERBUTHYLAZINE | 2033 | 04022GCM39 | 2013-10-19 | 2011-10-01 | 2050-09-30 | ug/L | 1.28 | Abs, Spex Organics, Crescent | 042413, T1130514013, 10802AL | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl | 0.065 | TERBUTHYLAZINE | . | 0.008 | 0.0832 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.28 | Ab042413, SpT114013, Cr10802AL | Ab | Sp | Cr | 042413 | T114013 | 10802AL |  | T114013 |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.28 |  | 1.28 | 0 | 0
TERBUTHYLAZINE | 2033 | 04022GCM39 | 2011-01-07 | 2010-10-01 | 2011-09-30 | ug/L | 0.70673 | Abs | 080610 | Abs 080610: 40 µl | 0.048958 | TERBUTHYLAZINE | . | 0.006 | 0.0346 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70673 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.92299 | 0.10436 | 0.96161 | 0.13251 | 0.098226
TERBUTHYLAZINE | 2033 | 04022GCM39 | 2011-01-28 | 2010-10-01 | 2011-09-30 | ug/L | 0.97878 | Abs | 080610 | Abs 080610: 80 µl | 0.095834 | TERBUTHYLAZINE | . | 0.006 | 0.0938 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97878 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.92299 | 0.10436 | 0.96161 | 0.13251 | 0.098226
TERBUTHYLAZINE | 2033 | 04022GCM39 | 2011-02-22 | 2010-10-01 | 2011-09-30 | ug/L | 0.96161 | Abs | 080610 | Abs 080610: 40 µl | 0.049292 | TERBUTHYLAZINE | . | 0.006 | 0.0474 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96161 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.92299 | 0.10436 | 0.96161 | 0.13251 | 0.098226
TERBUTHYLAZINE | 2033 | 04022GCM39 | 2011-03-16 | 2010-10-01 | 2011-09-30 | ug/L | 0.9799 | Abs | 080610 | Abs 080610: 80 µl | 0.098888 | TERBUTHYLAZINE | . | 0.006 | 0.0969 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9799 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.92299 | 0.10436 | 0.96161 | 0.13251 | 0.098226
TERBUTHYLAZINE | 2033 | 04022GCM39 | 2011-05-03 | 2010-10-01 | 2011-09-30 | ug/L | 1.1004 | Abs | 080610 | Abs 080610: 40 µl | 0.049528 | TERBUTHYLAZINE | . | 0.006 | 0.0545 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1004 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.92299 | 0.10436 | 0.96161 | 0.13251 | 0.098226
TERBUTHYLAZINE | 2033 | 04022GCM39 | 2011-05-29 | 2010-10-01 | 2011-09-30 | ug/L | 0.98133 | Abs | 080610 | Abs 080610: 80 µl | 0.10027 | TERBUTHYLAZINE | . | 0.006 | 0.0984 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98133 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.92299 | 0.10436 | 0.96161 | 0.13251 | 0.098226
TERBUTHYLAZINE | 2033 | 04022GCM39 | 2011-08-22 | 2010-10-01 | 2011-09-30 | ug/L | 0.78514 | Abs | 080610 | Abs 080610: 40 µl | 0.0498 | TERBUTHYLAZINE | . | 0.006 | 0.0391 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78514 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.92299 | 0.10436 | 0.96161 | 0.13251 | 0.098226
TERBUTHYLAZINE | 2033 | 04022GCM39 | 2011-10-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.89357 | Abs | 080610 | Abs 080610: 40 µl | 0.0498 | TERBUTHYLAZINE | . | 0.008 | 0.0445 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89357 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.92299 | 0.10436 | 0.96161 | 0.13251 | 0.098226
TERBUTHYLAZINE | 2033 | 04022GCM39 | 2012-01-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.96787 | Abs | 080610 | Abs 080610: 40 µl | 0.0498 | TERBUTHYLAZINE | . | 0.008 | 0.0482 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96787 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.92299 | 0.10436 | 0.96161 | 0.13251 | 0.098226
TERBUTHYLAZINE | 2033 | 04022GCM39 | 2012-02-09 | 2011-10-01 | 2050-09-30 | ug/L | 1 | Abs | 080610 | Abs 080610: 80 µl | 0.0996 | TERBUTHYLAZINE | . | 0.008 | 0.0996 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.92299 | 0.10436 | 0.96161 | 0.13251 | 0.098226
TERBUTHYLAZINE | 2033 | 04022GCM39 | 2012-03-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.84739 | Abs | 080610 | Abs 080610: 40 µl | 0.0498 | TERBUTHYLAZINE | . | 0.008 | 0.0422 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84739 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.92299 | 0.10436 | 0.96161 | 0.13251 | 0.098226
TERBUTHYLAZINE | 2033 | 04022GCM39 | 2012-04-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.84137 | Abs | 080610 | Abs 080610: 40 µl | 0.0498 | TERBUTHYLAZINE | . | 0.008 | 0.0419 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84137 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.92299 | 0.10436 | 0.96161 | 0.13251 | 0.098226
TERBUTHYLAZINE | 2033 | 04022GCM39 | 2012-04-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.95482 | Abs | 080610 | Abs 080610: 80 µl | 0.0996 | TERBUTHYLAZINE | . | 0.008 | 0.0951 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95482 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.92299 | 0.10436 | 0.96161 | 0.13251 | 0.098226
TERBUTHYLAZINE | 2033 | 04022GCM39 | 2011-01-12 | 2010-10-01 | 2011-09-30 | ug/L | 0.95184 | Accu | 210061341 | Accu 210061341: 40 µl | 0.046436 | TERBUTHYLAZINE | . | 0.006 | 0.0442 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95184 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.93108 | 0.10189 | 0.94552 | 0.13095 | 0.097075
TERBUTHYLAZINE | 2033 | 04022GCM39 | 2011-02-01 | 2010-10-01 | 2011-09-30 | ug/L | 0.94262 | Accu | 210061341 | Accu 210061341: 80 µl | 0.095691 | TERBUTHYLAZINE | . | 0.006 | 0.0902 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94262 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.93108 | 0.10189 | 0.94552 | 0.13095 | 0.097075
TERBUTHYLAZINE | 2033 | 04022GCM39 | 2011-02-14 | 2010-10-01 | 2011-09-30 | ug/L | 0.8264 | Accu | 210061341 | Accu 210061341: 40 µl | 0.047314 | TERBUTHYLAZINE | . | 0.006 | 0.0391 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8264 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.93108 | 0.10189 | 0.94552 | 0.13095 | 0.097075
TERBUTHYLAZINE | 2033 | 04022GCM39 | 2011-04-07 | 2010-10-01 | 2011-09-30 | ug/L | 0.92128 | Accu | 210061341 | Accu 210061341: 40 µl | 0.048302 | TERBUTHYLAZINE | . | 0.006 | 0.0445 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92128 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.93108 | 0.10189 | 0.94552 | 0.13095 | 0.097075
TERBUTHYLAZINE | 2033 | 04022GCM39 | 2011-05-21 | 2010-10-01 | 2011-09-30 | ug/L | 1.1066 | Accu | 210061341 | Accu 210061341: 80 µl | 0.095786 | TERBUTHYLAZINE | . | 0.006 | 0.106 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1066 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.93108 | 0.10189 | 0.94552 | 0.13095 | 0.097075
TERBUTHYLAZINE | 2033 | 04022GCM39 | 2011-07-02 | 2010-10-01 | 2011-09-30 | ug/L | 0.85636 | Accu | 210061341 | Accu 210061341: 40 µl | 0.047994 | TERBUTHYLAZINE | . | 0.006 | 0.0411 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85636 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.93108 | 0.10189 | 0.94552 | 0.13095 | 0.097075
TERBUTHYLAZINE | 2033 | 04022GCM39 | 2011-07-20 | 2010-10-01 | 2011-09-30 | ug/L | 1.0878 | Accu | 210061341 | Accu 210061341: 40 µl | 0.04808 | TERBUTHYLAZINE | . | 0.006 | 0.0523 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0878 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.93108 | 0.10189 | 0.94552 | 0.13095 | 0.097075
TERBUTHYLAZINE | 2033 | 04022GCM39 | 2011-08-30 | 2010-10-01 | 2011-09-30 | ug/L | 0.9765 | Accu | 210061341 | Accu 210061341: 80 µl | 0.09616 | TERBUTHYLAZINE | . | 0.006 | 0.0939 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9765 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.93108 | 0.10189 | 0.94552 | 0.13095 | 0.097075
TERBUTHYLAZINE | 2033 | 04022GCM39 | 2011-11-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.94842 | Accu | 210061341 | Accu 210061341: 40 µl | 0.04808 | TERBUTHYLAZINE | . | 0.008 | 0.0456 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94842 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.93108 | 0.10189 | 0.94552 | 0.13095 | 0.097075
TERBUTHYLAZINE | 2033 | 04022GCM39 | 2011-12-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.79035 | Accu | 210061341 | Accu 210061341: 80 µl | 0.09616 | TERBUTHYLAZINE | . | 0.008 | 0.076 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79035 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.93108 | 0.10189 | 0.94552 | 0.13095 | 0.097075
TERBUTHYLAZINE | 2033 | 04022GCM39 | 2012-03-02 | 2011-10-01 | 2050-09-30 | ug/L | 0.96818 | Accu | 210061341 | Accu 210061341: 80 µl | 0.09616 | TERBUTHYLAZINE | . | 0.008 | 0.0931 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96818 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.93108 | 0.10189 | 0.94552 | 0.13095 | 0.097075
TERBUTHYLAZINE | 2033 | 04022GCM39 | 2012-03-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.79659 | Accu | 210061341 | Accu 210061341: 40 µl | 0.04808 | TERBUTHYLAZINE | . | 0.008 | 0.0383 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79659 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.93108 | 0.10189 | 0.94552 | 0.13095 | 0.097075
TERBUTHYLAZINE | 2033 | 04022GCM39 | 2013-07-11 | 2011-10-01 | 2050-09-30 | ug/L | 1.2239 | ChemService, ERA | 1473000, 0318-13-02.2 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl | 0.0268 | TERBUTHYLAZINE | . | 0.008 | 0.0328 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2239 | Ch1473000, ER03102.2 | Ch | ER | ER | 1473000 | 03102.2 | 03102.2 |  | 03102.2 | 03102.2 | Y | Recoverable Result | Y | 2 |  | 1 | 1.2239 |  | 1.2239 | 0 | 0
TERBUTHYLAZINE | 2033 | 04022GCM39 | 2013-06-05 | 2011-10-01 | 2050-09-30 | ug/L | 1.191 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl | 0.067 | TERBUTHYLAZINE | . | 0.008 | 0.0798 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.191 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.1272 | 0.090235 | 1.1272 | 0.12761 | 0.094597
TERBUTHYLAZINE | 2033 | 04022GCM39 | 2014-01-08 | 2011-10-01 | 2050-09-30 | ug/L | 1.0634 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl | 0.0268 | TERBUTHYLAZINE | . | 0.008 | 0.0285 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0634 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.1272 | 0.090235 | 1.1272 | 0.12761 | 0.094597
TERBUTHYLAZINE | 2033 | 04022GCM39 | 2009-08-12 | 2008-10-01 | 2009-09-30 | ug/L | 1.1517 | ChemService | 406-99B | ChemService 406-99B: 25 µl | 0.057307 | TERBUTHYLAZINE | . | 0.006 | 0.066 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1517 | ChemService 406-99B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.2702 | 0.16757 | 1.2702 | 0.23699 | 0.17568
TERBUTHYLAZINE | 2033 | 04022GCM39 | 2009-12-01 | 2009-10-01 | 2010-09-30 | ug/L | 1.3887 | ChemService | 406-99B | ChemService 406-99B: 25 µl | 0.058329 | TERBUTHYLAZINE | . | 0.006 | 0.081 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3887 | ChemService 406-99B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.2702 | 0.16757 | 1.2702 | 0.23699 | 0.17568
TERBUTHYLAZINE | 2033 | 04022GCM39 | 2010-03-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.75717 | ChemService | 430-36C | ChemService 430-36C: 40 µl | 0.061017 | TERBUTHYLAZINE | E | 0.006 | 0.0462 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75717 | ChemService 430-36C | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 0.93356 | 0.15562 | 0.99209 | 0.29426 | 0.21813
TERBUTHYLAZINE | 2033 | 04022GCM39 | 2010-06-26 | 2009-10-01 | 2010-09-30 | ug/L | 1.0514 | ChemService | 430-36C | ChemService 430-36C: 40 µl | 0.062201 | TERBUTHYLAZINE | . | 0.006 | 0.0654 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0514 | ChemService 430-36C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.93356 | 0.15562 | 0.99209 | 0.29426 | 0.21813
TERBUTHYLAZINE | 2033 | 04022GCM39 | 2010-09-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.9921 | ChemService | 430-36C | ChemService 430-36C: 20 µl | 0.031852 | TERBUTHYLAZINE | . | 0.006 | 0.0316 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99209 | ChemService 430-36C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.93356 | 0.15562 | 0.99209 | 0.29426 | 0.21813
TERBUTHYLAZINE | 2033 | 04022GCM39 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 1.0075 | Crescent, ChemService, Cresc | 04CC101, 1473000, 10802AL | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl | 0.0268 | TERBUTHYLAZINE | . | 0.008 | 0.027 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0075 | Cr04CC101, Ch1473000, Cr10802A | Cr | Ch | Cr | 04CC101 | 1473000 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0075 |  | 1.0075 | 0 | 0
TERBUTHYLAZINE | 2033 | 04022GCM39 | 2013-09-05 | 2011-10-01 | 2050-09-30 | ug/L | 1.1577 | Crescent, Spex Organics | 04CC101, T1130514013 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl | 0.026 | TERBUTHYLAZINE | . | 0.008 | 0.0301 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1577 | Cr04CC101, SpT114013 | Cr | Sp | Sp | 04CC101 | T114013 | T114013 |  | T114013 | T114013 | Y | Recoverable Result | Y | 2 |  | 1 | 1.1577 |  | 1.1577 | 0 | 0
TERBUTHYLAZINE | 2033 | 04022GCM39 | 2009-09-16 | 2008-10-01 | 2009-09-30 | ug/L | 1.1988 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 25 µl | 0.057558 | TERBUTHYLAZINE | . | 0.006 | 0.069 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1988 | ERA 0804-08-02PEST | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1489 | 0.086683 | 1.1845 | 0.1067 | 0.079098
TERBUTHYLAZINE | 2033 | 04022GCM39 | 2009-11-11 | 2009-10-01 | 2010-09-30 | ug/L | 1.1702 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 40 µl | 0.091438 | TERBUTHYLAZINE | . | 0.006 | 0.107 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1702 | ERA 0804-08-02PEST | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1489 | 0.086683 | 1.1845 | 0.1067 | 0.079098
TERBUTHYLAZINE | 2033 | 04022GCM39 | 2010-01-17 | 2009-10-01 | 2010-09-30 | ug/L | 1.2058 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 25 µl | 0.057223 | TERBUTHYLAZINE | . | 0.006 | 0.069 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2058 | ERA 0804-08-02PEST | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1489 | 0.086683 | 1.1845 | 0.1067 | 0.079098
TERBUTHYLAZINE | 2033 | 04022GCM39 | 2010-01-21 | 2009-10-01 | 2010-09-30 | ug/L | 1.021 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 40 µl | 0.08815 | TERBUTHYLAZINE | . | 0.006 | 0.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.021 | ERA 0804-08-02PEST | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1489 | 0.086683 | 1.1845 | 0.1067 | 0.079098
TERBUTHYLAZINE | 2033 | 04022GCM39 | 2009-09-03 | 2008-10-01 | 2009-09-30 | ug/L | 0.99436 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | TERBUTHYLAZINE | . | 0.006 | 0.074 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99436 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.99436 |  | 0.99436 | 0 | 0
TERBUTHYLAZINE | 2033 | 04022GCM39 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.93857 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | TERBUTHYLAZINE | . | 0.006 | 0.0364 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93857 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0389 | 0.11318 | 1.0166 | 0.22303 | 0.16533
TERBUTHYLAZINE | 2033 | 04022GCM39 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 1.1616 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | TERBUTHYLAZINE | . | 0.006 | 0.0471 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1616 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0389 | 0.11318 | 1.0166 | 0.22303 | 0.16533
TERBUTHYLAZINE | 2033 | 04022GCM39 | 2010-12-16 | 2010-10-01 | 2011-09-30 | ug/L | 1.0166 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | TERBUTHYLAZINE | . | 0.006 | 0.0411 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0166 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0389 | 0.11318 | 1.0166 | 0.22303 | 0.16533
TERBUTHYLAZINE | 2033 | 04022GCM39 | 2011-01-20 | 2010-10-01 | 2011-09-30 | ug/L | 1.1022 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | TERBUTHYLAZINE | . | 0.006 | 0.111 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1022 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0132 | 0.084307 | 1.0258 | 0.10218 | 0.075743
TERBUTHYLAZINE | 2033 | 04022GCM39 | 2011-03-05 | 2010-10-01 | 2011-09-30 | ug/L | 1.0263 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 25 µl | 0.02475 | TERBUTHYLAZINE | . | 0.006 | 0.0254 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0263 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0132 | 0.084307 | 1.0258 | 0.10218 | 0.075743
TERBUTHYLAZINE | 2033 | 04022GCM39 | 2011-04-20 | 2010-10-01 | 2011-09-30 | ug/L | 1.0253 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.099483 | TERBUTHYLAZINE | . | 0.006 | 0.102 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0253 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0132 | 0.084307 | 1.0258 | 0.10218 | 0.075743
TERBUTHYLAZINE | 2033 | 04022GCM39 | 2011-06-22 | 2010-10-01 | 2011-09-30 | ug/L | 0.89883 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 75 µl | 0.074096 | TERBUTHYLAZINE | . | 0.006 | 0.0666 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89883 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0132 | 0.084307 | 1.0258 | 0.10218 | 0.075743
TERBUTHYLAZINE | 2033 | 04022GCM39 | 2012-09-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.90333 | Restek, Abs | A088380, 052412 | Restek A088380: 20 µl & Abs 052412: 20 µl | 0.03 | TERBUTHYLAZINE | . | 0.008 | 0.0271 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90333 | ReA088380, Ab052412 | Re | Ab | Ab | A088380 | 052412 | 052412 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.84 | 0.089567 | 0.84 | 0.12667 | 0.093897
TERBUTHYLAZINE | 2033 | 04022GCM39 | 2013-03-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.77667 | Restek, Abs | A088380, 052412 | Restek A088380: 20 µl & Abs 052412: 20 µl | 0.03 | TERBUTHYLAZINE | . | 0.008 | 0.0233 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77667 | ReA088380, Ab052412 | Re | Ab | Ab | A088380 | 052412 | 052412 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.84 | 0.089567 | 0.84 | 0.12667 | 0.093897
TERBUTHYLAZINE | 2033 | 04022GCM39 | 2012-11-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.932 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl | 0.075 | TERBUTHYLAZINE | . | 0.008 | 0.0699 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.932 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 1.0618 | 0.18478 | 0.98 | 0.34133 | 0.25303
TERBUTHYLAZINE | 2033 | 04022GCM39 | 2013-02-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.98 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl | 0.15 | TERBUTHYLAZINE | . | 0.008 | 0.147 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 1.0618 | 0.18478 | 0.98 | 0.34133 | 0.25303
TERBUTHYLAZINE | 2033 | 04022GCM39 | 2013-05-22 | 2011-10-01 | 2050-09-30 | ug/L | 1.2733 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl | 0.03 | TERBUTHYLAZINE | . | 0.008 | 0.0382 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2733 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 1.0618 | 0.18478 | 0.98 | 0.34133 | 0.25303
TERBUTHYLAZINE | 2033 | 04022GCM39 | 2012-07-14 | 2011-10-01 | 2050-09-30 | ug/L | 1.0233 | Restek, Supelco | A088380, LB92783 | Restek A088380: 20 µl & Supelco LB92783: 20 µl | 0.03 | TERBUTHYLAZINE | . | 0.008 | 0.0307 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0233 | ReA088380, SuLB92783 | Re | Su | Su | A088380 | LB92783 | LB92783 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0233 |  | 1.0233 | 0 | 0
TERBUTHYLAZINE | 2033 | 04022GCM39 | 2013-07-23 | 2011-10-01 | 2050-09-30 | ug/L | 1.0933 | Restek, Abs | A093651, 012513 | Restek A093651: 20 µl & Abs 012513: 20 µl | 0.03 | TERBUTHYLAZINE | . | 0.008 | 0.0328 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0933 | ReA093651, Ab012513 | Re | Ab | Ab | A093651 | 012513 | 012513 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0933 |  | 1.0933 | 0 | 0
TERBUTHYLAZINE | 2033 | 04022GCM39 | 2013-09-14 | 2011-10-01 | 2050-09-30 | ug/L | 1.0867 | Restek, Abs, Crescent | A093651, 012513, 10802AL | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl | 0.075 | TERBUTHYLAZINE | . | 0.008 | 0.0815 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0867 | ReA093651, Ab012513, Cr10802AL | Re | Ab | Cr | A093651 | 012513 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0867 |  | 1.0867 | 0 | 0
TERBUTHYLAZINE | 2033 | 04022GCM39 | 2013-11-04 | 2011-10-01 | 2050-09-30 | ug/L | 1.0467 | Restek, Abs, Crescent | A093651, 052412, 10802AL | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl | 0.03 | TERBUTHYLAZINE | . | 0.008 | 0.0314 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0467 | ReA093651, Ab052412, Cr10802AL | Re | Ab | Cr | A093651 | 052412 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0917 | 0.06364 | 1.0917 | 0.09 | 0.066716
TERBUTHYLAZINE | 2033 | 04022GCM39 | 2014-01-08 | 2011-10-01 | 2050-09-30 | ug/L | 1.1367 | Restek, Abs, Crescent | A093651, 052412, 10802AL | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl | 0.03 | TERBUTHYLAZINE | . | 0.008 | 0.0341 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1367 | ReA093651, Ab052412, Cr10802AL | Re | Ab | Cr | A093651 | 052412 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0917 | 0.06364 | 1.0917 | 0.09 | 0.066716
TERBUTHYLAZINE | 2033 | 04022GCM39 | 2010-02-02 | 2009-10-01 | 2010-09-30 | ug/L | 0.71174 | Restek | A069639 | Restek A069639: 20 µl | 0.030348 | TERBUTHYLAZINE | . | 0.006 | 0.0216 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71174 | Restek A069639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.84556 | 0.15704 | 0.80042 | 0.20874 | 0.15474
TERBUTHYLAZINE | 2033 | 04022GCM39 | 2010-03-19 | 2009-10-01 | 2010-09-30 | ug/L | 0.77064 | Restek | A069639 | Restek A069639: 20 µl | 0.030754 | TERBUTHYLAZINE | . | 0.006 | 0.0237 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77064 | Restek A069639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.84556 | 0.15704 | 0.80042 | 0.20874 | 0.15474
TERBUTHYLAZINE | 2033 | 04022GCM39 | 2010-07-29 | 2009-10-01 | 2010-09-30 | ug/L | 1.0697 | Restek | A069639 | Restek A069639: 100 µl | 0.15893 | TERBUTHYLAZINE | . | 0.006 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0697 | Restek A069639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.84556 | 0.15704 | 0.80042 | 0.20874 | 0.15474
TERBUTHYLAZINE | 2033 | 04022GCM39 | 2010-10-18 | 2010-10-01 | 2011-09-30 | ug/L | 0.8302 | Restek | A069639 | Restek A069639: 40 µl | 0.060829 | TERBUTHYLAZINE | . | 0.006 | 0.0505 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8302 | Restek A069639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.84556 | 0.15704 | 0.80042 | 0.20874 | 0.15474
TERBUTHYLAZINE | 2033 | 04022GCM39 | 2012-06-28 | 2011-10-01 | 2050-09-30 | ug/L | 1.0413 | Restek | A088380 | Restek A088380: 50 µl | 0.075 | TERBUTHYLAZINE | . | 0.008 | 0.0781 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0413 | Restek A088380 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.0413 |  | 1.0413 | 0 | 0
TERBUTHYLAZINE | 2033 | 04022GCM39 | 2012-08-29 | 2011-10-01 | 2050-09-30 | ug/L | 1.0567 | Spex Organics, Crescent | T1120530013, 05BB029 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl | 0.03 | TERBUTHYLAZINE | . | 0.008 | 0.0317 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0567 | SpT110013, Cr05BB029 | Sp | Cr | Cr | T110013 | 05BB029 | 05BB029 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.095 | 0.054212 | 1.095 | 0.076667 | 0.056832
TERBUTHYLAZINE | 2033 | 04022GCM39 | 2012-12-20 | 2011-10-01 | 2050-09-30 | ug/L | 1.1333 | Spex Organics, Crescent | T1120530013, 05BB029 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl | 0.15 | TERBUTHYLAZINE | . | 0.008 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1333 | SpT110013, Cr05BB029 | Sp | Cr | Cr | T110013 | 05BB029 | 05BB029 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.095 | 0.054212 | 1.095 | 0.076667 | 0.056832
TERBUTHYLAZINE | 2033 | 04022GCM39 | 2012-09-05 | 2011-10-01 | 2050-09-30 | ug/L | 1.25 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl | 0.03 | TERBUTHYLAZINE | . | 0.008 | 0.0375 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.25 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 1.1477 | 0.14472 | 1.1477 | 0.20467 | 0.15172
TERBUTHYLAZINE | 2033 | 04022GCM39 | 2013-01-15 | 2011-10-01 | 2050-09-30 | ug/L | 1.0453 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl | 0.075 | TERBUTHYLAZINE | . | 0.008 | 0.0784 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0453 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 1.1477 | 0.14472 | 1.1477 | 0.20467 | 0.15172
TERBUTHYLAZINE | 2033 | 04022GCM39 | 2012-11-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.97333 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl | 0.15 | TERBUTHYLAZINE | . | 0.008 | 0.146 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97333 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.94444 | 0.12585 | 0.97333 | 0.24667 | 0.18285
TERBUTHYLAZINE | 2033 | 04022GCM39 | 2013-02-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.80667 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl | 0.03 | TERBUTHYLAZINE | . | 0.008 | 0.0242 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80667 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.94444 | 0.12585 | 0.97333 | 0.24667 | 0.18285
TERBUTHYLAZINE | 2033 | 04022GCM39 | 2013-04-02 | 2011-10-01 | 2050-09-30 | ug/L | 1.0533 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl | 0.075 | TERBUTHYLAZINE | . | 0.008 | 0.079 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0533 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.94444 | 0.12585 | 0.97333 | 0.24667 | 0.18285
TERBUTHYLAZINE | 2033 | 04022GCM39 | 2013-09-20 | 2011-10-01 | 2050-09-30 | ug/L | 1.0769 | Spex Organics, ERA | T1130514013, 0318-13-02.2 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl | 0.13 | TERBUTHYLAZINE | . | 0.008 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0769 | SpT114013, ER03102.2 | Sp | ER | ER | T114013 | 03102.2 | 03102.2 | T114013 | 03102.2 | 03102.2 | Y | Recoverable Result | Y | 2 |  | 1 | 1.0769 |  | 1.0769 | 0 | 0
TERBUTHYLAZINE | 2033 | 04022GCM39 | 2013-11-09 | 2011-10-01 | 2050-09-30 | ug/L | 1.1615 | Spex Organics, Supelco | T1130514013, LB99392 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl | 0.026 | TERBUTHYLAZINE | . | 0.008 | 0.0302 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1615 | SpT114013, SuLB99392 | Sp | Su | Su | T114013 | LB99392 | LB99392 | T114013 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1615 |  | 1.1615 | 0 | 0