## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
THIOBENCARB | 2033 | 82681GCM35 | 2012-12-06 | 2010-10-01 | 2050-09-30 | ug/L | 1 | Abs, ERA | 052412, 0507-12-04.2 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl | 0.304 | THIOBENCARB | . | 0.016 | 0.304 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | Ab052412, ER05004.2 | Ab | ER | ER | 052412 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.90132 | 0.13956 | 0.90132 | 0.19737 | 0.14631
THIOBENCARB | 2033 | 82681GCM35 | 2013-04-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.80263 | Abs, ERA | 052412, 0507-12-04.2 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl | 0.152 | THIOBENCARB | . | 0.016 | 0.122 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80263 | Ab052412, ER05004.2 | Ab | ER | ER | 052412 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.90132 | 0.13956 | 0.90132 | 0.19737 | 0.14631
THIOBENCARB | 2033 | 82681GCM35 | 2012-08-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.92667 | Abs, Supelco | 052412, LB92783 | Abs 052412: 20 µl & Supelco LB92783: 20 µl | 0.06 | THIOBENCARB | . | 0.016 | 0.0556 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92667 | Ab052412, SuLB92783 | Ab | Su | Su | 052412 | LB92783 | LB92783 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.92667 |  | 0.92667 | 0 | 0
THIOBENCARB | 2033 | 82681GCM35 | 2013-07-11 | 2010-10-01 | 2050-09-30 | ug/L | 0.49799 | ChemService, ERA | 1473000, 0318-13-02.2 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl | 0.0498 | THIOBENCARB | . | 0.016 | 0.0248 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49799 | Ch1473000, ER03102.2 | Ch | ER | ER | 1473000 | 03102.2 | 03102.2 |  | 03102.2 | 03102.2 | Y | Recoverable Result | Y | 2 |  | 1 | 0.49799 |  | 0.49799 | 0 | 0
THIOBENCARB | 2033 | 82681GCM35 | 2013-06-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.096 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl | 0.125 | THIOBENCARB | . | 0.016 | 0.137 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.096 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.038 | 0.082024 | 1.038 | 0.116 | 0.08599
THIOBENCARB | 2033 | 82681GCM35 | 2014-01-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.98 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl | 0.05 | THIOBENCARB | . | 0.016 | 0.049 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.038 | 0.082024 | 1.038 | 0.116 | 0.08599
THIOBENCARB | 2033 | 82681GCM35 | 2012-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.91283 | Crescent, ERA | 05BB029, 0507-12-04.2 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl | 0.0608 | THIOBENCARB | . | 0.016 | 0.0555 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91283 | Cr05BB029, ER05004.2 | Cr | ER | ER | 05BB029 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.80016 | 0.15933 | 0.80016 | 0.22533 | 0.16703
THIOBENCARB | 2033 | 82681GCM35 | 2013-03-07 | 2010-10-01 | 2050-09-30 | ug/L | 0.6875 | Crescent, ERA | 05BB029, 0507-12-04.2 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl | 0.0608 | THIOBENCARB | . | 0.016 | 0.0418 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6875 | Cr05BB029, ER05004.2 | Cr | ER | ER | 05BB029 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.80016 | 0.15933 | 0.80016 | 0.22533 | 0.16703
THIOBENCARB | 2033 | 82681GCM35 | 2013-09-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.81124 | ERA, Abs, Crescent | 0318-13-02.2, 042413, 10802AL | ERA 0318-13-02.2: 50 µl & Abs 042413: 50 µl & Crescent 10802AL: 10 µl | 0.1245 | THIOBENCARB | . | 0.016 | 0.101 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81124 | ER03102.2, Ab042413, Cr10802AL | ER | Ab | Cr | 03102.2 | 042413 | 10802AL | 03102.2 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.70884 | 0.14483 | 0.70884 | 0.20482 | 0.15183
THIOBENCARB | 2033 | 82681GCM35 | 2014-01-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.60643 | ERA, Abs, Crescent | 0318-13-02.2, 042413, 10802AL | ERA 0318-13-02.2: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl | 0.0498 | THIOBENCARB | . | 0.016 | 0.0302 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60643 | ER03102.2, Ab042413, Cr10802AL | ER | Ab | Cr | 03102.2 | 042413 | 10802AL | 03102.2 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.70884 | 0.14483 | 0.70884 | 0.20482 | 0.15183
THIOBENCARB | 2033 | 82681GCM35 | 2013-06-11 | 2010-10-01 | 2050-09-30 | ug/L | 0.59839 | ERA, Crescent | 0318-13-02.2, 04CC101 | ERA 0318-13-02.2: 20 µl & Crescent 04CC101: 20 µl | 0.0498 | THIOBENCARB | . | 0.016 | 0.0298 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59839 | ER03102.2, Cr04CC101 | ER | Cr | Cr | 03102.2 | 04CC101 | 04CC101 | 03102.2 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.59839 |  | 0.59839 | 0 | 0
THIOBENCARB | 2033 | 82681GCM35 | 2011-09-13 | 2010-10-01 | 2050-09-30 | ug/L | 0.62751 | ERA | 0318-13-02.2 | ERA 0318-13-02.2: 40 µl | 0.0996 | THIOBENCARB | . | 0.016 | 0.0625 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62751 | ERA 0318-13-02.2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.62751 |  | 0.62751 | 0 | 0
THIOBENCARB | 2033 | 82681GCM35 | 2012-10-12 | 2010-10-01 | 2050-09-30 | ug/L | 1.0066 | ERA | 0507-12-04.2 | ERA 0507-12-04.2: 50 µl | 0.152 | THIOBENCARB | . | 0.016 | 0.153 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0066 | ERA 0507-12-04.2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.0066 |  | 1.0066 | 0 | 0
THIOBENCARB | 2033 | 82681GCM35 | 2011-01-13 | 2010-10-01 | 2050-09-30 | ug/L | 1.049 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 80 µl | 0.085132 | THIOBENCARB | . | 0.016 | 0.0893 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.049 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.82546 | 0.13074 | 0.7739 | 0.14122 | 0.10468
THIOBENCARB | 2033 | 82681GCM35 | 2011-02-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.65492 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.04199 | THIOBENCARB | . | 0.016 | 0.0275 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65492 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.82546 | 0.13074 | 0.7739 | 0.14122 | 0.10468
THIOBENCARB | 2033 | 82681GCM35 | 2011-02-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.78145 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 80 µl | 0.085098 | THIOBENCARB | . | 0.016 | 0.0665 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78145 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.82546 | 0.13074 | 0.7739 | 0.14122 | 0.10468
THIOBENCARB | 2033 | 82681GCM35 | 2011-04-13 | 2010-10-01 | 2050-09-30 | ug/L | 0.85001 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.043058 | THIOBENCARB | . | 0.016 | 0.0366 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85001 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.82546 | 0.13074 | 0.7739 | 0.14122 | 0.10468
THIOBENCARB | 2033 | 82681GCM35 | 2011-06-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.88537 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.043258 | THIOBENCARB | . | 0.016 | 0.0383 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88538 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.82546 | 0.13074 | 0.7739 | 0.14122 | 0.10468
THIOBENCARB | 2033 | 82681GCM35 | 2011-07-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.76636 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.0428 | THIOBENCARB | . | 0.016 | 0.0328 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76636 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.82546 | 0.13074 | 0.7739 | 0.14122 | 0.10468
THIOBENCARB | 2033 | 82681GCM35 | 2011-10-25 | 2010-10-01 | 2050-09-30 | ug/L | 0.73832 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.0428 | THIOBENCARB | . | 0.016 | 0.0316 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73832 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.82546 | 0.13074 | 0.7739 | 0.14122 | 0.10468
THIOBENCARB | 2033 | 82681GCM35 | 2011-12-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.74416 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 80 µl | 0.0856 | THIOBENCARB | . | 0.016 | 0.0637 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74416 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.82546 | 0.13074 | 0.7739 | 0.14122 | 0.10468
THIOBENCARB | 2033 | 82681GCM35 | 2012-03-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.74766 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.0428 | THIOBENCARB | . | 0.016 | 0.032 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74766 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.82546 | 0.13074 | 0.7739 | 0.14122 | 0.10468
THIOBENCARB | 2033 | 82681GCM35 | 2012-05-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.0374 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.0428 | THIOBENCARB | . | 0.016 | 0.0444 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0374 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.82546 | 0.13074 | 0.7739 | 0.14122 | 0.10468
THIOBENCARB | 2033 | 82681GCM35 | 2009-09-03 | 2008-10-01 | 2009-09-30 | ug/L | 1.075 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | THIOBENCARB | . | 0.016 | 0.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.075 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.075 |  | 1.075 | 0 | 0
THIOBENCARB | 2033 | 82681GCM35 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.81996 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | THIOBENCARB | . | 0.016 | 0.0318 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81996 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.96399 | 0.1462 | 0.95972 | 0.29231 | 0.21669
THIOBENCARB | 2033 | 82681GCM35 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 1.1123 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | THIOBENCARB | . | 0.016 | 0.0451 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1123 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.96399 | 0.1462 | 0.95972 | 0.29231 | 0.21669
THIOBENCARB | 2033 | 82681GCM35 | 2010-12-16 | 2010-10-01 | 2050-09-30 | ug/L | 0.95972 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | THIOBENCARB | . | 0.016 | 0.0388 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95972 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.96399 | 0.1462 | 0.95972 | 0.29231 | 0.21669
THIOBENCARB | 2033 | 82681GCM35 | 2011-01-20 | 2010-10-01 | 2050-09-30 | ug/L | 1.0724 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | THIOBENCARB | . | 0.016 | 0.108 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0724 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.95256 | 0.12126 | 0.97482 | 0.17151 | 0.12714
THIOBENCARB | 2033 | 82681GCM35 | 2011-03-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.94545 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 25 µl | 0.02475 | THIOBENCARB | . | 0.016 | 0.0234 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94545 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.95256 | 0.12126 | 0.97482 | 0.17151 | 0.12714
THIOBENCARB | 2033 | 82681GCM35 | 2011-04-20 | 2010-10-01 | 2050-09-30 | ug/L | 1.0042 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.099483 | THIOBENCARB | . | 0.016 | 0.0999 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0042 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.95256 | 0.12126 | 0.97482 | 0.17151 | 0.12714
THIOBENCARB | 2033 | 82681GCM35 | 2011-06-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.78817 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 75 µl | 0.074096 | THIOBENCARB | . | 0.016 | 0.0584 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78817 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.95256 | 0.12126 | 0.97482 | 0.17151 | 0.12714
THIOBENCARB | 2033 | 82681GCM35 | 2012-07-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.79333 | Restek, Supelco | A088380, LB92783 | Restek A088380: 20 µl & Supelco LB92783: 20 µl | 0.06 | THIOBENCARB | . | 0.016 | 0.0476 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79333 | ReA088380, SuLB92783 | Re | Su | Su | A088380 | LB92783 | LB92783 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.79333 |  | 0.79333 | 0 | 0
THIOBENCARB | 2033 | 82681GCM35 | 2009-08-25 | 2008-10-01 | 2009-09-30 | ug/L | 1.2311 | Restek | A063025 | Restek A063025: 40 µl | 0.1787 | THIOBENCARB | . | 0.016 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2311 | Restek A063025 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.2391 | 0.011292 | 1.2391 | 0.015969 | 0.011838
THIOBENCARB | 2033 | 82681GCM35 | 2009-12-11 | 2009-10-01 | 2010-09-30 | ug/L | 1.2471 | Restek | A063025 | Restek A063025: 25 µl | 0.11066 | THIOBENCARB | . | 0.016 | 0.138 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2471 | Restek A063025 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.2391 | 0.011292 | 1.2391 | 0.015969 | 0.011838
THIOBENCARB | 2033 | 82681GCM35 | 2012-09-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.90625 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl | 0.0608 | THIOBENCARB | . | 0.016 | 0.0551 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90625 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.85773 | 0.068617 | 0.85773 | 0.097039 | 0.071934
THIOBENCARB | 2033 | 82681GCM35 | 2013-01-15 | 2010-10-01 | 2050-09-30 | ug/L | 0.80921 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl | 0.152 | THIOBENCARB | . | 0.016 | 0.123 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80921 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.85773 | 0.068617 | 0.85773 | 0.097039 | 0.071934
THIOBENCARB | 2033 | 82681GCM35 | 2012-11-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.79667 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl | 0.3 | THIOBENCARB | . | 0.016 | 0.239 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79667 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.70056 | 0.13075 | 0.75333 | 0.245 | 0.18162
THIOBENCARB | 2033 | 82681GCM35 | 2013-02-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.55167 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl | 0.06 | THIOBENCARB | . | 0.016 | 0.0331 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55167 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.70056 | 0.13075 | 0.75333 | 0.245 | 0.18162
THIOBENCARB | 2033 | 82681GCM35 | 2013-04-02 | 2010-10-01 | 2050-09-30 | ug/L | 0.75333 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl | 0.15 | THIOBENCARB | . | 0.016 | 0.113 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75333 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.70056 | 0.13075 | 0.75333 | 0.245 | 0.18162
THIOBENCARB | 2033 | 82681GCM35 | 2013-09-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.83133 | Spex Organics, ERA | T1130514013, 0318-13-02.2 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl | 0.249 | THIOBENCARB | . | 0.016 | 0.207 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83133 | SpT114013, ER03102.2 | Sp | ER | ER | T114013 | 03102.2 | 03102.2 | T114013 | 03102.2 | 03102.2 | Y | Recoverable Result | Y | 2 |  | 1 | 0.83133 |  | 0.83133 | 0 | 0
THIOBENCARB | 2033 | 82681GCM35 | 2013-11-09 | 2010-10-01 | 2050-09-30 | ug/L | 0.938 | Spex Organics, Supelco | T1130514013, LB99392 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl | 0.05 | THIOBENCARB | . | 0.016 | 0.0469 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.938 | SpT114013, SuLB99392 | Sp | Su | Su | T114013 | LB99392 | LB99392 | T114013 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.938 |  | 0.938 | 0 | 0
THIOBENCARB | 2033 | 82681GCM35 | 2010-06-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.91466 | Spex Organics | T1090901009 | Spex Organics T1090901009: 20 µl | 0.060241 | THIOBENCARB | . | 0.016 | 0.0551 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91466 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.83525 | 0.13262 | 0.85148 | 0.21105 | 0.15645
THIOBENCARB | 2033 | 82681GCM35 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.9669 | Spex Organics | T1090901009 | Spex Organics T1090901009: 100 µl | 0.30303 | THIOBENCARB | . | 0.016 | 0.293 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9669 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.83525 | 0.13262 | 0.85148 | 0.21105 | 0.15645
THIOBENCARB | 2033 | 82681GCM35 | 2010-09-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.67116 | Spex Organics | T1090901009 | Spex Organics T1090901009: 20 µl | 0.061237 | THIOBENCARB | . | 0.016 | 0.0411 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67116 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.83525 | 0.13262 | 0.85148 | 0.21105 | 0.15645
THIOBENCARB | 2033 | 82681GCM35 | 2010-12-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.78829 | Spex Organics | T1090901009 | Spex Organics T1090901009: 40 µl | 0.1233 | THIOBENCARB | . | 0.016 | 0.0972 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78829 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.83525 | 0.13262 | 0.85148 | 0.21105 | 0.15645
THIOBENCARB | 2033 | 82681GCM35 | 2011-01-11 | 2010-10-01 | 2050-09-30 | ug/L | 1.0923 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.087155 | THIOBENCARB | . | 0.016 | 0.0952 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0923 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.95955 | 0.098304 | 0.98388 | 0.11591 | 0.085922
THIOBENCARB | 2033 | 82681GCM35 | 2011-01-21 | 2010-10-01 | 2050-09-30 | ug/L | 0.98388 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.043908 | THIOBENCARB | . | 0.016 | 0.0432 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98388 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.95955 | 0.098304 | 0.98388 | 0.11591 | 0.085922
THIOBENCARB | 2033 | 82681GCM35 | 2011-02-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.77377 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.044199 | THIOBENCARB | . | 0.016 | 0.0342 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77377 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.95955 | 0.098304 | 0.98388 | 0.11591 | 0.085922
THIOBENCARB | 2033 | 82681GCM35 | 2011-03-23 | 2010-10-01 | 2050-09-30 | ug/L | 1.0765 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.043103 | THIOBENCARB | . | 0.016 | 0.0464 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0765 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.95955 | 0.098304 | 0.98388 | 0.11591 | 0.085922
THIOBENCARB | 2033 | 82681GCM35 | 2011-05-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.825 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.044485 | THIOBENCARB | . | 0.016 | 0.0367 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.825 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.95955 | 0.098304 | 0.98388 | 0.11591 | 0.085922
THIOBENCARB | 2033 | 82681GCM35 | 2011-07-07 | 2010-10-01 | 2050-09-30 | ug/L | 1.0114 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.088 | THIOBENCARB | . | 0.016 | 0.089 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0114 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.95955 | 0.098304 | 0.98388 | 0.11591 | 0.085922
THIOBENCARB | 2033 | 82681GCM35 | 2011-09-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.86364 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.044 | THIOBENCARB | . | 0.016 | 0.038 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86364 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.95955 | 0.098304 | 0.98388 | 0.11591 | 0.085922
THIOBENCARB | 2033 | 82681GCM35 | 2011-09-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.90114 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.088 | THIOBENCARB | . | 0.016 | 0.0793 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90114 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.95955 | 0.098304 | 0.98388 | 0.11591 | 0.085922
THIOBENCARB | 2033 | 82681GCM35 | 2011-11-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.90909 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.044 | THIOBENCARB | . | 0.016 | 0.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90909 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.95955 | 0.098304 | 0.98388 | 0.11591 | 0.085922
THIOBENCARB | 2033 | 82681GCM35 | 2011-12-21 | 2010-10-01 | 2050-09-30 | ug/L | 1.0136 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.088 | THIOBENCARB | . | 0.016 | 0.0892 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0136 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.95955 | 0.098304 | 0.98388 | 0.11591 | 0.085922
THIOBENCARB | 2033 | 82681GCM35 | 2012-01-27 | 2010-10-01 | 2050-09-30 | ug/L | 1.017 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.088 | THIOBENCARB | . | 0.016 | 0.0895 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.017 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.95955 | 0.098304 | 0.98388 | 0.11591 | 0.085922
THIOBENCARB | 2033 | 82681GCM35 | 2012-04-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.0455 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.044 | THIOBENCARB | . | 0.016 | 0.046 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0455 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.95955 | 0.098304 | 0.98388 | 0.11591 | 0.085922
THIOBENCARB | 2033 | 82681GCM35 | 2012-06-02 | 2010-10-01 | 2050-09-30 | ug/L | 0.96136 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.044 | THIOBENCARB | . | 0.016 | 0.0423 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96136 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.95955 | 0.098304 | 0.98388 | 0.11591 | 0.085922
THIOBENCARB | 2033 | 82681GCM35 | 2012-10-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.95333 | Supelco, Abs | LB92783, 052412 | Supelco LB92783: 50 µl & Abs 052412: 50 µl | 0.15 | THIOBENCARB | . | 0.016 | 0.143 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95333 | SuLB92783, Ab052412 | Su | Ab | Ab | LB92783 | 052412 | 052412 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.97 | 0.02357 | 0.97 | 0.033333 | 0.02471
THIOBENCARB | 2033 | 82681GCM35 | 2013-01-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.98667 | Supelco, Abs | LB92783, 052412 | Supelco LB92783: 50 µl & Abs 052412: 50 µl | 0.15 | THIOBENCARB | . | 0.016 | 0.148 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98667 | SuLB92783, Ab052412 | Su | Ab | Ab | LB92783 | 052412 | 052412 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.97 | 0.02357 | 0.97 | 0.033333 | 0.02471
THIOBENCARB | 2033 | 82681GCM35 | 2013-11-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.986 | Supelco, Abs, Crescent | LB99392, 042413, 10802AL | Supelco LB99392: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl | 0.05 | THIOBENCARB | . | 0.016 | 0.0493 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.986 | SuLB99392, Ab042413, Cr10802AL | Su | Ab | Cr | LB99392 | 042413 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.986 |  | 0.986 | 0 | 0
THIOBENCARB | 2033 | 82681GCM35 | 2013-08-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.944 | Supelco, Crescent | LB99392, 04CC101 | Supelco LB99392: 50 µl & Crescent 04CC101: 50 µl | 0.125 | THIOBENCARB | . | 0.016 | 0.118 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.944 | SuLB99392, Cr04CC101 | Su | Cr | Cr | LB99392 | 04CC101 | 04CC101 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.944 |  | 0.944 | 0 | 0
THIOBENCARB | 2033 | 82681GCM35 | 2009-09-29 | 2008-10-01 | 2009-09-30 | ug/L | 1.1111 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.1098 | THIOBENCARB | . | 0.016 | 0.122 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1111 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.0216 | 0.12656 | 1.0216 | 0.17898 | 0.13267
THIOBENCARB | 2033 | 82681GCM35 | 2010-01-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.93214 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.10943 | THIOBENCARB | . | 0.016 | 0.102 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93214 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.0216 | 0.12656 | 1.0216 | 0.17898 | 0.13267
THIOBENCARB | 2033 | 82681GCM35 | 2010-02-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.9398 | Ultra | CF-3558 | Ultra CF-3558: 40 µl | 0.11811 | THIOBENCARB | . | 0.016 | 0.111 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9398 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0396 | 0.34892 | 0.94677 | 0.41356 | 0.30657
THIOBENCARB | 2033 | 82681GCM35 | 2010-05-19 | 2009-10-01 | 2010-09-30 | ug/L | 1.5391 | Ultra | CF-3558 | Ultra CF-3558: 20 µl | 0.060945 | THIOBENCARB | . | 0.016 | 0.0938 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5391 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0396 | 0.34892 | 0.94677 | 0.41356 | 0.30657
THIOBENCARB | 2033 | 82681GCM35 | 2010-08-10 | 2009-10-01 | 2010-09-30 | ug/L | 0.95374 | Ultra | CF-3558 | Ultra CF-3558: 40 µl | 0.12267 | THIOBENCARB | . | 0.016 | 0.117 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95374 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0396 | 0.34892 | 0.94677 | 0.41356 | 0.30657
THIOBENCARB | 2033 | 82681GCM35 | 2010-12-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.72593 | Ultra | CF-3558 | Ultra CF-3558: 20 µl | 0.060612 | THIOBENCARB | . | 0.016 | 0.044 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72593 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0396 | 0.34892 | 0.94677 | 0.41356 | 0.30657