## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
TRANS-PROPICONAZOLE | 2033 | 79847GCM40 | 2013-06-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.67164 | Abs, ChemService | 042413, 1473000 | Abs 042413: 20 µl & ChemService 1473000: 20 µl | 0.0402 | TRANS-PROPICONAZOLE | E | 0.018 | 0.027 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67164 | Ab042413, Ch1473000 | Ab | Ch | Ch | 042413 | 1473000 | 1473000 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.67164 |  | 0.67164 | 0 | 0
TRANS-PROPICONAZOLE | 2033 | 79847GCM40 | 2013-10-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.72637 | Abs, Spex Organics, Crescent | 042413, T1130514013, 10802AL | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl | 0.1005 | TRANS-PROPICONAZOLE | E | 0.018 | 0.073 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72637 | Ab042413, SpT114013, Cr10802AL | Ab | Sp | Cr | 042413 | T114013 | 10802AL |  | T114013 |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.72637 |  | 0.72637 | 0 | 0
TRANS-PROPICONAZOLE | 2033 | 79847GCM40 | 2011-01-07 | 2010-10-01 | 2011-09-30 | ug/L | 0.82818 | Abs | 080610 | Abs 080610: 40 µl | 0.041054 | TRANS-PROPICONAZOLE | E | 0.01 | 0.034 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82818 | Abs 080610 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.6827 | 0.17282 | 0.63458 | 0.1859 | 0.1378
TRANS-PROPICONAZOLE | 2033 | 79847GCM40 | 2011-01-28 | 2010-10-01 | 2011-09-30 | ug/L | 0.67196 | Abs | 080610 | Abs 080610: 80 µl | 0.080362 | TRANS-PROPICONAZOLE | E | 0.01 | 0.054 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67196 | Abs 080610 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.6827 | 0.17282 | 0.63458 | 0.1859 | 0.1378
TRANS-PROPICONAZOLE | 2033 | 79847GCM40 | 2011-02-22 | 2010-10-01 | 2011-09-30 | ug/L | 0.55644 | Abs | 080610 | Abs 080610: 40 µl | 0.041334 | TRANS-PROPICONAZOLE | E | 0.01 | 0.023 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55644 | Abs 080610 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.6827 | 0.17282 | 0.63458 | 0.1859 | 0.1378
TRANS-PROPICONAZOLE | 2033 | 79847GCM40 | 2011-03-16 | 2010-10-01 | 2011-09-30 | ug/L | 0.69944 | Abs | 080610 | Abs 080610: 80 µl | 0.082923 | TRANS-PROPICONAZOLE | E | 0.01 | 0.058 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69944 | Abs 080610 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.6827 | 0.17282 | 0.63458 | 0.1859 | 0.1378
TRANS-PROPICONAZOLE | 2033 | 79847GCM40 | 2011-05-03 | 2010-10-01 | 2011-09-30 | ug/L | 0.79458 | Abs | 080610 | Abs 080610: 40 µl | 0.041532 | TRANS-PROPICONAZOLE | E | 0.01 | 0.033 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79458 | Abs 080610 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.6827 | 0.17282 | 0.63458 | 0.1859 | 0.1378
TRANS-PROPICONAZOLE | 2033 | 79847GCM40 | 2011-05-29 | 2010-10-01 | 2011-09-30 | ug/L | 0.52329 | Abs | 080610 | Abs 080610: 80 µl | 0.084083 | TRANS-PROPICONAZOLE | E | 0.01 | 0.044 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52329 | Abs 080610 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.6827 | 0.17282 | 0.63458 | 0.1859 | 0.1378
TRANS-PROPICONAZOLE | 2033 | 79847GCM40 | 2011-08-22 | 2010-10-01 | 2011-09-30 | ug/L | 1.1494 | Abs | 080610 | Abs 080610: 40 µl | 0.04176 | TRANS-PROPICONAZOLE | E | 0.01 | 0.048 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1494 | Abs 080610 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.6827 | 0.17282 | 0.63458 | 0.1859 | 0.1378
TRANS-PROPICONAZOLE | 2033 | 79847GCM40 | 2011-10-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.74234 | Abs | 080610 | Abs 080610: 40 µl | 0.04176 | TRANS-PROPICONAZOLE | E | 0.018 | 0.031 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74234 | Abs 080610 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.6827 | 0.17282 | 0.63458 | 0.1859 | 0.1378
TRANS-PROPICONAZOLE | 2033 | 79847GCM40 | 2012-01-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.59866 | Abs | 080610 | Abs 080610: 40 µl | 0.04176 | TRANS-PROPICONAZOLE | E | 0.018 | 0.025 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59866 | Abs 080610 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.6827 | 0.17282 | 0.63458 | 0.1859 | 0.1378
TRANS-PROPICONAZOLE | 2033 | 79847GCM40 | 2012-02-09 | 2011-10-01 | 2050-09-30 | ug/L | 0.63458 | Abs | 080610 | Abs 080610: 80 µl | 0.08352 | TRANS-PROPICONAZOLE | E | 0.018 | 0.053 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63458 | Abs 080610 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.6827 | 0.17282 | 0.63458 | 0.1859 | 0.1378
TRANS-PROPICONAZOLE | 2033 | 79847GCM40 | 2012-03-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.62261 | Abs | 080610 | Abs 080610: 40 µl | 0.04176 | TRANS-PROPICONAZOLE | E | 0.018 | 0.026 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62261 | Abs 080610 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.6827 | 0.17282 | 0.63458 | 0.1859 | 0.1378
TRANS-PROPICONAZOLE | 2033 | 79847GCM40 | 2012-04-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.52682 | Abs | 080610 | Abs 080610: 40 µl | 0.04176 | TRANS-PROPICONAZOLE | E | 0.018 | 0.022 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52682 | Abs 080610 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.6827 | 0.17282 | 0.63458 | 0.1859 | 0.1378
TRANS-PROPICONAZOLE | 2033 | 79847GCM40 | 2012-04-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.52682 | Abs | 080610 | Abs 080610: 80 µl | 0.08352 | TRANS-PROPICONAZOLE | E | 0.018 | 0.044 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52682 | Abs 080610 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.6827 | 0.17282 | 0.63458 | 0.1859 | 0.1378
TRANS-PROPICONAZOLE | 2033 | 79847GCM40 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 1.025 | Crescent, ChemService, Cresc | 04CC101, 1473000, 10802AL | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl | 0.04 | TRANS-PROPICONAZOLE | E | 0.018 | 0.041 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.025 | Cr04CC101, Ch1473000, Cr10802A | Cr | Ch | Cr | 04CC101 | 1473000 | 10802AL |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 1.025 |  | 1.025 | 0 | 0
TRANS-PROPICONAZOLE | 2033 | 79847GCM40 | 2013-09-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.875 | Crescent, Spex Organics | 04CC101, T1130514013 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl | 0.04 | TRANS-PROPICONAZOLE | E | 0.018 | 0.035 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.875 | Cr04CC101, SpT114013 | Cr | Sp | Sp | 04CC101 | T114013 | T114013 |  | T114013 | T114013 | Y | Estimated Values | Y | 2 | Y | 1 | 0.875 |  | 0.875 | 0 | 0
TRANS-PROPICONAZOLE | 2033 | 79847GCM40 | 2012-09-17 | 2011-10-01 | 2050-09-30 | ug/L | 0.8 | Crescent, ERA | 05BB029, 0507-12-04.2 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl | 0.02 | TRANS-PROPICONAZOLE | E | 0.018 | 0.016 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | Cr05BB029, ER05004.2 | Cr | ER | ER | 05BB029 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Estimated Values | Y | 2 | Y | 2 | 0.75 | 0.070711 | 0.75 | 0.1 | 0.074129
TRANS-PROPICONAZOLE | 2033 | 79847GCM40 | 2013-03-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.7 | Crescent, ERA | 05BB029, 0507-12-04.2 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl | 0.02 | TRANS-PROPICONAZOLE | E | 0.018 | 0.014 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7 | Cr05BB029, ER05004.2 | Cr | ER | ER | 05BB029 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Estimated Values | Y | 2 | Y | 2 | 0.75 | 0.070711 | 0.75 | 0.1 | 0.074129
TRANS-PROPICONAZOLE | 2033 | 79847GCM40 | 2013-09-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.57711 | ERA, Abs, Crescent | 0318-13-02.2, 042413, 10802AL | ERA 0318-13-02.2: 50 µl & Abs 042413: 50 µl & Crescent 10802AL: 10 µl | 0.1005 | TRANS-PROPICONAZOLE | E | 0.018 | 0.058 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57711 | ER03102.2, Ab042413, Cr10802AL | ER | Ab | Cr | 03102.2 | 042413 | 10802AL | 03102.2 |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.48756 | 0.12665 | 0.48756 | 0.1791 | 0.13277
TRANS-PROPICONAZOLE | 2033 | 79847GCM40 | 2014-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.39801 | ERA, Abs, Crescent | 0318-13-02.2, 042413, 10802AL | ERA 0318-13-02.2: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl | 0.0402 | TRANS-PROPICONAZOLE | E | 0.018 | 0.016 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.39801 | ER03102.2, Ab042413, Cr10802AL | ER | Ab | Cr | 03102.2 | 042413 | 10802AL | 03102.2 |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.48756 | 0.12665 | 0.48756 | 0.1791 | 0.13277
TRANS-PROPICONAZOLE | 2033 | 79847GCM40 | 2013-06-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.75 | ERA, Crescent | 0318-13-02.2, 04CC101 | ERA 0318-13-02.2: 20 µl & Crescent 04CC101: 20 µl | 0.04 | TRANS-PROPICONAZOLE | E | 0.018 | 0.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75 | ER03102.2, Cr04CC101 | ER | Cr | Cr | 03102.2 | 04CC101 | 04CC101 | 03102.2 |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.75 |  | 0.75 | 0 | 0
TRANS-PROPICONAZOLE | 2033 | 79847GCM40 | 2009-09-03 | 2007-10-01 | 2009-09-30 | ug/L | 0.82416 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.055815 | TRANS-PROPICONAZOLE | E | 0.02 | 0.046 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82416 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 0.82416 |  | 0.82416 | 0 | 0
TRANS-PROPICONAZOLE | 2033 | 79847GCM40 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.82512 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.029087 | TRANS-PROPICONAZOLE | E | 0.02 | 0.024 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82512 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.86778 | 0.048632 | 0.85748 | 0.095615 | 0.070879
TRANS-PROPICONAZOLE | 2033 | 79847GCM40 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.92073 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.030411 | TRANS-PROPICONAZOLE | E | 0.02 | 0.028 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92073 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.86778 | 0.048632 | 0.85748 | 0.095615 | 0.070879
TRANS-PROPICONAZOLE | 2033 | 79847GCM40 | 2010-12-16 | 2010-10-01 | 2011-09-30 | ug/L | 0.85748 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.030321 | TRANS-PROPICONAZOLE | E | 0.01 | 0.026 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85748 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.86778 | 0.048632 | 0.85748 | 0.095615 | 0.070879
TRANS-PROPICONAZOLE | 2033 | 79847GCM40 | 2011-01-20 | 2010-10-01 | 2011-09-30 | ug/L | 0.88708 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.075529 | TRANS-PROPICONAZOLE | E | 0.01 | 0.067 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88708 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.85415 | 0.13601 | 0.84562 | 0.20235 | 0.15
TRANS-PROPICONAZOLE | 2033 | 79847GCM40 | 2011-03-05 | 2010-10-01 | 2011-09-30 | ug/L | 1.0236 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 25 µl | 0.018562 | TRANS-PROPICONAZOLE | E | 0.01 | 0.019 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0236 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.85415 | 0.13601 | 0.84562 | 0.20235 | 0.15
TRANS-PROPICONAZOLE | 2033 | 79847GCM40 | 2011-04-20 | 2010-10-01 | 2011-09-30 | ug/L | 0.80416 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.074612 | TRANS-PROPICONAZOLE | E | 0.01 | 0.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80416 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.85415 | 0.13601 | 0.84562 | 0.20235 | 0.15
TRANS-PROPICONAZOLE | 2033 | 79847GCM40 | 2011-06-22 | 2010-10-01 | 2011-09-30 | ug/L | 0.70179 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 75 µl | 0.055572 | TRANS-PROPICONAZOLE | E | 0.01 | 0.039 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70179 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.85415 | 0.13601 | 0.84562 | 0.20235 | 0.15
TRANS-PROPICONAZOLE | 2033 | 79847GCM40 | 2012-11-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.62 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl | 0.05 | TRANS-PROPICONAZOLE | E | 0.018 | 0.031 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Estimated Values | Y | 2 | Y | 3 | 0.61333 | 0.040415 | 0.62 | 0.08 | 0.059303
TRANS-PROPICONAZOLE | 2033 | 79847GCM40 | 2013-02-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.57 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl | 0.1 | TRANS-PROPICONAZOLE | E | 0.018 | 0.057 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Estimated Values | Y | 2 | Y | 3 | 0.61333 | 0.040415 | 0.62 | 0.08 | 0.059303
TRANS-PROPICONAZOLE | 2033 | 79847GCM40 | 2013-05-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.65 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl | 0.02 | TRANS-PROPICONAZOLE | E | 0.018 | 0.013 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Estimated Values | Y | 2 | Y | 3 | 0.61333 | 0.040415 | 0.62 | 0.08 | 0.059303
TRANS-PROPICONAZOLE | 2033 | 79847GCM40 | 2012-08-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.65 | Spex Organics, Crescent | T1120530013, 05BB029 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl | 0.02 | TRANS-PROPICONAZOLE | E | 0.018 | 0.013 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65 | SpT110013, Cr05BB029 | Sp | Cr | Cr | T110013 | 05BB029 | 05BB029 | T110013 |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.655 | 0.0070711 | 0.655 | 0.01 | 0.0074129
TRANS-PROPICONAZOLE | 2033 | 79847GCM40 | 2012-12-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.66 | Spex Organics, Crescent | T1120530013, 05BB029 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl | 0.1 | TRANS-PROPICONAZOLE | E | 0.018 | 0.066 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66 | SpT110013, Cr05BB029 | Sp | Cr | Cr | T110013 | 05BB029 | 05BB029 | T110013 |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.655 | 0.0070711 | 0.655 | 0.01 | 0.0074129
TRANS-PROPICONAZOLE | 2033 | 79847GCM40 | 2013-11-23 | 2011-10-01 | 2050-09-30 | ug/L | 0.84577 | Supelco, Abs, Crescent | LB99392, 042413, 10802AL | Supelco LB99392: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl | 0.0402 | TRANS-PROPICONAZOLE | E | 0.018 | 0.034 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84577 | SuLB99392, Ab042413, Cr10802AL | Su | Ab | Cr | LB99392 | 042413 | 10802AL |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.84577 |  | 0.84577 | 0 | 0
TRANS-PROPICONAZOLE | 2033 | 79847GCM40 | 2013-08-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.5 | Supelco, Crescent | LB99392, 04CC101 | Supelco LB99392: 50 µl & Crescent 04CC101: 50 µl | 0.1 | TRANS-PROPICONAZOLE | E | 0.018 | 0.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5 | SuLB99392, Cr04CC101 | Su | Cr | Cr | LB99392 | 04CC101 | 04CC101 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.5 |  | 0.5 | 0 | 0