## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2013-06-26 | 2010-10-01 | 2050-09-30 | ug/L | 0.67509 | Abs, ChemService | 042413, 1473000 | Abs 042413: 20 µl & ChemService 1473000: 20 µl | 0.0554 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.0374 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67509 | Ab042413, Ch1473000 | Ab | Ch | Ch | 042413 | 1473000 | 1473000 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.67509 |  | 0.67509 | 0 | 0
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2013-10-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.7509 | Abs, Spex Organics, Crescent | 042413, T1130514013, 10802AL | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl | 0.1385 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.104 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7509 | Ab042413, SpT114013, Cr10802AL | Ab | Sp | Cr | 042413 | T114013 | 10802AL |  | T114013 |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.7509 |  | 0.7509 | 0 | 0
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2012-12-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.50199 | Abs, ERA | 052412, 0507-12-04.2 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl | 0.251 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.126 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50199 | Ab052412, ER05004.2 | Ab | ER | ER | 052412 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Estimated Values | Y | 2 | Y | 2 | 0.51155 | 0.013522 | 0.51155 | 0.019124 | 0.014176
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2013-04-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.52112 | Abs, ERA | 052412, 0507-12-04.2 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl | 0.1255 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.0654 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52112 | Ab052412, ER05004.2 | Ab | ER | ER | 052412 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Estimated Values | Y | 2 | Y | 2 | 0.51155 | 0.013522 | 0.51155 | 0.019124 | 0.014176
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2012-08-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.57377 | Abs, Supelco | 052412, LB92783 | Abs 052412: 20 µl & Supelco LB92783: 20 µl | 0.05002 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.0287 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57377 | Ab052412, SuLB92783 | Ab | Su | Su | 052412 | LB92783 | LB92783 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.57377 |  | 0.57377 | 0 | 0
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2009-10-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.59227 | Abs | 080408Pest | Abs 080408Pest: 40 µl | 0.21612 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.128 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59227 | Abs 080408Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.5441 | 0.068125 | 0.5441 | 0.096343 | 0.071418
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2010-01-10 | 2009-10-01 | 2010-09-30 | ug/L | 0.49592 | Abs | 080408Pest | Abs 080408Pest: 25 µl | 0.1351 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.067 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49592 | Abs 080408Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.5441 | 0.068125 | 0.5441 | 0.096343 | 0.071418
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2009-09-03 | 2006-04-01 | 2009-09-30 | ug/L | 0.5295 | Accu | B8090098 | Accu B8090098: 25 µl | 0.13409 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.035 | 0.071 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5295 | Accu B8090098 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.65709 | 0.18044 | 0.65709 | 0.25517 | 0.18916
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2009-12-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.78468 | Accu | B8090098 | Accu B8090098: 25 µl | 0.13509 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.106 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78468 | Accu B8090098 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.65709 | 0.18044 | 0.65709 | 0.25517 | 0.18916
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2013-12-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.91513 | Crescent, ChemService, Cresc | 04CC101, 1473000, 10802AL | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl | 0.0542 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.0496 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91513 | Cr04CC101, Ch1473000, Cr10802A | Cr | Ch | Cr | 04CC101 | 1473000 | 10802AL |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.91513 |  | 0.91513 | 0 | 0
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2013-09-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.84871 | Crescent, Spex Organics | 04CC101, T1130514013 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl | 0.0542 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.046 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84871 | Cr04CC101, SpT114013 | Cr | Sp | Sp | 04CC101 | T114013 | T114013 |  | T114013 | T114013 | Y | Estimated Values | Y | 2 | Y | 1 | 0.84871 |  | 0.84871 | 0 | 0
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2012-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.6494 | Crescent, ERA | 05BB029, 0507-12-04.2 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl | 0.0502 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.0326 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6494 | Cr05BB029, ER05004.2 | Cr | ER | ER | 05BB029 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Estimated Values | Y | 2 | Y | 2 | 0.62948 | 0.028172 | 0.62948 | 0.039841 | 0.029533
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2013-03-07 | 2010-10-01 | 2050-09-30 | ug/L | 0.60956 | Crescent, ERA | 05BB029, 0507-12-04.2 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl | 0.0502 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.0306 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60956 | Cr05BB029, ER05004.2 | Cr | ER | ER | 05BB029 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Estimated Values | Y | 2 | Y | 2 | 0.62948 | 0.028172 | 0.62948 | 0.039841 | 0.029533
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2013-09-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.62888 | ERA, Abs, Crescent | 0318-13-02.2, 042413, 10802AL | ERA 0318-13-02.2: 50 µl & Abs 042413: 50 µl & Crescent 10802AL: 10 µl | 0.1385 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.0871 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62888 | ER03102.2, Ab042413, Cr10802AL | ER | Ab | Cr | 03102.2 | 042413 | 10802AL | 03102.2 |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.54729 | 0.11538 | 0.54729 | 0.16318 | 0.12096
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2014-01-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.4657 | ERA, Abs, Crescent | 0318-13-02.2, 042413, 10802AL | ERA 0318-13-02.2: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl | 0.0554 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.0258 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4657 | ER03102.2, Ab042413, Cr10802AL | ER | Ab | Cr | 03102.2 | 042413 | 10802AL | 03102.2 |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.54729 | 0.11538 | 0.54729 | 0.16318 | 0.12096
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2013-06-11 | 2010-10-01 | 2050-09-30 | ug/L | 0.88192 | ERA, Crescent | 0318-13-02.2, 04CC101 | ERA 0318-13-02.2: 20 µl & Crescent 04CC101: 20 µl | 0.0542 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.0478 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88192 | ER03102.2, Cr04CC101 | ER | Cr | Cr | 03102.2 | 04CC101 | 04CC101 | 03102.2 |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.88192 |  | 0.88192 | 0 | 0
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2012-10-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.59203 | ERA | 0507-12-04.2 | ERA 0507-12-04.2: 50 µl | 0.1255 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.0743 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59203 | ERA 0507-12-04.2 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 0.59203 |  | 0.59203 | 0 | 0
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2009-09-03 | 2006-04-01 | 2009-09-30 | ug/L | 0.52406 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.035 | 0.039 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52406 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 0.52406 |  | 0.52406 | 0 | 0
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.58274 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.0226 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58274 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.70221 | 0.10421 | 0.74947 | 0.19166 | 0.14208
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.7744 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.0314 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7744 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.70221 | 0.10421 | 0.74947 | 0.19166 | 0.14208
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2010-12-16 | 2010-10-01 | 2050-09-30 | ug/L | 0.74947 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.0303 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74947 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.70221 | 0.10421 | 0.74947 | 0.19166 | 0.14208
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2011-01-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.80334 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.0809 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80334 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.7187 | 0.13319 | 0.72233 | 0.2225 | 0.16494
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2011-03-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.85656 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 25 µl | 0.02475 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.0212 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85657 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.7187 | 0.13319 | 0.72233 | 0.2225 | 0.16494
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2011-04-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.64132 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.099483 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.0638 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64132 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.7187 | 0.13319 | 0.72233 | 0.2225 | 0.16494
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2011-06-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.57358 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 75 µl | 0.074096 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.0425 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57358 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.7187 | 0.13319 | 0.72233 | 0.2225 | 0.16494
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2012-07-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.63575 | Restek, Supelco | A088380, LB92783 | Restek A088380: 20 µl & Supelco LB92783: 20 µl | 0.05002 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.0318 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63575 | ReA088380, SuLB92783 | Re | Su | Su | A088380 | LB92783 | LB92783 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.63575 |  | 0.63575 | 0 | 0
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2011-01-09 | 2010-10-01 | 2050-09-30 | ug/L | 0.77914 | Restek | A075606 | Restek A075606: 40 µl | 0.062505 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.0487 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77914 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.60722 | 0.154 | 0.59235 | 0.20668 | 0.15321
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2011-01-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.68356 | Restek | A075606 | Restek A075606: 80 µl | 0.12932 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.0884 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68356 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.60722 | 0.154 | 0.59235 | 0.20668 | 0.15321
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2011-03-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.71205 | Restek | A075606 | Restek A075606: 40 µl | 0.065445 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.0466 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71205 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.60722 | 0.154 | 0.59235 | 0.20668 | 0.15321
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2011-04-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.57156 | Restek | A075606 | Restek A075606: 40 µl | 0.06491 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.0371 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57156 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.60722 | 0.154 | 0.59235 | 0.20668 | 0.15321
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2011-06-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.59664 | Restek | A075606 | Restek A075606: 80 µl | 0.12671 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.0756 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59664 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.60722 | 0.154 | 0.59235 | 0.20668 | 0.15321
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2011-08-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.81207 | Restek | A075606 | Restek A075606: 40 µl | 0.06428 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.0522 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81207 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.60722 | 0.154 | 0.59235 | 0.20668 | 0.15321
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2011-09-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.40681 | Restek | A075606 | Restek A075606: 80 µl | 0.12856 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.0523 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.40681 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.60722 | 0.154 | 0.59235 | 0.20668 | 0.15321
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2011-09-13 | 2010-10-01 | 2050-09-30 | ug/L | 0.30103 | Restek | A075606 | Restek A075606: 80 µl | 0.12856 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.0387 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.30103 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.60722 | 0.154 | 0.59235 | 0.20668 | 0.15321
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2011-11-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.5336 | Restek | A075606 | Restek A075606: 80 µl | 0.12856 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.0686 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5336 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.60722 | 0.154 | 0.59235 | 0.20668 | 0.15321
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2011-12-04 | 2010-10-01 | 2050-09-30 | ug/L | 0.58805 | Restek | A075606 | Restek A075606: 40 µl | 0.06428 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.0378 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58805 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.60722 | 0.154 | 0.59235 | 0.20668 | 0.15321
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2012-02-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.76851 | Restek | A075606 | Restek A075606: 40 µl | 0.06428 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.0494 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76851 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.60722 | 0.154 | 0.59235 | 0.20668 | 0.15321
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2012-05-15 | 2010-10-01 | 2050-09-30 | ug/L | 0.5336 | Restek | A075606 | Restek A075606: 80 µl | 0.12856 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.0686 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5336 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.60722 | 0.154 | 0.59235 | 0.20668 | 0.15321
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2012-09-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.69721 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl | 0.0502 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.035 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69721 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Estimated Values | Y | 2 | Y | 2 | 0.54263 | 0.21861 | 0.54263 | 0.30916 | 0.22918
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2013-01-15 | 2010-10-01 | 2050-09-30 | ug/L | 0.38805 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl | 0.1255 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.0487 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.38805 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Estimated Values | Y | 2 | Y | 2 | 0.54263 | 0.21861 | 0.54263 | 0.30916 | 0.22918
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2012-11-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.46781 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl | 0.2501 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.117 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.46781 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Estimated Values | Y | 2 | Y | 3 | 0.54272 | 0.064869 | 0.57977 | 0.11275 | 0.083584
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2013-02-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.57977 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl | 0.05002 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.029 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57977 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Estimated Values | Y | 2 | Y | 3 | 0.54272 | 0.064869 | 0.57977 | 0.11275 | 0.083584
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2013-04-02 | 2010-10-01 | 2050-09-30 | ug/L | 0.58057 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl | 0.12505 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.0726 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58057 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Estimated Values | Y | 2 | Y | 3 | 0.54272 | 0.064869 | 0.57977 | 0.11275 | 0.083584
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2010-06-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.57679 | Spex Organics | T1090901009 | Spex Organics T1090901009: 20 µl | 0.13454 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.0776 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57679 | Spex Organics T1090901009 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.68186 | 0.22351 | 0.6578 | 0.34027 | 0.25224
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.73881 | Spex Organics | T1090901009 | Spex Organics T1090901009: 100 µl | 0.67677 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73881 | Spex Organics T1090901009 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.68186 | 0.22351 | 0.6578 | 0.34027 | 0.25224
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2010-09-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.96518 | Spex Organics | T1090901009 | Spex Organics T1090901009: 20 µl | 0.13676 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.132 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96518 | Spex Organics T1090901009 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.68186 | 0.22351 | 0.6578 | 0.34027 | 0.25224
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2010-12-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.44666 | Spex Organics | T1090901009 | Spex Organics T1090901009: 40 µl | 0.27538 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.123 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.44666 | Spex Organics T1090901009 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.68186 | 0.22351 | 0.6578 | 0.34027 | 0.25224
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2012-10-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.51499 | Supelco, Abs | LB92783, 052412 | Supelco LB92783: 50 µl & Abs 052412: 50 µl | 0.12505 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.0644 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51499 | SuLB92783, Ab052412 | Su | Ab | Ab | LB92783 | 052412 | 052412 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.5086 | 0.0090473 | 0.5086 | 0.012795 | 0.0094847
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2013-01-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.5022 | Supelco, Abs | LB92783, 052412 | Supelco LB92783: 50 µl & Abs 052412: 50 µl | 0.12505 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.0628 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5022 | SuLB92783, Ab052412 | Su | Ab | Ab | LB92783 | 052412 | 052412 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.5086 | 0.0090473 | 0.5086 | 0.012795 | 0.0094847
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2013-11-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.74007 | Supelco, Abs, Crescent | LB99392, 042413, 10802AL | Supelco LB99392: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl | 0.0554 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.041 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74007 | SuLB99392, Ab042413, Cr10802AL | Su | Ab | Cr | LB99392 | 042413 | 10802AL |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.74007 |  | 0.74007 | 0 | 0
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2013-08-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.59926 | Supelco, Crescent | LB99392, 04CC101 | Supelco LB99392: 50 µl & Crescent 04CC101: 50 µl | 0.1355 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.0812 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59926 | SuLB99392, Cr04CC101 | Su | Cr | Cr | LB99392 | 04CC101 | 04CC101 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.59926 |  | 0.59926 | 0 | 0
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2011-01-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.42666 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.06422 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.0274 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.42666 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 0.54979 | 0.085434 | 0.52873 | 0.13329 | 0.098808
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2011-02-09 | 2010-10-01 | 2050-09-30 | ug/L | 0.4545 | Supelco | LB77168 | Supelco LB77168: 80 µl | 0.12431 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.0565 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4545 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 0.54979 | 0.085434 | 0.52873 | 0.13329 | 0.098808
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2011-03-30 | 2010-10-01 | 2050-09-30 | ug/L | 0.49253 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.064361 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.0317 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49253 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 0.54979 | 0.085434 | 0.52873 | 0.13329 | 0.098808
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2011-05-25 | 2010-10-01 | 2050-09-30 | ug/L | 0.62582 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.065514 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.041 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62582 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 0.54979 | 0.085434 | 0.52873 | 0.13329 | 0.098808
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2011-07-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.58152 | Supelco | LB77168 | Supelco LB77168: 80 µl | 0.1288 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.0749 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58152 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 0.54979 | 0.085434 | 0.52873 | 0.13329 | 0.098808
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2011-07-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.69255 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.0644 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.0446 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69255 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 0.54979 | 0.085434 | 0.52873 | 0.13329 | 0.098808
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2011-09-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.66149 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.0644 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.0426 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66149 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 0.54979 | 0.085434 | 0.52873 | 0.13329 | 0.098808
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2011-10-02 | 2010-10-01 | 2050-09-30 | ug/L | 0.50466 | Supelco | LB77168 | Supelco LB77168: 80 µl | 0.1288 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.065 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50466 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 0.54979 | 0.085434 | 0.52873 | 0.13329 | 0.098808
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2011-11-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.52873 | Supelco | LB77168 | Supelco LB77168: 80 µl | 0.1288 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.0681 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52873 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 0.54979 | 0.085434 | 0.52873 | 0.13329 | 0.098808
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2011-12-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.57919 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.0644 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.0373 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57919 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 0.54979 | 0.085434 | 0.52873 | 0.13329 | 0.098808
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2012-03-09 | 2010-10-01 | 2050-09-30 | ug/L | 0.5 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.0644 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.0322 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 0.54979 | 0.085434 | 0.52873 | 0.13329 | 0.098808
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2010-02-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.44734 | Ultra | CF-3558 | Ultra CF-3558: 40 µl | 0.26378 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.118 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.44734 | Ultra CF-3558 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.56822 | 0.21168 | 0.47917 | 0.2562 | 0.18992
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2010-05-19 | 2009-10-01 | 2010-09-30 | ug/L | 0.88164 | Ultra | CF-3558 | Ultra CF-3558: 20 µl | 0.13611 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88164 | Ultra CF-3558 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.56822 | 0.21168 | 0.47917 | 0.2562 | 0.18992
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2010-08-10 | 2009-10-01 | 2010-09-30 | ug/L | 0.511 | Ultra | CF-3558 | Ultra CF-3558: 40 µl | 0.27397 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.511 | Ultra CF-3558 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.56822 | 0.21168 | 0.47917 | 0.2562 | 0.18992
TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 2033 | 61610GCM39 | 2010-12-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.4329 | Ultra | CF-3558 | Ultra CF-3558: 20 µl | 0.13537 | TRIBUFOS_(S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE_(DEF)) | E | 0.018 | 0.0586 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4329 | Ultra CF-3558 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.56822 | 0.21168 | 0.47917 | 0.2562 | 0.18992