## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
ACIFLUORFEN | 2060 | 49315LCM29 | 2013-11-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.35 | Abs, NSI | 042513, 042213HPLC | Abs 042513: 20 µl & NSI 042213HPLC: 20 µl | 0.22 | ACIFLUORFEN | E | 0.08 | 0.077 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.35 | Ab042513, NS042HPLC | Ab | NS | NS | 042513 | 042HPLC | 042HPLC |  | 042HPLC | 042HPLC | Y | Estimated Values | Y | 2 |  | 1 | 0.35 |  | 0.35 | 0 | 0
ACIFLUORFEN | 2060 | 49315LCM29 | 2013-06-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.34182 | Abs, NSI, NSI | 042513, 042213HPLC, 050613 | Abs 042513: 50 µl & NSI 042213HPLC: 50 µl & NSI 050613: 50 µl | 0.55 | ACIFLUORFEN | E | 0.08 | 0.188 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.34182 | Ab042513, NS042HPLC, NS050613 | Ab | NS | NS | 042513 | 042HPLC | 050613 |  | 042HPLC |  | Y | Estimated Values | Y | 2 |  | 1 | 0.34182 |  | 0.34182 | 0 | 0
ACIFLUORFEN | 2060 | 49315LCM29 | 2014-01-17 | 2011-10-01 | 2050-09-30 | ug/L | 0.53182 | Abs, Supelco, NSI | 042513, LC01386, 050613 | Abs 042513: 20 µl & Supelco LC01386: 20 µl & NSI 050613: 20 µl | 0.22 | ACIFLUORFEN | E | 0.08 | 0.117 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53182 | Ab042513, SuLC01386, NS050613 | Ab | Su | NS | 042513 | LC01386 | 050613 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.53182 |  | 0.53182 | 0 | 0
ACIFLUORFEN | 2060 | 49315LCM29 | 2012-11-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.46 | Abs, ChemService | 052312, 396400 | Abs 052312: 50 µl & ChemService 396400: 50 µl | 0.25 | ACIFLUORFEN | E | 0.08 | 0.115 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.46 | Ab052312, Ch396400 | Ab | Ch | Ch | 052312 | 396400 | 396400 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.491 | 0.043841 | 0.491 | 0.062 | 0.04596
ACIFLUORFEN | 2060 | 49315LCM29 | 2013-03-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.522 | Abs, ChemService | 052312, 396400 | Abs 052312: 100 µl & ChemService 396400: 100 µl | 0.5 | ACIFLUORFEN | E | 0.08 | 0.261 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.522 | Ab052312, Ch396400 | Ab | Ch | Ch | 052312 | 396400 | 396400 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.491 | 0.043841 | 0.491 | 0.062 | 0.04596
ACIFLUORFEN | 2060 | 49315LCM29 | 2012-08-23 | 2011-10-01 | 2050-09-30 | ug/L | 0.27 | Abs, Restek | 052312, A088383 | Abs 052312: 20 µl & Restek A088383: 20 µl | 0.1 | ACIFLUORFEN | E | 0.08 | 0.027 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.27 | Ab052312, ReA088383 | Ab | Re | Re | 052312 | A088383 | A088383 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.27 |  | 0.27 | 0 | 0
ACIFLUORFEN | 2060 | 49315LCM29 | 2013-09-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.17727 | Accu, NSI, Supelco | 213041030, 050613, LC01386 | Accu 213041030: 20 µl & NSI 050613: 20 µl & Supelco LC01386: 20 µl | 0.22 | ACIFLUORFEN | E | 0.08 | 0.039 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.17727 | Ac2131030, NS050613, SuLC01386 | Ac | NS | Su | 2131030 | 050613 | LC01386 | 2131030 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.17727 |  | 0.17727 | 0 | 0
ACIFLUORFEN | 2060 | 49315LCM29 | 2013-11-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.43818 | ChemService, NSI, Supelco | 1448600, 050613, LC01386 | ChemService 1448600: 50 µl & NSI 050613: 50 µl & Supelco LC01386: 50 µl | 0.55 | ACIFLUORFEN | E | 0.08 | 0.241 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.43818 | Ch1448600, NS050613, SuLC01386 | Ch | NS | Su | 1448600 | 050613 | LC01386 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.43818 |  | 0.43818 | 0 | 0
ACIFLUORFEN | 2060 | 49315LCM29 | 2008-02-12 | 2007-10-01 | 2009-09-30 | ug/L | 0.76267 | Crescent | 07GG007 | Crescent 07GG007: 50 µl | 0.19406 | ACIFLUORFEN | . | 0.04 | 0.148 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76267 | Crescent 07GG007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.59126 | 0.12963 | 0.54536 | 0.1984 | 0.14707
ACIFLUORFEN | 2060 | 49315LCM29 | 2008-04-04 | 2007-10-01 | 2009-09-30 | ug/L | 0.69105 | Crescent | 07GG007 | Crescent 07GG007: 50 µl | 0.19101 | ACIFLUORFEN | . | 0.04 | 0.132 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69105 | Crescent 07GG007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.59126 | 0.12963 | 0.54536 | 0.1984 | 0.14707
ACIFLUORFEN | 2060 | 49315LCM29 | 2008-05-16 | 2007-10-01 | 2009-09-30 | ug/L | 0.54536 | Crescent | 07GG007 | Crescent 07GG007: 50 µl | 0.18887 | ACIFLUORFEN | . | 0.04 | 0.103 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54536 | Crescent 07GG007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.59126 | 0.12963 | 0.54536 | 0.1984 | 0.14707
ACIFLUORFEN | 2060 | 49315LCM29 | 2008-07-10 | 2007-10-01 | 2009-09-30 | ug/L | 0.49266 | Crescent | 07GG007 | Crescent 07GG007: 50 µl | 0.18877 | ACIFLUORFEN | . | 0.04 | 0.093 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49266 | Crescent 07GG007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.59126 | 0.12963 | 0.54536 | 0.1984 | 0.14707
ACIFLUORFEN | 2060 | 49315LCM29 | 2008-08-29 | 2007-10-01 | 2009-09-30 | ug/L | 0.46458 | Crescent | 07GG007 | Crescent 07GG007: 50 µl | 0.18727 | ACIFLUORFEN | . | 0.04 | 0.087 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.46458 | Crescent 07GG007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.59126 | 0.12963 | 0.54536 | 0.1984 | 0.14707
ACIFLUORFEN | 2060 | 49315LCM29 | 2009-11-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.31459 | Crescent | 08LL073 | Crescent 08LL073: 40 µl | 0.079468 | ACIFLUORFEN | E | 0.04 | 0.025 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.31459 | Crescent 08LL073 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.33289 | 0.15768 | 0.31459 | 0.1414 | 0.10482
ACIFLUORFEN | 2060 | 49315LCM29 | 2010-03-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.28049 | Crescent | 08LL073 | Crescent 08LL073: 40 µl | 0.082001 | ACIFLUORFEN | E | 0.04 | 0.023 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.28049 | Crescent 08LL073 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.33289 | 0.15768 | 0.31459 | 0.1414 | 0.10482
ACIFLUORFEN | 2060 | 49315LCM29 | 2010-06-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.42188 | Crescent | 08LL073 | Crescent 08LL073: 40 µl | 0.082962 | ACIFLUORFEN | E | 0.04 | 0.035 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.42188 | Crescent 08LL073 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.33289 | 0.15768 | 0.31459 | 0.1414 | 0.10482
ACIFLUORFEN | 2060 | 49315LCM29 | 2010-07-28 | 2009-10-01 | 2010-09-30 | ug/L | 0.11366 | Crescent | 08LL073 | Crescent 08LL073: 40 µl | 0.079184 | ACIFLUORFEN | E | 0.04 | 0.009 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.11366 | Crescent 08LL073 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.33289 | 0.15768 | 0.31459 | 0.1414 | 0.10482
ACIFLUORFEN | 2060 | 49315LCM29 | 2010-10-29 | 2010-10-01 | 2010-12-31 | ug/L | 0.53385 | Crescent | 08LL073 | Crescent 08LL073: 80 µl | 0.15922 | ACIFLUORFEN | . | 0.04 | 0.085 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53385 | Crescent 08LL073 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.33289 | 0.15768 | 0.31459 | 0.1414 | 0.10482
ACIFLUORFEN | 2060 | 49315LCM29 | 2011-02-25 | 2011-01-01 | 2011-09-30 | ug/L | 0.68525 | Crescent | 163162 | Crescent 163162: 40 µl | 0.062751 | ACIFLUORFEN | E | 0.04 | 0.043 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68524 | Crescent 163162 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.50811 | 0.13153 | 0.5 | 0.1875 | 0.13899
ACIFLUORFEN | 2060 | 49315LCM29 | 2011-04-14 | 2011-01-01 | 2011-09-30 | ug/L | 0.43798 | Crescent | 163162 | Crescent 163162: 100 µl | 0.15982 | ACIFLUORFEN | E | 0.04 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.43798 | Crescent 163162 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.50811 | 0.13153 | 0.5 | 0.1875 | 0.13899
ACIFLUORFEN | 2060 | 49315LCM29 | 2011-05-21 | 2011-01-01 | 2011-09-30 | ug/L | 0.53725 | Crescent | 163162 | Crescent 163162: 40 µl | 0.063285 | ACIFLUORFEN | E | 0.04 | 0.034 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53725 | Crescent 163162 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.50811 | 0.13153 | 0.5 | 0.1875 | 0.13899
ACIFLUORFEN | 2060 | 49315LCM29 | 2011-07-19 | 2011-01-01 | 2011-09-30 | ug/L | 0.4125 | Crescent | 163162 | Crescent 163162: 100 µl | 0.16 | ACIFLUORFEN | E | 0.04 | 0.066 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4125 | Crescent 163162 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.50811 | 0.13153 | 0.5 | 0.1875 | 0.13899
ACIFLUORFEN | 2060 | 49315LCM29 | 2011-07-20 | 2011-01-01 | 2011-09-30 | ug/L | 0.28125 | Crescent | 163162 | Crescent 163162: 40 µl | 0.064 | ACIFLUORFEN | E | 0.04 | 0.018 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.28125 | Crescent 163162 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.50811 | 0.13153 | 0.5 | 0.1875 | 0.13899
ACIFLUORFEN | 2060 | 49315LCM29 | 2011-11-01 | 2011-10-01 | 2050-09-30 | ug/L | 0.625 | Crescent | 163162 | Crescent 163162: 40 µl | 0.064 | ACIFLUORFEN | E | 0.08 | 0.04 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.625 | Crescent 163162 | [9 empty] | Y | Estimated Values | Y | 1 |  | 9 | 0.50811 | 0.13153 | 0.5 | 0.1875 | 0.13899
ACIFLUORFEN | 2060 | 49315LCM29 | 2012-01-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.65625 | Crescent | 163162 | Crescent 163162: 100 µl | 0.16 | ACIFLUORFEN | E | 0.08 | 0.105 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65625 | Crescent 163162 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.50811 | 0.13153 | 0.5 | 0.1875 | 0.13899
ACIFLUORFEN | 2060 | 49315LCM29 | 2012-03-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.5 | Crescent | 163162 | Crescent 163162: 40 µl | 0.064 | ACIFLUORFEN | E | 0.08 | 0.032 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.5 | Crescent 163162 | [9 empty] | Y | Estimated Values | Y | 1 |  | 9 | 0.50811 | 0.13153 | 0.5 | 0.1875 | 0.13899
ACIFLUORFEN | 2060 | 49315LCM29 | 2012-06-21 | 2011-10-01 | 2050-09-30 | ug/L | 0.4375 | Crescent | 163162 | Crescent 163162: 40 µl | 0.064 | ACIFLUORFEN | E | 0.08 | 0.028 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.4375 | Crescent 163162 | [9 empty] | Y | Estimated Values | Y | 1 |  | 9 | 0.50811 | 0.13153 | 0.5 | 0.1875 | 0.13899
ACIFLUORFEN | 2060 | 49315LCM29 | 2008-12-10 | 2007-10-01 | 2009-09-30 | ug/L | 0.53453 | ERA | 0813-08-07Polar | ERA 0813-08-07Polar: 50 µl | 0.15341 | ACIFLUORFEN | . | 0.04 | 0.082 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53453 | ERA 0813-08-07Polar | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.41654 | 0.12852 | 0.37623 | 0.17745 | 0.13154
ACIFLUORFEN | 2060 | 49315LCM29 | 2008-12-10 | 2007-10-01 | 2009-09-30 | ug/L | 0.56044 | ERA | 0813-08-07Polar | ERA 0813-08-07Polar: 30 µl | 0.089215 | ACIFLUORFEN | . | 0.04 | 0.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56044 | ERA 0813-08-07Polar | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.41654 | 0.12852 | 0.37623 | 0.17745 | 0.13154
ACIFLUORFEN | 2060 | 49315LCM29 | 2009-05-29 | 2007-10-01 | 2009-09-30 | ug/L | 0.37623 | ERA | 0813-08-07Polar | ERA 0813-08-07Polar: 30 µl | 0.090371 | ACIFLUORFEN | E | 0.04 | 0.034 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.37623 | ERA 0813-08-07Polar | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.41654 | 0.12852 | 0.37623 | 0.17745 | 0.13154
ACIFLUORFEN | 2060 | 49315LCM29 | 2009-08-13 | 2007-10-01 | 2009-09-30 | ug/L | 0.35708 | ERA | 0813-08-07Polar | ERA 0813-08-07Polar: 30 µl | 0.089615 | ACIFLUORFEN | E | 0.04 | 0.032 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.35708 | ERA 0813-08-07Polar | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.41654 | 0.12852 | 0.37623 | 0.17745 | 0.13154
ACIFLUORFEN | 2060 | 49315LCM29 | 2009-09-30 | 2007-10-01 | 2009-09-30 | ug/L | 0.25442 | ERA | 0813-08-07Polar | ERA 0813-08-07Polar: 50 µl | 0.14936 | ACIFLUORFEN | E | 0.04 | 0.038 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.25442 | ERA 0813-08-07Polar | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.41654 | 0.12852 | 0.37623 | 0.17745 | 0.13154
ACIFLUORFEN | 2060 | 49315LCM29 | 2013-09-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.13636 | NSI, Accu, Supelco | 042213HPLC, 213041030, LC00372 | NSI 042213HPLC: 50 µl & Accu 213041030: 50 µl & Supelco LC00372: 50 µl | 0.55 | ACIFLUORFEN | E | 0.08 | 0.075 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.13636 | NS042HPLC, Ac2131030, SuLC0037 | NS | Ac | Su | 042HPLC | 2131030 | LC00372 | 042HPLC | 2131030 |  | Y | Estimated Values | Y | 2 |  | 1 | 0.13636 |  | 0.13636 | 0 | 0
ACIFLUORFEN | 2060 | 49315LCM29 | 2013-06-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.45 | NSI, ChemService, NSI | 042213HPLC, 1448600, 050613 | NSI 042213HPLC: 20 µl & ChemService 1448600: 20 µl & NSI 050613: 20 µl | 0.22 | ACIFLUORFEN | E | 0.08 | 0.099 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.45 | NS042HPLC, Ch1448600, NS050613 | NS | Ch | NS | 042HPLC | 1448600 | 050613 | 042HPLC |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.45 |  | 0.45 | 0 | 0
ACIFLUORFEN | 2060 | 49315LCM29 | 2012-08-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.26 | NSI, NSI, ChemService | 062612-01, 718L-01-01, 396400 | NSI 062612-01: 20 µl & NSI 718L-01-01: 20 µl & ChemService 396400: 20 µl | 0.1 | ACIFLUORFEN | E | 0.08 | 0.026 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.26 | NS0622-01, NS7181-01, Ch396400 | NS | NS | Ch | 0622-01 | 7181-01 | 396400 | 0622-01 | 7181-01 |  | Y | Estimated Values | Y | 2 |  | 1 | 0.26 |  | 0.26 | 0 | 0
ACIFLUORFEN | 2060 | 49315LCM29 | 2012-09-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.32 | NSI, NSI, Restek | 062612-01, 718L-01-01, A088383 | NSI 062612-01: 20 µl & NSI 718L-01-01: 20 µl & Restek A088383: 20 µl | 0.1 | ACIFLUORFEN | E | 0.08 | 0.032 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.32 | NS0622-01, NS7181-01, ReA08838 | NS | NS | Re | 0622-01 | 7181-01 | A088383 | 0622-01 | 7181-01 |  | Y | Estimated Values | Y | 2 |  | 1 | 0.32 |  | 0.32 | 0 | 0
ACIFLUORFEN | 2060 | 49315LCM29 | 2009-12-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.58822 | NSI | 090309-01HPLC | NSI 090309-01HPLC: 80 µl | 0.1581 | ACIFLUORFEN | . | 0.04 | 0.093 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58822 | NSI 090309-01HPLC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.46333 | 0.11035 | 0.4678 | 0.16796 | 0.12451
ACIFLUORFEN | 2060 | 49315LCM29 | 2010-05-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.5064 | NSI | 090309-01HPLC | NSI 090309-01HPLC: 40 µl | 0.080963 | ACIFLUORFEN | . | 0.04 | 0.041 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5064 | NSI 090309-01HPLC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.46333 | 0.11035 | 0.4678 | 0.16796 | 0.12451
ACIFLUORFEN | 2060 | 49315LCM29 | 2010-07-02 | 2009-10-01 | 2010-09-30 | ug/L | 0.3295 | NSI | 090309-01HPLC | NSI 090309-01HPLC: 80 µl | 0.16388 | ACIFLUORFEN | . | 0.04 | 0.054 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.3295 | NSI 090309-01HPLC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.46333 | 0.11035 | 0.4678 | 0.16796 | 0.12451
ACIFLUORFEN | 2060 | 49315LCM29 | 2010-09-02 | 2009-10-01 | 2010-09-30 | ug/L | 0.42921 | NSI | 090309-01HPLC | NSI 090309-01HPLC: 40 µl | 0.079216 | ACIFLUORFEN | E | 0.04 | 0.034 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.42921 | NSI 090309-01HPLC | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.46333 | 0.11035 | 0.4678 | 0.16796 | 0.12451
ACIFLUORFEN | 2060 | 49315LCM29 | 2010-05-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.49967 | NWQL, NWQL | LCL11SP079A, LCL11SP079B | NWQL LCL11SP079A: 50 µl & NWQL LCL11SP079B: 50 µl | 0.12608 | ACIFLUORFEN | . | 0.04 | 0.063 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49967 | NWLCL079A, NWLCL079B | NW | NW | NW | LCL079A | LCL079B | LCL079B | LCL079A | LCL079B | LCL079B | Y | Recoverable Result | Y | 2 |  | 3 | 0.43268 | 0.10405 | 0.48556 | 0.18685 | 0.13851
ACIFLUORFEN | 2060 | 49315LCM29 | 2010-07-28 | 2009-10-01 | 2010-09-30 | ug/L | 0.31281 | NWQL, NWQL | LCL11SP079A, LCL11SP079B | NWQL LCL11SP079A: 50 µl & NWQL LCL11SP079B: 50 µl | 0.12468 | ACIFLUORFEN | E | 0.04 | 0.039 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.31281 | NWLCL079A, NWLCL079B | NW | NW | NW | LCL079A | LCL079B | LCL079B | LCL079A | LCL079B | LCL079B | Y | Estimated Values | Y | 2 |  | 3 | 0.43268 | 0.10405 | 0.48556 | 0.18685 | 0.13851
ACIFLUORFEN | 2060 | 49315LCM29 | 2010-09-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.48556 | NWQL, NWQL | LCL11SP079A, LCL11SP079B | NWQL LCL11SP079A: 50 µl & NWQL LCL11SP079B: 50 µl | 0.12563 | ACIFLUORFEN | . | 0.04 | 0.061 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.48556 | NWLCL079A, NWLCL079B | NW | NW | NW | LCL079A | LCL079B | LCL079B | LCL079A | LCL079B | LCL079B | Y | Recoverable Result | Y | 2 |  | 3 | 0.43268 | 0.10405 | 0.48556 | 0.18685 | 0.13851
ACIFLUORFEN | 2060 | 49315LCM29 | 2008-04-30 | 2007-10-01 | 2009-09-30 | ug/L | 0.70949 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18605 | ACIFLUORFEN | . | 0.04 | 0.132 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70949 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 |  | 7 | 0.47788 | 0.17036 | 0.46564 | 0.28968 | 0.21474
ACIFLUORFEN | 2060 | 49315LCM29 | 2008-06-23 | 2007-10-01 | 2009-09-30 | ug/L | 0.43895 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18681 | ACIFLUORFEN | . | 0.04 | 0.082 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.43895 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 |  | 7 | 0.47788 | 0.17036 | 0.46564 | 0.28968 | 0.21474
ACIFLUORFEN | 2060 | 49315LCM29 | 2008-07-31 | 2007-10-01 | 2009-09-30 | ug/L | 0.46564 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18469 | ACIFLUORFEN | E | 0.04 | 0.086 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.46564 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Estimated Values | Y | 2 |  | 7 | 0.47788 | 0.17036 | 0.46564 | 0.28968 | 0.21474
ACIFLUORFEN | 2060 | 49315LCM29 | 2009-03-26 | 2007-10-01 | 2009-09-30 | ug/L | 0.59768 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.19743 | ACIFLUORFEN | . | 0.04 | 0.118 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59768 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 |  | 7 | 0.47788 | 0.17036 | 0.46564 | 0.28968 | 0.21474
ACIFLUORFEN | 2060 | 49315LCM29 | 2009-05-07 | 2007-10-01 | 2009-09-30 | ug/L | 0.5959 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18795 | ACIFLUORFEN | . | 0.04 | 0.112 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5959 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 |  | 7 | 0.47788 | 0.17036 | 0.46564 | 0.28968 | 0.21474
ACIFLUORFEN | 2060 | 49315LCM29 | 2009-06-18 | 2007-10-01 | 2009-09-30 | ug/L | 0.308 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18507 | ACIFLUORFEN | . | 0.04 | 0.057 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.308 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 |  | 7 | 0.47788 | 0.17036 | 0.46564 | 0.28968 | 0.21474
ACIFLUORFEN | 2060 | 49315LCM29 | 2009-07-29 | 2007-10-01 | 2009-09-30 | ug/L | 0.22949 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18737 | ACIFLUORFEN | . | 0.04 | 0.043 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.22949 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 |  | 7 | 0.47788 | 0.17036 | 0.46564 | 0.28968 | 0.21474
ACIFLUORFEN | 2060 | 49315LCM29 | 2008-12-10 | 2007-10-01 | 2009-09-30 | ug/L | 0.4488 | Restek, Restek | A063332, A062398 | Restek A063332: 30 µl & Restek A062398: 30 µl | 0.089127 | ACIFLUORFEN | . | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4488 | ReA063332, ReA062398 | Re | Re | Re | A063332 | A062398 | A062398 |  |  |  | Y | Recoverable Result | Y | 2 |  | 5 | 0.42084 | 0.12237 | 0.4488 | 0.1798 | 0.13329
ACIFLUORFEN | 2060 | 49315LCM29 | 2008-12-31 | 2007-10-01 | 2009-09-30 | ug/L | 0.54416 | Restek, Restek | A063332, A062398 | Restek A063332: 50 µl & Restek A062398: 50 µl | 0.15069 | ACIFLUORFEN | . | 0.04 | 0.082 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54416 | ReA063332, ReA062398 | Re | Re | Re | A063332 | A062398 | A062398 |  |  |  | Y | Recoverable Result | Y | 2 |  | 5 | 0.42084 | 0.12237 | 0.4488 | 0.1798 | 0.13329
ACIFLUORFEN | 2060 | 49315LCM29 | 2009-04-10 | 2007-10-01 | 2009-09-30 | ug/L | 0.5182 | Restek, Restek | A063332, A062398 | Restek A063332: 30 µl & Restek A062398: 30 µl | 0.092628 | ACIFLUORFEN | . | 0.04 | 0.048 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5182 | ReA063332, ReA062398 | Re | Re | Re | A063332 | A062398 | A062398 |  |  |  | Y | Recoverable Result | Y | 2 |  | 5 | 0.42084 | 0.12237 | 0.4488 | 0.1798 | 0.13329
ACIFLUORFEN | 2060 | 49315LCM29 | 2009-07-12 | 2007-10-01 | 2009-09-30 | ug/L | 0.3384 | Restek, Restek | A063332, A062398 | Restek A063332: 30 µl & Restek A062398: 30 µl | 0.088652 | ACIFLUORFEN | E | 0.04 | 0.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.3384 | ReA063332, ReA062398 | Re | Re | Re | A063332 | A062398 | A062398 |  |  |  | Y | Estimated Values | Y | 2 |  | 5 | 0.42084 | 0.12237 | 0.4488 | 0.1798 | 0.13329
ACIFLUORFEN | 2060 | 49315LCM29 | 2009-09-02 | 2007-10-01 | 2009-09-30 | ug/L | 0.25462 | Restek, Restek | A063332, A062398 | Restek A063332: 50 µl & Restek A062398: 50 µl | 0.14531 | ACIFLUORFEN | E | 0.04 | 0.037 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.25462 | ReA063332, ReA062398 | Re | Re | Re | A063332 | A062398 | A062398 |  |  |  | Y | Estimated Values | Y | 2 |  | 5 | 0.42084 | 0.12237 | 0.4488 | 0.1798 | 0.13329
ACIFLUORFEN | 2060 | 49315LCM29 | 2013-06-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.42 | Restek, NSI, NSI | A088383, 062612-01, 718L-01-01 | Restek A088383: 50 µl & NSI 062612-01: 50 µl & NSI 718L-01-01: 50 µl | 0.25 | ACIFLUORFEN | E | 0.08 | 0.105 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.42 | ReA088383, NS0622-01, NS7181-0 | Re | NS | NS | A088383 | 0622-01 | 7181-01 |  | 0622-01 | 7181-01 | Y | Estimated Values | Y | 2 |  | 1 | 0.42 |  | 0.42 | 0 | 0
ACIFLUORFEN | 2060 | 49315LCM29 | 2011-01-05 | 2011-01-01 | 2011-09-30 | ug/L | 0.39064 | Restek | A075600 | Restek A075600: 40 µl | 0.063997 | ACIFLUORFEN | . | 0.04 | 0.025 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.39064 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.51981 | 0.085503 | 0.53416 | 0.12577 | 0.093236
ACIFLUORFEN | 2060 | 49315LCM29 | 2011-03-25 | 2011-01-01 | 2011-09-30 | ug/L | 0.57609 | Restek | A075600 | Restek A075600: 40 µl | 0.064227 | ACIFLUORFEN | E | 0.04 | 0.037 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57609 | Restek A075600 | [9 empty] | Y | Estimated Values | Y | 2 |  | 11 | 0.51981 | 0.085503 | 0.53416 | 0.12577 | 0.093236
ACIFLUORFEN | 2060 | 49315LCM29 | 2011-05-20 | 2011-01-01 | 2011-09-30 | ug/L | 0.52909 | Restek | A075600 | Restek A075600: 100 µl | 0.16254 | ACIFLUORFEN | E | 0.04 | 0.086 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52909 | Restek A075600 | [9 empty] | Y | Estimated Values | Y | 2 |  | 11 | 0.51981 | 0.085503 | 0.53416 | 0.12577 | 0.093236
ACIFLUORFEN | 2060 | 49315LCM29 | 2011-06-11 | 2011-01-01 | 2011-09-30 | ug/L | 0.37431 | Restek | A075600 | Restek A075600: 40 µl | 0.064118 | ACIFLUORFEN | E | 0.04 | 0.024 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.37431 | Restek A075600 | [9 empty] | Y | Estimated Values | Y | 2 |  | 11 | 0.51981 | 0.085503 | 0.53416 | 0.12577 | 0.093236
ACIFLUORFEN | 2060 | 49315LCM29 | 2011-09-06 | 2011-01-01 | 2011-09-30 | ug/L | 0.49689 | Restek | A075600 | Restek A075600: 40 µl | 0.0644 | ACIFLUORFEN | E | 0.04 | 0.032 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49689 | Restek A075600 | [9 empty] | Y | Estimated Values | Y | 2 |  | 11 | 0.51981 | 0.085503 | 0.53416 | 0.12577 | 0.093236
ACIFLUORFEN | 2060 | 49315LCM29 | 2011-09-14 | 2011-01-01 | 2011-09-30 | ug/L | 0.53416 | Restek | A075600 | Restek A075600: 100 µl | 0.161 | ACIFLUORFEN | E | 0.04 | 0.086 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53416 | Restek A075600 | [9 empty] | Y | Estimated Values | Y | 2 |  | 11 | 0.51981 | 0.085503 | 0.53416 | 0.12577 | 0.093236
ACIFLUORFEN | 2060 | 49315LCM29 | 2011-11-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.65217 | Restek | A075600 | Restek A075600: 40 µl | 0.0644 | ACIFLUORFEN | E | 0.08 | 0.042 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.65217 | Restek A075600 | [9 empty] | Y | Estimated Values | Y | 1 |  | 11 | 0.51981 | 0.085503 | 0.53416 | 0.12577 | 0.093236
ACIFLUORFEN | 2060 | 49315LCM29 | 2012-02-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.59627 | Restek | A075600 | Restek A075600: 100 µl | 0.161 | ACIFLUORFEN | E | 0.08 | 0.096 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59627 | Restek A075600 | [9 empty] | Y | Estimated Values | Y | 2 |  | 11 | 0.51981 | 0.085503 | 0.53416 | 0.12577 | 0.093236
ACIFLUORFEN | 2060 | 49315LCM29 | 2012-03-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.55901 | Restek | A075600 | Restek A075600: 40 µl | 0.0644 | ACIFLUORFEN | E | 0.08 | 0.036 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.55901 | Restek A075600 | [9 empty] | Y | Estimated Values | Y | 1 |  | 11 | 0.51981 | 0.085503 | 0.53416 | 0.12577 | 0.093236
ACIFLUORFEN | 2060 | 49315LCM29 | 2012-05-03 | 2011-10-01 | 2050-09-30 | ug/L | 0.45031 | Restek | A075600 | Restek A075600: 40 µl | 0.0644 | ACIFLUORFEN | E | 0.08 | 0.029 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.45031 | Restek A075600 | [9 empty] | Y | Estimated Values | Y | 1 |  | 11 | 0.51981 | 0.085503 | 0.53416 | 0.12577 | 0.093236
ACIFLUORFEN | 2060 | 49315LCM29 | 2012-05-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.55901 | Restek | A075600 | Restek A075600: 100 µl | 0.161 | ACIFLUORFEN | E | 0.08 | 0.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55901 | Restek A075600 | [9 empty] | Y | Estimated Values | Y | 2 |  | 11 | 0.51981 | 0.085503 | 0.53416 | 0.12577 | 0.093236
ACIFLUORFEN | 2060 | 49315LCM29 | 2013-08-17 | 2011-10-01 | 2050-09-30 | ug/L | 0.19818 | Spex Organics, NSI, Supelco | T1130601011, 050613, LC01386 | Spex Organics T1130601011: 50 µl & NSI 050613: 50 µl & Supelco LC01386: 50 µl | 0.55 | ACIFLUORFEN | E | 0.08 | 0.109 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.19818 | SpT111011, NS050613, SuLC01386 | Sp | NS | Su | T111011 | 050613 | LC01386 | T111011 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.19818 |  | 0.19818 | 0 | 0
ACIFLUORFEN | 2060 | 49315LCM29 | 2012-12-21 | 2011-10-01 | 2050-09-30 | ug/L | 0.516 | Spex Organics, Restek | T1120525009, A088383 | Spex Organics T1120525009: 50 µl & Restek A088383: 50 µl | 0.25 | ACIFLUORFEN | E | 0.08 | 0.129 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.516 | SpT115009, ReA088383 | Sp | Re | Re | T115009 | A088383 | A088383 | T115009 |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.486 | 0.042426 | 0.486 | 0.06 | 0.044477
ACIFLUORFEN | 2060 | 49315LCM29 | 2013-04-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.456 | Spex Organics, Restek | T1120525009, A088383 | Spex Organics T1120525009: 50 µl & Restek A088383: 50 µl | 0.25 | ACIFLUORFEN | E | 0.08 | 0.114 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.456 | SpT115009, ReA088383 | Sp | Re | Re | T115009 | A088383 | A088383 | T115009 |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.486 | 0.042426 | 0.486 | 0.06 | 0.044477
ACIFLUORFEN | 2060 | 49315LCM29 | 2012-12-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.49 | Supelco, ChemService | LB92941, 396400 | Supelco LB92941: 20 µl & ChemService 396400: 20 µl | 0.1 | ACIFLUORFEN | E | 0.08 | 0.049 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49 | SuLB92941, Ch396400 | Su | Ch | Ch | LB92941 | 396400 | 396400 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.535 | 0.06364 | 0.535 | 0.09 | 0.066716
ACIFLUORFEN | 2060 | 49315LCM29 | 2013-02-13 | 2011-10-01 | 2050-09-30 | ug/L | 0.58 | Supelco, ChemService | LB92941, 396400 | Supelco LB92941: 20 µl & ChemService 396400: 20 µl | 0.1 | ACIFLUORFEN | E | 0.08 | 0.058 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58 | SuLB92941, Ch396400 | Su | Ch | Ch | LB92941 | 396400 | 396400 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.535 | 0.06364 | 0.535 | 0.09 | 0.066716
ACIFLUORFEN | 2060 | 49315LCM29 | 2008-01-22 | 2007-10-01 | 2009-09-30 | ug/L | 0.70002 | Ultra | CD-2088 | Ultra CD-2088: 50 µl | 0.20285 | ACIFLUORFEN | . | 0.04 | 0.142 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70002 | Ultra CD-2088 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.64892 | 0.15442 | 0.65072 | 0.080734 | 0.059848
ACIFLUORFEN | 2060 | 49315LCM29 | 2008-04-04 | 2007-10-01 | 2009-09-30 | ug/L | 0.87653 | Ultra | CD-2088 | Ultra CD-2088: 50 µl | 0.19737 | ACIFLUORFEN | . | 0.04 | 0.173 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87653 | Ultra CD-2088 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.64892 | 0.15442 | 0.65072 | 0.080734 | 0.059848
ACIFLUORFEN | 2060 | 49315LCM29 | 2008-04-30 | 2007-10-01 | 2009-09-30 | ug/L | 0.61929 | Ultra | CD-2088 | Ultra CD-2088: 50 µl | 0.19861 | ACIFLUORFEN | . | 0.04 | 0.123 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61929 | Ultra CD-2088 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.64892 | 0.15442 | 0.65072 | 0.080734 | 0.059848
ACIFLUORFEN | 2060 | 49315LCM29 | 2008-06-23 | 2007-10-01 | 2009-09-30 | ug/L | 0.64573 | Ultra | CD-2088 | Ultra CD-2088: 50 µl | 0.20132 | ACIFLUORFEN | . | 0.04 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64573 | Ultra CD-2088 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.64892 | 0.15442 | 0.65072 | 0.080734 | 0.059848
ACIFLUORFEN | 2060 | 49315LCM29 | 2008-07-25 | 2007-10-01 | 2009-09-30 | ug/L | 0.65571 | Ultra | CD-2088 | Ultra CD-2088: 50 µl | 0.19368 | ACIFLUORFEN | . | 0.04 | 0.127 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65571 | Ultra CD-2088 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.64892 | 0.15442 | 0.65072 | 0.080734 | 0.059848
ACIFLUORFEN | 2060 | 49315LCM29 | 2008-09-10 | 2007-10-01 | 2009-09-30 | ug/L | 0.3962 | Ultra | CD-2088 | Ultra CD-2088: 50 µl | 0.19687 | ACIFLUORFEN | E | 0.04 | 0.078 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.3962 | Ultra CD-2088 | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.64892 | 0.15442 | 0.65072 | 0.080734 | 0.059848