## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
ATRAZINE | 2060 | 39632LCM29 | 2013-11-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.96 | Abs, NSI | 042513, 042213HPLC | Abs 042513: 20 µl & NSI 042213HPLC: 20 µl | 0.3 | ATRAZINE | . | 0.08 | 0.288 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96 | Ab042513, NS042HPLC | Ab | NS | NS | 042513 | 042HPLC | 042HPLC |  | 042HPLC | 042HPLC | Y | Recoverable Result | Y | 2 |  | 1 | 0.96 |  | 0.96 | 0 | 0
ATRAZINE | 2060 | 39632LCM29 | 2013-06-26 | 2011-10-01 | 2050-09-30 | ug/L | 1.44 | Abs, NSI, NSI | 042513, 042213HPLC, 050613 | Abs 042513: 50 µl & NSI 042213HPLC: 50 µl & NSI 050613: 50 µl | 0.75 | ATRAZINE | E | 0.08 | 1.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.44 | Ab042513, NS042HPLC, NS050613 | Ab | NS | NS | 042513 | 042HPLC | 050613 |  | 042HPLC |  | Y | Estimated Values | Y | 2 |  | 1 | 1.44 |  | 1.44 | 0 | 0
ATRAZINE | 2060 | 39632LCM29 | 2014-01-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.49 | Abs, Supelco, NSI | 042513, LC01386, 050613 | Abs 042513: 20 µl & Supelco LC01386: 20 µl & NSI 050613: 20 µl | 0.3 | ATRAZINE | . | 0.08 | 0.147 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49 | Ab042513, SuLC01386, NS050613 | Ab | Su | NS | 042513 | LC01386 | 050613 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.49 |  | 0.49 | 0 | 0
ATRAZINE | 2060 | 39632LCM29 | 2012-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 1.0333 | Abs, NSI, NSI | 052312, 062612-01, 718L-01-01 | Abs 052312: 20 µl & NSI 062612-01: 20 µl & NSI 718L-01-01: 20 µl | 0.09 | ATRAZINE | . | 0.08 | 0.093 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0333 | Ab052312, NS0622-01, NS7181-01 | Ab | NS | NS | 052312 | 0622-01 | 7181-01 |  | 0622-01 | 7181-01 | Y | Recoverable Result | Y | 2 |  | 1 | 1.0333 |  | 1.0333 | 0 | 0
ATRAZINE | 2060 | 39632LCM29 | 2013-03-12 | 2011-10-01 | 2050-09-30 | ug/L | 1.1634 | Abs, Supelco | 052312, LB92941 | Abs 052312: 50 µl & Supelco LB92941: 50 µl | 0.2252 | ATRAZINE | . | 0.08 | 0.262 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1634 | Ab052312, SuLB92941 | Ab | Su | Su | 052312 | LB92941 | LB92941 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.1323 | 0.043959 | 1.1323 | 0.062167 | 0.046084
ATRAZINE | 2060 | 39632LCM29 | 2013-05-02 | 2011-10-01 | 2050-09-30 | ug/L | 1.1012 | Abs, Supelco | 052312, LB92941 | Abs 052312: 50 µl & Supelco LB92941: 50 µl | 0.2252 | ATRAZINE | . | 0.08 | 0.248 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1012 | Ab052312, SuLB92941 | Ab | Su | Su | 052312 | LB92941 | LB92941 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.1323 | 0.043959 | 1.1323 | 0.062167 | 0.046084
ATRAZINE | 2060 | 39632LCM29 | 2013-09-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.82 | Accu, NSI, Supelco | 213041030, 050613, LC01386 | Accu 213041030: 20 µl & NSI 050613: 20 µl & Supelco LC01386: 20 µl | 0.3 | ATRAZINE | . | 0.08 | 0.246 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82 | Ac2131030, NS050613, SuLC01386 | Ac | NS | Su | 2131030 | 050613 | LC01386 | 2131030 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.82 |  | 0.82 | 0 | 0
ATRAZINE | 2060 | 39632LCM29 | 2009-10-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.9604 | Accu | 209081166 | Accu 209081166: 40 µl | 0.083299 | ATRAZINE | . | 0.04 | 0.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9604 | Accu 209081166 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.3104 | 0.6973 | 1.0002 | 0.77148 | 0.57189
ATRAZINE | 2060 | 39632LCM29 | 2010-02-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.88885 | Accu | 209081166 | Accu 209081166: 40 µl | 0.084378 | ATRAZINE | . | 0.04 | 0.075 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88885 | Accu 209081166 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.3104 | 0.6973 | 1.0002 | 0.77148 | 0.57189
ATRAZINE | 2060 | 39632LCM29 | 2010-06-10 | 2009-10-01 | 2010-09-30 | ug/L | 2.3522 | Accu | 209081166 | Accu 209081166: 80 µl | 0.16538 | ATRAZINE | . | 0.04 | 0.389 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2.3522 | Accu 209081166 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.3104 | 0.6973 | 1.0002 | 0.77148 | 0.57189 | 2
ATRAZINE | 2060 | 39632LCM29 | 2010-07-27 | 2009-10-01 | 2010-09-30 | ug/L | 1.04 | Accu | 209081166 | Accu 209081166: 40 µl | 0.084615 | ATRAZINE | . | 0.04 | 0.088 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.04 | Accu 209081166 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.3104 | 0.6973 | 1.0002 | 0.77148 | 0.57189
ATRAZINE | 2060 | 39632LCM29 | 2013-11-27 | 2011-10-01 | 2050-09-30 | ug/L | 1.0573 | ChemService, NSI, Supelco | 1448600, 050613, LC01386 | ChemService 1448600: 50 µl & NSI 050613: 50 µl & Supelco LC01386: 50 µl | 0.75 | ATRAZINE | . | 0.08 | 0.793 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0573 | Ch1448600, NS050613, SuLC01386 | Ch | NS | Su | 1448600 | 050613 | LC01386 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0573 |  | 1.0573 | 0 | 0
ATRAZINE | 2060 | 39632LCM29 | 2009-12-02 | 2009-10-01 | 2010-09-30 | ug/L | 1.0493 | ChemService | 430-40B | ChemService 430-40B: 40 µl | 0.085775 | ATRAZINE | . | 0.04 | 0.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0493 | ChemService 430-40B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0232 | 0.46089 | 1.1748 | 0.16601 | 0.12306
ATRAZINE | 2060 | 39632LCM29 | 2010-05-04 | 2009-10-01 | 2010-09-30 | ug/L | 1.2153 | ChemService | 430-40B | ChemService 430-40B: 40 µl | 0.087224 | ATRAZINE | . | 0.04 | 0.106 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2153 | ChemService 430-40B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0232 | 0.46089 | 1.1748 | 0.16601 | 0.12306
ATRAZINE | 2060 | 39632LCM29 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 1.1748 | ChemService | 430-40B | ChemService 430-40B: 40 µl | 0.086824 | ATRAZINE | . | 0.04 | 0.102 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1748 | ChemService 430-40B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0232 | 0.46089 | 1.1748 | 0.16601 | 0.12306
ATRAZINE | 2060 | 39632LCM29 | 2010-08-31 | 2009-10-01 | 2010-09-30 | ug/L | 1.4387 | ChemService | 430-40B | ChemService 430-40B: 80 µl | 0.17238 | ATRAZINE | . | 0.04 | 0.248 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4387 | ChemService 430-40B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0232 | 0.46089 | 1.1748 | 0.16601 | 0.12306
ATRAZINE | 2060 | 39632LCM29 | 2010-10-27 | 2010-10-01 | 2011-09-30 | ug/L | 0.23801 | ChemService | 430-40B | ChemService 430-40B: 80 µl | 0.17226 | ATRAZINE | E | 0.04 | 0.041 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.23801 | ChemService 430-40B | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 1.0232 | 0.46089 | 1.1748 | 0.16601 | 0.12306
ATRAZINE | 2060 | 39632LCM29 | 2010-11-29 | 2010-10-01 | 2011-09-30 | ug/L | 0.9898 | Crescent | 163162 | Crescent 163162: 40 µl | 0.19802 | ATRAZINE | . | 0.04 | 0.196 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9898 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.1121 | 0.18416 | 1.0894 | 0.145 | 0.10749
ATRAZINE | 2060 | 39632LCM29 | 2011-02-24 | 2010-10-01 | 2011-09-30 | ug/L | 1.3412 | Crescent | 163162 | Crescent 163162: 40 µl | 0.1961 | ATRAZINE | . | 0.04 | 0.263 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3412 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.1121 | 0.18416 | 1.0894 | 0.145 | 0.10749
ATRAZINE | 2060 | 39632LCM29 | 2011-04-13 | 2010-10-01 | 2011-09-30 | ug/L | 1.1513 | Crescent | 163162 | Crescent 163162: 100 µl | 0.49945 | ATRAZINE | . | 0.04 | 0.575 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1513 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.1121 | 0.18416 | 1.0894 | 0.145 | 0.10749
ATRAZINE | 2060 | 39632LCM29 | 2011-05-20 | 2010-10-01 | 2011-09-30 | ug/L | 1.0568 | Crescent | 163162 | Crescent 163162: 40 µl | 0.19777 | ATRAZINE | . | 0.04 | 0.209 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0568 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.1121 | 0.18416 | 1.0894 | 0.145 | 0.10749
ATRAZINE | 2060 | 39632LCM29 | 2011-07-18 | 2010-10-01 | 2011-09-30 | ug/L | 1.122 | Crescent | 163162 | Crescent 163162: 100 µl | 0.5 | ATRAZINE | . | 0.04 | 0.561 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.122 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.1121 | 0.18416 | 1.0894 | 0.145 | 0.10749
ATRAZINE | 2060 | 39632LCM29 | 2011-07-19 | 2010-10-01 | 2011-09-30 | ug/L | 0.755 | Crescent | 163162 | Crescent 163162: 40 µl | 0.2 | ATRAZINE | . | 0.04 | 0.151 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.755 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.1121 | 0.18416 | 1.0894 | 0.145 | 0.10749
ATRAZINE | 2060 | 39632LCM29 | 2011-10-31 | 2011-10-01 | 2050-09-30 | ug/L | 1.415 | Crescent | 163162 | Crescent 163162: 40 µl | 0.2 | ATRAZINE | E | 0.08 | 0.283 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.415 | Crescent 163162 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 1.1121 | 0.18416 | 1.0894 | 0.145 | 0.10749
ATRAZINE | 2060 | 39632LCM29 | 2012-01-05 | 2011-10-01 | 2050-09-30 | ug/L | 1.19 | Crescent | 163162 | Crescent 163162: 100 µl | 0.5 | ATRAZINE | E | 0.08 | 0.595 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.19 | Crescent 163162 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 1.1121 | 0.18416 | 1.0894 | 0.145 | 0.10749
ATRAZINE | 2060 | 39632LCM29 | 2012-03-06 | 2011-10-01 | 2050-09-30 | ug/L | 1.055 | Crescent | 163162 | Crescent 163162: 40 µl | 0.2 | ATRAZINE | . | 0.08 | 0.211 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.055 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.1121 | 0.18416 | 1.0894 | 0.145 | 0.10749
ATRAZINE | 2060 | 39632LCM29 | 2012-06-20 | 2011-10-01 | 2050-09-30 | ug/L | 1.045 | Crescent | 163162 | Crescent 163162: 40 µl | 0.2 | ATRAZINE | . | 0.08 | 0.209 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.045 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.1121 | 0.18416 | 1.0894 | 0.145 | 0.10749
ATRAZINE | 2060 | 39632LCM29 | 2008-12-09 | 2007-01-01 | 2009-09-30 | ug/L | 1.2152 | ERA | 0813-08-07Polar | ERA 0813-08-07Polar: 50 µl | 0.30119 | ATRAZINE | . | 0.04 | 0.366 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2152 | ERA 0813-08-07Polar | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.1683 | 0.048609 | 1.1704 | 0.042758 | 0.031696
ATRAZINE | 2060 | 39632LCM29 | 2008-12-09 | 2007-01-01 | 2009-09-30 | ug/L | 1.1704 | ERA | 0813-08-07Polar | ERA 0813-08-07Polar: 30 µl | 0.17516 | ATRAZINE | . | 0.04 | 0.205 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1704 | ERA 0813-08-07Polar | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.1683 | 0.048609 | 1.1704 | 0.042758 | 0.031696
ATRAZINE | 2060 | 39632LCM29 | 2009-05-28 | 2007-01-01 | 2009-09-30 | ug/L | 1.161 | ERA | 0813-08-07Polar | ERA 0813-08-07Polar: 30 µl | 0.17743 | ATRAZINE | . | 0.04 | 0.206 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.161 | ERA 0813-08-07Polar | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.1683 | 0.048609 | 1.1704 | 0.042758 | 0.031696
ATRAZINE | 2060 | 39632LCM29 | 2009-08-06 | 2007-01-01 | 2009-09-30 | ug/L | 1.0913 | ERA | 0813-08-07Polar | ERA 0813-08-07Polar: 30 µl | 0.17594 | ATRAZINE | . | 0.04 | 0.192 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0913 | ERA 0813-08-07Polar | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.1683 | 0.048609 | 1.1704 | 0.042758 | 0.031696
ATRAZINE | 2060 | 39632LCM29 | 2009-09-22 | 2007-01-01 | 2009-09-30 | ug/L | 1.2038 | ERA | 0813-08-07Polar | ERA 0813-08-07Polar: 50 µl | 0.29324 | ATRAZINE | . | 0.04 | 0.353 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2038 | ERA 0813-08-07Polar | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.1683 | 0.048609 | 1.1704 | 0.042758 | 0.031696
ATRAZINE | 2060 | 39632LCM29 | 2013-09-27 | 2011-10-01 | 2050-09-30 | ug/L | 1.104 | NSI, Accu, Supelco | 042213HPLC, 213041030, LC00372 | NSI 042213HPLC: 50 µl & Accu 213041030: 50 µl & Supelco LC00372: 50 µl | 0.75 | ATRAZINE | . | 0.08 | 0.828 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.104 | NS042HPLC, Ac2131030, SuLC0037 | NS | Ac | Su | 042HPLC | 2131030 | LC00372 | 042HPLC | 2131030 |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.104 |  | 1.104 | 0 | 0
ATRAZINE | 2060 | 39632LCM29 | 2013-06-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.82667 | NSI, ChemService, NSI | 042213HPLC, 1448600, 050613 | NSI 042213HPLC: 20 µl & ChemService 1448600: 20 µl & NSI 050613: 20 µl | 0.3 | ATRAZINE | . | 0.08 | 0.248 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82667 | NS042HPLC, Ch1448600, NS050613 | NS | Ch | NS | 042HPLC | 1448600 | 050613 | 042HPLC |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.82667 |  | 0.82667 | 0 | 0
ATRAZINE | 2060 | 39632LCM29 | 2012-08-07 | 2011-10-01 | 2050-09-30 | ug/L | 1.1778 | NSI, NSI, ChemService | 062612-01, 718L-01-01, 396400 | NSI 062612-01: 20 µl & NSI 718L-01-01: 20 µl & ChemService 396400: 20 µl | 0.09 | ATRAZINE | . | 0.08 | 0.106 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1778 | NS0622-01, NS7181-01, Ch396400 | NS | NS | Ch | 0622-01 | 7181-01 | 396400 | 0622-01 | 7181-01 |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1778 |  | 1.1778 | 0 | 0
ATRAZINE | 2060 | 39632LCM29 | 2012-09-28 | 2011-10-01 | 2050-09-30 | ug/L | 1.1444 | NSI, NSI, Restek | 062612-01, 718L-01-01, A088383 | NSI 062612-01: 20 µl & NSI 718L-01-01: 20 µl & Restek A088383: 20 µl | 0.09 | ATRAZINE | . | 0.08 | 0.103 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1444 | NS0622-01, NS7181-01, ReA08838 | NS | NS | Re | 0622-01 | 7181-01 | A088383 | 0622-01 | 7181-01 |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1444 |  | 1.1444 | 0 | 0
ATRAZINE | 2060 | 39632LCM29 | 2010-05-03 | 2009-10-01 | 2010-09-30 | ug/L | 1.3166 | NWQL, NWQL | LCL11SP079A, LCL11SP079B | NWQL LCL11SP079A: 50 µl & NWQL LCL11SP079B: 50 µl | 0.12608 | ATRAZINE | . | 0.04 | 0.166 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3166 | NWLCL079A, NWLCL079B | NW | NW | NW | LCL079A | LCL079B | LCL079B | LCL079A | LCL079B | LCL079B | Y | Recoverable Result | Y | 2 |  | 3 | 1.3335 | 0.12361 | 1.3166 | 0.24548 | 0.18197
ATRAZINE | 2060 | 39632LCM29 | 2010-07-27 | 2009-10-01 | 2010-09-30 | ug/L | 1.2192 | NWQL, NWQL | LCL11SP079A, LCL11SP079B | NWQL LCL11SP079A: 50 µl & NWQL LCL11SP079B: 50 µl | 0.12468 | ATRAZINE | . | 0.04 | 0.152 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2192 | NWLCL079A, NWLCL079B | NW | NW | NW | LCL079A | LCL079B | LCL079B | LCL079A | LCL079B | LCL079B | Y | Recoverable Result | Y | 2 |  | 3 | 1.3335 | 0.12361 | 1.3166 | 0.24548 | 0.18197
ATRAZINE | 2060 | 39632LCM29 | 2010-09-21 | 2009-10-01 | 2010-09-30 | ug/L | 1.4646 | NWQL, NWQL | LCL11SP079A, LCL11SP079B | NWQL LCL11SP079A: 50 µl & NWQL LCL11SP079B: 50 µl | 0.12563 | ATRAZINE | . | 0.04 | 0.184 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4646 | NWLCL079A, NWLCL079B | NW | NW | NW | LCL079A | LCL079B | LCL079B | LCL079A | LCL079B | LCL079B | Y | Recoverable Result | Y | 2 |  | 3 | 1.3335 | 0.12361 | 1.3166 | 0.24548 | 0.18197
ATRAZINE | 2060 | 39632LCM29 | 2008-04-30 | 2007-01-01 | 2009-09-30 | ug/L | 1.1019 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18605 | ATRAZINE | . | 0.04 | 0.205 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1019 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 |  | 7 | 1.1676 | 0.17593 | 1.258 | 0.35564 | 0.26363
ATRAZINE | 2060 | 39632LCM29 | 2008-06-19 | 2007-01-01 | 2009-09-30 | ug/L | 1.258 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18681 | ATRAZINE | . | 0.04 | 0.235 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.258 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 |  | 7 | 1.1676 | 0.17593 | 1.258 | 0.35564 | 0.26363
ATRAZINE | 2060 | 39632LCM29 | 2008-07-30 | 2007-01-01 | 2009-09-30 | ug/L | 0.96918 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18469 | ATRAZINE | . | 0.04 | 0.179 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96918 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 |  | 7 | 1.1676 | 0.17593 | 1.258 | 0.35564 | 0.26363
ATRAZINE | 2060 | 39632LCM29 | 2009-03-26 | 2007-01-01 | 2009-09-30 | ug/L | 1.2663 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.19743 | ATRAZINE | . | 0.04 | 0.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2663 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 |  | 7 | 1.1676 | 0.17593 | 1.258 | 0.35564 | 0.26363
ATRAZINE | 2060 | 39632LCM29 | 2009-05-06 | 2007-01-01 | 2009-09-30 | ug/L | 1.3248 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18795 | ATRAZINE | . | 0.04 | 0.249 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3248 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 |  | 7 | 1.1676 | 0.17593 | 1.258 | 0.35564 | 0.26363
ATRAZINE | 2060 | 39632LCM29 | 2009-06-17 | 2007-01-01 | 2009-09-30 | ug/L | 1.3455 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18507 | ATRAZINE | . | 0.04 | 0.249 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3455 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 |  | 7 | 1.1676 | 0.17593 | 1.258 | 0.35564 | 0.26363
ATRAZINE | 2060 | 39632LCM29 | 2009-07-28 | 2007-01-01 | 2009-09-30 | ug/L | 0.9073 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18737 | ATRAZINE | . | 0.04 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9073 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 |  | 7 | 1.1676 | 0.17593 | 1.258 | 0.35564 | 0.26363
ATRAZINE | 2060 | 39632LCM29 | 2008-02-12 | 2007-01-01 | 2009-09-30 | ug/L | 0.47364 | Protocol | I1070803003 | Protocol I1070803003: 50 µl | 0.20902 | ATRAZINE | . | 0.04 | 0.099 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.47364 | Protocol I1070803003 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0361 | 0.32506 | 1.1203 | 0.13515 | 0.10019
ATRAZINE | 2060 | 39632LCM29 | 2008-04-04 | 2007-01-01 | 2009-09-30 | ug/L | 1.1203 | Protocol | I1070803003 | Protocol I1070803003: 50 µl | 0.2053 | ATRAZINE | . | 0.04 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1203 | Protocol I1070803003 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0361 | 0.32506 | 1.1203 | 0.13515 | 0.10019
ATRAZINE | 2060 | 39632LCM29 | 2008-05-16 | 2007-01-01 | 2009-09-30 | ug/L | 1.2915 | Protocol | I1070803003 | Protocol I1070803003: 50 µl | 0.20441 | ATRAZINE | . | 0.04 | 0.264 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2915 | Protocol I1070803003 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0361 | 0.32506 | 1.1203 | 0.13515 | 0.10019
ATRAZINE | 2060 | 39632LCM29 | 2008-06-24 | 2007-01-01 | 2009-09-30 | ug/L | 1.08 | Protocol | I1070803003 | Protocol I1070803003: 50 µl | 0.20093 | ATRAZINE | . | 0.04 | 0.217 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.08 | Protocol I1070803003 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0361 | 0.32506 | 1.1203 | 0.13515 | 0.10019
ATRAZINE | 2060 | 39632LCM29 | 2008-08-14 | 2007-01-01 | 2009-09-30 | ug/L | 1.2151 | Protocol | I1070803003 | Protocol I1070803003: 50 µl | 0.19916 | ATRAZINE | . | 0.04 | 0.242 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2151 | Protocol I1070803003 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0361 | 0.32506 | 1.1203 | 0.13515 | 0.10019
ATRAZINE | 2060 | 39632LCM29 | 2008-12-10 | 2007-01-01 | 2009-09-30 | ug/L | 1.1503 | Restek, Restek | A063332, A062398 | Restek A063332: 30 µl & Restek A062398: 30 µl | 0.17734 | ATRAZINE | . | 0.04 | 0.204 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1503 | ReA063332, ReA062398 | Re | Re | Re | A063332 | A062398 | A062398 |  |  |  | Y | Recoverable Result | Y | 2 |  | 5 | 1.1949 | 0.12032 | 1.1503 | 0.14127 | 0.10472
ATRAZINE | 2060 | 39632LCM29 | 2008-12-31 | 2007-01-01 | 2009-09-30 | ug/L | 1.1172 | Restek, Restek | A063332, A062398 | Restek A063332: 50 µl & Restek A062398: 50 µl | 0.29985 | ATRAZINE | . | 0.04 | 0.335 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1172 | ReA063332, ReA062398 | Re | Re | Re | A063332 | A062398 | A062398 |  |  |  | Y | Recoverable Result | Y | 2 |  | 5 | 1.1949 | 0.12032 | 1.1503 | 0.14127 | 0.10472
ATRAZINE | 2060 | 39632LCM29 | 2009-04-10 | 2007-01-01 | 2009-09-30 | ug/L | 1.3727 | Restek, Restek | A063332, A062398 | Restek A063332: 30 µl & Restek A062398: 30 µl | 0.18431 | ATRAZINE | . | 0.04 | 0.253 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3727 | ReA063332, ReA062398 | Re | Re | Re | A063332 | A062398 | A062398 |  |  |  | Y | Recoverable Result | Y | 2 |  | 5 | 1.1949 | 0.12032 | 1.1503 | 0.14127 | 0.10472
ATRAZINE | 2060 | 39632LCM29 | 2009-07-11 | 2007-01-01 | 2009-09-30 | ug/L | 1.2585 | Restek, Restek | A063332, A062398 | Restek A063332: 30 µl & Restek A062398: 30 µl | 0.1764 | ATRAZINE | . | 0.04 | 0.222 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2585 | ReA063332, ReA062398 | Re | Re | Re | A063332 | A062398 | A062398 |  |  |  | Y | Recoverable Result | Y | 2 |  | 5 | 1.1949 | 0.12032 | 1.1503 | 0.14127 | 0.10472
ATRAZINE | 2060 | 39632LCM29 | 2009-09-01 | 2007-01-01 | 2009-09-30 | ug/L | 1.0756 | Restek, Restek | A063332, A062398 | Restek A063332: 50 µl & Restek A062398: 50 µl | 0.28915 | ATRAZINE | . | 0.04 | 0.311 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0756 | ReA063332, ReA062398 | Re | Re | Re | A063332 | A062398 | A062398 |  |  |  | Y | Recoverable Result | Y | 2 |  | 5 | 1.1949 | 0.12032 | 1.1503 | 0.14127 | 0.10472
ATRAZINE | 2060 | 39632LCM29 | 2013-06-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.96889 | Restek, NSI, NSI | A088383, 062612-01, 718L-01-01 | Restek A088383: 50 µl & NSI 062612-01: 50 µl & NSI 718L-01-01: 50 µl | 0.225 | ATRAZINE | . | 0.08 | 0.218 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96889 | ReA088383, NS0622-01, NS7181-0 | Re | NS | NS | A088383 | 0622-01 | 7181-01 |  | 0622-01 | 7181-01 | Y | Recoverable Result | Y | 2 |  | 1 | 0.96889 |  | 0.96889 | 0 | 0
ATRAZINE | 2060 | 39632LCM29 | 2008-03-11 | 2007-01-01 | 2009-09-30 | ug/L | 1.0435 | Restek | A053251 | Restek A053251: 50 µl | 0.207 | ATRAZINE | . | 0.04 | 0.216 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0435 | Restek A053251 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.99242 | 0.078845 | 0.94818 | 0.10819 | 0.080197
ATRAZINE | 2060 | 39632LCM29 | 2008-04-30 | 2007-01-01 | 2009-09-30 | ug/L | 0.94818 | Restek | A053251 | Restek A053251: 50 µl | 0.20249 | ATRAZINE | . | 0.04 | 0.192 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94818 | Restek A053251 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.99242 | 0.078845 | 0.94818 | 0.10819 | 0.080197
ATRAZINE | 2060 | 39632LCM29 | 2008-06-03 | 2007-01-01 | 2009-09-30 | ug/L | 0.92874 | Restek | A053251 | Restek A053251: 50 µl | 0.20135 | ATRAZINE | . | 0.04 | 0.187 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92874 | Restek A053251 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.99242 | 0.078845 | 0.94818 | 0.10819 | 0.080197
ATRAZINE | 2060 | 39632LCM29 | 2008-07-23 | 2007-01-01 | 2009-09-30 | ug/L | 1.1064 | Restek | A053251 | Restek A053251: 50 µl | 0.19975 | ATRAZINE | . | 0.04 | 0.221 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1064 | Restek A053251 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.99242 | 0.078845 | 0.94818 | 0.10819 | 0.080197
ATRAZINE | 2060 | 39632LCM29 | 2008-08-28 | 2007-01-01 | 2009-09-30 | ug/L | 0.93532 | Restek | A053251 | Restek A053251: 50 µl | 0.20207 | ATRAZINE | . | 0.04 | 0.189 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93532 | Restek A053251 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.99242 | 0.078845 | 0.94818 | 0.10819 | 0.080197
ATRAZINE | 2060 | 39632LCM29 | 2011-01-04 | 2010-10-01 | 2011-09-30 | ug/L | 1.1232 | Restek | A075600 | Restek A075600: 40 µl | 0.19676 | ATRAZINE | . | 0.04 | 0.221 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1232 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.1483 | 0.20146 | 1.1109 | 0.28067 | 0.20805
ATRAZINE | 2060 | 39632LCM29 | 2011-03-23 | 2010-10-01 | 2011-09-30 | ug/L | 1.3319 | Restek | A075600 | Restek A075600: 40 µl | 0.19747 | ATRAZINE | . | 0.04 | 0.263 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3319 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.1483 | 0.20146 | 1.1109 | 0.28067 | 0.20805
ATRAZINE | 2060 | 39632LCM29 | 2011-05-20 | 2010-10-01 | 2011-09-30 | ug/L | 1.2786 | Restek | A075600 | Restek A075600: 100 µl | 0.49975 | ATRAZINE | . | 0.04 | 0.639 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2786 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.1483 | 0.20146 | 1.1109 | 0.28067 | 0.20805
ATRAZINE | 2060 | 39632LCM29 | 2011-06-10 | 2010-10-01 | 2011-09-30 | ug/L | 1.1109 | Restek | A075600 | Restek A075600: 40 µl | 0.19713 | ATRAZINE | . | 0.04 | 0.219 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1109 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.1483 | 0.20146 | 1.1109 | 0.28067 | 0.20805
ATRAZINE | 2060 | 39632LCM29 | 2011-09-02 | 2010-10-01 | 2011-09-30 | ug/L | 0.94949 | Restek | A075600 | Restek A075600: 40 µl | 0.198 | ATRAZINE | . | 0.04 | 0.188 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94949 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.1483 | 0.20146 | 1.1109 | 0.28067 | 0.20805
ATRAZINE | 2060 | 39632LCM29 | 2011-09-13 | 2010-10-01 | 2011-09-30 | ug/L | 1.2606 | Restek | A075600 | Restek A075600: 100 µl | 0.495 | ATRAZINE | . | 0.04 | 0.624 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2606 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.1483 | 0.20146 | 1.1109 | 0.28067 | 0.20805
ATRAZINE | 2060 | 39632LCM29 | 2011-11-29 | 2011-10-01 | 2050-09-30 | ug/L | 1.5859 | Restek | A075600 | Restek A075600: 40 µl | 0.198 | ATRAZINE | E | 0.08 | 0.314 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5859 | Restek A075600 | [9 empty] | Y | Estimated Values | Y | 2 |  | 11 | 1.1483 | 0.20146 | 1.1109 | 0.28067 | 0.20805
ATRAZINE | 2060 | 39632LCM29 | 2012-02-13 | 2011-10-01 | 2050-09-30 | ug/L | 0.99798 | Restek | A075600 | Restek A075600: 100 µl | 0.495 | ATRAZINE | . | 0.08 | 0.494 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99798 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.1483 | 0.20146 | 1.1109 | 0.28067 | 0.20805
ATRAZINE | 2060 | 39632LCM29 | 2012-03-26 | 2011-10-01 | 2050-09-30 | ug/L | 1.0758 | Restek | A075600 | Restek A075600: 40 µl | 0.198 | ATRAZINE | . | 0.08 | 0.213 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0758 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.1483 | 0.20146 | 1.1109 | 0.28067 | 0.20805
ATRAZINE | 2060 | 39632LCM29 | 2012-05-02 | 2011-10-01 | 2050-09-30 | ug/L | 0.88889 | Restek | A075600 | Restek A075600: 40 µl | 0.198 | ATRAZINE | . | 0.08 | 0.176 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88889 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.1483 | 0.20146 | 1.1109 | 0.28067 | 0.20805
ATRAZINE | 2060 | 39632LCM29 | 2012-05-22 | 2011-10-01 | 2050-09-30 | ug/L | 1.0283 | Restek | A075600 | Restek A075600: 100 µl | 0.495 | ATRAZINE | . | 0.08 | 0.509 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0283 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.1483 | 0.20146 | 1.1109 | 0.28067 | 0.20805
ATRAZINE | 2060 | 39632LCM29 | 2013-08-17 | 2011-10-01 | 2050-09-30 | ug/L | 0.868 | Spex Organics, NSI, Supelco | T1130601011, 050613, LC01386 | Spex Organics T1130601011: 50 µl & NSI 050613: 50 µl & Supelco LC01386: 50 µl | 0.75 | ATRAZINE | . | 0.08 | 0.651 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.868 | SpT111011, NS050613, SuLC01386 | Sp | NS | Su | T111011 | 050613 | LC01386 | T111011 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.868 |  | 0.868 | 0 | 0
ATRAZINE | 2060 | 39632LCM29 | 2012-09-13 | 2011-10-01 | 2050-09-30 | ug/L | 1.2444 | Spex Organics, NSI, NSI | T1120525009, 062612-01, 718L-01-01 | Spex Organics T1120525009: 20 µl & NSI 062612-01: 20 µl & NSI 718L-01-01: 20 µl | 0.09 | ATRAZINE | . | 0.08 | 0.112 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2444 | SpT115009, NS0622-01, NS7181-0 | Sp | NS | NS | T115009 | 0622-01 | 7181-01 | T115009 | 0622-01 | 7181-01 | Y | Recoverable Result | Y | 2 |  | 2 | 1.2356 | 0.012571 | 1.2356 | 0.017778 | 0.013178
ATRAZINE | 2060 | 39632LCM29 | 2013-01-18 | 2011-10-01 | 2050-09-30 | ug/L | 1.2267 | Spex Organics, NSI, NSI | T1120525009, 062612-01, 718L-01-01 | Spex Organics T1120525009: 100 µl & NSI 062612-01: 100 µl & NSI 718L-01-01: 100 | 0.45 | ATRAZINE | . | 0.08 | 0.552 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2267 | SpT115009, NS0622-01, NS7181-0 | Sp | NS | NS | T115009 | 0622-01 | 7181-01 | T115009 | 0622-01 | 7181-01 | Y | Recoverable Result | Y | 2 |  | 2 | 1.2356 | 0.012571 | 1.2356 | 0.017778 | 0.013178
ATRAZINE | 2060 | 39632LCM29 | 2012-07-18 | 2011-10-01 | 2050-09-30 | ug/L | 1.23 | Spex Organics, Supelco | T1120525009, LB92941 | Spex Organics T1120525009: 50 µl & Supelco LB92941: 50 µl | 0.2252 | ATRAZINE | . | 0.08 | 0.277 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.23 | SpT115009, SuLB92941 | Sp | Su | Su | T115009 | LB92941 | LB92941 | T115009 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.23 |  | 1.23 | 0 | 0
ATRAZINE | 2060 | 39632LCM29 | 2012-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 1.0768 | Supelco, ChemService | LB92941, 396400 | Supelco LB92941: 20 µl & ChemService 396400: 20 µl | 0.09008 | ATRAZINE | . | 0.08 | 0.097 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0768 | SuLB92941, Ch396400 | Su | Ch | Ch | LB92941 | 396400 | 396400 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0602 | 0.023549 | 1.0602 | 0.033304 | 0.024688
ATRAZINE | 2060 | 39632LCM29 | 2013-02-13 | 2011-10-01 | 2050-09-30 | ug/L | 1.0435 | Supelco, ChemService | LB92941, 396400 | Supelco LB92941: 20 µl & ChemService 396400: 20 µl | 0.09008 | ATRAZINE | . | 0.08 | 0.094 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0435 | SuLB92941, Ch396400 | Su | Ch | Ch | LB92941 | 396400 | 396400 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0602 | 0.023549 | 1.0602 | 0.033304 | 0.024688
ATRAZINE | 2060 | 39632LCM29 | 2012-07-09 | 2011-10-01 | 2050-09-30 | ug/L | 0.98801 | Supelco | LB92941 | Supelco LB92941: 20 µl | 0.09008 | ATRAZINE | . | 0.08 | 0.089 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98801 | Supelco LB92941 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.98801 |  | 0.98801 | 0 | 0