## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
BENOMYL | 2060 | 50300LCM29 | 2013-11-07 | 2010-10-01 | 2099-09-30 | ug/L | 0.66 | Abs, NSI | 042513, 042213HPLC | Abs 042513: 20 µl & NSI 042213HPLC: 20 µl | 0.15 | BENOMYL | E | 0.06 | 0.099 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66 | Ab042513, NS042HPLC | Ab | NS | NS | 042513 | 042HPLC | 042HPLC |  | 042HPLC | 042HPLC | Y | Estimated Values | Y | 2 | Y | 1 | 0.66 |  | 0.66 | 0 | 0
BENOMYL | 2060 | 50300LCM29 | 2013-06-26 | 2010-10-01 | 2099-09-30 | ug/L | 0.648 | Abs, NSI, NSI | 042513, 042213HPLC, 050613 | Abs 042513: 50 µl & NSI 042213HPLC: 50 µl & NSI 050613: 50 µl | 0.375 | BENOMYL | E | 0.06 | 0.243 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.648 | Ab042513, NS042HPLC, NS050613 | Ab | NS | NS | 042513 | 042HPLC | 050613 |  | 042HPLC |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.648 |  | 0.648 | 0 | 0
BENOMYL | 2060 | 50300LCM29 | 2014-01-16 | 2010-10-01 | 2099-09-30 | ug/L | 1.7333 | Abs, Supelco, NSI | 042513, LC01386, 050613 | Abs 042513: 20 µl & Supelco LC01386: 20 µl & NSI 050613: 20 µl | 0.15 | BENOMYL | E | 0.06 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.7333 | Ab042513, SuLC01386, NS050613 | Ab | Su | NS | 042513 | LC01386 | 050613 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 1.7333 |  | 1.7333 | 0 | 0
BENOMYL | 2060 | 50300LCM29 | 2012-12-05 | 2010-10-01 | 2099-09-30 | ug/L | 0.55 | Abs, NSI, NSI | 052312, 062612-01, 718L-01-01 | Abs 052312: 20 µl & NSI 062612-01: 20 µl & NSI 718L-01-01: 20 µl | 0.1 | BENOMYL | E | 0.06 | 0.055 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55 | Ab052312, NS0622-01, NS7181-01 | Ab | NS | NS | 052312 | 0622-01 | 7181-01 |  | 0622-01 | 7181-01 | Y | Estimated Values | Y | 2 | Y | 1 | 0.55 |  | 0.55 | 0 | 0
BENOMYL | 2060 | 50300LCM29 | 2013-03-12 | 2010-10-01 | 2099-09-30 | ug/L | 2.447 | Abs, Supelco | 052312, LB92941 | Abs 052312: 50 µl & Supelco LB92941: 50 µl | 0.2501 | BENOMYL | E | 0.06 | 0.612 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2.447 | Ab052312, SuLB92941 | Ab | Su | Su | 052312 | LB92941 | LB92941 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 2.1331 | 0.44389 | 2.1331 | 0.62775 | 0.46534 | 2
BENOMYL | 2060 | 50300LCM29 | 2013-05-02 | 2010-10-01 | 2099-09-30 | ug/L | 1.8193 | Abs, Supelco | 052312, LB92941 | Abs 052312: 50 µl & Supelco LB92941: 50 µl | 0.2501 | BENOMYL | E | 0.06 | 0.455 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.8193 | Ab052312, SuLB92941 | Ab | Su | Su | 052312 | LB92941 | LB92941 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 2.1331 | 0.44389 | 2.1331 | 0.62775 | 0.46534
BENOMYL | 2060 | 50300LCM29 | 2011-02-02 | 2010-10-01 | 2099-09-30 | ug/L | 1.5572 | Abs | 090910HPLC | Abs 090910HPLC: 40 µl | 0.081559 | BENOMYL | E | 0.06 | 0.127 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5572 | Abs 090910HPLC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 10 | 1.8282 | 0.43038 | 1.7358 | 0.50985 | 0.37795
BENOMYL | 2060 | 50300LCM29 | 2011-02-25 | 2010-10-01 | 2099-09-30 | ug/L | 1.5823 | Abs | 090910HPLC | Abs 090910HPLC: 40 µl | 0.080893 | BENOMYL | E | 0.06 | 0.128 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5823 | Abs 090910HPLC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 10 | 1.8282 | 0.43038 | 1.7358 | 0.50985 | 0.37795
BENOMYL | 2060 | 50300LCM29 | 2011-04-12 | 2010-10-01 | 2099-09-30 | ug/L | 1.7844 | Abs | 090910HPLC | Abs 090910HPLC: 40 µl | 0.0807 | BENOMYL | E | 0.06 | 0.144 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.7844 | Abs 090910HPLC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 10 | 1.8282 | 0.43038 | 1.7358 | 0.50985 | 0.37795
BENOMYL | 2060 | 50300LCM29 | 2011-06-10 | 2010-10-01 | 2099-09-30 | ug/L | 2.1269 | Abs | 090910HPLC | Abs 090910HPLC: 100 µl | 0.19982 | BENOMYL | E | 0.06 | 0.425 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2.1269 | Abs 090910HPLC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 10 | 1.8282 | 0.43038 | 1.7358 | 0.50985 | 0.37795 | 2
BENOMYL | 2060 | 50300LCM29 | 2011-07-19 | 2010-10-01 | 2099-09-30 | ug/L | 1.6872 | Abs | 090910HPLC | Abs 090910HPLC: 40 µl | 0.0812 | BENOMYL | E | 0.06 | 0.137 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.6872 | Abs 090910HPLC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 10 | 1.8282 | 0.43038 | 1.7358 | 0.50985 | 0.37795
BENOMYL | 2060 | 50300LCM29 | 2011-09-12 | 2010-10-01 | 2099-09-30 | ug/L | 1.202 | Abs | 090910HPLC | Abs 090910HPLC: 100 µl | 0.203 | BENOMYL | E | 0.06 | 0.244 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.202 | Abs 090910HPLC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 10 | 1.8282 | 0.43038 | 1.7358 | 0.50985 | 0.37795
BENOMYL | 2060 | 50300LCM29 | 2011-11-28 | 2010-10-01 | 2099-09-30 | ug/L | 1.564 | Abs | 090910HPLC | Abs 090910HPLC: 40 µl | 0.0812 | BENOMYL | E | 0.06 | 0.127 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.564 | Abs 090910HPLC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 10 | 1.8282 | 0.43038 | 1.7358 | 0.50985 | 0.37795
BENOMYL | 2060 | 50300LCM29 | 2012-02-13 | 2010-10-01 | 2099-09-30 | ug/L | 2.0739 | Abs | 090910HPLC | Abs 090910HPLC: 100 µl | 0.203 | BENOMYL | E | 0.06 | 0.421 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2.0739 | Abs 090910HPLC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 10 | 1.8282 | 0.43038 | 1.7358 | 0.50985 | 0.37795 | 2
BENOMYL | 2060 | 50300LCM29 | 2012-04-10 | 2010-10-01 | 2099-09-30 | ug/L | 2.7709 | Abs | 090910HPLC | Abs 090910HPLC: 40 µl | 0.0812 | BENOMYL | E | 0.06 | 0.225 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2.7709 | Abs 090910HPLC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 10 | 1.8282 | 0.43038 | 1.7358 | 0.50985 | 0.37795 | 2
BENOMYL | 2060 | 50300LCM29 | 2012-05-03 | 2010-10-01 | 2099-09-30 | ug/L | 1.9335 | Abs | 090910HPLC | Abs 090910HPLC: 40 µl | 0.0812 | BENOMYL | E | 0.06 | 0.157 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.9335 | Abs 090910HPLC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 10 | 1.8282 | 0.43038 | 1.7358 | 0.50985 | 0.37795
BENOMYL | 2060 | 50300LCM29 | 2013-09-27 | 2010-10-01 | 2099-09-30 | ug/L | 1.4 | Accu, NSI, Supelco | 213041030, 050613, LC01386 | Accu 213041030: 20 µl & NSI 050613: 20 µl & Supelco LC01386: 20 µl | 0.15 | BENOMYL | E | 0.06 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4 | Ac2131030, NS050613, SuLC01386 | Ac | NS | Su | 2131030 | 050613 | LC01386 | 2131030 |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 1.4 |  | 1.4 | 0 | 0
BENOMYL | 2060 | 50300LCM29 | 2013-11-27 | 2010-10-01 | 2099-09-30 | ug/L | 2.96 | ChemService, NSI, Supelco | 1448600, 050613, LC01386 | ChemService 1448600: 50 µl & NSI 050613: 50 µl & Supelco LC01386: 50 µl | 0.375 | BENOMYL | E | 0.06 | 1.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2.96 | Ch1448600, NS050613, SuLC01386 | Ch | NS | Su | 1448600 | 050613 | LC01386 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 2.96 |  | 2.96 | 0 | 0 | 2
BENOMYL | 2060 | 50300LCM29 | 2011-01-04 | 2010-10-01 | 2099-09-30 | ug/L | 1.4072 | ChemService | 448-45B | ChemService 448-45B: 40 µl | 0.078171 | BENOMYL | E | 0.06 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4072 | ChemService 448-45B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 1.8345 | 0.19 | 1.88 | 0.14379 | 0.10659
BENOMYL | 2060 | 50300LCM29 | 2011-03-07 | 2010-10-01 | 2099-09-30 | ug/L | 2.0433 | ChemService | 448-45B | ChemService 448-45B: 40 µl | 0.077813 | BENOMYL | E | 0.06 | 0.159 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2.0433 | ChemService 448-45B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 1.8345 | 0.19 | 1.88 | 0.14379 | 0.10659 | 2
BENOMYL | 2060 | 50300LCM29 | 2011-05-05 | 2010-10-01 | 2099-09-30 | ug/L | 1.6941 | ChemService | 448-45B | ChemService 448-45B: 40 µl | 0.079689 | BENOMYL | E | 0.06 | 0.135 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.6941 | ChemService 448-45B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 1.8345 | 0.19 | 1.88 | 0.14379 | 0.10659
BENOMYL | 2060 | 50300LCM29 | 2011-06-28 | 2010-10-01 | 2099-09-30 | ug/L | 1.9563 | ChemService | 448-45B | ChemService 448-45B: 100 µl | 0.19782 | BENOMYL | E | 0.06 | 0.387 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.9563 | ChemService 448-45B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 1.8345 | 0.19 | 1.88 | 0.14379 | 0.10659
BENOMYL | 2060 | 50300LCM29 | 2011-08-11 | 2010-10-01 | 2099-09-30 | ug/L | 1.88 | ChemService | 448-45B | ChemService 448-45B: 100 µl | 0.2 | BENOMYL | E | 0.06 | 0.376 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.88 | ChemService 448-45B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 1.8345 | 0.19 | 1.88 | 0.14379 | 0.10659
BENOMYL | 2060 | 50300LCM29 | 2011-10-04 | 2010-10-01 | 2099-09-30 | ug/L | 1.8125 | ChemService | 448-45B | ChemService 448-45B: 40 µl | 0.08 | BENOMYL | E | 0.06 | 0.145 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.8125 | ChemService 448-45B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 1.8345 | 0.19 | 1.88 | 0.14379 | 0.10659
BENOMYL | 2060 | 50300LCM29 | 2011-11-29 | 2010-10-01 | 2099-09-30 | ug/L | 1.98 | ChemService | 448-45B | ChemService 448-45B: 100 µl | 0.2 | BENOMYL | E | 0.06 | 0.396 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.98 | ChemService 448-45B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 1.8345 | 0.19 | 1.88 | 0.14379 | 0.10659
BENOMYL | 2060 | 50300LCM29 | 2012-02-02 | 2010-10-01 | 2099-09-30 | ug/L | 1.9 | ChemService | 448-45B | ChemService 448-45B: 40 µl | 0.08 | BENOMYL | E | 0.06 | 0.152 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.9 | ChemService 448-45B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 1.8345 | 0.19 | 1.88 | 0.14379 | 0.10659
BENOMYL | 2060 | 50300LCM29 | 2012-03-26 | 2010-10-01 | 2099-09-30 | ug/L | 1.8375 | ChemService | 448-45B | ChemService 448-45B: 40 µl | 0.08 | BENOMYL | E | 0.06 | 0.147 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.8375 | ChemService 448-45B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 1.8345 | 0.19 | 1.88 | 0.14379 | 0.10659
BENOMYL | 2060 | 50300LCM29 | 2009-11-19 | 2009-10-01 | 2010-09-30 | ug/L | 1.2943 | Crescent | 08LL073 | Crescent 08LL073: 40 µl | 0.13907 | BENOMYL | E | 0.06 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2943 | Crescent 08LL073 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 1.402 | 0.072462 | 1.414 | 0.082217 | 0.060946
BENOMYL | 2060 | 50300LCM29 | 2010-03-17 | 2009-10-01 | 2010-09-30 | ug/L | 1.4773 | Crescent | 08LL073 | Crescent 08LL073: 40 µl | 0.1435 | BENOMYL | E | 0.06 | 0.212 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4773 | Crescent 08LL073 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 1.402 | 0.072462 | 1.414 | 0.082217 | 0.060946
BENOMYL | 2060 | 50300LCM29 | 2010-06-15 | 2009-10-01 | 2010-09-30 | ug/L | 1.4533 | Crescent | 08LL073 | Crescent 08LL073: 40 µl | 0.14518 | BENOMYL | E | 0.06 | 0.211 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4533 | Crescent 08LL073 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 1.402 | 0.072462 | 1.414 | 0.082217 | 0.060946
BENOMYL | 2060 | 50300LCM29 | 2010-07-26 | 2009-10-01 | 2010-09-30 | ug/L | 1.3711 | Crescent | 08LL073 | Crescent 08LL073: 40 µl | 0.13857 | BENOMYL | E | 0.06 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3711 | Crescent 08LL073 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 1.402 | 0.072462 | 1.414 | 0.082217 | 0.060946
BENOMYL | 2060 | 50300LCM29 | 2010-10-28 | 2010-10-01 | 2099-09-30 | ug/L | 1.414 | Crescent | 08LL073 | Crescent 08LL073: 80 µl | 0.27863 | BENOMYL | E | 0.06 | 0.394 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.414 | Crescent 08LL073 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 1.402 | 0.072462 | 1.414 | 0.082217 | 0.060946
BENOMYL | 2060 | 50300LCM29 | 2008-12-09 | 2008-10-01 | 2009-09-30 | ug/L | 1.3231 | ERA | 0813-08-07Polar | ERA 0813-08-07Polar: 50 µl | 0.27511 | BENOMYL | E | 0.06 | 0.364 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3231 | ERA 0813-08-07Polar | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 1.3821 | 0.1268 | 1.3689 | 0.065726 | 0.048722
BENOMYL | 2060 | 50300LCM29 | 2008-12-09 | 2008-10-01 | 2009-09-30 | ug/L | 1.2438 | ERA | 0813-08-07Polar | ERA 0813-08-07Polar: 30 µl | 0.15999 | BENOMYL | E | 0.06 | 0.199 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2438 | ERA 0813-08-07Polar | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 1.3821 | 0.1268 | 1.3689 | 0.065726 | 0.048722
BENOMYL | 2060 | 50300LCM29 | 2009-05-28 | 2008-10-01 | 2009-09-30 | ug/L | 1.5858 | ERA | 0813-08-07Polar | ERA 0813-08-07Polar: 30 µl | 0.16206 | BENOMYL | E | 0.06 | 0.257 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5858 | ERA 0813-08-07Polar | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 1.3821 | 0.1268 | 1.3689 | 0.065726 | 0.048722
BENOMYL | 2060 | 50300LCM29 | 2009-08-06 | 2008-10-01 | 2009-09-30 | ug/L | 1.3689 | ERA | 0813-08-07Polar | ERA 0813-08-07Polar: 30 µl | 0.16071 | BENOMYL | E | 0.06 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3689 | ERA 0813-08-07Polar | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 1.3821 | 0.1268 | 1.3689 | 0.065726 | 0.048722
BENOMYL | 2060 | 50300LCM29 | 2009-09-22 | 2008-10-01 | 2009-09-30 | ug/L | 1.3888 | ERA | 0813-08-07Polar | ERA 0813-08-07Polar: 50 µl | 0.26785 | BENOMYL | E | 0.06 | 0.372 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3888 | ERA 0813-08-07Polar | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 1.3821 | 0.1268 | 1.3689 | 0.065726 | 0.048722
BENOMYL | 2060 | 50300LCM29 | 2013-09-27 | 2010-10-01 | 2099-09-30 | ug/L | 0.496 | NSI, Accu, Supelco | 042213HPLC, 213041030, LC00372 | NSI 042213HPLC: 50 µl & Accu 213041030: 50 µl & Supelco LC00372: 50 µl | 0.375 | BENOMYL | E | 0.06 | 0.186 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.496 | NS042HPLC, Ac2131030, SuLC0037 | NS | Ac | Su | 042HPLC | 2131030 | LC00372 | 042HPLC | 2131030 |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.496 |  | 0.496 | 0 | 0
BENOMYL | 2060 | 50300LCM29 | 2013-06-04 | 2010-10-01 | 2099-09-30 | ug/L | 0.72667 | NSI, ChemService, NSI | 042213HPLC, 1448600, 050613 | NSI 042213HPLC: 20 µl & ChemService 1448600: 20 µl & NSI 050613: 20 µl | 0.15 | BENOMYL | E | 0.06 | 0.109 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72667 | NS042HPLC, Ch1448600, NS050613 | NS | Ch | NS | 042HPLC | 1448600 | 050613 | 042HPLC |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.72667 |  | 0.72667 | 0 | 0
BENOMYL | 2060 | 50300LCM29 | 2012-08-07 | 2010-10-01 | 2099-09-30 | ug/L | 0.65 | NSI, NSI, ChemService | 062612-01, 718L-01-01, 396400 | NSI 062612-01: 20 µl & NSI 718L-01-01: 20 µl & ChemService 396400: 20 µl | 0.1 | BENOMYL | E | 0.06 | 0.065 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65 | NS0622-01, NS7181-01, Ch396400 | NS | NS | Ch | 0622-01 | 7181-01 | 396400 | 0622-01 | 7181-01 |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.65 |  | 0.65 | 0 | 0
BENOMYL | 2060 | 50300LCM29 | 2012-09-28 | 2010-10-01 | 2099-09-30 | ug/L | 0.49 | NSI, NSI, Restek | 062612-01, 718L-01-01, A088383 | NSI 062612-01: 20 µl & NSI 718L-01-01: 20 µl & Restek A088383: 20 µl | 0.1 | BENOMYL | E | 0.06 | 0.049 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49 | NS0622-01, NS7181-01, ReA08838 | NS | NS | Re | 0622-01 | 7181-01 | A088383 | 0622-01 | 7181-01 |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.49 |  | 0.49 | 0 | 0
BENOMYL | 2060 | 50300LCM29 | 2009-12-29 | 2009-10-01 | 2010-09-30 | ug/L | 0.55048 | NSI | 090309-01HPLC | NSI 090309-01HPLC: 80 µl | 0.27431 | BENOMYL | E | 0.06 | 0.151 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55048 | NSI 090309-01HPLC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.5018 | 0.042415 | 0.50412 | 0.060347 | 0.044735
BENOMYL | 2060 | 50300LCM29 | 2010-05-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.44849 | NSI | 090309-01HPLC | NSI 090309-01HPLC: 40 µl | 0.14047 | BENOMYL | E | 0.06 | 0.063 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.44849 | NSI 090309-01HPLC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.5018 | 0.042415 | 0.50412 | 0.060347 | 0.044735
BENOMYL | 2060 | 50300LCM29 | 2010-07-01 | 2009-10-01 | 2010-09-30 | ug/L | 0.51347 | NSI | 090309-01HPLC | NSI 090309-01HPLC: 80 µl | 0.28434 | BENOMYL | E | 0.06 | 0.146 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51347 | NSI 090309-01HPLC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.5018 | 0.042415 | 0.50412 | 0.060347 | 0.044735
BENOMYL | 2060 | 50300LCM29 | 2010-09-01 | 2009-10-01 | 2010-09-30 | ug/L | 0.49476 | NSI | 090309-01HPLC | NSI 090309-01HPLC: 40 µl | 0.13744 | BENOMYL | E | 0.06 | 0.068 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49476 | NSI 090309-01HPLC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.5018 | 0.042415 | 0.50412 | 0.060347 | 0.044735
BENOMYL | 2060 | 50300LCM29 | 2010-05-03 | 2009-10-01 | 2010-09-30 | ug/L | 1.3959 | NWQL, NWQL | LCL11SP079A, LCL11SP079B | NWQL LCL11SP079A: 50 µl & NWQL LCL11SP079B: 50 µl | 0.12608 | BENOMYL | E | 0.06 | 0.176 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3959 | NWLCL079A, NWLCL079B | NW | NW | NW | LCL079A | LCL079B | LCL079B | LCL079A | LCL079B | LCL079B | Y | Estimated Values | Y | 2 | Y | 3 | 1.3651 | 0.15695 | 1.3959 | 0.30934 | 0.22931
BENOMYL | 2060 | 50300LCM29 | 2010-07-27 | 2009-10-01 | 2010-09-30 | ug/L | 1.1951 | NWQL, NWQL | LCL11SP079A, LCL11SP079B | NWQL LCL11SP079A: 50 µl & NWQL LCL11SP079B: 50 µl | 0.12468 | BENOMYL | E | 0.06 | 0.149 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1951 | NWLCL079A, NWLCL079B | NW | NW | NW | LCL079A | LCL079B | LCL079B | LCL079A | LCL079B | LCL079B | Y | Estimated Values | Y | 2 | Y | 3 | 1.3651 | 0.15695 | 1.3959 | 0.30934 | 0.22931
BENOMYL | 2060 | 50300LCM29 | 2010-09-21 | 2009-10-01 | 2010-09-30 | ug/L | 1.5044 | NWQL, NWQL | LCL11SP079A, LCL11SP079B | NWQL LCL11SP079A: 50 µl & NWQL LCL11SP079B: 50 µl | 0.12563 | BENOMYL | E | 0.06 | 0.189 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5044 | NWLCL079A, NWLCL079B | NW | NW | NW | LCL079A | LCL079B | LCL079B | LCL079A | LCL079B | LCL079B | Y | Estimated Values | Y | 2 | Y | 3 | 1.3651 | 0.15695 | 1.3959 | 0.30934 | 0.22931
BENOMYL | 2060 | 50300LCM29 | 2008-04-30 | 2007-10-01 | 2008-09-30 | ug/L | 1.5587 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18605 | BENOMYL | . | 0.04 | 0.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5587 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 | Y | 7 | 1.5333 | 0.24577 | 1.5499 | 0.27182 | 0.2015
BENOMYL | 2060 | 50300LCM29 | 2008-06-19 | 2007-10-01 | 2008-09-30 | ug/L | 1.4667 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18681 | BENOMYL | . | 0.04 | 0.274 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4667 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 | Y | 7 | 1.5333 | 0.24577 | 1.5499 | 0.27182 | 0.2015
BENOMYL | 2060 | 50300LCM29 | 2008-07-30 | 2007-10-01 | 2008-09-30 | ug/L | 1.11 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18469 | BENOMYL | . | 0.04 | 0.205 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.11 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 | Y | 7 | 1.5333 | 0.24577 | 1.5499 | 0.27182 | 0.2015
BENOMYL | 2060 | 50300LCM29 | 2009-03-26 | 2008-10-01 | 2009-09-30 | ug/L | 1.5499 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.19743 | BENOMYL | E | 0.06 | 0.306 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5499 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Estimated Values | Y | 2 | Y | 7 | 1.5333 | 0.24577 | 1.5499 | 0.27182 | 0.2015
BENOMYL | 2060 | 50300LCM29 | 2009-05-06 | 2008-10-01 | 2009-09-30 | ug/L | 1.9048 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18795 | BENOMYL | E | 0.06 | 0.358 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.9048 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Estimated Values | Y | 2 | Y | 7 | 1.5333 | 0.24577 | 1.5499 | 0.27182 | 0.2015
BENOMYL | 2060 | 50300LCM29 | 2009-06-17 | 2008-10-01 | 2009-09-30 | ug/L | 1.7075 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18507 | BENOMYL | E | 0.06 | 0.316 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.7075 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Estimated Values | Y | 2 | Y | 7 | 1.5333 | 0.24577 | 1.5499 | 0.27182 | 0.2015
BENOMYL | 2060 | 50300LCM29 | 2009-07-28 | 2008-10-01 | 2009-09-30 | ug/L | 1.4357 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18737 | BENOMYL | E | 0.06 | 0.269 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4357 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Estimated Values | Y | 2 | Y | 7 | 1.5333 | 0.24577 | 1.5499 | 0.27182 | 0.2015
BENOMYL | 2060 | 50300LCM29 | 2008-02-12 | 2007-10-01 | 2008-09-30 | ug/L | 0.45845 | Protocol | I1070803003 | Protocol I1070803003: 50 µl | 0.16577 | BENOMYL | . | 0.04 | 0.076 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.45845 | Protocol I1070803003 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 5 | 0.71157 | 0.17024 | 0.77999 | 0.15126 | 0.11213
BENOMYL | 2060 | 50300LCM29 | 2008-04-04 | 2007-10-01 | 2008-09-30 | ug/L | 0.77999 | Protocol | I1070803003 | Protocol I1070803003: 50 µl | 0.16282 | BENOMYL | . | 0.04 | 0.127 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77999 | Protocol I1070803003 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 5 | 0.71157 | 0.17024 | 0.77999 | 0.15126 | 0.11213
BENOMYL | 2060 | 50300LCM29 | 2008-05-16 | 2007-10-01 | 2008-09-30 | ug/L | 0.90058 | Protocol | I1070803003 | Protocol I1070803003: 50 µl | 0.16212 | BENOMYL | . | 0.04 | 0.146 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90058 | Protocol I1070803003 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 5 | 0.71157 | 0.17024 | 0.77999 | 0.15126 | 0.11213
BENOMYL | 2060 | 50300LCM29 | 2008-06-24 | 2007-10-01 | 2008-09-30 | ug/L | 0.63379 | Protocol | I1070803003 | Protocol I1070803003: 50 µl | 0.15936 | BENOMYL | . | 0.04 | 0.101 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63379 | Protocol I1070803003 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 5 | 0.71157 | 0.17024 | 0.77999 | 0.15126 | 0.11213
BENOMYL | 2060 | 50300LCM29 | 2008-08-14 | 2007-10-01 | 2008-09-30 | ug/L | 0.78505 | Protocol | I1070803003 | Protocol I1070803003: 50 µl | 0.15795 | BENOMYL | . | 0.04 | 0.124 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78505 | Protocol I1070803003 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 5 | 0.71157 | 0.17024 | 0.77999 | 0.15126 | 0.11213
BENOMYL | 2060 | 50300LCM29 | 2008-12-10 | 2008-10-01 | 2009-09-30 | ug/L | 1.3376 | Restek, Restek | A063332, A062398 | Restek A063332: 30 µl & Restek A062398: 30 µl | 0.16522 | BENOMYL | E | 0.06 | 0.221 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3376 | ReA063332, ReA062398 | Re | Re | Re | A063332 | A062398 | A062398 |  |  |  | Y | Estimated Values | Y | 2 | Y | 5 | 1.4927 | 0.15914 | 1.4641 | 0.066648 | 0.049405
BENOMYL | 2060 | 50300LCM29 | 2008-12-31 | 2008-10-01 | 2009-09-30 | ug/L | 1.4641 | Restek, Restek | A063332, A062398 | Restek A063332: 50 µl & Restek A062398: 50 µl | 0.27934 | BENOMYL | E | 0.06 | 0.409 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4641 | ReA063332, ReA062398 | Re | Re | Re | A063332 | A062398 | A062398 |  |  |  | Y | Estimated Values | Y | 2 | Y | 5 | 1.4927 | 0.15914 | 1.4641 | 0.066648 | 0.049405
BENOMYL | 2060 | 50300LCM29 | 2009-04-10 | 2008-10-01 | 2009-09-30 | ug/L | 1.7588 | Restek, Restek | A063332, A062398 | Restek A063332: 30 µl & Restek A062398: 30 µl | 0.17171 | BENOMYL | E | 0.06 | 0.302 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.7588 | ReA063332, ReA062398 | Re | Re | Re | A063332 | A062398 | A062398 |  |  |  | Y | Estimated Values | Y | 2 | Y | 5 | 1.4927 | 0.15914 | 1.4641 | 0.066648 | 0.049405
BENOMYL | 2060 | 50300LCM29 | 2009-07-11 | 2008-10-01 | 2009-09-30 | ug/L | 1.4847 | Restek, Restek | A063332, A062398 | Restek A063332: 30 µl & Restek A062398: 30 µl | 0.16434 | BENOMYL | E | 0.06 | 0.244 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4847 | ReA063332, ReA062398 | Re | Re | Re | A063332 | A062398 | A062398 |  |  |  | Y | Estimated Values | Y | 2 | Y | 5 | 1.4927 | 0.15914 | 1.4641 | 0.066648 | 0.049405
BENOMYL | 2060 | 50300LCM29 | 2009-09-01 | 2008-10-01 | 2009-09-30 | ug/L | 1.4181 | Restek, Restek | A063332, A062398 | Restek A063332: 50 µl & Restek A062398: 50 µl | 0.26938 | BENOMYL | E | 0.06 | 0.382 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4181 | ReA063332, ReA062398 | Re | Re | Re | A063332 | A062398 | A062398 |  |  |  | Y | Estimated Values | Y | 2 | Y | 5 | 1.4927 | 0.15914 | 1.4641 | 0.066648 | 0.049405
BENOMYL | 2060 | 50300LCM29 | 2013-06-04 | 2010-10-01 | 2099-09-30 | ug/L | 0.668 | Restek, NSI, NSI | A088383, 062612-01, 718L-01-01 | Restek A088383: 50 µl & NSI 062612-01: 50 µl & NSI 718L-01-01: 50 µl | 0.25 | BENOMYL | E | 0.06 | 0.167 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.668 | ReA088383, NS0622-01, NS7181-0 | Re | NS | NS | A088383 | 0622-01 | 7181-01 |  | 0622-01 | 7181-01 | Y | Estimated Values | Y | 2 | Y | 1 | 0.668 |  | 0.668 | 0 | 0
BENOMYL | 2060 | 50300LCM29 | 2008-03-11 | 2007-10-01 | 2008-09-30 | ug/L | 1.2853 | Restek | A053251 | Restek A053251: 50 µl | 0.16417 | BENOMYL | . | 0.04 | 0.211 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2853 | Restek A053251 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 5 | 1.301 | 0.19595 | 1.2309 | 0.095964 | 0.071137
BENOMYL | 2060 | 50300LCM29 | 2008-04-30 | 2007-10-01 | 2008-09-30 | ug/L | 1.1893 | Restek | A053251 | Restek A053251: 50 µl | 0.1606 | BENOMYL | . | 0.04 | 0.191 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1893 | Restek A053251 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 5 | 1.301 | 0.19595 | 1.2309 | 0.095964 | 0.071137
BENOMYL | 2060 | 50300LCM29 | 2008-06-03 | 2007-10-01 | 2008-09-30 | ug/L | 1.1585 | Restek | A053251 | Restek A053251: 50 µl | 0.15969 | BENOMYL | . | 0.04 | 0.185 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1585 | Restek A053251 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 5 | 1.301 | 0.19595 | 1.2309 | 0.095964 | 0.071137
BENOMYL | 2060 | 50300LCM29 | 2008-07-23 | 2007-10-01 | 2008-09-30 | ug/L | 1.2309 | Restek | A053251 | Restek A053251: 50 µl | 0.15843 | BENOMYL | E | 0.04 | 0.195 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2309 | Restek A053251 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 1.301 | 0.19595 | 1.2309 | 0.095964 | 0.071137
BENOMYL | 2060 | 50300LCM29 | 2008-08-28 | 2007-10-01 | 2008-09-30 | ug/L | 1.6411 | Restek | A053251 | Restek A053251: 50 µl | 0.16026 | BENOMYL | E | 0.04 | 0.263 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.6411 | Restek A053251 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 1.301 | 0.19595 | 1.2309 | 0.095964 | 0.071137
BENOMYL | 2060 | 50300LCM29 | 2013-08-17 | 2010-10-01 | 2099-09-30 | ug/L | 2.8 | Spex Organics, NSI, Supelco | T1130601011, 050613, LC01386 | Spex Organics T1130601011: 50 µl & NSI 050613: 50 µl & Supelco LC01386: 50 µl | 0.375 | BENOMYL | E | 0.06 | 1.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2.8 | SpT111011, NS050613, SuLC01386 | Sp | NS | Su | T111011 | 050613 | LC01386 | T111011 |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 2.8 |  | 2.8 | 0 | 0 | 2
BENOMYL | 2060 | 50300LCM29 | 2012-09-13 | 2010-10-01 | 2099-09-30 | ug/L | 0.62 | Spex Organics, NSI, NSI | T1120525009, 062612-01, 718L-01-01 | Spex Organics T1120525009: 20 µl & NSI 062612-01: 20 µl & NSI 718L-01-01: 20 µl | 0.1 | BENOMYL | E | 0.06 | 0.062 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62 | SpT115009, NS0622-01, NS7181-0 | Sp | NS | NS | T115009 | 0622-01 | 7181-01 | T115009 | 0622-01 | 7181-01 | Y | Estimated Values | Y | 2 | Y | 2 | 0.71 | 0.12728 | 0.71 | 0.18 | 0.13343
BENOMYL | 2060 | 50300LCM29 | 2013-01-18 | 2010-10-01 | 2099-09-30 | ug/L | 0.8 | Spex Organics, NSI, NSI | T1120525009, 062612-01, 718L-01-01 | Spex Organics T1120525009: 100 µl & NSI 062612-01: 100 µl & NSI 718L-01-01: 100 | 0.5 | BENOMYL | E | 0.06 | 0.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | SpT115009, NS0622-01, NS7181-0 | Sp | NS | NS | T115009 | 0622-01 | 7181-01 | T115009 | 0622-01 | 7181-01 | Y | Estimated Values | Y | 2 | Y | 2 | 0.71 | 0.12728 | 0.71 | 0.18 | 0.13343
BENOMYL | 2060 | 50300LCM29 | 2012-07-18 | 2010-10-01 | 2099-09-30 | ug/L | 1.9312 | Spex Organics, Supelco | T1120525009, LB92941 | Spex Organics T1120525009: 50 µl & Supelco LB92941: 50 µl | 0.2501 | BENOMYL | E | 0.06 | 0.483 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.9312 | SpT115009, SuLB92941 | Sp | Su | Su | T115009 | LB92941 | LB92941 | T115009 |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 1.9312 |  | 1.9312 | 0 | 0
BENOMYL | 2060 | 50300LCM29 | 2012-12-05 | 2010-10-01 | 2099-09-30 | ug/L | 1.9892 | Supelco, ChemService | LB92941, 396400 | Supelco LB92941: 20 µl & ChemService 396400: 20 µl | 0.10004 | BENOMYL | E | 0.06 | 0.199 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.9892 | SuLB92941, Ch396400 | Su | Ch | Ch | LB92941 | 396400 | 396400 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 1.6094 | 0.53719 | 1.6094 | 0.7597 | 0.56316
BENOMYL | 2060 | 50300LCM29 | 2013-02-13 | 2010-10-01 | 2099-09-30 | ug/L | 1.2295 | Supelco, ChemService | LB92941, 396400 | Supelco LB92941: 20 µl & ChemService 396400: 20 µl | 0.10004 | BENOMYL | E | 0.06 | 0.123 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2295 | SuLB92941, Ch396400 | Su | Ch | Ch | LB92941 | 396400 | 396400 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 1.6094 | 0.53719 | 1.6094 | 0.7597 | 0.56316
BENOMYL | 2060 | 50300LCM29 | 2012-07-09 | 2010-10-01 | 2099-09-30 | ug/L | 1.2995 | Supelco | LB92941 | Supelco LB92941: 20 µl | 0.10004 | BENOMYL | E | 0.06 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2995 | Supelco LB92941 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 1.2995 |  | 1.2995 | 0 | 0