## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
CHLORAMBEN, METHYL ESTER | 2060 | 61188LCM29 | 2013-11-07 | 2011-10-01 | 2050-09-30 | ug/L | 1.2758 | Abs, Accu, NSI | 042513, 213041030, 050613 | Abs 042513: 20 µl & Accu 213041030: 20 µl & NSI 050613: 20 µl | 0.359 | CHLORAMBEN,_METHYL_ESTER | . | 0.2 | 0.458 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2758 | Ab042513, Ac2131030, NS050613 | Ab | Ac | NS | 042513 | 2131030 | 050613 |  | 2131030 |  | Y | Recoverable Result | Y | 2 | Y | 1 | 1.2758 |  | 1.2758 | 0 | 0
CHLORAMBEN, METHYL ESTER | 2060 | 61188LCM29 | 2013-07-19 | 2011-10-01 | 2050-09-30 | ug/L | 1.0588 | Abs, ChemService | 042513, 1448600 | Abs 042513: 50 µl & ChemService 1448600: 50 µl | 0.901 | CHLORAMBEN,_METHYL_ESTER | . | 0.2 | 0.954 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0588 | Ab042513, Ch1448600 | Ab | Ch | Ch | 042513 | 1448600 | 1448600 |  |  |  | Y | Recoverable Result | Y | 2 | Y | 1 | 1.0588 |  | 1.0588 | 0 | 0
CHLORAMBEN, METHYL ESTER | 2060 | 61188LCM29 | 2012-11-13 | 2011-10-01 | 2050-09-30 | ug/L | 0.94702 | Abs, ChemService | 052312, 396400 | Abs 052312: 50 µl & ChemService 396400: 50 µl | 0.755 | CHLORAMBEN,_METHYL_ESTER | . | 0.2 | 0.715 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94702 | Ab052312, Ch396400 | Ab | Ch | Ch | 052312 | 396400 | 396400 |  |  |  | Y | Recoverable Result | Y | 2 | Y | 2 | 0.90397 | 0.060877 | 0.90397 | 0.086093 | 0.06382
CHLORAMBEN, METHYL ESTER | 2060 | 61188LCM29 | 2013-03-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.86093 | Abs, ChemService | 052312, 396400 | Abs 052312: 100 µl & ChemService 396400: 100 µl | 1.51 | CHLORAMBEN,_METHYL_ESTER | E | 0.2 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86093 | Ab052312, Ch396400 | Ab | Ch | Ch | 052312 | 396400 | 396400 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.90397 | 0.060877 | 0.90397 | 0.086093 | 0.06382
CHLORAMBEN, METHYL ESTER | 2060 | 61188LCM29 | 2012-08-22 | 2011-10-01 | 2050-09-30 | ug/L | 1.0033 | Abs, Restek | 052312, A088383 | Abs 052312: 20 µl & Restek A088383: 20 µl | 0.3 | CHLORAMBEN,_METHYL_ESTER | . | 0.2 | 0.301 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0033 | Ab052312, ReA088383 | Ab | Re | Re | 052312 | A088383 | A088383 |  |  |  | Y | Recoverable Result | Y | 2 | Y | 1 | 1.0033 |  | 1.0033 | 0 | 0
CHLORAMBEN, METHYL ESTER | 2060 | 61188LCM29 | 2008-02-12 | 2007-01-01 | 2009-09-30 | ug/L | 1.4269 | Abs | 071607LC | Abs 071607LC: 50 µl | 0.34479 | CHLORAMBEN,_METHYL_ESTER | . | 0.1 | 0.492 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4269 | Abs 071607LC | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 3 | 1.1516 | 0.30603 | 1.2056 | 0.60485 | 0.44837
CHLORAMBEN, METHYL ESTER | 2060 | 61188LCM29 | 2008-07-09 | 2007-01-01 | 2009-09-30 | ug/L | 1.2056 | Abs | 071607LC | Abs 071607LC: 50 µl | 0.33676 | CHLORAMBEN,_METHYL_ESTER | . | 0.1 | 0.406 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2056 | Abs 071607LC | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 3 | 1.1516 | 0.30603 | 1.2056 | 0.60485 | 0.44837
CHLORAMBEN, METHYL ESTER | 2060 | 61188LCM29 | 2008-09-09 | 2007-01-01 | 2009-09-30 | ug/L | 0.8221 | Abs | 071607LC | Abs 071607LC: 50 µl | 0.33816 | CHLORAMBEN,_METHYL_ESTER | . | 0.1 | 0.278 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8221 | Abs 071607LC | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 3 | 1.1516 | 0.30603 | 1.2056 | 0.60485 | 0.44837
CHLORAMBEN, METHYL ESTER | 2060 | 61188LCM29 | 2008-10-31 | 2007-01-01 | 2009-09-30 | ug/L | 0.99724 | Abs | 081508Polar | Abs 081508Polar: 50 µl | 0.54851 | CHLORAMBEN,_METHYL_ESTER | . | 0.1 | 0.547 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99724 | Abs 081508Polar | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 2 | 1.1 | 0.14531 | 1.1 | 0.2055 | 0.15233
CHLORAMBEN, METHYL ESTER | 2060 | 61188LCM29 | 2009-09-01 | 2007-01-01 | 2009-09-30 | ug/L | 1.2027 | Abs | 081508Polar | Abs 081508Polar: 50 µl | 0.54792 | CHLORAMBEN,_METHYL_ESTER | . | 0.1 | 0.659 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2027 | Abs 081508Polar | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 2 | 1.1 | 0.14531 | 1.1 | 0.2055 | 0.15233
CHLORAMBEN, METHYL ESTER | 2060 | 61188LCM29 | 2011-06-10 | 2010-10-01 | 2011-09-30 | ug/L | 1.5902 | Abs | 090910HPLC | Abs 090910HPLC: 100 µl | 0.36913 | CHLORAMBEN,_METHYL_ESTER | . | 0.1 | 0.587 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5902 | Abs 090910HPLC | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 7 | 1.3335 | 0.20851 | 1.34 | 0.476 | 0.35285
CHLORAMBEN, METHYL ESTER | 2060 | 61188LCM29 | 2011-07-19 | 2010-10-01 | 2011-09-30 | ug/L | 1.1067 | Abs | 090910HPLC | Abs 090910HPLC: 40 µl | 0.15 | CHLORAMBEN,_METHYL_ESTER | . | 0.1 | 0.166 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1067 | Abs 090910HPLC | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 7 | 1.3335 | 0.20851 | 1.34 | 0.476 | 0.35285
CHLORAMBEN, METHYL ESTER | 2060 | 61188LCM29 | 2011-09-12 | 2010-10-01 | 2011-09-30 | ug/L | 1.1813 | Abs | 090910HPLC | Abs 090910HPLC: 100 µl | 0.375 | CHLORAMBEN,_METHYL_ESTER | . | 0.1 | 0.443 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1813 | Abs 090910HPLC | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 7 | 1.3335 | 0.20851 | 1.34 | 0.476 | 0.35285
CHLORAMBEN, METHYL ESTER | 2060 | 61188LCM29 | 2011-11-28 | 2011-10-01 | 2050-09-30 | ug/L | 1.34 | Abs | 090910HPLC | Abs 090910HPLC: 40 µl | 0.15 | CHLORAMBEN,_METHYL_ESTER | E | 0.2 | 0.201 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.34 | Abs 090910HPLC | [9 empty] | Y | Estimated Values | Y | 1 | Y | 7 | 1.3335 | 0.20851 | 1.34 | 0.476 | 0.35285
CHLORAMBEN, METHYL ESTER | 2060 | 61188LCM29 | 2012-02-13 | 2011-10-01 | 2050-09-30 | ug/L | 1.5893 | Abs | 090910HPLC | Abs 090910HPLC: 100 µl | 0.375 | CHLORAMBEN,_METHYL_ESTER | . | 0.2 | 0.596 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5893 | Abs 090910HPLC | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 7 | 1.3335 | 0.20851 | 1.34 | 0.476 | 0.35285
CHLORAMBEN, METHYL ESTER | 2060 | 61188LCM29 | 2012-04-10 | 2011-10-01 | 2050-09-30 | ug/L | 1.4133 | Abs | 090910HPLC | Abs 090910HPLC: 40 µl | 0.15 | CHLORAMBEN,_METHYL_ESTER | . | 0.2 | 0.212 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.4133 | Abs 090910HPLC | [9 empty] | Y | Recoverable Result | Y | 1 | Y | 7 | 1.3335 | 0.20851 | 1.34 | 0.476 | 0.35285
CHLORAMBEN, METHYL ESTER | 2060 | 61188LCM29 | 2012-05-03 | 2011-10-01 | 2050-09-30 | ug/L | 1.1133 | Abs | 090910HPLC | Abs 090910HPLC: 40 µl | 0.15 | CHLORAMBEN,_METHYL_ESTER | . | 0.2 | 0.167 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.1133 | Abs 090910HPLC | [9 empty] | Y | Recoverable Result | Y | 1 | Y | 7 | 1.3335 | 0.20851 | 1.34 | 0.476 | 0.35285
CHLORAMBEN, METHYL ESTER | 2060 | 61188LCM29 | 2013-09-27 | 2011-10-01 | 2050-09-30 | ug/L | 1.0028 | Accu, NSI, Supelco | 213041030, 050613, LC01386 | Accu 213041030: 20 µl & NSI 050613: 20 µl & Supelco LC01386: 20 µl | 0.359 | CHLORAMBEN,_METHYL_ESTER | . | 0.2 | 0.36 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0028 | Ac2131030, NS050613, SuLC01386 | Ac | NS | Su | 2131030 | 050613 | LC01386 | 2131030 |  |  | Y | Recoverable Result | Y | 2 | Y | 1 | 1.0028 |  | 1.0028 | 0 | 0
CHLORAMBEN, METHYL ESTER | 2060 | 61188LCM29 | 2008-07-30 | 2007-01-01 | 2009-09-30 | ug/L | 0.97099 | Accu | B7070230 | Accu B7070230: 50 µl | 0.33162 | CHLORAMBEN,_METHYL_ESTER | . | 0.1 | 0.322 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97099 | Accu B7070230 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 3 | 0.83874 | 0.4539 | 0.97099 | 0.87842 | 0.65117
CHLORAMBEN, METHYL ESTER | 2060 | 61188LCM29 | 2008-09-25 | 2007-01-01 | 2009-09-30 | ug/L | 1.2118 | Accu | B7070230 | Accu B7070230: 50 µl | 0.3342 | CHLORAMBEN,_METHYL_ESTER | . | 0.1 | 0.405 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2118 | Accu B7070230 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 3 | 0.83874 | 0.4539 | 0.97099 | 0.87842 | 0.65117
CHLORAMBEN, METHYL ESTER | 2060 | 61188LCM29 | 2008-09-25 | 2007-01-01 | 2009-09-30 | ug/L | 0.33341 | Accu | B7070230 | Accu B7070230: 50 µl | 0.33292 | CHLORAMBEN,_METHYL_ESTER | . | 0.1 | 0.111 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.33341 | Accu B7070230 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 3 | 0.83874 | 0.4539 | 0.97099 | 0.87842 | 0.65117
CHLORAMBEN, METHYL ESTER | 2060 | 61188LCM29 | 2013-11-27 | 2011-10-01 | 2050-09-30 | ug/L | 1.687 | ChemService, NSI, Supelco | 1448600, 050613, LC01386 | ChemService 1448600: 50 µl & NSI 050613: 50 µl & Supelco LC01386: 50 µl | 0.901 | CHLORAMBEN,_METHYL_ESTER | E | 0.2 | 1.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.687 | Ch1448600, NS050613, SuLC01386 | Ch | NS | Su | 1448600 | 050613 | LC01386 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 1.687 |  | 1.687 | 0 | 0
CHLORAMBEN, METHYL ESTER | 2060 | 61188LCM29 | 2009-03-03 | 2007-01-01 | 2009-09-30 | ug/L | 0.96254 | ChemService | 406-113B | ChemService 406-113B: 30 µl | 0.3418 | CHLORAMBEN,_METHYL_ESTER | . | 0.1 | 0.329 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96254 | ChemService 406-113B | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 2 | 0.84333 | 0.16859 | 0.84333 | 0.23842 | 0.17674
CHLORAMBEN, METHYL ESTER | 2060 | 61188LCM29 | 2009-08-13 | 2007-01-01 | 2009-09-30 | ug/L | 0.72412 | ChemService | 406-113B | ChemService 406-113B: 30 µl | 0.32591 | CHLORAMBEN,_METHYL_ESTER | . | 0.1 | 0.236 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72412 | ChemService 406-113B | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 2 | 0.84333 | 0.16859 | 0.84333 | 0.23842 | 0.17674
CHLORAMBEN, METHYL ESTER | 2060 | 61188LCM29 | 2011-05-05 | 2010-10-01 | 2011-09-30 | ug/L | 1.4138 | ChemService | 448-45B | ChemService 448-45B: 40 µl | 0.14782 | CHLORAMBEN,_METHYL_ESTER | . | 0.1 | 0.209 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4138 | ChemService 448-45B | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 5 | 1.3701 | 0.1322 | 1.2965 | 0.12679 | 0.093985
CHLORAMBEN, METHYL ESTER | 2060 | 61188LCM29 | 2011-08-11 | 2010-10-01 | 2011-09-30 | ug/L | 1.2695 | ChemService | 448-45B | ChemService 448-45B: 100 µl | 0.371 | CHLORAMBEN,_METHYL_ESTER | . | 0.1 | 0.471 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2695 | ChemService 448-45B | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 5 | 1.3701 | 0.1322 | 1.2965 | 0.12679 | 0.093985
CHLORAMBEN, METHYL ESTER | 2060 | 61188LCM29 | 2011-11-29 | 2011-10-01 | 2050-09-30 | ug/L | 1.2965 | ChemService | 448-45B | ChemService 448-45B: 100 µl | 0.371 | CHLORAMBEN,_METHYL_ESTER | E | 0.2 | 0.481 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2965 | ChemService 448-45B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 1.3701 | 0.1322 | 1.2965 | 0.12679 | 0.093985
CHLORAMBEN, METHYL ESTER | 2060 | 61188LCM29 | 2012-02-02 | 2011-10-01 | 2050-09-30 | ug/L | 1.2871 | ChemService | 448-45B | ChemService 448-45B: 40 µl | 0.1484 | CHLORAMBEN,_METHYL_ESTER | . | 0.2 | 0.191 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.2871 | ChemService 448-45B | [9 empty] | Y | Recoverable Result | Y | 1 | Y | 5 | 1.3701 | 0.1322 | 1.2965 | 0.12679 | 0.093985
CHLORAMBEN, METHYL ESTER | 2060 | 61188LCM29 | 2012-03-26 | 2011-10-01 | 2050-09-30 | ug/L | 1.5836 | ChemService | 448-45B | ChemService 448-45B: 40 µl | 0.1484 | CHLORAMBEN,_METHYL_ESTER | . | 0.2 | 0.235 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.5836 | ChemService 448-45B | [9 empty] | Y | Recoverable Result | Y | 1 | Y | 5 | 1.3701 | 0.1322 | 1.2965 | 0.12679 | 0.093985
CHLORAMBEN, METHYL ESTER | 2060 | 61188LCM29 | 2013-09-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.91476 | NSI, Accu, Supelco | 042213HPLC, 213041030, LC00372 | NSI 042213HPLC: 50 µl & Accu 213041030: 50 µl & Supelco LC00372: 50 µl | 0.8975 | CHLORAMBEN,_METHYL_ESTER | . | 0.2 | 0.821 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91476 | NS042HPLC, Ac2131030, SuLC0037 | NS | Ac | Su | 042HPLC | 2131030 | LC00372 | 042HPLC | 2131030 |  | Y | Recoverable Result | Y | 2 | Y | 1 | 0.91476 |  | 0.91476 | 0 | 0
CHLORAMBEN, METHYL ESTER | 2060 | 61188LCM29 | 2013-06-04 | 2011-10-01 | 2050-09-30 | ug/L | 1.1293 | NSI, ChemService, NSI | 042213HPLC, 1448600, 050613 | NSI 042213HPLC: 20 µl & ChemService 1448600: 20 µl & NSI 050613: 20 µl | 0.3604 | CHLORAMBEN,_METHYL_ESTER | . | 0.2 | 0.407 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1293 | NS042HPLC, Ch1448600, NS050613 | NS | Ch | NS | 042HPLC | 1448600 | 050613 | 042HPLC |  |  | Y | Recoverable Result | Y | 2 | Y | 1 | 1.1293 |  | 1.1293 | 0 | 0
CHLORAMBEN, METHYL ESTER | 2060 | 61188LCM29 | 2012-08-07 | 2011-10-01 | 2050-09-30 | ug/L | 1.1656 | NSI, NSI, ChemService | 062612-01, 718L-01-01, 396400 | NSI 062612-01: 20 µl & NSI 718L-01-01: 20 µl & ChemService 396400: 20 µl | 0.302 | CHLORAMBEN,_METHYL_ESTER | . | 0.2 | 0.352 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1656 | NS0622-01, NS7181-01, Ch396400 | NS | NS | Ch | 0622-01 | 7181-01 | 396400 | 0622-01 | 7181-01 |  | Y | Recoverable Result | Y | 2 | Y | 1 | 1.1656 |  | 1.1656 | 0 | 0
CHLORAMBEN, METHYL ESTER | 2060 | 61188LCM29 | 2012-09-28 | 2011-10-01 | 2050-09-30 | ug/L | 1.1133 | NSI, NSI, Restek | 062612-01, 718L-01-01, A088383 | NSI 062612-01: 20 µl & NSI 718L-01-01: 20 µl & Restek A088383: 20 µl | 0.3 | CHLORAMBEN,_METHYL_ESTER | . | 0.2 | 0.334 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1133 | NS0622-01, NS7181-01, ReA08838 | NS | NS | Re | 0622-01 | 7181-01 | A088383 | 0622-01 | 7181-01 |  | Y | Recoverable Result | Y | 2 | Y | 1 | 1.1133 |  | 1.1133 | 0 | 0
CHLORAMBEN, METHYL ESTER | 2060 | 61188LCM29 | 2010-05-03 | 2009-10-01 | 2010-09-30 | ug/L | 1.2452 | NWQL, NWQL | LCL11SP079A, LCL11SP079B | NWQL LCL11SP079A: 50 µl & NWQL LCL11SP079B: 50 µl | 0.12608 | CHLORAMBEN,_METHYL_ESTER | . | 0.1 | 0.157 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2452 | NWLCL079A, NWLCL079B | NW | NW | NW | LCL079A | LCL079B | LCL079B | LCL079A | LCL079B | LCL079B | Y | Recoverable Result | Y | 2 | Y | 3 | 0.91807 | 0.32195 | 0.90744 | 0.64364 | 0.47712
CHLORAMBEN, METHYL ESTER | 2060 | 61188LCM29 | 2010-07-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.60156 | NWQL, NWQL | LCL11SP079A, LCL11SP079B | NWQL LCL11SP079A: 50 µl & NWQL LCL11SP079B: 50 µl | 0.12468 | CHLORAMBEN,_METHYL_ESTER | E | 0.1 | 0.075 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60156 | NWLCL079A, NWLCL079B | NW | NW | NW | LCL079A | LCL079B | LCL079B | LCL079A | LCL079B | LCL079B | Y | Estimated Values | Y | 2 | Y | 3 | 0.91807 | 0.32195 | 0.90744 | 0.64364 | 0.47712
CHLORAMBEN, METHYL ESTER | 2060 | 61188LCM29 | 2010-09-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.90744 | NWQL, NWQL | LCL11SP079A, LCL11SP079B | NWQL LCL11SP079A: 50 µl & NWQL LCL11SP079B: 50 µl | 0.12563 | CHLORAMBEN,_METHYL_ESTER | . | 0.1 | 0.114 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90744 | NWLCL079A, NWLCL079B | NW | NW | NW | LCL079A | LCL079B | LCL079B | LCL079A | LCL079B | LCL079B | Y | Recoverable Result | Y | 2 | Y | 3 | 0.91807 | 0.32195 | 0.90744 | 0.64364 | 0.47712
CHLORAMBEN, METHYL ESTER | 2060 | 61188LCM29 | 2008-04-30 | 2007-01-01 | 2009-09-30 | ug/L | 0.78474 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18605 | CHLORAMBEN,_METHYL_ESTER | . | 0.1 | 0.146 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78474 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 | Y | 7 | 0.94147 | 0.19627 | 0.88321 | 0.30193 | 0.22382
CHLORAMBEN, METHYL ESTER | 2060 | 61188LCM29 | 2008-06-19 | 2007-01-01 | 2009-09-30 | ug/L | 1.0867 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18681 | CHLORAMBEN,_METHYL_ESTER | . | 0.1 | 0.203 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0867 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 | Y | 7 | 0.94147 | 0.19627 | 0.88321 | 0.30193 | 0.22382
CHLORAMBEN, METHYL ESTER | 2060 | 61188LCM29 | 2008-07-30 | 2007-01-01 | 2009-09-30 | ug/L | 0.7905 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18469 | CHLORAMBEN,_METHYL_ESTER | . | 0.1 | 0.146 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7905 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 | Y | 7 | 0.94147 | 0.19627 | 0.88321 | 0.30193 | 0.22382
CHLORAMBEN, METHYL ESTER | 2060 | 61188LCM29 | 2009-03-26 | 2007-01-01 | 2009-09-30 | ug/L | 0.76482 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.19743 | CHLORAMBEN,_METHYL_ESTER | . | 0.1 | 0.151 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76482 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 | Y | 7 | 0.94147 | 0.19627 | 0.88321 | 0.30193 | 0.22382
CHLORAMBEN, METHYL ESTER | 2060 | 61188LCM29 | 2009-05-06 | 2007-01-01 | 2009-09-30 | ug/L | 0.88321 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18795 | CHLORAMBEN,_METHYL_ESTER | . | 0.1 | 0.166 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88321 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 | Y | 7 | 0.94147 | 0.19627 | 0.88321 | 0.30193 | 0.22382
CHLORAMBEN, METHYL ESTER | 2060 | 61188LCM29 | 2009-06-17 | 2007-01-01 | 2009-09-30 | ug/L | 0.98343 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18507 | CHLORAMBEN,_METHYL_ESTER | . | 0.1 | 0.182 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98343 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 | Y | 7 | 0.94147 | 0.19627 | 0.88321 | 0.30193 | 0.22382
CHLORAMBEN, METHYL ESTER | 2060 | 61188LCM29 | 2009-07-28 | 2007-01-01 | 2009-09-30 | ug/L | 1.2969 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18737 | CHLORAMBEN,_METHYL_ESTER | . | 0.1 | 0.243 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2969 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 | Y | 7 | 0.94147 | 0.19627 | 0.88321 | 0.30193 | 0.22382
CHLORAMBEN, METHYL ESTER | 2060 | 61188LCM29 | 2013-09-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.95376 | Spex Organics, Accu, Supelco | T1130601011, 213041030, LC00372 | Spex Organics T1130601011: 50 µl & Accu 213041030: 50 µl & Supelco LC00372: 50 µ | 0.8975 | CHLORAMBEN,_METHYL_ESTER | . | 0.2 | 0.856 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95376 | SpT111011, Ac2131030, SuLC0037 | Sp | Ac | Su | T111011 | 2131030 | LC00372 | T111011 | 2131030 |  | Y | Recoverable Result | Y | 2 | Y | 1 | 0.95376 |  | 0.95376 | 0 | 0
CHLORAMBEN, METHYL ESTER | 2060 | 61188LCM29 | 2012-12-21 | 2011-10-01 | 2050-09-30 | ug/L | 0.99733 | Spex Organics, Restek | T1120525009, A088383 | Spex Organics T1120525009: 50 µl & Restek A088383: 50 µl | 0.75 | CHLORAMBEN,_METHYL_ESTER | . | 0.2 | 0.748 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99733 | SpT115009, ReA088383 | Sp | Re | Re | T115009 | A088383 | A088383 | T115009 |  |  | Y | Recoverable Result | Y | 2 | Y | 2 | 1.032 | 0.049026 | 1.032 | 0.069333 | 0.051396
CHLORAMBEN, METHYL ESTER | 2060 | 61188LCM29 | 2013-04-10 | 2011-10-01 | 2050-09-30 | ug/L | 1.0667 | Spex Organics, Restek | T1120525009, A088383 | Spex Organics T1120525009: 50 µl & Restek A088383: 50 µl | 0.75 | CHLORAMBEN,_METHYL_ESTER | . | 0.2 | 0.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0667 | SpT115009, ReA088383 | Sp | Re | Re | T115009 | A088383 | A088383 | T115009 |  |  | Y | Recoverable Result | Y | 2 | Y | 2 | 1.032 | 0.049026 | 1.032 | 0.069333 | 0.051396
CHLORAMBEN, METHYL ESTER | 2060 | 61188LCM29 | 2009-12-30 | 2009-10-01 | 2010-09-30 | ug/L | 1.3066 | Spex Organics | T1090828008 | Spex Organics T1090828008: 40 µl | 0.18597 | CHLORAMBEN,_METHYL_ESTER | . | 0.1 | 0.243 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3066 | Spex Organics T1090828008 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 4 | 1.084 | 0.22996 | 1.1312 | 0.31472 | 0.2333
CHLORAMBEN, METHYL ESTER | 2060 | 61188LCM29 | 2010-06-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.76681 | Spex Organics | T1090828008 | Spex Organics T1090828008: 80 µl | 0.37428 | CHLORAMBEN,_METHYL_ESTER | . | 0.1 | 0.287 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76681 | Spex Organics T1090828008 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 4 | 1.084 | 0.22996 | 1.1312 | 0.31472 | 0.2333
CHLORAMBEN, METHYL ESTER | 2060 | 61188LCM29 | 2010-08-31 | 2009-10-01 | 2010-09-30 | ug/L | 1.0864 | Spex Organics | T1090828008 | Spex Organics T1090828008: 80 µl | 0.38568 | CHLORAMBEN,_METHYL_ESTER | . | 0.1 | 0.419 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0864 | Spex Organics T1090828008 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 4 | 1.084 | 0.22996 | 1.1312 | 0.31472 | 0.2333
CHLORAMBEN, METHYL ESTER | 2060 | 61188LCM29 | 2010-09-02 | 2009-10-01 | 2010-09-30 | ug/L | 1.176 | Spex Organics | T1090828008 | Spex Organics T1090828008: 40 µl | 0.19048 | CHLORAMBEN,_METHYL_ESTER | . | 0.1 | 0.224 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.176 | Spex Organics T1090828008 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 4 | 1.084 | 0.22996 | 1.1312 | 0.31472 | 0.2333
CHLORAMBEN, METHYL ESTER | 2060 | 61188LCM29 | 2012-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 1.1225 | Supelco, ChemService | LB92941, 396400 | Supelco LB92941: 20 µl & ChemService 396400: 20 µl | 0.302 | CHLORAMBEN,_METHYL_ESTER | . | 0.2 | 0.339 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1225 | SuLB92941, Ch396400 | Su | Ch | Ch | LB92941 | 396400 | 396400 |  |  |  | Y | Recoverable Result | Y | 2 | Y | 2 | 1.0281 | 0.13346 | 1.0281 | 0.18874 | 0.13991
CHLORAMBEN, METHYL ESTER | 2060 | 61188LCM29 | 2013-02-13 | 2011-10-01 | 2050-09-30 | ug/L | 0.93377 | Supelco, ChemService | LB92941, 396400 | Supelco LB92941: 20 µl & ChemService 396400: 20 µl | 0.302 | CHLORAMBEN,_METHYL_ESTER | . | 0.2 | 0.282 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93377 | SuLB92941, Ch396400 | Su | Ch | Ch | LB92941 | 396400 | 396400 |  |  |  | Y | Recoverable Result | Y | 2 | Y | 2 | 1.0281 | 0.13346 | 1.0281 | 0.18874 | 0.13991