## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
CYCLOATE | 2060 | 04031LCM29 | 2013-11-07 | 2010-10-01 | 2099-09-30 | ug/L | 0.76087 | Abs, Accu, NSI | 042513, 213041030, 050613 | Abs 042513: 20 µl & Accu 213041030: 20 µl & NSI 050613: 20 µl | 0.0552 | CYCLOATE | . | 0.04 | 0.042 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76087 | Ab042513, Ac2131030, NS050613 | Ab | Ac | NS | 042513 | 2131030 | 050613 |  | 2131030 |  | Y | Recoverable Result | Y | 2 | Y | 1 | 0.76087 |  | 0.76087 | 0 | 0
CYCLOATE | 2060 | 04031LCM29 | 2013-07-19 | 2010-10-01 | 2099-09-30 | ug/L | 0.73188 | Abs, ChemService | 042513, 1448600 | Abs 042513: 50 µl & ChemService 1448600: 50 µl | 0.138 | CYCLOATE | . | 0.04 | 0.101 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73188 | Ab042513, Ch1448600 | Ab | Ch | Ch | 042513 | 1448600 | 1448600 |  |  |  | Y | Recoverable Result | Y | 2 | Y | 1 | 0.73188 |  | 0.73188 | 0 | 0
CYCLOATE | 2060 | 04031LCM29 | 2013-11-07 | 2010-10-01 | 2099-09-30 | ug/L | 0.76087 | Abs, NSI | 042513, 042213HPLC | Abs 042513: 20 µl & NSI 042213HPLC: 20 µl | 0.0552 | CYCLOATE | . | 0.04 | 0.042 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76087 | Ab042513, NS042HPLC | Ab | NS | NS | 042513 | 042HPLC | 042HPLC |  | 042HPLC | 042HPLC | Y | Recoverable Result | Y | 2 | Y | 1 | 0.76087 |  | 0.76087 | 0 | 0
CYCLOATE | 2060 | 04031LCM29 | 2013-06-26 | 2010-10-01 | 2099-09-30 | ug/L | 0.6087 | Abs, NSI, NSI | 042513, 042213HPLC, 050613 | Abs 042513: 50 µl & NSI 042213HPLC: 50 µl & NSI 050613: 50 µl | 0.138 | CYCLOATE | . | 0.04 | 0.084 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6087 | Ab042513, NS042HPLC, NS050613 | Ab | NS | NS | 042513 | 042HPLC | 050613 |  | 042HPLC |  | Y | Recoverable Result | Y | 2 | Y | 1 | 0.6087 |  | 0.6087 | 0 | 0
CYCLOATE | 2060 | 04031LCM29 | 2014-01-16 | 2010-10-01 | 2099-09-30 | ug/L | 0.85145 | Abs, Supelco, NSI | 042513, LC01386, 050613 | Abs 042513: 20 µl & Supelco LC01386: 20 µl & NSI 050613: 20 µl | 0.0552 | CYCLOATE | . | 0.04 | 0.047 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85145 | Ab042513, SuLC01386, NS050613 | Ab | Su | NS | 042513 | LC01386 | 050613 |  |  |  | Y | Recoverable Result | Y | 2 | Y | 1 | 0.85145 |  | 0.85145 | 0 | 0
CYCLOATE | 2060 | 04031LCM29 | 2012-11-13 | 2010-10-01 | 2099-09-30 | ug/L | 0.788 | Abs, ChemService | 052312, 396400 | Abs 052312: 50 µl & ChemService 396400: 50 µl | 0.25 | CYCLOATE | . | 0.04 | 0.197 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.788 | Ab052312, Ch396400 | Ab | Ch | Ch | 052312 | 396400 | 396400 |  |  |  | Y | Recoverable Result | Y | 2 | Y | 2 | 0.778 | 0.014142 | 0.778 | 0.02 | 0.014826
CYCLOATE | 2060 | 04031LCM29 | 2013-03-12 | 2010-10-01 | 2099-09-30 | ug/L | 0.768 | Abs, ChemService | 052312, 396400 | Abs 052312: 100 µl & ChemService 396400: 100 µl | 0.5 | CYCLOATE | . | 0.04 | 0.384 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.768 | Ab052312, Ch396400 | Ab | Ch | Ch | 052312 | 396400 | 396400 |  |  |  | Y | Recoverable Result | Y | 2 | Y | 2 | 0.778 | 0.014142 | 0.778 | 0.02 | 0.014826
CYCLOATE | 2060 | 04031LCM29 | 2012-12-05 | 2010-10-01 | 2099-09-30 | ug/L | 0.86 | Abs, NSI, NSI | 052312, 062612-01, 718L-01-01 | Abs 052312: 20 µl & NSI 062612-01: 20 µl & NSI 718L-01-01: 20 µl | 0.1 | CYCLOATE | . | 0.04 | 0.086 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86 | Ab052312, NS0622-01, NS7181-01 | Ab | NS | NS | 052312 | 0622-01 | 7181-01 |  | 0622-01 | 7181-01 | Y | Recoverable Result | Y | 2 | Y | 1 | 0.86 |  | 0.86 | 0 | 0
CYCLOATE | 2060 | 04031LCM29 | 2012-08-22 | 2010-10-01 | 2099-09-30 | ug/L | 0.61 | Abs, Restek | 052312, A088383 | Abs 052312: 20 µl & Restek A088383: 20 µl | 0.1 | CYCLOATE | . | 0.04 | 0.061 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61 | Ab052312, ReA088383 | Ab | Re | Re | 052312 | A088383 | A088383 |  |  |  | Y | Recoverable Result | Y | 2 | Y | 1 | 0.61 |  | 0.61 | 0 | 0
CYCLOATE | 2060 | 04031LCM29 | 2013-03-12 | 2010-10-01 | 2099-09-30 | ug/L | 0.812 | Abs, Supelco | 052312, LB92941 | Abs 052312: 50 µl & Supelco LB92941: 50 µl | 0.25 | CYCLOATE | . | 0.04 | 0.203 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.812 | Ab052312, SuLB92941 | Ab | Su | Su | 052312 | LB92941 | LB92941 |  |  |  | Y | Recoverable Result | Y | 2 | Y | 2 | 0.826 | 0.019799 | 0.826 | 0.028 | 0.020756
CYCLOATE | 2060 | 04031LCM29 | 2013-05-02 | 2010-10-01 | 2099-09-30 | ug/L | 0.84 | Abs, Supelco | 052312, LB92941 | Abs 052312: 50 µl & Supelco LB92941: 50 µl | 0.25 | CYCLOATE | . | 0.04 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84 | Ab052312, SuLB92941 | Ab | Su | Su | 052312 | LB92941 | LB92941 |  |  |  | Y | Recoverable Result | Y | 2 | Y | 2 | 0.826 | 0.019799 | 0.826 | 0.028 | 0.020756
CYCLOATE | 2060 | 04031LCM29 | 2009-10-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.72981 | Accu | 209081166 | Accu 209081166: 40 µl | 0.078103 | CYCLOATE | . | 0.04 | 0.057 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72981 | Accu 209081166 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 4 | 0.6687 | 0.04105 | 0.65017 | 0.047852 | 0.035473
CYCLOATE | 2060 | 04031LCM29 | 2010-02-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.64463 | Accu | 209081166 | Accu 209081166: 40 µl | 0.079115 | CYCLOATE | . | 0.04 | 0.051 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64463 | Accu 209081166 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 4 | 0.6687 | 0.04105 | 0.65017 | 0.047852 | 0.035473
CYCLOATE | 2060 | 04031LCM29 | 2010-06-10 | 2009-10-01 | 2010-09-30 | ug/L | 0.64491 | Accu | 209081166 | Accu 209081166: 80 µl | 0.15506 | CYCLOATE | . | 0.04 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64491 | Accu 209081166 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 4 | 0.6687 | 0.04105 | 0.65017 | 0.047852 | 0.035473
CYCLOATE | 2060 | 04031LCM29 | 2010-07-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.65544 | Accu | 209081166 | Accu 209081166: 40 µl | 0.079336 | CYCLOATE | . | 0.04 | 0.052 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65544 | Accu 209081166 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 4 | 0.6687 | 0.04105 | 0.65017 | 0.047852 | 0.035473
CYCLOATE | 2060 | 04031LCM29 | 2009-12-02 | 2009-10-01 | 2010-09-30 | ug/L | 0.76504 | ChemService | 430-40B | ChemService 430-40B: 40 µl | 0.079734 | CYCLOATE | . | 0.04 | 0.061 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76504 | ChemService 430-40B | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 5 | 0.69341 | 0.17247 | 0.71533 | 0.17031 | 0.12625
CYCLOATE | 2060 | 04031LCM29 | 2010-05-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.71533 | ChemService | 430-40B | ChemService 430-40B: 40 µl | 0.081081 | CYCLOATE | . | 0.04 | 0.058 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71533 | ChemService 430-40B | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 5 | 0.69341 | 0.17247 | 0.71533 | 0.17031 | 0.12625
CYCLOATE | 2060 | 04031LCM29 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.59473 | ChemService | 430-40B | ChemService 430-40B: 40 µl | 0.080709 | CYCLOATE | . | 0.04 | 0.048 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59473 | ChemService 430-40B | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 5 | 0.69341 | 0.17247 | 0.71533 | 0.17031 | 0.12625
CYCLOATE | 2060 | 04031LCM29 | 2010-08-31 | 2009-10-01 | 2010-09-30 | ug/L | 0.9236 | ChemService | 430-40B | ChemService 430-40B: 80 µl | 0.16024 | CYCLOATE | E | 0.04 | 0.148 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9236 | ChemService 430-40B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.69341 | 0.17247 | 0.71533 | 0.17031 | 0.12625
CYCLOATE | 2060 | 04031LCM29 | 2010-10-27 | 2010-10-01 | 2099-09-30 | ug/L | 0.46837 | ChemService | 430-40B | ChemService 430-40B: 80 µl | 0.16013 | CYCLOATE | . | 0.04 | 0.075 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.46837 | ChemService 430-40B | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 5 | 0.69341 | 0.17247 | 0.71533 | 0.17031 | 0.12625
CYCLOATE | 2060 | 04031LCM29 | 2008-02-12 | 2007-10-01 | 2008-09-30 | ug/L | 0.75064 | Crescent | 07GG007 | Crescent 07GG007: 50 µl | 0.091921 | CYCLOATE | . | 0.02 | 0.069 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75064 | Crescent 07GG007 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 5 | 0.67678 | 0.12331 | 0.671 | 0.15822 | 0.11729
CYCLOATE | 2060 | 04031LCM29 | 2008-04-04 | 2007-10-01 | 2008-09-30 | ug/L | 0.83997 | Crescent | 07GG007 | Crescent 07GG007: 50 µl | 0.09048 | CYCLOATE | . | 0.02 | 0.076 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83997 | Crescent 07GG007 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 5 | 0.67678 | 0.12331 | 0.671 | 0.15822 | 0.11729
CYCLOATE | 2060 | 04031LCM29 | 2008-05-16 | 2007-10-01 | 2008-09-30 | ug/L | 0.59242 | Crescent | 07GG007 | Crescent 07GG007: 50 µl | 0.089463 | CYCLOATE | . | 0.02 | 0.053 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59242 | Crescent 07GG007 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 5 | 0.67678 | 0.12331 | 0.671 | 0.15822 | 0.11729
CYCLOATE | 2060 | 04031LCM29 | 2008-07-08 | 2007-10-01 | 2008-09-30 | ug/L | 0.671 | Crescent | 07GG007 | Crescent 07GG007: 50 µl | 0.089419 | CYCLOATE | . | 0.02 | 0.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.671 | Crescent 07GG007 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 5 | 0.67678 | 0.12331 | 0.671 | 0.15822 | 0.11729
CYCLOATE | 2060 | 04031LCM29 | 2008-08-27 | 2007-10-01 | 2008-09-30 | ug/L | 0.52985 | Crescent | 07GG007 | Crescent 07GG007: 50 µl | 0.088705 | CYCLOATE | . | 0.02 | 0.047 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52985 | Crescent 07GG007 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 5 | 0.67678 | 0.12331 | 0.671 | 0.15822 | 0.11729
CYCLOATE | 2060 | 04031LCM29 | 2010-11-29 | 2010-10-01 | 2099-09-30 | ug/L | 0.707 | Crescent | 163162 | Crescent 163162: 40 µl | 0.039604 | CYCLOATE | . | 0.04 | 0.028 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.707 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 1 | Y | 10 | 0.68652 | 0.11323 | 0.716 | 0.1935 | 0.14344
CYCLOATE | 2060 | 04031LCM29 | 2011-02-24 | 2010-10-01 | 2099-09-30 | ug/L | 0.81592 | Crescent | 163162 | Crescent 163162: 40 µl | 0.039219 | CYCLOATE | . | 0.04 | 0.032 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.81592 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 1 | Y | 10 | 0.68652 | 0.11323 | 0.716 | 0.1935 | 0.14344
CYCLOATE | 2060 | 04031LCM29 | 2011-04-13 | 2010-10-01 | 2099-09-30 | ug/L | 0.75082 | Crescent | 163162 | Crescent 163162: 100 µl | 0.09989 | CYCLOATE | . | 0.04 | 0.075 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75083 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 10 | 0.68652 | 0.11323 | 0.716 | 0.1935 | 0.14344
CYCLOATE | 2060 | 04031LCM29 | 2011-05-20 | 2010-10-01 | 2099-09-30 | ug/L | 0.5815 | Crescent | 163162 | Crescent 163162: 40 µl | 0.039553 | CYCLOATE | . | 0.04 | 0.023 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.5815 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 1 | Y | 10 | 0.68652 | 0.11323 | 0.716 | 0.1935 | 0.14344
CYCLOATE | 2060 | 04031LCM29 | 2011-07-18 | 2010-10-01 | 2099-09-30 | ug/L | 0.56 | Crescent | 163162 | Crescent 163162: 100 µl | 0.1 | CYCLOATE | . | 0.04 | 0.056 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 10 | 0.68652 | 0.11323 | 0.716 | 0.1935 | 0.14344
CYCLOATE | 2060 | 04031LCM29 | 2011-07-19 | 2010-10-01 | 2099-09-30 | ug/L | 0.475 | Crescent | 163162 | Crescent 163162: 40 µl | 0.04 | CYCLOATE | . | 0.04 | 0.019 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.475 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 10 | 0.68652 | 0.11323 | 0.716 | 0.1935 | 0.14344
CYCLOATE | 2060 | 04031LCM29 | 2011-10-31 | 2010-10-01 | 2099-09-30 | ug/L | 0.675 | Crescent | 163162 | Crescent 163162: 40 µl | 0.04 | CYCLOATE | . | 0.04 | 0.027 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.675 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 10 | 0.68652 | 0.11323 | 0.716 | 0.1935 | 0.14344
CYCLOATE | 2060 | 04031LCM29 | 2012-01-05 | 2010-10-01 | 2099-09-30 | ug/L | 0.8 | Crescent | 163162 | Crescent 163162: 100 µl | 0.1 | CYCLOATE | . | 0.04 | 0.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 10 | 0.68652 | 0.11323 | 0.716 | 0.1935 | 0.14344
CYCLOATE | 2060 | 04031LCM29 | 2012-03-06 | 2010-10-01 | 2099-09-30 | ug/L | 0.725 | Crescent | 163162 | Crescent 163162: 40 µl | 0.04 | CYCLOATE | . | 0.04 | 0.029 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.725 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 10 | 0.68652 | 0.11323 | 0.716 | 0.1935 | 0.14344
CYCLOATE | 2060 | 04031LCM29 | 2012-06-20 | 2010-10-01 | 2099-09-30 | ug/L | 0.775 | Crescent | 163162 | Crescent 163162: 40 µl | 0.04 | CYCLOATE | . | 0.04 | 0.031 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.775 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 10 | 0.68652 | 0.11323 | 0.716 | 0.1935 | 0.14344
CYCLOATE | 2060 | 04031LCM29 | 2008-10-30 | 2008-10-01 | 2009-09-30 | ug/L | 0.68735 | NSI | 081208-01Polar | NSI 081208-01Polar: 30 µl | 0.074198 | CYCLOATE | . | 0.04 | 0.051 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68735 | NSI 081208-01Polar | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 5 | 0.54532 | 0.088882 | 0.53334 | 0.063736 | 0.047247
CYCLOATE | 2060 | 04031LCM29 | 2008-11-19 | 2008-10-01 | 2009-09-30 | ug/L | 0.53334 | NSI | 081208-01Polar | NSI 081208-01Polar: 50 µl | 0.12375 | CYCLOATE | . | 0.04 | 0.066 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53334 | NSI 081208-01Polar | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 5 | 0.54532 | 0.088882 | 0.53334 | 0.063736 | 0.047247
CYCLOATE | 2060 | 04031LCM29 | 2009-04-09 | 2008-10-01 | 2009-09-30 | ug/L | 0.55839 | NSI | 081208-01Polar | NSI 081208-01Polar: 30 µl | 0.075216 | CYCLOATE | . | 0.04 | 0.042 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55839 | NSI 081208-01Polar | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 5 | 0.54532 | 0.088882 | 0.53334 | 0.063736 | 0.047247
CYCLOATE | 2060 | 04031LCM29 | 2009-06-17 | 2008-10-01 | 2009-09-30 | ug/L | 0.49465 | NSI | 081208-01Polar | NSI 081208-01Polar: 30 µl | 0.076822 | CYCLOATE | E | 0.04 | 0.038 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49465 | NSI 081208-01Polar | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.54532 | 0.088882 | 0.53334 | 0.063736 | 0.047247
CYCLOATE | 2060 | 04031LCM29 | 2009-08-31 | 2008-10-01 | 2009-09-30 | ug/L | 0.45288 | NSI | 081208-01Polar | NSI 081208-01Polar: 50 µl | 0.12586 | CYCLOATE | . | 0.04 | 0.057 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.45288 | NSI 081208-01Polar | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 5 | 0.54532 | 0.088882 | 0.53334 | 0.063736 | 0.047247
CYCLOATE | 2060 | 04031LCM29 | 2010-05-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.72174 | NWQL, NWQL | LCL11SP079A, LCL11SP079B | NWQL LCL11SP079A: 50 µl & NWQL LCL11SP079B: 50 µl | 0.12608 | CYCLOATE | . | 0.04 | 0.091 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72174 | NWLCL079A, NWLCL079B | NW | NW | NW | LCL079A | LCL079B | LCL079B | LCL079A | LCL079B | LCL079B | Y | Recoverable Result | Y | 2 | Y | 3 | 0.69584 | 0.076664 | 0.72174 | 0.14662 | 0.10869
CYCLOATE | 2060 | 04031LCM29 | 2010-07-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.60958 | NWQL, NWQL | LCL11SP079A, LCL11SP079B | NWQL LCL11SP079A: 50 µl & NWQL LCL11SP079B: 50 µl | 0.12468 | CYCLOATE | . | 0.04 | 0.076 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60958 | NWLCL079A, NWLCL079B | NW | NW | NW | LCL079A | LCL079B | LCL079B | LCL079A | LCL079B | LCL079B | Y | Recoverable Result | Y | 2 | Y | 3 | 0.69584 | 0.076664 | 0.72174 | 0.14662 | 0.10869
CYCLOATE | 2060 | 04031LCM29 | 2010-09-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.7562 | NWQL, NWQL | LCL11SP079A, LCL11SP079B | NWQL LCL11SP079A: 50 µl & NWQL LCL11SP079B: 50 µl | 0.12563 | CYCLOATE | . | 0.04 | 0.095 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7562 | NWLCL079A, NWLCL079B | NW | NW | NW | LCL079A | LCL079B | LCL079B | LCL079A | LCL079B | LCL079B | Y | Recoverable Result | Y | 2 | Y | 3 | 0.69584 | 0.076664 | 0.72174 | 0.14662 | 0.10869
CYCLOATE | 2060 | 04031LCM29 | 2008-04-30 | 2007-10-01 | 2008-09-30 | ug/L | 0.90836 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18605 | CYCLOATE | . | 0.02 | 0.169 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90836 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 | Y | 7 | 0.66068 | 0.14636 | 0.58755 | 0.19945 | 0.14785
CYCLOATE | 2060 | 04031LCM29 | 2008-06-19 | 2007-10-01 | 2008-09-30 | ug/L | 0.73337 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18681 | CYCLOATE | . | 0.02 | 0.137 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73337 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 | Y | 7 | 0.66068 | 0.14636 | 0.58755 | 0.19945 | 0.14785
CYCLOATE | 2060 | 04031LCM29 | 2008-07-30 | 2007-10-01 | 2008-09-30 | ug/L | 0.76343 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18469 | CYCLOATE | . | 0.02 | 0.141 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76343 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 | Y | 7 | 0.66068 | 0.14636 | 0.58755 | 0.19945 | 0.14785
CYCLOATE | 2060 | 04031LCM29 | 2009-03-26 | 2008-10-01 | 2009-09-30 | ug/L | 0.58755 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.19743 | CYCLOATE | . | 0.04 | 0.116 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58755 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 | Y | 7 | 0.66068 | 0.14636 | 0.58755 | 0.19945 | 0.14785
CYCLOATE | 2060 | 04031LCM29 | 2009-05-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.56398 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18795 | CYCLOATE | . | 0.04 | 0.106 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56398 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 | Y | 7 | 0.66068 | 0.14636 | 0.58755 | 0.19945 | 0.14785
CYCLOATE | 2060 | 04031LCM29 | 2009-06-17 | 2008-10-01 | 2009-09-30 | ug/L | 0.48631 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18507 | CYCLOATE | . | 0.04 | 0.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.48631 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 | Y | 7 | 0.66068 | 0.14636 | 0.58755 | 0.19945 | 0.14785
CYCLOATE | 2060 | 04031LCM29 | 2009-07-28 | 2008-10-01 | 2009-09-30 | ug/L | 0.58174 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18737 | CYCLOATE | . | 0.04 | 0.109 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58174 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 | Y | 7 | 0.66068 | 0.14636 | 0.58755 | 0.19945 | 0.14785
CYCLOATE | 2060 | 04031LCM29 | 2011-01-04 | 2010-10-01 | 2099-09-30 | ug/L | 0.81317 | Restek | A075600 | Restek A075600: 40 µl | 0.039352 | CYCLOATE | . | 0.04 | 0.032 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.81317 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 1 | Y | 11 | 0.7023 | 0.11207 | 0.70035 | 0.17677 | 0.13104
CYCLOATE | 2060 | 04031LCM29 | 2011-03-23 | 2010-10-01 | 2099-09-30 | ug/L | 0.75962 | Restek | A075600 | Restek A075600: 40 µl | 0.039493 | CYCLOATE | . | 0.04 | 0.03 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.75962 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 1 | Y | 11 | 0.7023 | 0.11207 | 0.70035 | 0.17677 | 0.13104
CYCLOATE | 2060 | 04031LCM29 | 2011-05-20 | 2010-10-01 | 2099-09-30 | ug/L | 0.70035 | Restek | A075600 | Restek A075600: 100 µl | 0.099949 | CYCLOATE | . | 0.04 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70035 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 11 | 0.7023 | 0.11207 | 0.70035 | 0.17677 | 0.13104
CYCLOATE | 2060 | 04031LCM29 | 2011-06-10 | 2010-10-01 | 2099-09-30 | ug/L | 0.60873 | Restek | A075600 | Restek A075600: 40 µl | 0.039427 | CYCLOATE | . | 0.04 | 0.024 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.60873 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 1 | Y | 11 | 0.7023 | 0.11207 | 0.70035 | 0.17677 | 0.13104
CYCLOATE | 2060 | 04031LCM29 | 2011-09-02 | 2010-10-01 | 2099-09-30 | ug/L | 0.63131 | Restek | A075600 | Restek A075600: 40 µl | 0.0396 | CYCLOATE | . | 0.04 | 0.025 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.63131 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 1 | Y | 11 | 0.7023 | 0.11207 | 0.70035 | 0.17677 | 0.13104
CYCLOATE | 2060 | 04031LCM29 | 2011-09-13 | 2010-10-01 | 2099-09-30 | ug/L | 0.66667 | Restek | A075600 | Restek A075600: 100 µl | 0.099 | CYCLOATE | . | 0.04 | 0.066 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66667 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 11 | 0.7023 | 0.11207 | 0.70035 | 0.17677 | 0.13104
CYCLOATE | 2060 | 04031LCM29 | 2011-11-29 | 2010-10-01 | 2099-09-30 | ug/L | 0.4798 | Restek | A075600 | Restek A075600: 40 µl | 0.0396 | CYCLOATE | . | 0.04 | 0.019 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.4798 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 1 | Y | 11 | 0.7023 | 0.11207 | 0.70035 | 0.17677 | 0.13104
CYCLOATE | 2060 | 04031LCM29 | 2012-02-13 | 2010-10-01 | 2099-09-30 | ug/L | 0.80808 | Restek | A075600 | Restek A075600: 100 µl | 0.099 | CYCLOATE | . | 0.04 | 0.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80808 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 11 | 0.7023 | 0.11207 | 0.70035 | 0.17677 | 0.13104
CYCLOATE | 2060 | 04031LCM29 | 2012-03-26 | 2010-10-01 | 2099-09-30 | ug/L | 0.88384 | Restek | A075600 | Restek A075600: 40 µl | 0.0396 | CYCLOATE | . | 0.04 | 0.035 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.88384 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 1 | Y | 11 | 0.7023 | 0.11207 | 0.70035 | 0.17677 | 0.13104
CYCLOATE | 2060 | 04031LCM29 | 2012-05-02 | 2010-10-01 | 2099-09-30 | ug/L | 0.70707 | Restek | A075600 | Restek A075600: 40 µl | 0.0396 | CYCLOATE | . | 0.04 | 0.028 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.70707 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 1 | Y | 11 | 0.7023 | 0.11207 | 0.70035 | 0.17677 | 0.13104
CYCLOATE | 2060 | 04031LCM29 | 2012-05-22 | 2010-10-01 | 2099-09-30 | ug/L | 0.66667 | Restek | A075600 | Restek A075600: 100 µl | 0.099 | CYCLOATE | . | 0.04 | 0.066 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66667 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 11 | 0.7023 | 0.11207 | 0.70035 | 0.17677 | 0.13104
CYCLOATE | 2060 | 04031LCM29 | 2013-09-27 | 2010-10-01 | 2099-09-30 | ug/L | 0.6963 | Spex Organics, Accu, Supelco | T1130601011, 213041030, LC00372 | Spex Organics T1130601011: 50 µl & Accu 213041030: 50 µl & Supelco LC00372: 50 µ | 0.135 | CYCLOATE | . | 0.04 | 0.094 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6963 | SpT111011, Ac2131030, SuLC0037 | Sp | Ac | Su | T111011 | 2131030 | LC00372 | T111011 | 2131030 |  | Y | Recoverable Result | Y | 2 | Y | 1 | 0.6963 |  | 0.6963 | 0 | 0
CYCLOATE | 2060 | 04031LCM29 | 2014-01-16 | 2010-10-01 | 2099-09-30 | ug/L | 0.7037 | Spex Organics, ChemService, | T1130601011, 1448600, 050613 | Spex Organics T1130601011: 20 µl & ChemService 1448600: 20 µl & NSI 050613: 20 µ | 0.054 | CYCLOATE | . | 0.04 | 0.038 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7037 | SpT111011, Ch1448600, 050613 | Sp | Ch |  | T111011 | 1448600 | 050613 | T111011 |  |  | Y | Recoverable Result | Y | 2 | Y | 1 | 0.7037 |  | 0.7037 | 0 | 0
CYCLOATE | 2060 | 04031LCM29 | 2013-08-17 | 2010-10-01 | 2099-09-30 | ug/L | 0.54815 | Spex Organics, NSI, Supelco | T1130601011, 050613, LC01386 | Spex Organics T1130601011: 50 µl & NSI 050613: 50 µl & Supelco LC01386: 50 µl | 0.135 | CYCLOATE | . | 0.04 | 0.074 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54815 | SpT111011, NS050613, SuLC01386 | Sp | NS | Su | T111011 | 050613 | LC01386 | T111011 |  |  | Y | Recoverable Result | Y | 2 | Y | 1 | 0.54815 |  | 0.54815 | 0 | 0
CYCLOATE | 2060 | 04031LCM29 | 2012-09-13 | 2010-10-01 | 2099-09-30 | ug/L | 0.62 | Spex Organics, NSI, NSI | T1120525009, 062612-01, 718L-01-01 | Spex Organics T1120525009: 20 µl & NSI 062612-01: 20 µl & NSI 718L-01-01: 20 µl | 0.1 | CYCLOATE | . | 0.04 | 0.062 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62 | SpT115009, NS0622-01, NS7181-0 | Sp | NS | NS | T115009 | 0622-01 | 7181-01 | T115009 | 0622-01 | 7181-01 | Y | Recoverable Result | Y | 2 | Y | 2 | 0.738 | 0.16688 | 0.738 | 0.236 | 0.17494
CYCLOATE | 2060 | 04031LCM29 | 2013-01-18 | 2010-10-01 | 2099-09-30 | ug/L | 0.856 | Spex Organics, NSI, NSI | T1120525009, 062612-01, 718L-01-01 | Spex Organics T1120525009: 100 µl & NSI 062612-01: 100 µl & NSI 718L-01-01: 100 | 0.5 | CYCLOATE | . | 0.04 | 0.428 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.856 | SpT115009, NS0622-01, NS7181-0 | Sp | NS | NS | T115009 | 0622-01 | 7181-01 | T115009 | 0622-01 | 7181-01 | Y | Recoverable Result | Y | 2 | Y | 2 | 0.738 | 0.16688 | 0.738 | 0.236 | 0.17494
CYCLOATE | 2060 | 04031LCM29 | 2012-12-21 | 2010-10-01 | 2099-09-30 | ug/L | 0.792 | Spex Organics, Restek | T1120525009, A088383 | Spex Organics T1120525009: 50 µl & Restek A088383: 50 µl | 0.25 | CYCLOATE | . | 0.04 | 0.198 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.792 | SpT115009, ReA088383 | Sp | Re | Re | T115009 | A088383 | A088383 | T115009 |  |  | Y | Recoverable Result | Y | 2 | Y | 2 | 0.756 | 0.050912 | 0.756 | 0.072 | 0.053373
CYCLOATE | 2060 | 04031LCM29 | 2013-04-10 | 2010-10-01 | 2099-09-30 | ug/L | 0.72 | Spex Organics, Restek | T1120525009, A088383 | Spex Organics T1120525009: 50 µl & Restek A088383: 50 µl | 0.25 | CYCLOATE | . | 0.04 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72 | SpT115009, ReA088383 | Sp | Re | Re | T115009 | A088383 | A088383 | T115009 |  |  | Y | Recoverable Result | Y | 2 | Y | 2 | 0.756 | 0.050912 | 0.756 | 0.072 | 0.053373
CYCLOATE | 2060 | 04031LCM29 | 2012-07-18 | 2010-10-01 | 2099-09-30 | ug/L | 0.664 | Spex Organics, Supelco | T1120525009, LB92941 | Spex Organics T1120525009: 50 µl & Supelco LB92941: 50 µl | 0.25 | CYCLOATE | . | 0.04 | 0.166 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.664 | SpT115009, SuLB92941 | Sp | Su | Su | T115009 | LB92941 | LB92941 | T115009 |  |  | Y | Recoverable Result | Y | 2 | Y | 1 | 0.664 |  | 0.664 | 0 | 0
CYCLOATE | 2060 | 04031LCM29 | 2008-10-30 | 2008-10-01 | 2009-09-30 | ug/L | 0.77156 | Supelco | LB60726 | Supelco LB60726: 30 µl | 0.075172 | CYCLOATE | . | 0.04 | 0.058 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77156 | Supelco LB60726 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 5 | 0.66389 | 0.14202 | 0.67167 | 0.20721 | 0.15361
CYCLOATE | 2060 | 04031LCM29 | 2008-12-31 | 2008-10-01 | 2009-09-30 | ug/L | 0.82768 | Supelco | LB60726 | Supelco LB60726: 30 µl | 0.077325 | CYCLOATE | . | 0.04 | 0.064 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82768 | Supelco LB60726 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 5 | 0.66389 | 0.14202 | 0.67167 | 0.20721 | 0.15361
CYCLOATE | 2060 | 04031LCM29 | 2009-05-27 | 2008-10-01 | 2009-09-30 | ug/L | 0.67167 | Supelco | LB60726 | Supelco LB60726: 30 µl | 0.07593 | CYCLOATE | . | 0.04 | 0.051 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67167 | Supelco LB60726 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 5 | 0.66389 | 0.14202 | 0.67167 | 0.20721 | 0.15361
CYCLOATE | 2060 | 04031LCM29 | 2009-08-05 | 2008-10-01 | 2009-09-30 | ug/L | 0.4842 | Supelco | LB60726 | Supelco LB60726: 50 µl | 0.12805 | CYCLOATE | . | 0.04 | 0.062 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4842 | Supelco LB60726 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 5 | 0.66389 | 0.14202 | 0.67167 | 0.20721 | 0.15361
CYCLOATE | 2060 | 04031LCM29 | 2009-09-22 | 2008-10-01 | 2009-09-30 | ug/L | 0.56435 | Supelco | LB60726 | Supelco LB60726: 30 µl | 0.074422 | CYCLOATE | . | 0.04 | 0.042 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56435 | Supelco LB60726 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 5 | 0.66389 | 0.14202 | 0.67167 | 0.20721 | 0.15361
CYCLOATE | 2060 | 04031LCM29 | 2008-01-22 | 2007-10-01 | 2008-09-30 | ug/L | 0.55542 | Ultra | CD-2088 | Ultra CD-2088: 50 µl | 0.093623 | CYCLOATE | . | 0.02 | 0.052 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55542 | Ultra CD-2088 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 6 | 0.73254 | 0.10855 | 0.75995 | 0.16167 | 0.11984
CYCLOATE | 2060 | 04031LCM29 | 2008-04-04 | 2007-10-01 | 2008-09-30 | ug/L | 0.84529 | Ultra | CD-2088 | Ultra CD-2088: 50 µl | 0.091093 | CYCLOATE | . | 0.02 | 0.077 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84529 | Ultra CD-2088 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 6 | 0.73254 | 0.10855 | 0.75995 | 0.16167 | 0.11984
CYCLOATE | 2060 | 04031LCM29 | 2008-04-30 | 2007-10-01 | 2008-09-30 | ug/L | 0.81817 | Ultra | CD-2088 | Ultra CD-2088: 50 µl | 0.091668 | CYCLOATE | . | 0.02 | 0.075 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81817 | Ultra CD-2088 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 6 | 0.73254 | 0.10855 | 0.75995 | 0.16167 | 0.11984
CYCLOATE | 2060 | 04031LCM29 | 2008-06-18 | 2007-10-01 | 2008-09-30 | ug/L | 0.6565 | Ultra | CD-2088 | Ultra CD-2088: 50 µl | 0.092918 | CYCLOATE | . | 0.02 | 0.061 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6565 | Ultra CD-2088 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 6 | 0.73254 | 0.10855 | 0.75995 | 0.16167 | 0.11984
CYCLOATE | 2060 | 04031LCM29 | 2008-07-24 | 2007-10-01 | 2008-09-30 | ug/L | 0.74951 | Ultra | CD-2088 | Ultra CD-2088: 50 µl | 0.089392 | CYCLOATE | . | 0.02 | 0.067 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74951 | Ultra CD-2088 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 6 | 0.73254 | 0.10855 | 0.75995 | 0.16167 | 0.11984
CYCLOATE | 2060 | 04031LCM29 | 2008-09-09 | 2007-10-01 | 2008-09-30 | ug/L | 0.77039 | Ultra | CD-2088 | Ultra CD-2088: 50 µl | 0.090863 | CYCLOATE | . | 0.02 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77039 | Ultra CD-2088 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 6 | 0.73254 | 0.10855 | 0.75995 | 0.16167 | 0.11984