## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2013-11-07 | 2010-10-01 | 2099-09-30 | ug/L | 0.7485 | Abs, Accu, NSI | 042513, 213041030, 050613 | Abs 042513: 20 µl & Accu 213041030: 20 µl & NSI 050613: 20 µl | 0.1002 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | . | 0.06 | 0.075 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7485 | Ab042513, Ac2131030, NS050613 | Ab | Ac | NS | 042513 | 2131030 | 050613 |  | 2131030 |  | Y | Recoverable Result | Y | 2 | Y | 1 | 0.7485 |  | 0.7485 | 0 | 0
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2013-07-19 | 2010-10-01 | 2099-09-30 | ug/L | 0.92216 | Abs, ChemService | 042513, 1448600 | Abs 042513: 50 µl & ChemService 1448600: 50 µl | 0.2505 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | . | 0.06 | 0.231 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92216 | Ab042513, Ch1448600 | Ab | Ch | Ch | 042513 | 1448600 | 1448600 |  |  |  | Y | Recoverable Result | Y | 2 | Y | 1 | 0.92216 |  | 0.92216 | 0 | 0
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2013-11-07 | 2010-10-01 | 2099-09-30 | ug/L | 0.74925 | Abs, NSI | 042513, 042213HPLC | Abs 042513: 20 µl & NSI 042213HPLC: 20 µl | 0.2002 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | . | 0.06 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74925 | Ab042513, NS042HPLC | Ab | NS | NS | 042513 | 042HPLC | 042HPLC |  | 042HPLC | 042HPLC | Y | Recoverable Result | Y | 2 | Y | 1 | 0.74925 |  | 0.74925 | 0 | 0
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2013-06-27 | 2010-10-01 | 2099-09-30 | ug/L | 0.91309 | Abs, NSI, NSI | 042513, 042213HPLC, 050613 | Abs 042513: 50 µl & NSI 042213HPLC: 50 µl & NSI 050613: 50 µl | 0.5005 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | . | 0.06 | 0.457 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91309 | Ab042513, NS042HPLC, NS050613 | Ab | NS | NS | 042513 | 042HPLC | 050613 |  | 042HPLC |  | Y | Recoverable Result | Y | 2 | Y | 1 | 0.91309 |  | 0.91309 | 0 | 0
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2014-01-16 | 2010-10-01 | 2099-09-30 | ug/L | 0.34965 | Abs, Supelco, NSI | 042513, LC01386, 050613 | Abs 042513: 20 µl & Supelco LC01386: 20 µl & NSI 050613: 20 µl | 0.2002 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.06 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.34965 | Ab042513, SuLC01386, NS050613 | Ab | Su | NS | 042513 | LC01386 | 050613 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.34965 |  | 0.34965 | 0 | 0
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2012-12-05 | 2010-10-01 | 2099-09-30 | ug/L | 0.86 | Abs, NSI, NSI | 052312, 062612-01, 718L-01-01 | Abs 052312: 20 µl & NSI 062612-01: 20 µl & NSI 718L-01-01: 20 µl | 0.1 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | . | 0.06 | 0.086 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86 | Ab052312, NS0622-01, NS7181-01 | Ab | NS | NS | 052312 | 0622-01 | 7181-01 |  | 0622-01 | 7181-01 | Y | Recoverable Result | Y | 2 | Y | 1 | 0.86 |  | 0.86 | 0 | 0
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2013-03-12 | 2010-10-01 | 2099-09-30 | ug/L | 0.94611 | Abs, Supelco | 052312, LB92941 | Abs 052312: 50 µl & Supelco LB92941: 50 µl | 0.2505 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | . | 0.06 | 0.237 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94611 | Ab052312, SuLB92941 | Ab | Su | Su | 052312 | LB92941 | LB92941 |  |  |  | Y | Recoverable Result | Y | 2 | Y | 2 | 0.94611 | 0 | 0.94611 | 0 | 0
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2013-05-02 | 2010-10-01 | 2099-09-30 | ug/L | 0.94611 | Abs, Supelco | 052312, LB92941 | Abs 052312: 50 µl & Supelco LB92941: 50 µl | 0.2505 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | . | 0.06 | 0.237 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94611 | Ab052312, SuLB92941 | Ab | Su | Su | 052312 | LB92941 | LB92941 |  |  |  | Y | Recoverable Result | Y | 2 | Y | 2 | 0.94611 | 0 | 0.94611 | 0 | 0
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2013-09-27 | 2010-10-01 | 2099-09-30 | ug/L | 0.7 | Accu, NSI, Supelco | 213041030, 050613, LC01386 | Accu 213041030: 20 µl & NSI 050613: 20 µl & Supelco LC01386: 20 µl | 0.1 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | . | 0.06 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7 | Ac2131030, NS050613, SuLC01386 | Ac | NS | Su | 2131030 | 050613 | LC01386 | 2131030 |  |  | Y | Recoverable Result | Y | 2 | Y | 1 | 0.7 |  | 0.7 | 0 | 0
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2013-11-27 | 2010-10-01 | 2099-09-30 | ug/L | 0.904 | ChemService, NSI, Supelco | 1448600, 050613, LC01386 | ChemService 1448600: 50 µl & NSI 050613: 50 µl & Supelco LC01386: 50 µl | 0.25 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | . | 0.06 | 0.226 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.904 | Ch1448600, NS050613, SuLC01386 | Ch | NS | Su | 1448600 | 050613 | LC01386 |  |  |  | Y | Recoverable Result | Y | 2 | Y | 1 | 0.904 |  | 0.904 | 0 | 0
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2009-11-19 | 2009-10-01 | 2010-09-30 | ug/L | 1.0729 | Crescent | 08LL073 | Crescent 08LL073: 40 µl | 0.075494 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | . | 0.06 | 0.081 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0729 | Crescent 08LL073 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 5 | 0.74404 | 0.39029 | 0.85078 | 0.15042 | 0.11151
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2010-03-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.93709 | Crescent | 08LL073 | Crescent 08LL073: 40 µl | 0.077901 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | . | 0.06 | 0.073 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93709 | Crescent 08LL073 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 5 | 0.74404 | 0.39029 | 0.85078 | 0.15042 | 0.11151
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2010-06-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.78667 | Crescent | 08LL073 | Crescent 08LL073: 40 µl | 0.078814 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | . | 0.06 | 0.062 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78667 | Crescent 08LL073 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 5 | 0.74404 | 0.39029 | 0.85078 | 0.15042 | 0.11151
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2010-07-26 | 2009-10-01 | 2010-09-30 | ug/L | 0.85078 | Crescent | 08LL073 | Crescent 08LL073: 40 µl | 0.075225 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | . | 0.06 | 0.064 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85078 | Crescent 08LL073 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 5 | 0.74404 | 0.39029 | 0.85078 | 0.15042 | 0.11151
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2010-10-28 | 2010-10-01 | 2099-09-30 | ug/L | 0.072723 | Crescent | 08LL073 | Crescent 08LL073: 80 µl | 0.15126 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.06 | 0.011 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.072723 | Crescent 08LL073 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.74404 | 0.39029 | 0.85078 | 0.15042 | 0.11151
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2010-11-29 | 2010-10-01 | 2099-09-30 | ug/L | 0.7575 | Crescent | 163162 | Crescent 163162: 40 µl | 0.14653 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | . | 0.06 | 0.111 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7575 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 10 | 0.85701 | 0.12281 | 0.88227 | 0.14647 | 0.10858
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2011-02-24 | 2010-10-01 | 2099-09-30 | ug/L | 0.96477 | Crescent | 163162 | Crescent 163162: 40 µl | 0.14511 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | . | 0.06 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96477 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 10 | 0.85701 | 0.12281 | 0.88227 | 0.14647 | 0.10858
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2011-04-13 | 2010-10-01 | 2099-09-30 | ug/L | 0.93346 | Crescent | 163162 | Crescent 163162: 100 µl | 0.36959 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | . | 0.06 | 0.345 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93346 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 10 | 0.85701 | 0.12281 | 0.88227 | 0.14647 | 0.10858
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2011-05-20 | 2010-10-01 | 2099-09-30 | ug/L | 0.79947 | Crescent | 163162 | Crescent 163162: 40 µl | 0.14635 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | . | 0.06 | 0.117 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79947 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 10 | 0.85701 | 0.12281 | 0.88227 | 0.14647 | 0.10858
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2011-07-18 | 2010-10-01 | 2099-09-30 | ug/L | 0.94595 | Crescent | 163162 | Crescent 163162: 100 µl | 0.37 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | . | 0.06 | 0.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94595 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 10 | 0.85701 | 0.12281 | 0.88227 | 0.14647 | 0.10858
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2011-07-19 | 2010-10-01 | 2099-09-30 | ug/L | 0.58784 | Crescent | 163162 | Crescent 163162: 40 µl | 0.148 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | . | 0.06 | 0.087 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58784 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 10 | 0.85701 | 0.12281 | 0.88227 | 0.14647 | 0.10858
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2011-10-31 | 2010-10-01 | 2099-09-30 | ug/L | 0.83108 | Crescent | 163162 | Crescent 163162: 40 µl | 0.148 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | . | 0.06 | 0.123 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83108 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 10 | 0.85701 | 0.12281 | 0.88227 | 0.14647 | 0.10858
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2012-01-05 | 2010-10-01 | 2099-09-30 | ug/L | 0.82432 | Crescent | 163162 | Crescent 163162: 100 µl | 0.37 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | . | 0.06 | 0.305 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82432 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 10 | 0.85701 | 0.12281 | 0.88227 | 0.14647 | 0.10858
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2012-03-06 | 2010-10-01 | 2099-09-30 | ug/L | 0.97973 | Crescent | 163162 | Crescent 163162: 40 µl | 0.148 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | . | 0.06 | 0.145 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97973 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 10 | 0.85701 | 0.12281 | 0.88227 | 0.14647 | 0.10858
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2012-06-20 | 2010-10-01 | 2099-09-30 | ug/L | 0.94595 | Crescent | 163162 | Crescent 163162: 40 µl | 0.148 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | . | 0.06 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94595 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 10 | 0.85701 | 0.12281 | 0.88227 | 0.14647 | 0.10858
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2008-12-09 | 2007-10-01 | 2009-09-30 | ug/L | 0.51585 | ERA | 0813-08-07Polar | ERA 0813-08-07Polar: 50 µl | 0.25977 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | . | 0.06 | 0.134 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51585 | ERA 0813-08-07Polar | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 5 | 0.50644 | 0.05548 | 0.49011 | 0.033467 | 0.024809
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2008-12-09 | 2007-10-01 | 2009-09-30 | ug/L | 0.59575 | ERA | 0813-08-07Polar | ERA 0813-08-07Polar: 30 µl | 0.15107 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | . | 0.06 | 0.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59575 | ERA 0813-08-07Polar | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 5 | 0.50644 | 0.05548 | 0.49011 | 0.033467 | 0.024809
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2009-05-28 | 2007-10-01 | 2009-09-30 | ug/L | 0.49011 | ERA | 0813-08-07Polar | ERA 0813-08-07Polar: 30 µl | 0.15303 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | . | 0.06 | 0.075 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49011 | ERA 0813-08-07Polar | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 5 | 0.50644 | 0.05548 | 0.49011 | 0.033467 | 0.024809
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2009-08-06 | 2007-10-01 | 2009-09-30 | ug/L | 0.44811 | ERA | 0813-08-07Polar | ERA 0813-08-07Polar: 30 µl | 0.15175 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | . | 0.06 | 0.068 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.44811 | ERA 0813-08-07Polar | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 5 | 0.50644 | 0.05548 | 0.49011 | 0.033467 | 0.024809
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2009-09-22 | 2007-10-01 | 2009-09-30 | ug/L | 0.48238 | ERA | 0813-08-07Polar | ERA 0813-08-07Polar: 50 µl | 0.25291 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | . | 0.06 | 0.122 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.48238 | ERA 0813-08-07Polar | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 5 | 0.50644 | 0.05548 | 0.49011 | 0.033467 | 0.024809
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2013-09-27 | 2010-10-01 | 2099-09-30 | ug/L | 0.712 | NSI, Accu, Supelco | 042213HPLC, 213041030, LC00372 | NSI 042213HPLC: 50 µl & Accu 213041030: 50 µl & Supelco LC00372: 50 µl | 0.25 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | . | 0.06 | 0.178 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.712 | NS042HPLC, Ac2131030, SuLC0037 | NS | Ac | Su | 042HPLC | 2131030 | LC00372 | 042HPLC | 2131030 |  | Y | Recoverable Result | Y | 2 | Y | 1 | 0.712 |  | 0.712 | 0 | 0
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2013-06-04 | 2010-10-01 | 2099-09-30 | ug/L | 0.84 | NSI, ChemService, NSI | 042213HPLC, 1448600, 050613 | NSI 042213HPLC: 20 µl & ChemService 1448600: 20 µl & NSI 050613: 20 µl | 0.1 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | . | 0.06 | 0.084 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84 | NS042HPLC, Ch1448600, NS050613 | NS | Ch | NS | 042HPLC | 1448600 | 050613 | 042HPLC |  |  | Y | Recoverable Result | Y | 2 | Y | 1 | 0.84 |  | 0.84 | 0 | 0
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2012-08-07 | 2010-10-01 | 2099-09-30 | ug/L | 0.84 | NSI, NSI, ChemService | 062612-01, 718L-01-01, 396400 | NSI 062612-01: 20 µl & NSI 718L-01-01: 20 µl & ChemService 396400: 20 µl | 0.1 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | . | 0.06 | 0.084 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84 | NS0622-01, NS7181-01, Ch396400 | NS | NS | Ch | 0622-01 | 7181-01 | 396400 | 0622-01 | 7181-01 |  | Y | Recoverable Result | Y | 2 | Y | 1 | 0.84 |  | 0.84 | 0 | 0
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2012-09-28 | 2010-10-01 | 2099-09-30 | ug/L | 0.83 | NSI, NSI, Restek | 062612-01, 718L-01-01, A088383 | NSI 062612-01: 20 µl & NSI 718L-01-01: 20 µl & Restek A088383: 20 µl | 0.1 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | . | 0.06 | 0.083 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83 | NS0622-01, NS7181-01, ReA08838 | NS | NS | Re | 0622-01 | 7181-01 | A088383 | 0622-01 | 7181-01 |  | Y | Recoverable Result | Y | 2 | Y | 1 | 0.83 |  | 0.83 | 0 | 0
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2009-12-29 | 2009-10-01 | 2010-09-30 | ug/L | 1.265 | NSI | 090309-01HPLC | NSI 090309-01HPLC: 80 µl | 0.14862 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | . | 0.06 | 0.188 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.265 | NSI 090309-01HPLC | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 4 | 0.87921 | 0.26659 | 0.79689 | 0.33438 | 0.24788
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2010-05-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.8278 | NSI | 090309-01HPLC | NSI 090309-01HPLC: 40 µl | 0.076106 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | . | 0.06 | 0.063 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8278 | NSI 090309-01HPLC | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 4 | 0.87921 | 0.26659 | 0.79689 | 0.33438 | 0.24788
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2010-07-01 | 2009-10-01 | 2010-09-30 | ug/L | 0.76598 | NSI | 090309-01HPLC | NSI 090309-01HPLC: 80 µl | 0.15405 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | . | 0.06 | 0.118 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76598 | NSI 090309-01HPLC | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 4 | 0.87921 | 0.26659 | 0.79689 | 0.33438 | 0.24788
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2010-09-01 | 2009-10-01 | 2010-09-30 | ug/L | 0.65805 | NSI | 090309-01HPLC | NSI 090309-01HPLC: 40 µl | 0.074463 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.06 | 0.049 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65805 | NSI 090309-01HPLC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.87921 | 0.26659 | 0.79689 | 0.33438 | 0.24788
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2010-05-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.91209 | NWQL, NWQL | LCL11SP079A, LCL11SP079B | NWQL LCL11SP079A: 50 µl & NWQL LCL11SP079B: 50 µl | 0.12608 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | . | 0.06 | 0.115 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91209 | NWLCL079A, NWLCL079B | NW | NW | NW | LCL079A | LCL079B | LCL079B | LCL079A | LCL079B | LCL079B | Y | Recoverable Result | Y | 2 | Y | 3 | 0.91906 | 0.088584 | 0.91209 | 0.17676 | 0.13103
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2010-07-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.83416 | NWQL, NWQL | LCL11SP079A, LCL11SP079B | NWQL LCL11SP079A: 50 µl & NWQL LCL11SP079B: 50 µl | 0.12468 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | . | 0.06 | 0.104 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83416 | NWLCL079A, NWLCL079B | NW | NW | NW | LCL079A | LCL079B | LCL079B | LCL079A | LCL079B | LCL079B | Y | Recoverable Result | Y | 2 | Y | 3 | 0.91906 | 0.088584 | 0.91209 | 0.17676 | 0.13103
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2010-09-21 | 2009-10-01 | 2010-09-30 | ug/L | 1.0109 | NWQL, NWQL | LCL11SP079A, LCL11SP079B | NWQL LCL11SP079A: 50 µl & NWQL LCL11SP079B: 50 µl | 0.12563 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | . | 0.06 | 0.127 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0109 | NWLCL079A, NWLCL079B | NW | NW | NW | LCL079A | LCL079B | LCL079B | LCL079A | LCL079B | LCL079B | Y | Recoverable Result | Y | 2 | Y | 3 | 0.91906 | 0.088584 | 0.91209 | 0.17676 | 0.13103
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2008-04-30 | 2007-10-01 | 2009-09-30 | ug/L | 0.97824 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18605 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | . | 0.06 | 0.182 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97824 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 | Y | 7 | 0.84005 | 0.097398 | 0.83213 | 0.20857 | 0.15461
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2008-06-19 | 2007-10-01 | 2009-09-30 | ug/L | 0.9582 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18681 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | . | 0.06 | 0.179 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9582 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 | Y | 7 | 0.84005 | 0.097398 | 0.83213 | 0.20857 | 0.15461
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2008-07-30 | 2007-10-01 | 2009-09-30 | ug/L | 0.77967 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18469 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | . | 0.06 | 0.144 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77967 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 | Y | 7 | 0.84005 | 0.097398 | 0.83213 | 0.20857 | 0.15461
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2009-03-26 | 2007-10-01 | 2009-09-30 | ug/L | 0.74963 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.19743 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | . | 0.06 | 0.148 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74963 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 | Y | 7 | 0.84005 | 0.097398 | 0.83213 | 0.20857 | 0.15461
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2009-05-06 | 2007-10-01 | 2009-09-30 | ug/L | 0.85129 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18795 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | . | 0.06 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85129 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 | Y | 7 | 0.84005 | 0.097398 | 0.83213 | 0.20857 | 0.15461
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2009-06-17 | 2007-10-01 | 2009-09-30 | ug/L | 0.83213 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18507 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | . | 0.06 | 0.154 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83213 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 | Y | 7 | 0.84005 | 0.097398 | 0.83213 | 0.20857 | 0.15461
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2009-07-28 | 2007-10-01 | 2009-09-30 | ug/L | 0.73118 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18737 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | . | 0.06 | 0.137 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73118 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 | Y | 7 | 0.84005 | 0.097398 | 0.83213 | 0.20857 | 0.15461
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2008-04-04 | 2007-10-01 | 2009-09-30 | ug/L | 0.41118 | Protocol | I1070803003 | Protocol I1070803003: 50 µl | 0.051072 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.06 | 0.021 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.41118 | Protocol I1070803003 | [9 empty] | Y | Estimated Values | Y | 1 | Y | 4 | 0.34709 | 0.045772 | 0.33721 | 0.057106 | 0.042332
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2008-05-16 | 2007-10-01 | 2009-09-30 | ug/L | 0.33431 | Protocol | I1070803003 | Protocol I1070803003: 50 µl | 0.050851 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.06 | 0.017 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.33431 | Protocol I1070803003 | [9 empty] | Y | Estimated Values | Y | 1 | Y | 4 | 0.34709 | 0.045772 | 0.33721 | 0.057106 | 0.042332
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2008-06-24 | 2007-10-01 | 2009-09-30 | ug/L | 0.3401 | Protocol | I1070803003 | Protocol I1070803003: 50 µl | 0.049985 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.06 | 0.017 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.3401 | Protocol I1070803003 | [9 empty] | Y | Estimated Values | Y | 1 | Y | 4 | 0.34709 | 0.045772 | 0.33721 | 0.057106 | 0.042332
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2008-08-14 | 2007-10-01 | 2009-09-30 | ug/L | 0.30276 | Protocol | I1070803003 | Protocol I1070803003: 50 µl | 0.049544 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.06 | 0.015 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.30276 | Protocol I1070803003 | [9 empty] | Y | Estimated Values | Y | 1 | Y | 4 | 0.34709 | 0.045772 | 0.33721 | 0.057106 | 0.042332
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2008-12-10 | 2007-10-01 | 2009-09-30 | ug/L | 0.82467 | Restek, Restek | A063332, A062398 | Restek A063332: 30 µl & Restek A062398: 30 µl | 0.15521 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | . | 0.06 | 0.128 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82467 | ReA063332, ReA062398 | Re | Re | Re | A063332 | A062398 | A062398 |  |  |  | Y | Recoverable Result | Y | 2 | Y | 5 | 0.78841 | 0.034432 | 0.78241 | 0.034967 | 0.02592
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2008-12-31 | 2007-10-01 | 2009-09-30 | ug/L | 0.78116 | Restek, Restek | A063332, A062398 | Restek A063332: 50 µl & Restek A062398: 50 µl | 0.26243 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | . | 0.06 | 0.205 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78116 | ReA063332, ReA062398 | Re | Re | Re | A063332 | A062398 | A062398 |  |  |  | Y | Recoverable Result | Y | 2 | Y | 5 | 0.78841 | 0.034432 | 0.78241 | 0.034967 | 0.02592
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2009-04-10 | 2007-10-01 | 2009-09-30 | ug/L | 0.73771 | Restek, Restek | A063332, A062398 | Restek A063332: 30 µl & Restek A062398: 30 µl | 0.16131 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | . | 0.06 | 0.119 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73771 | ReA063332, ReA062398 | Re | Re | Re | A063332 | A062398 | A062398 |  |  |  | Y | Recoverable Result | Y | 2 | Y | 5 | 0.78841 | 0.034432 | 0.78241 | 0.034967 | 0.02592
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2009-07-11 | 2007-10-01 | 2009-09-30 | ug/L | 0.81613 | Restek, Restek | A063332, A062398 | Restek A063332: 30 µl & Restek A062398: 30 µl | 0.15439 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | . | 0.06 | 0.126 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81613 | ReA063332, ReA062398 | Re | Re | Re | A063332 | A062398 | A062398 |  |  |  | Y | Recoverable Result | Y | 2 | Y | 5 | 0.78841 | 0.034432 | 0.78241 | 0.034967 | 0.02592
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2009-09-01 | 2007-10-01 | 2009-09-30 | ug/L | 0.78241 | Restek, Restek | A063332, A062398 | Restek A063332: 50 µl & Restek A062398: 50 µl | 0.25306 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | . | 0.06 | 0.198 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78241 | ReA063332, ReA062398 | Re | Re | Re | A063332 | A062398 | A062398 |  |  |  | Y | Recoverable Result | Y | 2 | Y | 5 | 0.78841 | 0.034432 | 0.78241 | 0.034967 | 0.02592
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2013-06-04 | 2010-10-01 | 2099-09-30 | ug/L | 0.8 | Restek, NSI, NSI | A088383, 062612-01, 718L-01-01 | Restek A088383: 50 µl & NSI 062612-01: 50 µl & NSI 718L-01-01: 50 µl | 0.25 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | . | 0.06 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | ReA088383, NS0622-01, NS7181-0 | Re | NS | NS | A088383 | 0622-01 | 7181-01 |  | 0622-01 | 7181-01 | Y | Recoverable Result | Y | 2 | Y | 1 | 0.8 |  | 0.8 | 0 | 0
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2008-03-11 | 2007-10-01 | 2009-09-30 | ug/L | 0.89508 | Restek | A053251 | Restek A053251: 50 µl | 0.051392 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.06 | 0.046 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.89508 | Restek A053251 | [9 empty] | Y | Estimated Values | Y | 1 | Y | 5 | 0.79096 | 0.15083 | 0.82016 | 0.1087 | 0.080577
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2008-04-30 | 2007-10-01 | 2009-09-30 | ug/L | 0.91498 | Restek | A053251 | Restek A053251: 50 µl | 0.050274 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.06 | 0.046 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.91498 | Restek A053251 | [9 empty] | Y | Estimated Values | Y | 1 | Y | 5 | 0.79096 | 0.15083 | 0.82016 | 0.1087 | 0.080577
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2008-06-03 | 2007-10-01 | 2009-09-30 | ug/L | 0.82016 | Restek | A053251 | Restek A053251: 50 µl | 0.04999 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.06 | 0.041 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.82016 | Restek A053251 | [9 empty] | Y | Estimated Values | Y | 1 | Y | 5 | 0.79096 | 0.15083 | 0.82016 | 0.1087 | 0.080577
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2008-07-23 | 2007-10-01 | 2009-09-30 | ug/L | 0.78638 | Restek | A053251 | Restek A053251: 50 µl | 0.049594 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.06 | 0.039 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.78638 | Restek A053251 | [9 empty] | Y | Estimated Values | Y | 1 | Y | 5 | 0.79096 | 0.15083 | 0.82016 | 0.1087 | 0.080577
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2008-08-28 | 2007-10-01 | 2009-09-30 | ug/L | 0.53818 | Restek | A053251 | Restek A053251: 50 µl | 0.050169 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.06 | 0.027 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.53818 | Restek A053251 | [9 empty] | Y | Estimated Values | Y | 1 | Y | 5 | 0.79096 | 0.15083 | 0.82016 | 0.1087 | 0.080577
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2011-01-04 | 2010-10-01 | 2099-09-30 | ug/L | 0.87475 | Restek | A075600 | Restek A075600: 40 µl | 0.14747 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | . | 0.06 | 0.129 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87475 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 11 | 0.89198 | 0.1018 | 0.87475 | 0.13477 | 0.099904
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2011-03-23 | 2010-10-01 | 2099-09-30 | ug/L | 0.97297 | Restek | A075600 | Restek A075600: 40 µl | 0.148 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | . | 0.06 | 0.144 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97297 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 11 | 0.89198 | 0.1018 | 0.87475 | 0.13477 | 0.099904
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2011-05-20 | 2010-10-01 | 2099-09-30 | ug/L | 0.91041 | Restek | A075600 | Restek A075600: 100 µl | 0.37456 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | . | 0.06 | 0.341 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91041 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 11 | 0.89198 | 0.1018 | 0.87475 | 0.13477 | 0.099904
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2011-06-10 | 2010-10-01 | 2099-09-30 | ug/L | 0.85956 | Restek | A075600 | Restek A075600: 40 µl | 0.14775 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | . | 0.06 | 0.127 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85956 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 11 | 0.89198 | 0.1018 | 0.87475 | 0.13477 | 0.099904
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2011-09-02 | 2010-10-01 | 2099-09-30 | ug/L | 0.74124 | Restek | A075600 | Restek A075600: 40 µl | 0.1484 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | . | 0.06 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74124 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 11 | 0.89198 | 0.1018 | 0.87475 | 0.13477 | 0.099904
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2011-09-13 | 2010-10-01 | 2099-09-30 | ug/L | 0.79784 | Restek | A075600 | Restek A075600: 100 µl | 0.371 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | . | 0.06 | 0.296 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79784 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 11 | 0.89198 | 0.1018 | 0.87475 | 0.13477 | 0.099904
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2011-11-29 | 2010-10-01 | 2099-09-30 | ug/L | 1.1186 | Restek | A075600 | Restek A075600: 40 µl | 0.1484 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | . | 0.06 | 0.166 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1186 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 11 | 0.89198 | 0.1018 | 0.87475 | 0.13477 | 0.099904
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2012-02-13 | 2010-10-01 | 2099-09-30 | ug/L | 0.92992 | Restek | A075600 | Restek A075600: 100 µl | 0.371 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | . | 0.06 | 0.345 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92992 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 11 | 0.89198 | 0.1018 | 0.87475 | 0.13477 | 0.099904
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2012-03-26 | 2010-10-01 | 2099-09-30 | ug/L | 0.9434 | Restek | A075600 | Restek A075600: 40 µl | 0.1484 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | . | 0.06 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9434 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 11 | 0.89198 | 0.1018 | 0.87475 | 0.13477 | 0.099904
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2012-05-02 | 2010-10-01 | 2099-09-30 | ug/L | 0.80863 | Restek | A075600 | Restek A075600: 40 µl | 0.1484 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | . | 0.06 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80863 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 11 | 0.89198 | 0.1018 | 0.87475 | 0.13477 | 0.099904
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2012-05-22 | 2010-10-01 | 2099-09-30 | ug/L | 0.85445 | Restek | A075600 | Restek A075600: 100 µl | 0.371 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | . | 0.06 | 0.317 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85445 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 11 | 0.89198 | 0.1018 | 0.87475 | 0.13477 | 0.099904
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2013-08-17 | 2010-10-01 | 2099-09-30 | ug/L | 0.628 | Spex Organics, NSI, Supelco | T1130601011, 050613, LC01386 | Spex Organics T1130601011: 50 µl & NSI 050613: 50 µl & Supelco LC01386: 50 µl | 0.25 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | . | 0.06 | 0.157 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.628 | SpT111011, NS050613, SuLC01386 | Sp | NS | Su | T111011 | 050613 | LC01386 | T111011 |  |  | Y | Recoverable Result | Y | 2 | Y | 1 | 0.628 |  | 0.628 | 0 | 0
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2012-09-13 | 2010-10-01 | 2099-09-30 | ug/L | 0.98 | Spex Organics, NSI, NSI | T1120525009, 062612-01, 718L-01-01 | Spex Organics T1120525009: 20 µl & NSI 062612-01: 20 µl & NSI 718L-01-01: 20 µl | 0.1 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | . | 0.06 | 0.098 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98 | SpT115009, NS0622-01, NS7181-0 | Sp | NS | NS | T115009 | 0622-01 | 7181-01 | T115009 | 0622-01 | 7181-01 | Y | Recoverable Result | Y | 2 | Y | 2 | 0.942 | 0.05374 | 0.942 | 0.076 | 0.056338
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2013-01-18 | 2010-10-01 | 2099-09-30 | ug/L | 0.904 | Spex Organics, NSI, NSI | T1120525009, 062612-01, 718L-01-01 | Spex Organics T1120525009: 100 µl & NSI 062612-01: 100 µl & NSI 718L-01-01: 100 | 0.5 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | . | 0.06 | 0.452 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.904 | SpT115009, NS0622-01, NS7181-0 | Sp | NS | NS | T115009 | 0622-01 | 7181-01 | T115009 | 0622-01 | 7181-01 | Y | Recoverable Result | Y | 2 | Y | 2 | 0.942 | 0.05374 | 0.942 | 0.076 | 0.056338
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2012-07-18 | 2010-10-01 | 2099-09-30 | ug/L | 1.0739 | Spex Organics, Supelco | T1120525009, LB92941 | Spex Organics T1120525009: 50 µl & Supelco LB92941: 50 µl | 0.2505 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | . | 0.06 | 0.269 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0739 | SpT115009, SuLB92941 | Sp | Su | Su | T115009 | LB92941 | LB92941 | T115009 |  |  | Y | Recoverable Result | Y | 2 | Y | 1 | 1.0739 |  | 1.0739 | 0 | 0
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2012-12-05 | 2010-10-01 | 2099-09-30 | ug/L | 0.86826 | Supelco, ChemService | LB92941, 396400 | Supelco LB92941: 20 µl & ChemService 396400: 20 µl | 0.1002 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | . | 0.06 | 0.087 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86826 | SuLB92941, Ch396400 | Su | Ch | Ch | LB92941 | 396400 | 396400 |  |  |  | Y | Recoverable Result | Y | 2 | Y | 2 | 0.88822 | 0.028228 | 0.88822 | 0.03992 | 0.029592
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2013-02-13 | 2010-10-01 | 2099-09-30 | ug/L | 0.90818 | Supelco, ChemService | LB92941, 396400 | Supelco LB92941: 20 µl & ChemService 396400: 20 µl | 0.1002 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | . | 0.06 | 0.091 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90818 | SuLB92941, Ch396400 | Su | Ch | Ch | LB92941 | 396400 | 396400 |  |  |  | Y | Recoverable Result | Y | 2 | Y | 2 | 0.88822 | 0.028228 | 0.88822 | 0.03992 | 0.029592
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2060 | 04040LCM29 | 2012-07-09 | 2010-10-01 | 2099-09-30 | ug/L | 0.7984 | Supelco | LB92941 | Supelco LB92941: 20 µl | 0.1002 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | . | 0.06 | 0.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7984 | Supelco LB92941 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 1 | 0.7984 |  | 0.7984 | 0 | 0