## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2013-11-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.58603 | Abs, Accu, NSI | 042513, 213041030, 050613 | Abs 042513: 20 µl & Accu 213041030: 20 µl & NSI 050613: 20 µl | 0.1604 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.08 | 0.094 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58603 | Ab042513, Ac2131030, NS050613 | Ab | Ac | NS | 042513 | 2131030 | 050613 |  | 2131030 |  | Y | Recoverable Result | Y | 2 | Y | 1 | 0.58603 |  | 0.58603 | 0 | 0
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2013-07-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.95511 | Abs, ChemService | 042513, 1448600 | Abs 042513: 50 µl & ChemService 1448600: 50 µl | 0.401 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.08 | 0.383 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95511 | Ab042513, Ch1448600 | Ab | Ch | Ch | 042513 | 1448600 | 1448600 |  |  |  | Y | Recoverable Result | Y | 2 | Y | 1 | 0.95511 |  | 0.95511 | 0 | 0
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2013-11-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.58365 | Abs, NSI | 042513, 042213HPLC | Abs 042513: 20 µl & NSI 042213HPLC: 20 µl | 0.3204 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.08 | 0.187 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58365 | Ab042513, NS042HPLC | Ab | NS | NS | 042513 | 042HPLC | 042HPLC |  | 042HPLC | 042HPLC | Y | Recoverable Result | Y | 2 | Y | 1 | 0.58365 |  | 0.58365 | 0 | 0
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2013-06-26 | 2011-10-01 | 2050-09-30 | ug/L | 1.1361 | Abs, NSI, NSI | 042513, 042213HPLC, 050613 | Abs 042513: 50 µl & NSI 042213HPLC: 50 µl & NSI 050613: 50 µl | 0.801 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.08 | 0.91 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1361 | Ab042513, NS042HPLC, NS050613 | Ab | NS | NS | 042513 | 042HPLC | 050613 |  | 042HPLC |  | Y | Recoverable Result | Y | 2 | Y | 1 | 1.1361 |  | 1.1361 | 0 | 0
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2014-01-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.24657 | Abs, Supelco, NSI | 042513, LC01386, 050613 | Abs 042513: 20 µl & Supelco LC01386: 20 µl & NSI 050613: 20 µl | 0.3204 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.08 | 0.079 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.24657 | Ab042513, SuLC01386, NS050613 | Ab | Su | NS | 042513 | LC01386 | 050613 |  |  |  | Y | Recoverable Result | Y | 2 | Y | 1 | 0.24657 |  | 0.24657 | 0 | 0
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2012-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.76 | Abs, NSI, NSI | 052312, 062612-01, 718L-01-01 | Abs 052312: 20 µl & NSI 062612-01: 20 µl & NSI 718L-01-01: 20 µl | 0.1 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.08 | 0.076 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76 | Ab052312, NS0622-01, NS7181-01 | Ab | NS | NS | 052312 | 0622-01 | 7181-01 |  | 0622-01 | 7181-01 | Y | Recoverable Result | Y | 2 | Y | 1 | 0.76 |  | 0.76 | 0 | 0
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2013-03-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.85737 | Abs, Supelco | 052312, LB92941 | Abs 052312: 50 µl & Supelco LB92941: 50 µl | 0.2496 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.08 | 0.214 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85737 | Ab052312, SuLB92941 | Ab | Su | Su | 052312 | LB92941 | LB92941 |  |  |  | Y | Recoverable Result | Y | 2 | Y | 2 | 0.96354 | 0.15015 | 0.96354 | 0.21234 | 0.15741
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2013-05-02 | 2011-10-01 | 2050-09-30 | ug/L | 1.0697 | Abs, Supelco | 052312, LB92941 | Abs 052312: 50 µl & Supelco LB92941: 50 µl | 0.2496 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.08 | 0.267 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0697 | Ab052312, SuLB92941 | Ab | Su | Su | 052312 | LB92941 | LB92941 |  |  |  | Y | Recoverable Result | Y | 2 | Y | 2 | 0.96354 | 0.15015 | 0.96354 | 0.21234 | 0.15741
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2008-02-12 | 2007-01-01 | 2008-09-30 | ug/L | 0.75905 | Abs | 071607LC | Abs 071607LC: 50 µl | 0.22396 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.08 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75905 | Abs 071607LC | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 5 | 0.92291 | 0.11058 | 0.91431 | 0.10391 | 0.077027
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2008-04-04 | 2007-01-01 | 2008-09-30 | ug/L | 0.89508 | Abs | 071607LC | Abs 071607LC: 50 µl | 0.22344 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.08 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89508 | Abs 071607LC | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 5 | 0.92291 | 0.11058 | 0.91431 | 0.10391 | 0.077027
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2008-05-16 | 2007-01-01 | 2008-09-30 | ug/L | 0.99899 | Abs | 071607LC | Abs 071607LC: 50 µl | 0.22022 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.08 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99899 | Abs 071607LC | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 5 | 0.92291 | 0.11058 | 0.91431 | 0.10391 | 0.077027
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2008-07-09 | 2007-01-01 | 2008-09-30 | ug/L | 0.91431 | Abs | 071607LC | Abs 071607LC: 50 µl | 0.21874 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.08 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91431 | Abs 071607LC | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 5 | 0.92291 | 0.11058 | 0.91431 | 0.10391 | 0.077027
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2008-09-09 | 2007-01-01 | 2008-09-30 | ug/L | 1.0471 | Abs | 071607LC | Abs 071607LC: 50 µl | 0.21965 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.08 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0471 | Abs 071607LC | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 5 | 0.92291 | 0.11058 | 0.91431 | 0.10391 | 0.077027
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2008-10-31 | 2008-10-01 | 2009-09-30 | ug/L | 0.81671 | Abs | 081508Polar | Abs 081508Polar: 50 µl | 0.18366 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.06 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81671 | Abs 081508Polar | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 5 | 0.789 | 0.075051 | 0.80296 | 0.093046 | 0.068974
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2008-12-30 | 2008-10-01 | 2009-09-30 | ug/L | 0.89308 | Abs | 081508Polar | Abs 081508Polar: 30 µl | 0.11197 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.06 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89308 | Abs 081508Polar | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 5 | 0.789 | 0.075051 | 0.80296 | 0.093046 | 0.068974
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2009-04-30 | 2008-10-01 | 2009-09-30 | ug/L | 0.80297 | Abs | 081508Polar | Abs 081508Polar: 30 µl | 0.11208 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.06 | 0.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80296 | Abs 081508Polar | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 5 | 0.789 | 0.075051 | 0.80296 | 0.093046 | 0.068974
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2009-07-28 | 2008-10-01 | 2009-09-30 | ug/L | 0.72367 | Abs | 081508Polar | Abs 081508Polar: 30 µl | 0.11055 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.06 | 0.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72367 | Abs 081508Polar | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 5 | 0.789 | 0.075051 | 0.80296 | 0.093046 | 0.068974
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2009-09-01 | 2008-10-01 | 2009-09-30 | ug/L | 0.70859 | Abs | 081508Polar | Abs 081508Polar: 50 µl | 0.18346 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.06 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70859 | Abs 081508Polar | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 5 | 0.789 | 0.075051 | 0.80296 | 0.093046 | 0.068974
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2013-09-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.50625 | Accu, NSI, Supelco | 213041030, 050613, LC01386 | Accu 213041030: 20 µl & NSI 050613: 20 µl & Supelco LC01386: 20 µl | 0.16 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.08 | 0.081 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50625 | Ac2131030, NS050613, SuLC01386 | Ac | NS | Su | 2131030 | 050613 | LC01386 | 2131030 |  |  | Y | Recoverable Result | Y | 2 | Y | 1 | 0.50625 |  | 0.50625 | 0 | 0
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2008-02-12 | 2007-01-01 | 2008-09-30 | ug/L | 0.7538 | Accu | B7070230 | Accu B7070230: 50 µl | 0.22553 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.08 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7538 | Accu B7070230 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 6 | 0.74887 | 0.073141 | 0.77025 | 0.13215 | 0.097962
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2008-04-04 | 2007-01-01 | 2008-09-30 | ug/L | 0.80231 | Accu | B7070230 | Accu B7070230: 50 µl | 0.22435 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.08 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80231 | Accu B7070230 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 6 | 0.74887 | 0.073141 | 0.77025 | 0.13215 | 0.097962
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2008-06-19 | 2007-01-01 | 2008-09-30 | ug/L | 0.67016 | Accu | B7070230 | Accu B7070230: 50 µl | 0.22383 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.08 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67016 | Accu B7070230 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 6 | 0.74887 | 0.073141 | 0.77025 | 0.13215 | 0.097962
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2008-07-30 | 2007-01-01 | 2008-09-30 | ug/L | 0.65043 | Accu | B7070230 | Accu B7070230: 50 µl | 0.21524 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.08 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65043 | Accu B7070230 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 6 | 0.74887 | 0.073141 | 0.77025 | 0.13215 | 0.097962
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2008-09-25 | 2007-01-01 | 2008-09-30 | ug/L | 0.8298 | Accu | B7070230 | Accu B7070230: 50 µl | 0.21692 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.08 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8298 | Accu B7070230 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 6 | 0.74887 | 0.073141 | 0.77025 | 0.13215 | 0.097962
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2008-09-25 | 2007-01-01 | 2008-09-30 | ug/L | 0.78671 | Accu | B7070230 | Accu B7070230: 50 µl | 0.21609 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.08 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78671 | Accu B7070230 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 6 | 0.74887 | 0.073141 | 0.77025 | 0.13215 | 0.097962
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2013-11-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.715 | ChemService, NSI, Supelco | 1448600, 050613, LC01386 | ChemService 1448600: 50 µl & NSI 050613: 50 µl & Supelco LC01386: 50 µl | 0.4 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.08 | 0.286 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.715 | Ch1448600, NS050613, SuLC01386 | Ch | NS | Su | 1448600 | 050613 | LC01386 |  |  |  | Y | Recoverable Result | Y | 2 | Y | 1 | 0.715 |  | 0.715 | 0 | 0
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2008-11-19 | 2008-10-01 | 2009-09-30 | ug/L | 0.44457 | ChemService | 406-113B | ChemService 406-113B: 50 µl | 0.17995 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.06 | 0.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.44457 | ChemService 406-113B | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 5 | 0.81003 | 0.42736 | 0.72804 | 0.30155 | 0.22354
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2009-03-03 | 2008-10-01 | 2009-09-30 | ug/L | 0.52614 | ChemService | 406-113B | ChemService 406-113B: 30 µl | 0.11404 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.06 | 0.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52614 | ChemService 406-113B | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 5 | 0.81003 | 0.42736 | 0.72804 | 0.30155 | 0.22354
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2009-06-17 | 2008-10-01 | 2009-09-30 | ug/L | 1.5237 | ChemService | 406-113B | ChemService 406-113B: 50 µl | 0.18376 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.06 | 0.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5237 | ChemService 406-113B | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 5 | 0.81003 | 0.42736 | 0.72804 | 0.30155 | 0.22354
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2009-08-13 | 2008-10-01 | 2009-09-30 | ug/L | 0.82769 | ChemService | 406-113B | ChemService 406-113B: 30 µl | 0.10874 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.06 | 0.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82769 | ChemService 406-113B | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 5 | 0.81003 | 0.42736 | 0.72804 | 0.30155 | 0.22354
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2009-09-23 | 2008-10-01 | 2009-09-30 | ug/L | 0.72804 | ChemService | 406-113B | ChemService 406-113B: 30 µl | 0.10988 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.06 | 0.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72804 | ChemService 406-113B | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 5 | 0.81003 | 0.42736 | 0.72804 | 0.30155 | 0.22354
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2009-11-19 | 2009-10-01 | 2010-09-30 | ug/L | 0.95637 | Crescent | 08LL073 | Crescent 08LL073: 40 µl | 0.079468 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.06 | 0.076 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95636 | Crescent 08LL073 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 4 | 0.8443 | 0.075227 | 0.81265 | 0.084821 | 0.062877
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2010-03-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.81707 | Crescent | 08LL073 | Crescent 08LL073: 40 µl | 0.082001 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.06 | 0.067 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81707 | Crescent 08LL073 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 4 | 0.8443 | 0.075227 | 0.81265 | 0.084821 | 0.062877
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2010-06-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.79555 | Crescent | 08LL073 | Crescent 08LL073: 40 µl | 0.082962 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.06 | 0.066 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79555 | Crescent 08LL073 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 4 | 0.8443 | 0.075227 | 0.81265 | 0.084821 | 0.062877
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2010-07-26 | 2009-10-01 | 2010-09-30 | ug/L | 0.80824 | Crescent | 08LL073 | Crescent 08LL073: 40 µl | 0.079184 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.06 | 0.064 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80824 | Crescent 08LL073 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 4 | 0.8443 | 0.075227 | 0.81265 | 0.084821 | 0.062877
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2010-11-29 | 2010-10-01 | 2011-09-30 | ug/L | 0.5151 | Crescent | 163162 | Crescent 163162: 40 µl | 0.09901 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.06 | 0.051 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5151 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 10 | 0.71819 | 0.1406 | 0.739 | 0.276 | 0.2046
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2011-02-24 | 2010-10-01 | 2011-09-30 | ug/L | 0.82612 | Crescent | 163162 | Crescent 163162: 40 µl | 0.098049 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.06 | 0.081 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82612 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 10 | 0.71819 | 0.1406 | 0.739 | 0.276 | 0.2046
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2011-04-13 | 2010-10-01 | 2011-09-30 | ug/L | 0.70077 | Crescent | 163162 | Crescent 163162: 100 µl | 0.24973 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.06 | 0.175 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70077 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 10 | 0.71819 | 0.1406 | 0.739 | 0.276 | 0.2046
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2011-05-20 | 2010-10-01 | 2011-09-30 | ug/L | 0.52588 | Crescent | 163162 | Crescent 163162: 40 µl | 0.098883 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.06 | 0.052 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52588 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 10 | 0.71819 | 0.1406 | 0.739 | 0.276 | 0.2046
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2011-07-18 | 2010-10-01 | 2011-09-30 | ug/L | 0.836 | Crescent | 163162 | Crescent 163162: 100 µl | 0.25 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.06 | 0.209 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.836 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 10 | 0.71819 | 0.1406 | 0.739 | 0.276 | 0.2046
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2011-07-19 | 2010-10-01 | 2011-09-30 | ug/L | 0.56 | Crescent | 163162 | Crescent 163162: 40 µl | 0.1 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.06 | 0.056 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 10 | 0.71819 | 0.1406 | 0.739 | 0.276 | 0.2046
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2011-10-31 | 2011-10-01 | 2050-09-30 | ug/L | 0.71 | Crescent | 163162 | Crescent 163162: 40 µl | 0.1 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.08 | 0.071 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 10 | 0.71819 | 0.1406 | 0.739 | 0.276 | 0.2046
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2012-01-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.768 | Crescent | 163162 | Crescent 163162: 100 µl | 0.25 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.08 | 0.192 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.768 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 10 | 0.71819 | 0.1406 | 0.739 | 0.276 | 0.2046
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2012-03-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.86 | Crescent | 163162 | Crescent 163162: 40 µl | 0.1 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.08 | 0.086 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 10 | 0.71819 | 0.1406 | 0.739 | 0.276 | 0.2046
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2012-06-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.88 | Crescent | 163162 | Crescent 163162: 40 µl | 0.1 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.08 | 0.088 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 10 | 0.71819 | 0.1406 | 0.739 | 0.276 | 0.2046
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2013-09-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.6525 | NSI, Accu, Supelco | 042213HPLC, 213041030, LC00372 | NSI 042213HPLC: 50 µl & Accu 213041030: 50 µl & Supelco LC00372: 50 µl | 0.4 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.08 | 0.261 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6525 | NS042HPLC, Ac2131030, SuLC0037 | NS | Ac | Su | 042HPLC | 2131030 | LC00372 | 042HPLC | 2131030 |  | Y | Recoverable Result | Y | 2 | Y | 1 | 0.6525 |  | 0.6525 | 0 | 0
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2013-06-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.89375 | NSI, ChemService, NSI | 042213HPLC, 1448600, 050613 | NSI 042213HPLC: 20 µl & ChemService 1448600: 20 µl & NSI 050613: 20 µl | 0.16 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.08 | 0.143 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89375 | NS042HPLC, Ch1448600, NS050613 | NS | Ch | NS | 042HPLC | 1448600 | 050613 | 042HPLC |  |  | Y | Recoverable Result | Y | 2 | Y | 1 | 0.89375 |  | 0.89375 | 0 | 0
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2012-08-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.64 | NSI, NSI, ChemService | 062612-01, 718L-01-01, 396400 | NSI 062612-01: 20 µl & NSI 718L-01-01: 20 µl & ChemService 396400: 20 µl | 0.1 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.08 | 0.064 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64 | NS0622-01, NS7181-01, Ch396400 | NS | NS | Ch | 0622-01 | 7181-01 | 396400 | 0622-01 | 7181-01 |  | Y | Recoverable Result | Y | 2 | Y | 1 | 0.64 |  | 0.64 | 0 | 0
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2012-09-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.67 | NSI, NSI, Restek | 062612-01, 718L-01-01, A088383 | NSI 062612-01: 20 µl & NSI 718L-01-01: 20 µl & Restek A088383: 20 µl | 0.1 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.08 | 0.067 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67 | NS0622-01, NS7181-01, ReA08838 | NS | NS | Re | 0622-01 | 7181-01 | A088383 | 0622-01 | 7181-01 |  | Y | Recoverable Result | Y | 2 | Y | 1 | 0.67 |  | 0.67 | 0 | 0
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2009-12-29 | 2009-10-01 | 2010-09-30 | ug/L | 0.95194 | NSI | 090309-01HPLC | NSI 090309-01HPLC: 80 µl | 0.15652 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.06 | 0.149 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95194 | NSI 090309-01HPLC | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 4 | 0.71824 | 0.15588 | 0.64237 | 0.16264 | 0.12056
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2010-05-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.63628 | NSI | 090309-01HPLC | NSI 090309-01HPLC: 40 µl | 0.080154 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | E | 0.06 | 0.051 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63628 | NSI 090309-01HPLC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.71824 | 0.15588 | 0.64237 | 0.16264 | 0.12056
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2010-07-01 | 2009-10-01 | 2010-09-30 | ug/L | 0.64717 | NSI | 090309-01HPLC | NSI 090309-01HPLC: 80 µl | 0.16225 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.06 | 0.105 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64717 | NSI 090309-01HPLC | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 4 | 0.71824 | 0.15588 | 0.64237 | 0.16264 | 0.12056
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2010-09-01 | 2009-10-01 | 2010-09-30 | ug/L | 0.63756 | NSI | 090309-01HPLC | NSI 090309-01HPLC: 40 µl | 0.078424 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | E | 0.06 | 0.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63756 | NSI 090309-01HPLC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.71824 | 0.15588 | 0.64237 | 0.16264 | 0.12056
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2010-05-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.7376 | NWQL, NWQL | LCL11SP079A, LCL11SP079B | NWQL LCL11SP079A: 50 µl & NWQL LCL11SP079B: 50 µl | 0.12608 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.06 | 0.093 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7376 | NWLCL079A, NWLCL079B | NW | NW | NW | LCL079A | LCL079B | LCL079B | LCL079A | LCL079B | LCL079B | Y | Recoverable Result | Y | 2 | Y | 3 | 0.84522 | 0.098342 | 0.86764 | 0.19281 | 0.14293
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2010-07-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.93041 | NWQL, NWQL | LCL11SP079A, LCL11SP079B | NWQL LCL11SP079A: 50 µl & NWQL LCL11SP079B: 50 µl | 0.12468 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.06 | 0.116 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93041 | NWLCL079A, NWLCL079B | NW | NW | NW | LCL079A | LCL079B | LCL079B | LCL079A | LCL079B | LCL079B | Y | Recoverable Result | Y | 2 | Y | 3 | 0.84522 | 0.098342 | 0.86764 | 0.19281 | 0.14293
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2010-09-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.86764 | NWQL, NWQL | LCL11SP079A, LCL11SP079B | NWQL LCL11SP079A: 50 µl & NWQL LCL11SP079B: 50 µl | 0.12563 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.06 | 0.109 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86764 | NWLCL079A, NWLCL079B | NW | NW | NW | LCL079A | LCL079B | LCL079B | LCL079A | LCL079B | LCL079B | Y | Recoverable Result | Y | 2 | Y | 3 | 0.84522 | 0.098342 | 0.86764 | 0.19281 | 0.14293
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2008-04-30 | 2007-01-01 | 2008-09-30 | ug/L | 0.96749 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18605 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.08 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96749 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 | Y | 7 | 0.73949 | 0.14494 | 0.70245 | 0.16482 | 0.12218
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2008-06-19 | 2007-01-01 | 2008-09-30 | ug/L | 0.85649 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18681 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.08 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85649 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 | Y | 7 | 0.73949 | 0.14494 | 0.70245 | 0.16482 | 0.12218
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2008-07-30 | 2007-01-01 | 2008-09-30 | ug/L | 0.75802 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18469 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.08 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75802 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 | Y | 7 | 0.73949 | 0.14494 | 0.70245 | 0.16482 | 0.12218
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2009-03-26 | 2008-10-01 | 2009-09-30 | ug/L | 0.50651 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.19743 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.06 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50651 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 | Y | 7 | 0.73949 | 0.14494 | 0.70245 | 0.16482 | 0.12218
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2009-05-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.69167 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18795 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.06 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69167 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 | Y | 7 | 0.73949 | 0.14494 | 0.70245 | 0.16482 | 0.12218
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2009-06-17 | 2008-10-01 | 2009-09-30 | ug/L | 0.70245 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18507 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.06 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70245 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 | Y | 7 | 0.73949 | 0.14494 | 0.70245 | 0.16482 | 0.12218
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2009-07-28 | 2008-10-01 | 2009-09-30 | ug/L | 0.69382 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18737 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.06 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69382 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 | Y | 7 | 0.73949 | 0.14494 | 0.70245 | 0.16482 | 0.12218
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2013-06-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.86 | Restek, NSI, NSI | A088383, 062612-01, 718L-01-01 | Restek A088383: 50 µl & NSI 062612-01: 50 µl & NSI 718L-01-01: 50 µl | 0.25 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.08 | 0.215 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86 | ReA088383, NS0622-01, NS7181-0 | Re | NS | NS | A088383 | 0622-01 | 7181-01 |  | 0622-01 | 7181-01 | Y | Recoverable Result | Y | 2 | Y | 1 | 0.86 |  | 0.86 | 0 | 0
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2011-01-04 | 2010-10-01 | 2011-09-30 | ug/L | 0.61879 | Restek | A075600 | Restek A075600: 40 µl | 0.098579 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.06 | 0.061 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61879 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 11 | 0.69861 | 0.12736 | 0.6885 | 0.24417 | 0.181
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2011-03-23 | 2010-10-01 | 2011-09-30 | ug/L | 0.82884 | Restek | A075600 | Restek A075600: 40 µl | 0.098933 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.06 | 0.082 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82884 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 11 | 0.69861 | 0.12736 | 0.6885 | 0.24417 | 0.181
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2011-05-20 | 2010-10-01 | 2011-09-30 | ug/L | 0.60708 | Restek | A075600 | Restek A075600: 100 µl | 0.25038 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.06 | 0.152 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60708 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 11 | 0.69861 | 0.12736 | 0.6885 | 0.24417 | 0.181
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2011-06-10 | 2010-10-01 | 2011-09-30 | ug/L | 0.6885 | Restek | A075600 | Restek A075600: 40 µl | 0.098765 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.06 | 0.068 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6885 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 11 | 0.69861 | 0.12736 | 0.6885 | 0.24417 | 0.181
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2011-09-02 | 2010-10-01 | 2011-09-30 | ug/L | 0.58468 | Restek | A075600 | Restek A075600: 40 µl | 0.0992 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.06 | 0.058 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58468 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 11 | 0.69861 | 0.12736 | 0.6885 | 0.24417 | 0.181
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2011-09-13 | 2010-10-01 | 2011-09-30 | ug/L | 0.55645 | Restek | A075600 | Restek A075600: 100 µl | 0.248 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.06 | 0.138 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55645 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 11 | 0.69861 | 0.12736 | 0.6885 | 0.24417 | 0.181
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2011-11-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.92742 | Restek | A075600 | Restek A075600: 40 µl | 0.0992 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.08 | 0.092 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92742 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 11 | 0.69861 | 0.12736 | 0.6885 | 0.24417 | 0.181
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2012-02-13 | 2011-10-01 | 2050-09-30 | ug/L | 0.84274 | Restek | A075600 | Restek A075600: 100 µl | 0.248 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.08 | 0.209 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84274 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 11 | 0.69861 | 0.12736 | 0.6885 | 0.24417 | 0.181
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2012-03-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.77621 | Restek | A075600 | Restek A075600: 40 µl | 0.0992 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.08 | 0.077 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77621 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 11 | 0.69861 | 0.12736 | 0.6885 | 0.24417 | 0.181
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2012-05-02 | 2011-10-01 | 2050-09-30 | ug/L | 0.56452 | Restek | A075600 | Restek A075600: 40 µl | 0.0992 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.08 | 0.056 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56452 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 11 | 0.69861 | 0.12736 | 0.6885 | 0.24417 | 0.181
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2012-05-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.68952 | Restek | A075600 | Restek A075600: 100 µl | 0.248 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.08 | 0.171 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68952 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 11 | 0.69861 | 0.12736 | 0.6885 | 0.24417 | 0.181
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2013-08-17 | 2011-10-01 | 2050-09-30 | ug/L | 0.44 | Spex Organics, NSI, Supelco | T1130601011, 050613, LC01386 | Spex Organics T1130601011: 50 µl & NSI 050613: 50 µl & Supelco LC01386: 50 µl | 0.4 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.08 | 0.176 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.44 | SpT111011, NS050613, SuLC01386 | Sp | NS | Su | T111011 | 050613 | LC01386 | T111011 |  |  | Y | Recoverable Result | Y | 2 | Y | 1 | 0.44 |  | 0.44 | 0 | 0
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2012-09-13 | 2011-10-01 | 2050-09-30 | ug/L | 0.85 | Spex Organics, NSI, NSI | T1120525009, 062612-01, 718L-01-01 | Spex Organics T1120525009: 20 µl & NSI 062612-01: 20 µl & NSI 718L-01-01: 20 µl | 0.1 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.08 | 0.085 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85 | SpT115009, NS0622-01, NS7181-0 | Sp | NS | NS | T115009 | 0622-01 | 7181-01 | T115009 | 0622-01 | 7181-01 | Y | Recoverable Result | Y | 2 | Y | 2 | 0.815 | 0.049497 | 0.815 | 0.07 | 0.05189
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2013-01-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.78 | Spex Organics, NSI, NSI | T1120525009, 062612-01, 718L-01-01 | Spex Organics T1120525009: 100 µl & NSI 062612-01: 100 µl & NSI 718L-01-01: 100 | 0.5 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.08 | 0.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78 | SpT115009, NS0622-01, NS7181-0 | Sp | NS | NS | T115009 | 0622-01 | 7181-01 | T115009 | 0622-01 | 7181-01 | Y | Recoverable Result | Y | 2 | Y | 2 | 0.815 | 0.049497 | 0.815 | 0.07 | 0.05189
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2012-07-18 | 2011-10-01 | 2050-09-30 | ug/L | 1.0617 | Spex Organics, Supelco | T1120525009, LB92941 | Spex Organics T1120525009: 50 µl & Supelco LB92941: 50 µl | 0.2496 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.08 | 0.265 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0617 | SpT115009, SuLB92941 | Sp | Su | Su | T115009 | LB92941 | LB92941 | T115009 |  |  | Y | Recoverable Result | Y | 2 | Y | 1 | 1.0617 |  | 1.0617 | 0 | 0
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2012-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.71114 | Supelco, ChemService | LB92941, 396400 | Supelco LB92941: 20 µl & ChemService 396400: 20 µl | 0.09984 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.08 | 0.071 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71114 | SuLB92941, Ch396400 | Su | Ch | Ch | LB92941 | 396400 | 396400 |  |  |  | Y | Recoverable Result | Y | 2 | Y | 2 | 0.76623 | 0.077906 | 0.76623 | 0.11018 | 0.081673
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2013-02-13 | 2011-10-01 | 2050-09-30 | ug/L | 0.82131 | Supelco, ChemService | LB92941, 396400 | Supelco LB92941: 20 µl & ChemService 396400: 20 µl | 0.09984 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.08 | 0.082 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82131 | SuLB92941, Ch396400 | Su | Ch | Ch | LB92941 | 396400 | 396400 |  |  |  | Y | Recoverable Result | Y | 2 | Y | 2 | 0.76623 | 0.077906 | 0.76623 | 0.11018 | 0.081673
DEISOPROPYLATRAZINE (2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE) CEAT | 2060 | 04038LCM29 | 2012-07-09 | 2011-10-01 | 2050-09-30 | ug/L | 0.55088 | Supelco | LB92941 | Supelco LB92941: 20 µl | 0.09984 | DEISOPROPYLATRAZINE_(2-CHLORO-6-ETHYLAMINO-4-AMINO-S-TRIAZINE)_CEAT | . | 0.08 | 0.055 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55088 | Supelco LB92941 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 1 | 0.55088 |  | 0.55088 | 0 | 0