## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
DIPHENAMID | 2060 | 04033LCM29 | 2013-11-07 | 2010-10-01 | 2099-09-30 | ug/L | 0.97561 | Abs, Accu, NSI | 042513, 213041030, 050613 | Abs 042513: 20 µl & Accu 213041030: 20 µl & NSI 050613: 20 µl | 0.0902 | DIPHENAMID | . | 0.04 | 0.088 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97561 | Ab042513, Ac2131030, NS050613 | Ab | Ac | NS | 042513 | 2131030 | 050613 |  | 2131030 |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.97561 |  | 0.97561 | 0 | 0
DIPHENAMID | 2060 | 04033LCM29 | 2013-07-19 | 2010-10-01 | 2099-09-30 | ug/L | 1.0643 | Abs, ChemService | 042513, 1448600 | Abs 042513: 50 µl & ChemService 1448600: 50 µl | 0.2255 | DIPHENAMID | . | 0.04 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0643 | Ab042513, Ch1448600 | Ab | Ch | Ch | 042513 | 1448600 | 1448600 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0643 |  | 1.0643 | 0 | 0
DIPHENAMID | 2060 | 04033LCM29 | 2013-11-07 | 2010-10-01 | 2099-09-30 | ug/L | 0.9867 | Abs, NSI | 042513, 042213HPLC | Abs 042513: 20 µl & NSI 042213HPLC: 20 µl | 0.0902 | DIPHENAMID | . | 0.04 | 0.089 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9867 | Ab042513, NS042HPLC | Ab | NS | NS | 042513 | 042HPLC | 042HPLC |  | 042HPLC | 042HPLC | Y | Recoverable Result | Y | 2 |  | 1 | 0.9867 |  | 0.9867 | 0 | 0
DIPHENAMID | 2060 | 04033LCM29 | 2013-06-26 | 2010-10-01 | 2099-09-30 | ug/L | 1.0599 | Abs, NSI, NSI | 042513, 042213HPLC, 050613 | Abs 042513: 50 µl & NSI 042213HPLC: 50 µl & NSI 050613: 50 µl | 0.2255 | DIPHENAMID | . | 0.04 | 0.239 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0599 | Ab042513, NS042HPLC, NS050613 | Ab | NS | NS | 042513 | 042HPLC | 050613 |  | 042HPLC |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0599 |  | 1.0599 | 0 | 0
DIPHENAMID | 2060 | 04033LCM29 | 2014-01-16 | 2010-10-01 | 2099-09-30 | ug/L | 0.96452 | Abs, Supelco, NSI | 042513, LC01386, 050613 | Abs 042513: 20 µl & Supelco LC01386: 20 µl & NSI 050613: 20 µl | 0.0902 | DIPHENAMID | . | 0.04 | 0.087 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96452 | Ab042513, SuLC01386, NS050613 | Ab | Su | NS | 042513 | LC01386 | 050613 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.96452 |  | 0.96452 | 0 | 0
DIPHENAMID | 2060 | 04033LCM29 | 2012-11-13 | 2010-10-01 | 2099-09-30 | ug/L | 1.032 | Abs, ChemService | 052312, 396400 | Abs 052312: 50 µl & ChemService 396400: 50 µl | 0.5 | DIPHENAMID | . | 0.04 | 0.516 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.032 | Ab052312, Ch396400 | Ab | Ch | Ch | 052312 | 396400 | 396400 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.036 | 0.0056569 | 1.036 | 0.008 | 0.0059303
DIPHENAMID | 2060 | 04033LCM29 | 2013-03-12 | 2010-10-01 | 2099-09-30 | ug/L | 1.04 | Abs, ChemService | 052312, 396400 | Abs 052312: 100 µl & ChemService 396400: 100 µl | 1 | DIPHENAMID | E | 0.04 | 1.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.04 | Ab052312, Ch396400 | Ab | Ch | Ch | 052312 | 396400 | 396400 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 1.036 | 0.0056569 | 1.036 | 0.008 | 0.0059303
DIPHENAMID | 2060 | 04033LCM29 | 2012-12-05 | 2010-10-01 | 2099-09-30 | ug/L | 1.005 | Abs, NSI, NSI | 052312, 062612-01, 718L-01-01 | Abs 052312: 20 µl & NSI 062612-01: 20 µl & NSI 718L-01-01: 20 µl | 0.2 | DIPHENAMID | . | 0.04 | 0.201 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.005 | Ab052312, NS0622-01, NS7181-01 | Ab | NS | NS | 052312 | 0622-01 | 7181-01 |  | 0622-01 | 7181-01 | Y | Recoverable Result | Y | 2 |  | 1 | 1.005 |  | 1.005 | 0 | 0
DIPHENAMID | 2060 | 04033LCM29 | 2012-08-22 | 2010-10-01 | 2099-09-30 | ug/L | 1.145 | Abs, Restek | 052312, A088383 | Abs 052312: 20 µl & Restek A088383: 20 µl | 0.2 | DIPHENAMID | . | 0.04 | 0.229 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.145 | Ab052312, ReA088383 | Ab | Re | Re | 052312 | A088383 | A088383 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.145 |  | 1.145 | 0 | 0
DIPHENAMID | 2060 | 04033LCM29 | 2013-03-12 | 2010-10-01 | 2099-09-30 | ug/L | 1.046 | Abs, Supelco | 052312, LB92941 | Abs 052312: 50 µl & Supelco LB92941: 50 µl | 0.5 | DIPHENAMID | . | 0.04 | 0.523 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.046 | Ab052312, SuLB92941 | Ab | Su | Su | 052312 | LB92941 | LB92941 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.111 | 0.091924 | 1.111 | 0.13 | 0.096368
DIPHENAMID | 2060 | 04033LCM29 | 2013-05-02 | 2010-10-01 | 2099-09-30 | ug/L | 1.176 | Abs, Supelco | 052312, LB92941 | Abs 052312: 50 µl & Supelco LB92941: 50 µl | 0.5 | DIPHENAMID | . | 0.04 | 0.588 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.176 | Ab052312, SuLB92941 | Ab | Su | Su | 052312 | LB92941 | LB92941 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.111 | 0.091924 | 1.111 | 0.13 | 0.096368
DIPHENAMID | 2060 | 04033LCM29 | 2009-10-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.92833 | Accu | 209081166 | Accu 209081166: 40 µl | 0.094794 | DIPHENAMID | . | 0.04 | 0.088 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92833 | Accu 209081166 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.94306 | 0.05586 | 0.94504 | 0.082992 | 0.061521
DIPHENAMID | 2060 | 04033LCM29 | 2010-02-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.8748 | Accu | 209081166 | Accu 209081166: 40 µl | 0.096022 | DIPHENAMID | . | 0.04 | 0.084 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8748 | Accu 209081166 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.94306 | 0.05586 | 0.94504 | 0.082992 | 0.061521
DIPHENAMID | 2060 | 04033LCM29 | 2010-06-10 | 2009-10-01 | 2010-09-30 | ug/L | 0.96175 | Accu | 209081166 | Accu 209081166: 80 µl | 0.1882 | DIPHENAMID | . | 0.04 | 0.181 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96175 | Accu 209081166 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.94306 | 0.05586 | 0.94504 | 0.082992 | 0.061521
DIPHENAMID | 2060 | 04033LCM29 | 2010-07-27 | 2009-10-01 | 2010-09-30 | ug/L | 1.0074 | Accu | 209081166 | Accu 209081166: 40 µl | 0.096291 | DIPHENAMID | . | 0.04 | 0.097 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0074 | Accu 209081166 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.94306 | 0.05586 | 0.94504 | 0.082992 | 0.061521
DIPHENAMID | 2060 | 04033LCM29 | 2009-12-02 | 2009-10-01 | 2010-09-30 | ug/L | 0.98078 | ChemService | 430-40B | ChemService 430-40B: 40 µl | 0.095842 | DIPHENAMID | . | 0.04 | 0.094 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98078 | ChemService 430-40B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0994 | 0.12725 | 1.0774 | 0.23554 | 0.1746
DIPHENAMID | 2060 | 04033LCM29 | 2010-05-04 | 2009-10-01 | 2010-09-30 | ug/L | 1.0774 | ChemService | 430-40B | ChemService 430-40B: 40 µl | 0.097461 | DIPHENAMID | . | 0.04 | 0.105 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0774 | ChemService 430-40B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0994 | 0.12725 | 1.0774 | 0.23554 | 0.1746
DIPHENAMID | 2060 | 04033LCM29 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 1.2163 | ChemService | 430-40B | ChemService 430-40B: 40 µl | 0.097014 | DIPHENAMID | . | 0.04 | 0.118 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2163 | ChemService 430-40B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0994 | 0.12725 | 1.0774 | 0.23554 | 0.1746
DIPHENAMID | 2060 | 04033LCM29 | 2010-08-31 | 2009-10-01 | 2010-09-30 | ug/L | 1.246 | ChemService | 430-40B | ChemService 430-40B: 80 µl | 0.19262 | DIPHENAMID | . | 0.04 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.246 | ChemService 430-40B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0994 | 0.12725 | 1.0774 | 0.23554 | 0.1746
DIPHENAMID | 2060 | 04033LCM29 | 2010-10-27 | 2010-10-01 | 2099-09-30 | ug/L | 0.97673 | ChemService | 430-40B | ChemService 430-40B: 80 µl | 0.19248 | DIPHENAMID | . | 0.04 | 0.188 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97673 | ChemService 430-40B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0994 | 0.12725 | 1.0774 | 0.23554 | 0.1746
DIPHENAMID | 2060 | 04033LCM29 | 2010-11-29 | 2010-10-01 | 2099-09-30 | ug/L | 1.0258 | Crescent | 163162 | Crescent 163162: 40 µl | 0.063366 | DIPHENAMID | . | 0.04 | 0.065 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0258 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0217 | 0.1012 | 1.0391 | 0.036718 | 0.027219
DIPHENAMID | 2060 | 04033LCM29 | 2011-02-24 | 2010-10-01 | 2099-09-30 | ug/L | 1.1315 | Crescent | 163162 | Crescent 163162: 40 µl | 0.062751 | DIPHENAMID | . | 0.04 | 0.071 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1315 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0217 | 0.1012 | 1.0391 | 0.036718 | 0.027219
DIPHENAMID | 2060 | 04033LCM29 | 2011-04-13 | 2010-10-01 | 2099-09-30 | ug/L | 1.0512 | Crescent | 163162 | Crescent 163162: 100 µl | 0.15982 | DIPHENAMID | . | 0.04 | 0.168 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0512 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0217 | 0.1012 | 1.0391 | 0.036718 | 0.027219
DIPHENAMID | 2060 | 04033LCM29 | 2011-05-20 | 2010-10-01 | 2099-09-30 | ug/L | 1.0113 | Crescent | 163162 | Crescent 163162: 40 µl | 0.063285 | DIPHENAMID | . | 0.04 | 0.064 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0113 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0217 | 0.1012 | 1.0391 | 0.036718 | 0.027219
DIPHENAMID | 2060 | 04033LCM29 | 2011-07-18 | 2010-10-01 | 2099-09-30 | ug/L | 1.0312 | Crescent | 163162 | Crescent 163162: 100 µl | 0.16 | DIPHENAMID | . | 0.04 | 0.165 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0312 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0217 | 0.1012 | 1.0391 | 0.036718 | 0.027219
DIPHENAMID | 2060 | 04033LCM29 | 2011-07-19 | 2010-10-01 | 2099-09-30 | ug/L | 0.75 | Crescent | 163162 | Crescent 163162: 40 µl | 0.064 | DIPHENAMID | . | 0.04 | 0.048 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0217 | 0.1012 | 1.0391 | 0.036718 | 0.027219
DIPHENAMID | 2060 | 04033LCM29 | 2011-10-31 | 2010-10-01 | 2099-09-30 | ug/L | 1.0625 | Crescent | 163162 | Crescent 163162: 40 µl | 0.064 | DIPHENAMID | E | 0.04 | 0.068 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0625 | Crescent 163162 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 1.0217 | 0.1012 | 1.0391 | 0.036718 | 0.027219
DIPHENAMID | 2060 | 04033LCM29 | 2012-01-05 | 2010-10-01 | 2099-09-30 | ug/L | 1.075 | Crescent | 163162 | Crescent 163162: 100 µl | 0.16 | DIPHENAMID | . | 0.04 | 0.172 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.075 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0217 | 0.1012 | 1.0391 | 0.036718 | 0.027219
DIPHENAMID | 2060 | 04033LCM29 | 2012-03-06 | 2010-10-01 | 2099-09-30 | ug/L | 1.0469 | Crescent | 163162 | Crescent 163162: 40 µl | 0.064 | DIPHENAMID | . | 0.04 | 0.067 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0469 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0217 | 0.1012 | 1.0391 | 0.036718 | 0.027219
DIPHENAMID | 2060 | 04033LCM29 | 2012-06-20 | 2010-10-01 | 2099-09-30 | ug/L | 1.0312 | Crescent | 163162 | Crescent 163162: 40 µl | 0.064 | DIPHENAMID | . | 0.04 | 0.066 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0312 | Crescent 163162 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0217 | 0.1012 | 1.0391 | 0.036718 | 0.027219
DIPHENAMID | 2060 | 04033LCM29 | 2008-10-30 | 2007-01-01 | 2009-09-30 | ug/L | 0.97369 | NSI | 081208-01Polar | NSI 081208-01Polar: 30 µl | 0.086269 | DIPHENAMID | . | 0.04 | 0.084 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97369 | NSI 081208-01Polar | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0002 | 0.078415 | 0.99768 | 0.096633 | 0.071633
DIPHENAMID | 2060 | 04033LCM29 | 2008-11-19 | 2007-01-01 | 2009-09-30 | ug/L | 1.0703 | NSI | 081208-01Polar | NSI 081208-01Polar: 50 µl | 0.14388 | DIPHENAMID | . | 0.04 | 0.154 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0703 | NSI 081208-01Polar | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0002 | 0.078415 | 0.99768 | 0.096633 | 0.071633
DIPHENAMID | 2060 | 04033LCM29 | 2009-04-09 | 2007-01-01 | 2009-09-30 | ug/L | 1.0749 | NSI | 081208-01Polar | NSI 081208-01Polar: 30 µl | 0.087454 | DIPHENAMID | . | 0.04 | 0.094 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0749 | NSI 081208-01Polar | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0002 | 0.078415 | 0.99768 | 0.096633 | 0.071633
DIPHENAMID | 2060 | 04033LCM29 | 2009-06-17 | 2007-01-01 | 2009-09-30 | ug/L | 0.88446 | NSI | 081208-01Polar | NSI 081208-01Polar: 30 µl | 0.08932 | DIPHENAMID | . | 0.04 | 0.079 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88446 | NSI 081208-01Polar | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0002 | 0.078415 | 0.99768 | 0.096633 | 0.071633
DIPHENAMID | 2060 | 04033LCM29 | 2009-08-31 | 2007-01-01 | 2009-09-30 | ug/L | 0.99768 | NSI | 081208-01Polar | NSI 081208-01Polar: 50 µl | 0.14634 | DIPHENAMID | . | 0.04 | 0.146 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99768 | NSI 081208-01Polar | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0002 | 0.078415 | 0.99768 | 0.096633 | 0.071633
DIPHENAMID | 2060 | 04033LCM29 | 2010-05-03 | 2009-10-01 | 2010-09-30 | ug/L | 1.2055 | NWQL, NWQL | LCL11SP079A, LCL11SP079B | NWQL LCL11SP079A: 50 µl & NWQL LCL11SP079B: 50 µl | 0.12608 | DIPHENAMID | . | 0.04 | 0.152 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2055 | NWLCL079A, NWLCL079B | NW | NW | NW | LCL079A | LCL079B | LCL079B | LCL079A | LCL079B | LCL079B | Y | Recoverable Result | Y | 2 |  | 3 | 1.2435 | 0.033012 | 1.2593 | 0.060098 | 0.04455
DIPHENAMID | 2060 | 04033LCM29 | 2010-07-27 | 2009-10-01 | 2010-09-30 | ug/L | 1.2593 | NWQL, NWQL | LCL11SP079A, LCL11SP079B | NWQL LCL11SP079A: 50 µl & NWQL LCL11SP079B: 50 µl | 0.12468 | DIPHENAMID | . | 0.04 | 0.157 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2593 | NWLCL079A, NWLCL079B | NW | NW | NW | LCL079A | LCL079B | LCL079B | LCL079A | LCL079B | LCL079B | Y | Recoverable Result | Y | 2 |  | 3 | 1.2435 | 0.033012 | 1.2593 | 0.060098 | 0.04455
DIPHENAMID | 2060 | 04033LCM29 | 2010-09-21 | 2009-10-01 | 2010-09-30 | ug/L | 1.2656 | NWQL, NWQL | LCL11SP079A, LCL11SP079B | NWQL LCL11SP079A: 50 µl & NWQL LCL11SP079B: 50 µl | 0.12563 | DIPHENAMID | . | 0.04 | 0.159 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2656 | NWLCL079A, NWLCL079B | NW | NW | NW | LCL079A | LCL079B | LCL079B | LCL079A | LCL079B | LCL079B | Y | Recoverable Result | Y | 2 |  | 3 | 1.2435 | 0.033012 | 1.2593 | 0.060098 | 0.04455
DIPHENAMID | 2060 | 04033LCM29 | 2008-04-30 | 2007-01-01 | 2009-09-30 | ug/L | 1.075 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18605 | DIPHENAMID | . | 0.04 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.075 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 |  | 7 | 1.1271 | 0.098769 | 1.092 | 0.17764 | 0.13168
DIPHENAMID | 2060 | 04033LCM29 | 2008-06-19 | 2007-01-01 | 2009-09-30 | ug/L | 1.092 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18681 | DIPHENAMID | . | 0.04 | 0.204 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.092 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 |  | 7 | 1.1271 | 0.098769 | 1.092 | 0.17764 | 0.13168
DIPHENAMID | 2060 | 04033LCM29 | 2008-07-30 | 2007-01-01 | 2009-09-30 | ug/L | 0.99084 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18469 | DIPHENAMID | . | 0.04 | 0.183 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99084 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 |  | 7 | 1.1271 | 0.098769 | 1.092 | 0.17764 | 0.13168
DIPHENAMID | 2060 | 04033LCM29 | 2009-03-26 | 2007-01-01 | 2009-09-30 | ug/L | 1.2409 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.19743 | DIPHENAMID | . | 0.04 | 0.245 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2409 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 |  | 7 | 1.1271 | 0.098769 | 1.092 | 0.17764 | 0.13168
DIPHENAMID | 2060 | 04033LCM29 | 2009-05-06 | 2007-01-01 | 2009-09-30 | ug/L | 1.229 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18795 | DIPHENAMID | . | 0.04 | 0.231 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.229 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 |  | 7 | 1.1271 | 0.098769 | 1.092 | 0.17764 | 0.13168
DIPHENAMID | 2060 | 04033LCM29 | 2009-06-17 | 2007-01-01 | 2009-09-30 | ug/L | 1.2104 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18507 | DIPHENAMID | . | 0.04 | 0.224 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2104 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 |  | 7 | 1.1271 | 0.098769 | 1.092 | 0.17764 | 0.13168
DIPHENAMID | 2060 | 04033LCM29 | 2009-07-28 | 2007-01-01 | 2009-09-30 | ug/L | 1.0514 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18737 | DIPHENAMID | . | 0.04 | 0.197 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0514 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 |  | 7 | 1.1271 | 0.098769 | 1.092 | 0.17764 | 0.13168
DIPHENAMID | 2060 | 04033LCM29 | 2008-02-12 | 2007-01-01 | 2009-09-30 | ug/L | 0.82374 | Protocol | I1070803003 | Protocol I1070803003: 50 µl | 0.098332 | DIPHENAMID | . | 0.04 | 0.081 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82374 | Protocol I1070803003 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0281 | 0.12883 | 1.0457 | 0.065902 | 0.048853
DIPHENAMID | 2060 | 04033LCM29 | 2008-04-04 | 2007-01-01 | 2009-09-30 | ug/L | 1.0457 | Protocol | I1070803003 | Protocol I1070803003: 50 µl | 0.096582 | DIPHENAMID | . | 0.04 | 0.101 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0457 | Protocol I1070803003 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0281 | 0.12883 | 1.0457 | 0.065902 | 0.048853
DIPHENAMID | 2060 | 04033LCM29 | 2008-05-16 | 2007-01-01 | 2009-09-30 | ug/L | 1.0815 | Protocol | I1070803003 | Protocol I1070803003: 50 µl | 0.096163 | DIPHENAMID | . | 0.04 | 0.104 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0815 | Protocol I1070803003 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0281 | 0.12883 | 1.0457 | 0.065902 | 0.048853
DIPHENAMID | 2060 | 04033LCM29 | 2008-06-24 | 2007-01-01 | 2009-09-30 | ug/L | 1.0156 | Protocol | I1070803003 | Protocol I1070803003: 50 µl | 0.094526 | DIPHENAMID | . | 0.04 | 0.096 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0156 | Protocol I1070803003 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0281 | 0.12883 | 1.0457 | 0.065902 | 0.048853
DIPHENAMID | 2060 | 04033LCM29 | 2008-08-14 | 2007-01-01 | 2009-09-30 | ug/L | 1.1741 | Protocol | I1070803003 | Protocol I1070803003: 50 µl | 0.093692 | DIPHENAMID | . | 0.04 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1741 | Protocol I1070803003 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0281 | 0.12883 | 1.0457 | 0.065902 | 0.048853
DIPHENAMID | 2060 | 04033LCM29 | 2008-03-11 | 2007-01-01 | 2009-09-30 | ug/L | 0.89341 | Restek | A053251 | Restek A053251: 50 µl | 0.097379 | DIPHENAMID | . | 0.04 | 0.087 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89341 | Restek A053251 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.004 | 0.093237 | 0.97626 | 0.092802 | 0.068793
DIPHENAMID | 2060 | 04033LCM29 | 2008-04-30 | 2007-01-01 | 2009-09-30 | ug/L | 0.97626 | Restek | A053251 | Restek A053251: 50 µl | 0.095262 | DIPHENAMID | . | 0.04 | 0.093 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97626 | Restek A053251 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.004 | 0.093237 | 0.97626 | 0.092802 | 0.068793
DIPHENAMID | 2060 | 04033LCM29 | 2008-06-03 | 2007-01-01 | 2009-09-30 | ug/L | 0.96069 | Restek | A053251 | Restek A053251: 50 µl | 0.094723 | DIPHENAMID | . | 0.04 | 0.091 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96069 | Restek A053251 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.004 | 0.093237 | 0.97626 | 0.092802 | 0.068793
DIPHENAMID | 2060 | 04033LCM29 | 2008-07-23 | 2007-01-01 | 2009-09-30 | ug/L | 1.0535 | Restek | A053251 | Restek A053251: 50 µl | 0.093973 | DIPHENAMID | . | 0.04 | 0.099 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0535 | Restek A053251 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.004 | 0.093237 | 0.97626 | 0.092802 | 0.068793
DIPHENAMID | 2060 | 04033LCM29 | 2008-08-28 | 2007-01-01 | 2009-09-30 | ug/L | 1.1361 | Restek | A053251 | Restek A053251: 50 µl | 0.095063 | DIPHENAMID | . | 0.04 | 0.108 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1361 | Restek A053251 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.004 | 0.093237 | 0.97626 | 0.092802 | 0.068793
DIPHENAMID | 2060 | 04033LCM29 | 2011-01-04 | 2010-10-01 | 2099-09-30 | ug/L | 1.1146 | Restek | A075600 | Restek A075600: 40 µl | 0.062804 | DIPHENAMID | . | 0.04 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1146 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0441 | 0.080483 | 1.0443 | 0.074727 | 0.055395
DIPHENAMID | 2060 | 04033LCM29 | 2011-03-23 | 2010-10-01 | 2099-09-30 | ug/L | 0.88847 | Restek | A075600 | Restek A075600: 40 µl | 0.06303 | DIPHENAMID | . | 0.04 | 0.056 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88847 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0441 | 0.080483 | 1.0443 | 0.074727 | 0.055395
DIPHENAMID | 2060 | 04033LCM29 | 2011-05-20 | 2010-10-01 | 2099-09-30 | ug/L | 1.0532 | Restek | A075600 | Restek A075600: 100 µl | 0.15952 | DIPHENAMID | . | 0.04 | 0.168 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0532 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0441 | 0.080483 | 1.0443 | 0.074727 | 0.055395
DIPHENAMID | 2060 | 04033LCM29 | 2011-06-10 | 2010-10-01 | 2099-09-30 | ug/L | 1.0012 | Restek | A075600 | Restek A075600: 40 µl | 0.062923 | DIPHENAMID | . | 0.04 | 0.063 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0012 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0441 | 0.080483 | 1.0443 | 0.074727 | 0.055395
DIPHENAMID | 2060 | 04033LCM29 | 2011-09-02 | 2010-10-01 | 2099-09-30 | ug/L | 1.0759 | Restek | A075600 | Restek A075600: 40 µl | 0.0632 | DIPHENAMID | . | 0.04 | 0.068 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0759 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0441 | 0.080483 | 1.0443 | 0.074727 | 0.055395
DIPHENAMID | 2060 | 04033LCM29 | 2011-09-13 | 2010-10-01 | 2099-09-30 | ug/L | 1.0443 | Restek | A075600 | Restek A075600: 100 µl | 0.158 | DIPHENAMID | . | 0.04 | 0.165 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0443 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0441 | 0.080483 | 1.0443 | 0.074727 | 0.055395
DIPHENAMID | 2060 | 04033LCM29 | 2011-11-29 | 2010-10-01 | 2099-09-30 | ug/L | 1.2025 | Restek | A075600 | Restek A075600: 40 µl | 0.0632 | DIPHENAMID | . | 0.04 | 0.076 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2025 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0441 | 0.080483 | 1.0443 | 0.074727 | 0.055395
DIPHENAMID | 2060 | 04033LCM29 | 2012-02-13 | 2010-10-01 | 2099-09-30 | ug/L | 1.0316 | Restek | A075600 | Restek A075600: 100 µl | 0.158 | DIPHENAMID | . | 0.04 | 0.163 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0316 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0441 | 0.080483 | 1.0443 | 0.074727 | 0.055395
DIPHENAMID | 2060 | 04033LCM29 | 2012-03-26 | 2010-10-01 | 2099-09-30 | ug/L | 1.0759 | Restek | A075600 | Restek A075600: 40 µl | 0.0632 | DIPHENAMID | . | 0.04 | 0.068 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0759 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0441 | 0.080483 | 1.0443 | 0.074727 | 0.055395
DIPHENAMID | 2060 | 04033LCM29 | 2012-05-02 | 2010-10-01 | 2099-09-30 | ug/L | 0.96519 | Restek | A075600 | Restek A075600: 40 µl | 0.0632 | DIPHENAMID | . | 0.04 | 0.061 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96519 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0441 | 0.080483 | 1.0443 | 0.074727 | 0.055395
DIPHENAMID | 2060 | 04033LCM29 | 2012-05-22 | 2010-10-01 | 2099-09-30 | ug/L | 1.0316 | Restek | A075600 | Restek A075600: 100 µl | 0.158 | DIPHENAMID | . | 0.04 | 0.163 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0316 | Restek A075600 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0441 | 0.080483 | 1.0443 | 0.074727 | 0.055395
DIPHENAMID | 2060 | 04033LCM29 | 2013-09-27 | 2010-10-01 | 2099-09-30 | ug/L | 0.98222 | Spex Organics, Accu, Supelco | T1130601011, 213041030, LC00372 | Spex Organics T1130601011: 50 µl & Accu 213041030: 50 µl & Supelco LC00372: 50 µ | 0.225 | DIPHENAMID | . | 0.04 | 0.221 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98222 | SpT111011, Ac2131030, SuLC0037 | Sp | Ac | Su | T111011 | 2131030 | LC00372 | T111011 | 2131030 |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.98222 |  | 0.98222 | 0 | 0
DIPHENAMID | 2060 | 04033LCM29 | 2014-01-16 | 2010-10-01 | 2099-09-30 | ug/L | 0.93333 | Spex Organics, ChemService, | T1130601011, 1448600, 050613 | Spex Organics T1130601011: 20 µl & ChemService 1448600: 20 µl & NSI 050613: 20 µ | 0.09 | DIPHENAMID | . | 0.04 | 0.084 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93333 | SpT111011, Ch1448600, 050613 | Sp | Ch |  | T111011 | 1448600 | 050613 | T111011 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.93333 |  | 0.93333 | 0 | 0
DIPHENAMID | 2060 | 04033LCM29 | 2013-08-17 | 2010-10-01 | 2099-09-30 | ug/L | 1.0089 | Spex Organics, NSI, Supelco | T1130601011, 050613, LC01386 | Spex Organics T1130601011: 50 µl & NSI 050613: 50 µl & Supelco LC01386: 50 µl | 0.225 | DIPHENAMID | . | 0.04 | 0.227 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0089 | SpT111011, NS050613, SuLC01386 | Sp | NS | Su | T111011 | 050613 | LC01386 | T111011 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0089 |  | 1.0089 | 0 | 0
DIPHENAMID | 2060 | 04033LCM29 | 2012-09-13 | 2010-10-01 | 2099-09-30 | ug/L | 1.0471 | Spex Organics, NSI, NSI | T1120525009, 062612-01, 718L-01-01 | Spex Organics T1120525009: 20 µl & NSI 062612-01: 20 µl & NSI 718L-01-01: 20 µl | 0.1996 | DIPHENAMID | . | 0.04 | 0.209 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0471 | SpT115009, NS0622-01, NS7181-0 | Sp | NS | NS | T115009 | 0622-01 | 7181-01 | T115009 | 0622-01 | 7181-01 | Y | Recoverable Result | Y | 2 |  | 2 | 1.0797 | 0.046054 | 1.0797 | 0.06513 | 0.04828
DIPHENAMID | 2060 | 04033LCM29 | 2013-01-18 | 2010-10-01 | 2099-09-30 | ug/L | 1.1122 | Spex Organics, NSI, NSI | T1120525009, 062612-01, 718L-01-01 | Spex Organics T1120525009: 100 µl & NSI 062612-01: 100 µl & NSI 718L-01-01: 100 | 0.998 | DIPHENAMID | E | 0.04 | 1.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1122 | SpT115009, NS0622-01, NS7181-0 | Sp | NS | NS | T115009 | 0622-01 | 7181-01 | T115009 | 0622-01 | 7181-01 | Y | Estimated Values | Y | 2 |  | 2 | 1.0797 | 0.046054 | 1.0797 | 0.06513 | 0.04828
DIPHENAMID | 2060 | 04033LCM29 | 2012-12-21 | 2010-10-01 | 2099-09-30 | ug/L | 1.1182 | Spex Organics, Restek | T1120525009, A088383 | Spex Organics T1120525009: 50 µl & Restek A088383: 50 µl | 0.499 | DIPHENAMID | . | 0.04 | 0.558 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1182 | SpT115009, ReA088383 | Sp | Re | Re | T115009 | A088383 | A088383 | T115009 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0972 | 0.029758 | 1.0972 | 0.042084 | 0.031197
DIPHENAMID | 2060 | 04033LCM29 | 2013-04-10 | 2010-10-01 | 2099-09-30 | ug/L | 1.0762 | Spex Organics, Restek | T1120525009, A088383 | Spex Organics T1120525009: 50 µl & Restek A088383: 50 µl | 0.499 | DIPHENAMID | . | 0.04 | 0.537 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0762 | SpT115009, ReA088383 | Sp | Re | Re | T115009 | A088383 | A088383 | T115009 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0972 | 0.029758 | 1.0972 | 0.042084 | 0.031197
DIPHENAMID | 2060 | 04033LCM29 | 2012-07-18 | 2010-10-01 | 2099-09-30 | ug/L | 1.1202 | Spex Organics, Supelco | T1120525009, LB92941 | Spex Organics T1120525009: 50 µl & Supelco LB92941: 50 µl | 0.499 | DIPHENAMID | . | 0.04 | 0.559 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1202 | SpT115009, SuLB92941 | Sp | Su | Su | T115009 | LB92941 | LB92941 | T115009 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1202 |  | 1.1202 | 0 | 0
DIPHENAMID | 2060 | 04033LCM29 | 2008-10-30 | 2007-01-01 | 2009-09-30 | ug/L | 0.9664 | Supelco | LB60726 | Supelco LB60726: 30 µl | 0.087955 | DIPHENAMID | E | 0.04 | 0.085 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9664 | Supelco LB60726 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 1.0267 | 0.063022 | 1.0012 | 0.059498 | 0.044106
DIPHENAMID | 2060 | 04033LCM29 | 2008-12-31 | 2007-01-01 | 2009-09-30 | ug/L | 1.05 | Supelco | LB60726 | Supelco LB60726: 30 µl | 0.090474 | DIPHENAMID | . | 0.04 | 0.095 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.05 | Supelco LB60726 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0267 | 0.063022 | 1.0012 | 0.059498 | 0.044106
DIPHENAMID | 2060 | 04033LCM29 | 2009-05-27 | 2007-01-01 | 2009-09-30 | ug/L | 0.99052 | Supelco | LB60726 | Supelco LB60726: 30 µl | 0.088842 | DIPHENAMID | . | 0.04 | 0.088 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99052 | Supelco LB60726 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0267 | 0.063022 | 1.0012 | 0.059498 | 0.044106
DIPHENAMID | 2060 | 04033LCM29 | 2009-08-05 | 2007-01-01 | 2009-09-30 | ug/L | 1.0012 | Supelco | LB60726 | Supelco LB60726: 50 µl | 0.14982 | DIPHENAMID | . | 0.04 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0012 | Supelco LB60726 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0267 | 0.063022 | 1.0012 | 0.059498 | 0.044106
DIPHENAMID | 2060 | 04033LCM29 | 2009-09-22 | 2007-01-01 | 2009-09-30 | ug/L | 1.1254 | Supelco | LB60726 | Supelco LB60726: 30 µl | 0.087078 | DIPHENAMID | . | 0.04 | 0.098 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1254 | Supelco LB60726 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0267 | 0.063022 | 1.0012 | 0.059498 | 0.044106