## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
FENURON | 2060 | 49297LCM29 | 2013-11-07 | 2010-10-01 | 2099-09-30 | ug/L | 1.1148 | Abs, Accu, NSI | 042513, 213041030, 050613 | Abs 042513: 20 µl & Accu 213041030: 20 µl & NSI 050613: 20 µl | 0.1202 | FENURON | E | 0.06 | 0.134 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1148 | Ab042513, Ac2131030, NS050613 | Ab | Ac | NS | 042513 | 2131030 | 050613 |  | 2131030 |  | Y | Estimated Values | Y | 2 |  | 1 | 1.1148 |  | 1.1148 | 0 | 0
FENURON | 2060 | 49297LCM29 | 2013-07-19 | 2010-10-01 | 2099-09-30 | ug/L | 1.4775 | Abs, ChemService | 042513, 1448600 | Abs 042513: 50 µl & ChemService 1448600: 50 µl | 0.3005 | FENURON | E | 0.06 | 0.444 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4775 | Ab042513, Ch1448600 | Ab | Ch | Ch | 042513 | 1448600 | 1448600 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 1.4775 |  | 1.4775 | 0 | 0
FENURON | 2060 | 49297LCM29 | 2013-11-07 | 2010-10-01 | 2099-09-30 | ug/L | 0.99834 | Abs, NSI | 042513, 042213HPLC | Abs 042513: 20 µl & NSI 042213HPLC: 20 µl | 0.1202 | FENURON | E | 0.06 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99834 | Ab042513, NS042HPLC | Ab | NS | NS | 042513 | 042HPLC | 042HPLC |  | 042HPLC | 042HPLC | Y | Estimated Values | Y | 2 |  | 1 | 0.99834 |  | 0.99834 | 0 | 0
FENURON | 2060 | 49297LCM29 | 2013-06-26 | 2010-10-01 | 2099-09-30 | ug/L | 1.005 | Abs, NSI, NSI | 042513, 042213HPLC, 050613 | Abs 042513: 50 µl & NSI 042213HPLC: 50 µl & NSI 050613: 50 µl | 0.3005 | FENURON | E | 0.06 | 0.302 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.005 | Ab042513, NS042HPLC, NS050613 | Ab | NS | NS | 042513 | 042HPLC | 050613 |  | 042HPLC |  | Y | Estimated Values | Y | 2 |  | 1 | 1.005 |  | 1.005 | 0 | 0
FENURON | 2060 | 49297LCM29 | 2014-01-16 | 2010-10-01 | 2099-09-30 | ug/L | 0.93178 | Abs, Supelco, NSI | 042513, LC01386, 050613 | Abs 042513: 20 µl & Supelco LC01386: 20 µl & NSI 050613: 20 µl | 0.1202 | FENURON | E | 0.06 | 0.112 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93178 | Ab042513, SuLC01386, NS050613 | Ab | Su | NS | 042513 | LC01386 | 050613 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.93178 |  | 0.93178 | 0 | 0
FENURON | 2060 | 49297LCM29 | 2012-12-05 | 2010-10-01 | 2099-09-30 | ug/L | 0.96 | Abs, NSI, NSI | 052312, 062612-01, 718L-01-01 | Abs 052312: 20 µl & NSI 062612-01: 20 µl & NSI 718L-01-01: 20 µl | 0.1 | FENURON | E | 0.06 | 0.096 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96 | Ab052312, NS0622-01, NS7181-01 | Ab | NS | NS | 052312 | 0622-01 | 7181-01 |  | 0622-01 | 7181-01 | Y | Estimated Values | Y | 2 |  | 1 | 0.96 |  | 0.96 | 0 | 0
FENURON | 2060 | 49297LCM29 | 2013-03-12 | 2010-10-01 | 2099-09-30 | ug/L | 1.0316 | Abs, Supelco | 052312, LB92941 | Abs 052312: 50 µl & Supelco LB92941: 50 µl | 0.2501 | FENURON | E | 0.06 | 0.258 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0316 | Ab052312, SuLB92941 | Ab | Su | Su | 052312 | LB92941 | LB92941 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 1.0496 | 0.025446 | 1.0496 | 0.035986 | 0.026676
FENURON | 2060 | 49297LCM29 | 2013-05-02 | 2010-10-01 | 2099-09-30 | ug/L | 1.0676 | Abs, Supelco | 052312, LB92941 | Abs 052312: 50 µl & Supelco LB92941: 50 µl | 0.2501 | FENURON | E | 0.06 | 0.267 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0676 | Ab052312, SuLB92941 | Ab | Su | Su | 052312 | LB92941 | LB92941 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 1.0496 | 0.025446 | 1.0496 | 0.035986 | 0.026676
FENURON | 2060 | 49297LCM29 | 2011-02-02 | 2010-10-01 | 2099-09-30 | ug/L | 1.3695 | Abs | 090910HPLC | Abs 090910HPLC: 40 µl | 0.10004 | FENURON | E | 0.06 | 0.137 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3694 | Abs 090910HPLC | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 1.1895 | 0.11192 | 1.1798 | 0.16064 | 0.11908
FENURON | 2060 | 49297LCM29 | 2011-02-25 | 2010-10-01 | 2099-09-30 | ug/L | 1.3102 | Abs | 090910HPLC | Abs 090910HPLC: 40 µl | 0.099223 | FENURON | E | 0.06 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3102 | Abs 090910HPLC | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 1.1895 | 0.11192 | 1.1798 | 0.16064 | 0.11908
FENURON | 2060 | 49297LCM29 | 2011-04-12 | 2010-10-01 | 2099-09-30 | ug/L | 1.0203 | Abs | 090910HPLC | Abs 090910HPLC: 40 µl | 0.098986 | FENURON | E | 0.06 | 0.101 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0203 | Abs 090910HPLC | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 1.1895 | 0.11192 | 1.1798 | 0.16064 | 0.11908
FENURON | 2060 | 49297LCM29 | 2011-06-10 | 2010-10-01 | 2099-09-30 | ug/L | 1.1709 | Abs | 090910HPLC | Abs 090910HPLC: 100 µl | 0.2451 | FENURON | E | 0.06 | 0.287 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1709 | Abs 090910HPLC | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 1.1895 | 0.11192 | 1.1798 | 0.16064 | 0.11908
FENURON | 2060 | 49297LCM29 | 2011-07-19 | 2010-10-01 | 2099-09-30 | ug/L | 1.0442 | Abs | 090910HPLC | Abs 090910HPLC: 40 µl | 0.0996 | FENURON | E | 0.06 | 0.104 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0442 | Abs 090910HPLC | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 1.1895 | 0.11192 | 1.1798 | 0.16064 | 0.11908
FENURON | 2060 | 49297LCM29 | 2011-09-12 | 2010-10-01 | 2099-09-30 | ug/L | 1.1566 | Abs | 090910HPLC | Abs 090910HPLC: 100 µl | 0.249 | FENURON | E | 0.06 | 0.288 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1566 | Abs 090910HPLC | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 1.1895 | 0.11192 | 1.1798 | 0.16064 | 0.11908
FENURON | 2060 | 49297LCM29 | 2011-11-28 | 2010-10-01 | 2099-09-30 | ug/L | 1.2851 | Abs | 090910HPLC | Abs 090910HPLC: 40 µl | 0.0996 | FENURON | E | 0.06 | 0.128 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2851 | Abs 090910HPLC | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 1.1895 | 0.11192 | 1.1798 | 0.16064 | 0.11908
FENURON | 2060 | 49297LCM29 | 2012-02-13 | 2010-10-01 | 2099-09-30 | ug/L | 1.1888 | Abs | 090910HPLC | Abs 090910HPLC: 100 µl | 0.249 | FENURON | E | 0.06 | 0.296 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1888 | Abs 090910HPLC | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 1.1895 | 0.11192 | 1.1798 | 0.16064 | 0.11908
FENURON | 2060 | 49297LCM29 | 2012-04-10 | 2010-10-01 | 2099-09-30 | ug/L | 1.1245 | Abs | 090910HPLC | Abs 090910HPLC: 40 µl | 0.0996 | FENURON | E | 0.06 | 0.112 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1245 | Abs 090910HPLC | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 1.1895 | 0.11192 | 1.1798 | 0.16064 | 0.11908
FENURON | 2060 | 49297LCM29 | 2012-05-03 | 2010-10-01 | 2099-09-30 | ug/L | 1.2249 | Abs | 090910HPLC | Abs 090910HPLC: 40 µl | 0.0996 | FENURON | E | 0.06 | 0.122 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2249 | Abs 090910HPLC | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 1.1895 | 0.11192 | 1.1798 | 0.16064 | 0.11908
FENURON | 2060 | 49297LCM29 | 2011-01-04 | 2010-10-01 | 2099-09-30 | ug/L | 1.1142 | ChemService | 448-45B | ChemService 448-45B: 40 µl | 0.096932 | FENURON | E | 0.06 | 0.108 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1142 | ChemService 448-45B | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 1.1125 | 0.11401 | 1.0968 | 0.058343 | 0.043249
FENURON | 2060 | 49297LCM29 | 2011-03-07 | 2010-10-01 | 2099-09-30 | ug/L | 1.1919 | ChemService | 448-45B | ChemService 448-45B: 40 µl | 0.096489 | FENURON | E | 0.06 | 0.115 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1918 | ChemService 448-45B | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 1.1125 | 0.11401 | 1.0968 | 0.058343 | 0.043249
FENURON | 2060 | 49297LCM29 | 2011-05-05 | 2010-10-01 | 2099-09-30 | ug/L | 0.9614 | ChemService | 448-45B | ChemService 448-45B: 40 µl | 0.098815 | FENURON | E | 0.06 | 0.095 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9614 | ChemService 448-45B | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 1.1125 | 0.11401 | 1.0968 | 0.058343 | 0.043249
FENURON | 2060 | 49297LCM29 | 2011-06-28 | 2010-10-01 | 2099-09-30 | ug/L | 1.0558 | ChemService | 448-45B | ChemService 448-45B: 100 µl | 0.2453 | FENURON | E | 0.06 | 0.259 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0558 | ChemService 448-45B | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 1.1125 | 0.11401 | 1.0968 | 0.058343 | 0.043249
FENURON | 2060 | 49297LCM29 | 2011-08-11 | 2010-10-01 | 2099-09-30 | ug/L | 1.0968 | ChemService | 448-45B | ChemService 448-45B: 100 µl | 0.248 | FENURON | E | 0.06 | 0.272 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0968 | ChemService 448-45B | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 1.1125 | 0.11401 | 1.0968 | 0.058343 | 0.043249
FENURON | 2060 | 49297LCM29 | 2011-10-04 | 2010-10-01 | 2099-09-30 | ug/L | 1.0383 | ChemService | 448-45B | ChemService 448-45B: 40 µl | 0.0992 | FENURON | E | 0.06 | 0.103 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0383 | ChemService 448-45B | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 1.1125 | 0.11401 | 1.0968 | 0.058343 | 0.043249
FENURON | 2060 | 49297LCM29 | 2011-11-29 | 2010-10-01 | 2099-09-30 | ug/L | 1.3669 | ChemService | 448-45B | ChemService 448-45B: 100 µl | 0.248 | FENURON | E | 0.06 | 0.339 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3669 | ChemService 448-45B | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 1.1125 | 0.11401 | 1.0968 | 0.058343 | 0.043249
FENURON | 2060 | 49297LCM29 | 2012-02-02 | 2010-10-01 | 2099-09-30 | ug/L | 1.0786 | ChemService | 448-45B | ChemService 448-45B: 40 µl | 0.0992 | FENURON | E | 0.06 | 0.107 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0786 | ChemService 448-45B | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 1.1125 | 0.11401 | 1.0968 | 0.058343 | 0.043249
FENURON | 2060 | 49297LCM29 | 2012-03-26 | 2010-10-01 | 2099-09-30 | ug/L | 1.1089 | ChemService | 448-45B | ChemService 448-45B: 40 µl | 0.0992 | FENURON | E | 0.06 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1089 | ChemService 448-45B | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 1.1125 | 0.11401 | 1.0968 | 0.058343 | 0.043249
FENURON | 2060 | 49297LCM29 | 2008-02-12 | 2007-01-01 | 2008-09-30 | ug/L | 0.70294 | Crescent | 07GG007 | Crescent 07GG007: 50 µl | 0.19916 | FENURON | . | 0.04 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70294 | Crescent 07GG007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.98123 | 0.18891 | 1.0008 | 0.086519 | 0.064136
FENURON | 2060 | 49297LCM29 | 2008-04-04 | 2007-01-01 | 2008-09-30 | ug/L | 0.94369 | Crescent | 07GG007 | Crescent 07GG007: 50 µl | 0.19604 | FENURON | . | 0.04 | 0.185 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94369 | Crescent 07GG007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.98123 | 0.18891 | 1.0008 | 0.086519 | 0.064136
FENURON | 2060 | 49297LCM29 | 2008-05-16 | 2007-01-01 | 2008-09-30 | ug/L | 1.0008 | Crescent | 07GG007 | Crescent 07GG007: 50 µl | 0.19384 | FENURON | . | 0.04 | 0.194 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0008 | Crescent 07GG007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.98123 | 0.18891 | 1.0008 | 0.086519 | 0.064136
FENURON | 2060 | 49297LCM29 | 2008-07-08 | 2007-01-01 | 2008-09-30 | ug/L | 1.2284 | Crescent | 07GG007 | Crescent 07GG007: 50 µl | 0.19374 | FENURON | . | 0.04 | 0.238 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2284 | Crescent 07GG007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.98123 | 0.18891 | 1.0008 | 0.086519 | 0.064136
FENURON | 2060 | 49297LCM29 | 2008-08-27 | 2007-01-01 | 2008-09-30 | ug/L | 1.0302 | Crescent | 07GG007 | Crescent 07GG007: 50 µl | 0.19219 | FENURON | E | 0.04 | 0.198 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0302 | Crescent 07GG007 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.98123 | 0.18891 | 1.0008 | 0.086519 | 0.064136
FENURON | 2060 | 49297LCM29 | 2009-11-19 | 2009-10-01 | 2010-09-30 | ug/L | 0.93894 | Crescent | 08LL073 | Crescent 08LL073: 40 µl | 0.10331 | FENURON | E | 0.06 | 0.097 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93894 | Crescent 08LL073 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 1.1783 | 0.20334 | 1.1445 | 0.11974 | 0.088766
FENURON | 2060 | 49297LCM29 | 2010-03-17 | 2009-10-01 | 2010-09-30 | ug/L | 1.1445 | Crescent | 08LL073 | Crescent 08LL073: 40 µl | 0.1066 | FENURON | E | 0.06 | 0.122 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1445 | Crescent 08LL073 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 1.1783 | 0.20334 | 1.1445 | 0.11974 | 0.088766
FENURON | 2060 | 49297LCM29 | 2010-06-15 | 2009-10-01 | 2010-09-30 | ug/L | 1.4928 | Crescent | 08LL073 | Crescent 08LL073: 40 µl | 0.10785 | FENURON | E | 0.06 | 0.161 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4928 | Crescent 08LL073 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 1.1783 | 0.20334 | 1.1445 | 0.11974 | 0.088766
FENURON | 2060 | 49297LCM29 | 2010-07-26 | 2009-10-01 | 2010-09-30 | ug/L | 1.0977 | Crescent | 08LL073 | Crescent 08LL073: 40 µl | 0.10294 | FENURON | E | 0.06 | 0.113 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0977 | Crescent 08LL073 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 1.1783 | 0.20334 | 1.1445 | 0.11974 | 0.088766
FENURON | 2060 | 49297LCM29 | 2010-10-28 | 2010-10-01 | 2099-09-30 | ug/L | 1.2175 | Crescent | 08LL073 | Crescent 08LL073: 80 µl | 0.20699 | FENURON | E | 0.06 | 0.252 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2175 | Crescent 08LL073 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 1.1783 | 0.20334 | 1.1445 | 0.11974 | 0.088766
FENURON | 2060 | 49297LCM29 | 2008-12-09 | 2008-10-01 | 2009-09-30 | ug/L | 1.0718 | ERA | 0813-08-07Polar | ERA 0813-08-07Polar: 50 µl | 0.34056 | FENURON | E | 0.06 | 0.365 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0718 | ERA 0813-08-07Polar | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 1.0028 | 0.051048 | 0.97952 | 0.076664 | 0.05683
FENURON | 2060 | 49297LCM29 | 2008-12-09 | 2008-10-01 | 2009-09-30 | ug/L | 0.97952 | ERA | 0813-08-07Polar | ERA 0813-08-07Polar: 30 µl | 0.19806 | FENURON | E | 0.06 | 0.194 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97952 | ERA 0813-08-07Polar | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 1.0028 | 0.051048 | 0.97952 | 0.076664 | 0.05683
FENURON | 2060 | 49297LCM29 | 2009-05-28 | 2008-10-01 | 2009-09-30 | ug/L | 1.0418 | ERA | 0813-08-07Polar | ERA 0813-08-07Polar: 30 µl | 0.20062 | FENURON | E | 0.06 | 0.209 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0418 | ERA 0813-08-07Polar | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 1.0028 | 0.051048 | 0.97952 | 0.076664 | 0.05683
FENURON | 2060 | 49297LCM29 | 2009-08-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.96509 | ERA | 0813-08-07Polar | ERA 0813-08-07Polar: 30 µl | 0.19894 | FENURON | E | 0.06 | 0.192 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96509 | ERA 0813-08-07Polar | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 1.0028 | 0.051048 | 0.97952 | 0.076664 | 0.05683
FENURON | 2060 | 49297LCM29 | 2009-09-22 | 2008-10-01 | 2009-09-30 | ug/L | 0.95605 | ERA | 0813-08-07Polar | ERA 0813-08-07Polar: 50 µl | 0.33157 | FENURON | E | 0.06 | 0.317 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95605 | ERA 0813-08-07Polar | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 1.0028 | 0.051048 | 0.97952 | 0.076664 | 0.05683
FENURON | 2060 | 49297LCM29 | 2012-08-07 | 2010-10-01 | 2099-09-30 | ug/L | 1.09 | NSI, NSI, ChemService | 062612-01, 718L-01-01, 396400 | NSI 062612-01: 20 µl & NSI 718L-01-01: 20 µl & ChemService 396400: 20 µl | 0.1 | FENURON | E | 0.06 | 0.109 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.09 | NS0622-01, NS7181-01, Ch396400 | NS | NS | Ch | 0622-01 | 7181-01 | 396400 | 0622-01 | 7181-01 |  | Y | Estimated Values | Y | 2 |  | 1 | 1.09 |  | 1.09 | 0 | 0
FENURON | 2060 | 49297LCM29 | 2012-09-28 | 2010-10-01 | 2099-09-30 | ug/L | 1.13 | NSI, NSI, Restek | 062612-01, 718L-01-01, A088383 | NSI 062612-01: 20 µl & NSI 718L-01-01: 20 µl & Restek A088383: 20 µl | 0.1 | FENURON | E | 0.06 | 0.113 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.13 | NS0622-01, NS7181-01, ReA08838 | NS | NS | Re | 0622-01 | 7181-01 | A088383 | 0622-01 | 7181-01 |  | Y | Estimated Values | Y | 2 |  | 1 | 1.13 |  | 1.13 | 0 | 0
FENURON | 2060 | 49297LCM29 | 2009-12-29 | 2009-10-01 | 2010-09-30 | ug/L | 1.1239 | NSI | 090309-01HPLC | NSI 090309-01HPLC: 80 µl | 0.20553 | FENURON | E | 0.06 | 0.231 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1239 | NSI 090309-01HPLC | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 1.2293 | 0.10196 | 1.2126 | 0.13308 | 0.098654
FENURON | 2060 | 49297LCM29 | 2010-05-20 | 2009-10-01 | 2010-09-30 | ug/L | 1.3681 | NSI | 090309-01HPLC | NSI 090309-01HPLC: 40 µl | 0.10525 | FENURON | E | 0.06 | 0.144 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3681 | NSI 090309-01HPLC | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 1.2293 | 0.10196 | 1.2126 | 0.13308 | 0.098654
FENURON | 2060 | 49297LCM29 | 2010-07-01 | 2009-10-01 | 2010-09-30 | ug/L | 1.2016 | NSI | 090309-01HPLC | NSI 090309-01HPLC: 80 µl | 0.21305 | FENURON | E | 0.06 | 0.256 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2016 | NSI 090309-01HPLC | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 1.2293 | 0.10196 | 1.2126 | 0.13308 | 0.098654
FENURON | 2060 | 49297LCM29 | 2010-09-01 | 2009-10-01 | 2010-09-30 | ug/L | 1.2235 | NSI | 090309-01HPLC | NSI 090309-01HPLC: 40 µl | 0.10298 | FENURON | E | 0.06 | 0.126 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2235 | NSI 090309-01HPLC | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 1.2293 | 0.10196 | 1.2126 | 0.13308 | 0.098654
FENURON | 2060 | 49297LCM29 | 2010-05-03 | 2009-10-01 | 2010-09-30 | ug/L | 1.3007 | NWQL, NWQL | LCL11SP079A, LCL11SP079B | NWQL LCL11SP079A: 50 µl & NWQL LCL11SP079B: 50 µl | 0.12608 | FENURON | E | 0.06 | 0.164 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3007 | NWLCL079A, NWLCL079B | NW | NW | NW | LCL079A | LCL079B | LCL079B | LCL079A | LCL079B | LCL079B | Y | Estimated Values | Y | 2 |  | 3 | 1.1822 | 0.14062 | 1.2192 | 0.27388 | 0.20302
FENURON | 2060 | 49297LCM29 | 2010-07-27 | 2009-10-01 | 2010-09-30 | ug/L | 1.2192 | NWQL, NWQL | LCL11SP079A, LCL11SP079B | NWQL LCL11SP079A: 50 µl & NWQL LCL11SP079B: 50 µl | 0.12468 | FENURON | E | 0.06 | 0.152 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2192 | NWLCL079A, NWLCL079B | NW | NW | NW | LCL079A | LCL079B | LCL079B | LCL079A | LCL079B | LCL079B | Y | Estimated Values | Y | 2 |  | 3 | 1.1822 | 0.14062 | 1.2192 | 0.27388 | 0.20302
FENURON | 2060 | 49297LCM29 | 2010-09-21 | 2009-10-01 | 2010-09-30 | ug/L | 1.0268 | NWQL, NWQL | LCL11SP079A, LCL11SP079B | NWQL LCL11SP079A: 50 µl & NWQL LCL11SP079B: 50 µl | 0.12563 | FENURON | E | 0.06 | 0.129 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0268 | NWLCL079A, NWLCL079B | NW | NW | NW | LCL079A | LCL079B | LCL079B | LCL079A | LCL079B | LCL079B | Y | Estimated Values | Y | 2 |  | 3 | 1.1822 | 0.14062 | 1.2192 | 0.27388 | 0.20302
FENURON | 2060 | 49297LCM29 | 2008-04-30 | 2007-01-01 | 2008-09-30 | ug/L | 1.1771 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18605 | FENURON | . | 0.04 | 0.219 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1771 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 |  | 7 | 1.2095 | 0.080663 | 1.1777 | 0.14339 | 0.10629
FENURON | 2060 | 49297LCM29 | 2008-06-19 | 2007-01-01 | 2008-09-30 | ug/L | 1.1777 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18681 | FENURON | . | 0.04 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1777 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 |  | 7 | 1.2095 | 0.080663 | 1.1777 | 0.14339 | 0.10629
FENURON | 2060 | 49297LCM29 | 2008-07-30 | 2007-01-01 | 2008-09-30 | ug/L | 1.1533 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18469 | FENURON | . | 0.04 | 0.213 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1533 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 |  | 7 | 1.2095 | 0.080663 | 1.1777 | 0.14339 | 0.10629
FENURON | 2060 | 49297LCM29 | 2009-03-26 | 2008-10-01 | 2009-09-30 | ug/L | 1.2967 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.19743 | FENURON | E | 0.06 | 0.256 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2967 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Estimated Values | Y | 2 |  | 7 | 1.2095 | 0.080663 | 1.1777 | 0.14339 | 0.10629
FENURON | 2060 | 49297LCM29 | 2009-05-06 | 2008-10-01 | 2009-09-30 | ug/L | 1.3142 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18795 | FENURON | E | 0.06 | 0.247 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3142 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Estimated Values | Y | 2 |  | 7 | 1.2095 | 0.080663 | 1.1777 | 0.14339 | 0.10629
FENURON | 2060 | 49297LCM29 | 2009-06-17 | 2008-10-01 | 2009-09-30 | ug/L | 1.2536 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18507 | FENURON | E | 0.06 | 0.232 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2536 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Estimated Values | Y | 2 |  | 7 | 1.2095 | 0.080663 | 1.1777 | 0.14339 | 0.10629
FENURON | 2060 | 49297LCM29 | 2009-07-28 | 2008-10-01 | 2009-09-30 | ug/L | 1.0941 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18737 | FENURON | E | 0.06 | 0.205 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0941 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Estimated Values | Y | 2 |  | 7 | 1.2095 | 0.080663 | 1.1777 | 0.14339 | 0.10629
FENURON | 2060 | 49297LCM29 | 2008-12-10 | 2008-10-01 | 2009-09-30 | ug/L | 1.2013 | Restek, Restek | A063332, A062398 | Restek A063332: 30 µl & Restek A062398: 30 µl | 0.20145 | FENURON | E | 0.06 | 0.242 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2013 | ReA063332, ReA062398 | Re | Re | Re | A063332 | A062398 | A062398 |  |  |  | Y | Estimated Values | Y | 2 |  | 5 | 1.1605 | 0.10315 | 1.1529 | 0.12959 | 0.096062
FENURON | 2060 | 49297LCM29 | 2008-12-31 | 2008-10-01 | 2009-09-30 | ug/L | 1.0628 | Restek, Restek | A063332, A062398 | Restek A063332: 50 µl & Restek A062398: 50 µl | 0.34059 | FENURON | E | 0.06 | 0.362 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0628 | ReA063332, ReA062398 | Re | Re | Re | A063332 | A062398 | A062398 |  |  |  | Y | Estimated Values | Y | 2 |  | 5 | 1.1605 | 0.10315 | 1.1529 | 0.12959 | 0.096062
FENURON | 2060 | 49297LCM29 | 2009-04-10 | 2008-10-01 | 2009-09-30 | ug/L | 1.3135 | Restek, Restek | A063332, A062398 | Restek A063332: 30 µl & Restek A062398: 30 µl | 0.20936 | FENURON | E | 0.06 | 0.275 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3135 | ReA063332, ReA062398 | Re | Re | Re | A063332 | A062398 | A062398 |  |  |  | Y | Estimated Values | Y | 2 |  | 5 | 1.1605 | 0.10315 | 1.1529 | 0.12959 | 0.096062
FENURON | 2060 | 49297LCM29 | 2009-07-11 | 2008-10-01 | 2009-09-30 | ug/L | 1.1529 | Restek, Restek | A063332, A062398 | Restek A063332: 30 µl & Restek A062398: 30 µl | 0.20037 | FENURON | E | 0.06 | 0.231 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1529 | ReA063332, ReA062398 | Re | Re | Re | A063332 | A062398 | A062398 |  |  |  | Y | Estimated Values | Y | 2 |  | 5 | 1.1605 | 0.10315 | 1.1529 | 0.12959 | 0.096062
FENURON | 2060 | 49297LCM29 | 2009-09-01 | 2008-10-01 | 2009-09-30 | ug/L | 1.0717 | Restek, Restek | A063332, A062398 | Restek A063332: 50 µl & Restek A062398: 50 µl | 0.32844 | FENURON | E | 0.06 | 0.352 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0717 | ReA063332, ReA062398 | Re | Re | Re | A063332 | A062398 | A062398 |  |  |  | Y | Estimated Values | Y | 2 |  | 5 | 1.1605 | 0.10315 | 1.1529 | 0.12959 | 0.096062
FENURON | 2060 | 49297LCM29 | 2013-06-04 | 2010-10-01 | 2099-09-30 | ug/L | 0.92 | Restek, NSI, NSI | A088383, 062612-01, 718L-01-01 | Restek A088383: 50 µl & NSI 062612-01: 50 µl & NSI 718L-01-01: 50 µl | 0.25 | FENURON | E | 0.06 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92 | ReA088383, NS0622-01, NS7181-0 | Re | NS | NS | A088383 | 0622-01 | 7181-01 |  | 0622-01 | 7181-01 | Y | Estimated Values | Y | 2 |  | 1 | 0.92 |  | 0.92 | 0 | 0
FENURON | 2060 | 49297LCM29 | 2013-09-27 | 2010-10-01 | 2099-09-30 | ug/L | 0.99333 | Spex Organics, Accu, Supelco | T1130601011, 213041030, LC00372 | Spex Organics T1130601011: 50 µl & Accu 213041030: 50 µl & Supelco LC00372: 50 µ | 0.3 | FENURON | E | 0.06 | 0.298 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99333 | SpT111011, Ac2131030, SuLC0037 | Sp | Ac | Su | T111011 | 2131030 | LC00372 | T111011 | 2131030 |  | Y | Estimated Values | Y | 2 |  | 1 | 0.99333 |  | 0.99333 | 0 | 0
FENURON | 2060 | 49297LCM29 | 2014-01-16 | 2010-10-01 | 2099-09-30 | ug/L | 0.9 | Spex Organics, ChemService, | T1130601011, 1448600, 050613 | Spex Organics T1130601011: 20 µl & ChemService 1448600: 20 µl & NSI 050613: 20 µ | 0.12 | FENURON | E | 0.06 | 0.108 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9 | SpT111011, Ch1448600, 050613 | Sp | Ch |  | T111011 | 1448600 | 050613 | T111011 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.9 |  | 0.9 | 0 | 0
FENURON | 2060 | 49297LCM29 | 2013-08-17 | 2010-10-01 | 2099-09-30 | ug/L | 0.97 | Spex Organics, NSI, Supelco | T1130601011, 050613, LC01386 | Spex Organics T1130601011: 50 µl & NSI 050613: 50 µl & Supelco LC01386: 50 µl | 0.3 | FENURON | E | 0.06 | 0.291 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97 | SpT111011, NS050613, SuLC01386 | Sp | NS | Su | T111011 | 050613 | LC01386 | T111011 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.97 |  | 0.97 | 0 | 0
FENURON | 2060 | 49297LCM29 | 2012-09-13 | 2010-10-01 | 2099-09-30 | ug/L | 1.01 | Spex Organics, NSI, NSI | T1120525009, 062612-01, 718L-01-01 | Spex Organics T1120525009: 20 µl & NSI 062612-01: 20 µl & NSI 718L-01-01: 20 µl | 0.1 | FENURON | E | 0.06 | 0.101 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.01 | SpT115009, NS0622-01, NS7181-0 | Sp | NS | NS | T115009 | 0622-01 | 7181-01 | T115009 | 0622-01 | 7181-01 | Y | Estimated Values | Y | 2 |  | 2 | 1.013 | 0.0042426 | 1.013 | 0.006 | 0.0044477
FENURON | 2060 | 49297LCM29 | 2013-01-18 | 2010-10-01 | 2099-09-30 | ug/L | 1.016 | Spex Organics, NSI, NSI | T1120525009, 062612-01, 718L-01-01 | Spex Organics T1120525009: 100 µl & NSI 062612-01: 100 µl & NSI 718L-01-01: 100 | 0.5 | FENURON | E | 0.06 | 0.508 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.016 | SpT115009, NS0622-01, NS7181-0 | Sp | NS | NS | T115009 | 0622-01 | 7181-01 | T115009 | 0622-01 | 7181-01 | Y | Estimated Values | Y | 2 |  | 2 | 1.013 | 0.0042426 | 1.013 | 0.006 | 0.0044477
FENURON | 2060 | 49297LCM29 | 2012-07-18 | 2010-10-01 | 2099-09-30 | ug/L | 1.1196 | Spex Organics, Supelco | T1120525009, LB92941 | Spex Organics T1120525009: 50 µl & Supelco LB92941: 50 µl | 0.2501 | FENURON | E | 0.06 | 0.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1196 | SpT115009, SuLB92941 | Sp | Su | Su | T115009 | LB92941 | LB92941 | T115009 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 1.1196 |  | 1.1196 | 0 | 0
FENURON | 2060 | 49297LCM29 | 2012-12-05 | 2010-10-01 | 2099-09-30 | ug/L | 0.96961 | Supelco, ChemService | LB92941, 396400 | Supelco LB92941: 20 µl & ChemService 396400: 20 µl | 0.10004 | FENURON | E | 0.06 | 0.097 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96961 | SuLB92941, Ch396400 | Su | Ch | Ch | LB92941 | 396400 | 396400 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.91963 | 0.070682 | 0.91963 | 0.09996 | 0.074099
FENURON | 2060 | 49297LCM29 | 2013-02-13 | 2010-10-01 | 2099-09-30 | ug/L | 0.86965 | Supelco, ChemService | LB92941, 396400 | Supelco LB92941: 20 µl & ChemService 396400: 20 µl | 0.10004 | FENURON | E | 0.06 | 0.087 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86965 | SuLB92941, Ch396400 | Su | Ch | Ch | LB92941 | 396400 | 396400 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.91963 | 0.070682 | 0.91963 | 0.09996 | 0.074099
FENURON | 2060 | 49297LCM29 | 2012-07-09 | 2010-10-01 | 2099-09-30 | ug/L | 1.0396 | Supelco | LB92941 | Supelco LB92941: 20 µl | 0.10004 | FENURON | E | 0.06 | 0.104 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0396 | Supelco LB92941 | [9 empty] | Y | Estimated Values | Y | 2 |  | 1 | 1.0396 |  | 1.0396 | 0 | 0
FENURON | 2060 | 49297LCM29 | 2008-01-22 | 2007-01-01 | 2008-09-30 | ug/L | 0.90214 | Ultra | CD-2088 | Ultra CD-2088: 50 µl | 0.20285 | FENURON | . | 0.04 | 0.183 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90214 | Ultra CD-2088 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0979 | 0.11011 | 1.1049 | 0.099719 | 0.073921
FENURON | 2060 | 49297LCM29 | 2008-04-04 | 2007-01-01 | 2008-09-30 | ug/L | 1.2211 | Ultra | CD-2088 | Ultra CD-2088: 50 µl | 0.19737 | FENURON | . | 0.04 | 0.241 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2211 | Ultra CD-2088 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0979 | 0.11011 | 1.1049 | 0.099719 | 0.073921
FENURON | 2060 | 49297LCM29 | 2008-04-30 | 2007-01-01 | 2008-09-30 | ug/L | 1.0775 | Ultra | CD-2088 | Ultra CD-2088: 50 µl | 0.19861 | FENURON | . | 0.04 | 0.214 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0775 | Ultra CD-2088 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0979 | 0.11011 | 1.1049 | 0.099719 | 0.073921
FENURON | 2060 | 49297LCM29 | 2008-06-18 | 2007-01-01 | 2008-09-30 | ug/L | 1.1176 | Ultra | CD-2088 | Ultra CD-2088: 50 µl | 0.20132 | FENURON | . | 0.04 | 0.225 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1176 | Ultra CD-2088 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0979 | 0.11011 | 1.1049 | 0.099719 | 0.073921
FENURON | 2060 | 49297LCM29 | 2008-07-24 | 2007-01-01 | 2008-09-30 | ug/L | 1.1772 | Ultra | CD-2088 | Ultra CD-2088: 50 µl | 0.19368 | FENURON | . | 0.04 | 0.228 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1772 | Ultra CD-2088 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0979 | 0.11011 | 1.1049 | 0.099719 | 0.073921
FENURON | 2060 | 49297LCM29 | 2008-09-09 | 2007-01-01 | 2008-09-30 | ug/L | 1.0921 | Ultra | CD-2088 | Ultra CD-2088: 50 µl | 0.19687 | FENURON | E | 0.04 | 0.215 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0921 | Ultra CD-2088 | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 1.0979 | 0.11011 | 1.1049 | 0.099719 | 0.073921