## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
IMIDACLOPRID | 2060 | 61695LCM29 | 2013-11-07 | 2011-10-01 | 2050-09-30 | ug/L | 1.17 | Abs, NSI | 042513, 042213HPLC | Abs 042513: 20 µl & NSI 042213HPLC: 20 µl | 0.1 | IMIDACLOPRID | E | 0.08 | 0.117 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.17 | Ab042513, NS042HPLC | Ab | NS | NS | 042513 | 042HPLC | 042HPLC |  | 042HPLC | 042HPLC | Y | Estimated Values | Y | 2 |  | 1 | 1.17 |  | 1.17 | 0 | 0
IMIDACLOPRID | 2060 | 61695LCM29 | 2013-06-26 | 2011-10-01 | 2050-09-30 | ug/L | 1.164 | Abs, NSI, NSI | 042513, 042213HPLC, 050613 | Abs 042513: 50 µl & NSI 042213HPLC: 50 µl & NSI 050613: 50 µl | 0.25 | IMIDACLOPRID | E | 0.08 | 0.291 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.164 | Ab042513, NS042HPLC, NS050613 | Ab | NS | NS | 042513 | 042HPLC | 050613 |  | 042HPLC |  | Y | Estimated Values | Y | 2 |  | 1 | 1.164 |  | 1.164 | 0 | 0
IMIDACLOPRID | 2060 | 61695LCM29 | 2014-01-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.93625 | Abs, Supelco, NSI | 042513, LC01386, 050613 | Abs 042513: 20 µl & Supelco LC01386: 20 µl & NSI 050613: 20 µl | 0.1004 | IMIDACLOPRID | E | 0.08 | 0.094 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93625 | Ab042513, SuLC01386, NS050613 | Ab | Su | NS | 042513 | LC01386 | 050613 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.93625 |  | 0.93625 | 0 | 0
IMIDACLOPRID | 2060 | 61695LCM29 | 2012-11-13 | 2011-10-01 | 2050-09-30 | ug/L | 1.008 | Abs, ChemService | 052312, 396400 | Abs 052312: 50 µl & ChemService 396400: 50 µl | 0.25 | IMIDACLOPRID | E | 0.08 | 0.252 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.008 | Ab052312, Ch396400 | Ab | Ch | Ch | 052312 | 396400 | 396400 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 1.056 | 0.067882 | 1.056 | 0.096 | 0.071164
IMIDACLOPRID | 2060 | 61695LCM29 | 2013-03-12 | 2011-10-01 | 2050-09-30 | ug/L | 1.104 | Abs, ChemService | 052312, 396400 | Abs 052312: 100 µl & ChemService 396400: 100 µl | 0.5 | IMIDACLOPRID | E | 0.08 | 0.552 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.104 | Ab052312, Ch396400 | Ab | Ch | Ch | 052312 | 396400 | 396400 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 1.056 | 0.067882 | 1.056 | 0.096 | 0.071164
IMIDACLOPRID | 2060 | 61695LCM29 | 2012-08-22 | 2011-10-01 | 2050-09-30 | ug/L | 1.31 | Abs, Restek | 052312, A088383 | Abs 052312: 20 µl & Restek A088383: 20 µl | 0.1 | IMIDACLOPRID | E | 0.08 | 0.131 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.31 | Ab052312, ReA088383 | Ab | Re | Re | 052312 | A088383 | A088383 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 1.31 |  | 1.31 | 0 | 0
IMIDACLOPRID | 2060 | 61695LCM29 | 2008-02-12 | 2007-01-01 | 2009-09-30 | ug/L | 0.8173 | Abs | 071607LC | Abs 071607LC: 50 µl | 0.1456 | IMIDACLOPRID | . | 0.06 | 0.119 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8173 | Abs 071607LC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0118 | 0.20932 | 0.98554 | 0.34574 | 0.2563
IMIDACLOPRID | 2060 | 61695LCM29 | 2008-04-04 | 2007-01-01 | 2009-09-30 | ug/L | 0.8605 | Abs | 071607LC | Abs 071607LC: 50 µl | 0.14526 | IMIDACLOPRID | . | 0.06 | 0.125 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8605 | Abs 071607LC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0118 | 0.20932 | 0.98554 | 0.34574 | 0.2563
IMIDACLOPRID | 2060 | 61695LCM29 | 2008-05-16 | 2007-01-01 | 2009-09-30 | ug/L | 1.1106 | Abs | 071607LC | Abs 071607LC: 50 µl | 0.14317 | IMIDACLOPRID | . | 0.06 | 0.159 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1106 | Abs 071607LC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0118 | 0.20932 | 0.98554 | 0.34574 | 0.2563
IMIDACLOPRID | 2060 | 61695LCM29 | 2008-07-09 | 2007-01-01 | 2009-09-30 | ug/L | 1.2587 | Abs | 071607LC | Abs 071607LC: 50 µl | 0.14221 | IMIDACLOPRID | . | 0.06 | 0.179 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2587 | Abs 071607LC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0118 | 0.20932 | 0.98554 | 0.34574 | 0.2563
IMIDACLOPRID | 2060 | 61695LCM29 | 2008-10-31 | 2007-01-01 | 2009-09-30 | ug/L | 1.7833 | Abs | 081508Polar | Abs 081508Polar: 50 µl | 0.3 | IMIDACLOPRID | E | 0.06 | 0.535 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.7833 | Abs 081508Polar | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 1.4256 | 0.40186 | 1.2958 | 0.67454 | 0.50003
IMIDACLOPRID | 2060 | 61695LCM29 | 2008-12-30 | 2007-01-01 | 2009-09-30 | ug/L | 1.2958 | Abs | 081508Polar | Abs 081508Polar: 30 µl | 0.1829 | IMIDACLOPRID | E | 0.06 | 0.237 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2958 | Abs 081508Polar | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 1.4256 | 0.40186 | 1.2958 | 0.67454 | 0.50003
IMIDACLOPRID | 2060 | 61695LCM29 | 2009-04-30 | 2007-01-01 | 2009-09-30 | ug/L | 1.1088 | Abs | 081508Polar | Abs 081508Polar: 30 µl | 0.18308 | IMIDACLOPRID | . | 0.06 | 0.203 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1088 | Abs 081508Polar | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.4256 | 0.40186 | 1.2958 | 0.67454 | 0.50003
IMIDACLOPRID | 2060 | 61695LCM29 | 2009-07-28 | 2007-01-01 | 2009-09-30 | ug/L | 1.0245 | Abs | 081508Polar | Abs 081508Polar: 30 µl | 0.18057 | IMIDACLOPRID | . | 0.06 | 0.185 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0245 | Abs 081508Polar | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.4256 | 0.40186 | 1.2958 | 0.67454 | 0.50003
IMIDACLOPRID | 2060 | 61695LCM29 | 2009-09-01 | 2007-01-01 | 2009-09-30 | ug/L | 1.9154 | Abs | 081508Polar | Abs 081508Polar: 50 µl | 0.29967 | IMIDACLOPRID | E | 0.06 | 0.574 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.9154 | Abs 081508Polar | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 1.4256 | 0.40186 | 1.2958 | 0.67454 | 0.50003
IMIDACLOPRID | 2060 | 61695LCM29 | 2011-02-02 | 2010-10-01 | 2011-09-30 | ug/L | 2.0423 | Abs | 090910HPLC | Abs 090910HPLC: 40 µl | 0.10968 | IMIDACLOPRID | E | 0.06 | 0.224 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2.0423 | Abs 090910HPLC | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 1.4969 | 0.34627 | 1.3866 | 0.38462 | 0.28511 | 2
IMIDACLOPRID | 2060 | 61695LCM29 | 2011-02-25 | 2010-10-01 | 2011-09-30 | ug/L | 2.0958 | Abs | 090910HPLC | Abs 090910HPLC: 40 µl | 0.10879 | IMIDACLOPRID | E | 0.06 | 0.228 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2.0958 | Abs 090910HPLC | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 1.4969 | 0.34627 | 1.3866 | 0.38462 | 0.28511 | 2
IMIDACLOPRID | 2060 | 61695LCM29 | 2011-04-12 | 2010-10-01 | 2011-09-30 | ug/L | 1.3545 | Abs | 090910HPLC | Abs 090910HPLC: 40 µl | 0.10853 | IMIDACLOPRID | E | 0.06 | 0.147 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3545 | Abs 090910HPLC | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 1.4969 | 0.34627 | 1.3866 | 0.38462 | 0.28511
IMIDACLOPRID | 2060 | 61695LCM29 | 2011-06-10 | 2010-10-01 | 2011-09-30 | ug/L | 1.4178 | Abs | 090910HPLC | Abs 090910HPLC: 100 µl | 0.26873 | IMIDACLOPRID | E | 0.06 | 0.381 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4178 | Abs 090910HPLC | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 1.4969 | 0.34627 | 1.3866 | 0.38462 | 0.28511
IMIDACLOPRID | 2060 | 61695LCM29 | 2011-07-19 | 2010-10-01 | 2011-09-30 | ug/L | 1.163 | Abs | 090910HPLC | Abs 090910HPLC: 40 µl | 0.1092 | IMIDACLOPRID | E | 0.06 | 0.127 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.163 | Abs 090910HPLC | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 1.4969 | 0.34627 | 1.3866 | 0.38462 | 0.28511
IMIDACLOPRID | 2060 | 61695LCM29 | 2011-09-12 | 2010-10-01 | 2011-09-30 | ug/L | 1.7033 | Abs | 090910HPLC | Abs 090910HPLC: 100 µl | 0.273 | IMIDACLOPRID | E | 0.06 | 0.465 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.7033 | Abs 090910HPLC | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 1.4969 | 0.34627 | 1.3866 | 0.38462 | 0.28511
IMIDACLOPRID | 2060 | 61695LCM29 | 2011-11-28 | 2011-10-01 | 2050-09-30 | ug/L | 1.3187 | Abs | 090910HPLC | Abs 090910HPLC: 40 µl | 0.1092 | IMIDACLOPRID | E | 0.08 | 0.144 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3187 | Abs 090910HPLC | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 1.4969 | 0.34627 | 1.3866 | 0.38462 | 0.28511
IMIDACLOPRID | 2060 | 61695LCM29 | 2012-02-13 | 2011-10-01 | 2050-09-30 | ug/L | 1.3553 | Abs | 090910HPLC | Abs 090910HPLC: 100 µl | 0.273 | IMIDACLOPRID | E | 0.08 | 0.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3553 | Abs 090910HPLC | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 1.4969 | 0.34627 | 1.3866 | 0.38462 | 0.28511
IMIDACLOPRID | 2060 | 61695LCM29 | 2012-04-10 | 2011-10-01 | 2050-09-30 | ug/L | 1.0623 | Abs | 090910HPLC | Abs 090910HPLC: 40 µl | 0.1092 | IMIDACLOPRID | E | 0.08 | 0.116 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0623 | Abs 090910HPLC | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 1.4969 | 0.34627 | 1.3866 | 0.38462 | 0.28511
IMIDACLOPRID | 2060 | 61695LCM29 | 2012-05-03 | 2011-10-01 | 2050-09-30 | ug/L | 1.456 | Abs | 090910HPLC | Abs 090910HPLC: 40 µl | 0.1092 | IMIDACLOPRID | E | 0.08 | 0.159 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.456 | Abs 090910HPLC | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 1.4969 | 0.34627 | 1.3866 | 0.38462 | 0.28511
IMIDACLOPRID | 2060 | 61695LCM29 | 2013-09-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.95618 | Accu, NSI, Supelco | 213041030, 050613, LC01386 | Accu 213041030: 20 µl & NSI 050613: 20 µl & Supelco LC01386: 20 µl | 0.1004 | IMIDACLOPRID | E | 0.08 | 0.096 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95618 | Ac2131030, NS050613, SuLC01386 | Ac | NS | Su | 2131030 | 050613 | LC01386 | 2131030 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.95618 |  | 0.95618 | 0 | 0
IMIDACLOPRID | 2060 | 61695LCM29 | 2008-02-12 | 2007-01-01 | 2009-09-30 | ug/L | 0.93194 | Accu | B7070230 | Accu B7070230: 50 µl | 0.14808 | IMIDACLOPRID | . | 0.06 | 0.138 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93194 | Accu B7070230 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.1197 | 0.17134 | 1.0672 | 0.11634 | 0.08624
IMIDACLOPRID | 2060 | 61695LCM29 | 2008-06-19 | 2007-01-01 | 2009-09-30 | ug/L | 1.1636 | Accu | B7070230 | Accu B7070230: 50 µl | 0.14696 | IMIDACLOPRID | . | 0.06 | 0.171 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1636 | Accu B7070230 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.1197 | 0.17134 | 1.0672 | 0.11634 | 0.08624
IMIDACLOPRID | 2060 | 61695LCM29 | 2008-07-30 | 2007-01-01 | 2009-09-30 | ug/L | 1.0472 | Accu | B7070230 | Accu B7070230: 50 µl | 0.14133 | IMIDACLOPRID | . | 0.06 | 0.148 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0472 | Accu B7070230 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.1197 | 0.17134 | 1.0672 | 0.11634 | 0.08624
IMIDACLOPRID | 2060 | 61695LCM29 | 2008-09-25 | 2007-01-01 | 2009-09-30 | ug/L | 1.0672 | Accu | B7070230 | Accu B7070230: 50 µl | 0.14243 | IMIDACLOPRID | . | 0.06 | 0.152 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0672 | Accu B7070230 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.1197 | 0.17134 | 1.0672 | 0.11634 | 0.08624
IMIDACLOPRID | 2060 | 61695LCM29 | 2008-09-25 | 2007-01-01 | 2009-09-30 | ug/L | 1.3885 | Accu | B7070230 | Accu B7070230: 50 µl | 0.14188 | IMIDACLOPRID | . | 0.06 | 0.197 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3885 | Accu B7070230 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.1197 | 0.17134 | 1.0672 | 0.11634 | 0.08624
IMIDACLOPRID | 2060 | 61695LCM29 | 2013-11-27 | 2011-10-01 | 2050-09-30 | ug/L | 1.0398 | ChemService, NSI, Supelco | 1448600, 050613, LC01386 | ChemService 1448600: 50 µl & NSI 050613: 50 µl & Supelco LC01386: 50 µl | 0.251 | IMIDACLOPRID | E | 0.08 | 0.261 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0398 | Ch1448600, NS050613, SuLC01386 | Ch | NS | Su | 1448600 | 050613 | LC01386 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 1.0398 |  | 1.0398 | 0 | 0
IMIDACLOPRID | 2060 | 61695LCM29 | 2008-11-19 | 2007-01-01 | 2009-09-30 | ug/L | 2.1469 | ChemService | 406-113B | ChemService 406-113B: 50 µl | 0.29438 | IMIDACLOPRID | E | 0.06 | 0.632 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2.1469 | ChemService 406-113B | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 2.2073 | 0.62112 | 2.1469 | 0.49961 | 0.37035 | 2
IMIDACLOPRID | 2060 | 61695LCM29 | 2009-03-03 | 2007-01-01 | 2009-09-30 | ug/L | 2.0316 | ChemService | 406-113B | ChemService 406-113B: 30 µl | 0.18655 | IMIDACLOPRID | E | 0.06 | 0.379 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2.0316 | ChemService 406-113B | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 2.2073 | 0.62112 | 2.1469 | 0.49961 | 0.37035 | 2
IMIDACLOPRID | 2060 | 61695LCM29 | 2009-06-17 | 2007-01-01 | 2009-09-30 | ug/L | 3.4929 | ChemService | 406-113B | ChemService 406-113B: 50 µl | 0.30061 | IMIDACLOPRID | . | 0.06 | 1.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 3 | ChemService 406-113B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 2.2073 | 0.62112 | 2.1469 | 0.49961 | 0.37035 | 2
IMIDACLOPRID | 2060 | 61695LCM29 | 2009-08-13 | 2007-01-01 | 2009-09-30 | ug/L | 1.3267 | ChemService | 406-113B | ChemService 406-113B: 30 µl | 0.17788 | IMIDACLOPRID | . | 0.06 | 0.236 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3267 | ChemService 406-113B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 2.2073 | 0.62112 | 2.1469 | 0.49961 | 0.37035
IMIDACLOPRID | 2060 | 61695LCM29 | 2009-09-23 | 2007-01-01 | 2009-09-30 | ug/L | 2.5312 | ChemService | 406-113B | ChemService 406-113B: 30 µl | 0.17976 | IMIDACLOPRID | E | 0.06 | 0.455 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2.5312 | ChemService 406-113B | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 2.2073 | 0.62112 | 2.1469 | 0.49961 | 0.37035 | 2
IMIDACLOPRID | 2060 | 61695LCM29 | 2011-01-04 | 2010-10-01 | 2011-09-30 | ug/L | 1.5802 | ChemService | 448-45B | ChemService 448-45B: 40 µl | 0.10631 | IMIDACLOPRID | E | 0.06 | 0.168 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5802 | ChemService 448-45B | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 1.5073 | 0.34187 | 1.4007 | 0.22388 | 0.16596
IMIDACLOPRID | 2060 | 61695LCM29 | 2011-03-07 | 2010-10-01 | 2011-09-30 | ug/L | 2.2206 | ChemService | 448-45B | ChemService 448-45B: 40 µl | 0.10583 | IMIDACLOPRID | E | 0.06 | 0.235 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2.2206 | ChemService 448-45B | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 1.5073 | 0.34187 | 1.4007 | 0.22388 | 0.16596 | 2
IMIDACLOPRID | 2060 | 61695LCM29 | 2011-05-05 | 2010-10-01 | 2011-09-30 | ug/L | 1.3564 | ChemService | 448-45B | ChemService 448-45B: 40 µl | 0.10838 | IMIDACLOPRID | E | 0.06 | 0.147 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3564 | ChemService 448-45B | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 1.5073 | 0.34187 | 1.4007 | 0.22388 | 0.16596
IMIDACLOPRID | 2060 | 61695LCM29 | 2011-06-28 | 2010-10-01 | 2011-09-30 | ug/L | 1.3976 | ChemService | 448-45B | ChemService 448-45B: 100 µl | 0.26904 | IMIDACLOPRID | E | 0.06 | 0.376 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3976 | ChemService 448-45B | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 1.5073 | 0.34187 | 1.4007 | 0.22388 | 0.16596
IMIDACLOPRID | 2060 | 61695LCM29 | 2011-08-11 | 2010-10-01 | 2011-09-30 | ug/L | 1.4007 | ChemService | 448-45B | ChemService 448-45B: 100 µl | 0.272 | IMIDACLOPRID | E | 0.06 | 0.381 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4007 | ChemService 448-45B | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 1.5073 | 0.34187 | 1.4007 | 0.22388 | 0.16596
IMIDACLOPRID | 2060 | 61695LCM29 | 2011-10-04 | 2011-10-01 | 2050-09-30 | ug/L | 1.8107 | ChemService | 448-45B | ChemService 448-45B: 40 µl | 0.1088 | IMIDACLOPRID | E | 0.08 | 0.197 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.8107 | ChemService 448-45B | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 1.5073 | 0.34187 | 1.4007 | 0.22388 | 0.16596
IMIDACLOPRID | 2060 | 61695LCM29 | 2011-11-29 | 2011-10-01 | 2050-09-30 | ug/L | 1.5294 | ChemService | 448-45B | ChemService 448-45B: 100 µl | 0.272 | IMIDACLOPRID | E | 0.08 | 0.416 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5294 | ChemService 448-45B | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 1.5073 | 0.34187 | 1.4007 | 0.22388 | 0.16596
IMIDACLOPRID | 2060 | 61695LCM29 | 2012-02-02 | 2011-10-01 | 2050-09-30 | ug/L | 1.0846 | ChemService | 448-45B | ChemService 448-45B: 40 µl | 0.1088 | IMIDACLOPRID | E | 0.08 | 0.118 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0846 | ChemService 448-45B | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 1.5073 | 0.34187 | 1.4007 | 0.22388 | 0.16596
IMIDACLOPRID | 2060 | 61695LCM29 | 2012-03-26 | 2011-10-01 | 2050-09-30 | ug/L | 1.1857 | ChemService | 448-45B | ChemService 448-45B: 40 µl | 0.1088 | IMIDACLOPRID | E | 0.08 | 0.129 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1857 | ChemService 448-45B | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 1.5073 | 0.34187 | 1.4007 | 0.22388 | 0.16596
IMIDACLOPRID | 2060 | 61695LCM29 | 2013-09-27 | 2011-10-01 | 2050-09-30 | ug/L | 1.204 | NSI, Accu, Supelco | 042213HPLC, 213041030, LC00372 | NSI 042213HPLC: 50 µl & Accu 213041030: 50 µl & Supelco LC00372: 50 µl | 0.25 | IMIDACLOPRID | E | 0.08 | 0.301 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.204 | NS042HPLC, Ac2131030, SuLC0037 | NS | Ac | Su | 042HPLC | 2131030 | LC00372 | 042HPLC | 2131030 |  | Y | Estimated Values | Y | 2 |  | 1 | 1.204 |  | 1.204 | 0 | 0
IMIDACLOPRID | 2060 | 61695LCM29 | 2013-06-04 | 2011-10-01 | 2050-09-30 | ug/L | 1.01 | NSI, ChemService, NSI | 042213HPLC, 1448600, 050613 | NSI 042213HPLC: 20 µl & ChemService 1448600: 20 µl & NSI 050613: 20 µl | 0.1 | IMIDACLOPRID | E | 0.08 | 0.101 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.01 | NS042HPLC, Ch1448600, NS050613 | NS | Ch | NS | 042HPLC | 1448600 | 050613 | 042HPLC |  |  | Y | Estimated Values | Y | 2 |  | 1 | 1.01 |  | 1.01 | 0 | 0
IMIDACLOPRID | 2060 | 61695LCM29 | 2012-08-07 | 2011-10-01 | 2050-09-30 | ug/L | 1.25 | NSI, NSI, ChemService | 062612-01, 718L-01-01, 396400 | NSI 062612-01: 20 µl & NSI 718L-01-01: 20 µl & ChemService 396400: 20 µl | 0.1 | IMIDACLOPRID | E | 0.08 | 0.125 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.25 | NS0622-01, NS7181-01, Ch396400 | NS | NS | Ch | 0622-01 | 7181-01 | 396400 | 0622-01 | 7181-01 |  | Y | Estimated Values | Y | 2 |  | 1 | 1.25 |  | 1.25 | 0 | 0
IMIDACLOPRID | 2060 | 61695LCM29 | 2012-09-28 | 2011-10-01 | 2050-09-30 | ug/L | 1.38 | NSI, NSI, Restek | 062612-01, 718L-01-01, A088383 | NSI 062612-01: 20 µl & NSI 718L-01-01: 20 µl & Restek A088383: 20 µl | 0.1 | IMIDACLOPRID | E | 0.08 | 0.138 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.38 | NS0622-01, NS7181-01, ReA08838 | NS | NS | Re | 0622-01 | 7181-01 | A088383 | 0622-01 | 7181-01 |  | Y | Estimated Values | Y | 2 |  | 1 | 1.38 |  | 1.38 | 0 | 0
IMIDACLOPRID | 2060 | 61695LCM29 | 2010-05-03 | 2010-01-01 | 2010-09-30 | ug/L | 1.9431 | NWQL, NWQL | LCL11SP079A, LCL11SP079B | NWQL LCL11SP079A: 50 µl & NWQL LCL11SP079B: 50 µl | 0.12608 | IMIDACLOPRID | E | 0.06 | 0.245 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.9431 | NWLCL079A, NWLCL079B | NW | NW | NW | LCL079A | LCL079B | LCL079B | LCL079A | LCL079B | LCL079B | Y | Estimated Values | Y | 2 |  | 3 | 1.7451 | 0.17568 | 1.6844 | 0.33522 | 0.2485
IMIDACLOPRID | 2060 | 61695LCM29 | 2010-07-27 | 2010-01-01 | 2010-09-30 | ug/L | 1.6844 | NWQL, NWQL | LCL11SP079A, LCL11SP079B | NWQL LCL11SP079A: 50 µl & NWQL LCL11SP079B: 50 µl | 0.12468 | IMIDACLOPRID | E | 0.06 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.6844 | NWLCL079A, NWLCL079B | NW | NW | NW | LCL079A | LCL079B | LCL079B | LCL079A | LCL079B | LCL079B | Y | Estimated Values | Y | 2 |  | 3 | 1.7451 | 0.17568 | 1.6844 | 0.33522 | 0.2485
IMIDACLOPRID | 2060 | 61695LCM29 | 2010-09-21 | 2010-01-01 | 2010-09-30 | ug/L | 1.6079 | NWQL, NWQL | LCL11SP079A, LCL11SP079B | NWQL LCL11SP079A: 50 µl & NWQL LCL11SP079B: 50 µl | 0.12563 | IMIDACLOPRID | E | 0.06 | 0.202 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.6079 | NWLCL079A, NWLCL079B | NW | NW | NW | LCL079A | LCL079B | LCL079B | LCL079A | LCL079B | LCL079B | Y | Estimated Values | Y | 2 |  | 3 | 1.7451 | 0.17568 | 1.6844 | 0.33522 | 0.2485
IMIDACLOPRID | 2060 | 61695LCM29 | 2008-04-30 | 2007-01-01 | 2009-09-30 | ug/L | 0.88686 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18605 | IMIDACLOPRID | . | 0.06 | 0.165 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88686 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 |  | 7 | 1.2146 | 0.37665 | 1.1705 | 0.63151 | 0.46813
IMIDACLOPRID | 2060 | 61695LCM29 | 2008-06-19 | 2007-01-01 | 2009-09-30 | ug/L | 0.85114 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18681 | IMIDACLOPRID | . | 0.06 | 0.159 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85114 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 |  | 7 | 1.2146 | 0.37665 | 1.1705 | 0.63151 | 0.46813
IMIDACLOPRID | 2060 | 61695LCM29 | 2008-07-30 | 2007-01-01 | 2009-09-30 | ug/L | 0.94211 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18469 | IMIDACLOPRID | . | 0.06 | 0.174 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94211 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 |  | 7 | 1.2146 | 0.37665 | 1.1705 | 0.63151 | 0.46813
IMIDACLOPRID | 2060 | 61695LCM29 | 2009-03-26 | 2007-01-01 | 2009-09-30 | ug/L | 1.8791 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.19743 | IMIDACLOPRID | . | 0.06 | 0.371 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.8791 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 |  | 7 | 1.2146 | 0.37665 | 1.1705 | 0.63151 | 0.46813
IMIDACLOPRID | 2060 | 61695LCM29 | 2009-05-06 | 2007-01-01 | 2009-09-30 | ug/L | 1.1705 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18795 | IMIDACLOPRID | . | 0.06 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1705 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 |  | 7 | 1.2146 | 0.37665 | 1.1705 | 0.63151 | 0.46813
IMIDACLOPRID | 2060 | 61695LCM29 | 2009-06-17 | 2007-01-01 | 2009-09-30 | ug/L | 1.5184 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18507 | IMIDACLOPRID | . | 0.06 | 0.281 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5184 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 |  | 7 | 1.2146 | 0.37665 | 1.1705 | 0.63151 | 0.46813
IMIDACLOPRID | 2060 | 61695LCM29 | 2009-07-28 | 2007-01-01 | 2009-09-30 | ug/L | 1.2542 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18737 | IMIDACLOPRID | . | 0.06 | 0.235 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2542 | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y | Recoverable Result | Y | 2 |  | 7 | 1.2146 | 0.37665 | 1.1705 | 0.63151 | 0.46813
IMIDACLOPRID | 2060 | 61695LCM29 | 2013-06-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.828 | Restek, NSI, NSI | A088383, 062612-01, 718L-01-01 | Restek A088383: 50 µl & NSI 062612-01: 50 µl & NSI 718L-01-01: 50 µl | 0.25 | IMIDACLOPRID | E | 0.08 | 0.207 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.828 | ReA088383, NS0622-01, NS7181-0 | Re | NS | NS | A088383 | 0622-01 | 7181-01 |  | 0622-01 | 7181-01 | Y | Estimated Values | Y | 2 |  | 1 | 0.828 |  | 0.828 | 0 | 0
IMIDACLOPRID | 2060 | 61695LCM29 | 2009-11-20 | 2009-10-01 | 2009-12-31 | ug/L | 1.2316 | Restek | A069890 | Restek A069890: 40 µl | 0.079569 | IMIDACLOPRID | . | 0.06 | 0.098 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2316 | Restek A069890 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.5763 | 0.33035 | 1.5511 | 0.53003 | 0.39291
IMIDACLOPRID | 2060 | 61695LCM29 | 2010-04-14 | 2010-01-01 | 2010-09-30 | ug/L | 1.7113 | Restek | A069890 | Restek A069890: 40 µl | 0.081224 | IMIDACLOPRID | E | 0.06 | 0.139 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.7113 | Restek A069890 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 1.5763 | 0.33035 | 1.5511 | 0.53003 | 0.39291
IMIDACLOPRID | 2060 | 61695LCM29 | 2010-06-16 | 2010-01-01 | 2010-09-30 | ug/L | 1.3908 | Restek | A069890 | Restek A069890: 80 µl | 0.16609 | IMIDACLOPRID | E | 0.06 | 0.231 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3908 | Restek A069890 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 1.5763 | 0.33035 | 1.5511 | 0.53003 | 0.39291
IMIDACLOPRID | 2060 | 61695LCM29 | 2010-07-14 | 2010-01-01 | 2010-09-30 | ug/L | 1.9712 | Restek | A069890 | Restek A069890: 40 µl | 0.081168 | IMIDACLOPRID | E | 0.06 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.9712 | Restek A069890 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 1.5763 | 0.33035 | 1.5511 | 0.53003 | 0.39291
IMIDACLOPRID | 2060 | 61695LCM29 | 2013-08-17 | 2011-10-01 | 2050-09-30 | ug/L | 0.94821 | Spex Organics, NSI, Supelco | T1130601011, 050613, LC01386 | Spex Organics T1130601011: 50 µl & NSI 050613: 50 µl & Supelco LC01386: 50 µl | 0.251 | IMIDACLOPRID | E | 0.08 | 0.238 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94821 | SpT111011, NS050613, SuLC01386 | Sp | NS | Su | T111011 | 050613 | LC01386 | T111011 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.94821 |  | 0.94821 | 0 | 0
IMIDACLOPRID | 2060 | 61695LCM29 | 2012-12-21 | 2011-10-01 | 2050-09-30 | ug/L | 1.136 | Spex Organics, Restek | T1120525009, A088383 | Spex Organics T1120525009: 50 µl & Restek A088383: 50 µl | 0.25 | IMIDACLOPRID | E | 0.08 | 0.284 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.136 | SpT115009, ReA088383 | Sp | Re | Re | T115009 | A088383 | A088383 | T115009 |  |  | Y | Estimated Values | Y | 2 |  | 2 | 1.054 | 0.11597 | 1.054 | 0.164 | 0.12157
IMIDACLOPRID | 2060 | 61695LCM29 | 2013-04-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.972 | Spex Organics, Restek | T1120525009, A088383 | Spex Organics T1120525009: 50 µl & Restek A088383: 50 µl | 0.25 | IMIDACLOPRID | E | 0.08 | 0.243 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.972 | SpT115009, ReA088383 | Sp | Re | Re | T115009 | A088383 | A088383 | T115009 |  |  | Y | Estimated Values | Y | 2 |  | 2 | 1.054 | 0.11597 | 1.054 | 0.164 | 0.12157
IMIDACLOPRID | 2060 | 61695LCM29 | 2009-12-30 | 2009-10-01 | 2009-12-31 | ug/L | 1.4784 | Spex Organics | T1090828008 | Spex Organics T1090828008: 40 µl | 0.079137 | IMIDACLOPRID | E | 0.06 | 0.117 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4784 | Spex Organics T1090828008 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 1.6591 | 0.26174 | 1.5298 | 0.11735 | 0.086992
IMIDACLOPRID | 2060 | 61695LCM29 | 2010-05-26 | 2010-01-01 | 2010-09-30 | ug/L | 1.5277 | Spex Organics | T1090828008 | Spex Organics T1090828008: 40 µl | 0.081169 | IMIDACLOPRID | E | 0.06 | 0.124 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5277 | Spex Organics T1090828008 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 1.6591 | 0.26174 | 1.5298 | 0.11735 | 0.086992
IMIDACLOPRID | 2060 | 61695LCM29 | 2010-06-11 | 2010-01-01 | 2010-09-30 | ug/L | 1.645 | Spex Organics | T1090828008 | Spex Organics T1090828008: 80 µl | 0.15927 | IMIDACLOPRID | E | 0.06 | 0.262 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.645 | Spex Organics T1090828008 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 1.6591 | 0.26174 | 1.5298 | 0.11735 | 0.086992
IMIDACLOPRID | 2060 | 61695LCM29 | 2010-08-31 | 2010-01-01 | 2010-09-30 | ug/L | 2.1143 | Spex Organics | T1090828008 | Spex Organics T1090828008: 80 µl | 0.16412 | IMIDACLOPRID | E | 0.06 | 0.347 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2.1143 | Spex Organics T1090828008 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 1.6591 | 0.26174 | 1.5298 | 0.11735 | 0.086992 | 2
IMIDACLOPRID | 2060 | 61695LCM29 | 2010-09-02 | 2010-01-01 | 2010-09-30 | ug/L | 1.5298 | Spex Organics | T1090828008 | Spex Organics T1090828008: 40 µl | 0.081054 | IMIDACLOPRID | E | 0.06 | 0.124 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5298 | Spex Organics T1090828008 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 1.6591 | 0.26174 | 1.5298 | 0.11735 | 0.086992
IMIDACLOPRID | 2060 | 61695LCM29 | 2012-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 1.29 | Supelco, ChemService | LB92941, 396400 | Supelco LB92941: 20 µl & ChemService 396400: 20 µl | 0.1 | IMIDACLOPRID | E | 0.08 | 0.129 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.29 | SuLB92941, Ch396400 | Su | Ch | Ch | LB92941 | 396400 | 396400 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 1.12 | 0.24042 | 1.12 | 0.34 | 0.25204
IMIDACLOPRID | 2060 | 61695LCM29 | 2013-02-13 | 2011-10-01 | 2050-09-30 | ug/L | 0.95 | Supelco, ChemService | LB92941, 396400 | Supelco LB92941: 20 µl & ChemService 396400: 20 µl | 0.1 | IMIDACLOPRID | E | 0.08 | 0.095 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95 | SuLB92941, Ch396400 | Su | Ch | Ch | LB92941 | 396400 | 396400 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 1.12 | 0.24042 | 1.12 | 0.34 | 0.25204